## ST-PASA
Summary view - for each schedule horizon (dispatch, week-ahead)
|  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
|  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
Scenario |  | Violations
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
Referance Scenario |  | 0 | 1 | 95 | 0 | 15 | 22 | 12 | 0 | 14 | 36 | 0 | 0
High Demand Scenario |  | 0 | 0 | 102 | 0 | 18 | 20 | 13 | 0 | 19 | 32 | 0 | 0
Low Demand Scenario |  | 0 | 0 | 89 | 0 | 3 | 23 | 12 | 0 | 11 | 38 | 0 | 0
Detail view - High Load Scenario
Dispatch Interval | Forecast Operational Demand - High (in MW) | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
30/09/2023 08:00 | 1491.18 |  |  | 30/09/2023 08:30 |  |  |  | 30/09/2023 09:00 |  | 30/09/2023 22:00 | 01/10/2023 09:00
30/09/2023 08:30 | 1389.998 |  |  | 30/09/2023 15:00 |  |  |  | 30/09/2023 09:30 |  | 30/09/2023 22:30 | 01/10/2023 09:30
30/09/2023 09:00 | 1279.942 |  |  | 30/09/2023 15:30 |  |  |  | 30/09/2023 10:00 |  | 02/10/2023 16:30 | 01/10/2023 10:00
30/09/2023 09:30 | 1130.736 |  |  | 30/09/2023 16:00 |  |  |  | 30/09/2023 10:30 |  | 02/10/2023 17:00 | 01/10/2023 10:30
30/09/2023 10:00 | 1026.241 |  |  | 30/09/2023 19:30 |  |  |  | 30/09/2023 11:00 |  | 02/10/2023 17:30 | 01/10/2023 11:00
30/09/2023 10:30 | 994.9306 |  |  | 30/09/2023 21:30 |  |  |  | 30/09/2023 11:30 |  | 02/10/2023 19:30 | 01/10/2023 11:30
30/09/2023 11:00 | 911.6344 |  |  | 01/10/2023 00:00 |  |  |  | 30/09/2023 12:00 |  | 02/10/2023 20:00 | 01/10/2023 12:00
30/09/2023 11:30 | 851.2706 |  |  | 01/10/2023 03:30 |  |  |  | 30/09/2023 12:30 |  | 03/10/2023 05:00 | 01/10/2023 12:30
30/09/2023 12:00 | 798.8907 |  |  | 01/10/2023 04:00 |  |  |  | 30/09/2023 13:00 |  | 03/10/2023 16:30 | 01/10/2023 13:00
30/09/2023 12:30 | 798.5549 |  |  | 01/10/2023 04:30 |  |  |  | 30/09/2023 13:30 |  | 03/10/2023 17:30 | 01/10/2023 13:30
30/09/2023 13:00 | 806.1212 |  |  | 01/10/2023 08:30 |  |  |  | 30/09/2023 14:00 |  | 03/10/2023 19:30 | 04/10/2023 09:30
30/09/2023 13:30 | 825.4722 |  |  | 01/10/2023 10:00 |  |  |  | 30/09/2023 14:30 |  | 03/10/2023 20:00 | 04/10/2023 10:00
30/09/2023 14:00 | 887.2852 |  |  | 01/10/2023 17:00 |  |  |  | 02/10/2023 09:00 |  | 04/10/2023 21:30 | 04/10/2023 10:30
30/09/2023 14:30 | 1027.711 |  |  | 02/10/2023 03:30 | [5 empty] | 05/10/2023 19:30 | 04/10/2023 11:00
30/09/2023 15:00 | 1208.177 |  |  | 02/10/2023 04:30 | [5 empty] | 06/10/2023 04:30 | 04/10/2023 11:30
30/09/2023 15:30 | 1421.969 |  |  | 02/10/2023 07:00 | [5 empty] | 06/10/2023 05:30 | 04/10/2023 12:00
30/09/2023 16:00 | 1653.489 |  |  | 02/10/2023 08:00 | [5 empty] | 06/10/2023 18:00 | 04/10/2023 12:30
30/09/2023 16:30 | 1877.077 |  |  | 02/10/2023 10:00 | [5 empty] | 06/10/2023 18:30 | 04/10/2023 13:00
30/09/2023 17:00 | 2065.819 |  |  | 02/10/2023 12:30 | [5 empty] | 06/10/2023 20:00 | 04/10/2023 13:30
30/09/2023 17:30 | 2228.892 |  |  | 02/10/2023 13:00 | [6 empty] | 05/10/2023 09:30
30/09/2023 18:00 | 2321.817 |  |  | 02/10/2023 14:00 | [6 empty] | 05/10/2023 10:00
30/09/2023 18:30 | 2321.508 |  |  | 02/10/2023 15:00 | [6 empty] | 05/10/2023 10:30
30/09/2023 19:00 | 2277.051 |  |  | 02/10/2023 15:30 | [6 empty] | 05/10/2023 11:00
30/09/2023 19:30 | 2228.013 |  |  | 02/10/2023 21:30 | [6 empty] | 05/10/2023 11:30
30/09/2023 20:00 | 2173.477 |  |  | 02/10/2023 23:00 | [6 empty] | 05/10/2023 12:00
30/09/2023 20:30 | 2137.35 |  |  | 03/10/2023 00:30 | [6 empty] | 05/10/2023 12:30
30/09/2023 21:00 | 2094.367 |  |  | 03/10/2023 05:30 | [6 empty] | 05/10/2023 13:00
30/09/2023 21:30 | 2036.06 |  |  | 03/10/2023 06:30 | [6 empty] | 06/10/2023 10:00
30/09/2023 22:00 | 1969.618 |  |  | 03/10/2023 07:30 | [6 empty] | 06/10/2023 10:30
30/09/2023 22:30 | 1914.302 |  |  | 03/10/2023 09:00 | [6 empty] | 06/10/2023 11:00
30/09/2023 23:00 | 1865.577 |  |  | 03/10/2023 09:30 | [6 empty] | 06/10/2023 11:30
30/09/2023 23:30 | 1824.357 |  |  | 03/10/2023 10:30 | [6 empty] | 06/10/2023 12:00
01/10/2023 00:00 | 1792.046 |  |  | 03/10/2023 11:00
01/10/2023 00:30 | 1767.039 |  |  | 03/10/2023 12:30
01/10/2023 01:00 | 1748.516 |  |  | 03/10/2023 14:30
01/10/2023 01:30 | 1734.87 |  |  | 03/10/2023 15:00
01/10/2023 02:00 | 1724.994 |  |  | 03/10/2023 17:30
01/10/2023 02:30 | 1719.907 |  |  | 03/10/2023 18:30
01/10/2023 03:00 | 1721.281 |  |  | 03/10/2023 19:00
01/10/2023 03:30 | 1728.879 |  |  | 03/10/2023 19:30
01/10/2023 04:00 | 1745.15 |  |  | 03/10/2023 20:30
01/10/2023 04:30 | 1769.395 |  |  | 03/10/2023 22:30
01/10/2023 05:00 | 1783.635 |  |  | 04/10/2023 02:00
01/10/2023 05:30 | 1763.216 |  |  | 04/10/2023 02:30
01/10/2023 06:00 | 1699.05 |  |  | 04/10/2023 03:30
01/10/2023 06:30 | 1619.223 |  |  | 04/10/2023 05:00
01/10/2023 07:00 | 1550.417 |  |  | 04/10/2023 06:30
01/10/2023 07:30 | 1485.757 |  |  | 04/10/2023 07:00
01/10/2023 08:00 | 1402.263 |  |  | 04/10/2023 07:30
01/10/2023 08:30 | 1299.927 |  |  | 04/10/2023 08:00
01/10/2023 09:00 | 1202.526 |  |  | 04/10/2023 09:00
01/10/2023 09:30 | 1119.51 |  |  | 04/10/2023 10:00
01/10/2023 10:00 | 1064.372 |  |  | 04/10/2023 11:00
01/10/2023 10:30 | 1066.814 |  |  | 04/10/2023 12:00
01/10/2023 11:00 | 1070.373 |  |  | 04/10/2023 14:00
01/10/2023 11:30 | 1118.122 |  |  | 04/10/2023 20:30
01/10/2023 12:00 | 1125.12 |  |  | 05/10/2023 00:00
01/10/2023 12:30 | 1078.274 |  |  | 05/10/2023 02:00
01/10/2023 13:00 | 1068.395 |  |  | 05/10/2023 02:30
01/10/2023 13:30 | 1118.603 |  |  | 05/10/2023 03:30
01/10/2023 14:00 | 1215.493 |  |  | 05/10/2023 08:00
01/10/2023 14:30 | 1338.03 |  |  | 05/10/2023 09:00
01/10/2023 15:00 | 1483.495 |  |  | 05/10/2023 09:30
01/10/2023 15:30 | 1665.86 |  |  | 05/10/2023 10:00
01/10/2023 16:00 | 1872.128 |  |  | 05/10/2023 11:00
01/10/2023 16:30 | 2078.289 |  |  | 05/10/2023 12:00
01/10/2023 17:00 | 2267.846 |  |  | 05/10/2023 12:30
01/10/2023 17:30 | 2416.378 |  |  | 05/10/2023 13:00
01/10/2023 18:00 | 2506.1 |  |  | 05/10/2023 15:00
01/10/2023 18:30 | 2509.396 |  |  | 05/10/2023 16:00
01/10/2023 19:00 | 2448.539 |  |  | 05/10/2023 18:00
01/10/2023 19:30 | 2394.587 |  |  | 05/10/2023 19:30
01/10/2023 20:00 | 2332.938 |  |  | 05/10/2023 20:00
01/10/2023 20:30 | 2258.111 |  |  | 05/10/2023 22:00
01/10/2023 21:00 | 2173.97 |  |  | 05/10/2023 23:30
01/10/2023 21:30 | 2086.398 |  |  | 06/10/2023 03:00
01/10/2023 22:00 | 2006.632 |  |  | 06/10/2023 05:00
01/10/2023 22:30 | 1943.232 |  |  | 06/10/2023 07:00
01/10/2023 23:00 | 1894.461 |  |  | 06/10/2023 07:30
01/10/2023 23:30 | 1859.968 |  |  | 06/10/2023 08:00
02/10/2023 00:00 | 1833.114 |  |  | 06/10/2023 09:00
02/10/2023 00:30 | 1807.116 |  |  | 06/10/2023 09:30
02/10/2023 01:00 | 1789.098 |  |  | 06/10/2023 10:30
02/10/2023 01:30 | 1780.561 |  |  | 06/10/2023 12:00
02/10/2023 02:00 | 1776.627 |  |  | 06/10/2023 14:00
02/10/2023 02:30 | 1778.371 |  |  | 06/10/2023 14:30
02/10/2023 03:00 | 1787.728 |  |  | 06/10/2023 15:00
02/10/2023 03:30 | 1809.469 |  |  | 06/10/2023 18:30
02/10/2023 04:00 | 1854.573 |  |  | 06/10/2023 20:00
02/10/2023 04:30 | 1926.271 |  |  | 06/10/2023 21:30
02/10/2023 05:00 | 2012.876 |  |  | 06/10/2023 23:00
02/10/2023 05:30 | 2093.565 |  |  | 06/10/2023 23:30
02/10/2023 06:00 | 2146.718 |  |  | 07/10/2023 00:30
02/10/2023 06:30 | 2183.598 |  |  | 07/10/2023 01:00
02/10/2023 07:00 | 2182.105 |  |  | 07/10/2023 01:30
02/10/2023 07:30 | 2104.711 |  |  | 07/10/2023 02:30
02/10/2023 08:00 | 2014.153 |  |  | 07/10/2023 03:00
02/10/2023 08:30 | 1926.837 |  |  | 07/10/2023 05:30
02/10/2023 09:00 | 1851.974 |  |  | 07/10/2023 06:00
02/10/2023 09:30 | 1787.69 |  |  | 07/10/2023 06:30
02/10/2023 10:00 | 1743.263 |  |  | 07/10/2023 07:00
02/10/2023 10:30 | 1786.772 |  |  | 07/10/2023 07:30
02/10/2023 11:00 | 1793.53
02/10/2023 11:30 | 1783.201
02/10/2023 12:00 | 1764.673
02/10/2023 12:30 | 1761.419
02/10/2023 13:00 | 1791.145
02/10/2023 13:30 | 1864.253
02/10/2023 14:00 | 1952.037
02/10/2023 14:30 | 2023.92
02/10/2023 15:00 | 2115.249
02/10/2023 15:30 | 2261.422
02/10/2023 16:00 | 2410.782
02/10/2023 16:30 | 2554.994
02/10/2023 17:00 | 2700.198
02/10/2023 17:30 | 2809.8
02/10/2023 18:00 | 2871.267
02/10/2023 18:30 | 2847.543
02/10/2023 19:00 | 2757.099
02/10/2023 19:30 | 2677.016
02/10/2023 20:00 | 2595.674
02/10/2023 20:30 | 2495.536
02/10/2023 21:00 | 2383.668
02/10/2023 21:30 | 2273.165
02/10/2023 22:00 | 2171.415
02/10/2023 22:30 | 2085.912
02/10/2023 23:00 | 2017.136
02/10/2023 23:30 | 1960.455
03/10/2023 00:00 | 1908.821
03/10/2023 00:30 | 1872.861
03/10/2023 01:00 | 1850.915
03/10/2023 01:30 | 1837.952
03/10/2023 02:00 | 1830.641
03/10/2023 02:30 | 1830.982
03/10/2023 03:00 | 1839.089
03/10/2023 03:30 | 1860.072
03/10/2023 04:00 | 1904.261
03/10/2023 04:30 | 1972.468
03/10/2023 05:00 | 2065.943
03/10/2023 05:30 | 2163.383
03/10/2023 06:00 | 2190.551
03/10/2023 06:30 | 2156.51
03/10/2023 07:00 | 2078.537
03/10/2023 07:30 | 1925.321
03/10/2023 08:00 | 1753.677
03/10/2023 08:30 | 1599.479
03/10/2023 09:00 | 1523.187
03/10/2023 09:30 | 1511.82
03/10/2023 10:00 | 1511.855
03/10/2023 10:30 | 1570.009
03/10/2023 11:00 | 1576.945
03/10/2023 11:30 | 1552.019
03/10/2023 12:00 | 1519.504
03/10/2023 12:30 | 1507.137
03/10/2023 13:00 | 1491.184
03/10/2023 13:30 | 1471.255
03/10/2023 14:00 | 1559.087
03/10/2023 14:30 | 1740.674
03/10/2023 15:00 | 1898.043
03/10/2023 15:30 | 2022.297
03/10/2023 16:00 | 2169.5
03/10/2023 16:30 | 2354.68
03/10/2023 17:00 | 2537.367
03/10/2023 17:30 | 2675.611
03/10/2023 18:00 | 2759.748
03/10/2023 18:30 | 2754.831
03/10/2023 19:00 | 2680.755
03/10/2023 19:30 | 2611.686
03/10/2023 20:00 | 2537.375
03/10/2023 20:30 | 2446.506
03/10/2023 21:00 | 2345.886
03/10/2023 21:30 | 2244.082
03/10/2023 22:00 | 2150.841
03/10/2023 22:30 | 2073.606
03/10/2023 23:00 | 2009.63
03/10/2023 23:30 | 1957.838
04/10/2023 00:00 | 1911.388
04/10/2023 00:30 | 1878.379
04/10/2023 01:00 | 1858.154
04/10/2023 01:30 | 1842.734
04/10/2023 02:00 | 1831.052
04/10/2023 02:30 | 1830.981
04/10/2023 03:00 | 1840.486
04/10/2023 03:30 | 1858.979
04/10/2023 04:00 | 1901.445
04/10/2023 04:30 | 1974.583
04/10/2023 05:00 | 2072.594
04/10/2023 05:30 | 2159.678
04/10/2023 06:00 | 2157.666
04/10/2023 06:30 | 2075.849
04/10/2023 07:00 | 1939.546
04/10/2023 07:30 | 1733.176
04/10/2023 08:00 | 1523.923
04/10/2023 08:30 | 1341.262
04/10/2023 09:00 | 1196.117
04/10/2023 09:30 | 1095.456
04/10/2023 10:00 | 1002.435
04/10/2023 10:30 | 954.1188
04/10/2023 11:00 | 926.7907
04/10/2023 11:30 | 880.1432
04/10/2023 12:00 | 851.0079
04/10/2023 12:30 | 874.2614
04/10/2023 13:00 | 915.4186
04/10/2023 13:30 | 1001.671
04/10/2023 14:00 | 1111.857
04/10/2023 14:30 | 1252.011
04/10/2023 15:00 | 1440.324
04/10/2023 15:30 | 1657.959
04/10/2023 16:00 | 1891.602
04/10/2023 16:30 | 2143.337
04/10/2023 17:00 | 2376.922
04/10/2023 17:30 | 2544.419
04/10/2023 18:00 | 2655.535
04/10/2023 18:30 | 2667.916
04/10/2023 19:00 | 2598.09
04/10/2023 19:30 | 2536.683
04/10/2023 20:00 | 2471.034
04/10/2023 20:30 | 2390.814
04/10/2023 21:00 | 2300.937
04/10/2023 21:30 | 2208.608
04/10/2023 22:00 | 2122.881
04/10/2023 22:30 | 2050.697
04/10/2023 23:00 | 1994.357
04/10/2023 23:30 | 1943.569
05/10/2023 00:00 | 1901.851
05/10/2023 00:30 | 1873.473
05/10/2023 01:00 | 1854.903
05/10/2023 01:30 | 1842.179
05/10/2023 02:00 | 1835.776
05/10/2023 02:30 | 1833.725
05/10/2023 03:00 | 1841.037
05/10/2023 03:30 | 1859.42
05/10/2023 04:00 | 1899.355
05/10/2023 04:30 | 1968.35
05/10/2023 05:00 | 2037.143
05/10/2023 05:30 | 2066.449
05/10/2023 06:00 | 2029.083
05/10/2023 06:30 | 1925.996
05/10/2023 07:00 | 1799.304
05/10/2023 07:30 | 1639.214
05/10/2023 08:00 | 1468.624
05/10/2023 08:30 | 1292.663
05/10/2023 09:00 | 1163.331
05/10/2023 09:30 | 1088.026
05/10/2023 10:00 | 1025.547
05/10/2023 10:30 | 996.254
05/10/2023 11:00 | 984.6439
05/10/2023 11:30 | 985.2717
05/10/2023 12:00 | 983.5046
05/10/2023 12:30 | 1026.292
05/10/2023 13:00 | 1102.298
05/10/2023 13:30 | 1198.383
05/10/2023 14:00 | 1320.849
05/10/2023 14:30 | 1496.202
05/10/2023 15:00 | 1674.996
05/10/2023 15:30 | 1868.403
05/10/2023 16:00 | 2072.98
05/10/2023 16:30 | 2289.617
05/10/2023 17:00 | 2479.295
05/10/2023 17:30 | 2611.893
05/10/2023 18:00 | 2688.908
05/10/2023 18:30 | 2683.493
05/10/2023 19:00 | 2602.677
05/10/2023 19:30 | 2539.602
05/10/2023 20:00 | 2474.495
05/10/2023 20:30 | 2394.772
05/10/2023 21:00 | 2303.429
05/10/2023 21:30 | 2223.42
05/10/2023 22:00 | 2147.688
05/10/2023 22:30 | 2078.879
05/10/2023 23:00 | 2021.161
05/10/2023 23:30 | 1974.586
06/10/2023 00:00 | 1934.047
06/10/2023 00:30 | 1903.704
06/10/2023 01:00 | 1883.696
06/10/2023 01:30 | 1871.62
06/10/2023 02:00 | 1863.864
06/10/2023 02:30 | 1861.213
06/10/2023 03:00 | 1864.917
06/10/2023 03:30 | 1881.268
06/10/2023 04:00 | 1917.368
06/10/2023 04:30 | 1978.686
06/10/2023 05:00 | 2041.049
06/10/2023 05:30 | 2069.599
06/10/2023 06:00 | 2037.427
06/10/2023 06:30 | 1935.346
06/10/2023 07:00 | 1807.758
06/10/2023 07:30 | 1646.212
06/10/2023 08:00 | 1481.898
06/10/2023 08:30 | 1322.537
06/10/2023 09:00 | 1197.486
06/10/2023 09:30 | 1120.483
06/10/2023 10:00 | 1066.035
06/10/2023 10:30 | 1055.724
06/10/2023 11:00 | 1064.459
06/10/2023 11:30 | 1080.672
06/10/2023 12:00 | 1110.711
06/10/2023 12:30 | 1194.95
06/10/2023 13:00 | 1281.328
06/10/2023 13:30 | 1390.219
06/10/2023 14:00 | 1548.054
06/10/2023 14:30 | 1741.307
06/10/2023 15:00 | 1954.514
06/10/2023 15:30 | 2153.502
06/10/2023 16:00 | 2354.696
06/10/2023 16:30 | 2545.284
06/10/2023 17:00 | 2680.921
06/10/2023 17:30 | 2754.343
06/10/2023 18:00 | 2797.057
06/10/2023 18:30 | 2777.658
06/10/2023 19:00 | 2700.247
06/10/2023 19:30 | 2641.431
06/10/2023 20:00 | 2582.292
06/10/2023 20:30 | 2516.886
06/10/2023 21:00 | 2449.243
06/10/2023 21:30 | 2379.487
06/10/2023 22:00 | 2304.719
06/10/2023 22:30 | 2239.744
06/10/2023 23:00 | 2190.607
06/10/2023 23:30 | 2157.113
07/10/2023 00:00 | 2126.278
07/10/2023 00:30 | 2099.913
07/10/2023 01:00 | 2076.566
07/10/2023 01:30 | 2050.126
07/10/2023 02:00 | 2030.844
07/10/2023 02:30 | 2014.986
07/10/2023 03:00 | 2004.549
07/10/2023 03:30 | 2006.962
07/10/2023 04:00 | 2020.74
07/10/2023 04:30 | 2036.882
07/10/2023 05:00 | 2048.519
07/10/2023 05:30 | 2043.522
07/10/2023 06:00 | 1988.04
07/10/2023 06:30 | 1868.274
07/10/2023 07:00 | 1730.647
07/10/2023 07:30 | 1571.723