## ST-PASA
Scenario Heading Definitions
Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
Summary view - for each schedule horizon (dispatch, week-ahead)
|  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
|  | 300MW | 0MW | 10MW | 0MW | 10MW | 0MW | 10MW | 0MW | 10MW | 0MW | <7550MWs | <7300MWs
Scenario |  | Violations
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
Reference Scenario |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
High Demand Scenario |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low Demand Scenario |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Detail view - Reference Load Scenario | [13 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Dispatch Interval | Forecast Operational Demand (in MW) | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Forecast Operational Demand (in MW) | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Forecast Operational Demand (in MW) | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 |  |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 |  |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
01/10/2023 08:00 | 1550 | [12 empty] | 01/10/2023 08:00 | 1575.516 | [12 empty] | 01/10/2023 08:00 | 1523.383
01/10/2023 08:30 | 1500.509 | [12 empty] | 01/10/2023 08:30 | 1531.489 | [12 empty] | 01/10/2023 08:30 | 1469.529
01/10/2023 09:00 | 1455.806 | [12 empty] | 01/10/2023 09:00 | 1491.429 | [12 empty] | 01/10/2023 09:00 | 1420.184
01/10/2023 09:30 | 1378.118 | [12 empty] | 01/10/2023 09:30 | 1417.108 | [12 empty] | 01/10/2023 09:30 | 1339.128
01/10/2023 10:00 | 1269.016 | [12 empty] | 01/10/2023 10:00 | 1309.771 | [12 empty] | 01/10/2023 10:00 | 1228.261
01/10/2023 10:30 | 1187.176 | [12 empty] | 01/10/2023 10:30 | 1228.666 | [12 empty] | 01/10/2023 10:30 | 1145.686
01/10/2023 11:00 | 1096.706 | [12 empty] | 01/10/2023 11:00 | 1135.991 | [12 empty] | 01/10/2023 11:00 | 1084.474
01/10/2023 11:30 | 1001.471 | [12 empty] | 01/10/2023 11:30 | 1071.194 | [12 empty] | 01/10/2023 11:30 | 995.0281
01/10/2023 12:00 | 939.0803 | [12 empty] | 01/10/2023 12:00 | 990.8126 | [12 empty] | 01/10/2023 12:00 | 918.4445
01/10/2023 12:30 | 959.1777 | [12 empty] | 01/10/2023 12:30 | 1001.045 | [12 empty] | 01/10/2023 12:30 | 925.9962
01/10/2023 13:00 | 996.7184 | [12 empty] | 01/10/2023 13:00 | 1039.478 | [12 empty] | 01/10/2023 13:00 | 959.5433
01/10/2023 13:30 | 1047.289 | [12 empty] | 01/10/2023 13:30 | 1093.024 | [12 empty] | 01/10/2023 13:30 | 1006.869
01/10/2023 14:00 | 1131.069 | [12 empty] | 01/10/2023 14:00 | 1179.622 | [12 empty] | 01/10/2023 14:00 | 1084.376
01/10/2023 14:30 | 1231.054 | [12 empty] | 01/10/2023 14:30 | 1284.925 | [12 empty] | 01/10/2023 14:30 | 1178.714
01/10/2023 15:00 | 1350.059 | [12 empty] | 01/10/2023 15:00 | 1410.891 | [12 empty] | 01/10/2023 15:00 | 1291.57
01/10/2023 15:30 | 1517.19 | [12 empty] | 01/10/2023 15:30 | 1586.053 | [12 empty] | 01/10/2023 15:30 | 1448.891
01/10/2023 16:00 | 1711.55 | [12 empty] | 01/10/2023 16:00 | 1790.304 | [12 empty] | 01/10/2023 16:00 | 1632.068
01/10/2023 16:30 | 1907.915 | [12 empty] | 01/10/2023 16:30 | 1997.476 | [12 empty] | 01/10/2023 16:30 | 1817.132
01/10/2023 17:00 | 2093.626 | [12 empty] | 01/10/2023 17:00 | 2193.296 | [12 empty] | 01/10/2023 17:00 | 1991.11
01/10/2023 17:30 | 2239.141 | [12 empty] | 01/10/2023 17:30 | 2349.666 | [12 empty] | 01/10/2023 17:30 | 2128.616
01/10/2023 18:00 | 2330.379 | [12 empty] | 01/10/2023 18:00 | 2447.834 | [12 empty] | 01/10/2023 18:00 | 2212.924
01/10/2023 18:30 | 2339.32 | [12 empty] | 01/10/2023 18:30 | 2459.014 | [12 empty] | 01/10/2023 18:30 | 2219.625
01/10/2023 19:00 | 2285.226 | [12 empty] | 01/10/2023 19:00 | 2402.646 | [12 empty] | 01/10/2023 19:00 | 2167.806
01/10/2023 19:30 | 2235.07 | [12 empty] | 01/10/2023 19:30 | 2350.501 | [12 empty] | 01/10/2023 19:30 | 2119.638
01/10/2023 20:00 | 2178.299 | [12 empty] | 01/10/2023 20:00 | 2291.372 | [12 empty] | 01/10/2023 20:00 | 2065.226
01/10/2023 20:30 | 2110.192 | [12 empty] | 01/10/2023 20:30 | 2220.285 | [12 empty] | 01/10/2023 20:30 | 2000.099
01/10/2023 21:00 | 2033.142 | [12 empty] | 01/10/2023 21:00 | 2139.751 | [12 empty] | 01/10/2023 21:00 | 1926.533
01/10/2023 21:30 | 1952.631 | [12 empty] | 01/10/2023 21:30 | 2055.532 | [12 empty] | 01/10/2023 21:30 | 1849.73
01/10/2023 22:00 | 1878.886 | [12 empty] | 01/10/2023 22:00 | 1978.396 | [12 empty] | 01/10/2023 22:00 | 1779.377
01/10/2023 22:30 | 1820.422 | [12 empty] | 01/10/2023 22:30 | 1917.315 | [12 empty] | 01/10/2023 22:30 | 1723.53
01/10/2023 23:00 | 1775.6 | [12 empty] | 01/10/2023 23:00 | 1870.574 | [12 empty] | 01/10/2023 23:00 | 1680.625
01/10/2023 23:30 | 1747.232 | [12 empty] | 01/10/2023 23:30 | 1837.145 | [12 empty] | 01/10/2023 23:30 | 1657.318
02/10/2023 00:00 | 1729.073 | [12 empty] | 02/10/2023 00:00 | 1810.739 | [12 empty] | 02/10/2023 00:00 | 1647.408
02/10/2023 00:30 | 1704.004 | [12 empty] | 02/10/2023 00:30 | 1785.832 | [12 empty] | 02/10/2023 00:30 | 1622.175
02/10/2023 01:00 | 1686.968 | [12 empty] | 02/10/2023 01:00 | 1768.639 | [12 empty] | 02/10/2023 01:00 | 1605.297
02/10/2023 01:30 | 1678.578 | [12 empty] | 02/10/2023 01:30 | 1760.5 | [12 empty] | 02/10/2023 01:30 | 1596.657
02/10/2023 02:00 | 1674.32 | [12 empty] | 02/10/2023 02:00 | 1756.688 | [12 empty] | 02/10/2023 02:00 | 1591.951
02/10/2023 02:30 | 1675.864 | [12 empty] | 02/10/2023 02:30 | 1758.965 | [12 empty] | 02/10/2023 02:30 | 1592.764
02/10/2023 03:00 | 1684.375 | [12 empty] | 02/10/2023 03:00 | 1768.557 | [12 empty] | 02/10/2023 03:00 | 1600.193
02/10/2023 03:30 | 1704.542 | [12 empty] | 02/10/2023 03:30 | 1790.399 | [12 empty] | 02/10/2023 03:30 | 1618.685
02/10/2023 04:00 | 1746.918 | [12 empty] | 02/10/2023 04:00 | 1835.594 | [12 empty] | 02/10/2023 04:00 | 1658.243
02/10/2023 04:30 | 1814.42 | [12 empty] | 02/10/2023 04:30 | 1907.231 | [12 empty] | 02/10/2023 04:30 | 1721.608
02/10/2023 05:00 | 1894.34 | [12 empty] | 02/10/2023 05:00 | 1991.982 | [12 empty] | 02/10/2023 05:00 | 1796.699
02/10/2023 05:30 | 1968.013 | [12 empty] | 02/10/2023 05:30 | 2070.222 | [12 empty] | 02/10/2023 05:30 | 1865.804
02/10/2023 06:00 | 2009.868 | [12 empty] | 02/10/2023 06:00 | 2115.038 | [12 empty] | 02/10/2023 06:00 | 1904.699
02/10/2023 06:30 | 2016.82 | [12 empty] | 02/10/2023 06:30 | 2122.98 | [12 empty] | 02/10/2023 06:30 | 1910.66
02/10/2023 07:00 | 1998.659 | [12 empty] | 02/10/2023 07:00 | 2104.166 | [12 empty] | 02/10/2023 07:00 | 1893.153
02/10/2023 07:30 | 1936.275 | [12 empty] | 02/10/2023 07:30 | 2038.809 | [12 empty] | 02/10/2023 07:30 | 1833.742
02/10/2023 08:00 | 1868.427 | [12 empty] | 02/10/2023 08:00 | 1967.676 | [12 empty] | 02/10/2023 08:00 | 1769.178
02/10/2023 08:30 | 1818.749 | [12 empty] | 02/10/2023 08:30 | 1915.66 | [12 empty] | 02/10/2023 08:30 | 1721.839
02/10/2023 09:00 | 1744.965 | [12 empty] | 02/10/2023 09:00 | 1838.232 | [12 empty] | 02/10/2023 09:00 | 1651.698
02/10/2023 09:30 | 1634.135 | [12 empty] | 02/10/2023 09:30 | 1721.748 | [12 empty] | 02/10/2023 09:30 | 1546.521
02/10/2023 10:00 | 1588.475 | [12 empty] | 02/10/2023 10:00 | 1673.902 | [12 empty] | 02/10/2023 10:00 | 1503.048
02/10/2023 10:30 | 1677.933 | [12 empty] | 02/10/2023 10:30 | 1768.448 | [12 empty] | 02/10/2023 10:30 | 1587.417
02/10/2023 11:00 | 1713.496 | [12 empty] | 02/10/2023 11:00 | 1806.212 | [12 empty] | 02/10/2023 11:00 | 1620.779
02/10/2023 11:30 | 1701.645 | [12 empty] | 02/10/2023 11:30 | 1794.001 | [12 empty] | 02/10/2023 11:30 | 1609.288
02/10/2023 12:00 | 1654.698 | [12 empty] | 02/10/2023 12:00 | 1744.78 | [12 empty] | 02/10/2023 12:00 | 1564.617
02/10/2023 12:30 | 1570.977 | [12 empty] | 02/10/2023 12:30 | 1656.76 | [12 empty] | 02/10/2023 12:30 | 1485.194
02/10/2023 13:00 | 1525.462 | [12 empty] | 02/10/2023 13:00 | 1609.011 | [12 empty] | 02/10/2023 13:00 | 1441.912
02/10/2023 13:30 | 1550.772 | [12 empty] | 02/10/2023 13:30 | 1635.964 | [12 empty] | 02/10/2023 13:30 | 1465.58
02/10/2023 14:00 | 1611.267 | [12 empty] | 02/10/2023 14:00 | 1700.048 | [12 empty] | 02/10/2023 14:00 | 1522.485
02/10/2023 14:30 | 1712.64 | [12 empty] | 02/10/2023 14:30 | 1807.29 | [12 empty] | 02/10/2023 14:30 | 1617.99
02/10/2023 15:00 | 1826.875 | [12 empty] | 02/10/2023 15:00 | 1928.14 | [12 empty] | 02/10/2023 15:00 | 1725.611
02/10/2023 15:30 | 1980.768 | [12 empty] | 02/10/2023 15:30 | 2090.89 | [12 empty] | 02/10/2023 15:30 | 1870.646
02/10/2023 16:00 | 2151.352 | [12 empty] | 02/10/2023 16:00 | 2271.313 | [12 empty] | 02/10/2023 16:00 | 2031.391
02/10/2023 16:30 | 2326.686 | [12 empty] | 02/10/2023 16:30 | 2456.807 | [12 empty] | 02/10/2023 16:30 | 2196.564
02/10/2023 17:00 | 2495.367 | [12 empty] | 02/10/2023 17:00 | 2635.334 | [12 empty] | 02/10/2023 17:00 | 2355.4
02/10/2023 17:30 | 2615.926 | [12 empty] | 02/10/2023 17:30 | 2763.087 | [12 empty] | 02/10/2023 17:30 | 2468.764
02/10/2023 18:00 | 2683.162 | [12 empty] | 02/10/2023 18:00 | 2834.548 | [12 empty] | 02/10/2023 18:00 | 2531.775
02/10/2023 18:30 | 2661.691 | [12 empty] | 02/10/2023 18:30 | 2812.307 | [12 empty] | 02/10/2023 18:30 | 2511.076
02/10/2023 19:00 | 2569.784 | [12 empty] | 02/10/2023 19:00 | 2715.623 | [12 empty] | 02/10/2023 19:00 | 2423.946
02/10/2023 19:30 | 2496.38 | [12 empty] | 02/10/2023 19:30 | 2638.465 | [12 empty] | 02/10/2023 19:30 | 2354.295
02/10/2023 20:00 | 2420.282 | [12 empty] | 02/10/2023 20:00 | 2558.436 | [12 empty] | 02/10/2023 20:00 | 2282.129
02/10/2023 20:30 | 2328.562 | [12 empty] | 02/10/2023 20:30 | 2461.865 | [12 empty] | 02/10/2023 20:30 | 2195.26
02/10/2023 21:00 | 2225.43 | [12 empty] | 02/10/2023 21:00 | 2353.196 | [12 empty] | 02/10/2023 21:00 | 2097.665
02/10/2023 21:30 | 2122.726 | [12 empty] | 02/10/2023 21:30 | 2244.946 | [12 empty] | 02/10/2023 21:30 | 2000.506
02/10/2023 22:00 | 2028.192 | [12 empty] | 02/10/2023 22:00 | 2145.304 | [12 empty] | 02/10/2023 22:00 | 1911.08
02/10/2023 22:30 | 1949.79 | [12 empty] | 02/10/2023 22:30 | 2062.696 | [12 empty] | 02/10/2023 22:30 | 1836.883
02/10/2023 23:00 | 1888.256 | [12 empty] | 02/10/2023 23:00 | 1997.911 | [12 empty] | 02/10/2023 23:00 | 1778.601
02/10/2023 23:30 | 1838.367 | [12 empty] | 02/10/2023 23:30 | 1933.95 | [12 empty] | 02/10/2023 23:30 | 1742.784
03/10/2023 00:00 | 1793.326 | [12 empty] | 03/10/2023 00:00 | 1864.56 | [12 empty] | 03/10/2023 00:00 | 1722.092
03/10/2023 00:30 | 1761.133 | [12 empty] | 03/10/2023 00:30 | 1832.884 | [12 empty] | 03/10/2023 00:30 | 1689.383
03/10/2023 01:00 | 1741.083 | [12 empty] | 03/10/2023 01:00 | 1811.957 | [12 empty] | 03/10/2023 01:00 | 1670.21
03/10/2023 01:30 | 1727.727 | [12 empty] | 03/10/2023 01:30 | 1797.998 | [12 empty] | 03/10/2023 01:30 | 1657.456
03/10/2023 02:00 | 1720.068 | [12 empty] | 03/10/2023 02:00 | 1789.968 | [12 empty] | 03/10/2023 02:00 | 1650.167
03/10/2023 02:30 | 1719.872 | [12 empty] | 03/10/2023 02:30 | 1789.705 | [12 empty] | 03/10/2023 02:30 | 1650.038
03/10/2023 03:00 | 1726.574 | [12 empty] | 03/10/2023 03:00 | 1796.62 | [12 empty] | 03/10/2023 03:00 | 1656.528
03/10/2023 03:30 | 1745.25 | [12 empty] | 03/10/2023 03:30 | 1815.994 | [12 empty] | 03/10/2023 03:30 | 1674.506
03/10/2023 04:00 | 1786.132 | [12 empty] | 03/10/2023 04:00 | 1858.472 | [12 empty] | 03/10/2023 04:00 | 1713.792
03/10/2023 04:30 | 1850.416 | [12 empty] | 03/10/2023 04:30 | 1925.295 | [12 empty] | 03/10/2023 04:30 | 1775.536
03/10/2023 05:00 | 1933.635 | [12 empty] | 03/10/2023 05:00 | 2011.816 | [12 empty] | 03/10/2023 05:00 | 1855.454
03/10/2023 05:30 | 2013.583 | [12 empty] | 03/10/2023 05:30 | 2094.928 | [12 empty] | 03/10/2023 05:30 | 1932.239
03/10/2023 06:00 | 2030.867 | [12 empty] | 03/10/2023 06:00 | 2112.839 | [12 empty] | 03/10/2023 06:00 | 1948.894
03/10/2023 06:30 | 1995.676 | [12 empty] | 03/10/2023 06:30 | 2076.234 | [12 empty] | 03/10/2023 06:30 | 1915.118
03/10/2023 07:00 | 1930.397 | [12 empty] | 03/10/2023 07:00 | 2008.47 | [12 empty] | 03/10/2023 07:00 | 1852.325
03/10/2023 07:30 | 1812.032 | [12 empty] | 03/10/2023 07:30 | 1885.446 | [12 empty] | 03/10/2023 07:30 | 1738.62
03/10/2023 08:00 | 1667.886 | [12 empty] | 03/10/2023 08:00 | 1735.577 | [12 empty] | 03/10/2023 08:00 | 1600.195
03/10/2023 08:30 | 1516.749 | [12 empty] | 03/10/2023 08:30 | 1578.413 | [12 empty] | 03/10/2023 08:30 | 1455.085
03/10/2023 09:00 | 1431.793 | [12 empty] | 03/10/2023 09:00 | 1490.105 | [12 empty] | 03/10/2023 09:00 | 1373.482
03/10/2023 09:30 | 1400.606 | [12 empty] | 03/10/2023 09:30 | 1457.746 | [12 empty] | 03/10/2023 09:30 | 1343.465
03/10/2023 10:00 | 1364.036 | [12 empty] | 03/10/2023 10:00 | 1419.781 | [12 empty] | 03/10/2023 10:00 | 1308.292
03/10/2023 10:30 | 1364.29 | [12 empty] | 03/10/2023 10:30 | 1420.141 | [12 empty] | 03/10/2023 10:30 | 1308.439
03/10/2023 11:00 | 1356.095 | [12 empty] | 03/10/2023 11:00 | 1411.707 | [12 empty] | 03/10/2023 11:00 | 1300.483
03/10/2023 11:30 | 1356.798 | [12 empty] | 03/10/2023 11:30 | 1412.534 | [12 empty] | 03/10/2023 11:30 | 1301.061
03/10/2023 12:00 | 1336.143 | [12 empty] | 03/10/2023 12:00 | 1391.126 | [12 empty] | 03/10/2023 12:00 | 1281.161
03/10/2023 12:30 | 1328.416 | [12 empty] | 03/10/2023 12:30 | 1383.174 | [12 empty] | 03/10/2023 12:30 | 1273.657
03/10/2023 13:00 | 1340.652 | [12 empty] | 03/10/2023 13:00 | 1396.009 | [12 empty] | 03/10/2023 13:00 | 1285.294
03/10/2023 13:30 | 1401.287 | [12 empty] | 03/10/2023 13:30 | 1459.247 | [12 empty] | 03/10/2023 13:30 | 1343.327
03/10/2023 14:00 | 1508.402 | [12 empty] | 03/10/2023 14:00 | 1570.899 | [12 empty] | 03/10/2023 14:00 | 1445.905
03/10/2023 14:30 | 1610.229 | [12 empty] | 03/10/2023 14:30 | 1677.06 | [12 empty] | 03/10/2023 14:30 | 1543.4
03/10/2023 15:00 | 1739.067 | [12 empty] | 03/10/2023 15:00 | 1811.367 | [12 empty] | 03/10/2023 15:00 | 1666.767
03/10/2023 15:30 | 1898.664 | [12 empty] | 03/10/2023 15:30 | 1977.733 | [12 empty] | 03/10/2023 15:30 | 1819.595
03/10/2023 16:00 | 2059.438 | [12 empty] | 03/10/2023 16:00 | 2145.348 | [12 empty] | 03/10/2023 16:00 | 1973.527
03/10/2023 16:30 | 2222.881 | [12 empty] | 03/10/2023 16:30 | 2315.766 | [12 empty] | 03/10/2023 16:30 | 2129.995
03/10/2023 17:00 | 2374.613 | [12 empty] | 03/10/2023 17:00 | 2474.006 | [12 empty] | 03/10/2023 17:00 | 2275.219
03/10/2023 17:30 | 2488.554 | [12 empty] | 03/10/2023 17:30 | 2592.892 | [12 empty] | 03/10/2023 17:30 | 2384.216
03/10/2023 18:00 | 2568.125 | [12 empty] | 03/10/2023 18:00 | 2675.982 | [12 empty] | 03/10/2023 18:00 | 2460.269
03/10/2023 18:30 | 2564.34 | [12 empty] | 03/10/2023 18:30 | 2672.218 | [12 empty] | 03/10/2023 18:30 | 2456.461
03/10/2023 19:00 | 2497.837 | [12 empty] | 03/10/2023 19:00 | 2603.094 | [12 empty] | 03/10/2023 19:00 | 2392.58
03/10/2023 19:30 | 2432.761 | [12 empty] | 03/10/2023 19:30 | 2535.448 | [12 empty] | 03/10/2023 19:30 | 2330.074
03/10/2023 20:00 | 2362.741 | [12 empty] | 03/10/2023 20:00 | 2462.639 | [12 empty] | 03/10/2023 20:00 | 2262.843
03/10/2023 20:30 | 2277.641 | [12 empty] | 03/10/2023 20:30 | 2374.102 | [12 empty] | 03/10/2023 20:30 | 2181.18
03/10/2023 21:00 | 2183.252 | [12 empty] | 03/10/2023 21:00 | 2275.562 | [12 empty] | 03/10/2023 21:00 | 2090.635
03/10/2023 21:30 | 2087.642 | [12 empty] | 03/10/2023 21:30 | 2176.056 | [12 empty] | 03/10/2023 21:30 | 1998.932
03/10/2023 22:00 | 1999.993 | [12 empty] | 03/10/2023 22:00 | 2084.837 | [12 empty] | 03/10/2023 22:00 | 1914.867
03/10/2023 22:30 | 1927.363 | [12 empty] | 03/10/2023 22:30 | 2009.261 | [12 empty] | 03/10/2023 22:30 | 1845.192
03/10/2023 23:00 | 1867.315 | [12 empty] | 03/10/2023 23:00 | 1946.795 | [12 empty] | 03/10/2023 23:00 | 1787.573
03/10/2023 23:30 | 1818.798 | [12 empty] | 03/10/2023 23:30 | 1912.533 | [12 empty] | 03/10/2023 23:30 | 1724.615
04/10/2023 00:00 | 1775.456 | [12 empty] | 04/10/2023 00:00 | 1898.481 | [12 empty] | 04/10/2023 00:00 | 1651.624
04/10/2023 00:30 | 1744.43 | [12 empty] | 04/10/2023 00:30 | 1863.05 | [12 empty] | 04/10/2023 00:30 | 1625.047
04/10/2023 01:00 | 1725.213 | [12 empty] | 04/10/2023 01:00 | 1842.903 | [12 empty] | 04/10/2023 01:00 | 1606.769
04/10/2023 01:30 | 1710.84 | [12 empty] | 04/10/2023 01:30 | 1827.924 | [12 empty] | 04/10/2023 01:30 | 1593.009
04/10/2023 02:00 | 1700.139 | [12 empty] | 04/10/2023 02:00 | 1816.862 | [12 empty] | 04/10/2023 02:00 | 1582.673
04/10/2023 02:30 | 1699.612 | [12 empty] | 04/10/2023 02:30 | 1816.67 | [12 empty] | 04/10/2023 02:30 | 1581.811
04/10/2023 03:00 | 1707.737 | [12 empty] | 04/10/2023 03:00 | 1825.728 | [12 empty] | 04/10/2023 03:00 | 1589
04/10/2023 03:30 | 1724.3 | [12 empty] | 04/10/2023 03:30 | 1843.812 | [12 empty] | 04/10/2023 03:30 | 1604.035
04/10/2023 04:00 | 1762.91 | [12 empty] | 04/10/2023 04:00 | 1885.483 | [12 empty] | 04/10/2023 04:00 | 1639.566
04/10/2023 04:30 | 1829.68 | [12 empty] | 04/10/2023 04:30 | 1957.296 | [12 empty] | 04/10/2023 04:30 | 1701.266
04/10/2023 05:00 | 1918.949 | [12 empty] | 04/10/2023 05:00 | 2053.21 | [12 empty] | 04/10/2023 05:00 | 1783.85
04/10/2023 05:30 | 2005.211 | [12 empty] | 04/10/2023 05:30 | 2145.945 | [12 empty] | 04/10/2023 05:30 | 1863.6
04/10/2023 06:00 | 2027.714 | [12 empty] | 04/10/2023 06:00 | 2170.471 | [12 empty] | 04/10/2023 06:00 | 1884.072
04/10/2023 06:30 | 1995.281 | [12 empty] | 04/10/2023 06:30 | 2136.19 | [12 empty] | 04/10/2023 06:30 | 1853.5
04/10/2023 07:00 | 1906.528 | [12 empty] | 04/10/2023 07:00 | 2041.586 | [12 empty] | 04/10/2023 07:00 | 1770.637
04/10/2023 07:30 | 1728.11 | [12 empty] | 04/10/2023 07:30 | 1850.907 | [12 empty] | 04/10/2023 07:30 | 1604.559
04/10/2023 08:00 | 1521.549 | [12 empty] | 04/10/2023 08:00 | 1630 | [12 empty] | 04/10/2023 08:00 | 1412.433
04/10/2023 08:30 | 1305.532 | [12 empty] | 04/10/2023 08:30 | 1398.872 | [12 empty] | 04/10/2023 08:30 | 1211.623
04/10/2023 09:00 | 1153.959 | [12 empty] | 04/10/2023 09:00 | 1236.714 | [12 empty] | 04/10/2023 09:00 | 1070.7
04/10/2023 09:30 | 1084.864 | [12 empty] | 04/10/2023 09:30 | 1162.9 | [12 empty] | 04/10/2023 09:30 | 1006.827
04/10/2023 10:00 | 1012.957 | [12 empty] | 04/10/2023 10:00 | 1086.043 | [12 empty] | 04/10/2023 10:00 | 939.8718
04/10/2023 10:30 | 969.3188 | [12 empty] | 04/10/2023 10:30 | 1039.468 | [12 empty] | 04/10/2023 10:30 | 899.17
04/10/2023 11:00 | 933.2281 | [12 empty] | 04/10/2023 11:00 | 1000.969 | [12 empty] | 04/10/2023 11:00 | 865.4874
04/10/2023 11:30 | 870.5168 | [12 empty] | 04/10/2023 11:30 | 933.8958 | [12 empty] | 04/10/2023 11:30 | 807.1379
04/10/2023 12:00 | 830.4021 | [12 empty] | 04/10/2023 12:00 | 891.0418 | [12 empty] | 04/10/2023 12:00 | 769.7623
04/10/2023 12:30 | 853.2306 | [12 empty] | 04/10/2023 12:30 | 915.7238 | [12 empty] | 04/10/2023 12:30 | 790.7374
04/10/2023 13:00 | 887.2186 | [12 empty] | 04/10/2023 13:00 | 952.3951 | [12 empty] | 04/10/2023 13:00 | 822.0422
04/10/2023 13:30 | 955.9125 | [12 empty] | 04/10/2023 13:30 | 1026.344 | [12 empty] | 04/10/2023 13:30 | 885.4808
04/10/2023 14:00 | 1048.602 | [12 empty] | 04/10/2023 14:00 | 1126.092 | [12 empty] | 04/10/2023 14:00 | 971.1119
04/10/2023 14:30 | 1174.923 | [12 empty] | 04/10/2023 14:30 | 1262.005 | [12 empty] | 04/10/2023 14:30 | 1087.841
04/10/2023 15:00 | 1364.724 | [12 empty] | 04/10/2023 15:00 | 1466.172 | [12 empty] | 04/10/2023 15:00 | 1263.277
04/10/2023 15:30 | 1617.596 | [12 empty] | 04/10/2023 15:30 | 1738.195 | [12 empty] | 04/10/2023 15:30 | 1496.998
04/10/2023 16:00 | 1846.404 | [12 empty] | 04/10/2023 16:00 | 1984.464 | [12 empty] | 04/10/2023 16:00 | 1708.344
04/10/2023 16:30 | 2032.789 | [12 empty] | 04/10/2023 16:30 | 2185.23 | [12 empty] | 04/10/2023 16:30 | 1880.349
04/10/2023 17:00 | 2212.524 | [12 empty] | 04/10/2023 17:00 | 2378.927 | [12 empty] | 04/10/2023 17:00 | 2046.121
04/10/2023 17:30 | 2355.089 | [12 empty] | 04/10/2023 17:30 | 2532.729 | [12 empty] | 04/10/2023 17:30 | 2177.45
04/10/2023 18:00 | 2453.515 | [12 empty] | 04/10/2023 18:00 | 2639.115 | [12 empty] | 04/10/2023 18:00 | 2267.916
04/10/2023 18:30 | 2463.69 | [12 empty] | 04/10/2023 18:30 | 2650.598 | [12 empty] | 04/10/2023 18:30 | 2276.782
04/10/2023 19:00 | 2397.285 | [12 empty] | 04/10/2023 19:00 | 2579.678 | [12 empty] | 04/10/2023 19:00 | 2214.892
04/10/2023 19:30 | 2340.588 | [12 empty] | 04/10/2023 19:30 | 2519.179 | [12 empty] | 04/10/2023 19:30 | 2161.997
04/10/2023 20:00 | 2279.494 | [12 empty] | 04/10/2023 20:00 | 2453.922 | [12 empty] | 04/10/2023 20:00 | 2105.066
04/10/2023 20:30 | 2204.573 | [12 empty] | 04/10/2023 20:30 | 2373.749 | [12 empty] | 04/10/2023 20:30 | 2035.396
04/10/2023 21:00 | 2120.487 | [12 empty] | 04/10/2023 21:00 | 2283.674 | [12 empty] | 04/10/2023 21:00 | 1957.3
04/10/2023 21:30 | 2034.513 | [12 empty] | 04/10/2023 21:30 | 2191.528 | [12 empty] | 04/10/2023 21:30 | 1877.498
04/10/2023 22:00 | 1955.391 | [12 empty] | 04/10/2023 22:00 | 2106.727 | [12 empty] | 04/10/2023 22:00 | 1804.055
04/10/2023 22:30 | 1888.652 | [12 empty] | 04/10/2023 22:30 | 2035.235 | [12 empty] | 04/10/2023 22:30 | 1742.068
04/10/2023 23:00 | 1835.439 | [12 empty] | 04/10/2023 23:00 | 1978.293 | [12 empty] | 04/10/2023 23:00 | 1692.584
04/10/2023 23:30 | 1787.395 | [12 empty] | 04/10/2023 23:30 | 1926.901 | [12 empty] | 04/10/2023 23:30 | 1647.889
05/10/2023 00:00 | 1747.787 | [12 empty] | 05/10/2023 00:00 | 1884.583 | [12 empty] | 05/10/2023 00:00 | 1610.991
05/10/2023 00:30 | 1720.874 | [12 empty] | 05/10/2023 00:30 | 1855.939 | [12 empty] | 05/10/2023 00:30 | 1585.808
05/10/2023 01:00 | 1703.056 | [12 empty] | 05/10/2023 01:00 | 1837.096 | [12 empty] | 05/10/2023 01:00 | 1569.017
05/10/2023 01:30 | 1691.025 | [12 empty] | 05/10/2023 01:30 | 1824.486 | [12 empty] | 05/10/2023 01:30 | 1557.563
05/10/2023 02:00 | 1684.707 | [12 empty] | 05/10/2023 02:00 | 1818.038 | [12 empty] | 05/10/2023 02:00 | 1551.375
05/10/2023 02:30 | 1682.428 | [12 empty] | 05/10/2023 02:30 | 1815.946 | [12 empty] | 05/10/2023 02:30 | 1548.909
05/10/2023 03:00 | 1688.696 | [12 empty] | 05/10/2023 03:00 | 1823.081 | [12 empty] | 05/10/2023 03:00 | 1554.311
05/10/2023 03:30 | 1705.288 | [12 empty] | 05/10/2023 03:30 | 1841.365 | [12 empty] | 05/10/2023 03:30 | 1569.21
05/10/2023 04:00 | 1741.827 | [12 empty] | 05/10/2023 04:00 | 1881.201 | [12 empty] | 05/10/2023 04:00 | 1602.453
05/10/2023 04:30 | 1804.821 | [12 empty] | 05/10/2023 04:30 | 1949.63 | [12 empty] | 05/10/2023 04:30 | 1660.012
05/10/2023 05:00 | 1866.525 | [12 empty] | 05/10/2023 05:00 | 2016.693 | [12 empty] | 05/10/2023 05:00 | 1716.357
05/10/2023 05:30 | 1892.156 | [12 empty] | 05/10/2023 05:30 | 2044.8 | [12 empty] | 05/10/2023 05:30 | 1739.513
05/10/2023 06:00 | 1856.314 | [12 empty] | 05/10/2023 06:00 | 2006.471 | [12 empty] | 05/10/2023 06:00 | 1706.156
05/10/2023 06:30 | 1759.433 | [12 empty] | 05/10/2023 06:30 | 1902.138 | [12 empty] | 05/10/2023 06:30 | 1616.728
05/10/2023 07:00 | 1643.012 | [12 empty] | 05/10/2023 07:00 | 1776.633 | [12 empty] | 05/10/2023 07:00 | 1509.391
05/10/2023 07:30 | 1497.25 | [12 empty] | 05/10/2023 07:30 | 1619.33 | [12 empty] | 05/10/2023 07:30 | 1375.171
05/10/2023 08:00 | 1342.508 | [12 empty] | 05/10/2023 08:00 | 1452.226 | [12 empty] | 05/10/2023 08:00 | 1232.791
05/10/2023 08:30 | 1183.723 | [12 empty] | 05/10/2023 08:30 | 1280.691 | [12 empty] | 05/10/2023 08:30 | 1086.755
05/10/2023 09:00 | 1068.064 | [12 empty] | 05/10/2023 09:00 | 1155.762 | [12 empty] | 05/10/2023 09:00 | 980.3663
05/10/2023 09:30 | 1001.063 | [12 empty] | 05/10/2023 09:30 | 1083.452 | [12 empty] | 05/10/2023 09:30 | 918.675
05/10/2023 10:00 | 944.7554 | [12 empty] | 05/10/2023 10:00 | 1022.691 | [12 empty] | 05/10/2023 10:00 | 866.8201
05/10/2023 10:30 | 920.8159 | [12 empty] | 05/10/2023 10:30 | 996.9529 | [12 empty] | 05/10/2023 10:30 | 844.6788
05/10/2023 11:00 | 912.1483 | [12 empty] | 05/10/2023 11:00 | 987.7434 | [12 empty] | 05/10/2023 11:00 | 836.5532
05/10/2023 11:30 | 912.7789 | [12 empty] | 05/10/2023 11:30 | 988.6013 | [12 empty] | 05/10/2023 11:30 | 836.9566
05/10/2023 12:00 | 909.0134 | [12 empty] | 05/10/2023 12:00 | 984.6971 | [12 empty] | 05/10/2023 12:00 | 833.3296
05/10/2023 12:30 | 943.8152 | [12 empty] | 05/10/2023 12:30 | 1022.577 | [12 empty] | 05/10/2023 12:30 | 865.0529
05/10/2023 13:00 | 1010.681 | [12 empty] | 05/10/2023 13:00 | 1095.217 | [12 empty] | 05/10/2023 13:00 | 926.145
05/10/2023 13:30 | 1098.524 | [12 empty] | 05/10/2023 13:30 | 1190.618 | [12 empty] | 05/10/2023 13:30 | 1006.43
05/10/2023 14:00 | 1213.851 | [12 empty] | 05/10/2023 14:00 | 1315.846 | [12 empty] | 05/10/2023 14:00 | 1111.856
05/10/2023 14:30 | 1376.112 | [12 empty] | 05/10/2023 14:30 | 1492.004 | [12 empty] | 05/10/2023 14:30 | 1260.219
05/10/2023 15:00 | 1540.264 | [12 empty] | 05/10/2023 15:00 | 1670.276 | [12 empty] | 05/10/2023 15:00 | 1410.251
05/10/2023 15:30 | 1716.234 | [12 empty] | 05/10/2023 15:30 | 1861.429 | [12 empty] | 05/10/2023 15:30 | 1571.039
05/10/2023 16:00 | 1901.389 | [12 empty] | 05/10/2023 16:00 | 2062.613 | [12 empty] | 05/10/2023 16:00 | 1740.166
05/10/2023 16:30 | 2096.292 | [12 empty] | 05/10/2023 16:30 | 2274.444 | [12 empty] | 05/10/2023 16:30 | 1918.141
05/10/2023 17:00 | 2265.018 | [12 empty] | 05/10/2023 17:00 | 2457.943 | [12 empty] | 05/10/2023 17:00 | 2072.093
05/10/2023 17:30 | 2381.796 | [12 empty] | 05/10/2023 17:30 | 2585.125 | [12 empty] | 05/10/2023 17:30 | 2178.468
05/10/2023 18:00 | 2450.715 | [12 empty] | 05/10/2023 18:00 | 2660.396 | [12 empty] | 05/10/2023 18:00 | 2241.034
05/10/2023 18:30 | 2445.445 | [12 empty] | 05/10/2023 18:30 | 2655.144 | [12 empty] | 05/10/2023 18:30 | 2235.746
05/10/2023 19:00 | 2371.697 | [12 empty] | 05/10/2023 19:00 | 2575.527 | [12 empty] | 05/10/2023 19:00 | 2167.867
05/10/2023 19:30 | 2313.55 | [12 empty] | 05/10/2023 19:30 | 2512.825 | [12 empty] | 05/10/2023 19:30 | 2114.274
05/10/2023 20:00 | 2253.41 | [12 empty] | 05/10/2023 20:00 | 2447.938 | [12 empty] | 05/10/2023 20:00 | 2058.882
05/10/2023 20:30 | 2180.302 | [12 empty] | 05/10/2023 20:30 | 2368.937 | [12 empty] | 05/10/2023 20:30 | 1991.668
05/10/2023 21:00 | 2096.806 | [12 empty] | 05/10/2023 21:00 | 2278.618 | [12 empty] | 05/10/2023 21:00 | 1914.993
05/10/2023 21:30 | 2023.458 | [12 empty] | 05/10/2023 21:30 | 2199.298 | [12 empty] | 05/10/2023 21:30 | 1847.617
05/10/2023 22:00 | 1953.922 | [12 empty] | 05/10/2023 22:00 | 2124.094 | [12 empty] | 05/10/2023 22:00 | 1783.75
05/10/2023 22:30 | 1890.938 | [12 empty] | 05/10/2023 22:30 | 2055.987 | [12 empty] | 05/10/2023 22:30 | 1725.889
05/10/2023 23:00 | 1838.092 | [12 empty] | 05/10/2023 23:00 | 1998.881 | [12 empty] | 05/10/2023 23:00 | 1677.303
05/10/2023 23:30 | 1795.462 | [12 empty] | 05/10/2023 23:30 | 1952.865 | [12 empty] | 05/10/2023 23:30 | 1638.058
06/10/2023 00:00 | 1758.538 | [12 empty] | 06/10/2023 00:00 | 1913.042 | [12 empty] | 06/10/2023 00:00 | 1604.035
06/10/2023 00:30 | 1731.01 | [12 empty] | 06/10/2023 00:30 | 1883.427 | [12 empty] | 06/10/2023 00:30 | 1578.594
06/10/2023 01:00 | 1712.916 | [12 empty] | 06/10/2023 01:00 | 1864.068 | [12 empty] | 06/10/2023 01:00 | 1561.764
06/10/2023 01:30 | 1702.298 | [12 empty] | 06/10/2023 01:30 | 1852.84 | [12 empty] | 06/10/2023 01:30 | 1551.757
06/10/2023 02:00 | 1695.358 | [12 empty] | 06/10/2023 02:00 | 1845.61 | [12 empty] | 06/10/2023 02:00 | 1545.105
06/10/2023 02:30 | 1692.913 | [12 empty] | 06/10/2023 02:30 | 1843.273 | [12 empty] | 06/10/2023 02:30 | 1542.553
06/10/2023 03:00 | 1696.416 | [12 empty] | 06/10/2023 03:00 | 1847.413 | [12 empty] | 06/10/2023 03:00 | 1545.419
06/10/2023 03:30 | 1711.512 | [12 empty] | 06/10/2023 03:30 | 1864.18 | [12 empty] | 06/10/2023 03:30 | 1558.844
06/10/2023 04:00 | 1744.172 | [12 empty] | 06/10/2023 04:00 | 1900.088 | [12 empty] | 06/10/2023 04:00 | 1588.256
06/10/2023 04:30 | 1799.731 | [12 empty] | 06/10/2023 04:30 | 1960.958 | [12 empty] | 06/10/2023 04:30 | 1638.504
06/10/2023 05:00 | 1856.359 | [12 empty] | 06/10/2023 05:00 | 2023.015 | [12 empty] | 06/10/2023 05:00 | 1689.703
06/10/2023 05:30 | 1889.124 | [12 empty] | 06/10/2023 05:30 | 2059.084 | [12 empty] | 06/10/2023 05:30 | 1719.165
06/10/2023 06:00 | 1871.733 | [12 empty] | 06/10/2023 06:00 | 2040.487 | [12 empty] | 06/10/2023 06:00 | 1702.979
06/10/2023 06:30 | 1782.233 | [12 empty] | 06/10/2023 06:30 | 1943.26 | [12 empty] | 06/10/2023 06:30 | 1621.207
06/10/2023 07:00 | 1666.761 | [12 empty] | 06/10/2023 07:00 | 1817.674 | [12 empty] | 06/10/2023 07:00 | 1515.849
06/10/2023 07:30 | 1516.084 | [12 empty] | 06/10/2023 07:30 | 1653.644 | [12 empty] | 06/10/2023 07:30 | 1378.523
06/10/2023 08:00 | 1366.01 | [12 empty] | 06/10/2023 08:00 | 1490.215 | [12 empty] | 06/10/2023 08:00 | 1241.804
06/10/2023 08:30 | 1224.16 | [12 empty] | 06/10/2023 08:30 | 1335.702 | [12 empty] | 06/10/2023 08:30 | 1112.617
06/10/2023 09:00 | 1111.213 | [12 empty] | 06/10/2023 09:00 | 1212.677 | [12 empty] | 06/10/2023 09:00 | 1009.749
06/10/2023 09:30 | 1041.524 | [12 empty] | 06/10/2023 09:30 | 1136.824 | [12 empty] | 06/10/2023 09:30 | 946.2238
06/10/2023 10:00 | 992.5774 | [12 empty] | 06/10/2023 10:00 | 1083.589 | [12 empty] | 06/10/2023 10:00 | 901.5656
06/10/2023 10:30 | 983.5009 | [12 empty] | 06/10/2023 10:30 | 1073.869 | [12 empty] | 06/10/2023 10:30 | 893.1328
06/10/2023 11:00 | 992.124 | [12 empty] | 06/10/2023 11:00 | 1083.475 | [12 empty] | 06/10/2023 11:00 | 900.7734
06/10/2023 11:30 | 1008.557 | [12 empty] | 06/10/2023 11:30 | 1101.614 | [12 empty] | 06/10/2023 11:30 | 915.4996
06/10/2023 12:00 | 1037.236 | [12 empty] | 06/10/2023 12:00 | 1133.138 | [12 empty] | 06/10/2023 12:00 | 941.3338
06/10/2023 12:30 | 1114.951 | [12 empty] | 06/10/2023 12:30 | 1218.253 | [12 empty] | 06/10/2023 12:30 | 1011.65
06/10/2023 13:00 | 1196.087 | [12 empty] | 06/10/2023 13:00 | 1307.134 | [12 empty] | 06/10/2023 13:00 | 1085.039
06/10/2023 13:30 | 1298.043 | [12 empty] | 06/10/2023 13:30 | 1418.806 | [12 empty] | 06/10/2023 13:30 | 1177.281
06/10/2023 14:00 | 1443.357 | [12 empty] | 06/10/2023 14:00 | 1577.915 | [12 empty] | 06/10/2023 14:00 | 1308.799
06/10/2023 14:30 | 1618.888 | [12 empty] | 06/10/2023 14:30 | 1770.12 | [12 empty] | 06/10/2023 14:30 | 1467.656
06/10/2023 15:00 | 1811.787 | [12 empty] | 06/10/2023 15:00 | 1981.386 | [12 empty] | 06/10/2023 15:00 | 1642.187
06/10/2023 15:30 | 1990.583 | [12 empty] | 06/10/2023 15:30 | 2177.301 | [12 empty] | 06/10/2023 15:30 | 1803.865
06/10/2023 16:00 | 2168.36 | [12 empty] | 06/10/2023 16:00 | 2372.169 | [12 empty] | 06/10/2023 16:00 | 1964.55
06/10/2023 16:30 | 2333.958 | [12 empty] | 06/10/2023 16:30 | 2553.781 | [12 empty] | 06/10/2023 16:30 | 2114.137
06/10/2023 17:00 | 2448.182 | [12 empty] | 06/10/2023 17:00 | 2679.231 | [12 empty] | 06/10/2023 17:00 | 2217.133
06/10/2023 17:30 | 2507.112 | [12 empty] | 06/10/2023 17:30 | 2744.203 | [12 empty] | 06/10/2023 17:30 | 2270.021
06/10/2023 18:00 | 2540.656 | [12 empty] | 06/10/2023 18:00 | 2781.406 | [12 empty] | 06/10/2023 18:00 | 2299.906
06/10/2023 18:30 | 2521.018 | [12 empty] | 06/10/2023 18:30 | 2760.391 | [12 empty] | 06/10/2023 18:30 | 2281.646
06/10/2023 19:00 | 2450.052 | [12 empty] | 06/10/2023 19:00 | 2683.156 | [12 empty] | 06/10/2023 19:00 | 2216.948
06/10/2023 19:30 | 2395.944 | [12 empty] | 06/10/2023 19:30 | 2624.359 | [12 empty] | 06/10/2023 19:30 | 2167.529
06/10/2023 20:00 | 2341.448 | [12 empty] | 06/10/2023 20:00 | 2565.117 | [12 empty] | 06/10/2023 20:00 | 2117.78
06/10/2023 20:30 | 2280.542 | [12 empty] | 06/10/2023 20:30 | 2498.829 | [12 empty] | 06/10/2023 20:30 | 2062.254
06/10/2023 21:00 | 2217.874 | [12 empty] | 06/10/2023 21:00 | 2430.588 | [12 empty] | 06/10/2023 21:00 | 2005.16
06/10/2023 21:30 | 2153.614 | [12 empty] | 06/10/2023 21:30 | 2360.578 | [12 empty] | 06/10/2023 21:30 | 1946.65
06/10/2023 22:00 | 2085.193 | [12 empty] | 06/10/2023 22:00 | 2285.982 | [12 empty] | 06/10/2023 22:00 | 1884.405
06/10/2023 22:30 | 2026.083 | [12 empty] | 06/10/2023 22:30 | 2221.568 | [12 empty] | 06/10/2023 22:30 | 1830.599
06/10/2023 23:00 | 1981.294 | [12 empty] | 06/10/2023 23:00 | 2172.837 | [12 empty] | 06/10/2023 23:00 | 1789.751
06/10/2023 23:30 | 1951.67 | [12 empty] | 06/10/2023 23:30 | 2138.349 | [12 empty] | 06/10/2023 23:30 | 1764.991
07/10/2023 00:00 | 1925.799 | [12 empty] | 07/10/2023 00:00 | 2105.636 | [12 empty] | 07/10/2023 00:00 | 1745.963
07/10/2023 00:30 | 1901.128 | [12 empty] | 07/10/2023 00:30 | 2079.136 | [12 empty] | 07/10/2023 00:30 | 1723.119
07/10/2023 01:00 | 1878.883 | [12 empty] | 07/10/2023 01:00 | 2054.904 | [12 empty] | 07/10/2023 01:00 | 1702.861
07/10/2023 01:30 | 1853.67 | [12 empty] | 07/10/2023 01:30 | 2027.423 | [12 empty] | 07/10/2023 01:30 | 1679.916
07/10/2023 02:00 | 1835.185 | [12 empty] | 07/10/2023 02:00 | 2007.299 | [12 empty] | 07/10/2023 02:00 | 1663.07
07/10/2023 02:30 | 1819.657 | [12 empty] | 07/10/2023 02:30 | 1990.408 | [12 empty] | 07/10/2023 02:30 | 1648.906
07/10/2023 03:00 | 1809.338 | [12 empty] | 07/10/2023 03:00 | 1979.213 | [12 empty] | 07/10/2023 03:00 | 1639.463
07/10/2023 03:30 | 1809.89 | [12 empty] | 07/10/2023 03:30 | 1979.909 | [12 empty] | 07/10/2023 03:30 | 1639.871
07/10/2023 04:00 | 1820.738 | [12 empty] | 07/10/2023 04:00 | 1991.869 | [12 empty] | 07/10/2023 04:00 | 1649.607
07/10/2023 04:30 | 1834.002 | [12 empty] | 07/10/2023 04:30 | 2006.474 | [12 empty] | 07/10/2023 04:30 | 1661.531
07/10/2023 05:00 | 1843.082 | [12 empty] | 07/10/2023 05:00 | 2016.501 | [12 empty] | 07/10/2023 05:00 | 1669.663
07/10/2023 05:30 | 1839.53 | [12 empty] | 07/10/2023 05:30 | 2012.709 | [12 empty] | 07/10/2023 05:30 | 1666.352
07/10/2023 06:00 | 1793.336 | [12 empty] | 07/10/2023 06:00 | 1962.257 | [12 empty] | 07/10/2023 06:00 | 1624.415
07/10/2023 06:30 | 1690.731 | [12 empty] | 07/10/2023 06:30 | 1850.074 | [12 empty] | 07/10/2023 06:30 | 1531.389
07/10/2023 07:00 | 1571.948 | [12 empty] | 07/10/2023 07:00 | 1720.176 | [12 empty] | 07/10/2023 07:00 | 1423.72
07/10/2023 07:30 | 1431.911 | [12 empty] | 07/10/2023 07:30 | 1567.209 | [12 empty] | 07/10/2023 07:30 | 1296.613
07/10/2023 08:00 | 1289.106 | [12 empty] | 07/10/2023 08:00 | 1411.519 | [12 empty] | 07/10/2023 08:00 | 1166.693
07/10/2023 08:30 | 1151.993 | [12 empty] | 07/10/2023 08:30 | 1261.901 | [12 empty] | 07/10/2023 08:30 | 1042.085
07/10/2023 09:00 | 1052.751 | [12 empty] | 07/10/2023 09:00 | 1153.661 | [12 empty] | 07/10/2023 09:00 | 951.84
07/10/2023 09:30 | 980.8151 | [12 empty] | 07/10/2023 09:30 | 1075.269 | [12 empty] | 07/10/2023 09:30 | 886.3608
07/10/2023 10:00 | 928.3696 | [12 empty] | 07/10/2023 10:00 | 1018.189 | [12 empty] | 07/10/2023 10:00 | 838.5505
07/10/2023 10:30 | 931.6444 | [12 empty] | 07/10/2023 10:30 | 1022.197 | [12 empty] | 07/10/2023 10:30 | 841.0916
07/10/2023 11:00 | 949.864 | [12 empty] | 07/10/2023 11:00 | 1042.613 | [12 empty] | 07/10/2023 11:00 | 857.1153
07/10/2023 11:30 | 998.8627 | [12 empty] | 07/10/2023 11:30 | 1096.843 | [12 empty] | 07/10/2023 11:30 | 900.8826
07/10/2023 12:00 | 1046.469 | [12 empty] | 07/10/2023 12:00 | 1149.587 | [12 empty] | 07/10/2023 12:00 | 943.3511
07/10/2023 12:30 | 1098.381 | [12 empty] | 07/10/2023 12:30 | 1207.106 | [12 empty] | 07/10/2023 12:30 | 989.6558
07/10/2023 13:00 | 1166.491 | [12 empty] | 07/10/2023 13:00 | 1282.48 | [12 empty] | 07/10/2023 13:00 | 1050.502
07/10/2023 13:30 | 1297.293 | [12 empty] | 07/10/2023 13:30 | 1426.869 | [12 empty] | 07/10/2023 13:30 | 1167.717
07/10/2023 14:00 | 1476.271 | [12 empty] | 07/10/2023 14:00 | 1624.384 | [12 empty] | 07/10/2023 14:00 | 1328.158
07/10/2023 14:30 | 1664.252 | [12 empty] | 07/10/2023 14:30 | 1831.969 | [12 empty] | 07/10/2023 14:30 | 1496.534
07/10/2023 15:00 | 1884.041 | [12 empty] | 07/10/2023 15:00 | 2074.751 | [12 empty] | 07/10/2023 15:00 | 1693.331
07/10/2023 15:30 | 2111.519 | [12 empty] | 07/10/2023 15:30 | 2326.2 | [12 empty] | 07/10/2023 15:30 | 1896.838
07/10/2023 16:00 | 2282.411 | [12 empty] | 07/10/2023 16:00 | 2515.489 | [12 empty] | 07/10/2023 16:00 | 2049.334
07/10/2023 16:30 | 2393.299 | [12 empty] | 07/10/2023 16:30 | 2638.771 | [12 empty] | 07/10/2023 16:30 | 2147.827
07/10/2023 17:00 | 2489.873 | [12 empty] | 07/10/2023 17:00 | 2746.364 | [12 empty] | 07/10/2023 17:00 | 2233.381
07/10/2023 17:30 | 2583.413 | [12 empty] | 07/10/2023 17:30 | 2850.696 | [12 empty] | 07/10/2023 17:30 | 2316.129
07/10/2023 18:00 | 2630.141 | [12 empty] | 07/10/2023 18:00 | 2903.435 | [12 empty] | 07/10/2023 18:00 | 2356.846
07/10/2023 18:30 | 2615.199 | [12 empty] | 07/10/2023 18:30 | 2888.111 | [12 empty] | 07/10/2023 18:30 | 2342.287
07/10/2023 19:00 | 2553.924 | [12 empty] | 07/10/2023 19:00 | 2821.585 | [12 empty] | 07/10/2023 19:00 | 2286.264
07/10/2023 19:30 | 2485.205 | [12 empty] | 07/10/2023 19:30 | 2746.776 | [12 empty] | 07/10/2023 19:30 | 2223.635
07/10/2023 20:00 | 2420.088 | [12 empty] | 07/10/2023 20:00 | 2675.887 | [12 empty] | 07/10/2023 20:00 | 2164.288
07/10/2023 20:30 | 2365.93 | [12 empty] | 07/10/2023 20:30 | 2617.064 | [12 empty] | 07/10/2023 20:30 | 2114.796
07/10/2023 21:00 | 2306.294 | [12 empty] | 07/10/2023 21:00 | 2552.13 | [12 empty] | 07/10/2023 21:00 | 2060.458
07/10/2023 21:30 | 2234.957 | [12 empty] | 07/10/2023 21:30 | 2474.189 | [12 empty] | 07/10/2023 21:30 | 1995.725
07/10/2023 22:00 | 2161.197 | [12 empty] | 07/10/2023 22:00 | 2393.501 | [12 empty] | 07/10/2023 22:00 | 1928.893
07/10/2023 22:30 | 2098.514 | [12 empty] | 07/10/2023 22:30 | 2325.02 | [12 empty] | 07/10/2023 22:30 | 1872.009
07/10/2023 23:00 | 2043.688 | [12 empty] | 07/10/2023 23:00 | 2265.19 | [12 empty] | 07/10/2023 23:00 | 1822.186
07/10/2023 23:30 | 2004.042 | [12 empty] | 07/10/2023 23:30 | 2222.144 | [12 empty] | 07/10/2023 23:30 | 1785.94
08/10/2023 00:00 | 1971.308 | [12 empty] | 08/10/2023 00:00 | 2186.729 | [12 empty] | 08/10/2023 00:00 | 1755.887
08/10/2023 00:30 | 1935.709 | [12 empty] | 08/10/2023 00:30 | 2148.107 | [12 empty] | 08/10/2023 00:30 | 1723.312
08/10/2023 01:00 | 1907.855 | [12 empty] | 08/10/2023 01:00 | 2118.049 | [12 empty] | 08/10/2023 01:00 | 1697.66
08/10/2023 01:30 | 1882.987 | [12 empty] | 08/10/2023 01:30 | 2091.284 | [12 empty] | 08/10/2023 01:30 | 1674.69
08/10/2023 02:00 | 1863.565 | [12 empty] | 08/10/2023 02:00 | 2070.548 | [12 empty] | 08/10/2023 02:00 | 1656.582
08/10/2023 02:30 | 1849.279 | [12 empty] | 08/10/2023 02:30 | 2055.502 | [12 empty] | 08/10/2023 02:30 | 1643.055
08/10/2023 03:00 | 1838.405 | [12 empty] | 08/10/2023 03:00 | 2044.239 | [12 empty] | 08/10/2023 03:00 | 1632.571
08/10/2023 03:30 | 1831.926 | [12 empty] | 08/10/2023 03:30 | 2037.854 | [12 empty] | 08/10/2023 03:30 | 1625.998
08/10/2023 04:00 | 1831.426 | [12 empty] | 08/10/2023 04:00 | 2038.117 | [12 empty] | 08/10/2023 04:00 | 1624.734
08/10/2023 04:30 | 1834.167 | [12 empty] | 08/10/2023 04:30 | 2041.988 | [12 empty] | 08/10/2023 04:30 | 1626.346
08/10/2023 05:00 | 1830.477 | [12 empty] | 08/10/2023 05:00 | 2038.699 | [12 empty] | 08/10/2023 05:00 | 1622.255
08/10/2023 05:30 | 1806.881 | [12 empty] | 08/10/2023 05:30 | 2013.228 | [12 empty] | 08/10/2023 05:30 | 1600.535
08/10/2023 06:00 | 1737.194 | [12 empty] | 08/10/2023 06:00 | 1936.36 | [12 empty] | 08/10/2023 06:00 | 1538.029
08/10/2023 06:30 | 1629.458 | [12 empty] | 08/10/2023 06:30 | 1817 | [12 empty] | 08/10/2023 06:30 | 1441.915
08/10/2023 07:00 | 1512.628 | [12 empty] | 08/10/2023 07:00 | 1687.401 | [12 empty] | 08/10/2023 07:00 | 1337.854
08/10/2023 07:30 | 1373.753 | [12 empty] | 08/10/2023 07:30 | 1533.096 | [12 empty] | 08/10/2023 07:30 | 1214.411