## ST-PASA
Scenario Heading Definitions
Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
|  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
|  | 300MW | 0MW | 10MW | 0MW | 10MW | 0MW | 10MW | 0MW | 10MW | 0MW | <7550MWs | <7300MWs
Scenario |  | Violations
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
Reference Scenario |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
High Demand Scenario |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low Demand Scenario |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Detail view - Reference Load Scenario | [13 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Dispatch Interval | Forecast Operational Demand (in MW) | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Forecast Operational Demand (in MW) | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Forecast Operational Demand (in MW) | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 |  |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 |  |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
02/10/2023 08:00 | 1651 | [12 empty] | 02/10/2023 08:00 | 1715.309 | [12 empty] | 02/10/2023 08:00 | 1523.383
02/10/2023 08:30 | 1601.398 | [12 empty] | 02/10/2023 08:30 | 1628.781 | [12 empty] | 02/10/2023 08:30 | 1469.529
02/10/2023 09:00 | 1525.002 | [12 empty] | 02/10/2023 09:00 | 1555.613 | [12 empty] | 02/10/2023 09:00 | 1420.184
02/10/2023 09:30 | 1500.48 | [12 empty] | 02/10/2023 09:30 | 1535.058 | [12 empty] | 02/10/2023 09:30 | 1339.128
02/10/2023 10:00 | 1433.537 | [12 empty] | 02/10/2023 10:00 | 1470.834 | [12 empty] | 02/10/2023 10:00 | 1228.261
02/10/2023 10:30 | 1426.127 | [12 empty] | 02/10/2023 10:30 | 1419.46 | [12 empty] | 02/10/2023 10:30 | 1145.686
02/10/2023 11:00 | 1418.414 | [12 empty] | 02/10/2023 11:00 | 1425.046 | [12 empty] | 02/10/2023 11:00 | 1084.474
02/10/2023 11:30 | 1394.721 | [12 empty] | 02/10/2023 11:30 | 1418.092 | [12 empty] | 02/10/2023 11:30 | 995.0281
02/10/2023 12:00 | 1352.916 | [12 empty] | 02/10/2023 12:00 | 1390.823 | [12 empty] | 02/10/2023 12:00 | 918.4445
02/10/2023 12:30 | 1341.084 | [12 empty] | 02/10/2023 12:30 | 1381.75 | [12 empty] | 02/10/2023 12:30 | 925.9962
02/10/2023 13:00 | 1338.543 | [12 empty] | 02/10/2023 13:00 | 1380.425 | [12 empty] | 02/10/2023 13:00 | 959.5433
02/10/2023 13:30 | 1346.464 | [12 empty] | 02/10/2023 13:30 | 1390.353 | [12 empty] | 02/10/2023 13:30 | 1006.869
02/10/2023 14:00 | 1405.138 | [12 empty] | 02/10/2023 14:00 | 1452.627 | [12 empty] | 02/10/2023 14:00 | 1084.376
02/10/2023 14:30 | 1522.964 | [12 empty] | 02/10/2023 14:30 | 1575.65 | [12 empty] | 02/10/2023 14:30 | 1178.714
02/10/2023 15:00 | 1656.238 | [12 empty] | 02/10/2023 15:00 | 1715.633 | [12 empty] | 02/10/2023 15:00 | 1291.57
02/10/2023 15:30 | 1818.007 | [12 empty] | 02/10/2023 15:30 | 1884.967 | [12 empty] | 02/10/2023 15:30 | 1448.891
02/10/2023 16:00 | 1997.206 | [12 empty] | 02/10/2023 16:00 | 2074.593 | [12 empty] | 02/10/2023 16:00 | 1632.068
02/10/2023 16:30 | 2182.868 | [12 empty] | 02/10/2023 16:30 | 2269.55 | [12 empty] | 02/10/2023 16:30 | 1817.132
02/10/2023 17:00 | 2364.557 | [12 empty] | 02/10/2023 17:00 | 2460.732 | [12 empty] | 02/10/2023 17:00 | 1991.11
02/10/2023 17:30 | 2497.169 | [12 empty] | 02/10/2023 17:30 | 2601.143 | [12 empty] | 02/10/2023 17:30 | 2128.616
02/10/2023 18:00 | 2569.237 | [12 empty] | 02/10/2023 18:00 | 2678.686 | [12 empty] | 02/10/2023 18:00 | 2212.924
02/10/2023 18:30 | 2551.412 | [12 empty] | 02/10/2023 18:30 | 2662.039 | [12 empty] | 02/10/2023 18:30 | 2219.625
02/10/2023 19:00 | 2462.882 | [12 empty] | 02/10/2023 19:00 | 2570.549 | [12 empty] | 02/10/2023 19:00 | 2167.806
02/10/2023 19:30 | 2389.312 | [12 empty] | 02/10/2023 19:30 | 2494.698 | [12 empty] | 02/10/2023 19:30 | 2119.638
02/10/2023 20:00 | 2312.934 | [12 empty] | 02/10/2023 20:00 | 2415.856 | [12 empty] | 02/10/2023 20:00 | 2065.226
02/10/2023 20:30 | 2221.909 | [12 empty] | 02/10/2023 20:30 | 2321.65 | [12 empty] | 02/10/2023 20:30 | 2000.099
02/10/2023 21:00 | 2118.325 | [12 empty] | 02/10/2023 21:00 | 2214.246 | [12 empty] | 02/10/2023 21:00 | 1926.533
02/10/2023 21:30 | 2014.606 | [12 empty] | 02/10/2023 21:30 | 2106.619 | [12 empty] | 02/10/2023 21:30 | 1849.73
02/10/2023 22:00 | 1918.611 | [12 empty] | 02/10/2023 22:00 | 2006.991 | [12 empty] | 02/10/2023 22:00 | 1779.377
02/10/2023 22:30 | 1838.94 | [12 empty] | 02/10/2023 22:30 | 1924.369 | [12 empty] | 02/10/2023 22:30 | 1723.53
02/10/2023 23:00 | 1777.734 | [12 empty] | 02/10/2023 23:00 | 1861.016 | [12 empty] | 02/10/2023 23:00 | 1680.625
02/10/2023 23:30 | 1728.837 | [12 empty] | 02/10/2023 23:30 | 1805.764 | [12 empty] | 02/10/2023 23:30 | 1657.318
03/10/2023 00:00 | 1684.528 | [12 empty] | 03/10/2023 00:00 | 1750.862 | [12 empty] | 03/10/2023 00:00 | 1647.408
03/10/2023 00:30 | 1652.744 | [12 empty] | 03/10/2023 00:30 | 1718.861 | [12 empty] | 03/10/2023 00:30 | 1622.175
03/10/2023 01:00 | 1632.763 | [12 empty] | 03/10/2023 01:00 | 1698.361 | [12 empty] | 03/10/2023 01:00 | 1605.297
03/10/2023 01:30 | 1619.119 | [12 empty] | 03/10/2023 01:30 | 1684.446 | [12 empty] | 03/10/2023 01:30 | 1596.657
03/10/2023 02:00 | 1611.577 | [12 empty] | 03/10/2023 02:00 | 1676.885 | [12 empty] | 03/10/2023 02:00 | 1591.951
03/10/2023 02:30 | 1610.875 | [12 empty] | 03/10/2023 02:30 | 1676.43 | [12 empty] | 03/10/2023 02:30 | 1592.764
03/10/2023 03:00 | 1617.122 | [12 empty] | 03/10/2023 03:00 | 1683.209 | [12 empty] | 03/10/2023 03:00 | 1600.193
03/10/2023 03:30 | 1635.531 | [12 empty] | 03/10/2023 03:30 | 1702.65 | [12 empty] | 03/10/2023 03:30 | 1618.685
03/10/2023 04:00 | 1676.24 | [12 empty] | 03/10/2023 04:00 | 1745.317 | [12 empty] | 03/10/2023 04:00 | 1658.243
03/10/2023 04:30 | 1740.949 | [12 empty] | 03/10/2023 04:30 | 1812.991 | [12 empty] | 03/10/2023 04:30 | 1721.608
03/10/2023 05:00 | 1819.131 | [12 empty] | 03/10/2023 05:00 | 1894.719 | [12 empty] | 03/10/2023 05:00 | 1796.699
03/10/2023 05:30 | 1896.134 | [12 empty] | 03/10/2023 05:30 | 1975.241 | [12 empty] | 03/10/2023 05:30 | 1865.804
03/10/2023 06:00 | 1939.82 | [12 empty] | 03/10/2023 06:00 | 2021.082 | [12 empty] | 03/10/2023 06:00 | 1904.699
03/10/2023 06:30 | 1947.345 | [12 empty] | 03/10/2023 06:30 | 2029.114 | [12 empty] | 03/10/2023 06:30 | 1910.66
03/10/2023 07:00 | 1914.331 | [12 empty] | 03/10/2023 07:00 | 1994.623 | [12 empty] | 03/10/2023 07:00 | 1893.153
03/10/2023 07:30 | 1811.879 | [12 empty] | 03/10/2023 07:30 | 1887.812 | [12 empty] | 03/10/2023 07:30 | 1833.742
03/10/2023 08:00 | 1698.594 | [12 empty] | 03/10/2023 08:00 | 1769.721 | [12 empty] | 03/10/2023 08:00 | 1769.178
03/10/2023 08:30 | 1610.817 | [12 empty] | 03/10/2023 08:30 | 1678.213 | [12 empty] | 03/10/2023 08:30 | 1721.839
03/10/2023 09:00 | 1536.968 | [12 empty] | 03/10/2023 09:00 | 1601.222 | [12 empty] | 03/10/2023 09:00 | 1651.698
03/10/2023 09:30 | 1456.469 | [12 empty] | 03/10/2023 09:30 | 1517.307 | [12 empty] | 03/10/2023 09:30 | 1546.521
03/10/2023 10:00 | 1382.282 | [12 empty] | 03/10/2023 10:00 | 1439.974 | [12 empty] | 03/10/2023 10:00 | 1503.048
03/10/2023 10:30 | 1353.553 | [12 empty] | 03/10/2023 10:30 | 1409.999 | [12 empty] | 03/10/2023 10:30 | 1587.417
03/10/2023 11:00 | 1334.458 | [12 empty] | 03/10/2023 11:00 | 1390.062 | [12 empty] | 03/10/2023 11:00 | 1620.779
03/10/2023 11:30 | 1348.09 | [12 empty] | 03/10/2023 11:30 | 1404.217 | [12 empty] | 03/10/2023 11:30 | 1609.288
03/10/2023 12:00 | 1341.348 | [12 empty] | 03/10/2023 12:00 | 1397.148 | [12 empty] | 03/10/2023 12:00 | 1564.617
03/10/2023 12:30 | 1322.719 | [12 empty] | 03/10/2023 12:30 | 1377.699 | [12 empty] | 03/10/2023 12:30 | 1485.194
03/10/2023 13:00 | 1320.804 | [12 empty] | 03/10/2023 13:00 | 1375.658 | [12 empty] | 03/10/2023 13:00 | 1441.912
03/10/2023 13:30 | 1362.845 | [12 empty] | 03/10/2023 13:30 | 1419.399 | [12 empty] | 03/10/2023 13:30 | 1465.58
03/10/2023 14:00 | 1444.626 | [12 empty] | 03/10/2023 14:00 | 1504.524 | [12 empty] | 03/10/2023 14:00 | 1522.485
03/10/2023 14:30 | 1539.98 | [12 empty] | 03/10/2023 14:30 | 1603.778 | [12 empty] | 03/10/2023 14:30 | 1617.99
03/10/2023 15:00 | 1652.315 | [12 empty] | 03/10/2023 15:00 | 1720.71 | [12 empty] | 03/10/2023 15:00 | 1725.611
03/10/2023 15:30 | 1790.209 | [12 empty] | 03/10/2023 15:30 | 1864.264 | [12 empty] | 03/10/2023 15:30 | 1870.646
03/10/2023 16:00 | 1941.397 | [12 empty] | 03/10/2023 16:00 | 2021.604 | [12 empty] | 03/10/2023 16:00 | 2031.391
03/10/2023 16:30 | 2106.045 | [12 empty] | 03/10/2023 16:30 | 2192.941 | [12 empty] | 03/10/2023 16:30 | 2196.564
03/10/2023 17:00 | 2264.875 | [12 empty] | 03/10/2023 17:00 | 2358.217 | [12 empty] | 03/10/2023 17:00 | 2355.4
03/10/2023 17:30 | 2381.103 | [12 empty] | 03/10/2023 17:30 | 2479.127 | [12 empty] | 03/10/2023 17:30 | 2468.764
03/10/2023 18:00 | 2458.207 | [12 empty] | 03/10/2023 18:00 | 2559.302 | [12 empty] | 03/10/2023 18:00 | 2531.775
03/10/2023 18:30 | 2453.757 | [12 empty] | 03/10/2023 18:30 | 2554.553 | [12 empty] | 03/10/2023 18:30 | 2511.076
03/10/2023 19:00 | 2383.983 | [12 empty] | 03/10/2023 19:00 | 2481.801 | [12 empty] | 03/10/2023 19:00 | 2423.946
03/10/2023 19:30 | 2321.385 | [12 empty] | 03/10/2023 19:30 | 2416.56 | [12 empty] | 03/10/2023 19:30 | 2354.295
03/10/2023 20:00 | 2252.9 | [12 empty] | 03/10/2023 20:00 | 2345.194 | [12 empty] | 03/10/2023 20:00 | 2282.129
03/10/2023 20:30 | 2168.198 | [12 empty] | 03/10/2023 20:30 | 2256.954 | [12 empty] | 03/10/2023 20:30 | 2195.26
03/10/2023 21:00 | 2073.115 | [12 empty] | 03/10/2023 21:00 | 2158.075 | [12 empty] | 03/10/2023 21:00 | 2097.665
03/10/2023 21:30 | 1977.356 | [12 empty] | 03/10/2023 21:30 | 2058.323 | [12 empty] | 03/10/2023 21:30 | 2000.506
03/10/2023 22:00 | 1889.355 | [12 empty] | 03/10/2023 22:00 | 1966.654 | [12 empty] | 03/10/2023 22:00 | 1911.08
03/10/2023 22:30 | 1816.783 | [12 empty] | 03/10/2023 22:30 | 1891.05 | [12 empty] | 03/10/2023 22:30 | 1836.883
03/10/2023 23:00 | 1757.499 | [12 empty] | 03/10/2023 23:00 | 1829.282 | [12 empty] | 03/10/2023 23:00 | 1778.601
03/10/2023 23:30 | 1714.692 | [12 empty] | 03/10/2023 23:30 | 1795.375 | [12 empty] | 03/10/2023 23:30 | 1742.784
04/10/2023 00:00 | 1684.096 | [12 empty] | 04/10/2023 00:00 | 1784.226 | [12 empty] | 04/10/2023 00:00 | 1722.092
04/10/2023 00:30 | 1664.254 | [12 empty] | 04/10/2023 00:30 | 1761.725 | [12 empty] | 04/10/2023 00:30 | 1689.383
04/10/2023 01:00 | 1654.568 | [12 empty] | 04/10/2023 01:00 | 1751.745 | [12 empty] | 04/10/2023 01:00 | 1670.21
04/10/2023 01:30 | 1650.465 | [12 empty] | 04/10/2023 01:30 | 1747.674 | [12 empty] | 04/10/2023 01:30 | 1657.456
04/10/2023 02:00 | 1651.183 | [12 empty] | 04/10/2023 02:00 | 1748.707 | [12 empty] | 04/10/2023 02:00 | 1650.167
04/10/2023 02:30 | 1660.693 | [12 empty] | 04/10/2023 02:30 | 1759.052 | [12 empty] | 04/10/2023 02:30 | 1650.038
04/10/2023 03:00 | 1679.001 | [12 empty] | 04/10/2023 03:00 | 1778.722 | [12 empty] | 04/10/2023 03:00 | 1656.528
04/10/2023 03:30 | 1707.237 | [12 empty] | 04/10/2023 03:30 | 1808.916 | [12 empty] | 04/10/2023 03:30 | 1674.506
04/10/2023 04:00 | 1756.964 | [12 empty] | 04/10/2023 04:00 | 1861.896 | [12 empty] | 04/10/2023 04:00 | 1713.792
04/10/2023 04:30 | 1833.951 | [12 empty] | 04/10/2023 04:30 | 1943.783 | [12 empty] | 04/10/2023 04:30 | 1775.536
04/10/2023 05:00 | 1922.358 | [12 empty] | 04/10/2023 05:00 | 2037.802 | [12 empty] | 04/10/2023 05:00 | 1855.454
04/10/2023 05:30 | 1998.076 | [12 empty] | 04/10/2023 05:30 | 2118.397 | [12 empty] | 04/10/2023 05:30 | 1932.239
04/10/2023 06:00 | 2022.868 | [12 empty] | 04/10/2023 06:00 | 2145.016 | [12 empty] | 04/10/2023 06:00 | 1948.894
04/10/2023 06:30 | 1991.536 | [12 empty] | 04/10/2023 06:30 | 2112.159 | [12 empty] | 04/10/2023 06:30 | 1915.118
04/10/2023 07:00 | 1912.878 | [12 empty] | 04/10/2023 07:00 | 2028.297 | [12 empty] | 04/10/2023 07:00 | 1852.325
04/10/2023 07:30 | 1764.729 | [12 empty] | 04/10/2023 07:30 | 1871.566 | [12 empty] | 04/10/2023 07:30 | 1738.62
04/10/2023 08:00 | 1603.426 | [12 empty] | 04/10/2023 08:00 | 1700.901 | [12 empty] | 04/10/2023 08:00 | 1600.195
04/10/2023 08:30 | 1454.843 | [12 empty] | 04/10/2023 08:30 | 1543.599 | [12 empty] | 04/10/2023 08:30 | 1455.085
04/10/2023 09:00 | 1344.064 | [12 empty] | 04/10/2023 09:00 | 1426.356 | [12 empty] | 04/10/2023 09:00 | 1373.482
04/10/2023 09:30 | 1276.172 | [12 empty] | 04/10/2023 09:30 | 1354.586 | [12 empty] | 04/10/2023 09:30 | 1343.465
04/10/2023 10:00 | 1186.119 | [12 empty] | 04/10/2023 10:00 | 1259.259 | [12 empty] | 04/10/2023 10:00 | 1308.292
04/10/2023 10:30 | 1100.745 | [12 empty] | 04/10/2023 10:30 | 1168.861 | [12 empty] | 04/10/2023 10:30 | 1308.439
04/10/2023 11:00 | 1085.009 | [12 empty] | 04/10/2023 11:00 | 1152.389 | [12 empty] | 04/10/2023 11:00 | 1300.483
04/10/2023 11:30 | 1141.678 | [12 empty] | 04/10/2023 11:30 | 1212.826 | [12 empty] | 04/10/2023 11:30 | 1301.061
04/10/2023 12:00 | 1132.122 | [12 empty] | 04/10/2023 12:00 | 1202.922 | [12 empty] | 04/10/2023 12:00 | 1281.161
04/10/2023 12:30 | 1061.842 | [12 empty] | 04/10/2023 12:30 | 1128.479 | [12 empty] | 04/10/2023 12:30 | 1273.657
04/10/2023 13:00 | 1033.643 | [12 empty] | 04/10/2023 13:00 | 1098.736 | [12 empty] | 04/10/2023 13:00 | 1285.294
04/10/2023 13:30 | 1053.501 | [12 empty] | 04/10/2023 13:30 | 1120.075 | [12 empty] | 04/10/2023 13:30 | 1343.327
04/10/2023 14:00 | 1106.239 | [12 empty] | 04/10/2023 14:00 | 1176.387 | [12 empty] | 04/10/2023 14:00 | 1445.905
04/10/2023 14:30 | 1232.326 | [12 empty] | 04/10/2023 14:30 | 1310.738 | [12 empty] | 04/10/2023 14:30 | 1543.4
04/10/2023 15:00 | 1399.094 | [12 empty] | 04/10/2023 15:00 | 1488.423 | [12 empty] | 04/10/2023 15:00 | 1666.767
04/10/2023 15:30 | 1612.521 | [12 empty] | 04/10/2023 15:30 | 1715.829 | [12 empty] | 04/10/2023 15:30 | 1819.595
04/10/2023 16:00 | 1828.665 | [12 empty] | 04/10/2023 16:00 | 1946.221 | [12 empty] | 04/10/2023 16:00 | 1973.527
04/10/2023 16:30 | 2038.459 | [12 empty] | 04/10/2023 16:30 | 2169.947 | [12 empty] | 04/10/2023 16:30 | 2129.995
04/10/2023 17:00 | 2242.152 | [12 empty] | 04/10/2023 17:00 | 2387.269 | [12 empty] | 04/10/2023 17:00 | 2275.219
04/10/2023 17:30 | 2395.178 | [12 empty] | 04/10/2023 17:30 | 2550.722 | [12 empty] | 04/10/2023 17:30 | 2384.216
04/10/2023 18:00 | 2493.161 | [12 empty] | 04/10/2023 18:00 | 2655.613 | [12 empty] | 04/10/2023 18:00 | 2460.269
04/10/2023 18:30 | 2498.057 | [12 empty] | 04/10/2023 18:30 | 2661.374 | [12 empty] | 04/10/2023 18:30 | 2456.461
04/10/2023 19:00 | 2423.658 | [12 empty] | 04/10/2023 19:00 | 2582.64 | [12 empty] | 04/10/2023 19:00 | 2392.58
04/10/2023 19:30 | 2365.572 | [12 empty] | 04/10/2023 19:30 | 2521.261 | [12 empty] | 04/10/2023 19:30 | 2330.074
04/10/2023 20:00 | 2302.914 | [12 empty] | 04/10/2023 20:00 | 2454.982 | [12 empty] | 04/10/2023 20:00 | 2262.843
04/10/2023 20:30 | 2225.396 | [12 empty] | 04/10/2023 20:30 | 2372.832 | [12 empty] | 04/10/2023 20:30 | 2181.18
04/10/2023 21:00 | 2138.398 | [12 empty] | 04/10/2023 21:00 | 2280.538 | [12 empty] | 04/10/2023 21:00 | 2090.635
04/10/2023 21:30 | 2049.832 | [12 empty] | 04/10/2023 21:30 | 2186.532 | [12 empty] | 04/10/2023 21:30 | 1998.932
04/10/2023 22:00 | 1968.526 | [12 empty] | 04/10/2023 22:00 | 2100.234 | [12 empty] | 04/10/2023 22:00 | 1914.867
04/10/2023 22:30 | 1900.444 | [12 empty] | 04/10/2023 22:30 | 2028.012 | [12 empty] | 04/10/2023 22:30 | 1845.192
04/10/2023 23:00 | 1845.752 | [12 empty] | 04/10/2023 23:00 | 1970.052 | [12 empty] | 04/10/2023 23:00 | 1787.573
04/10/2023 23:30 | 1797.195 | [12 empty] | 04/10/2023 23:30 | 1918.618 | [12 empty] | 04/10/2023 23:30 | 1724.615
05/10/2023 00:00 | 1756.852 | [12 empty] | 05/10/2023 00:00 | 1875.933 | [12 empty] | 05/10/2023 00:00 | 1651.624
05/10/2023 00:30 | 1729.276 | [12 empty] | 05/10/2023 00:30 | 1846.866 | [12 empty] | 05/10/2023 00:30 | 1625.047
05/10/2023 01:00 | 1711.003 | [12 empty] | 05/10/2023 01:00 | 1827.724 | [12 empty] | 05/10/2023 01:00 | 1606.769
05/10/2023 01:30 | 1698.521 | [12 empty] | 05/10/2023 01:30 | 1814.761 | [12 empty] | 05/10/2023 01:30 | 1593.009
05/10/2023 02:00 | 1692.087 | [12 empty] | 05/10/2023 02:00 | 1808.257 | [12 empty] | 05/10/2023 02:00 | 1582.673
05/10/2023 02:30 | 1689.835 | [12 empty] | 05/10/2023 02:30 | 1806.219 | [12 empty] | 05/10/2023 02:30 | 1581.811
05/10/2023 03:00 | 1695.931 | [12 empty] | 05/10/2023 03:00 | 1813.106 | [12 empty] | 05/10/2023 03:00 | 1589
05/10/2023 03:30 | 1712.581 | [12 empty] | 05/10/2023 03:30 | 1831.28 | [12 empty] | 05/10/2023 03:30 | 1604.035
05/10/2023 04:00 | 1749.324 | [12 empty] | 05/10/2023 04:00 | 1870.953 | [12 empty] | 05/10/2023 04:00 | 1639.566
05/10/2023 04:30 | 1812.942 | [12 empty] | 05/10/2023 04:30 | 1939.39 | [12 empty] | 05/10/2023 04:30 | 1701.266
05/10/2023 05:00 | 1874.694 | [12 empty] | 05/10/2023 05:00 | 2005.859 | [12 empty] | 05/10/2023 05:00 | 1783.85
05/10/2023 05:30 | 1900.666 | [12 empty] | 05/10/2023 05:30 | 2034.063 | [12 empty] | 05/10/2023 05:30 | 1863.6
05/10/2023 06:00 | 1868.058 | [12 empty] | 05/10/2023 06:00 | 1999.575 | [12 empty] | 05/10/2023 06:00 | 1884.072
05/10/2023 06:30 | 1774.281 | [12 empty] | 05/10/2023 06:30 | 1899.582 | [12 empty] | 05/10/2023 06:30 | 1853.5
05/10/2023 07:00 | 1659.674 | [12 empty] | 05/10/2023 07:00 | 1777.245 | [12 empty] | 05/10/2023 07:00 | 1770.637
05/10/2023 07:30 | 1513.948 | [12 empty] | 05/10/2023 07:30 | 1621.527 | [12 empty] | 05/10/2023 07:30 | 1604.559
05/10/2023 08:00 | 1357.753 | [12 empty] | 05/10/2023 08:00 | 1454.529 | [12 empty] | 05/10/2023 08:00 | 1412.433
05/10/2023 08:30 | 1197.169 | [12 empty] | 05/10/2023 08:30 | 1282.761 | [12 empty] | 05/10/2023 08:30 | 1211.623
05/10/2023 09:00 | 1079.024 | [12 empty] | 05/10/2023 09:00 | 1156.405 | [12 empty] | 05/10/2023 09:00 | 1070.7
05/10/2023 09:30 | 1007.954 | [12 empty] | 05/10/2023 09:30 | 1080.458 | [12 empty] | 05/10/2023 09:30 | 1006.827
05/10/2023 10:00 | 950.8453 | [12 empty] | 05/10/2023 10:00 | 1019.449 | [12 empty] | 05/10/2023 10:00 | 939.8718
05/10/2023 10:30 | 928.1667 | [12 empty] | 05/10/2023 10:30 | 995.3373 | [12 empty] | 05/10/2023 10:30 | 899.17
05/10/2023 11:00 | 916.5635 | [12 empty] | 05/10/2023 11:00 | 983.0946 | [12 empty] | 05/10/2023 11:00 | 865.4874
05/10/2023 11:30 | 917.3076 | [12 empty] | 05/10/2023 11:30 | 984.0932 | [12 empty] | 05/10/2023 11:30 | 807.1379
05/10/2023 12:00 | 915.9496 | [12 empty] | 05/10/2023 12:00 | 982.8364 | [12 empty] | 05/10/2023 12:00 | 769.7623
05/10/2023 12:30 | 952.1119 | [12 empty] | 05/10/2023 12:30 | 1021.847 | [12 empty] | 05/10/2023 12:30 | 790.7374
05/10/2023 13:00 | 1019.979 | [12 empty] | 05/10/2023 13:00 | 1094.908 | [12 empty] | 05/10/2023 13:00 | 822.0422
05/10/2023 13:30 | 1106.769 | [12 empty] | 05/10/2023 13:30 | 1188.316 | [12 empty] | 05/10/2023 13:30 | 885.4808
05/10/2023 14:00 | 1217.781 | [12 empty] | 05/10/2023 14:00 | 1307.773 | [12 empty] | 05/10/2023 14:00 | 971.1119
05/10/2023 14:30 | 1374.987 | [12 empty] | 05/10/2023 14:30 | 1476.896 | [12 empty] | 05/10/2023 14:30 | 1087.841
05/10/2023 15:00 | 1536.095 | [12 empty] | 05/10/2023 15:00 | 1650.281 | [12 empty] | 05/10/2023 15:00 | 1263.277
05/10/2023 15:30 | 1710.844 | [12 empty] | 05/10/2023 15:30 | 1838.394 | [12 empty] | 05/10/2023 15:30 | 1496.998
05/10/2023 16:00 | 1895.468 | [12 empty] | 05/10/2023 16:00 | 2037.196 | [12 empty] | 05/10/2023 16:00 | 1708.344
05/10/2023 16:30 | 2091.68 | [12 empty] | 05/10/2023 16:30 | 2248.537 | [12 empty] | 05/10/2023 16:30 | 1880.349
05/10/2023 17:00 | 2263.703 | [12 empty] | 05/10/2023 17:00 | 2433.954 | [12 empty] | 05/10/2023 17:00 | 2046.121
05/10/2023 17:30 | 2383.238 | [12 empty] | 05/10/2023 17:30 | 2563 | [12 empty] | 05/10/2023 17:30 | 2177.45
05/10/2023 18:00 | 2452.616 | [12 empty] | 05/10/2023 18:00 | 2638.147 | [12 empty] | 05/10/2023 18:00 | 2267.916
05/10/2023 18:30 | 2447.409 | [12 empty] | 05/10/2023 18:30 | 2633.081 | [12 empty] | 05/10/2023 18:30 | 2276.782
05/10/2023 19:00 | 2373.86 | [12 empty] | 05/10/2023 19:00 | 2554.471 | [12 empty] | 05/10/2023 19:00 | 2214.892
05/10/2023 19:30 | 2314.22 | [12 empty] | 05/10/2023 19:30 | 2490.799 | [12 empty] | 05/10/2023 19:30 | 2161.997
05/10/2023 20:00 | 2253.117 | [12 empty] | 05/10/2023 20:00 | 2425.526 | [12 empty] | 05/10/2023 20:00 | 2105.066
05/10/2023 20:30 | 2179.522 | [12 empty] | 05/10/2023 20:30 | 2346.776 | [12 empty] | 05/10/2023 20:30 | 2035.396
05/10/2023 21:00 | 2095.367 | [12 empty] | 05/10/2023 21:00 | 2256.621 | [12 empty] | 05/10/2023 21:00 | 1957.3
05/10/2023 21:30 | 2021.83 | [12 empty] | 05/10/2023 21:30 | 2177.867 | [12 empty] | 05/10/2023 21:30 | 1877.498
05/10/2023 22:00 | 1952.296 | [12 empty] | 05/10/2023 22:00 | 2103.393 | [12 empty] | 05/10/2023 22:00 | 1804.055
05/10/2023 22:30 | 1889.252 | [12 empty] | 05/10/2023 22:30 | 2035.883 | [12 empty] | 05/10/2023 22:30 | 1742.068
05/10/2023 23:00 | 1836.68 | [12 empty] | 05/10/2023 23:00 | 1979.631 | [12 empty] | 05/10/2023 23:00 | 1692.584
05/10/2023 23:30 | 1794.677 | [12 empty] | 05/10/2023 23:30 | 1934.75 | [12 empty] | 05/10/2023 23:30 | 1647.889
06/10/2023 00:00 | 1758.579 | [12 empty] | 06/10/2023 00:00 | 1896.22 | [12 empty] | 06/10/2023 00:00 | 1610.991
06/10/2023 00:30 | 1731.471 | [12 empty] | 06/10/2023 00:30 | 1867.368 | [12 empty] | 06/10/2023 00:30 | 1585.808
06/10/2023 01:00 | 1713.604 | [12 empty] | 06/10/2023 01:00 | 1848.474 | [12 empty] | 06/10/2023 01:00 | 1569.017
06/10/2023 01:30 | 1703.128 | [12 empty] | 06/10/2023 01:30 | 1837.545 | [12 empty] | 06/10/2023 01:30 | 1557.563
06/10/2023 02:00 | 1696.246 | [12 empty] | 06/10/2023 02:00 | 1830.49 | [12 empty] | 06/10/2023 02:00 | 1551.375
06/10/2023 02:30 | 1693.806 | [12 empty] | 06/10/2023 02:30 | 1828.228 | [12 empty] | 06/10/2023 02:30 | 1548.909
06/10/2023 03:00 | 1697.296 | [12 empty] | 06/10/2023 03:00 | 1832.365 | [12 empty] | 06/10/2023 03:00 | 1554.311
06/10/2023 03:30 | 1713.029 | [12 empty] | 06/10/2023 03:30 | 1849.725 | [12 empty] | 06/10/2023 03:30 | 1569.21
06/10/2023 04:00 | 1745.932 | [12 empty] | 06/10/2023 04:00 | 1885.634 | [12 empty] | 06/10/2023 04:00 | 1602.453
06/10/2023 04:30 | 1801.493 | [12 empty] | 06/10/2023 04:30 | 1946.035 | [12 empty] | 06/10/2023 04:30 | 1660.012
06/10/2023 05:00 | 1857.717 | [12 empty] | 06/10/2023 05:00 | 2007.176 | [12 empty] | 06/10/2023 05:00 | 1716.357
06/10/2023 05:30 | 1885.046 | [12 empty] | 06/10/2023 05:30 | 2037.116 | [12 empty] | 06/10/2023 05:30 | 1739.513
06/10/2023 06:00 | 1861.61 | [12 empty] | 06/10/2023 06:00 | 2012.196 | [12 empty] | 06/10/2023 06:00 | 1706.156
06/10/2023 06:30 | 1773.249 | [12 empty] | 06/10/2023 06:30 | 1917.075 | [12 empty] | 06/10/2023 06:30 | 1616.728
06/10/2023 07:00 | 1661.331 | [12 empty] | 06/10/2023 07:00 | 1796.442 | [12 empty] | 06/10/2023 07:00 | 1509.391
06/10/2023 07:30 | 1517.745 | [12 empty] | 06/10/2023 07:30 | 1641.496 | [12 empty] | 06/10/2023 07:30 | 1375.171
06/10/2023 08:00 | 1373.705 | [12 empty] | 06/10/2023 08:00 | 1485.972 | [12 empty] | 06/10/2023 08:00 | 1232.791
06/10/2023 08:30 | 1235.208 | [12 empty] | 06/10/2023 08:30 | 1336.393 | [12 empty] | 06/10/2023 08:30 | 1086.755
06/10/2023 09:00 | 1123.84 | [12 empty] | 06/10/2023 09:00 | 1216.118 | [12 empty] | 06/10/2023 09:00 | 980.3663
06/10/2023 09:30 | 1053.881 | [12 empty] | 06/10/2023 09:30 | 1140.616 | [12 empty] | 06/10/2023 09:30 | 918.675
06/10/2023 10:00 | 1006.68 | [12 empty] | 06/10/2023 10:00 | 1089.723 | [12 empty] | 06/10/2023 10:00 | 866.8201
06/10/2023 10:30 | 1000.858 | [12 empty] | 06/10/2023 10:30 | 1083.614 | [12 empty] | 06/10/2023 10:30 | 844.6788
06/10/2023 11:00 | 1009.056 | [12 empty] | 06/10/2023 11:00 | 1092.682 | [12 empty] | 06/10/2023 11:00 | 836.5532
06/10/2023 11:30 | 1026.565 | [12 empty] | 06/10/2023 11:30 | 1111.839 | [12 empty] | 06/10/2023 11:30 | 836.9566
06/10/2023 12:00 | 1056.14 | [12 empty] | 06/10/2023 12:00 | 1144.074 | [12 empty] | 06/10/2023 12:00 | 833.3296
06/10/2023 12:30 | 1132.783 | [12 empty] | 06/10/2023 12:30 | 1227.315 | [12 empty] | 06/10/2023 12:30 | 865.0529
06/10/2023 13:00 | 1214.769 | [12 empty] | 06/10/2023 13:00 | 1316.375 | [12 empty] | 06/10/2023 13:00 | 926.145
06/10/2023 13:30 | 1317.398 | [12 empty] | 06/10/2023 13:30 | 1427.841 | [12 empty] | 06/10/2023 13:30 | 1006.43
06/10/2023 14:00 | 1461.768 | [12 empty] | 06/10/2023 14:00 | 1584.594 | [12 empty] | 06/10/2023 14:00 | 1111.856
06/10/2023 14:30 | 1633.947 | [12 empty] | 06/10/2023 14:30 | 1771.554 | [12 empty] | 06/10/2023 14:30 | 1260.219
06/10/2023 15:00 | 1825.199 | [12 empty] | 06/10/2023 15:00 | 1979.263 | [12 empty] | 06/10/2023 15:00 | 1410.251
06/10/2023 15:30 | 2002.26 | [12 empty] | 06/10/2023 15:30 | 2171.653 | [12 empty] | 06/10/2023 15:30 | 1571.039
06/10/2023 16:00 | 2176.914 | [12 empty] | 06/10/2023 16:00 | 2361.5 | [12 empty] | 06/10/2023 16:00 | 1740.166
06/10/2023 16:30 | 2341.2 | [12 empty] | 06/10/2023 16:30 | 2540.165 | [12 empty] | 06/10/2023 16:30 | 1918.141
06/10/2023 17:00 | 2455.431 | [12 empty] | 06/10/2023 17:00 | 2664.574 | [12 empty] | 06/10/2023 17:00 | 2072.093
06/10/2023 17:30 | 2513.424 | [12 empty] | 06/10/2023 17:30 | 2727.989 | [12 empty] | 06/10/2023 17:30 | 2178.468
06/10/2023 18:00 | 2544.083 | [12 empty] | 06/10/2023 18:00 | 2761.753 | [12 empty] | 06/10/2023 18:00 | 2241.034
06/10/2023 18:30 | 2521.735 | [12 empty] | 06/10/2023 18:30 | 2737.976 | [12 empty] | 06/10/2023 18:30 | 2235.746
06/10/2023 19:00 | 2449.224 | [12 empty] | 06/10/2023 19:00 | 2659.716 | [12 empty] | 06/10/2023 19:00 | 2167.867
06/10/2023 19:30 | 2393.087 | [12 empty] | 06/10/2023 19:30 | 2599.214 | [12 empty] | 06/10/2023 19:30 | 2114.274
06/10/2023 20:00 | 2336.926 | [12 empty] | 06/10/2023 20:00 | 2538.663 | [12 empty] | 06/10/2023 20:00 | 2058.882
06/10/2023 20:30 | 2274.892 | [12 empty] | 06/10/2023 20:30 | 2471.71 | [12 empty] | 06/10/2023 20:30 | 1991.668
06/10/2023 21:00 | 2211.657 | [12 empty] | 06/10/2023 21:00 | 2403.428 | [12 empty] | 06/10/2023 21:00 | 1914.993
06/10/2023 21:30 | 2147.068 | [12 empty] | 06/10/2023 21:30 | 2333.65 | [12 empty] | 06/10/2023 21:30 | 1847.617
06/10/2023 22:00 | 2078.922 | [12 empty] | 06/10/2023 22:00 | 2259.981 | [12 empty] | 06/10/2023 22:00 | 1783.75
06/10/2023 22:30 | 2020.709 | [12 empty] | 06/10/2023 22:30 | 2197.085 | [12 empty] | 06/10/2023 22:30 | 1725.889
06/10/2023 23:00 | 1977.06 | [12 empty] | 06/10/2023 23:00 | 2150.006 | [12 empty] | 06/10/2023 23:00 | 1677.303
06/10/2023 23:30 | 1948.639 | [12 empty] | 06/10/2023 23:30 | 2121.783 | [12 empty] | 06/10/2023 23:30 | 1638.058
07/10/2023 00:00 | 1924.456 | [12 empty] | 07/10/2023 00:00 | 2100.248 | [12 empty] | 07/10/2023 00:00 | 1604.035
07/10/2023 00:30 | 1900.692 | [12 empty] | 07/10/2023 00:30 | 2074.008 | [12 empty] | 07/10/2023 00:30 | 1578.594
07/10/2023 01:00 | 1878.541 | [12 empty] | 07/10/2023 01:00 | 2049.933 | [12 empty] | 07/10/2023 01:00 | 1561.764
07/10/2023 01:30 | 1853.471 | [12 empty] | 07/10/2023 01:30 | 2022.67 | [12 empty] | 07/10/2023 01:30 | 1551.757
07/10/2023 02:00 | 1835.149 | [12 empty] | 07/10/2023 02:00 | 2002.77 | [12 empty] | 07/10/2023 02:00 | 1545.105
07/10/2023 02:30 | 1819.576 | [12 empty] | 07/10/2023 02:30 | 1985.866 | [12 empty] | 07/10/2023 02:30 | 1542.553
07/10/2023 03:00 | 1809.388 | [12 empty] | 07/10/2023 03:00 | 1974.84 | [12 empty] | 07/10/2023 03:00 | 1545.419
07/10/2023 03:30 | 1810.364 | [12 empty] | 07/10/2023 03:30 | 1975.998 | [12 empty] | 07/10/2023 03:30 | 1558.844
07/10/2023 04:00 | 1821.219 | [12 empty] | 07/10/2023 04:00 | 1987.938 | [12 empty] | 07/10/2023 04:00 | 1588.256
07/10/2023 04:30 | 1834.161 | [12 empty] | 07/10/2023 04:30 | 2002.158 | [12 empty] | 07/10/2023 04:30 | 1638.504
07/10/2023 05:00 | 1842.12 | [12 empty] | 07/10/2023 05:00 | 2010.94 | [12 empty] | 07/10/2023 05:00 | 1689.703
07/10/2023 05:30 | 1836.442 | [12 empty] | 07/10/2023 05:30 | 2004.835 | [12 empty] | 07/10/2023 05:30 | 1719.165
07/10/2023 06:00 | 1789.249 | [12 empty] | 07/10/2023 06:00 | 1953.406 | [12 empty] | 07/10/2023 06:00 | 1702.979
07/10/2023 06:30 | 1685.927 | [12 empty] | 07/10/2023 06:30 | 1840.692 | [12 empty] | 07/10/2023 06:30 | 1621.207
07/10/2023 07:00 | 1568.357 | [12 empty] | 07/10/2023 07:00 | 1712.409 | [12 empty] | 07/10/2023 07:00 | 1515.849
07/10/2023 07:30 | 1432.569 | [12 empty] | 07/10/2023 07:30 | 1564.222 | [12 empty] | 07/10/2023 07:30 | 1378.523
07/10/2023 08:00 | 1293.493 | [12 empty] | 07/10/2023 08:00 | 1412.431 | [12 empty] | 07/10/2023 08:00 | 1241.804
07/10/2023 08:30 | 1158.203 | [12 empty] | 07/10/2023 08:30 | 1264.76 | [12 empty] | 07/10/2023 08:30 | 1112.617
07/10/2023 09:00 | 1060.495 | [12 empty] | 07/10/2023 09:00 | 1158.116 | [12 empty] | 07/10/2023 09:00 | 1009.749
07/10/2023 09:30 | 989.9037 | [12 empty] | 07/10/2023 09:30 | 1081.077 | [12 empty] | 07/10/2023 09:30 | 946.2238
07/10/2023 10:00 | 937.0282 | [12 empty] | 07/10/2023 10:00 | 1023.38 | [12 empty] | 07/10/2023 10:00 | 901.5656
07/10/2023 10:30 | 942.3723 | [12 empty] | 07/10/2023 10:30 | 1029.264 | [12 empty] | 07/10/2023 10:30 | 893.1328
07/10/2023 11:00 | 959.7021 | [12 empty] | 07/10/2023 11:00 | 1048.241 | [12 empty] | 07/10/2023 11:00 | 900.7734
07/10/2023 11:30 | 1004.725 | [12 empty] | 07/10/2023 11:30 | 1097.469 | [12 empty] | 07/10/2023 11:30 | 915.4996
07/10/2023 12:00 | 1052.967 | [12 empty] | 07/10/2023 12:00 | 1150.217 | [12 empty] | 07/10/2023 12:00 | 941.3338
07/10/2023 12:30 | 1113.422 | [12 empty] | 07/10/2023 12:30 | 1216.313 | [12 empty] | 07/10/2023 12:30 | 1011.65
07/10/2023 13:00 | 1190.114 | [12 empty] | 07/10/2023 13:00 | 1300.153 | [12 empty] | 07/10/2023 13:00 | 1085.039
07/10/2023 13:30 | 1317.542 | [12 empty] | 07/10/2023 13:30 | 1439.43 | [12 empty] | 07/10/2023 13:30 | 1177.281
07/10/2023 14:00 | 1482.67 | [12 empty] | 07/10/2023 14:00 | 1619.909 | [12 empty] | 07/10/2023 14:00 | 1308.799
07/10/2023 14:30 | 1653.663 | [12 empty] | 07/10/2023 14:30 | 1806.814 | [12 empty] | 07/10/2023 14:30 | 1467.656
07/10/2023 15:00 | 1852.29 | [12 empty] | 07/10/2023 15:00 | 2023.931 | [12 empty] | 07/10/2023 15:00 | 1642.187
07/10/2023 15:30 | 2050.671 | [12 empty] | 07/10/2023 15:30 | 2240.8 | [12 empty] | 07/10/2023 15:30 | 1803.865
07/10/2023 16:00 | 2234.213 | [12 empty] | 07/10/2023 16:00 | 2441.472 | [12 empty] | 07/10/2023 16:00 | 1964.55
07/10/2023 16:30 | 2413.179 | [12 empty] | 07/10/2023 16:30 | 2637.164 | [12 empty] | 07/10/2023 16:30 | 2114.137
07/10/2023 17:00 | 2535.202 | [12 empty] | 07/10/2023 17:00 | 2770.642 | [12 empty] | 07/10/2023 17:00 | 2217.133
07/10/2023 17:30 | 2614.974 | [12 empty] | 07/10/2023 17:30 | 2857.955 | [12 empty] | 07/10/2023 17:30 | 2270.021
07/10/2023 18:00 | 2661.173 | [12 empty] | 07/10/2023 18:00 | 2908.583 | [12 empty] | 07/10/2023 18:00 | 2299.906
07/10/2023 18:30 | 2640.637 | [12 empty] | 07/10/2023 18:30 | 2886.272 | [12 empty] | 07/10/2023 18:30 | 2281.646
07/10/2023 19:00 | 2572.204 | [12 empty] | 07/10/2023 19:00 | 2811.604 | [12 empty] | 07/10/2023 19:00 | 2216.948
07/10/2023 19:30 | 2502.031 | [12 empty] | 07/10/2023 19:30 | 2735.028 | [12 empty] | 07/10/2023 19:30 | 2167.529
07/10/2023 20:00 | 2434.898 | [12 empty] | 07/10/2023 20:00 | 2661.768 | [12 empty] | 07/10/2023 20:00 | 2117.78
07/10/2023 20:30 | 2378.806 | [12 empty] | 07/10/2023 20:30 | 2600.571 | [12 empty] | 07/10/2023 20:30 | 2062.254
07/10/2023 21:00 | 2317.56 | [12 empty] | 07/10/2023 21:00 | 2533.733 | [12 empty] | 07/10/2023 21:00 | 2005.16
07/10/2023 21:30 | 2244.607 | [12 empty] | 07/10/2023 21:30 | 2454.09 | [12 empty] | 07/10/2023 21:30 | 1946.65
07/10/2023 22:00 | 2170.114 | [12 empty] | 07/10/2023 22:00 | 2372.755 | [12 empty] | 07/10/2023 22:00 | 1884.405
07/10/2023 22:30 | 2105.731 | [12 empty] | 07/10/2023 22:30 | 2302.468 | [12 empty] | 07/10/2023 22:30 | 1830.599
07/10/2023 23:00 | 2046.776 | [12 empty] | 07/10/2023 23:00 | 2238.109 | [12 empty] | 07/10/2023 23:00 | 1789.751
07/10/2023 23:30 | 2001.539 | [12 empty] | 07/10/2023 23:30 | 2188.744 | [12 empty] | 07/10/2023 23:30 | 1764.991
08/10/2023 00:00 | 1962.583 | [12 empty] | 08/10/2023 00:00 | 2146.245 | [12 empty] | 08/10/2023 00:00 | 1745.963
08/10/2023 00:30 | 1923.569 | [12 empty] | 08/10/2023 00:30 | 2103.678 | [12 empty] | 08/10/2023 00:30 | 1723.119
08/10/2023 01:00 | 1894.278 | [12 empty] | 08/10/2023 01:00 | 2071.741 | [12 empty] | 08/10/2023 01:00 | 1702.861
08/10/2023 01:30 | 1869.204 | [12 empty] | 08/10/2023 01:30 | 2044.414 | [12 empty] | 08/10/2023 01:30 | 1679.916
08/10/2023 02:00 | 1850.003 | [12 empty] | 08/10/2023 02:00 | 2023.508 | [12 empty] | 08/10/2023 02:00 | 1663.07
08/10/2023 02:30 | 1836.358 | [12 empty] | 08/10/2023 02:30 | 2008.676 | [12 empty] | 08/10/2023 02:30 | 1648.906
08/10/2023 03:00 | 1825.399 | [12 empty] | 08/10/2023 03:00 | 1996.782 | [12 empty] | 08/10/2023 03:00 | 1639.463
08/10/2023 03:30 | 1819.65 | [12 empty] | 08/10/2023 03:30 | 1990.586 | [12 empty] | 08/10/2023 03:30 | 1639.871
08/10/2023 04:00 | 1821.073 | [12 empty] | 08/10/2023 04:00 | 1992.236 | [12 empty] | 08/10/2023 04:00 | 1649.607
08/10/2023 04:30 | 1825.512 | [12 empty] | 08/10/2023 04:30 | 1997.185 | [12 empty] | 08/10/2023 04:30 | 1661.531
08/10/2023 05:00 | 1826.006 | [12 empty] | 08/10/2023 05:00 | 1997.819 | [12 empty] | 08/10/2023 05:00 | 1669.663
08/10/2023 05:30 | 1809.179 | [12 empty] | 08/10/2023 05:30 | 1979.5 | [12 empty] | 08/10/2023 05:30 | 1666.352
08/10/2023 06:00 | 1739.73 | [12 empty] | 08/10/2023 06:00 | 1903.602 | [12 empty] | 08/10/2023 06:00 | 1624.415
08/10/2023 06:30 | 1631.357 | [12 empty] | 08/10/2023 06:30 | 1785.104 | [12 empty] | 08/10/2023 06:30 | 1531.389
08/10/2023 07:00 | 1506.778 | [12 empty] | 08/10/2023 07:00 | 1648.86 | [12 empty] | 08/10/2023 07:00 | 1423.72
08/10/2023 07:30 | 1345.508 | [12 empty] | 08/10/2023 07:30 | 1472.643 | [12 empty] | 08/10/2023 07:30 | 1296.613
08/10/2023 08:00 | 1191.311 | [12 empty] | 08/10/2023 08:00 | 1304.437 | [12 empty] | 08/10/2023 08:00 | 1166.693
08/10/2023 08:30 | 1041.152 | [12 empty] | 08/10/2023 08:30 | 1140.485 | [12 empty] | 08/10/2023 08:30 | 1042.085
08/10/2023 09:00 | 935.6886 | [12 empty] | 08/10/2023 09:00 | 1025.378 | [12 empty] | 08/10/2023 09:00 | 951.84
08/10/2023 09:30 | 861.1636 | [12 empty] | 08/10/2023 09:30 | 944.0952 | [12 empty] | 08/10/2023 09:30 | 886.3608
08/10/2023 10:00 | 816.6611 | [12 empty] | 08/10/2023 10:00 | 895.6725 | [12 empty] | 08/10/2023 10:00 | 838.5505
08/10/2023 10:30 | 807.5739 | [12 empty] | 08/10/2023 10:30 | 886.0674 | [12 empty] | 08/10/2023 10:30 | 841.0916
08/10/2023 11:00 | 809.8208 | [12 empty] | 08/10/2023 11:00 | 888.8951 | [12 empty] | 08/10/2023 11:00 | 857.1153
08/10/2023 11:30 | 838.0159 | [12 empty] | 08/10/2023 11:30 | 920.2183 | [12 empty] | 08/10/2023 11:30 | 900.8826
08/10/2023 12:00 | 838.9699 | [12 empty] | 08/10/2023 12:00 | 921.6412 | [12 empty] | 08/10/2023 12:00 | 943.3511
08/10/2023 12:30 | 847.0141 | [12 empty] | 08/10/2023 12:30 | 930.8572 | [12 empty] | 08/10/2023 12:30 | 989.6558
08/10/2023 13:00 | 899.9432 | [12 empty] | 08/10/2023 13:00 | 989.4283 | [12 empty] | 08/10/2023 13:00 | 1050.502
08/10/2023 13:30 | 1007.192 | [12 empty] | 08/10/2023 13:30 | 1107.791 | [12 empty] | 08/10/2023 13:30 | 1167.717
08/10/2023 14:00 | 1146.92 | [12 empty] | 08/10/2023 14:00 | 1261.989 | [12 empty] | 08/10/2023 14:00 | 1328.158
08/10/2023 14:30 | 1280.863 | [12 empty] | 08/10/2023 14:30 | 1409.943 | [12 empty] | 08/10/2023 14:30 | 1496.534
08/10/2023 15:00 | 1448.424 | [12 empty] | 08/10/2023 15:00 | 1595.039 | [12 empty] | 08/10/2023 15:00 | 1693.331
08/10/2023 15:30 | 1639.524 | [12 empty] | 08/10/2023 15:30 | 1806.216 | [12 empty] | 08/10/2023 15:30 | 1896.838
08/10/2023 16:00 | 1839.161 | [12 empty] | 08/10/2023 16:00 | 2026.974 | [12 empty] | 08/10/2023 16:00 | 2049.334
08/10/2023 16:30 | 2027.195 | [12 empty] | 08/10/2023 16:30 | 2235.117 | [12 empty] | 08/10/2023 16:30 | 2147.827
08/10/2023 17:00 | 2191.71 | [12 empty] | 08/10/2023 17:00 | 2417.486 | [12 empty] | 08/10/2023 17:00 | 2233.381
08/10/2023 17:30 | 2314.385 | [12 empty] | 08/10/2023 17:30 | 2553.834 | [12 empty] | 08/10/2023 17:30 | 2316.129
08/10/2023 18:00 | 2384.71 | [12 empty] | 08/10/2023 18:00 | 2632.502 | [12 empty] | 08/10/2023 18:00 | 2356.846
08/10/2023 18:30 | 2378.096 | [12 empty] | 08/10/2023 18:30 | 2626.265 | [12 empty] | 08/10/2023 18:30 | 2342.287
08/10/2023 19:00 | 2316.698 | [12 empty] | 08/10/2023 19:00 | 2559.497 | [12 empty] | 08/10/2023 19:00 | 2286.264
08/10/2023 19:30 | 2255.256 | [12 empty] | 08/10/2023 19:30 | 2492.624 | [12 empty] | 08/10/2023 19:30 | 2223.635
08/10/2023 20:00 | 2192.979 | [12 empty] | 08/10/2023 20:00 | 2424.774 | [12 empty] | 08/10/2023 20:00 | 2164.288
08/10/2023 20:30 | 2133.006 | [12 empty] | 08/10/2023 20:30 | 2359.417 | [12 empty] | 08/10/2023 20:30 | 2114.796
08/10/2023 21:00 | 2062.704 | [12 empty] | 08/10/2023 21:00 | 2282.575 | [12 empty] | 08/10/2023 21:00 | 2060.458
08/10/2023 21:30 | 1989.604 | [12 empty] | 08/10/2023 21:30 | 2202.573 | [12 empty] | 08/10/2023 21:30 | 1995.725
08/10/2023 22:00 | 1921.289 | [12 empty] | 08/10/2023 22:00 | 2127.805 | [12 empty] | 08/10/2023 22:00 | 1928.893
08/10/2023 22:30 | 1866.82 | [12 empty] | 08/10/2023 22:30 | 2068.317 | [12 empty] | 08/10/2023 22:30 | 1872.009
08/10/2023 23:00 | 1832.084 | [12 empty] | 08/10/2023 23:00 | 2030.652 | [12 empty] | 08/10/2023 23:00 | 1822.186
08/10/2023 23:30 | 1812.793 | [12 empty] | 08/10/2023 23:30 | 2011.26 | [12 empty] | 08/10/2023 23:30 | 1785.94
09/10/2023 00:00 | 1800.543 | [12 empty] | 09/10/2023 00:00 | 2000.721 | [12 empty] | 09/10/2023 00:00 | 1755.887
09/10/2023 00:30 | 1780.852 | [12 empty] | 09/10/2023 00:30 | 1979.228 | [12 empty] | 09/10/2023 00:30 | 1723.312
09/10/2023 01:00 | 1766.666 | [12 empty] | 09/10/2023 01:00 | 1964.054 | [12 empty] | 09/10/2023 01:00 | 1697.66
09/10/2023 01:30 | 1756.236 | [12 empty] | 09/10/2023 01:30 | 1953.047 | [12 empty] | 09/10/2023 01:30 | 1674.69
09/10/2023 02:00 | 1748.512 | [12 empty] | 09/10/2023 02:00 | 1945.044 | [12 empty] | 09/10/2023 02:00 | 1656.582
09/10/2023 02:30 | 1746.426 | [12 empty] | 09/10/2023 02:30 | 1943.31 | [12 empty] | 09/10/2023 02:30 | 1643.055
09/10/2023 03:00 | 1751.117 | [12 empty] | 09/10/2023 03:00 | 1949.117 | [12 empty] | 09/10/2023 03:00 | 1632.571
09/10/2023 03:30 | 1767.962 | [12 empty] | 09/10/2023 03:30 | 1968.459 | [12 empty] | 09/10/2023 03:30 | 1625.998
09/10/2023 04:00 | 1807.323 | [12 empty] | 09/10/2023 04:00 | 2012.889 | [12 empty] | 09/10/2023 04:00 | 1624.734
09/10/2023 04:30 | 1869.961 | [12 empty] | 09/10/2023 04:30 | 2083.279 | [12 empty] | 09/10/2023 04:30 | 1626.346
09/10/2023 05:00 | 1929.572 | [12 empty] | 09/10/2023 05:00 | 2150.337 | [12 empty] | 09/10/2023 05:00 | 1622.255
09/10/2023 05:30 | 1977.746 | [12 empty] | 09/10/2023 05:30 | 2204.686 | [12 empty] | 09/10/2023 05:30 | 1600.535
09/10/2023 06:00 | 1997.271 | [12 empty] | 09/10/2023 06:00 | 2227.121 | [12 empty] | 09/10/2023 06:00 | 1538.029
09/10/2023 06:30 | 1953.574 | [12 empty] | 09/10/2023 06:30 | 2179.051 | [12 empty] | 09/10/2023 06:30 | 1441.915
09/10/2023 07:00 | 1875.554 | [12 empty] | 09/10/2023 07:00 | 2092.655 | [12 empty] | 09/10/2023 07:00 | 1337.854
09/10/2023 07:30 | 1749.815 | [12 empty] | 09/10/2023 07:30 | 1952.948 | [12 empty] | 09/10/2023 07:30 | 1214.411