## ST-PASA
Scenario Heading Definitions
Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
|  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
|  | 300MW | 0MW | 10MW | 0MW | 10MW | 0MW | 10MW | 0MW | 10MW | 0MW | <7550MWs | <7300MWs
Scenario |  | Violations
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
Reference Scenario |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
High Demand Scenario |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low Demand Scenario |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Detail view - Reference Load Scenario | [13 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Dispatch Interval | Forecast Operational Demand (in MW) | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Forecast Operational Demand (in MW) | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Forecast Operational Demand (in MW) | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 |  |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 |  |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
03/10/2023 08:00 | 1691 | [12 empty] | 03/10/2023 08:00 | 1713.767 | [12 empty] | 03/10/2023 08:00 | 1666.022
03/10/2023 08:30 | 1580.855 | [12 empty] | 03/10/2023 08:30 | 1607.887 | [12 empty] | 03/10/2023 08:30 | 1553.823
03/10/2023 09:00 | 1496.276 | [12 empty] | 03/10/2023 09:00 | 1526.31 | [12 empty] | 03/10/2023 09:00 | 1466.242
03/10/2023 09:30 | 1422.909 | [12 empty] | 03/10/2023 09:30 | 1455.7 | [12 empty] | 03/10/2023 09:30 | 1390.118
03/10/2023 10:00 | 1350.296 | [12 empty] | 03/10/2023 10:00 | 1385.427 | [12 empty] | 03/10/2023 10:00 | 1315.164
03/10/2023 10:30 | 1280.948 | [12 empty] | 03/10/2023 10:30 | 1349.791 | [12 empty] | 03/10/2023 10:30 | 1275.559
03/10/2023 11:00 | 1180.568 | [12 empty] | 03/10/2023 11:00 | 1238.545 | [12 empty] | 03/10/2023 11:00 | 1168.462
03/10/2023 11:30 | 1091.597 | [12 empty] | 03/10/2023 11:30 | 1138.202 | [12 empty] | 03/10/2023 11:30 | 1071.729
03/10/2023 12:00 | 1039.116 | [12 empty] | 03/10/2023 12:00 | 1072.797 | [12 empty] | 03/10/2023 12:00 | 1008.198
03/10/2023 12:30 | 1087.425 | [12 empty] | 03/10/2023 12:30 | 1117.874 | [12 empty] | 03/10/2023 12:30 | 1048.537
03/10/2023 13:00 | 1121.267 | [12 empty] | 03/10/2023 13:00 | 1154.569 | [12 empty] | 03/10/2023 13:00 | 1080.87
03/10/2023 13:30 | 1120.1 | [12 empty] | 03/10/2023 13:30 | 1157.382 | [12 empty] | 03/10/2023 13:30 | 1081.415
03/10/2023 14:00 | 1153.146 | [12 empty] | 03/10/2023 14:00 | 1192.734 | [12 empty] | 03/10/2023 14:00 | 1112.3
03/10/2023 14:30 | 1247.552 | [12 empty] | 03/10/2023 14:30 | 1291.708 | [12 empty] | 03/10/2023 14:30 | 1202.279
03/10/2023 15:00 | 1384.469 | [12 empty] | 03/10/2023 15:00 | 1435.19 | [12 empty] | 03/10/2023 15:00 | 1333.253
03/10/2023 15:30 | 1575.438 | [12 empty] | 03/10/2023 15:30 | 1634.125 | [12 empty] | 03/10/2023 15:30 | 1515.133
03/10/2023 16:00 | 1783.16 | [12 empty] | 03/10/2023 16:00 | 1852.252 | [12 empty] | 03/10/2023 16:00 | 1714.067
03/10/2023 16:30 | 1990.742 | [12 empty] | 03/10/2023 16:30 | 2069.795 | [12 empty] | 03/10/2023 16:30 | 1911.689
03/10/2023 17:00 | 2188.62 | [12 empty] | 03/10/2023 17:00 | 2277.639 | [12 empty] | 03/10/2023 17:00 | 2099.601
03/10/2023 17:30 | 2338.91 | [12 empty] | 03/10/2023 17:30 | 2436.294 | [12 empty] | 03/10/2023 17:30 | 2241.526
03/10/2023 18:00 | 2429.169 | [12 empty] | 03/10/2023 18:00 | 2532.651 | [12 empty] | 03/10/2023 18:00 | 2325.687
03/10/2023 18:30 | 2428.044 | [12 empty] | 03/10/2023 18:30 | 2533.322 | [12 empty] | 03/10/2023 18:30 | 2322.766
03/10/2023 19:00 | 2354.605 | [12 empty] | 03/10/2023 19:00 | 2457.539 | [12 empty] | 03/10/2023 19:00 | 2251.671
03/10/2023 19:30 | 2292.974 | [12 empty] | 03/10/2023 19:30 | 2394.111 | [12 empty] | 03/10/2023 19:30 | 2191.837
03/10/2023 20:00 | 2224.24 | [12 empty] | 03/10/2023 20:00 | 2323.216 | [12 empty] | 03/10/2023 20:00 | 2125.264
03/10/2023 20:30 | 2142.587 | [12 empty] | 03/10/2023 20:30 | 2238.768 | [12 empty] | 03/10/2023 20:30 | 2046.406
03/10/2023 21:00 | 2050.603 | [12 empty] | 03/10/2023 21:00 | 2143.458 | [12 empty] | 03/10/2023 21:00 | 1957.749
03/10/2023 21:30 | 1956.911 | [12 empty] | 03/10/2023 21:30 | 2046.289 | [12 empty] | 03/10/2023 21:30 | 1867.534
03/10/2023 22:00 | 1869.641 | [12 empty] | 03/10/2023 22:00 | 1955.765 | [12 empty] | 03/10/2023 22:00 | 1783.517
03/10/2023 22:30 | 1797.785 | [12 empty] | 03/10/2023 22:30 | 1881.302 | [12 empty] | 03/10/2023 22:30 | 1714.267
03/10/2023 23:00 | 1740.632 | [12 empty] | 03/10/2023 23:00 | 1822.175 | [12 empty] | 03/10/2023 23:00 | 1659.088
03/10/2023 23:30 | 1699.638 | [12 empty] | 03/10/2023 23:30 | 1779.926 | [12 empty] | 03/10/2023 23:30 | 1619.35
04/10/2023 00:00 | 1671.46 | [12 empty] | 04/10/2023 00:00 | 1751.071 | [12 empty] | 04/10/2023 00:00 | 1591.848
04/10/2023 00:30 | 1652.953 | [12 empty] | 04/10/2023 00:30 | 1732.33 | [12 empty] | 04/10/2023 00:30 | 1573.576
04/10/2023 01:00 | 1643.895 | [12 empty] | 04/10/2023 01:00 | 1723.48 | [12 empty] | 04/10/2023 01:00 | 1564.31
04/10/2023 01:30 | 1639.795 | [12 empty] | 04/10/2023 01:30 | 1719.823 | [12 empty] | 04/10/2023 01:30 | 1559.766
04/10/2023 02:00 | 1640.263 | [12 empty] | 04/10/2023 02:00 | 1720.95 | [12 empty] | 04/10/2023 02:00 | 1559.57
04/10/2023 02:30 | 1649.66 | [12 empty] | 04/10/2023 02:30 | 1731.456 | [12 empty] | 04/10/2023 02:30 | 1567.859
04/10/2023 03:00 | 1667.92 | [12 empty] | 04/10/2023 03:00 | 1751.274 | [12 empty] | 04/10/2023 03:00 | 1584.555
04/10/2023 03:30 | 1696.668 | [12 empty] | 04/10/2023 03:30 | 1782.123 | [12 empty] | 04/10/2023 03:30 | 1611.202
04/10/2023 04:00 | 1746.836 | [12 empty] | 04/10/2023 04:00 | 1835.501 | [12 empty] | 04/10/2023 04:00 | 1658.159
04/10/2023 04:30 | 1823.783 | [12 empty] | 04/10/2023 04:30 | 1917.068 | [12 empty] | 04/10/2023 04:30 | 1730.486
04/10/2023 05:00 | 1909.051 | [12 empty] | 04/10/2023 05:00 | 2007.445 | [12 empty] | 04/10/2023 05:00 | 1810.646
04/10/2023 05:30 | 1976.701 | [12 empty] | 04/10/2023 05:30 | 2079.355 | [12 empty] | 04/10/2023 05:30 | 1874.035
04/10/2023 06:00 | 1984.619 | [12 empty] | 04/10/2023 06:00 | 2088.461 | [12 empty] | 04/10/2023 06:00 | 1880.765
04/10/2023 06:30 | 1921.488 | [12 empty] | 04/10/2023 06:30 | 2022.623 | [12 empty] | 04/10/2023 06:30 | 1820.339
04/10/2023 07:00 | 1818.227 | [12 empty] | 04/10/2023 07:00 | 1914.203 | [12 empty] | 04/10/2023 07:00 | 1722.239
04/10/2023 07:30 | 1671.645 | [12 empty] | 04/10/2023 07:30 | 1760.16 | [12 empty] | 04/10/2023 07:30 | 1583.12
04/10/2023 08:00 | 1520.354 | [12 empty] | 04/10/2023 08:00 | 1601.109 | [12 empty] | 04/10/2023 08:00 | 1439.59
04/10/2023 08:30 | 1389.844 | [12 empty] | 04/10/2023 08:30 | 1463.901 | [12 empty] | 04/10/2023 08:30 | 1315.787
04/10/2023 09:00 | 1303.922 | [12 empty] | 04/10/2023 09:00 | 1373.615 | [12 empty] | 04/10/2023 09:00 | 1234.228
04/10/2023 09:30 | 1271.263 | [12 empty] | 04/10/2023 09:30 | 1339.421 | [12 empty] | 04/10/2023 09:30 | 1203.105
04/10/2023 10:00 | 1209.736 | [12 empty] | 04/10/2023 10:00 | 1274.795 | [12 empty] | 04/10/2023 10:00 | 1144.677
04/10/2023 10:30 | 1116.597 | [12 empty] | 04/10/2023 10:30 | 1176.831 | [12 empty] | 04/10/2023 10:30 | 1056.362
04/10/2023 11:00 | 1050.558 | [12 empty] | 04/10/2023 11:00 | 1107.403 | [12 empty] | 04/10/2023 11:00 | 993.7129
04/10/2023 11:30 | 997.0524 | [12 empty] | 04/10/2023 11:30 | 1051.167 | [12 empty] | 04/10/2023 11:30 | 942.9377
04/10/2023 12:00 | 952.504 | [12 empty] | 04/10/2023 12:00 | 1004.358 | [12 empty] | 04/10/2023 12:00 | 900.6498
04/10/2023 12:30 | 959.5312 | [12 empty] | 04/10/2023 12:30 | 1011.999 | [12 empty] | 04/10/2023 12:30 | 907.1361
04/10/2023 13:00 | 980.851 | [12 empty] | 04/10/2023 13:00 | 1034.633 | [12 empty] | 04/10/2023 13:00 | 927.1297
04/10/2023 13:30 | 1026.216 | [12 empty] | 04/10/2023 13:30 | 1082.635 | [12 empty] | 04/10/2023 13:30 | 969.8405
04/10/2023 14:00 | 1105.829 | [12 empty] | 04/10/2023 14:00 | 1166.789 | [12 empty] | 04/10/2023 14:00 | 1044.897
04/10/2023 14:30 | 1229.804 | [12 empty] | 04/10/2023 14:30 | 1297.797 | [12 empty] | 04/10/2023 14:30 | 1161.839
04/10/2023 15:00 | 1387.442 | [12 empty] | 04/10/2023 15:00 | 1464.371 | [12 empty] | 04/10/2023 15:00 | 1310.535
04/10/2023 15:30 | 1578.785 | [12 empty] | 04/10/2023 15:30 | 1666.576 | [12 empty] | 04/10/2023 15:30 | 1491.011
04/10/2023 16:00 | 1794.732 | [12 empty] | 04/10/2023 16:00 | 1894.836 | [12 empty] | 04/10/2023 16:00 | 1694.657
04/10/2023 16:30 | 2021.08 | [12 empty] | 04/10/2023 16:30 | 2134.154 | [12 empty] | 04/10/2023 16:30 | 1908.05
04/10/2023 17:00 | 2232.262 | [12 empty] | 04/10/2023 17:00 | 2357.527 | [12 empty] | 04/10/2023 17:00 | 2107.053
04/10/2023 17:30 | 2383.644 | [12 empty] | 04/10/2023 17:30 | 2517.804 | [12 empty] | 04/10/2023 17:30 | 2249.55
04/10/2023 18:00 | 2479.971 | [12 empty] | 04/10/2023 18:00 | 2619.966 | [12 empty] | 04/10/2023 18:00 | 2340.049
04/10/2023 18:30 | 2486.682 | [12 empty] | 04/10/2023 18:30 | 2627.473 | [12 empty] | 04/10/2023 18:30 | 2345.97
04/10/2023 19:00 | 2416.449 | [12 empty] | 04/10/2023 19:00 | 2553.667 | [12 empty] | 04/10/2023 19:00 | 2279.312
04/10/2023 19:30 | 2357.596 | [12 empty] | 04/10/2023 19:30 | 2491.86 | [12 empty] | 04/10/2023 19:30 | 2223.41
04/10/2023 20:00 | 2294.059 | [12 empty] | 04/10/2023 20:00 | 2425.081 | [12 empty] | 04/10/2023 20:00 | 2163.111
04/10/2023 20:30 | 2217.254 | [12 empty] | 04/10/2023 20:30 | 2344.252 | [12 empty] | 04/10/2023 20:30 | 2090.323
04/10/2023 21:00 | 2131.04 | [12 empty] | 04/10/2023 21:00 | 2253.443 | [12 empty] | 04/10/2023 21:00 | 2008.743
04/10/2023 21:30 | 2042.725 | [12 empty] | 04/10/2023 21:30 | 2160.385 | [12 empty] | 04/10/2023 21:30 | 1925.153
04/10/2023 22:00 | 1959.776 | [12 empty] | 04/10/2023 22:00 | 2072.976 | [12 empty] | 04/10/2023 22:00 | 1846.649
04/10/2023 22:30 | 1890.489 | [12 empty] | 04/10/2023 22:30 | 1999.993 | [12 empty] | 04/10/2023 22:30 | 1781.044
04/10/2023 23:00 | 1835.534 | [12 empty] | 04/10/2023 23:00 | 1942.15 | [12 empty] | 04/10/2023 23:00 | 1728.961
04/10/2023 23:30 | 1791.918 | [12 empty] | 04/10/2023 23:30 | 1896.292 | [12 empty] | 04/10/2023 23:30 | 1687.577
05/10/2023 00:00 | 1758.714 | [12 empty] | 05/10/2023 00:00 | 1861.44 | [12 empty] | 05/10/2023 00:00 | 1656.013
05/10/2023 00:30 | 1730 | [12 empty] | 05/10/2023 00:30 | 1831.331 | [12 empty] | 05/10/2023 00:30 | 1628.687
05/10/2023 01:00 | 1711.446 | [12 empty] | 05/10/2023 01:00 | 1811.972 | [12 empty] | 05/10/2023 01:00 | 1610.936
05/10/2023 01:30 | 1699.633 | [12 empty] | 05/10/2023 01:30 | 1799.745 | [12 empty] | 05/10/2023 01:30 | 1599.536
05/10/2023 02:00 | 1693.667 | [12 empty] | 05/10/2023 02:00 | 1793.707 | [12 empty] | 05/10/2023 02:00 | 1593.641
05/10/2023 02:30 | 1692.541 | [12 empty] | 05/10/2023 02:30 | 1792.794 | [12 empty] | 05/10/2023 02:30 | 1592.302
05/10/2023 03:00 | 1699.845 | [12 empty] | 05/10/2023 03:00 | 1800.811 | [12 empty] | 05/10/2023 03:00 | 1598.893
05/10/2023 03:30 | 1717.915 | [12 empty] | 05/10/2023 03:30 | 1820.238 | [12 empty] | 05/10/2023 03:30 | 1615.606
05/10/2023 04:00 | 1755.782 | [12 empty] | 05/10/2023 04:00 | 1860.65 | [12 empty] | 05/10/2023 04:00 | 1650.927
05/10/2023 04:30 | 1818.048 | [12 empty] | 05/10/2023 04:30 | 1926.928 | [12 empty] | 05/10/2023 04:30 | 1709.168
05/10/2023 05:00 | 1882.478 | [12 empty] | 05/10/2023 05:00 | 1995.527 | [12 empty] | 05/10/2023 05:00 | 1769.428
05/10/2023 05:30 | 1916.974 | [12 empty] | 05/10/2023 05:30 | 2032.412 | [12 empty] | 05/10/2023 05:30 | 1801.537
05/10/2023 06:00 | 1890.118 | [12 empty] | 05/10/2023 06:00 | 2004.25 | [12 empty] | 05/10/2023 06:00 | 1775.985
05/10/2023 06:30 | 1801.968 | [12 empty] | 05/10/2023 06:30 | 1911.109 | [12 empty] | 05/10/2023 06:30 | 1692.826
05/10/2023 07:00 | 1691.949 | [12 empty] | 05/10/2023 07:00 | 1794.802 | [12 empty] | 05/10/2023 07:00 | 1589.097
05/10/2023 07:30 | 1552.158 | [12 empty] | 05/10/2023 07:30 | 1646.852 | [12 empty] | 05/10/2023 07:30 | 1457.464
05/10/2023 08:00 | 1402.628 | [12 empty] | 05/10/2023 08:00 | 1487.891 | [12 empty] | 05/10/2023 08:00 | 1316.75
05/10/2023 08:30 | 1243.454 | [12 empty] | 05/10/2023 08:30 | 1319.315 | [12 empty] | 05/10/2023 08:30 | 1167.05
05/10/2023 09:00 | 1132.984 | [12 empty] | 05/10/2023 09:00 | 1202.352 | [12 empty] | 05/10/2023 09:00 | 1063.12
05/10/2023 09:30 | 1070.635 | [12 empty] | 05/10/2023 09:30 | 1136.42 | [12 empty] | 05/10/2023 09:30 | 1004.382
05/10/2023 10:00 | 1014.363 | [12 empty] | 05/10/2023 10:00 | 1076.912 | [12 empty] | 05/10/2023 10:00 | 951.3708
05/10/2023 10:30 | 987.8665 | [12 empty] | 05/10/2023 10:30 | 1048.998 | [12 empty] | 05/10/2023 10:30 | 926.3038
05/10/2023 11:00 | 975.6482 | [12 empty] | 05/10/2023 11:00 | 1036.236 | [12 empty] | 05/10/2023 11:00 | 914.6338
05/10/2023 11:30 | 964.8621 | [12 empty] | 05/10/2023 11:30 | 1024.991 | [12 empty] | 05/10/2023 11:30 | 904.3113
05/10/2023 12:00 | 962.3708 | [12 empty] | 05/10/2023 12:00 | 1022.555 | [12 empty] | 05/10/2023 12:00 | 901.7662
05/10/2023 12:30 | 1010.182 | [12 empty] | 05/10/2023 12:30 | 1073.577 | [12 empty] | 05/10/2023 12:30 | 946.3458
05/10/2023 13:00 | 1065.9 | [12 empty] | 05/10/2023 13:00 | 1133.024 | [12 empty] | 05/10/2023 13:00 | 998.3098
05/10/2023 13:30 | 1125.451 | [12 empty] | 05/10/2023 13:30 | 1196.571 | [12 empty] | 05/10/2023 13:30 | 1053.839
05/10/2023 14:00 | 1222.716 | [12 empty] | 05/10/2023 14:00 | 1300.25 | [12 empty] | 05/10/2023 14:00 | 1144.647
05/10/2023 14:30 | 1372.525 | [12 empty] | 05/10/2023 14:30 | 1459.859 | [12 empty] | 05/10/2023 14:30 | 1284.592
05/10/2023 15:00 | 1525.512 | [12 empty] | 05/10/2023 15:00 | 1622.914 | [12 empty] | 05/10/2023 15:00 | 1427.445
05/10/2023 15:30 | 1699.793 | [12 empty] | 05/10/2023 15:30 | 1808.693 | [12 empty] | 05/10/2023 15:30 | 1590.15
05/10/2023 16:00 | 1887.495 | [12 empty] | 05/10/2023 16:00 | 2008.833 | [12 empty] | 05/10/2023 16:00 | 1765.333
05/10/2023 16:30 | 2084.755 | [12 empty] | 05/10/2023 16:30 | 2219.23 | [12 empty] | 05/10/2023 16:30 | 1949.37
05/10/2023 17:00 | 2258.529 | [12 empty] | 05/10/2023 17:00 | 2404.706 | [12 empty] | 05/10/2023 17:00 | 2111.365
05/10/2023 17:30 | 2381.225 | [12 empty] | 05/10/2023 17:30 | 2535.863 | [12 empty] | 05/10/2023 17:30 | 2225.546
05/10/2023 18:00 | 2452.568 | [12 empty] | 05/10/2023 18:00 | 2612.375 | [12 empty] | 05/10/2023 18:00 | 2292.761
05/10/2023 18:30 | 2445.159 | [12 empty] | 05/10/2023 18:30 | 2605.018 | [12 empty] | 05/10/2023 18:30 | 2285.301
05/10/2023 19:00 | 2365.856 | [12 empty] | 05/10/2023 19:00 | 2521.047 | [12 empty] | 05/10/2023 19:00 | 2210.665
05/10/2023 19:30 | 2306.646 | [12 empty] | 05/10/2023 19:30 | 2458.457 | [12 empty] | 05/10/2023 19:30 | 2154.835
05/10/2023 20:00 | 2246.318 | [12 empty] | 05/10/2023 20:00 | 2394.649 | [12 empty] | 05/10/2023 20:00 | 2097.987
05/10/2023 20:30 | 2174.69 | [12 empty] | 05/10/2023 20:30 | 2318.767 | [12 empty] | 05/10/2023 20:30 | 2030.614
05/10/2023 21:00 | 2091.744 | [12 empty] | 05/10/2023 21:00 | 2230.783 | [12 empty] | 05/10/2023 21:00 | 1952.706
05/10/2023 21:30 | 2018.337 | [12 empty] | 05/10/2023 21:30 | 2152.937 | [12 empty] | 05/10/2023 21:30 | 1883.737
05/10/2023 22:00 | 1949.166 | [12 empty] | 05/10/2023 22:00 | 2079.578 | [12 empty] | 05/10/2023 22:00 | 1818.753
05/10/2023 22:30 | 1885.558 | [12 empty] | 05/10/2023 22:30 | 2012.127 | [12 empty] | 05/10/2023 22:30 | 1758.989
05/10/2023 23:00 | 1832.201 | [12 empty] | 05/10/2023 23:00 | 1955.589 | [12 empty] | 05/10/2023 23:00 | 1708.814
05/10/2023 23:30 | 1789.311 | [12 empty] | 05/10/2023 23:30 | 1910.202 | [12 empty] | 05/10/2023 23:30 | 1668.421
06/10/2023 00:00 | 1751.69 | [12 empty] | 06/10/2023 00:00 | 1870.421 | [12 empty] | 06/10/2023 00:00 | 1632.958
06/10/2023 00:30 | 1723.809 | [12 empty] | 06/10/2023 00:30 | 1841.027 | [12 empty] | 06/10/2023 00:30 | 1606.591
06/10/2023 01:00 | 1705.7 | [12 empty] | 06/10/2023 01:00 | 1822.06 | [12 empty] | 06/10/2023 01:00 | 1589.341
06/10/2023 01:30 | 1696.224 | [12 empty] | 06/10/2023 01:30 | 1812.308 | [12 empty] | 06/10/2023 01:30 | 1580.141
06/10/2023 02:00 | 1690.763 | [12 empty] | 06/10/2023 02:00 | 1806.843 | [12 empty] | 06/10/2023 02:00 | 1574.684
06/10/2023 02:30 | 1689.554 | [12 empty] | 06/10/2023 02:30 | 1805.919 | [12 empty] | 06/10/2023 02:30 | 1573.188
06/10/2023 03:00 | 1693.783 | [12 empty] | 06/10/2023 03:00 | 1810.81 | [12 empty] | 06/10/2023 03:00 | 1576.757
06/10/2023 03:30 | 1709.331 | [12 empty] | 06/10/2023 03:30 | 1827.805 | [12 empty] | 06/10/2023 03:30 | 1590.857
06/10/2023 04:00 | 1742.195 | [12 empty] | 06/10/2023 04:00 | 1863.328 | [12 empty] | 06/10/2023 04:00 | 1621.062
06/10/2023 04:30 | 1797.176 | [12 empty] | 06/10/2023 04:30 | 1922.524 | [12 empty] | 06/10/2023 04:30 | 1671.828
06/10/2023 05:00 | 1856.221 | [12 empty] | 06/10/2023 05:00 | 1986.093 | [12 empty] | 06/10/2023 05:00 | 1726.349
06/10/2023 05:30 | 1886.546 | [12 empty] | 06/10/2023 05:30 | 2018.952 | [12 empty] | 06/10/2023 05:30 | 1754.14
06/10/2023 06:00 | 1863.045 | [12 empty] | 06/10/2023 06:00 | 1994.209 | [12 empty] | 06/10/2023 06:00 | 1731.882
06/10/2023 06:30 | 1779.082 | [12 empty] | 06/10/2023 06:30 | 1904.723 | [12 empty] | 06/10/2023 06:30 | 1653.441
06/10/2023 07:00 | 1676.992 | [12 empty] | 06/10/2023 07:00 | 1795.79 | [12 empty] | 06/10/2023 07:00 | 1558.195
06/10/2023 07:30 | 1541.847 | [12 empty] | 06/10/2023 07:30 | 1651.408 | [12 empty] | 06/10/2023 07:30 | 1432.286
06/10/2023 08:00 | 1395.924 | [12 empty] | 06/10/2023 08:00 | 1495.421 | [12 empty] | 06/10/2023 08:00 | 1296.427
06/10/2023 08:30 | 1254.639 | [12 empty] | 06/10/2023 08:30 | 1344.339 | [12 empty] | 06/10/2023 08:30 | 1164.938
06/10/2023 09:00 | 1153.087 | [12 empty] | 06/10/2023 09:00 | 1235.779 | [12 empty] | 06/10/2023 09:00 | 1070.395
06/10/2023 09:30 | 1093.068 | [12 empty] | 06/10/2023 09:30 | 1171.694 | [12 empty] | 06/10/2023 09:30 | 1014.441
06/10/2023 10:00 | 1052.345 | [12 empty] | 06/10/2023 10:00 | 1128.272 | [12 empty] | 06/10/2023 10:00 | 976.4174
06/10/2023 10:30 | 1046.918 | [12 empty] | 06/10/2023 10:30 | 1122.682 | [12 empty] | 06/10/2023 10:30 | 971.1531
06/10/2023 11:00 | 1058.355 | [12 empty] | 06/10/2023 11:00 | 1135.178 | [12 empty] | 06/10/2023 11:00 | 981.5315
06/10/2023 11:30 | 1068.827 | [12 empty] | 06/10/2023 11:30 | 1146.644 | [12 empty] | 06/10/2023 11:30 | 991.0097
06/10/2023 12:00 | 1093.068 | [12 empty] | 06/10/2023 12:00 | 1172.888 | [12 empty] | 06/10/2023 12:00 | 1013.247
06/10/2023 12:30 | 1170.864 | [12 empty] | 06/10/2023 12:30 | 1256.622 | [12 empty] | 06/10/2023 12:30 | 1085.107
06/10/2023 13:00 | 1246.643 | [12 empty] | 06/10/2023 13:00 | 1338.223 | [12 empty] | 06/10/2023 13:00 | 1155.062
06/10/2023 13:30 | 1330.462 | [12 empty] | 06/10/2023 13:30 | 1428.49 | [12 empty] | 06/10/2023 13:30 | 1232.433
06/10/2023 14:00 | 1450.999 | [12 empty] | 06/10/2023 14:00 | 1558.226 | [12 empty] | 06/10/2023 14:00 | 1343.772
06/10/2023 14:30 | 1614.244 | [12 empty] | 06/10/2023 14:30 | 1733.886 | [12 empty] | 06/10/2023 14:30 | 1494.601
06/10/2023 15:00 | 1789.673 | [12 empty] | 06/10/2023 15:00 | 1922.709 | [12 empty] | 06/10/2023 15:00 | 1656.637
06/10/2023 15:30 | 1961.07 | [12 empty] | 06/10/2023 15:30 | 2107.276 | [12 empty] | 06/10/2023 15:30 | 1814.865
06/10/2023 16:00 | 2131.201 | [12 empty] | 06/10/2023 16:00 | 2290.557 | [12 empty] | 06/10/2023 16:00 | 1971.846
06/10/2023 16:30 | 2292.612 | [12 empty] | 06/10/2023 16:30 | 2464.537 | [12 empty] | 06/10/2023 16:30 | 2120.687
06/10/2023 17:00 | 2409.536 | [12 empty] | 06/10/2023 17:00 | 2590.756 | [12 empty] | 06/10/2023 17:00 | 2228.316
06/10/2023 17:30 | 2471.063 | [12 empty] | 06/10/2023 17:30 | 2657.451 | [12 empty] | 06/10/2023 17:30 | 2284.676
06/10/2023 18:00 | 2504.777 | [12 empty] | 06/10/2023 18:00 | 2694.255 | [12 empty] | 06/10/2023 18:00 | 2315.3
06/10/2023 18:30 | 2484.682 | [12 empty] | 06/10/2023 18:30 | 2673.182 | [12 empty] | 06/10/2023 18:30 | 2296.182
06/10/2023 19:00 | 2407.338 | [12 empty] | 06/10/2023 19:00 | 2590.496 | [12 empty] | 06/10/2023 19:00 | 2224.179
06/10/2023 19:30 | 2354.483 | [12 empty] | 06/10/2023 19:30 | 2534.134 | [12 empty] | 06/10/2023 19:30 | 2174.831
06/10/2023 20:00 | 2302.53 | [12 empty] | 06/10/2023 20:00 | 2478.721 | [12 empty] | 06/10/2023 20:00 | 2126.34
06/10/2023 20:30 | 2245.135 | [12 empty] | 06/10/2023 20:30 | 2417.425 | [12 empty] | 06/10/2023 20:30 | 2072.846
06/10/2023 21:00 | 2185.258 | [12 empty] | 06/10/2023 21:00 | 2353.43 | [12 empty] | 06/10/2023 21:00 | 2017.087
06/10/2023 21:30 | 2126.144 | [12 empty] | 06/10/2023 21:30 | 2290.23 | [12 empty] | 06/10/2023 21:30 | 1962.057
06/10/2023 22:00 | 2061.437 | [12 empty] | 06/10/2023 22:00 | 2220.98 | [12 empty] | 06/10/2023 22:00 | 1901.893
06/10/2023 22:30 | 2007.201 | [12 empty] | 06/10/2023 22:30 | 2162.986 | [12 empty] | 06/10/2023 22:30 | 1851.417
06/10/2023 23:00 | 1969.96 | [12 empty] | 06/10/2023 23:00 | 2123.285 | [12 empty] | 06/10/2023 23:00 | 1816.636
06/10/2023 23:30 | 1948.559 | [12 empty] | 06/10/2023 23:30 | 2105.963 | [12 empty] | 06/10/2023 23:30 | 1791.154
07/10/2023 00:00 | 1930.732 | [12 empty] | 07/10/2023 00:00 | 2097.571 | [12 empty] | 07/10/2023 00:00 | 1763.892
07/10/2023 00:30 | 1911.271 | [12 empty] | 07/10/2023 00:30 | 2075.997 | [12 empty] | 07/10/2023 00:30 | 1746.545
07/10/2023 01:00 | 1893.949 | [12 empty] | 07/10/2023 01:00 | 2057.635 | [12 empty] | 07/10/2023 01:00 | 1730.264
07/10/2023 01:30 | 1870.602 | [12 empty] | 07/10/2023 01:30 | 2032.716 | [12 empty] | 07/10/2023 01:30 | 1708.487
07/10/2023 02:00 | 1853.442 | [12 empty] | 07/10/2023 02:00 | 2014.512 | [12 empty] | 07/10/2023 02:00 | 1692.372
07/10/2023 02:30 | 1837.501 | [12 empty] | 07/10/2023 02:30 | 1997.625 | [12 empty] | 07/10/2023 02:30 | 1677.377
07/10/2023 03:00 | 1826.945 | [12 empty] | 07/10/2023 03:00 | 1986.586 | [12 empty] | 07/10/2023 03:00 | 1667.305
07/10/2023 03:30 | 1827.453 | [12 empty] | 07/10/2023 03:30 | 1987.574 | [12 empty] | 07/10/2023 03:30 | 1667.332
07/10/2023 04:00 | 1836.637 | [12 empty] | 07/10/2023 04:00 | 1998.002 | [12 empty] | 07/10/2023 04:00 | 1675.273
07/10/2023 04:30 | 1849.676 | [12 empty] | 07/10/2023 04:30 | 2012.628 | [12 empty] | 07/10/2023 04:30 | 1686.724
07/10/2023 05:00 | 1868.528 | [12 empty] | 07/10/2023 05:00 | 2033.587 | [12 empty] | 07/10/2023 05:00 | 1703.469
07/10/2023 05:30 | 1876.377 | [12 empty] | 07/10/2023 05:30 | 2042.578 | [12 empty] | 07/10/2023 05:30 | 1710.176
07/10/2023 06:00 | 1835.238 | [12 empty] | 07/10/2023 06:00 | 1998.234 | [12 empty] | 07/10/2023 06:00 | 1672.243
07/10/2023 06:30 | 1749.745 | [12 empty] | 07/10/2023 06:30 | 1905.565 | [12 empty] | 07/10/2023 06:30 | 1593.925
07/10/2023 07:00 | 1645.78 | [12 empty] | 07/10/2023 07:00 | 1792.735 | [12 empty] | 07/10/2023 07:00 | 1498.825
07/10/2023 07:30 | 1512.053 | [12 empty] | 07/10/2023 07:30 | 1647.327 | [12 empty] | 07/10/2023 07:30 | 1376.779
07/10/2023 08:00 | 1377.983 | [12 empty] | 07/10/2023 08:00 | 1501.317 | [12 empty] | 07/10/2023 08:00 | 1254.649
07/10/2023 08:30 | 1252.374 | [12 empty] | 07/10/2023 08:30 | 1364.529 | [12 empty] | 07/10/2023 08:30 | 1140.218
07/10/2023 09:00 | 1164.02 | [12 empty] | 07/10/2023 09:00 | 1268.323 | [12 empty] | 07/10/2023 09:00 | 1059.718
07/10/2023 09:30 | 1109.507 | [12 empty] | 07/10/2023 09:30 | 1208.982 | [12 empty] | 07/10/2023 09:30 | 1010.033
07/10/2023 10:00 | 1076.285 | [12 empty] | 07/10/2023 10:00 | 1172.836 | [12 empty] | 07/10/2023 10:00 | 979.7341
07/10/2023 10:30 | 1080.888 | [12 empty] | 07/10/2023 10:30 | 1177.907 | [12 empty] | 07/10/2023 10:30 | 983.8693
07/10/2023 11:00 | 1101.58 | [12 empty] | 07/10/2023 11:00 | 1200.512 | [12 empty] | 07/10/2023 11:00 | 1002.647
07/10/2023 11:30 | 1141.979 | [12 empty] | 07/10/2023 11:30 | 1244.597 | [12 empty] | 07/10/2023 11:30 | 1039.36
07/10/2023 12:00 | 1180.739 | [12 empty] | 07/10/2023 12:00 | 1286.9 | [12 empty] | 07/10/2023 12:00 | 1074.577
07/10/2023 12:30 | 1227.566 | [12 empty] | 07/10/2023 12:30 | 1338 | [12 empty] | 07/10/2023 12:30 | 1117.131
07/10/2023 13:00 | 1291.392 | [12 empty] | 07/10/2023 13:00 | 1407.635 | [12 empty] | 07/10/2023 13:00 | 1175.15
07/10/2023 13:30 | 1395.564 | [12 empty] | 07/10/2023 13:30 | 1521.254 | [12 empty] | 07/10/2023 13:30 | 1269.873
07/10/2023 14:00 | 1546.188 | [12 empty] | 07/10/2023 14:00 | 1685.524 | [12 empty] | 07/10/2023 14:00 | 1406.853
07/10/2023 14:30 | 1730.899 | [12 empty] | 07/10/2023 14:30 | 1886.968 | [12 empty] | 07/10/2023 14:30 | 1574.83
07/10/2023 15:00 | 1952.883 | [12 empty] | 07/10/2023 15:00 | 2129.067 | [12 empty] | 07/10/2023 15:00 | 1776.699
07/10/2023 15:30 | 2204.358 | [12 empty] | 07/10/2023 15:30 | 2403.342 | [12 empty] | 07/10/2023 15:30 | 2005.375
07/10/2023 16:00 | 2375.758 | [12 empty] | 07/10/2023 16:00 | 2590.334 | [12 empty] | 07/10/2023 16:00 | 2161.181
07/10/2023 16:30 | 2445.483 | [12 empty] | 07/10/2023 16:30 | 2666.482 | [12 empty] | 07/10/2023 16:30 | 2224.484
07/10/2023 17:00 | 2510.423 | [12 empty] | 07/10/2023 17:00 | 2737.419 | [12 empty] | 07/10/2023 17:00 | 2283.428
07/10/2023 17:30 | 2589.743 | [12 empty] | 07/10/2023 17:30 | 2824.043 | [12 empty] | 07/10/2023 17:30 | 2355.444
07/10/2023 18:00 | 2626.629 | [12 empty] | 07/10/2023 18:00 | 2864.4 | [12 empty] | 07/10/2023 18:00 | 2388.859
07/10/2023 18:30 | 2604.488 | [12 empty] | 07/10/2023 18:30 | 2840.387 | [12 empty] | 07/10/2023 18:30 | 2368.589
07/10/2023 19:00 | 2531.872 | [12 empty] | 07/10/2023 19:00 | 2761.323 | [12 empty] | 07/10/2023 19:00 | 2302.421
07/10/2023 19:30 | 2465.571 | [12 empty] | 07/10/2023 19:30 | 2689.139 | [12 empty] | 07/10/2023 19:30 | 2242.002
07/10/2023 20:00 | 2404.382 | [12 empty] | 07/10/2023 20:00 | 2622.524 | [12 empty] | 07/10/2023 20:00 | 2186.239
07/10/2023 20:30 | 2349.398 | [12 empty] | 07/10/2023 20:30 | 2562.672 | [12 empty] | 07/10/2023 20:30 | 2136.124
07/10/2023 21:00 | 2289.743 | [12 empty] | 07/10/2023 21:00 | 2497.718 | [12 empty] | 07/10/2023 21:00 | 2081.768
07/10/2023 21:30 | 2220.792 | [12 empty] | 07/10/2023 21:30 | 2422.618 | [12 empty] | 07/10/2023 21:30 | 2018.966
07/10/2023 22:00 | 2148.821 | [12 empty] | 07/10/2023 22:00 | 2344.215 | [12 empty] | 07/10/2023 22:00 | 1953.426
07/10/2023 22:30 | 2088.151 | [12 empty] | 07/10/2023 22:30 | 2278.135 | [12 empty] | 07/10/2023 22:30 | 1898.167
07/10/2023 23:00 | 2040.29 | [12 empty] | 07/10/2023 23:00 | 2226.024 | [12 empty] | 07/10/2023 23:00 | 1854.556
07/10/2023 23:30 | 2006.354 | [12 empty] | 07/10/2023 23:30 | 2189.101 | [12 empty] | 07/10/2023 23:30 | 1823.608
08/10/2023 00:00 | 1977.66 | [12 empty] | 08/10/2023 00:00 | 2157.894 | [12 empty] | 08/10/2023 00:00 | 1797.426
08/10/2023 00:30 | 1944.496 | [12 empty] | 08/10/2023 00:30 | 2121.807 | [12 empty] | 08/10/2023 00:30 | 1767.185
08/10/2023 01:00 | 1919.409 | [12 empty] | 08/10/2023 01:00 | 2094.53 | [12 empty] | 08/10/2023 01:00 | 1744.288
08/10/2023 01:30 | 1894.359 | [12 empty] | 08/10/2023 01:30 | 2067.291 | [12 empty] | 08/10/2023 01:30 | 1721.427
08/10/2023 02:00 | 1874.821 | [12 empty] | 08/10/2023 02:00 | 2046.065 | [12 empty] | 08/10/2023 02:00 | 1703.577
08/10/2023 02:30 | 1859.729 | [12 empty] | 08/10/2023 02:30 | 2029.689 | [12 empty] | 08/10/2023 02:30 | 1689.769
08/10/2023 03:00 | 1847.811 | [12 empty] | 08/10/2023 03:00 | 2016.776 | [12 empty] | 08/10/2023 03:00 | 1678.845
08/10/2023 03:30 | 1844.585 | [12 empty] | 08/10/2023 03:30 | 2013.349 | [12 empty] | 08/10/2023 03:30 | 1675.821
08/10/2023 04:00 | 1847.15 | [12 empty] | 08/10/2023 04:00 | 2016.243 | [12 empty] | 08/10/2023 04:00 | 1678.057
08/10/2023 04:30 | 1850.637 | [12 empty] | 08/10/2023 04:30 | 2020.144 | [12 empty] | 08/10/2023 04:30 | 1681.13
08/10/2023 05:00 | 1854.679 | [12 empty] | 08/10/2023 05:00 | 2024.65 | [12 empty] | 08/10/2023 05:00 | 1684.707
08/10/2023 05:30 | 1841.754 | [12 empty] | 08/10/2023 05:30 | 2010.634 | [12 empty] | 08/10/2023 05:30 | 1672.873
08/10/2023 06:00 | 1775.432 | [12 empty] | 08/10/2023 06:00 | 1938.322 | [12 empty] | 08/10/2023 06:00 | 1612.542
08/10/2023 06:30 | 1677.578 | [12 empty] | 08/10/2023 06:30 | 1831.576 | [12 empty] | 08/10/2023 06:30 | 1523.58
08/10/2023 07:00 | 1569.164 | [12 empty] | 08/10/2023 07:00 | 1713.29 | [12 empty] | 08/10/2023 07:00 | 1425.039
08/10/2023 07:30 | 1427.318 | [12 empty] | 08/10/2023 07:30 | 1558.488 | [12 empty] | 08/10/2023 07:30 | 1296.148
08/10/2023 08:00 | 1294.528 | [12 empty] | 08/10/2023 08:00 | 1413.561 | [12 empty] | 08/10/2023 08:00 | 1175.496
08/10/2023 08:30 | 1177.159 | [12 empty] | 08/10/2023 08:30 | 1285.459 | [12 empty] | 08/10/2023 08:30 | 1068.858
08/10/2023 09:00 | 1105.348 | [12 empty] | 08/10/2023 09:00 | 1207.098 | [12 empty] | 08/10/2023 09:00 | 1003.598
08/10/2023 09:30 | 1055.539 | [12 empty] | 08/10/2023 09:30 | 1152.758 | [12 empty] | 08/10/2023 09:30 | 958.3203
08/10/2023 10:00 | 1017.65 | [12 empty] | 08/10/2023 10:00 | 1111.431 | [12 empty] | 08/10/2023 10:00 | 923.8688
08/10/2023 10:30 | 991.233 | [12 empty] | 08/10/2023 10:30 | 1082.63 | [12 empty] | 08/10/2023 10:30 | 899.8359
08/10/2023 11:00 | 978.8635 | [12 empty] | 08/10/2023 11:00 | 1069.17 | [12 empty] | 08/10/2023 11:00 | 888.5569
08/10/2023 11:30 | 1001.414 | [12 empty] | 08/10/2023 11:30 | 1093.853 | [12 empty] | 08/10/2023 11:30 | 908.9764
08/10/2023 12:00 | 1002.246 | [12 empty] | 08/10/2023 12:00 | 1094.812 | [12 empty] | 08/10/2023 12:00 | 909.6805
08/10/2023 12:30 | 1011.478 | [12 empty] | 08/10/2023 12:30 | 1104.948 | [12 empty] | 08/10/2023 12:30 | 918.0081
08/10/2023 13:00 | 1049.276 | [12 empty] | 08/10/2023 13:00 | 1146.293 | [12 empty] | 08/10/2023 13:00 | 952.2599
08/10/2023 13:30 | 1123.075 | [12 empty] | 08/10/2023 13:30 | 1226.972 | [12 empty] | 08/10/2023 13:30 | 1019.178
08/10/2023 14:00 | 1238.262 | [12 empty] | 08/10/2023 14:00 | 1352.879 | [12 empty] | 08/10/2023 14:00 | 1123.646
08/10/2023 14:30 | 1385.006 | [12 empty] | 08/10/2023 14:30 | 1513.276 | [12 empty] | 08/10/2023 14:30 | 1256.736
08/10/2023 15:00 | 1548.221 | [12 empty] | 08/10/2023 15:00 | 1691.686 | [12 empty] | 08/10/2023 15:00 | 1404.756
08/10/2023 15:30 | 1731.512 | [12 empty] | 08/10/2023 15:30 | 1892.049 | [12 empty] | 08/10/2023 15:30 | 1570.974
08/10/2023 16:00 | 1925.822 | [12 empty] | 08/10/2023 16:00 | 2104.473 | [12 empty] | 08/10/2023 16:00 | 1747.171
08/10/2023 16:30 | 2110.909 | [12 empty] | 08/10/2023 16:30 | 2306.838 | [12 empty] | 08/10/2023 16:30 | 1914.98
08/10/2023 17:00 | 2267.392 | [12 empty] | 08/10/2023 17:00 | 2477.96 | [12 empty] | 08/10/2023 17:00 | 2056.823
08/10/2023 17:30 | 2372.268 | [12 empty] | 08/10/2023 17:30 | 2592.697 | [12 empty] | 08/10/2023 17:30 | 2151.838
08/10/2023 18:00 | 2427.678 | [12 empty] | 08/10/2023 18:00 | 2653.38 | [12 empty] | 08/10/2023 18:00 | 2201.976
08/10/2023 18:30 | 2406.765 | [12 empty] | 08/10/2023 18:30 | 2630.645 | [12 empty] | 08/10/2023 18:30 | 2182.885
08/10/2023 19:00 | 2326.281 | [12 empty] | 08/10/2023 19:00 | 2542.793 | [12 empty] | 08/10/2023 19:00 | 2109.769
08/10/2023 19:30 | 2259.958 | [12 empty] | 08/10/2023 19:30 | 2470.412 | [12 empty] | 08/10/2023 19:30 | 2049.503
08/10/2023 20:00 | 2196.31 | [12 empty] | 08/10/2023 20:00 | 2400.949 | [12 empty] | 08/10/2023 20:00 | 1991.671
08/10/2023 20:30 | 2133.852 | [12 empty] | 08/10/2023 20:30 | 2332.781 | [12 empty] | 08/10/2023 20:30 | 1934.923
08/10/2023 21:00 | 2063.953 | [12 empty] | 08/10/2023 21:00 | 2256.471 | [12 empty] | 08/10/2023 21:00 | 1871.436
08/10/2023 21:30 | 1993.949 | [12 empty] | 08/10/2023 21:30 | 2180.039 | [12 empty] | 08/10/2023 21:30 | 1807.86
08/10/2023 22:00 | 1927.786 | [12 empty] | 08/10/2023 22:00 | 2107.799 | [12 empty] | 08/10/2023 22:00 | 1747.773
08/10/2023 22:30 | 1875.911 | [12 empty] | 08/10/2023 22:30 | 2051.175 | [12 empty] | 08/10/2023 22:30 | 1700.646
08/10/2023 23:00 | 1843.211 | [12 empty] | 08/10/2023 23:00 | 2015.514 | [12 empty] | 08/10/2023 23:00 | 1670.907
08/10/2023 23:30 | 1824.631 | [12 empty] | 08/10/2023 23:30 | 1997.511 | [12 empty] | 08/10/2023 23:30 | 1651.752
09/10/2023 00:00 | 1813.254 | [12 empty] | 09/10/2023 00:00 | 1989.608 | [12 empty] | 09/10/2023 00:00 | 1636.901
09/10/2023 00:30 | 1793.427 | [12 empty] | 09/10/2023 00:30 | 1967.84 | [12 empty] | 09/10/2023 00:30 | 1619.015
09/10/2023 01:00 | 1778.154 | [12 empty] | 09/10/2023 01:00 | 1951.421 | [12 empty] | 09/10/2023 01:00 | 1604.886
09/10/2023 01:30 | 1765.994 | [12 empty] | 09/10/2023 01:30 | 1938.415 | [12 empty] | 09/10/2023 01:30 | 1593.573
09/10/2023 02:00 | 1757.204 | [12 empty] | 09/10/2023 02:00 | 1929.103 | [12 empty] | 09/10/2023 02:00 | 1585.304
09/10/2023 02:30 | 1754.21 | [12 empty] | 09/10/2023 02:30 | 1926.153 | [12 empty] | 09/10/2023 02:30 | 1582.267
09/10/2023 03:00 | 1758.005 | [12 empty] | 09/10/2023 03:00 | 1930.657 | [12 empty] | 09/10/2023 03:00 | 1585.353
09/10/2023 03:30 | 1774.339 | [12 empty] | 09/10/2023 03:30 | 1948.935 | [12 empty] | 09/10/2023 03:30 | 1599.743
09/10/2023 04:00 | 1813.605 | [12 empty] | 09/10/2023 04:00 | 1992.413 | [12 empty] | 09/10/2023 04:00 | 1634.797
09/10/2023 04:30 | 1875.63 | [12 empty] | 09/10/2023 04:30 | 2060.913 | [12 empty] | 09/10/2023 04:30 | 1690.348
09/10/2023 05:00 | 1935.364 | [12 empty] | 09/10/2023 05:00 | 2126.918 | [12 empty] | 09/10/2023 05:00 | 1743.81
09/10/2023 05:30 | 1982.237 | [12 empty] | 09/10/2023 05:30 | 2178.81 | [12 empty] | 09/10/2023 05:30 | 1785.664
09/10/2023 06:00 | 2017.914 | [12 empty] | 09/10/2023 06:00 | 2218.412 | [12 empty] | 09/10/2023 06:00 | 1817.416
09/10/2023 06:30 | 2035.794 | [12 empty] | 09/10/2023 06:30 | 2238.459 | [12 empty] | 09/10/2023 06:30 | 1833.13
09/10/2023 07:00 | 2022.147 | [12 empty] | 09/10/2023 07:00 | 2223.841 | [12 empty] | 09/10/2023 07:00 | 1820.453
09/10/2023 07:30 | 1941.346 | [12 empty] | 09/10/2023 07:30 | 2135.452 | [12 empty] | 09/10/2023 07:30 | 1747.24
09/10/2023 08:00 | 1851.06 | [12 empty] | 09/10/2023 08:00 | 2036.776 | [12 empty] | 09/10/2023 08:00 | 1665.345
09/10/2023 08:30 | 1761.693 | [12 empty] | 09/10/2023 08:30 | 1939.033 | [12 empty] | 09/10/2023 08:30 | 1584.354
09/10/2023 09:00 | 1665.367 | [12 empty] | 09/10/2023 09:00 | 1833.569 | [12 empty] | 09/10/2023 09:00 | 1497.166
09/10/2023 09:30 | 1552.342 | [12 empty] | 09/10/2023 09:30 | 1709.649 | [12 empty] | 09/10/2023 09:30 | 1395.036
09/10/2023 10:00 | 1462.903 | [12 empty] | 09/10/2023 10:00 | 1611.637 | [12 empty] | 09/10/2023 10:00 | 1314.169
09/10/2023 10:30 | 1427.56 | [12 empty] | 09/10/2023 10:30 | 1573.179 | [12 empty] | 09/10/2023 10:30 | 1281.941
09/10/2023 11:00 | 1400.75 | [12 empty] | 09/10/2023 11:00 | 1544.104 | [12 empty] | 09/10/2023 11:00 | 1257.396
09/10/2023 11:30 | 1414.481 | [12 empty] | 09/10/2023 11:30 | 1559.715 | [12 empty] | 09/10/2023 11:30 | 1269.248
09/10/2023 12:00 | 1381.541 | [12 empty] | 09/10/2023 12:00 | 1523.855 | [12 empty] | 09/10/2023 12:00 | 1239.226
09/10/2023 12:30 | 1295.722 | [12 empty] | 09/10/2023 12:30 | 1429.63 | [12 empty] | 09/10/2023 12:30 | 1161.813
09/10/2023 13:00 | 1254.287 | [12 empty] | 09/10/2023 13:00 | 1384.335 | [12 empty] | 09/10/2023 13:00 | 1124.24
09/10/2023 13:30 | 1279.528 | [12 empty] | 09/10/2023 13:30 | 1412.621 | [12 empty] | 09/10/2023 13:30 | 1146.435
09/10/2023 14:00 | 1331.478 | [12 empty] | 09/10/2023 14:00 | 1470.421 | [12 empty] | 09/10/2023 14:00 | 1192.534
09/10/2023 14:30 | 1459.313 | [12 empty] | 09/10/2023 14:30 | 1612.085 | [12 empty] | 09/10/2023 14:30 | 1306.54
09/10/2023 15:00 | 1616.714 | [12 empty] | 09/10/2023 15:00 | 1786.506 | [12 empty] | 09/10/2023 15:00 | 1446.921
09/10/2023 15:30 | 1799.788 | [12 empty] | 09/10/2023 15:30 | 1984.868 | [12 empty] | 09/10/2023 15:30 | 1610.165
09/10/2023 16:00 | 1994.593 | [12 empty] | 09/10/2023 16:00 | 2201.72 | [12 empty] | 09/10/2023 16:00 | 1783.777
09/10/2023 16:30 | 2189.897 | [12 empty] | 09/10/2023 16:30 | 2419.487 | [12 empty] | 09/10/2023 16:30 | 1957.704
09/10/2023 17:00 | 2349.285 | [12 empty] | 09/10/2023 17:00 | 2597.732 | [12 empty] | 09/10/2023 17:00 | 2099.405
09/10/2023 17:30 | 2451.14 | [12 empty] | 09/10/2023 17:30 | 2712.55 | [12 empty] | 09/10/2023 17:30 | 2189.604
09/10/2023 18:00 | 2510.841 | [12 empty] | 09/10/2023 18:00 | 2780.562 | [12 empty] | 09/10/2023 18:00 | 2242.093
09/10/2023 18:30 | 2492.365 | [12 empty] | 09/10/2023 18:30 | 2761.019 | [12 empty] | 09/10/2023 18:30 | 2224.759
09/10/2023 19:00 | 2397.882 | [12 empty] | 09/10/2023 19:00 | 2657.139 | [12 empty] | 09/10/2023 19:00 | 2139.616
09/10/2023 19:30 | 2326.437 | [12 empty] | 09/10/2023 19:30 | 2579.425 | [12 empty] | 09/10/2023 19:30 | 2075.087
09/10/2023 20:00 | 2255.323 | [12 empty] | 09/10/2023 20:00 | 2501.443 | [12 empty] | 09/10/2023 20:00 | 2010.9
09/10/2023 20:30 | 2175.986 | [12 empty] | 09/10/2023 20:30 | 2413.96 | [12 empty] | 09/10/2023 20:30 | 1939.431
09/10/2023 21:00 | 2092.591 | [12 empty] | 09/10/2023 21:00 | 2321.941 | [12 empty] | 09/10/2023 21:00 | 1864.4
09/10/2023 21:30 | 2011.949 | [12 empty] | 09/10/2023 21:30 | 2232.877 | [12 empty] | 09/10/2023 21:30 | 1791.877
09/10/2023 22:00 | 1936.733 | [12 empty] | 09/10/2023 22:00 | 2148.533 | [12 empty] | 09/10/2023 22:00 | 1724.24
09/10/2023 22:30 | 1875.243 | [12 empty] | 09/10/2023 22:30 | 2080.82 | [12 empty] | 09/10/2023 22:30 | 1668.868
09/10/2023 23:00 | 1830.7 | [12 empty] | 09/10/2023 23:00 | 2031.78 | [12 empty] | 09/10/2023 23:00 | 1628.613
09/10/2023 23:30 | 1794.643 | [12 empty] | 09/10/2023 23:30 | 1992.059 | [12 empty] | 09/10/2023 23:30 | 1595.934
10/10/2023 00:00 | 1765.377 | [12 empty] | 10/10/2023 00:00 | 1959.917 | [12 empty] | 10/10/2023 00:00 | 1569.317
10/10/2023 00:30 | 1740.638 | [12 empty] | 10/10/2023 00:30 | 1932.903 | [12 empty] | 10/10/2023 00:30 | 1546.742
10/10/2023 01:00 | 1726.546 | [12 empty] | 10/10/2023 01:00 | 1917.75 | [12 empty] | 10/10/2023 01:00 | 1533.64
10/10/2023 01:30 | 1717.663 | [12 empty] | 10/10/2023 01:30 | 1908.499 | [12 empty] | 10/10/2023 01:30 | 1525.174
10/10/2023 02:00 | 1710.48 | [12 empty] | 10/10/2023 02:00 | 1901.106 | [12 empty] | 10/10/2023 02:00 | 1518.223
10/10/2023 02:30 | 1710.171 | [12 empty] | 10/10/2023 02:30 | 1901.376 | [12 empty] | 10/10/2023 02:30 | 1517.375
10/10/2023 03:00 | 1717.723 | [12 empty] | 10/10/2023 03:00 | 1910.387 | [12 empty] | 10/10/2023 03:00 | 1523.499
10/10/2023 03:30 | 1736.697 | [12 empty] | 10/10/2023 03:30 | 1932.125 | [12 empty] | 10/10/2023 03:30 | 1539.746
10/10/2023 04:00 | 1776.991 | [12 empty] | 10/10/2023 04:00 | 1977.614 | [12 empty] | 10/10/2023 04:00 | 1574.875
10/10/2023 04:30 | 1839.444 | [12 empty] | 10/10/2023 04:30 | 2047.828 | [12 empty] | 10/10/2023 04:30 | 1629.607
10/10/2023 05:00 | 1909.443 | [12 empty] | 10/10/2023 05:00 | 2126.334 | [12 empty] | 10/10/2023 05:00 | 1690.981
10/10/2023 05:30 | 1968.214 | [12 empty] | 10/10/2023 05:30 | 2192.358 | [12 empty] | 10/10/2023 05:30 | 1742.367
10/10/2023 06:00 | 1972.934 | [12 empty] | 10/10/2023 06:00 | 2198.661 | [12 empty] | 10/10/2023 06:00 | 1746.175
10/10/2023 06:30 | 1923.351 | [12 empty] | 10/10/2023 06:30 | 2144.05 | [12 empty] | 10/10/2023 06:30 | 1701.733
10/10/2023 07:00 | 1815.286 | [12 empty] | 10/10/2023 07:00 | 2024.193 | [12 empty] | 10/10/2023 07:00 | 1605.521
10/10/2023 07:30 | 1611.873 | [12 empty] | 10/10/2023 07:30 | 1797.911 | [12 empty] | 10/10/2023 07:30 | 1425.121