## ST-PASA
Scenario Heading Definitions
Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
Summary view - for each schedule horizon (dispatch, week-ahead)
|  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
|  | 300MW | 0MW | 10MW | 0MW | 10MW | 0MW | 10MW | 0MW | 10MW | 0MW | <7550MWs | <7300MWs
Scenario |  | Violations
|  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
Reference Scenario |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
High Demand Scenario |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low Demand Scenario |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Detail view - Reference Load Scenario | [13 empty] | Detail view - High Load Scenario | [13 empty] | Detail view - Low Load Scenario
Dispatch Interval | Forecast Operational Demand (in MW) | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Forecast Operational Demand (in MW) | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Dispatch Interval | Forecast Operational Demand (in MW) | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
|  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 |  |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 |  |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
2023-10-04 08:00 | 1691 | [12 empty] | 2023-10-04 08:00 | 1606.791 | [12 empty] | 2023-10-04 08:00 | 1563.422
2023-10-04 08:30 | 1580.855 | [12 empty] | 2023-10-04 08:30 | 1476.123 | [12 empty] | 2023-10-04 08:30 | 1429.054
2023-10-04 09:00 | 1496.276 | [12 empty] | 2023-10-04 09:00 | 1373.1 | [12 empty] | 2023-10-04 09:00 | 1322.627
2023-10-04 09:30 | 1422.909 | [12 empty] | 2023-10-04 09:30 | 1256.321 | [12 empty] | 2023-10-04 09:30 | 1204.05
2023-10-04 10:00 | 1350.296 | [12 empty] | 2023-10-04 10:00 | 1141.627 | [12 empty] | 2023-10-04 10:00 | 1088.621
2023-10-04 10:30 | 1280.948 | [12 empty] | 2023-10-04 10:30 | 1054.571 | [12 empty] | 2023-10-04 10:30 | 1001.781
2023-10-04 11:00 | 1180.568 | [12 empty] | 2023-10-04 11:00 | 958.8382 | [12 empty] | 2023-10-04 11:00 | 909.5929
2023-10-04 11:30 | 1091.597 | [12 empty] | 2023-10-04 11:30 | 868.1993 | [12 empty] | 2023-10-04 11:30 | 822.3082
2023-10-04 12:00 | 1039.116 | [12 empty] | 2023-10-04 12:00 | 801.7933 | [12 empty] | 2023-10-04 12:00 | 770.3425
2023-10-04 12:30 | 1087.425 | [12 empty] | 2023-10-04 12:30 | 836.7596 | [12 empty] | 2023-10-04 12:30 | 790.0285
2023-10-04 13:00 | 1121.267 | [12 empty] | 2023-10-04 13:00 | 889.8409 | [12 empty] | 2023-10-04 13:00 | 838.8181
2023-10-04 13:30 | 1120.1 | [12 empty] | 2023-10-04 13:30 | 958.5696 | [12 empty] | 2023-10-04 13:30 | 902.1784
2023-10-04 14:00 | 1153.146 | [12 empty] | 2023-10-04 14:00 | 1056.616 | [12 empty] | 2023-10-04 14:00 | 992.8858
2023-10-04 14:30 | 1247.552 | [12 empty] | 2023-10-04 14:30 | 1190.641 | [12 empty] | 2023-10-04 14:30 | 1117.059
2023-10-04 15:00 | 1384.469 | [12 empty] | 2023-10-04 15:00 | 1360.907 | [12 empty] | 2023-10-04 15:00 | 1274.786
2023-10-04 15:30 | 1575.438 | [12 empty] | 2023-10-04 15:30 | 1572.833 | [12 empty] | 2023-10-04 15:30 | 1470.971
2023-10-04 16:00 | 1783.16 | [12 empty] | 2023-10-04 16:00 | 1805.878 | [12 empty] | 2023-10-04 16:00 | 1686.255
2023-10-04 16:30 | 1990.742 | [12 empty] | 2023-10-04 16:30 | 2042.967 | [12 empty] | 2023-10-04 16:30 | 1904.625
2023-10-04 17:00 | 2188.62 | [12 empty] | 2023-10-04 17:00 | 2265.079 | [12 empty] | 2023-10-04 17:00 | 2108.359
2023-10-04 17:30 | 2338.91 | [12 empty] | 2023-10-04 17:30 | 2432.932 | [12 empty] | 2023-10-04 17:30 | 2261.019
2023-10-04 18:00 | 2429.169 | [12 empty] | 2023-10-04 18:00 | 2545.405 | [12 empty] | 2023-10-04 18:00 | 2361.805
2023-10-04 18:30 | 2428.044 | [12 empty] | 2023-10-04 18:30 | 2561.692 | [12 empty] | 2023-10-04 18:30 | 2374.207
2023-10-04 19:00 | 2354.605 | [12 empty] | 2023-10-04 19:00 | 2495.376 | [12 empty] | 2023-10-04 19:00 | 2312.124
2023-10-04 19:30 | 2292.974 | [12 empty] | 2023-10-04 19:30 | 2435.922 | [12 empty] | 2023-10-04 19:30 | 2256.261
2023-10-04 20:00 | 2224.24 | [12 empty] | 2023-10-04 20:00 | 2372.534 | [12 empty] | 2023-10-04 20:00 | 2196.793
2023-10-04 20:30 | 2142.587 | [12 empty] | 2023-10-04 20:30 | 2295.77 | [12 empty] | 2023-10-04 20:30 | 2124.985
2023-10-04 21:00 | 2050.603 | [12 empty] | 2023-10-04 21:00 | 2208.198 | [12 empty] | 2023-10-04 21:00 | 2043.226
2023-10-04 21:30 | 1956.911 | [12 empty] | 2023-10-04 21:30 | 2117.485 | [12 empty] | 2023-10-04 21:30 | 1958.617
2023-10-04 22:00 | 1869.641 | [12 empty] | 2023-10-04 22:00 | 2031.521 | [12 empty] | 2023-10-04 22:00 | 1878.457
2023-10-04 22:30 | 1797.785 | [12 empty] | 2023-10-04 22:30 | 1960.052 | [12 empty] | 2023-10-04 22:30 | 1811.75
2023-10-04 23:00 | 1740.632 | [12 empty] | 2023-10-04 23:00 | 1904.79 | [12 empty] | 2023-10-04 23:00 | 1760.065
2023-10-04 23:30 | 1699.638 | [12 empty] | 2023-10-04 23:30 | 1867.097 | [12 empty] | 2023-10-04 23:30 | 1715.194
2023-10-05 | 1671.46 | [12 empty] | 2023-10-05 | 1844.406 | [12 empty] | 2023-10-05 | 1675.169
2023-10-05 00:30 | 1652.953 | [12 empty] | 2023-10-05 00:30 | 1814.92 | [12 empty] | 2023-10-05 00:30 | 1648.598
2023-10-05 01:00 | 1643.895 | [12 empty] | 2023-10-05 01:00 | 1796.558 | [12 empty] | 2023-10-05 01:00 | 1630.642
2023-10-05 01:30 | 1639.795 | [12 empty] | 2023-10-05 01:30 | 1784.553 | [12 empty] | 2023-10-05 01:30 | 1618.475
2023-10-05 02:00 | 1640.263 | [12 empty] | 2023-10-05 02:00 | 1779.089 | [12 empty] | 2023-10-05 02:00 | 1612.253
2023-10-05 02:30 | 1649.66 | [12 empty] | 2023-10-05 02:30 | 1779.405 | [12 empty] | 2023-10-05 02:30 | 1611.275
2023-10-05 03:00 | 1667.92 | [12 empty] | 2023-10-05 03:00 | 1788.082 | [12 empty] | 2023-10-05 03:00 | 1617.861
2023-10-05 03:30 | 1696.668 | [12 empty] | 2023-10-05 03:30 | 1807.687 | [12 empty] | 2023-10-05 03:30 | 1634.317
2023-10-05 04:00 | 1746.836 | [12 empty] | 2023-10-05 04:00 | 1848.172 | [12 empty] | 2023-10-05 04:00 | 1669.609
2023-10-05 04:30 | 1823.783 | [12 empty] | 2023-10-05 04:30 | 1914.886 | [12 empty] | 2023-10-05 04:30 | 1728.52
2023-10-05 05:00 | 1909.051 | [12 empty] | 2023-10-05 05:00 | 1984.998 | [12 empty] | 2023-10-05 05:00 | 1790.402
2023-10-05 05:30 | 1976.701 | [12 empty] | 2023-10-05 05:30 | 2025.054 | [12 empty] | 2023-10-05 05:30 | 1825.098
2023-10-05 06:00 | 1984.619 | [12 empty] | 2023-10-05 06:00 | 2002.108 | [12 empty] | 2023-10-05 06:00 | 1803
2023-10-05 06:30 | 1921.488 | [12 empty] | 2023-10-05 06:30 | 1912.693 | [12 empty] | 2023-10-05 06:30 | 1721.403
2023-10-05 07:00 | 1818.227 | [12 empty] | 2023-10-05 07:00 | 1797.735 | [12 empty] | 2023-10-05 07:00 | 1617.451
2023-10-05 07:30 | 1671.645 | [12 empty] | 2023-10-05 07:30 | 1643.379 | [12 empty] | 2023-10-05 07:30 | 1478.085
2023-10-05 08:00 | 1520.354 | [12 empty] | 2023-10-05 08:00 | 1474.938 | [12 empty] | 2023-10-05 08:00 | 1326.147
2023-10-05 08:30 | 1389.844 | [12 empty] | 2023-10-05 08:30 | 1307.059 | [12 empty] | 2023-10-05 08:30 | 1174.815
2023-10-05 09:00 | 1303.922 | [12 empty] | 2023-10-05 09:00 | 1184.363 | [12 empty] | 2023-10-05 09:00 | 1064.18
2023-10-05 09:30 | 1271.263 | [12 empty] | 2023-10-05 09:30 | 1113.068 | [12 empty] | 2023-10-05 09:30 | 999.7881
2023-10-05 10:00 | 1209.736 | [12 empty] | 2023-10-05 10:00 | 1055.307 | [12 empty] | 2023-10-05 10:00 | 947.592
2023-10-05 10:30 | 1116.597 | [12 empty] | 2023-10-05 10:30 | 1025.371 | [12 empty] | 2023-10-05 10:30 | 920.4067
2023-10-05 11:00 | 1050.558 | [12 empty] | 2023-10-05 11:00 | 1010.221 | [12 empty] | 2023-10-05 11:00 | 906.5074
2023-10-05 11:30 | 997.0524 | [12 empty] | 2023-10-05 11:30 | 1001.271 | [12 empty] | 2023-10-05 11:30 | 898.1793
2023-10-05 12:00 | 952.504 | [12 empty] | 2023-10-05 12:00 | 1015.931 | [12 empty] | 2023-10-05 12:00 | 911.0277
2023-10-05 12:30 | 959.5312 | [12 empty] | 2023-10-05 12:30 | 1076.913 | [12 empty] | 2023-10-05 12:30 | 965.3932
2023-10-05 13:00 | 980.851 | [12 empty] | 2023-10-05 13:00 | 1140.275 | [12 empty] | 2023-10-05 13:00 | 1021.855
2023-10-05 13:30 | 1026.216 | [12 empty] | 2023-10-05 13:30 | 1215.887 | [12 empty] | 2023-10-05 13:30 | 1089.254
2023-10-05 14:00 | 1105.829 | [12 empty] | 2023-10-05 14:00 | 1328.945 | [12 empty] | 2023-10-05 14:00 | 1190.143
2023-10-05 14:30 | 1229.804 | [12 empty] | 2023-10-05 14:30 | 1489.869 | [12 empty] | 2023-10-05 14:30 | 1333.817
2023-10-05 15:00 | 1387.442 | [12 empty] | 2023-10-05 15:00 | 1655.979 | [12 empty] | 2023-10-05 15:00 | 1482.037
2023-10-05 15:30 | 1578.785 | [12 empty] | 2023-10-05 15:30 | 1836.238 | [12 empty] | 2023-10-05 15:30 | 1642.818
2023-10-05 16:00 | 1794.732 | [12 empty] | 2023-10-05 16:00 | 2034.138 | [12 empty] | 2023-10-05 16:00 | 1819.27
2023-10-05 16:30 | 2021.08 | [12 empty] | 2023-10-05 16:30 | 2241.666 | [12 empty] | 2023-10-05 16:30 | 2004.212
2023-10-05 17:00 | 2232.262 | [12 empty] | 2023-10-05 17:00 | 2426.745 | [12 empty] | 2023-10-05 17:00 | 2168.967
2023-10-05 17:30 | 2383.644 | [12 empty] | 2023-10-05 17:30 | 2557.523 | [12 empty] | 2023-10-05 17:30 | 2285.096
2023-10-05 18:00 | 2479.971 | [12 empty] | 2023-10-05 18:00 | 2633.506 | [12 empty] | 2023-10-05 18:00 | 2352.207
2023-10-05 18:30 | 2486.682 | [12 empty] | 2023-10-05 18:30 | 2629.436 | [12 empty] | 2023-10-05 18:30 | 2347.793
2023-10-05 19:00 | 2416.449 | [12 empty] | 2023-10-05 19:00 | 2550.207 | [12 empty] | 2023-10-05 19:00 | 2276.297
2023-10-05 19:30 | 2357.596 | [12 empty] | 2023-10-05 19:30 | 2485.496 | [12 empty] | 2023-10-05 19:30 | 2217.801
2023-10-05 20:00 | 2294.059 | [12 empty] | 2023-10-05 20:00 | 2418.914 | [12 empty] | 2023-10-05 20:00 | 2157.675
2023-10-05 20:30 | 2217.254 | [12 empty] | 2023-10-05 20:30 | 2340.095 | [12 empty] | 2023-10-05 20:30 | 2086.677
2023-10-05 21:00 | 2131.04 | [12 empty] | 2023-10-05 21:00 | 2248.968 | [12 empty] | 2023-10-05 21:00 | 2004.755
2023-10-05 21:30 | 2042.725 | [12 empty] | 2023-10-05 21:30 | 2167.283 | [12 empty] | 2023-10-05 21:30 | 1931.3
2023-10-05 22:00 | 1959.776 | [12 empty] | 2023-10-05 22:00 | 2090.885 | [12 empty] | 2023-10-05 22:00 | 1862.603
2023-10-05 22:30 | 1890.489 | [12 empty] | 2023-10-05 22:30 | 2021.844 | [12 empty] | 2023-10-05 22:30 | 1800.503
2023-10-05 23:00 | 1835.534 | [12 empty] | 2023-10-05 23:00 | 1964.724 | [12 empty] | 2023-10-05 23:00 | 1749.057
2023-10-05 23:30 | 1791.918 | [12 empty] | 2023-10-05 23:30 | 1919.446 | [12 empty] | 2023-10-05 23:30 | 1708.182
2023-10-06 | 1758.714 | [12 empty] | 2023-10-06 | 1880.758 | [12 empty] | 2023-10-06 | 1673.199
2023-10-06 00:30 | 1730 | [12 empty] | 2023-10-06 00:30 | 1851.699 | [12 empty] | 2023-10-06 00:30 | 1646.801
2023-10-06 01:00 | 1711.446 | [12 empty] | 2023-10-06 01:00 | 1832.702 | [12 empty] | 2023-10-06 01:00 | 1629.366
2023-10-06 01:30 | 1699.633 | [12 empty] | 2023-10-06 01:30 | 1821.858 | [12 empty] | 2023-10-06 01:30 | 1619.188
2023-10-06 02:00 | 1693.667 | [12 empty] | 2023-10-06 02:00 | 1815.056 | [12 empty] | 2023-10-06 02:00 | 1612.608
2023-10-06 02:30 | 1692.541 | [12 empty] | 2023-10-06 02:30 | 1813.582 | [12 empty] | 2023-10-06 02:30 | 1610.765
2023-10-06 03:00 | 1699.845 | [12 empty] | 2023-10-06 03:00 | 1818.395 | [12 empty] | 2023-10-06 03:00 | 1614.505
2023-10-06 03:30 | 1717.915 | [12 empty] | 2023-10-06 03:30 | 1836.423 | [12 empty] | 2023-10-06 03:30 | 1629.971
2023-10-06 04:00 | 1755.782 | [12 empty] | 2023-10-06 04:00 | 1871.894 | [12 empty] | 2023-10-06 04:00 | 1660.904
2023-10-06 04:30 | 1818.048 | [12 empty] | 2023-10-06 04:30 | 1930.691 | [12 empty] | 2023-10-06 04:30 | 1712.506
2023-10-06 05:00 | 1882.478 | [12 empty] | 2023-10-06 05:00 | 1993.756 | [12 empty] | 2023-10-06 05:00 | 1767.858
2023-10-06 05:30 | 1916.974 | [12 empty] | 2023-10-06 05:30 | 2026.197 | [12 empty] | 2023-10-06 05:30 | 1796.029
2023-10-06 06:00 | 1890.118 | [12 empty] | 2023-10-06 06:00 | 2003.794 | [12 empty] | 2023-10-06 06:00 | 1775.582
2023-10-06 06:30 | 1801.968 | [12 empty] | 2023-10-06 06:30 | 1920.8 | [12 empty] | 2023-10-06 06:30 | 1701.41
2023-10-06 07:00 | 1691.949 | [12 empty] | 2023-10-06 07:00 | 1819.689 | [12 empty] | 2023-10-06 07:00 | 1611.131
2023-10-06 07:30 | 1552.158 | [12 empty] | 2023-10-06 07:30 | 1682.847 | [12 empty] | 2023-10-06 07:30 | 1489.319
2023-10-06 08:00 | 1402.628 | [12 empty] | 2023-10-06 08:00 | 1536.11 | [12 empty] | 2023-10-06 08:00 | 1358.861
2023-10-06 08:30 | 1243.454 | [12 empty] | 2023-10-06 08:30 | 1400.625 | [12 empty] | 2023-10-06 08:30 | 1238.466
2023-10-06 09:00 | 1132.984 | [12 empty] | 2023-10-06 09:00 | 1303.815 | [12 empty] | 2023-10-06 09:00 | 1152.834
2023-10-06 09:30 | 1070.635 | [12 empty] | 2023-10-06 09:30 | 1247.548 | [12 empty] | 2023-10-06 09:30 | 1102.599
2023-10-06 10:00 | 1014.363 | [12 empty] | 2023-10-06 10:00 | 1214.155 | [12 empty] | 2023-10-06 10:00 | 1072.615
2023-10-06 10:30 | 987.8665 | [12 empty] | 2023-10-06 10:30 | 1219.645 | [12 empty] | 2023-10-06 10:30 | 1076.992
2023-10-06 11:00 | 975.6482 | [12 empty] | 2023-10-06 11:00 | 1236.835 | [12 empty] | 2023-10-06 11:00 | 1091.692
2023-10-06 11:30 | 964.8621 | [12 empty] | 2023-10-06 11:30 | 1254.295 | [12 empty] | 2023-10-06 11:30 | 1106.618
2023-10-06 12:00 | 962.3708 | [12 empty] | 2023-10-06 12:00 | 1282.884 | [12 empty] | 2023-10-06 12:00 | 1131.344
2023-10-06 12:30 | 1010.182 | [12 empty] | 2023-10-06 12:30 | 1364.982 | [12 empty] | 2023-10-06 12:30 | 1203.216
2023-10-06 13:00 | 1065.9 | [12 empty] | 2023-10-06 13:00 | 1449.107 | [12 empty] | 2023-10-06 13:00 | 1276.811
2023-10-06 13:30 | 1125.451 | [12 empty] | 2023-10-06 13:30 | 1542.884 | [12 empty] | 2023-10-06 13:30 | 1358.842
2023-10-06 14:00 | 1222.716 | [12 empty] | 2023-10-06 14:00 | 1672.707 | [12 empty] | 2023-10-06 14:00 | 1472.532
2023-10-06 14:30 | 1372.525 | [12 empty] | 2023-10-06 14:30 | 1839.538 | [12 empty] | 2023-10-06 14:30 | 1619.444
2023-10-06 15:00 | 1525.512 | [12 empty] | 2023-10-06 15:00 | 2018.429 | [12 empty] | 2023-10-06 15:00 | 1776.152
2023-10-06 15:30 | 1699.793 | [12 empty] | 2023-10-06 15:30 | 2192.101 | [12 empty] | 2023-10-06 15:30 | 1928.131
2023-10-06 16:00 | 1887.495 | [12 empty] | 2023-10-06 16:00 | 2359.497 | [12 empty] | 2023-10-06 16:00 | 2074.459
2023-10-06 16:30 | 2084.755 | [12 empty] | 2023-10-06 16:30 | 2516.372 | [12 empty] | 2023-10-06 16:30 | 2211.413
2023-10-06 17:00 | 2258.529 | [12 empty] | 2023-10-06 17:00 | 2627.418 | [12 empty] | 2023-10-06 17:00 | 2307.988
2023-10-06 17:30 | 2381.225 | [12 empty] | 2023-10-06 17:30 | 2681.416 | [12 empty] | 2023-10-06 17:30 | 2354.387
2023-10-06 18:00 | 2452.568 | [12 empty] | 2023-10-06 18:00 | 2707.453 | [12 empty] | 2023-10-06 18:00 | 2376.206
2023-10-06 18:30 | 2445.159 | [12 empty] | 2023-10-06 18:30 | 2680.566 | [12 empty] | 2023-10-06 18:30 | 2351.577
2023-10-06 19:00 | 2365.856 | [12 empty] | 2023-10-06 19:00 | 2595.837 | [12 empty] | 2023-10-06 19:00 | 2276.247
2023-10-06 19:30 | 2306.646 | [12 empty] | 2023-10-06 19:30 | 2534.971 | [12 empty] | 2023-10-06 19:30 | 2221.899
2023-10-06 20:00 | 2246.318 | [12 empty] | 2023-10-06 20:00 | 2476.072 | [12 empty] | 2023-10-06 20:00 | 2169.322
2023-10-06 20:30 | 2174.69 | [12 empty] | 2023-10-06 20:30 | 2411.306 | [12 empty] | 2023-10-06 20:30 | 2111.653
2023-10-06 21:00 | 2091.744 | [12 empty] | 2023-10-06 21:00 | 2344.643 | [12 empty] | 2023-10-06 21:00 | 2052.373
2023-10-06 21:30 | 2018.337 | [12 empty] | 2023-10-06 21:30 | 2279.409 | [12 empty] | 2023-10-06 21:30 | 1994.396
2023-10-06 22:00 | 1949.166 | [12 empty] | 2023-10-06 22:00 | 2209.382 | [12 empty] | 2023-10-06 22:00 | 1932.276
2023-10-06 22:30 | 1885.558 | [12 empty] | 2023-10-06 22:30 | 2152.054 | [12 empty] | 2023-10-06 22:30 | 1881.312
2023-10-06 23:00 | 1832.201 | [12 empty] | 2023-10-06 23:00 | 2113.323 | [12 empty] | 2023-10-06 23:00 | 1846.643
2023-10-06 23:30 | 1789.311 | [12 empty] | 2023-10-06 23:30 | 2096.011 | [12 empty] | 2023-10-06 23:30 | 1821.971
2023-10-07 | 1751.69 | [12 empty] | 2023-10-07 | 2087.784 | [12 empty] | 2023-10-07 | 1796.873
2023-10-07 00:30 | 1723.809 | [12 empty] | 2023-10-07 00:30 | 2066.764 | [12 empty] | 2023-10-07 00:30 | 1779.378
2023-10-07 01:00 | 1705.7 | [12 empty] | 2023-10-07 01:00 | 2049.114 | [12 empty] | 2023-10-07 01:00 | 1763.335
2023-10-07 01:30 | 1696.224 | [12 empty] | 2023-10-07 01:30 | 2024.731 | [12 empty] | 2023-10-07 01:30 | 1741.516
2023-10-07 02:00 | 1690.763 | [12 empty] | 2023-10-07 02:00 | 2006.688 | [12 empty] | 2023-10-07 02:00 | 1725.167
2023-10-07 02:30 | 1689.554 | [12 empty] | 2023-10-07 02:30 | 1990.797 | [12 empty] | 2023-10-07 02:30 | 1710.683
2023-10-07 03:00 | 1693.783 | [12 empty] | 2023-10-07 03:00 | 1979.009 | [12 empty] | 2023-10-07 03:00 | 1699.737
2023-10-07 03:30 | 1709.331 | [12 empty] | 2023-10-07 03:30 | 1980.649 | [12 empty] | 2023-10-07 03:30 | 1700.328
2023-10-07 04:00 | 1742.195 | [12 empty] | 2023-10-07 04:00 | 1993.246 | [12 empty] | 2023-10-07 04:00 | 1710.321
2023-10-07 04:30 | 1797.176 | [12 empty] | 2023-10-07 04:30 | 2010.839 | [12 empty] | 2023-10-07 04:30 | 1724.588
2023-10-07 05:00 | 1856.221 | [12 empty] | 2023-10-07 05:00 | 2031.737 | [12 empty] | 2023-10-07 05:00 | 1741.673
2023-10-07 05:30 | 1886.546 | [12 empty] | 2023-10-07 05:30 | 2041.655 | [12 empty] | 2023-10-07 05:30 | 1749.334
2023-10-07 06:00 | 1863.045 | [12 empty] | 2023-10-07 06:00 | 2002.619 | [12 empty] | 2023-10-07 06:00 | 1715.062
2023-10-07 06:30 | 1779.082 | [12 empty] | 2023-10-07 06:30 | 1913.837 | [12 empty] | 2023-10-07 06:30 | 1638.241
2023-10-07 07:00 | 1676.992 | [12 empty] | 2023-10-07 07:00 | 1806.287 | [12 empty] | 2023-10-07 07:00 | 1545.436
2023-10-07 07:30 | 1541.847 | [12 empty] | 2023-10-07 07:30 | 1657.151 | [12 empty] | 2023-10-07 07:30 | 1417.156
2023-10-07 08:00 | 1395.924 | [12 empty] | 2023-10-07 08:00 | 1505.012 | [12 empty] | 2023-10-07 08:00 | 1286.432
2023-10-07 08:30 | 1254.639 | [12 empty] | 2023-10-07 08:30 | 1372.575 | [12 empty] | 2023-10-07 08:30 | 1172.665
2023-10-07 09:00 | 1153.087 | [12 empty] | 2023-10-07 09:00 | 1280.58 | [12 empty] | 2023-10-07 09:00 | 1093.543
2023-10-07 09:30 | 1093.068 | [12 empty] | 2023-10-07 09:30 | 1208.724 | [12 empty] | 2023-10-07 09:30 | 1031.686
2023-10-07 10:00 | 1052.345 | [12 empty] | 2023-10-07 10:00 | 1164.596 | [12 empty] | 2023-10-07 10:00 | 993.5433
2023-10-07 10:30 | 1046.918 | [12 empty] | 2023-10-07 10:30 | 1156.355 | [12 empty] | 2023-10-07 10:30 | 986.0383
2023-10-07 11:00 | 1058.355 | [12 empty] | 2023-10-07 11:00 | 1155.627 | [12 empty] | 2023-10-07 11:00 | 984.9443
2023-10-07 11:30 | 1068.827 | [12 empty] | 2023-10-07 11:30 | 1175.213 | [12 empty] | 2023-10-07 11:30 | 1001.156
2023-10-07 12:00 | 1093.068 | [12 empty] | 2023-10-07 12:00 | 1203.001 | [12 empty] | 2023-10-07 12:00 | 1024.336
2023-10-07 12:30 | 1170.864 | [12 empty] | 2023-10-07 12:30 | 1249.316 | [12 empty] | 2023-10-07 12:30 | 1063.26
2023-10-07 13:00 | 1246.643 | [12 empty] | 2023-10-07 13:00 | 1303.582 | [12 empty] | 2023-10-07 13:00 | 1108.912
2023-10-07 13:30 | 1330.462 | [12 empty] | 2023-10-07 13:30 | 1403.159 | [12 empty] | 2023-10-07 13:30 | 1193.045
2023-10-07 14:00 | 1450.999 | [12 empty] | 2023-10-07 14:00 | 1543.237 | [12 empty] | 2023-10-07 14:00 | 1311.516
2023-10-07 14:30 | 1614.244 | [12 empty] | 2023-10-07 14:30 | 1705.903 | [12 empty] | 2023-10-07 14:30 | 1449.06
2023-10-07 15:00 | 1789.673 | [12 empty] | 2023-10-07 15:00 | 1887.423 | [12 empty] | 2023-10-07 15:00 | 1602.48
2023-10-07 15:30 | 1961.07 | [12 empty] | 2023-10-07 15:30 | 2071.505 | [12 empty] | 2023-10-07 15:30 | 1757.925
2023-10-07 16:00 | 2131.201 | [12 empty] | 2023-10-07 16:00 | 2246.39 | [12 empty] | 2023-10-07 16:00 | 1905.419
2023-10-07 16:30 | 2292.612 | [12 empty] | 2023-10-07 16:30 | 2405.822 | [12 empty] | 2023-10-07 16:30 | 2039.671
2023-10-07 17:00 | 2409.536 | [12 empty] | 2023-10-07 17:00 | 2529.045 | [12 empty] | 2023-10-07 17:00 | 2143.109
2023-10-07 17:30 | 2471.063 | [12 empty] | 2023-10-07 17:30 | 2614.837 | [12 empty] | 2023-10-07 17:30 | 2214.743
2023-10-07 18:00 | 2504.777 | [12 empty] | 2023-10-07 18:00 | 2660.791 | [12 empty] | 2023-10-07 18:00 | 2252.582
2023-10-07 18:30 | 2484.682 | [12 empty] | 2023-10-07 18:30 | 2642.192 | [12 empty] | 2023-10-07 18:30 | 2235.76
2023-10-07 19:00 | 2407.338 | [12 empty] | 2023-10-07 19:00 | 2567.935 | [12 empty] | 2023-10-07 19:00 | 2171.881
2023-10-07 19:30 | 2354.483 | [12 empty] | 2023-10-07 19:30 | 2497.782 | [12 empty] | 2023-10-07 19:30 | 2111.531
2023-10-07 20:00 | 2302.53 | [12 empty] | 2023-10-07 20:00 | 2436.261 | [12 empty] | 2023-10-07 20:00 | 2058.533
2023-10-07 20:30 | 2245.135 | [12 empty] | 2023-10-07 20:30 | 2385.752 | [12 empty] | 2023-10-07 20:30 | 2014.886
2023-10-07 21:00 | 2185.258 | [12 empty] | 2023-10-07 21:00 | 2331.398 | [12 empty] | 2023-10-07 21:00 | 1968.034
2023-10-07 21:30 | 2126.144 | [12 empty] | 2023-10-07 21:30 | 2268.728 | [12 empty] | 2023-10-07 21:30 | 1914.21
2023-10-07 22:00 | 2061.437 | [12 empty] | 2023-10-07 22:00 | 2201.639 | [12 empty] | 2023-10-07 22:00 | 1856.711
2023-10-07 22:30 | 2007.201 | [12 empty] | 2023-10-07 22:30 | 2145.686 | [12 empty] | 2023-10-07 22:30 | 1808.653
2023-10-07 23:00 | 1969.96 | [12 empty] | 2023-10-07 23:00 | 2101.694 | [12 empty] | 2023-10-07 23:00 | 1770.719
2023-10-07 23:30 | 1948.559 | [12 empty] | 2023-10-07 23:30 | 2069.665 | [12 empty] | 2023-10-07 23:30 | 1742.895
2023-10-08 | 1930.732 | [12 empty] | 2023-10-08 | 2041.528 | [12 empty] | 2023-10-08 | 1718.373
2023-10-08 00:30 | 1911.271 | [12 empty] | 2023-10-08 00:30 | 2008.98 | [12 empty] | 2023-10-08 00:30 | 1690.163
2023-10-08 01:00 | 1893.949 | [12 empty] | 2023-10-08 01:00 | 1985.412 | [12 empty] | 2023-10-08 01:00 | 1669.532
2023-10-08 01:30 | 1870.602 | [12 empty] | 2023-10-08 01:30 | 1962.64 | [12 empty] | 2023-10-08 01:30 | 1649.589
2023-10-08 02:00 | 1853.442 | [12 empty] | 2023-10-08 02:00 | 1945.482 | [12 empty] | 2023-10-08 02:00 | 1634.38
2023-10-08 02:30 | 1837.501 | [12 empty] | 2023-10-08 02:30 | 1933.051 | [12 empty] | 2023-10-08 02:30 | 1623.156
2023-10-08 03:00 | 1826.945 | [12 empty] | 2023-10-08 03:00 | 1925.289 | [12 empty] | 2023-10-08 03:00 | 1615.86
2023-10-08 03:30 | 1827.453 | [12 empty] | 2023-10-08 03:30 | 1926.398 | [12 empty] | 2023-10-08 03:30 | 1616.013
2023-10-08 04:00 | 1836.637 | [12 empty] | 2023-10-08 04:00 | 1933.401 | [12 empty] | 2023-10-08 04:00 | 1621.106
2023-10-08 04:30 | 1849.676 | [12 empty] | 2023-10-08 04:30 | 1941.677 | [12 empty] | 2023-10-08 04:30 | 1627.262
2023-10-08 05:00 | 1868.528 | [12 empty] | 2023-10-08 05:00 | 1943.136 | [12 empty] | 2023-10-08 05:00 | 1627.701
2023-10-08 05:30 | 1876.377 | [12 empty] | 2023-10-08 05:30 | 1925.535 | [12 empty] | 2023-10-08 05:30 | 1612.18
2023-10-08 06:00 | 1835.238 | [12 empty] | 2023-10-08 06:00 | 1887.648 | [12 empty] | 2023-10-08 06:00 | 1579.698
2023-10-08 06:30 | 1749.745 | [12 empty] | 2023-10-08 06:30 | 1856.272 | [12 empty] | 2023-10-08 06:30 | 1552.693
2023-10-08 07:00 | 1645.78 | [12 empty] | 2023-10-08 07:00 | 1812.183 | [12 empty] | 2023-10-08 07:00 | 1515.085
2023-10-08 07:30 | 1512.053 | [12 empty] | 2023-10-08 07:30 | 1721.105 | [12 empty] | 2023-10-08 07:30 | 1438.44
2023-10-08 08:00 | 1377.983 | [12 empty] | 2023-10-08 08:00 | 1600.256 | [12 empty] | 2023-10-08 08:00 | 1337.332
2023-10-08 08:30 | 1252.374 | [12 empty] | 2023-10-08 08:30 | 1435.315 | [12 empty] | 2023-10-08 08:30 | 1199.368
2023-10-08 09:00 | 1164.02 | [12 empty] | 2023-10-08 09:00 | 1341.179 | [12 empty] | 2023-10-08 09:00 | 1120.591
2023-10-08 09:30 | 1109.507 | [12 empty] | 2023-10-08 09:30 | 1309.228 | [12 empty] | 2023-10-08 09:30 | 1093.782
2023-10-08 10:00 | 1076.285 | [12 empty] | 2023-10-08 10:00 | 1214.507 | [12 empty] | 2023-10-08 10:00 | 1014.545
2023-10-08 10:30 | 1080.888 | [12 empty] | 2023-10-08 10:30 | 1061.733 | [12 empty] | 2023-10-08 10:30 | 886.8331
2023-10-08 11:00 | 1101.58 | [12 empty] | 2023-10-08 11:00 | 996.6608 | [12 empty] | 2023-10-08 11:00 | 832.3945
2023-10-08 11:30 | 1141.979 | [12 empty] | 2023-10-08 11:30 | 1018.495 | [12 empty] | 2023-10-08 11:30 | 850.5424
2023-10-08 12:00 | 1180.739 | [12 empty] | 2023-10-08 12:00 | 1002.901 | [12 empty] | 2023-10-08 12:00 | 837.434
2023-10-08 12:30 | 1227.566 | [12 empty] | 2023-10-08 12:30 | 993.0143 | [12 empty] | 2023-10-08 12:30 | 829.0931
2023-10-08 13:00 | 1291.392 | [12 empty] | 2023-10-08 13:00 | 1007.997 | [12 empty] | 2023-10-08 13:00 | 841.5159
2023-10-08 13:30 | 1395.564 | [12 empty] | 2023-10-08 13:30 | 1071.174 | [12 empty] | 2023-10-08 13:30 | 894.1667
2023-10-08 14:00 | 1546.188 | [12 empty] | 2023-10-08 14:00 | 1178.909 | [12 empty] | 2023-10-08 14:00 | 983.9981
2023-10-08 14:30 | 1730.899 | [12 empty] | 2023-10-08 14:30 | 1331.576 | [12 empty] | 2023-10-08 14:30 | 1111.31
2023-10-08 15:00 | 1952.883 | [12 empty] | 2023-10-08 15:00 | 1503.979 | [12 empty] | 2023-10-08 15:00 | 1255.066
2023-10-08 15:30 | 2204.358 | [12 empty] | 2023-10-08 15:30 | 1706.612 | [12 empty] | 2023-10-08 15:30 | 1424.016
2023-10-08 16:00 | 2375.758 | [12 empty] | 2023-10-08 16:00 | 1932.455 | [12 empty] | 2023-10-08 16:00 | 1612.296
2023-10-08 16:30 | 2445.483 | [12 empty] | 2023-10-08 16:30 | 2153.966 | [12 empty] | 2023-10-08 16:30 | 1796.924
2023-10-08 17:00 | 2510.423 | [12 empty] | 2023-10-08 17:00 | 2344.021 | [12 empty] | 2023-10-08 17:00 | 1955.274
2023-10-08 17:30 | 2589.743 | [12 empty] | 2023-10-08 17:30 | 2474.645 | [12 empty] | 2023-10-08 17:30 | 2064.021
2023-10-08 18:00 | 2626.629 | [12 empty] | 2023-10-08 18:00 | 2550.427 | [12 empty] | 2023-10-08 18:00 | 2127.011
2023-10-08 18:30 | 2604.488 | [12 empty] | 2023-10-08 18:30 | 2535.265 | [12 empty] | 2023-10-08 18:30 | 2114.148
2023-10-08 19:00 | 2531.872 | [12 empty] | 2023-10-08 19:00 | 2448.52 | [12 empty] | 2023-10-08 19:00 | 2041.603
2023-10-08 19:30 | 2465.571 | [12 empty] | 2023-10-08 19:30 | 2385.015 | [12 empty] | 2023-10-08 19:30 | 1988.446
2023-10-08 20:00 | 2404.382 | [12 empty] | 2023-10-08 20:00 | 2323.361 | [12 empty] | 2023-10-08 20:00 | 1936.845
2023-10-08 20:30 | 2349.398 | [12 empty] | 2023-10-08 20:30 | 2256.877 | [12 empty] | 2023-10-08 20:30 | 1881.228
2023-10-08 21:00 | 2289.743 | [12 empty] | 2023-10-08 21:00 | 2182.988 | [12 empty] | 2023-10-08 21:00 | 1819.451
2023-10-08 21:30 | 2220.792 | [12 empty] | 2023-10-08 21:30 | 2108.527 | [12 empty] | 2023-10-08 21:30 | 1757.209
2023-10-08 22:00 | 2148.821 | [12 empty] | 2023-10-08 22:00 | 2039.699 | [12 empty] | 2023-10-08 22:00 | 1699.674
2023-10-08 22:30 | 2088.151 | [12 empty] | 2023-10-08 22:30 | 1985.517 | [12 empty] | 2023-10-08 22:30 | 1654.354
2023-10-08 23:00 | 2040.29 | [12 empty] | 2023-10-08 23:00 | 1949.161 | [12 empty] | 2023-10-08 23:00 | 1623.895
2023-10-08 23:30 | 2006.354 | [12 empty] | 2023-10-08 23:30 | 1925.707 | [12 empty] | 2023-10-08 23:30 | 1608.033
2023-10-09 | 1977.66 | [12 empty] | 2023-10-09 | 1908.76 | [12 empty] | 2023-10-09 | 1601.126
2023-10-09 00:30 | 1944.496 | [12 empty] | 2023-10-09 00:30 | 1889.662 | [12 empty] | 2023-10-09 00:30 | 1583.819
2023-10-09 01:00 | 1919.409 | [12 empty] | 2023-10-09 01:00 | 1876.224 | [12 empty] | 2023-10-09 01:00 | 1571.948
2023-10-09 01:30 | 1894.359 | [12 empty] | 2023-10-09 01:30 | 1868.283 | [12 empty] | 2023-10-09 01:30 | 1564.691
2023-10-09 02:00 | 1874.821 | [12 empty] | 2023-10-09 02:00 | 1862.405 | [12 empty] | 2023-10-09 02:00 | 1559.165
2023-10-09 02:30 | 1859.729 | [12 empty] | 2023-10-09 02:30 | 1862.546 | [12 empty] | 2023-10-09 02:30 | 1558.681
2023-10-09 03:00 | 1847.811 | [12 empty] | 2023-10-09 03:00 | 1869.626 | [12 empty] | 2023-10-09 03:00 | 1564.002
2023-10-09 03:30 | 1844.585 | [12 empty] | 2023-10-09 03:30 | 1890.653 | [12 empty] | 2023-10-09 03:30 | 1580.98
2023-10-09 04:00 | 1847.15 | [12 empty] | 2023-10-09 04:00 | 1935.93 | [12 empty] | 2023-10-09 04:00 | 1618.216
2023-10-09 04:30 | 1850.637 | [12 empty] | 2023-10-09 04:30 | 2006.348 | [12 empty] | 2023-10-09 04:30 | 1676.429
2023-10-09 05:00 | 1854.679 | [12 empty] | 2023-10-09 05:00 | 2079.293 | [12 empty] | 2023-10-09 05:00 | 1736.709
2023-10-09 05:30 | 1841.754 | [12 empty] | 2023-10-09 05:30 | 2139.79 | [12 empty] | 2023-10-09 05:30 | 1786.547
2023-10-09 06:00 | 1775.432 | [12 empty] | 2023-10-09 06:00 | 2170.16 | [12 empty] | 2023-10-09 06:00 | 1811.203
2023-10-09 06:30 | 1677.578 | [12 empty] | 2023-10-09 06:30 | 2154.973 | [12 empty] | 2023-10-09 06:30 | 1797.834
2023-10-09 07:00 | 1569.164 | [12 empty] | 2023-10-09 07:00 | 2089.398 | [12 empty] | 2023-10-09 07:00 | 1742.453
2023-10-09 07:30 | 1427.318 | [12 empty] | 2023-10-09 07:30 | 1941.397 | [12 empty] | 2023-10-09 07:30 | 1618.402
2023-10-09 08:00 | 1294.528 | [12 empty] | 2023-10-09 08:00 | 1775.752 | [12 empty] | 2023-10-09 08:00 | 1479.744
2023-10-09 08:30 | 1177.159 | [12 empty] | 2023-10-09 08:30 | 1607.327 | [12 empty] | 2023-10-09 08:30 | 1338.877
2023-10-09 09:00 | 1105.348 | [12 empty] | 2023-10-09 09:00 | 1493.333 | [12 empty] | 2023-10-09 09:00 | 1243.44
2023-10-09 09:30 | 1055.539 | [12 empty] | 2023-10-09 09:30 | 1436.674 | [12 empty] | 2023-10-09 09:30 | 1195.801
2023-10-09 10:00 | 1017.65 | [12 empty] | 2023-10-09 10:00 | 1409.395 | [12 empty] | 2023-10-09 10:00 | 1172.642
2023-10-09 10:30 | 991.233 | [12 empty] | 2023-10-09 10:30 | 1430.436 | [12 empty] | 2023-10-09 10:30 | 1189.688
2023-10-09 11:00 | 978.8635 | [12 empty] | 2023-10-09 11:00 | 1420.933 | [12 empty] | 2023-10-09 11:00 | 1181.328
2023-10-09 11:30 | 1001.414 | [12 empty] | 2023-10-09 11:30 | 1420.038 | [12 empty] | 2023-10-09 11:30 | 1180.127
2023-10-09 12:00 | 1002.246 | [12 empty] | 2023-10-09 12:00 | 1428.068 | [12 empty] | 2023-10-09 12:00 | 1186.342
2023-10-09 12:30 | 1011.478 | [12 empty] | 2023-10-09 12:30 | 1451.842 | [12 empty] | 2023-10-09 12:30 | 1205.625
2023-10-09 13:00 | 1049.276 | [12 empty] | 2023-10-09 13:00 | 1471.924 | [12 empty] | 2023-10-09 13:00 | 1221.829
2023-10-09 13:30 | 1123.075 | [12 empty] | 2023-10-09 13:30 | 1469.893 | [12 empty] | 2023-10-09 13:30 | 1219.672
2023-10-09 14:00 | 1238.262 | [12 empty] | 2023-10-09 14:00 | 1509.816 | [12 empty] | 2023-10-09 14:00 | 1252.315
2023-10-09 14:30 | 1385.006 | [12 empty] | 2023-10-09 14:30 | 1637.132 | [12 empty] | 2023-10-09 14:30 | 1357.391
2023-10-09 15:00 | 1548.221 | [12 empty] | 2023-10-09 15:00 | 1801.956 | [12 empty] | 2023-10-09 15:00 | 1493.474
2023-10-09 15:30 | 1731.512 | [12 empty] | 2023-10-09 15:30 | 2000.468 | [12 empty] | 2023-10-09 15:30 | 1657.361
2023-10-09 16:00 | 1925.822 | [12 empty] | 2023-10-09 16:00 | 2199.002 | [12 empty] | 2023-10-09 16:00 | 1821.139
2023-10-09 16:30 | 2110.909 | [12 empty] | 2023-10-09 16:30 | 2393.241 | [12 empty] | 2023-10-09 16:30 | 1981.235
2023-10-09 17:00 | 2267.392 | [12 empty] | 2023-10-09 17:00 | 2559.081 | [12 empty] | 2023-10-09 17:00 | 2117.706
2023-10-09 17:30 | 2372.268 | [12 empty] | 2023-10-09 17:30 | 2671.057 | [12 empty] | 2023-10-09 17:30 | 2209.514
2023-10-09 18:00 | 2427.678 | [12 empty] | 2023-10-09 18:00 | 2734.558 | [12 empty] | 2023-10-09 18:00 | 2261.168
2023-10-09 18:30 | 2406.765 | [12 empty] | 2023-10-09 18:30 | 2717.148 | [12 empty] | 2023-10-09 18:30 | 2245.902
2023-10-09 19:00 | 2326.281 | [12 empty] | 2023-10-09 19:00 | 2624.535 | [12 empty] | 2023-10-09 19:00 | 2168.513
2023-10-09 19:30 | 2259.958 | [12 empty] | 2023-10-09 19:30 | 2546.726 | [12 empty] | 2023-10-09 19:30 | 2103.409
2023-10-09 20:00 | 2196.31 | [12 empty] | 2023-10-09 20:00 | 2467.691 | [12 empty] | 2023-10-09 20:00 | 2037.344
2023-10-09 20:30 | 2133.852 | [12 empty] | 2023-10-09 20:30 | 2380.363 | [12 empty] | 2023-10-09 20:30 | 1964.485
2023-10-09 21:00 | 2063.953 | [12 empty] | 2023-10-09 21:00 | 2289.342 | [12 empty] | 2023-10-09 21:00 | 1888.636
2023-10-09 21:30 | 1993.949 | [12 empty] | 2023-10-09 21:30 | 2201.73 | [12 empty] | 2023-10-09 21:30 | 1815.656
2023-10-09 22:00 | 1927.786 | [12 empty] | 2023-10-09 22:00 | 2120.158 | [12 empty] | 2023-10-09 22:00 | 1747.712
2023-10-09 22:30 | 1875.911 | [12 empty] | 2023-10-09 22:30 | 2053.938 | [12 empty] | 2023-10-09 22:30 | 1692.469
2023-10-09 23:00 | 1843.211 | [12 empty] | 2023-10-09 23:00 | 2006.654 | [12 empty] | 2023-10-09 23:00 | 1652.867
2023-10-09 23:30 | 1824.631 | [12 empty] | 2023-10-09 23:30 | 1968.32 | [12 empty] | 2023-10-09 23:30 | 1620.665
2023-10-10 | 1813.254 | [12 empty] | 2023-10-10 | 1937.284 | [12 empty] | 2023-10-10 | 1594.494
2023-10-10 00:30 | 1793.427 | [12 empty] | 2023-10-10 00:30 | 1911.147 | [12 empty] | 2023-10-10 00:30 | 1572.372
2023-10-10 01:00 | 1778.154 | [12 empty] | 2023-10-10 01:00 | 1896.743 | [12 empty] | 2023-10-10 01:00 | 1559.918
2023-10-10 01:30 | 1765.994 | [12 empty] | 2023-10-10 01:30 | 1887.286 | [12 empty] | 2023-10-10 01:30 | 1551.54
2023-10-10 02:00 | 1757.204 | [12 empty] | 2023-10-10 02:00 | 1879.79 | [12 empty] | 2023-10-10 02:00 | 1544.779
2023-10-10 02:30 | 1754.21 | [12 empty] | 2023-10-10 02:30 | 1879.459 | [12 empty] | 2023-10-10 02:30 | 1543.91
2023-10-10 03:00 | 1758.005 | [12 empty] | 2023-10-10 03:00 | 1887.913 | [12 empty] | 2023-10-10 03:00 | 1550.254
2023-10-10 03:30 | 1774.339 | [12 empty] | 2023-10-10 03:30 | 1908.913 | [12 empty] | 2023-10-10 03:30 | 1566.892
2023-10-10 04:00 | 1813.605 | [12 empty] | 2023-10-10 04:00 | 1952.966 | [12 empty] | 2023-10-10 04:00 | 1602.431
2023-10-10 04:30 | 1875.63 | [12 empty] | 2023-10-10 04:30 | 2021.034 | [12 empty] | 2023-10-10 04:30 | 1657.64
2023-10-10 05:00 | 1935.364 | [12 empty] | 2023-10-10 05:00 | 2100.37 | [12 empty] | 2023-10-10 05:00 | 1722.044
2023-10-10 05:30 | 1982.237 | [12 empty] | 2023-10-10 05:30 | 2161.504 | [12 empty] | 2023-10-10 05:30 | 1771.48
2023-10-10 06:00 | 2017.914 | [12 empty] | 2023-10-10 06:00 | 2146.855 | [12 empty] | 2023-10-10 06:00 | 1758.793
2023-10-10 06:30 | 2035.794 | [12 empty] | 2023-10-10 06:30 | 2060.592 | [12 empty] | 2023-10-10 06:30 | 1687.47
2023-10-10 07:00 | 2022.147 | [12 empty] | 2023-10-10 07:00 | 1929.042 | [12 empty] | 2023-10-10 07:00 | 1579.129
2023-10-10 07:30 | 1941.346 | [12 empty] | 2023-10-10 07:30 | 1732.892 | [12 empty] | 2023-10-10 07:30 | 1417.864
2023-10-10 08:00 | 1851.06 | [12 empty] | 2023-10-10 08:00 | 1524.424 | [12 empty] | 2023-10-10 08:00 | 1246.427
2023-10-10 08:30 | 1761.693 | [12 empty] | 2023-10-10 08:30 | 1348.275 | [12 empty] | 2023-10-10 08:30 | 1101.654
2023-10-10 09:00 | 1665.367 | [12 empty] | 2023-10-10 09:00 | 1228.262 | [12 empty] | 2023-10-10 09:00 | 1002.914
2023-10-10 09:30 | 1552.342 | [12 empty] | 2023-10-10 09:30 | 1149.923 | [12 empty] | 2023-10-10 09:30 | 938.3115
2023-10-10 10:00 | 1462.903 | [12 empty] | 2023-10-10 10:00 | 1089.504 | [12 empty] | 2023-10-10 10:00 | 888.4091
2023-10-10 10:30 | 1427.56 | [12 empty] | 2023-10-10 10:30 | 1060.018 | [12 empty] | 2023-10-10 10:30 | 863.7795
2023-10-10 11:00 | 1400.75 | [12 empty] | 2023-10-10 11:00 | 1019.944 | [12 empty] | 2023-10-10 11:00 | 830.5616
2023-10-10 11:30 | 1414.481 | [12 empty] | 2023-10-10 11:30 | 996.2996 | [12 empty] | 2023-10-10 11:30 | 810.7578
2023-10-10 12:00 | 1381.541 | [12 empty] | 2023-10-10 12:00 | 986.5491 | [12 empty] | 2023-10-10 12:00 | 802.2792
2023-10-10 12:30 | 1295.722 | [12 empty] | 2023-10-10 12:30 | 1027.73 | [12 empty] | 2023-10-10 12:30 | 835.2018
2023-10-10 13:00 | 1254.287 | [12 empty] | 2023-10-10 13:00 | 1066.373 | [12 empty] | 2023-10-10 13:00 | 866.0189
2023-10-10 13:30 | 1279.528 | [12 empty] | 2023-10-10 13:30 | 1128.72 | [12 empty] | 2023-10-10 13:30 | 916.0307
2023-10-10 14:00 | 1331.478 | [12 empty] | 2023-10-10 14:00 | 1245.891 | [12 empty] | 2023-10-10 14:00 | 1010.437
2023-10-10 14:30 | 1459.313 | [12 empty] | 2023-10-10 14:30 | 1409.181 | [12 empty] | 2023-10-10 14:30 | 1142.093
2023-10-10 15:00 | 1616.714 | [12 empty] | 2023-10-10 15:00 | 1606.79 | [12 empty] | 2023-10-10 15:00 | 1301.366
2023-10-10 15:30 | 1799.788 | [12 empty] | 2023-10-10 15:30 | 1822.503 | [12 empty] | 2023-10-10 15:30 | 1475.074
2023-10-10 16:00 | 1994.593 | [12 empty] | 2023-10-10 16:00 | 2041.63 | [12 empty] | 2023-10-10 16:00 | 1651.309
2023-10-10 16:30 | 2189.897 | [12 empty] | 2023-10-10 16:30 | 2266.772 | [12 empty] | 2023-10-10 16:30 | 1832.165
2023-10-10 17:00 | 2349.285 | [12 empty] | 2023-10-10 17:00 | 2466.879 | [12 empty] | 2023-10-10 17:00 | 1992.554
2023-10-10 17:30 | 2451.14 | [12 empty] | 2023-10-10 17:30 | 2607.592 | [12 empty] | 2023-10-10 17:30 | 2104.783
2023-10-10 18:00 | 2510.841 | [12 empty] | 2023-10-10 18:00 | 2696.228 | [12 empty] | 2023-10-10 18:00 | 2174.852
2023-10-10 18:30 | 2492.365 | [12 empty] | 2023-10-10 18:30 | 2699.641 | [12 empty] | 2023-10-10 18:30 | 2176.128
2023-10-10 19:00 | 2397.882 | [12 empty] | 2023-10-10 19:00 | 2628.784 | [12 empty] | 2023-10-10 19:00 | 2117.575
2023-10-10 19:30 | 2326.437 | [12 empty] | 2023-10-10 19:30 | 2555.534 | [12 empty] | 2023-10-10 19:30 | 2057.173
2023-10-10 20:00 | 2255.323 | [12 empty] | 2023-10-10 20:00 | 2479.214 | [12 empty] | 2023-10-10 20:00 | 1994.382
2023-10-10 20:30 | 2175.986 | [12 empty] | 2023-10-10 20:30 | 2393.591 | [12 empty] | 2023-10-10 20:30 | 1924.197
2023-10-10 21:00 | 2092.591 | [12 empty] | 2023-10-10 21:00 | 2304.613 | [12 empty] | 2023-10-10 21:00 | 1851.412
2023-10-10 21:30 | 2011.949 | [12 empty] | 2023-10-10 21:30 | 2217.782 | [12 empty] | 2023-10-10 21:30 | 1780.447
2023-10-10 22:00 | 1936.733 | [12 empty] | 2023-10-10 22:00 | 2136.127 | [12 empty] | 2023-10-10 22:00 | 1713.731
2023-10-10 22:30 | 1875.243 | [12 empty] | 2023-10-10 22:30 | 2070.228 | [12 empty] | 2023-10-10 22:30 | 1659.735
2023-10-10 23:00 | 1830.7 | [12 empty] | 2023-10-10 23:00 | 2021.679 | [12 empty] | 2023-10-10 23:00 | 1619.713
2023-10-10 23:30 | 1794.643 | [12 empty] | 2023-10-10 23:30 | 1981.791 | [12 empty] | 2023-10-10 23:30 | 1586.678
2023-10-11 | 1765.377 | [12 empty] | 2023-10-11 | 1947.859 | [12 empty] | 2023-10-11 | 1558.453
2023-10-11 00:30 | 1740.638 | [12 empty] | 2023-10-11 00:30 | 1923.342 | [12 empty] | 2023-10-11 00:30 | 1537.793
2023-10-11 01:00 | 1726.546 | [12 empty] | 2023-10-11 01:00 | 1910.095 | [12 empty] | 2023-10-11 01:00 | 1526.164
2023-10-11 01:30 | 1717.663 | [12 empty] | 2023-10-11 01:30 | 1898.717 | [12 empty] | 2023-10-11 01:30 | 1516.043
2023-10-11 02:00 | 1710.48 | [12 empty] | 2023-10-11 02:00 | 1888.551 | [12 empty] | 2023-10-11 02:00 | 1506.903
2023-10-11 02:30 | 1710.171 | [12 empty] | 2023-10-11 02:30 | 1888.073 | [12 empty] | 2023-10-11 02:30 | 1505.499
2023-10-11 03:00 | 1717.723 | [12 empty] | 2023-10-11 03:00 | 1897.365 | [12 empty] | 2023-10-11 03:00 | 1511.881
2023-10-11 03:30 | 1736.697 | [12 empty] | 2023-10-11 03:30 | 1915.86 | [12 empty] | 2023-10-11 03:30 | 1525.581
2023-10-11 04:00 | 1776.991 | [12 empty] | 2023-10-11 04:00 | 1959.486 | [12 empty] | 2023-10-11 04:00 | 1559.26
2023-10-11 04:30 | 1839.444 | [12 empty] | 2023-10-11 04:30 | 2032.773 | [12 empty] | 2023-10-11 04:30 | 1616.48
2023-10-11 05:00 | 1909.443 | [12 empty] | 2023-10-11 05:00 | 2118.938 | [12 empty] | 2023-10-11 05:00 | 1683.855
2023-10-11 05:30 | 1968.214 | [12 empty] | 2023-10-11 05:30 | 2186.069 | [12 empty] | 2023-10-11 05:30 | 1736.021
2023-10-11 06:00 | 1972.934 | [12 empty] | 2023-10-11 06:00 | 2172.493 | [12 empty] | 2023-10-11 06:00 | 1724.068
2023-10-11 06:30 | 1923.351 | [12 empty] | 2023-10-11 06:30 | 2085.199 | [12 empty] | 2023-10-11 06:30 | 1653.669
2023-10-11 07:00 | 1815.286 | [12 empty] | 2023-10-11 07:00 | 1942.988 | [12 empty] | 2023-10-11 07:00 | 1539.841
2023-10-11 07:30 | 1611.873 | [12 empty] | 2023-10-11 07:30 | 1730.758 | [12 empty] | 2023-10-11 07:30 | 1370.714