## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
18/10/2023 08:00 | 1688.15 | 1709.625 | 1661.994
18/10/2023 08:30 | 1594.607 | 1621.874 | 1567.339 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
18/10/2023 09:00 | 1519.211 | 1549.705 | 1488.717 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
18/10/2023 09:30 | 1399.857 | 1432.116 | 1367.597 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
18/10/2023 10:00 | 1271.606 | 1312.47 | 1245.907 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
18/10/2023 10:30 | 1163.354 | 1210.762 | 1144.176 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
18/10/2023 11:00 | 1054.841 | 1103.664 | 1041.213 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
18/10/2023 11:30 | 959.7169 | 1009.85 | 950.8724 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
18/10/2023 12:00 | 892.0188 | 936.0017 | 879.6398 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
18/10/2023 12:30 | 897.9713 | 936.0552 | 877.9955 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
18/10/2023 13:00 | 930.3568 | 969.4356 | 907.5538 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
18/10/2023 13:30 | 999.0413 | 1040.068 | 971.8016
18/10/2023 14:00 | 1089.348 | 1132.909 | 1056.51 | Summary view - for each schedule horizon (dispatch, week-ahead)
18/10/2023 14:30 | 1227.502 | 1271.518 | 1183.487
18/10/2023 15:00 | 1399.801 | 1451.343 | 1348.259 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
18/10/2023 15:30 | 1600.855 | 1661.341 | 1540.368 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
18/10/2023 16:00 | 1809.462 | 1879.574 | 1739.351 | Scenario | Violations
18/10/2023 16:30 | 2011.965 | 2091.861 | 1932.069 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
18/10/2023 17:00 | 2196.24 | 2285.569 | 2106.912 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
18/10/2023 17:30 | 2328.84 | 2425.805 | 2231.875 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 11 | 0 | 0
18/10/2023 18:00 | 2418.836 | 2521.878 | 2315.795 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 9 | 0 | 1
18/10/2023 18:30 | 2435.625 | 2541.232 | 2330.018 | Low Demand Scenario | 0 | 0 | 0 | 0 | 5 | 1 | 0 | 0 | 22 | 22 | 0 | 0
18/10/2023 19:00 | 2373.5 | 2477.26 | 2269.74
18/10/2023 19:30 | 2308.49 | 2410.312 | 2206.669 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
18/10/2023 20:00 | 2242.269 | 2342.047 | 2142.491
18/10/2023 20:30 | 2165.321 | 2262.522 | 2068.119 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
18/10/2023 21:00 | 2081.751 | 2176.016 | 1987.486 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
18/10/2023 21:30 | 2002.922 | 2094.401 | 1911.443 | [9 empty] | 22/10/2023 09:00 | 22/10/2023 09:00 | [10 empty] | 22/10/2023 10:00 | 22/10/2023 10:00 |  | 19/10/2023 12:00 |  |  |  |  | 22/10/2023 10:00 | 22/10/2023 10:30 |  |  | 22/10/2023 09:00 | 22/10/2023 09:00
18/10/2023 22:00 | 1928.434 | 2017.266 | 1839.602 | [9 empty] | 22/10/2023 09:30 | 22/10/2023 09:30 | [10 empty] | 22/10/2023 10:30 | 22/10/2023 10:30 | [6 empty] | 22/10/2023 10:30 |  |  |  | 22/10/2023 09:30 | 22/10/2023 09:30
18/10/2023 22:30 | 1867.068 | 1953.804 | 1780.332 | [9 empty] | 22/10/2023 10:00 | 22/10/2023 10:00 | [10 empty] | 22/10/2023 11:00 | 22/10/2023 11:00 | [6 empty] | 22/10/2023 11:00 |  |  |  | 22/10/2023 10:00 | 22/10/2023 10:00
18/10/2023 23:00 | 1823.54 | 1908.974 | 1738.113 | [9 empty] | 22/10/2023 10:30 | 22/10/2023 10:30 | [10 empty] | 22/10/2023 11:30 | 22/10/2023 11:30 | [6 empty] | 22/10/2023 12:00 |  |  |  | 22/10/2023 10:30 | 22/10/2023 10:30
18/10/2023 23:30 | 1784.165 | 1868.452 | 1699.883 | [9 empty] | 22/10/2023 11:00 | 22/10/2023 11:00 | [10 empty] | 22/10/2023 12:00 | 22/10/2023 12:00 | [6 empty] | 22/10/2023 12:30 |  |  |  | 22/10/2023 11:00 | 22/10/2023 11:00
19/10/2023 00:00 | 1753.89 | 1837.432 | 1670.352 | [9 empty] | 22/10/2023 11:30 | 22/10/2023 11:30 | [10 empty] | 22/10/2023 12:30 | 22/10/2023 12:30 | [10 empty] | 22/10/2023 11:30 | 22/10/2023 11:30
19/10/2023 00:30 | 1730.983 | 1814.111 | 1647.859 | [9 empty] | 22/10/2023 12:00 | 22/10/2023 12:00 | [10 empty] | 22/10/2023 13:00 | 22/10/2023 13:00 | [10 empty] | 22/10/2023 12:00 | 22/10/2023 12:00
19/10/2023 01:00 | 1715.228 | 1798.271 | 1632.193 | [9 empty] | 22/10/2023 12:30 | 22/10/2023 12:30 | [10 empty] | 23/10/2023 11:30 | 23/10/2023 11:30 | [10 empty] | 22/10/2023 12:30 | 22/10/2023 12:30
19/10/2023 01:30 | 1706.27 | 1789.547 | 1623.001 | [9 empty] | 22/10/2023 13:00 | 22/10/2023 13:00 | [10 empty] | 23/10/2023 12:00 | 23/10/2023 12:00 | [10 empty] | 22/10/2023 13:00 | 22/10/2023 13:00
19/10/2023 02:00 | 1701.063 | 1784.752 | 1617.382 | [9 empty] | 23/10/2023 11:30 | 23/10/2023 11:30 | [22 empty] | 23/10/2023 09:30 | 23/10/2023 09:30
19/10/2023 02:30 | 1700.197 | 1784.508 | 1615.893 | [9 empty] | 23/10/2023 12:00 | 23/10/2023 12:00 | [22 empty] | 23/10/2023 10:30 | 23/10/2023 10:30
19/10/2023 03:00 | 1706.126 | 1791.399 | 1620.86 | [33 empty] | 23/10/2023 11:00 | 23/10/2023 11:00
19/10/2023 03:30 | 1722.154 | 1808.901 | 1635.413 | [33 empty] | 23/10/2023 11:30 | 23/10/2023 11:30
19/10/2023 04:00 | 1759.23 | 1848.533 | 1669.932 | [33 empty] | 23/10/2023 12:00 | 23/10/2023 12:00
19/10/2023 04:30 | 1816.156 | 1909.056 | 1723.255 | [33 empty] | 23/10/2023 12:30 | 23/10/2023 12:30
19/10/2023 05:00 | 1862.817 | 1958.833 | 1766.8 | [33 empty] | 23/10/2023 13:00 | 23/10/2023 13:00
19/10/2023 05:30 | 1880.085 | 1977.727 | 1782.442 | [33 empty] | 23/10/2023 13:30 | 23/10/2023 13:30
19/10/2023 06:00 | 1849.677 | 1946.464 | 1752.89 | [33 empty] | 24/10/2023 09:30 | 24/10/2023 09:30
19/10/2023 06:30 | 1762.341 | 1855.106 | 1669.576 | [33 empty] | 24/10/2023 10:00 | 24/10/2023 10:00
19/10/2023 07:00 | 1644.12 | 1730.911 | 1557.329 | [33 empty] | 24/10/2023 10:30 | 24/10/2023 10:30
19/10/2023 07:30 | 1485.208 | 1563.856 | 1406.561 | [33 empty] | 24/10/2023 12:30 | 24/10/2023 12:30
19/10/2023 08:00 | 1332.172 | 1402.936 | 1261.409 | [33 empty] | 24/10/2023 13:00 | 24/10/2023 13:00
19/10/2023 08:30 | 1201.078 | 1265.076 | 1137.079
19/10/2023 09:00 | 1105.858 | 1164.965 | 1046.751
19/10/2023 09:30 | 1034.4 | 1089.858 | 978.941
19/10/2023 10:00 | 967.6155 | 1019.653 | 915.5777
19/10/2023 10:30 | 934.9008 | 985.3336 | 884.468
19/10/2023 11:00 | 915.8183 | 965.3729 | 866.2637
19/10/2023 11:30 | 905.9065 | 955.0743 | 856.7386
19/10/2023 12:00 | 903.4162 | 952.598 | 854.2344
19/10/2023 12:30 | 911.9443 | 961.741 | 862.1476
19/10/2023 13:00 | 949.4854 | 1001.489 | 897.482
19/10/2023 13:30 | 1026.317 | 1082.698 | 969.9357
19/10/2023 14:00 | 1121.935 | 1183.754 | 1060.116
19/10/2023 14:30 | 1257.992 | 1327.516 | 1188.469
19/10/2023 15:00 | 1418.557 | 1497.189 | 1339.926
19/10/2023 15:30 | 1613.867 | 1703.591 | 1524.143
19/10/2023 16:00 | 1815.705 | 1916.622 | 1714.46
19/10/2023 16:30 | 2015.949 | 2128.429 | 1903.205
19/10/2023 17:00 | 2199.05 | 2322.214 | 2075.703
19/10/2023 17:30 | 2336.551 | 2467.89 | 2205.106
19/10/2023 18:00 | 2423.074 | 2559.747 | 2286.326
19/10/2023 18:30 | 2437.546 | 2575.449 | 2299.589
19/10/2023 19:00 | 2378.305 | 2513.253 | 2243.312
19/10/2023 19:30 | 2319.692 | 2451.746 | 2187.686
19/10/2023 20:00 | 2256.678 | 2385.524 | 2127.891
19/10/2023 20:30 | 2178.703 | 2303.427 | 2053.98
19/10/2023 21:00 | 2090.439 | 2210.455 | 1970.424
19/10/2023 21:30 | 2015.044 | 2131.064 | 1899.024
19/10/2023 22:00 | 1942.77 | 2054.949 | 1830.591
19/10/2023 22:30 | 1879.312 | 1988.138 | 1770.487
19/10/2023 23:00 | 1831.63 | 1937.997 | 1725.264
19/10/2023 23:30 | 1792.133 | 1896.502 | 1687.764
20/10/2023 00:00 | 1760.079 | 1862.871 | 1657.286
20/10/2023 00:30 | 1734.677 | 1836.272 | 1633.081
20/10/2023 01:00 | 1717.306 | 1818.167 | 1616.444
20/10/2023 01:30 | 1708.702 | 1809.341 | 1608.064
20/10/2023 02:00 | 1703.575 | 1804.193 | 1602.958
20/10/2023 02:30 | 1702.973 | 1803.836 | 1602.109
20/10/2023 03:00 | 1706.133 | 1807.465 | 1604.801
20/10/2023 03:30 | 1720.22 | 1822.673 | 1617.767
20/10/2023 04:00 | 1756.071 | 1860.949 | 1651.193
20/10/2023 04:30 | 1808.862 | 1917.192 | 1700.533
20/10/2023 05:00 | 1851.936 | 1963.151 | 1740.721
20/10/2023 05:30 | 1868.972 | 1981.519 | 1756.426
20/10/2023 06:00 | 1835.779 | 1946.63 | 1724.928
20/10/2023 06:30 | 1744.957 | 1850.645 | 1639.269
20/10/2023 07:00 | 1629.267 | 1728.31 | 1530.225
20/10/2023 07:30 | 1480.67 | 1571.003 | 1390.338
20/10/2023 08:00 | 1321.759 | 1402.685 | 1240.832
20/10/2023 08:30 | 1162.356 | 1233.269 | 1091.443
20/10/2023 09:00 | 1057.256 | 1121.988 | 992.5239
20/10/2023 09:30 | 981.8303 | 1042.159 | 921.5018
20/10/2023 10:00 | 920.0896 | 976.8254 | 863.3538
20/10/2023 10:30 | 915.6382 | 972.2997 | 858.9768
20/10/2023 11:00 | 923.8491 | 981.2205 | 866.4778
20/10/2023 11:30 | 914.1075 | 971.0736 | 857.1414
20/10/2023 12:00 | 918.6775 | 976.1291 | 861.2259
20/10/2023 12:30 | 952.6378 | 1012.421 | 892.8542
20/10/2023 13:00 | 985.8474 | 1047.931 | 923.7644
20/10/2023 13:30 | 1049.037 | 1115.328 | 982.7451
20/10/2023 14:00 | 1144.992 | 1217.597 | 1072.387
20/10/2023 14:30 | 1280.334 | 1361.802 | 1198.867
20/10/2023 15:00 | 1482.559 | 1577.218 | 1387.9
20/10/2023 15:30 | 1748.248 | 1860.252 | 1636.243
20/10/2023 16:00 | 1969.454 | 2096.06 | 1842.847
20/10/2023 16:30 | 2108.168 | 2244.153 | 1972.184
20/10/2023 17:00 | 2220.565 | 2364.285 | 2076.845
20/10/2023 17:30 | 2306.445 | 2456.227 | 2156.663
20/10/2023 18:00 | 2372.573 | 2527.168 | 2217.978
20/10/2023 18:30 | 2382.626 | 2538.396 | 2226.856
20/10/2023 19:00 | 2324.057 | 2476.507 | 2171.608
20/10/2023 19:30 | 2273.344 | 2422.964 | 2123.725
20/10/2023 20:00 | 2219.938 | 2366.527 | 2073.349
20/10/2023 20:30 | 2161.013 | 2304.184 | 2017.843
20/10/2023 21:00 | 2097.018 | 2236.407 | 1957.629
20/10/2023 21:30 | 2036.427 | 2172.234 | 1900.621
20/10/2023 22:00 | 1970.021 | 2101.83 | 1838.213
20/10/2023 22:30 | 1907.699 | 2035.754 | 1779.644
20/10/2023 23:00 | 1857.96 | 1983.082 | 1732.838
20/10/2023 23:30 | 1810.728 | 1937.378 | 1684.078
21/10/2023 00:00 | 1761.173 | 1893.062 | 1629.284
21/10/2023 00:30 | 1733.22 | 1862.728 | 1603.713
21/10/2023 01:00 | 1714.875 | 1843.421 | 1586.329
21/10/2023 01:30 | 1704.091 | 1832.236 | 1575.946
21/10/2023 02:00 | 1696.578 | 1824.564 | 1568.593
21/10/2023 02:30 | 1690.433 | 1818.359 | 1562.508
21/10/2023 03:00 | 1688.184 | 1816.343 | 1560.026
21/10/2023 03:30 | 1694.548 | 1823.595 | 1565.502
21/10/2023 04:00 | 1706.809 | 1837.197 | 1576.421
21/10/2023 04:30 | 1716.065 | 1847.57 | 1584.56
21/10/2023 05:00 | 1728.217 | 1861.066 | 1595.368
21/10/2023 05:30 | 1737.763 | 1871.761 | 1603.766
21/10/2023 06:00 | 1717.717 | 1850.579 | 1584.854
21/10/2023 06:30 | 1691.685 | 1822.938 | 1560.432
21/10/2023 07:00 | 1626.272 | 1752.839 | 1499.706
21/10/2023 07:30 | 1472.917 | 1587.9 | 1357.933
21/10/2023 08:00 | 1326.834 | 1430.73 | 1222.938
21/10/2023 08:30 | 1214.342 | 1309.72 | 1118.964
21/10/2023 09:00 | 1164.836 | 1256.603 | 1073.068
21/10/2023 09:30 | 1172.032 | 1264.647 | 1079.418
21/10/2023 10:00 | 1172.181 | 1265.087 | 1079.274
21/10/2023 10:30 | 1152.788 | 1244.432 | 1061.143
21/10/2023 11:00 | 1179.283 | 1273.316 | 1085.251
21/10/2023 11:30 | 1226.536 | 1324.629 | 1128.442
21/10/2023 12:00 | 1316.539 | 1422.145 | 1210.933
21/10/2023 12:30 | 1484.008 | 1603.401 | 1364.614
21/10/2023 13:00 | 1597.875 | 1726.812 | 1468.939
21/10/2023 13:30 | 1728.27 | 1868.142 | 1588.399
21/10/2023 14:00 | 1832.073 | 1980.782 | 1683.363
21/10/2023 14:30 | 1847.841 | 1998.272 | 1697.41
21/10/2023 15:00 | 1924.154 | 2081.258 | 1767.051
21/10/2023 15:30 | 2016.253 | 2181.358 | 1851.148
21/10/2023 16:00 | 2112.806 | 2286.322 | 1939.291
21/10/2023 16:30 | 2200.071 | 2381.278 | 2018.863
21/10/2023 17:00 | 2250.907 | 2436.84 | 2064.974
21/10/2023 17:30 | 2280.888 | 2469.842 | 2091.934
21/10/2023 18:00 | 2301.755 | 2492.988 | 2110.523
21/10/2023 18:30 | 2310.097 | 2502.574 | 2117.619
21/10/2023 19:00 | 2278.778 | 2469.19 | 2088.365
21/10/2023 19:30 | 2220.63 | 2406.714 | 2034.546
21/10/2023 20:00 | 2170.958 | 2353.399 | 1988.518
21/10/2023 20:30 | 2119.024 | 2297.606 | 1940.442
21/10/2023 21:00 | 2066.981 | 2241.671 | 1892.292
21/10/2023 21:30 | 2015.977 | 2186.838 | 1845.117
21/10/2023 22:00 | 1959.564 | 2126.111 | 1793.016
21/10/2023 22:30 | 1913.576 | 2076.673 | 1750.48
21/10/2023 23:00 | 1879.699 | 2040.357 | 1719.041
21/10/2023 23:30 | 1852.291 | 2011.048 | 1693.533
22/10/2023 00:00 | 1829.705 | 1986.964 | 1672.446
22/10/2023 00:30 | 1805.188 | 1960.771 | 1649.605
22/10/2023 01:00 | 1787.385 | 1941.861 | 1632.91
22/10/2023 01:30 | 1769.909 | 1923.297 | 1616.521
22/10/2023 02:00 | 1756.655 | 1909.314 | 1603.996
22/10/2023 02:30 | 1747.665 | 1899.96 | 1595.37
22/10/2023 03:00 | 1741.009 | 1893.14 | 1588.878
22/10/2023 03:30 | 1738.42 | 1890.74 | 1586.1
22/10/2023 04:00 | 1739.358 | 1892.176 | 1586.54
22/10/2023 04:30 | 1733.577 | 1886.301 | 1580.853
22/10/2023 05:00 | 1720.062 | 1872.006 | 1568.117
22/10/2023 05:30 | 1688.191 | 1837.724 | 1538.659
22/10/2023 06:00 | 1609.053 | 1751.96 | 1466.146
22/10/2023 06:30 | 1517.045 | 1652.143 | 1381.948
22/10/2023 07:00 | 1401.781 | 1526.949 | 1276.613
22/10/2023 07:30 | 1234.398 | 1344.833 | 1123.964
22/10/2023 08:00 | 1090.059 | 1187.624 | 992.4952
22/10/2023 08:30 | 953.9668 | 1039.399 | 868.5348
22/10/2023 09:00 | 862.7986 | 940.11 | 785.4871
22/10/2023 09:30 | 804.2822 | 876.3913 | 732.173
22/10/2023 10:00 | 750.4593 | 817.7811 | 683.1375
22/10/2023 10:30 | 725.572 | 790.6981 | 660.4458
22/10/2023 11:00 | 743.765 | 810.5621 | 676.9679
22/10/2023 11:30 | 764.1107 | 832.774 | 695.4474
22/10/2023 12:00 | 749.1791 | 816.5388 | 681.8194
22/10/2023 12:30 | 742.514 | 809.3123 | 675.7156
22/10/2023 13:00 | 781.7741 | 852.1442 | 711.404
22/10/2023 13:30 | 884.4709 | 964.1302 | 804.8117
22/10/2023 14:00 | 1022.568 | 1114.717 | 930.4188
22/10/2023 14:30 | 1142.83 | 1245.874 | 1039.785
22/10/2023 15:00 | 1294.294 | 1411.062 | 1177.526
22/10/2023 15:30 | 1498.745 | 1634.034 | 1363.456
22/10/2023 16:00 | 1712.518 | 1867.191 | 1557.845
22/10/2023 16:30 | 1902.911 | 2074.878 | 1730.945
22/10/2023 17:00 | 2069.609 | 2256.745 | 1882.472
22/10/2023 17:30 | 2198.575 | 2397.485 | 1999.665
22/10/2023 18:00 | 2280.592 | 2487.038 | 2074.145
22/10/2023 18:30 | 2295.992 | 2503.949 | 2088.034
22/10/2023 19:00 | 2250.305 | 2454.239 | 2046.371
22/10/2023 19:30 | 2199.342 | 2398.77 | 1999.914
22/10/2023 20:00 | 2144.661 | 2339.24 | 1950.082
22/10/2023 20:30 | 2084.518 | 2273.746 | 1895.29
22/10/2023 21:00 | 2011.739 | 2194.464 | 1829.015
22/10/2023 21:30 | 1940.357 | 2116.697 | 1764.017
22/10/2023 22:00 | 1874.168 | 2044.588 | 1703.748
22/10/2023 22:30 | 1819.877 | 1985.453 | 1654.301
22/10/2023 23:00 | 1784.404 | 1946.843 | 1621.964
22/10/2023 23:30 | 1762.41 | 1920.846 | 1603.974
23/10/2023 00:00 | 1751.916 | 1905.468 | 1598.364
23/10/2023 00:30 | 1729.916 | 1882.237 | 1577.595
23/10/2023 01:00 | 1715.826 | 1867.235 | 1564.417
23/10/2023 01:30 | 1707.886 | 1858.922 | 1556.85
23/10/2023 02:00 | 1701.538 | 1852.339 | 1550.738
23/10/2023 02:30 | 1703.134 | 1854.402 | 1551.866
23/10/2023 03:00 | 1707.097 | 1859.044 | 1555.15
23/10/2023 03:30 | 1720.82 | 1874.319 | 1567.322
23/10/2023 04:00 | 1756.947 | 1914.005 | 1599.889
23/10/2023 04:30 | 1807.972 | 1969.938 | 1646.006
23/10/2023 05:00 | 1870.336 | 2038.247 | 1702.425
23/10/2023 05:30 | 1926.069 | 2099.353 | 1752.786
23/10/2023 06:00 | 1917.592 | 2090.48 | 1744.703
23/10/2023 06:30 | 1862.672 | 2030.966 | 1694.378
23/10/2023 07:00 | 1735.679 | 1892.831 | 1578.526
23/10/2023 07:30 | 1496.902 | 1632.722 | 1361.082
23/10/2023 08:00 | 1291.574 | 1409.011 | 1174.137
23/10/2023 08:30 | 1150.311 | 1255.125 | 1045.498
23/10/2023 09:00 | 1029.044 | 1123.005 | 935.0828
23/10/2023 09:30 | 931.7062 | 1016.958 | 846.4543
23/10/2023 10:00 | 876.3334 | 956.6865 | 795.9802
23/10/2023 10:30 | 849.5513 | 927.6116 | 771.491
23/10/2023 11:00 | 801.9592 | 875.8003 | 728.1182
23/10/2023 11:30 | 777.2971 | 849.0163 | 705.5778
23/10/2023 12:00 | 770.7532 | 842.0163 | 699.49
23/10/2023 12:30 | 784.7709 | 857.4806 | 712.0613
23/10/2023 13:00 | 797.7106 | 871.772 | 723.6492
23/10/2023 13:30 | 860.2995 | 940.3367 | 780.2623
23/10/2023 14:00 | 954.9642 | 1043.991 | 865.9369
23/10/2023 14:30 | 1090.109 | 1191.944 | 988.274
23/10/2023 15:00 | 1260.977 | 1379.016 | 1142.938
23/10/2023 15:30 | 1480.665 | 1619.553 | 1341.777
23/10/2023 16:00 | 1704.561 | 1864.777 | 1544.345
23/10/2023 16:30 | 1927.004 | 2108.497 | 1745.51
23/10/2023 17:00 | 2137.787 | 2339.542 | 1936.032
23/10/2023 17:30 | 2298.727 | 2516.112 | 2081.343
23/10/2023 18:00 | 2398.646 | 2625.939 | 2171.352
23/10/2023 18:30 | 2421.941 | 2651.906 | 2191.976
23/10/2023 19:00 | 2372.93 | 2598.696 | 2147.164
23/10/2023 19:30 | 2305.947 | 2525.782 | 2086.112
23/10/2023 20:00 | 2236.238 | 2449.857 | 2022.62
23/10/2023 20:30 | 2162.186 | 2369.144 | 1955.227
23/10/2023 21:00 | 2079.898 | 2279.38 | 1880.417
23/10/2023 21:30 | 2000.22 | 2192.442 | 1807.997
23/10/2023 22:00 | 1924.974 | 2110.334 | 1739.613
23/10/2023 22:30 | 1859.514 | 2038.927 | 1680.1
23/10/2023 23:00 | 1811.637 | 1986.779 | 1636.496
23/10/2023 23:30 | 1767.452 | 1938.66 | 1596.243
24/10/2023 00:00 | 1729.122 | 1896.949 | 1561.295
24/10/2023 00:30 | 1703.129 | 1868.76 | 1537.499
24/10/2023 01:00 | 1690.12 | 1854.809 | 1525.431
24/10/2023 01:30 | 1684.396 | 1848.851 | 1519.942
24/10/2023 02:00 | 1680.401 | 1844.788 | 1516.015
24/10/2023 02:30 | 1681.225 | 1846.014 | 1516.436
24/10/2023 03:00 | 1689.33 | 1855.237 | 1523.422
24/10/2023 03:30 | 1707.245 | 1875.24 | 1539.251
24/10/2023 04:00 | 1743.328 | 1915.207 | 1571.449
24/10/2023 04:30 | 1792.78 | 1969.878 | 1615.682
24/10/2023 05:00 | 1835.203 | 2016.844 | 1653.563
24/10/2023 05:30 | 1853.509 | 2037.316 | 1669.701
24/10/2023 06:00 | 1827.16 | 2008.705 | 1645.615
24/10/2023 06:30 | 1760.539 | 1935.802 | 1585.276
24/10/2023 07:00 | 1664.836 | 1830.891 | 1498.781
24/10/2023 07:30 | 1518.667 | 1670.511 | 1366.823
24/10/2023 08:00 | 1358.5 | 1494.797 | 1222.203
24/10/2023 08:30 | 1216.607 | 1339.076 | 1094.138
24/10/2023 09:00 | 1110.354 | 1222.5 | 998.2089
24/10/2023 09:30 | 1017.955 | 1121.11 | 914.8005
24/10/2023 10:00 | 959.9291 | 1057.525 | 862.3328
24/10/2023 10:30 | 964.7961 | 1063.211 | 866.3815
24/10/2023 11:00 | 980.9984 | 1081.395 | 880.6021
24/10/2023 11:30 | 999.1215 | 1101.708 | 896.5355
24/10/2023 12:00 | 983.3174 | 1084.61 | 882.0244
24/10/2023 12:30 | 948.3605 | 1046.37 | 850.3504
24/10/2023 13:00 | 958.2986 | 1057.657 | 858.9402
24/10/2023 13:30 | 1049.838 | 1159.039 | 940.6362
24/10/2023 14:00 | 1176.365 | 1299.122 | 1053.608
24/10/2023 14:30 | 1329.425 | 1468.6 | 1190.25
24/10/2023 15:00 | 1502.574 | 1660.379 | 1344.769
24/10/2023 15:30 | 1692.578 | 1870.906 | 1514.251
24/10/2023 16:00 | 1889.704 | 2089.434 | 1689.974
24/10/2023 16:30 | 2094.48 | 2316.556 | 1872.404
24/10/2023 17:00 | 2246.779 | 2485.757 | 2007.802
24/10/2023 17:30 | 2332.765 | 2581.67 | 2083.86
24/10/2023 18:00 | 2399.636 | 2656.481 | 2142.791
24/10/2023 18:30 | 2404.013 | 2662.133 | 2145.893
24/10/2023 19:00 | 2339.364 | 2591.327 | 2087.402
24/10/2023 19:30 | 2273.208 | 2518.807 | 2027.608
24/10/2023 20:00 | 2204.53 | 2443.448 | 1965.611
24/10/2023 20:30 | 2125.964 | 2357.08 | 1894.847
24/10/2023 21:00 | 2045.467 | 2268.518 | 1822.415
24/10/2023 21:30 | 1971.824 | 2187.506 | 1756.141
24/10/2023 22:00 | 1901.333 | 2109.942 | 1692.723
24/10/2023 22:30 | 1841.977 | 2044.692 | 1639.263
24/10/2023 23:00 | 1797.333 | 1995.737 | 1598.928
24/10/2023 23:30 | 1759.976 | 1954.846 | 1565.106
25/10/2023 00:00 | 1727.486 | 1919.338 | 1535.634
25/10/2023 00:30 | 1705.42 | 1895.394 | 1515.447
25/10/2023 01:00 | 1695.317 | 1884.733 | 1505.901
25/10/2023 01:30 | 1686.283 | 1875.256 | 1497.311
25/10/2023 02:00 | 1678.724 | 1867.413 | 1490.036
25/10/2023 02:30 | 1678.871 | 1868.138 | 1489.603
25/10/2023 03:00 | 1685.533 | 1876.117 | 1494.949
25/10/2023 03:30 | 1699.949 | 1892.733 | 1507.165
25/10/2023 04:00 | 1732.981 | 1930.092 | 1535.87
25/10/2023 04:30 | 1786.069 | 1989.817 | 1582.321
25/10/2023 05:00 | 1828.988 | 2038.245 | 1619.73
25/10/2023 05:30 | 1838.888 | 2049.894 | 1627.881
25/10/2023 06:00 | 1802.293 | 2009.705 | 1594.881
25/10/2023 06:30 | 1710.22 | 1907.61 | 1512.831
25/10/2023 07:00 | 1580.9 | 1763.894 | 1397.907
25/10/2023 07:30 | 1402.019 | 1564.776 | 1239.261