## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
19/10/2023 08:00 | 1444.49 | 1474.248 | 1433.175
19/10/2023 08:30 | 1322.664 | 1345.281 | 1300.047 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
19/10/2023 09:00 | 1219.679 | 1244.161 | 1195.198 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
19/10/2023 09:30 | 1116.579 | 1142.311 | 1090.847 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
19/10/2023 10:00 | 1027.868 | 1054.611 | 1001.125 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
19/10/2023 10:30 | 970.4154 | 997.8541 | 942.9767 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
19/10/2023 11:00 | 914.1136 | 940.7292 | 887.498 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
19/10/2023 11:30 | 865.6806 | 894.6844 | 839.6415 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
19/10/2023 12:00 | 842.1773 | 871.8391 | 816.0341 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
19/10/2023 12:30 | 852.1304 | 881.4056 | 826.7355 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
19/10/2023 13:00 | 884.0447 | 915.383 | 856.9515 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
19/10/2023 13:30 | 953.8339 | 988.391 | 923.5166
19/10/2023 14:00 | 1049.667 | 1087.624 | 1014.279 | Summary view - for each schedule horizon (dispatch, week-ahead)
19/10/2023 14:30 | 1187.566 | 1231.288 | 1146.042
19/10/2023 15:00 | 1352.045 | 1403.68 | 1303.981 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
19/10/2023 15:30 | 1548.253 | 1607.835 | 1490.758 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
19/10/2023 16:00 | 1753.749 | 1822.409 | 1686.45 | Scenario | Violations
19/10/2023 16:30 | 1959.47 | 2037.825 | 1882.161 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
19/10/2023 17:00 | 2153.048 | 2240.113 | 2065.009 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
19/10/2023 17:30 | 2303.625 | 2398.451 | 2206.708 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 6 | 0 | 4
19/10/2023 18:00 | 2402.127 | 2503.418 | 2298.844 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1
19/10/2023 18:30 | 2424.925 | 2529.527 | 2319.286 | Low Demand Scenario | 0 | 0 | 0 | 0 | 4 | 2 | 1 | 0 | 12 | 12 | 0 | 1
19/10/2023 19:00 | 2370.44 | 2474.139 | 2266.881
19/10/2023 19:30 | 2312.898 | 2415.078 | 2211.032 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
19/10/2023 20:00 | 2250.212 | 2350.577 | 2150.295
19/10/2023 20:30 | 2172.228 | 2269.961 | 2074.919 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
19/10/2023 21:00 | 2084.375 | 2178.967 | 1990.182 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
19/10/2023 21:30 | 2008.958 | 2100.788 | 1917.272 | [9 empty] | 22/10/2023 10:00 | 22/10/2023 10:00 |  | 19/10/2023 08:00 | [6 empty] | 19/10/2023 11:00 |  | 22/10/2023 10:30 | 22/10/2023 10:30 |  | 19/10/2023 09:00 |  |  |  |  | 22/10/2023 10:30 | 22/10/2023 10:30 | 19/10/2023 11:00 |  | 22/10/2023 09:00 | 22/10/2023 09:00 |  | 19/10/2023 09:00
19/10/2023 22:00 | 1937.034 | 2026.262 | 1847.806 | [9 empty] | 22/10/2023 10:30 | 22/10/2023 10:30 |  | 19/10/2023 09:00 | [16 empty] | 22/10/2023 11:00 | 22/10/2023 11:00 |  |  | 22/10/2023 09:30 | 22/10/2023 09:30
19/10/2023 22:30 | 1874.736 | 1961.828 | 1787.643 | [9 empty] | 22/10/2023 11:00 | 22/10/2023 11:00 |  | 19/10/2023 11:30 | [16 empty] | 22/10/2023 11:30 |  |  |  | 22/10/2023 10:00 | 22/10/2023 10:00
19/10/2023 23:00 | 1828.196 | 1913.841 | 1742.55 | [9 empty] | 22/10/2023 11:30 | 22/10/2023 11:30 |  | 19/10/2023 12:00 | [16 empty] | 22/10/2023 12:00 |  |  |  | 22/10/2023 10:30 | 22/10/2023 10:30
19/10/2023 23:30 | 1789.689 | 1874.231 | 1705.147 | [9 empty] | 22/10/2023 12:00 | 22/10/2023 12:00 | [22 empty] | 22/10/2023 11:00 | 22/10/2023 11:00
20/10/2023 00:00 | 1758.812 | 1842.583 | 1675.04 | [9 empty] | 22/10/2023 12:30 | 22/10/2023 12:30 | [22 empty] | 22/10/2023 11:30 | 22/10/2023 11:30
20/10/2023 00:30 | 1734.261 | 1817.542 | 1650.979 | [33 empty] | 22/10/2023 12:00 | 22/10/2023 12:00
20/10/2023 01:00 | 1717.685 | 1800.843 | 1634.528 | [33 empty] | 22/10/2023 12:30 | 22/10/2023 12:30
20/10/2023 01:30 | 1709.325 | 1792.747 | 1625.903 | [33 empty] | 22/10/2023 13:00 | 22/10/2023 13:00
20/10/2023 02:00 | 1704.223 | 1788.062 | 1620.383 | [33 empty] | 25/10/2023 10:00 | 25/10/2023 10:00
20/10/2023 02:30 | 1703.838 | 1788.325 | 1619.35 | [33 empty] | 25/10/2023 10:30 | 25/10/2023 10:30
20/10/2023 03:00 | 1707.437 | 1792.772 | 1622.102 | [33 empty] | 25/10/2023 11:00 | 25/10/2023 11:00
20/10/2023 03:30 | 1721.958 | 1808.693 | 1635.224
20/10/2023 04:00 | 1757.82 | 1847.048 | 1668.591
20/10/2023 04:30 | 1810.585 | 1903.2 | 1717.969
20/10/2023 05:00 | 1853.892 | 1949.449 | 1758.335
20/10/2023 05:30 | 1870.999 | 1968.17 | 1773.828
20/10/2023 06:00 | 1838.37 | 1934.566 | 1742.175
20/10/2023 06:30 | 1748.476 | 1840.511 | 1656.44
20/10/2023 07:00 | 1629.907 | 1715.948 | 1543.867
20/10/2023 07:30 | 1467.448 | 1545.155 | 1389.741
20/10/2023 08:00 | 1297.029 | 1365.926 | 1228.132
20/10/2023 08:30 | 1135.181 | 1195.668 | 1074.694
20/10/2023 09:00 | 1027.582 | 1082.505 | 972.6586
20/10/2023 09:30 | 962.9787 | 1014.608 | 911.3492
20/10/2023 10:00 | 911.2654 | 960.2726 | 862.2581
20/10/2023 10:30 | 903.7263 | 952.4773 | 854.9752
20/10/2023 11:00 | 908.2136 | 957.3567 | 859.0705
20/10/2023 11:30 | 902.4243 | 951.4031 | 853.4455
20/10/2023 12:00 | 914.0585 | 963.8196 | 864.2973
20/10/2023 12:30 | 952.1663 | 1004.159 | 900.1733
20/10/2023 13:00 | 994.4731 | 1048.94 | 940.0058
20/10/2023 13:30 | 1065.695 | 1124.239 | 1007.151
20/10/2023 14:00 | 1165.83 | 1230.067 | 1101.592
20/10/2023 14:30 | 1298.377 | 1370.133 | 1226.622
20/10/2023 15:00 | 1472.251 | 1553.858 | 1390.643
20/10/2023 15:30 | 1677.456 | 1770.715 | 1584.197
20/10/2023 16:00 | 1879.983 | 1984.812 | 1775.154
20/10/2023 16:30 | 2058.955 | 2174.103 | 1943.806
20/10/2023 17:00 | 2202.525 | 2326.067 | 2078.984
20/10/2023 17:30 | 2295.413 | 2424.543 | 2166.282
20/10/2023 18:00 | 2363.111 | 2496.44 | 2229.781
20/10/2023 18:30 | 2375.762 | 2510.197 | 2241.326
20/10/2023 19:00 | 2321.809 | 2453.575 | 2190.043
20/10/2023 19:30 | 2269.653 | 2398.833 | 2140.472
20/10/2023 20:00 | 2216.114 | 2342.613 | 2089.615
20/10/2023 20:30 | 2156.44 | 2279.889 | 2032.991
20/10/2023 21:00 | 2092.039 | 2212.146 | 1971.932
20/10/2023 21:30 | 2031.474 | 2148.439 | 1914.508
20/10/2023 22:00 | 1966.126 | 2079.654 | 1852.598
20/10/2023 22:30 | 1904.99 | 2015.302 | 1794.677
20/10/2023 23:00 | 1855.185 | 1962.919 | 1747.45
20/10/2023 23:30 | 1806.504 | 1915.363 | 1697.645
21/10/2023 00:00 | 1756.198 | 1869.365 | 1643.03
21/10/2023 00:30 | 1727.542 | 1838.599 | 1616.485
21/10/2023 01:00 | 1708.391 | 1818.543 | 1598.238
21/10/2023 01:30 | 1697.164 | 1806.917 | 1587.411
21/10/2023 02:00 | 1689.17 | 1798.728 | 1579.611
21/10/2023 02:30 | 1683.428 | 1792.936 | 1573.92
21/10/2023 03:00 | 1681.759 | 1791.479 | 1572.038
21/10/2023 03:30 | 1687.635 | 1798.062 | 1577.209
21/10/2023 04:00 | 1699.731 | 1811.274 | 1588.189
21/10/2023 04:30 | 1709.618 | 1822.137 | 1597.1
21/10/2023 05:00 | 1716.865 | 1830.188 | 1603.542
21/10/2023 05:30 | 1724.986 | 1839.175 | 1610.797
21/10/2023 06:00 | 1713.67 | 1827.437 | 1599.903
21/10/2023 06:30 | 1693.167 | 1805.925 | 1580.409
21/10/2023 07:00 | 1672.472 | 1784.256 | 1560.688
21/10/2023 07:30 | 1627.517 | 1736.685 | 1518.348
21/10/2023 08:00 | 1523.391 | 1625.939 | 1420.843
21/10/2023 08:30 | 1341.271 | 1431.88 | 1250.662
21/10/2023 09:00 | 1269.009 | 1355.04 | 1182.979
21/10/2023 09:30 | 1329.737 | 1420.202 | 1239.272
21/10/2023 10:00 | 1355.023 | 1447.532 | 1262.514
21/10/2023 10:30 | 1302.717 | 1391.966 | 1213.468
21/10/2023 11:00 | 1310.891 | 1401.013 | 1220.769
21/10/2023 11:30 | 1369.698 | 1464.19 | 1275.206
21/10/2023 12:00 | 1442.27 | 1542.113 | 1342.426
21/10/2023 12:30 | 1545.176 | 1652.513 | 1437.84
21/10/2023 13:00 | 1582.029 | 1692.303 | 1471.755
21/10/2023 13:30 | 1563.83 | 1673.21 | 1454.451
21/10/2023 14:00 | 1587.596 | 1699.016 | 1476.175
21/10/2023 14:30 | 1672.414 | 1790.187 | 1554.641
21/10/2023 15:00 | 1783.123 | 1909.118 | 1657.128
21/10/2023 15:30 | 1934.166 | 2071.295 | 1797.036
21/10/2023 16:00 | 2071.305 | 2218.653 | 1923.958
21/10/2023 16:30 | 2158.884 | 2312.978 | 2004.791
21/10/2023 17:00 | 2228.24 | 2387.816 | 2068.664
21/10/2023 17:30 | 2285.779 | 2450.022 | 2121.536
21/10/2023 18:00 | 2322.52 | 2489.957 | 2155.082
21/10/2023 18:30 | 2323.78 | 2491.864 | 2155.697
21/10/2023 19:00 | 2273.379 | 2438.36 | 2108.398
21/10/2023 19:30 | 2219.469 | 2381.068 | 2057.87
21/10/2023 20:00 | 2172.076 | 2330.743 | 2013.409
21/10/2023 20:30 | 2119.327 | 2274.647 | 1964.007
21/10/2023 21:00 | 2066.141 | 2218.056 | 1914.225
21/10/2023 21:30 | 2014.236 | 2162.817 | 1865.656
21/10/2023 22:00 | 1956.86 | 2101.676 | 1812.044
21/10/2023 22:30 | 1907.749 | 2049.386 | 1766.112
21/10/2023 23:00 | 1868.03 | 2007.164 | 1728.896
21/10/2023 23:30 | 1833.056 | 1970.024 | 1696.089
22/10/2023 00:00 | 1802.982 | 1938.132 | 1667.831
22/10/2023 00:30 | 1775.237 | 1908.732 | 1641.742
22/10/2023 01:00 | 1755.857 | 1888.314 | 1623.4
22/10/2023 01:30 | 1739.801 | 1871.463 | 1608.14
22/10/2023 02:00 | 1727.867 | 1859.038 | 1596.696
22/10/2023 02:30 | 1719.931 | 1850.911 | 1588.952
22/10/2023 03:00 | 1714.797 | 1845.796 | 1583.799
22/10/2023 03:30 | 1714.052 | 1845.402 | 1582.701
22/10/2023 04:00 | 1716.892 | 1848.871 | 1584.914
22/10/2023 04:30 | 1712.514 | 1844.565 | 1580.463
22/10/2023 05:00 | 1703.123 | 1834.857 | 1571.389
22/10/2023 05:30 | 1688.684 | 1819.704 | 1557.664
22/10/2023 06:00 | 1637.356 | 1764.785 | 1509.927
22/10/2023 06:30 | 1578.479 | 1701.703 | 1455.255
22/10/2023 07:00 | 1477.36 | 1593.043 | 1361.677
22/10/2023 07:30 | 1284.997 | 1385.924 | 1184.07
22/10/2023 08:00 | 1122.212 | 1210.621 | 1033.802
22/10/2023 08:30 | 982.5823 | 1060.226 | 904.9382
22/10/2023 09:00 | 898.0814 | 968.8336 | 826.9001
22/10/2023 09:30 | 859.4025 | 927.3128 | 791.0815
22/10/2023 10:00 | 807.3871 | 871.38 | 743.0085
22/10/2023 10:30 | 766.0145 | 826.9112 | 704.7518
22/10/2023 11:00 | 782.1557 | 844.5225 | 719.4153
22/10/2023 11:30 | 805.1584 | 869.5517 | 740.3806
22/10/2023 12:00 | 798.8635 | 862.9442 | 734.4012
22/10/2023 12:30 | 813.7641 | 879.2344 | 747.905
22/10/2023 13:00 | 883.0377 | 954.2922 | 811.3613
22/10/2023 13:30 | 1069.076 | 1155.598 | 982.0436
22/10/2023 14:00 | 1242.329 | 1343.169 | 1140.895
22/10/2023 14:30 | 1286.213 | 1390.923 | 1181.504
22/10/2023 15:00 | 1375.988 | 1488.335 | 1263.642
22/10/2023 15:30 | 1528.004 | 1653.128 | 1402.881
22/10/2023 16:00 | 1708.723 | 1849.053 | 1568.393
22/10/2023 16:30 | 1896.217 | 2052.398 | 1740.036
22/10/2023 17:00 | 2060.363 | 2230.556 | 1890.169
22/10/2023 17:30 | 2180.359 | 2360.985 | 1999.733
22/10/2023 18:00 | 2254.068 | 2441.339 | 2066.798
22/10/2023 18:30 | 2275.588 | 2465.19 | 2085.986
22/10/2023 19:00 | 2242.124 | 2429.474 | 2054.775
22/10/2023 19:30 | 2190.611 | 2374.18 | 2007.043
22/10/2023 20:00 | 2136.461 | 2316.002 | 1956.92
22/10/2023 20:30 | 2074.769 | 2249.621 | 1899.916
22/10/2023 21:00 | 2001.638 | 2170.805 | 1832.47
22/10/2023 21:30 | 1930.294 | 2093.893 | 1766.695
22/10/2023 22:00 | 1864.149 | 2022.587 | 1705.711
22/10/2023 22:30 | 1809.49 | 1963.714 | 1655.265
22/10/2023 23:00 | 1772.111 | 1923.574 | 1620.649
22/10/2023 23:30 | 1748.396 | 1893.476 | 1603.316
23/10/2023 00:00 | 1736.443 | 1871.544 | 1601.342
23/10/2023 00:30 | 1714.969 | 1849.572 | 1580.367
23/10/2023 01:00 | 1701.532 | 1835.452 | 1567.613
23/10/2023 01:30 | 1695.139 | 1828.925 | 1561.352
23/10/2023 02:00 | 1690.455 | 1824.241 | 1556.669
23/10/2023 02:30 | 1691.911 | 1826.182 | 1557.64
23/10/2023 03:00 | 1697.71 | 1832.813 | 1562.608
23/10/2023 03:30 | 1713.623 | 1850.366 | 1576.88
23/10/2023 04:00 | 1750.897 | 1890.996 | 1610.797
23/10/2023 04:30 | 1801.368 | 1945.9 | 1656.836
23/10/2023 05:00 | 1871.075 | 2021.609 | 1720.541
23/10/2023 05:30 | 1948.398 | 2105.578 | 1791.218
23/10/2023 06:00 | 1971.461 | 2130.932 | 1811.99
23/10/2023 06:30 | 1964.279 | 2123.598 | 1804.959
23/10/2023 07:00 | 1857.759 | 2008.844 | 1706.673
23/10/2023 07:30 | 1592.171 | 1721.99 | 1462.352
23/10/2023 08:00 | 1366.667 | 1478.359 | 1254.975
23/10/2023 08:30 | 1212.505 | 1311.831 | 1113.18
23/10/2023 09:00 | 1095.836 | 1185.815 | 1005.858
23/10/2023 09:30 | 1031.174 | 1116.041 | 946.3077
23/10/2023 10:00 | 1033.815 | 1119.097 | 948.5327
23/10/2023 10:30 | 1111.714 | 1203.635 | 1019.792
23/10/2023 11:00 | 1136.728 | 1230.935 | 1042.52
23/10/2023 11:30 | 1156.603 | 1252.679 | 1060.527
23/10/2023 12:00 | 1165.683 | 1262.737 | 1068.629
23/10/2023 12:30 | 1141.595 | 1236.863 | 1046.328
23/10/2023 13:00 | 1132.895 | 1227.653 | 1038.136
23/10/2023 13:30 | 1183.887 | 1283.138 | 1084.637
23/10/2023 14:00 | 1220.835 | 1323.417 | 1118.253
23/10/2023 14:30 | 1268.782 | 1375.636 | 1161.929
23/10/2023 15:00 | 1385.225 | 1502.151 | 1268.299
23/10/2023 15:30 | 1583.616 | 1717.591 | 1449.64
23/10/2023 16:00 | 1784.611 | 1935.932 | 1633.289
23/10/2023 16:30 | 1985.271 | 2153.988 | 1816.554
23/10/2023 17:00 | 2179.895 | 2365.57 | 1994.221
23/10/2023 17:30 | 2322.017 | 2520.241 | 2123.792
23/10/2023 18:00 | 2406.378 | 2612.266 | 2200.49
23/10/2023 18:30 | 2423.719 | 2631.555 | 2215.883
23/10/2023 19:00 | 2370.914 | 2574.676 | 2167.151
23/10/2023 19:30 | 2302.524 | 2500.85 | 2104.198
23/10/2023 20:00 | 2232.602 | 2425.333 | 2039.871
23/10/2023 20:30 | 2154.831 | 2341.262 | 1968.401
23/10/2023 21:00 | 2071.291 | 2250.891 | 1891.691
23/10/2023 21:30 | 1992.719 | 2165.888 | 1819.55
23/10/2023 22:00 | 1918.382 | 2085.459 | 1751.306
23/10/2023 22:30 | 1854.669 | 2016.553 | 1692.786
23/10/2023 23:00 | 1808.245 | 1966.423 | 1650.067
23/10/2023 23:30 | 1766.847 | 1921.742 | 1611.952
24/10/2023 00:00 | 1731.235 | 1883.34 | 1579.13
24/10/2023 00:30 | 1707.461 | 1857.804 | 1557.118
24/10/2023 01:00 | 1695.377 | 1844.982 | 1545.773
24/10/2023 01:30 | 1688.579 | 1837.908 | 1539.251
24/10/2023 02:00 | 1685.16 | 1834.509 | 1535.811
24/10/2023 02:30 | 1685.625 | 1835.338 | 1535.912
24/10/2023 03:00 | 1692.645 | 1843.306 | 1541.984
24/10/2023 03:30 | 1709.724 | 1862.233 | 1557.215
24/10/2023 04:00 | 1745.886 | 1901.955 | 1589.817
24/10/2023 04:30 | 1795.023 | 1955.828 | 1634.217
24/10/2023 05:00 | 1837.82 | 2002.812 | 1672.828
24/10/2023 05:30 | 1863.947 | 2031.641 | 1696.252
24/10/2023 06:00 | 1851.787 | 2018.742 | 1684.831
24/10/2023 06:30 | 1789.764 | 1951.47 | 1628.057
24/10/2023 07:00 | 1729.942 | 1886.576 | 1573.309
24/10/2023 07:30 | 1678.829 | 1831.156 | 1526.502
24/10/2023 08:00 | 1589.824 | 1734.38 | 1445.268
24/10/2023 08:30 | 1487.777 | 1623.339 | 1352.214
24/10/2023 09:00 | 1419.608 | 1549.232 | 1289.985
24/10/2023 09:30 | 1361.9 | 1486.515 | 1237.285
24/10/2023 10:00 | 1295.092 | 1413.842 | 1176.342
24/10/2023 10:30 | 1226.384 | 1339.069 | 1113.699
24/10/2023 11:00 | 1222.382 | 1334.934 | 1109.83
24/10/2023 11:30 | 1290.832 | 1409.933 | 1171.73
24/10/2023 12:00 | 1347.963 | 1472.595 | 1223.332
24/10/2023 12:30 | 1416.719 | 1547.979 | 1285.459
24/10/2023 13:00 | 1479.225 | 1616.56 | 1341.89
24/10/2023 13:30 | 1571.225 | 1717.403 | 1425.048
24/10/2023 14:00 | 1661.171 | 1816.035 | 1506.307
24/10/2023 14:30 | 1721.053 | 1881.83 | 1560.277
24/10/2023 15:00 | 1799.34 | 1967.775 | 1630.906
24/10/2023 15:30 | 1868.727 | 2044.015 | 1693.439
24/10/2023 16:00 | 1965.985 | 2150.773 | 1781.198
24/10/2023 16:30 | 2119.275 | 2318.877 | 1919.673
24/10/2023 17:00 | 2264.637 | 2478.364 | 2050.91
24/10/2023 17:30 | 2352.102 | 2574.534 | 2129.669
24/10/2023 18:00 | 2402.367 | 2630.013 | 2174.721
24/10/2023 18:30 | 2408.828 | 2637.548 | 2180.108
24/10/2023 19:00 | 2360.452 | 2585.031 | 2135.873
24/10/2023 19:30 | 2291.07 | 2509.487 | 2072.653
24/10/2023 20:00 | 2221.483 | 2433.692 | 2009.274
24/10/2023 20:30 | 2141.136 | 2346.08 | 1936.192
24/10/2023 21:00 | 2058.816 | 2256.275 | 1861.357
24/10/2023 21:30 | 1984.486 | 2175.196 | 1793.775
24/10/2023 22:00 | 1912.724 | 2096.905 | 1728.544
24/10/2023 22:30 | 1852.178 | 2030.884 | 1673.473
24/10/2023 23:00 | 1807.217 | 1981.931 | 1632.503
24/10/2023 23:30 | 1771.253 | 1942.83 | 1599.677
25/10/2023 00:00 | 1739.664 | 1908.515 | 1570.814
25/10/2023 00:30 | 1717.037 | 1884.02 | 1550.054
25/10/2023 01:00 | 1706.431 | 1872.71 | 1540.153
25/10/2023 01:30 | 1697.934 | 1863.711 | 1532.158
25/10/2023 02:00 | 1690.141 | 1855.48 | 1524.802
25/10/2023 02:30 | 1690.223 | 1855.895 | 1524.552
25/10/2023 03:00 | 1696.856 | 1863.503 | 1530.209
25/10/2023 03:30 | 1712.037 | 1880.503 | 1543.572
25/10/2023 04:00 | 1745.136 | 1917.194 | 1573.079
25/10/2023 04:30 | 1798.041 | 1975.658 | 1620.423
25/10/2023 05:00 | 1839.545 | 2021.616 | 1657.475
25/10/2023 05:30 | 1845.689 | 2028.721 | 1662.657
25/10/2023 06:00 | 1807.21 | 1986.773 | 1627.647
25/10/2023 06:30 | 1714.576 | 1885.263 | 1543.888
25/10/2023 07:00 | 1588.961 | 1747.448 | 1430.474
25/10/2023 07:30 | 1418.05 | 1559.834 | 1276.266
25/10/2023 08:00 | 1252.272 | 1377.912 | 1126.633
25/10/2023 08:30 | 1118.266 | 1230.836 | 1005.697
25/10/2023 09:00 | 1022.696 | 1125.988 | 919.4036
25/10/2023 09:30 | 961.9194 | 1059.396 | 864.4433
25/10/2023 10:00 | 920.4075 | 1013.986 | 826.8293
25/10/2023 10:30 | 918.4116 | 1012.095 | 824.7285
25/10/2023 11:00 | 941.1544 | 1037.473 | 844.8358
25/10/2023 11:30 | 952.4243 | 1050.216 | 854.633
25/10/2023 12:00 | 976.5941 | 1077.195 | 875.9937
25/10/2023 12:30 | 1021.761 | 1127.357 | 916.1656
25/10/2023 13:00 | 1091.451 | 1204.615 | 978.2868
25/10/2023 13:30 | 1211.374 | 1337.378 | 1085.37
25/10/2023 14:00 | 1327.552 | 1466.086 | 1189.018
25/10/2023 14:30 | 1458.628 | 1611.329 | 1305.927
25/10/2023 15:00 | 1635.803 | 1807.6 | 1464.006
25/10/2023 15:30 | 1835.014 | 2028.349 | 1641.68
25/10/2023 16:00 | 2011.8 | 2224.435 | 1799.165
25/10/2023 16:30 | 2173.279 | 2413.258 | 1942.848
25/10/2023 17:00 | 2313.123 | 2567.331 | 2067.089
25/10/2023 17:30 | 2398.222 | 2660.979 | 2142.333
25/10/2023 18:00 | 2453.215 | 2721.415 | 2190.635
25/10/2023 18:30 | 2454.449 | 2722.893 | 2190.914
25/10/2023 19:00 | 2390.305 | 2652.267 | 2132.855
25/10/2023 19:30 | 2319.838 | 2574.709 | 2069.201
25/10/2023 20:00 | 2249.735 | 2497.526 | 2005.917
25/10/2023 20:30 | 2170.064 | 2409.687 | 1934.153
25/10/2023 21:00 | 2087.374 | 2318.564 | 1859.752
25/10/2023 21:30 | 2014.528 | 2238.431 | 1794.174
25/10/2023 22:00 | 1943.635 | 2160.382 | 1730.384
25/10/2023 22:30 | 1887.595 | 2098.757 | 1679.86
25/10/2023 23:00 | 1853.54 | 2061.479 | 1648.931
25/10/2023 23:30 | 1823.281 | 2028.431 | 1621.401
26/10/2023 00:00 | 1803.092 | 2006.518 | 1602.843
26/10/2023 00:30 | 1784.226 | 1986.003 | 1585.474
26/10/2023 01:00 | 1770.151 | 1970.805 | 1572.373
26/10/2023 01:30 | 1757.817 | 1957.458 | 1560.828
26/10/2023 02:00 | 1750.232 | 1949.444 | 1553.506
26/10/2023 02:30 | 1748.236 | 1945.324 | 1549.266
26/10/2023 03:00 | 1750.091 | 1947.975 | 1550.438
26/10/2023 03:30 | 1762.45 | 1962.322 | 1560.924
26/10/2023 04:00 | 1793.539 | 1997.538 | 1587.99
26/10/2023 04:30 | 1841.152 | 2051.184 | 1629.695
26/10/2023 05:00 | 1872.736 | 2086.999 | 1657.153
26/10/2023 05:30 | 1867.85 | 2082.18 | 1652.259
26/10/2023 06:00 | 1825.019 | 2035.046 | 1613.832
26/10/2023 06:30 | 1739.619 | 1940.401 | 1537.708
26/10/2023 07:00 | 1629.315 | 1817.913 | 1439.495
26/10/2023 07:30 | 1477.873 | 1649.437 | 1304.959