## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
20/10/2023 08:00 | 1448.77 | 1474.764 | 1433.677
20/10/2023 08:30 | 1347.855 | 1370.903 | 1324.807 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
20/10/2023 09:00 | 1254.529 | 1279.71 | 1229.347 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
20/10/2023 09:30 | 1162.19 | 1188.973 | 1135.407 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
20/10/2023 10:00 | 1077.183 | 1105.209 | 1049.157 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
20/10/2023 10:30 | 1019.139 | 1060.365 | 1002.05 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
20/10/2023 11:00 | 963.8826 | 1007.888 | 950.8569 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
20/10/2023 11:30 | 911.3757 | 956.8797 | 900.996 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
20/10/2023 12:00 | 899.9041 | 938.5171 | 882.0037 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
20/10/2023 12:30 | 941.8986 | 976.5123 | 915.9432 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
20/10/2023 13:00 | 993.1486 | 1029.159 | 963.465 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
20/10/2023 13:30 | 1066.594 | 1105.908 | 1033.321
20/10/2023 14:00 | 1164.873 | 1208.115 | 1126.644 | Summary view - for each schedule horizon (dispatch, week-ahead)
20/10/2023 14:30 | 1295.579 | 1344.488 | 1251.405
20/10/2023 15:00 | 1460.177 | 1516.183 | 1408.493 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
20/10/2023 15:30 | 1658.263 | 1722.432 | 1597.01 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
20/10/2023 16:00 | 1853.356 | 1926.231 | 1782.527 | Scenario | Violations
20/10/2023 16:30 | 2026.599 | 2108.121 | 1947.087 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
20/10/2023 17:00 | 2174.542 | 2263.534 | 2086.599 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
20/10/2023 17:30 | 2276.468 | 2371.253 | 2181.684 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20/10/2023 18:00 | 2348.557 | 2448.604 | 2248.509 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20/10/2023 18:30 | 2363.591 | 2466.074 | 2261.107 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
20/10/2023 19:00 | 2310.262 | 2411.257 | 2209.267
20/10/2023 19:30 | 2256.466 | 2355.992 | 2156.939 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
20/10/2023 20:00 | 2202.735 | 2300.754 | 2104.717
20/10/2023 20:30 | 2142.132 | 2238.292 | 2045.972 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
20/10/2023 21:00 | 2077.255 | 2171.317 | 1983.194 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
20/10/2023 21:30 | 2016.899 | 2109.017 | 1924.782 | [36 empty] | 20/10/2023 08:30
20/10/2023 22:00 | 1952.712 | 2042.662 | 1862.762
20/10/2023 22:30 | 1893.49 | 1981.453 | 1805.527
20/10/2023 23:00 | 1845.861 | 1932.334 | 1759.388
20/10/2023 23:30 | 1796.238 | 1885.206 | 1707.27
21/10/2023 00:00 | 1744.94 | 1839.889 | 1649.99
21/10/2023 00:30 | 1717.842 | 1811.083 | 1624.6
21/10/2023 01:00 | 1700.414 | 1793.158 | 1607.671
21/10/2023 01:30 | 1689.88 | 1782.494 | 1597.266
21/10/2023 02:00 | 1681.926 | 1774.546 | 1589.305
21/10/2023 02:30 | 1676.455 | 1769.216 | 1583.694
21/10/2023 03:00 | 1676.127 | 1769.311 | 1582.943
21/10/2023 03:30 | 1683.036 | 1777.047 | 1589.024
21/10/2023 04:00 | 1694.967 | 1790.091 | 1599.843
21/10/2023 04:30 | 1705.264 | 1801.415 | 1609.113
21/10/2023 05:00 | 1705.462 | 1802.073 | 1608.851
21/10/2023 05:30 | 1687.275 | 1783.3 | 1591.25
21/10/2023 06:00 | 1663.692 | 1758.813 | 1568.571
21/10/2023 06:30 | 1665.308 | 1760.917 | 1569.699
21/10/2023 07:00 | 1683.05 | 1779.992 | 1586.109
21/10/2023 07:30 | 1699.314 | 1797.518 | 1601.111
21/10/2023 08:00 | 1721.144 | 1820.937 | 1621.35
21/10/2023 08:30 | 1743.626 | 1845.056 | 1642.196
21/10/2023 09:00 | 1748.417 | 1850.461 | 1646.374
21/10/2023 09:30 | 1718.894 | 1819.542 | 1618.245
21/10/2023 10:00 | 1716.701 | 1817.549 | 1615.853
21/10/2023 10:30 | 1747.965 | 1850.984 | 1644.946
21/10/2023 11:00 | 1740.219 | 1843.114 | 1637.324
21/10/2023 11:30 | 1701.282 | 1802.199 | 1600.364
21/10/2023 12:00 | 1694.535 | 1795.376 | 1593.694
21/10/2023 12:30 | 1716.315 | 1818.781 | 1613.85
21/10/2023 13:00 | 1735.237 | 1839.164 | 1631.311
21/10/2023 13:30 | 1767.345 | 1873.532 | 1661.158
21/10/2023 14:00 | 1825.498 | 1934.987 | 1715.469
21/10/2023 14:30 | 1934.345 | 2050.74 | 1817.385
21/10/2023 15:00 | 2035.146 | 2158 | 1911.702
21/10/2023 15:30 | 2117.666 | 2245.945 | 1988.812
21/10/2023 16:00 | 2208.295 | 2342.531 | 2073.505
21/10/2023 16:30 | 2283.811 | 2423.139 | 2143.975
21/10/2023 17:00 | 2335.503 | 2478.516 | 2192.056
21/10/2023 17:30 | 2363.946 | 2509.241 | 2218.3
21/10/2023 18:00 | 2376.3 | 2522.885 | 2229.439
21/10/2023 18:30 | 2360.527 | 2506.62 | 2214.19
21/10/2023 19:00 | 2295.619 | 2438.15 | 2152.867
21/10/2023 19:30 | 2233.234 | 2372.368 | 2093.935
21/10/2023 20:00 | 2180.527 | 2316.809 | 2044.099
21/10/2023 20:30 | 2118.875 | 2251.851 | 1986.024
21/10/2023 21:00 | 2059.527 | 2189.172 | 1929.998
21/10/2023 21:30 | 2005.285 | 2131.898 | 1878.778
21/10/2023 22:00 | 1946.595 | 2069.875 | 1823.416
21/10/2023 22:30 | 1895.415 | 2015.815 | 1775.101
21/10/2023 23:00 | 1854.137 | 1972.269 | 1736.077
21/10/2023 23:30 | 1816.678 | 1932.771 | 1700.641
22/10/2023 00:00 | 1785.167 | 1899.588 | 1670.786
22/10/2023 00:30 | 1756.943 | 1869.891 | 1644.025
22/10/2023 01:00 | 1736.72 | 1848.699 | 1624.764
22/10/2023 01:30 | 1720.74 | 1832.017 | 1609.484
22/10/2023 02:00 | 1708.892 | 1819.729 | 1598.054
22/10/2023 02:30 | 1700.875 | 1811.517 | 1590.232
22/10/2023 03:00 | 1696.633 | 1807.324 | 1585.942
22/10/2023 03:30 | 1697.446 | 1808.515 | 1586.378
22/10/2023 04:00 | 1702 | 1813.692 | 1590.309
22/10/2023 04:30 | 1698.297 | 1810.071 | 1586.524
22/10/2023 05:00 | 1690.172 | 1801.733 | 1578.611
22/10/2023 05:30 | 1672.607 | 1783.328 | 1561.885
22/10/2023 06:00 | 1619.036 | 1726.521 | 1511.551
22/10/2023 06:30 | 1580.414 | 1685.663 | 1475.164
22/10/2023 07:00 | 1509.797 | 1610.708 | 1408.885
22/10/2023 07:30 | 1352.5 | 1443.222 | 1261.779
22/10/2023 08:00 | 1200.523 | 1281.337 | 1119.709
22/10/2023 08:30 | 1050.078 | 1121.016 | 979.1409
22/10/2023 09:00 | 970.4373 | 1036.227 | 904.6481
22/10/2023 09:30 | 948.8326 | 1013.384 | 884.2815
22/10/2023 10:00 | 949.5646 | 1013.939 | 884.7368
22/10/2023 10:30 | 1015.367 | 1084.445 | 945.8046
22/10/2023 11:00 | 1065.48 | 1138.222 | 992.2297
22/10/2023 11:30 | 1043.417 | 1114.902 | 971.4345
22/10/2023 12:00 | 1037.073 | 1108.371 | 965.2799
22/10/2023 12:30 | 1112.052 | 1188.77 | 1034.802
22/10/2023 13:00 | 1170.651 | 1251.692 | 1089.052
22/10/2023 13:30 | 1219.577 | 1304.296 | 1134.276
22/10/2023 14:00 | 1308.481 | 1399.688 | 1216.649
22/10/2023 14:30 | 1369.164 | 1464.928 | 1272.746
22/10/2023 15:00 | 1469.954 | 1573.119 | 1366.088
22/10/2023 15:30 | 1636.62 | 1751.872 | 1520.586
22/10/2023 16:00 | 1808.557 | 1936.349 | 1679.901
22/10/2023 16:30 | 1951.65 | 2090.019 | 1812.348
22/10/2023 17:00 | 2081.604 | 2229.684 | 1932.529
22/10/2023 17:30 | 2190.941 | 2347.323 | 2033.513
22/10/2023 18:00 | 2261.614 | 2423.58 | 2098.567
22/10/2023 18:30 | 2280.768 | 2444.651 | 2115.796
22/10/2023 19:00 | 2243.5 | 2405.241 | 2080.688
22/10/2023 19:30 | 2192.734 | 2351.339 | 2033.082
22/10/2023 20:00 | 2139.189 | 2294.432 | 1982.924
22/10/2023 20:30 | 2074.363 | 2225.396 | 1922.338
22/10/2023 21:00 | 1999.352 | 2145.402 | 1852.347
22/10/2023 21:30 | 1925.71 | 2066.841 | 1783.66
22/10/2023 22:00 | 1857.607 | 1994.19 | 1720.137
22/10/2023 22:30 | 1801.228 | 1934.095 | 1667.499
22/10/2023 23:00 | 1759.83 | 1890.065 | 1628.755
22/10/2023 23:30 | 1731.568 | 1856 | 1606.333
23/10/2023 00:00 | 1715.653 | 1831.246 | 1599.314
23/10/2023 00:30 | 1692.794 | 1807.903 | 1577.685
23/10/2023 01:00 | 1678.408 | 1792.906 | 1563.911
23/10/2023 01:30 | 1672.975 | 1787.467 | 1558.483
23/10/2023 02:00 | 1669.48 | 1784.098 | 1554.862
23/10/2023 02:30 | 1671.097 | 1786.192 | 1556.003
23/10/2023 03:00 | 1678.045 | 1793.984 | 1562.106
23/10/2023 03:30 | 1695.547 | 1813.066 | 1578.028
23/10/2023 04:00 | 1734.212 | 1854.79 | 1613.634
23/10/2023 04:30 | 1785.596 | 1910.136 | 1661.055
23/10/2023 05:00 | 1855.774 | 1985.615 | 1725.933
23/10/2023 05:30 | 1922.731 | 2057.676 | 1787.785
23/10/2023 06:00 | 1916.06 | 2050.956 | 1781.164
23/10/2023 06:30 | 1868.603 | 2000.566 | 1736.64
23/10/2023 07:00 | 1764.457 | 1889.451 | 1639.464
23/10/2023 07:30 | 1578.221 | 1690.367 | 1466.076
23/10/2023 08:00 | 1400.499 | 1500.321 | 1300.676
23/10/2023 08:30 | 1250.407 | 1339.805 | 1161.009
23/10/2023 09:00 | 1163.56 | 1247.004 | 1080.117
23/10/2023 09:30 | 1157.528 | 1240.791 | 1074.264
23/10/2023 10:00 | 1199.852 | 1286.422 | 1113.282
23/10/2023 10:30 | 1305.083 | 1399.531 | 1210.635
23/10/2023 11:00 | 1328.124 | 1424.529 | 1231.719
23/10/2023 11:30 | 1289.369 | 1383.243 | 1195.495
23/10/2023 12:00 | 1282.596 | 1376.257 | 1188.935
23/10/2023 12:30 | 1314.95 | 1411.261 | 1218.639
23/10/2023 13:00 | 1361.273 | 1461.274 | 1261.271
23/10/2023 13:30 | 1510.628 | 1621.932 | 1399.325
23/10/2023 14:00 | 1639.068 | 1760.192 | 1517.943
23/10/2023 14:30 | 1677.559 | 1801.894 | 1553.223
23/10/2023 15:00 | 1756.479 | 1887.048 | 1625.911
23/10/2023 15:30 | 1872.416 | 2012.012 | 1732.82
23/10/2023 16:00 | 1989.459 | 2138.216 | 1840.702
23/10/2023 16:30 | 2114.191 | 2272.736 | 1955.646
23/10/2023 17:00 | 2245.676 | 2414.572 | 2076.78
23/10/2023 17:30 | 2345.347 | 2522.251 | 2168.442
23/10/2023 18:00 | 2404.491 | 2586.382 | 2222.6
23/10/2023 18:30 | 2421.444 | 2605.147 | 2237.742
23/10/2023 19:00 | 2383.48 | 2564.823 | 2202.136
23/10/2023 19:30 | 2312.673 | 2489.134 | 2136.212
23/10/2023 20:00 | 2241.341 | 2412.849 | 2069.833
23/10/2023 20:30 | 2159.202 | 2324.896 | 1993.507
23/10/2023 21:00 | 2072.368 | 2231.852 | 1912.885
23/10/2023 21:30 | 1991.792 | 2145.51 | 1838.074
23/10/2023 22:00 | 1915.576 | 2063.831 | 1767.321
23/10/2023 22:30 | 1849.572 | 1993.122 | 1706.022
23/10/2023 23:00 | 1798.391 | 1938.363 | 1658.421
23/10/2023 23:30 | 1751.94 | 1888.679 | 1615.202
24/10/2023 00:00 | 1711.135 | 1845.063 | 1577.208
24/10/2023 00:30 | 1684.387 | 1816.589 | 1552.185
24/10/2023 01:00 | 1670.83 | 1802.333 | 1539.327
24/10/2023 01:30 | 1664.698 | 1796.081 | 1533.313
24/10/2023 02:00 | 1661.156 | 1792.624 | 1529.689
24/10/2023 02:30 | 1662.199 | 1794.112 | 1530.286
24/10/2023 03:00 | 1669.635 | 1802.503 | 1536.767
24/10/2023 03:30 | 1686.203 | 1820.758 | 1551.648
24/10/2023 04:00 | 1721.294 | 1859.025 | 1583.563
24/10/2023 04:30 | 1770.434 | 1912.484 | 1628.384
24/10/2023 05:00 | 1814.486 | 1960.467 | 1668.505
24/10/2023 05:30 | 1829.586 | 1977.182 | 1681.991
24/10/2023 06:00 | 1785.676 | 1930.119 | 1641.232
24/10/2023 06:30 | 1690.737 | 1827.87 | 1553.604
24/10/2023 07:00 | 1568.167 | 1695.701 | 1440.633
24/10/2023 07:30 | 1402.758 | 1517.133 | 1288.383
24/10/2023 08:00 | 1226.998 | 1327.275 | 1126.72
24/10/2023 08:30 | 1080.834 | 1169.373 | 992.2943
24/10/2023 09:00 | 997.8954 | 1079.832 | 915.9589
24/10/2023 09:30 | 964.7722 | 1044.174 | 885.3706
24/10/2023 10:00 | 931.9381 | 1008.816 | 855.0601
24/10/2023 10:30 | 900.7866 | 975.2675 | 826.3057
24/10/2023 11:00 | 924.1243 | 1000.712 | 847.5366
24/10/2023 11:30 | 988.2058 | 1070.294 | 906.1179
24/10/2023 12:00 | 1045.702 | 1132.766 | 958.6378
24/10/2023 12:30 | 1135.41 | 1230.161 | 1040.659
24/10/2023 13:00 | 1229.693 | 1332.548 | 1126.838
24/10/2023 13:30 | 1366.019 | 1480.539 | 1251.5
24/10/2023 14:00 | 1437.749 | 1558.557 | 1316.941
24/10/2023 14:30 | 1448.749 | 1570.759 | 1326.739
24/10/2023 15:00 | 1585.904 | 1719.769 | 1452.039
24/10/2023 15:30 | 1789.712 | 1941.123 | 1638.301
24/10/2023 16:00 | 1970.69 | 2137.79 | 1803.59
24/10/2023 16:30 | 2123.606 | 2304.079 | 1943.133
24/10/2023 17:00 | 2249.716 | 2441.338 | 2058.095
24/10/2023 17:30 | 2330.145 | 2529.064 | 2131.227
24/10/2023 18:00 | 2388.625 | 2592.994 | 2184.256
24/10/2023 18:30 | 2397.124 | 2602.68 | 2191.569
24/10/2023 19:00 | 2344.241 | 2545.711 | 2142.771
24/10/2023 19:30 | 2278.853 | 2475.14 | 2082.566
24/10/2023 20:00 | 2211.95 | 2402.899 | 2021.002
24/10/2023 20:30 | 2135.874 | 2320.664 | 1951.083
24/10/2023 21:00 | 2057.777 | 2236.205 | 1879.349
24/10/2023 21:30 | 1986.912 | 2159.576 | 1814.248
24/10/2023 22:00 | 1917.123 | 2084.09 | 1750.156
24/10/2023 22:30 | 1858.687 | 2020.921 | 1696.453
24/10/2023 23:00 | 1817.355 | 1976.33 | 1658.38
24/10/2023 23:30 | 1786.12 | 1942.704 | 1629.535
25/10/2023 00:00 | 1760.641 | 1915.33 | 1605.953
25/10/2023 00:30 | 1740.719 | 1893.991 | 1587.447
25/10/2023 01:00 | 1730.62 | 1883.335 | 1577.906
25/10/2023 01:30 | 1720.868 | 1873.052 | 1568.685
25/10/2023 02:00 | 1712.509 | 1864.282 | 1560.737
25/10/2023 02:30 | 1711.651 | 1863.676 | 1559.627
25/10/2023 03:00 | 1716.45 | 1869.23 | 1563.67
25/10/2023 03:30 | 1731.121 | 1885.539 | 1576.704
25/10/2023 04:00 | 1763.473 | 1921.115 | 1605.832
25/10/2023 04:30 | 1815.37 | 1977.998 | 1652.742
25/10/2023 05:00 | 1854.602 | 2021.1 | 1688.104
25/10/2023 05:30 | 1860.815 | 2028.228 | 1693.402
25/10/2023 06:00 | 1832.553 | 1997.774 | 1667.331
25/10/2023 06:30 | 1751.805 | 1910.082 | 1593.528
25/10/2023 07:00 | 1640.645 | 1789.193 | 1492.096
25/10/2023 07:30 | 1483.802 | 1618.433 | 1349.17
25/10/2023 08:00 | 1332.013 | 1453.127 | 1210.898
25/10/2023 08:30 | 1215.016 | 1325.725 | 1104.306
25/10/2023 09:00 | 1129.736 | 1232.891 | 1026.581
25/10/2023 09:30 | 1067.647 | 1165.337 | 969.9562
25/10/2023 10:00 | 1029.877 | 1124.308 | 935.4447
25/10/2023 10:30 | 1037.975 | 1133.348 | 942.6016
25/10/2023 11:00 | 1061.873 | 1159.645 | 964.0998
25/10/2023 11:30 | 1081.848 | 1181.667 | 982.0282
25/10/2023 12:00 | 1112.238 | 1215.074 | 1009.401
25/10/2023 12:30 | 1160.639 | 1268.173 | 1053.105
25/10/2023 13:00 | 1234.356 | 1348.957 | 1119.755
25/10/2023 13:30 | 1350.794 | 1476.464 | 1225.124
25/10/2023 14:00 | 1466.635 | 1603.363 | 1329.906
25/10/2023 14:30 | 1598.824 | 1748.182 | 1449.466
25/10/2023 15:00 | 1772.184 | 1938.077 | 1606.292
25/10/2023 15:30 | 1962.118 | 2146.167 | 1778.07
25/10/2023 16:00 | 2125.397 | 2325.169 | 1925.626
25/10/2023 16:30 | 2268.729 | 2482.408 | 2055.051
25/10/2023 17:00 | 2386.713 | 2611.96 | 2161.465
25/10/2023 17:30 | 2453.016 | 2684.991 | 2221.04
25/10/2023 18:00 | 2495.553 | 2732.029 | 2259.076
25/10/2023 18:30 | 2491.587 | 2728.166 | 2255.009
25/10/2023 19:00 | 2426.127 | 2656.954 | 2195.299
25/10/2023 19:30 | 2352.324 | 2576.581 | 2128.068
25/10/2023 20:00 | 2279.12 | 2496.835 | 2061.406
25/10/2023 20:30 | 2197.47 | 2407.806 | 1987.134
25/10/2023 21:00 | 2112.846 | 2315.488 | 1910.205
25/10/2023 21:30 | 2038.181 | 2234.052 | 1842.311
25/10/2023 22:00 | 1965.392 | 2154.645 | 1776.14
25/10/2023 22:30 | 1908.212 | 2092.324 | 1724.1
25/10/2023 23:00 | 1873.354 | 2054.462 | 1692.246
25/10/2023 23:30 | 1842.712 | 2021.211 | 1664.213
26/10/2023 00:00 | 1821.754 | 1998.572 | 1644.936
26/10/2023 00:30 | 1801.325 | 1976.505 | 1626.145
26/10/2023 01:00 | 1785.58 | 1959.572 | 1611.589
26/10/2023 01:30 | 1770.795 | 1943.685 | 1597.905
26/10/2023 02:00 | 1761.509 | 1933.83 | 1589.188
26/10/2023 02:30 | 1756.335 | 1928.486 | 1584.184
26/10/2023 03:00 | 1756.98 | 1929.531 | 1584.429
26/10/2023 03:30 | 1767.766 | 1941.716 | 1593.817
26/10/2023 04:00 | 1798.109 | 1975.389 | 1620.829
26/10/2023 04:30 | 1844.675 | 2026.899 | 1662.451
26/10/2023 05:00 | 1875.281 | 2060.889 | 1689.674
26/10/2023 05:30 | 1871.832 | 2057.456 | 1686.207
26/10/2023 06:00 | 1829.213 | 2010.961 | 1647.464
26/10/2023 06:30 | 1744.543 | 1918.214 | 1570.873
26/10/2023 07:00 | 1638.303 | 1801.711 | 1474.894
26/10/2023 07:30 | 1490.704 | 1639.752 | 1341.655
26/10/2023 08:00 | 1340.258 | 1474.725 | 1205.791
26/10/2023 08:30 | 1197.604 | 1318.16 | 1077.047
26/10/2023 09:00 | 1102.822 | 1214.207 | 991.4371
26/10/2023 09:30 | 1039.758 | 1145.122 | 934.3945
26/10/2023 10:00 | 994.8428 | 1095.989 | 893.6968
26/10/2023 10:30 | 997.5499 | 1099.306 | 895.7942
26/10/2023 11:00 | 1001.147 | 1103.606 | 898.6888
26/10/2023 11:30 | 1008.53 | 1112.082 | 904.9782
26/10/2023 12:00 | 1015.146 | 1119.718 | 910.5746
26/10/2023 12:30 | 1032.386 | 1139.08 | 925.692
26/10/2023 13:00 | 1090.626 | 1203.704 | 977.5474
26/10/2023 13:30 | 1201.624 | 1326.614 | 1076.635
26/10/2023 14:00 | 1319.989 | 1457.733 | 1182.244
26/10/2023 14:30 | 1454.082 | 1606.307 | 1301.857
26/10/2023 15:00 | 1602.043 | 1770.295 | 1433.791
26/10/2023 15:30 | 1769.522 | 1955.957 | 1583.088
26/10/2023 16:00 | 1933.221 | 2137.55 | 1728.891
26/10/2023 16:30 | 2094.08 | 2316.114 | 1872.047
26/10/2023 17:00 | 2236.434 | 2474.311 | 1998.557
26/10/2023 17:30 | 2339.219 | 2588.813 | 2089.625
26/10/2023 18:00 | 2401.013 | 2658.006 | 2144.021
26/10/2023 18:30 | 2416.556 | 2676.022 | 2157.089
26/10/2023 19:00 | 2368.979 | 2624.131 | 2113.826
26/10/2023 19:30 | 2303.203 | 2552.043 | 2054.363
26/10/2023 20:00 | 2239.204 | 2481.88 | 1996.527
26/10/2023 20:30 | 2164.078 | 2399.338 | 1928.817
26/10/2023 21:00 | 2077.11 | 2303.612 | 1850.607
26/10/2023 21:30 | 2005.313 | 2224.658 | 1785.968
26/10/2023 22:00 | 1936.411 | 2148.869 | 1723.953
26/10/2023 22:30 | 1876.495 | 2083.008 | 1669.982
26/10/2023 23:00 | 1835.234 | 2037.822 | 1632.646
26/10/2023 23:30 | 1802.511 | 2002.091 | 1602.931
27/10/2023 00:00 | 1776.897 | 1974.236 | 1579.557
27/10/2023 00:30 | 1752.942 | 1948.209 | 1557.675
27/10/2023 01:00 | 1735.521 | 1929.429 | 1541.612
27/10/2023 01:30 | 1724.675 | 1917.95 | 1531.401
27/10/2023 02:00 | 1718.064 | 1911.175 | 1524.954
27/10/2023 02:30 | 1715.734 | 1909.157 | 1522.31
27/10/2023 03:00 | 1716.232 | 1910.287 | 1522.177
27/10/2023 03:30 | 1726.731 | 1922.552 | 1530.91
27/10/2023 04:00 | 1759.002 | 1959.072 | 1558.931
27/10/2023 04:30 | 1803.833 | 2009.608 | 1598.059
27/10/2023 05:00 | 1831.887 | 2041.476 | 1622.298
27/10/2023 05:30 | 1831.695 | 2041.876 | 1621.514
27/10/2023 06:00 | 1787.506 | 1993.216 | 1581.796
27/10/2023 06:30 | 1696.198 | 1891.968 | 1500.427
27/10/2023 07:00 | 1578.522 | 1761.24 | 1395.803
27/10/2023 07:30 | 1415.116 | 1579.394 | 1250.838