## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
21/10/2023 08:00 | 1649.8 | 1709.625 | 1616.897
21/10/2023 08:30 | 1604.166 | 1621.874 | 1571.046 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
21/10/2023 09:00 | 1564.94 | 1549.705 | 1526.647 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
21/10/2023 09:30 | 1556.278 | 1432.116 | 1512.248 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
21/10/2023 10:00 | 1578.872 | 1312.47 | 1528.166 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
21/10/2023 10:30 | 1636.777 | 1210.762 | 1596.78 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
21/10/2023 11:00 | 1665.423 | 1103.664 | 1615.655 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
21/10/2023 11:30 | 1668.244 | 1009.85 | 1609.641 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
21/10/2023 12:00 | 1683.855 | 936.0017 | 1617.458 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
21/10/2023 12:30 | 1702.284 | 936.0552 | 1633.805 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
21/10/2023 13:00 | 1735.462 | 969.4356 | 1663.861 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
21/10/2023 13:30 | 1788.417 | 1040.068 | 1712.863
21/10/2023 14:00 | 1842.582 | 1132.909 | 1763.757 | Summary view - for each schedule horizon (dispatch, week-ahead)
21/10/2023 14:30 | 1906.432 | 1271.518 | 1823.287
21/10/2023 15:00 | 1989.015 | 1451.343 | 1900.003 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
21/10/2023 15:30 | 2101.291 | 1661.341 | 2005.33 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
21/10/2023 16:00 | 2206.378 | 1879.574 | 2103.205 | Scenario | Violations
21/10/2023 16:30 | 2281.081 | 2091.861 | 2172.187 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
21/10/2023 17:00 | 2338.056 | 2285.569 | 2224.812 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
21/10/2023 17:30 | 2373.786 | 2425.805 | 2256.848 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21/10/2023 18:00 | 2389.933 | 2521.878 | 2269.476 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 9 | 0 | 1
21/10/2023 18:30 | 2374.8 | 2541.232 | 2253.29 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21/10/2023 19:00 | 2310.099 | 2477.26 | 2191.401
21/10/2023 19:30 | 2248.14 | 2410.312 | 2132.033 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
21/10/2023 20:00 | 2194.671 | 2342.047 | 2080.748
21/10/2023 20:30 | 2133.901 | 2262.522 | 2022.571 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
21/10/2023 21:00 | 2074.378 | 2176.016 | 1965.607 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
21/10/2023 21:30 | 2018.159 | 2094.401 | 1911.805 | [21 empty] | 22/10/2023 10:00 | 22/10/2023 10:00 |  | 19/10/2023 12:00
21/10/2023 22:00 | 1958.099 | 2017.266 | 1854.394 | [21 empty] | 22/10/2023 10:30 | 22/10/2023 10:30
21/10/2023 22:30 | 1905.384 | 1953.804 | 1803.97 | [21 empty] | 22/10/2023 11:00 | 22/10/2023 11:00
21/10/2023 23:00 | 1862.494 | 1908.974 | 1762.871 | [21 empty] | 22/10/2023 11:30 | 22/10/2023 11:30
21/10/2023 23:30 | 1823.579 | 1868.452 | 1725.558 | [21 empty] | 22/10/2023 12:00 | 22/10/2023 12:00
22/10/2023 00:00 | 1790.592 | 1837.432 | 1693.872 | [21 empty] | 22/10/2023 12:30 | 22/10/2023 12:30
22/10/2023 00:30 | 1761.822 | 1814.111 | 1666.193 | [21 empty] | 22/10/2023 13:00 | 22/10/2023 13:00
22/10/2023 01:00 | 1741.172 | 1798.271 | 1646.206 | [21 empty] | 23/10/2023 11:30 | 23/10/2023 11:30
22/10/2023 01:30 | 1724.765 | 1789.547 | 1630.239 | [21 empty] | 23/10/2023 12:00 | 23/10/2023 12:00
22/10/2023 02:00 | 1712.632 | 1784.752 | 1618.32
22/10/2023 02:30 | 1704.16 | 1784.508 | 1609.866
22/10/2023 03:00 | 1699.774 | 1791.399 | 1605.275
22/10/2023 03:30 | 1700.779 | 1808.901 | 1605.777
22/10/2023 04:00 | 1705.636 | 1848.533 | 1609.914
22/10/2023 04:30 | 1702.198 | 1909.056 | 1606.22
22/10/2023 05:00 | 1686.895 | 1958.833 | 1591.335
22/10/2023 05:30 | 1664.373 | 1977.727 | 1569.651
22/10/2023 06:00 | 1616.291 | 1946.464 | 1523.88
22/10/2023 06:30 | 1565.78 | 1855.106 | 1475.885
22/10/2023 07:00 | 1502.034 | 1730.911 | 1415.519
22/10/2023 07:30 | 1389.291 | 1563.856 | 1309.004
22/10/2023 08:00 | 1288.501 | 1402.936 | 1213.792
22/10/2023 08:30 | 1198.918 | 1265.076 | 1129.174
22/10/2023 09:00 | 1162.626 | 1164.965 | 1094.771
22/10/2023 09:30 | 1176.896 | 1089.858 | 1107.984
22/10/2023 10:00 | 1167.16 | 1019.653 | 1098.594
22/10/2023 10:30 | 1137.604 | 985.3336 | 1070.558
22/10/2023 11:00 | 1127.342 | 965.3729 | 1060.685
22/10/2023 11:30 | 1119.949 | 955.0743 | 1053.515
22/10/2023 12:00 | 1110.37 | 952.598 | 1044.292
22/10/2023 12:30 | 1146.387 | 961.741 | 1077.947
22/10/2023 13:00 | 1179.24 | 1001.489 | 1108.613
22/10/2023 13:30 | 1155.609 | 1082.698 | 1086.177
22/10/2023 14:00 | 1157.085 | 1183.754 | 1087.343
22/10/2023 14:30 | 1212.722 | 1327.516 | 1139.395
22/10/2023 15:00 | 1324.891 | 1497.189 | 1244.529
22/10/2023 15:30 | 1546.04 | 1703.591 | 1451.968
22/10/2023 16:00 | 1764.687 | 1916.622 | 1656.974
22/10/2023 16:30 | 1933.666 | 2128.429 | 1815.269
22/10/2023 17:00 | 2085.907 | 2322.214 | 1957.791
22/10/2023 17:30 | 2206.651 | 2467.89 | 2070.697
22/10/2023 18:00 | 2285.188 | 2559.747 | 2143.958
22/10/2023 18:30 | 2294.201 | 2575.449 | 2151.975
22/10/2023 19:00 | 2236.428 | 2513.253 | 2097.357
22/10/2023 19:30 | 2185.377 | 2451.746 | 2049.063
22/10/2023 20:00 | 2131.682 | 2385.524 | 1998.309
22/10/2023 20:30 | 2066.388 | 2303.427 | 1936.707
22/10/2023 21:00 | 1992.625 | 2210.455 | 1867.191
22/10/2023 21:30 | 1920.679 | 2131.064 | 1799.407
22/10/2023 22:00 | 1853.323 | 2054.949 | 1735.95
22/10/2023 22:30 | 1798.039 | 1988.138 | 1683.824
22/10/2023 23:00 | 1757.539 | 1937.997 | 1645.561
22/10/2023 23:30 | 1730.692 | 1896.502 | 1623.593
23/10/2023 00:00 | 1715.751 | 1862.871 | 1616.136
23/10/2023 00:30 | 1692.642 | 1836.272 | 1593.508
23/10/2023 01:00 | 1678.247 | 1818.167 | 1579.679
23/10/2023 01:30 | 1672.515 | 1809.341 | 1574.008
23/10/2023 02:00 | 1668.455 | 1804.193 | 1569.911
23/10/2023 02:30 | 1670.764 | 1803.836 | 1571.809
23/10/2023 03:00 | 1676.668 | 1807.465 | 1577.045
23/10/2023 03:30 | 1692.931 | 1822.673 | 1592.063
23/10/2023 04:00 | 1731.42 | 1860.949 | 1627.974
23/10/2023 04:30 | 1784.869 | 1917.192 | 1677.936
23/10/2023 05:00 | 1845.499 | 1963.151 | 1734.63
23/10/2023 05:30 | 1908.799 | 1981.519 | 1793.812
23/10/2023 06:00 | 1931.39 | 1946.63 | 1814.722
23/10/2023 06:30 | 1912.822 | 1850.645 | 1796.922
23/10/2023 07:00 | 1829.567 | 1728.31 | 1718.304
23/10/2023 07:30 | 1637.214 | 1571.003 | 1537.307
23/10/2023 08:00 | 1437.533 | 1402.685 | 1349.52
23/10/2023 08:30 | 1259.396 | 1233.269 | 1182.013
23/10/2023 09:00 | 1147.506 | 1121.988 | 1076.747
23/10/2023 09:30 | 1125.729 | 1042.159 | 1056.067
23/10/2023 10:00 | 1073.682 | 976.8254 | 1007.006
23/10/2023 10:30 | 957.5533 | 972.2997 | 897.8797
23/10/2023 11:00 | 874.3404 | 981.2205 | 819.6615
23/10/2023 11:30 | 854.9048 | 971.0736 | 801.2546
23/10/2023 12:00 | 844.1849 | 976.1291 | 791.023
23/10/2023 12:30 | 862.0461 | 1012.421 | 807.571
23/10/2023 13:00 | 873.9616 | 1047.931 | 818.5426
23/10/2023 13:30 | 930.2097 | 1115.328 | 871.0207
23/10/2023 14:00 | 1016.603 | 1217.597 | 951.6942
23/10/2023 14:30 | 1146.384 | 1361.802 | 1072.939
23/10/2023 15:00 | 1308.849 | 1577.218 | 1224.709
23/10/2023 15:30 | 1523.989 | 1860.252 | 1425.686
23/10/2023 16:00 | 1746.64 | 2096.06 | 1633.593
23/10/2023 16:30 | 1969.759 | 2244.153 | 1841.842
23/10/2023 17:00 | 2181.846 | 2364.285 | 2039.678
23/10/2023 17:30 | 2340.899 | 2456.227 | 2187.857
23/10/2023 18:00 | 2438.911 | 2527.168 | 2278.928
23/10/2023 18:30 | 2455.545 | 2538.396 | 2293.935
23/10/2023 19:00 | 2396.549 | 2476.507 | 2238.298
23/10/2023 19:30 | 2328.808 | 2422.964 | 2174.521
23/10/2023 20:00 | 2256.508 | 2366.527 | 2106.518
23/10/2023 20:30 | 2177.115 | 2304.184 | 2031.926
23/10/2023 21:00 | 2090.323 | 2236.407 | 1950.466
23/10/2023 21:30 | 2007.231 | 2172.234 | 1872.495
23/10/2023 22:00 | 1928.966 | 2101.83 | 1799.062
23/10/2023 22:30 | 1860.459 | 2035.754 | 1734.762
23/10/2023 23:00 | 1807.501 | 1983.082 | 1684.987
23/10/2023 23:30 | 1757.975 | 1937.378 | 1638.434
24/10/2023 00:00 | 1714.453 | 1893.062 | 1597.497
24/10/2023 00:30 | 1686.028 | 1862.728 | 1570.642
24/10/2023 01:00 | 1671.51 | 1843.421 | 1556.753
24/10/2023 01:30 | 1665.795 | 1832.236 | 1551.066
24/10/2023 02:00 | 1662.162 | 1824.564 | 1547.32
24/10/2023 02:30 | 1663.16 | 1818.359 | 1547.886
24/10/2023 03:00 | 1670.999 | 1816.343 | 1555.547
24/10/2023 03:30 | 1687.975 | 1823.595 | 1570.981
24/10/2023 04:00 | 1723.262 | 1837.197 | 1603.446
24/10/2023 04:30 | 1772.363 | 1847.57 | 1648.746
24/10/2023 05:00 | 1816.55 | 1861.066 | 1689.454
24/10/2023 05:30 | 1830.438 | 1871.761 | 1701.97
24/10/2023 06:00 | 1783.329 | 1850.579 | 1657.778
24/10/2023 06:30 | 1686.83 | 1822.938 | 1567.704
24/10/2023 07:00 | 1563.926 | 1752.839 | 1453.138
24/10/2023 07:30 | 1399.877 | 1587.9 | 1300.404
24/10/2023 08:00 | 1225.498 | 1430.73 | 1138.149
24/10/2023 08:30 | 1077.058 | 1309.72 | 1000.053
24/10/2023 09:00 | 988.7798 | 1256.603 | 917.8707
24/10/2023 09:30 | 944.8386 | 1264.647 | 876.8744
24/10/2023 10:00 | 919.2966 | 1265.087 | 852.9688
24/10/2023 10:30 | 925.7738 | 1244.432 | 858.7764
24/10/2023 11:00 | 955.2291 | 1273.316 | 885.8914
24/10/2023 11:30 | 993.566 | 1324.629 | 921.2283
24/10/2023 12:00 | 1039.326 | 1422.145 | 963.4296
24/10/2023 12:30 | 1131.841 | 1603.401 | 1048.941
24/10/2023 13:00 | 1226.218 | 1726.812 | 1136.138
24/10/2023 13:30 | 1352.008 | 1868.142 | 1252.392
24/10/2023 14:00 | 1439.377 | 1980.782 | 1333.009
24/10/2023 14:30 | 1473.184 | 1998.272 | 1363.996
24/10/2023 15:00 | 1590.156 | 2081.258 | 1471.951
24/10/2023 15:30 | 1746.053 | 2181.358 | 1615.878
24/10/2023 16:00 | 1899.565 | 2286.322 | 1757.53
24/10/2023 16:30 | 2059.992 | 2381.278 | 1905.512
24/10/2023 17:00 | 2211.572 | 2436.84 | 2045.241
24/10/2023 17:30 | 2315.788 | 2469.842 | 2141.113
24/10/2023 18:00 | 2380.24 | 2492.988 | 2200.183
24/10/2023 18:30 | 2390.507 | 2502.574 | 2209.151
24/10/2023 19:00 | 2342.476 | 2469.19 | 2164.252
24/10/2023 19:30 | 2277.026 | 2406.714 | 2103.284
24/10/2023 20:00 | 2209.979 | 2353.399 | 2040.87
24/10/2023 20:30 | 2132.987 | 2297.606 | 1969.304
24/10/2023 21:00 | 2053.898 | 2241.671 | 1895.836
24/10/2023 21:30 | 1981.749 | 2186.838 | 1828.806
24/10/2023 22:00 | 1911.482 | 2126.111 | 1763.544
24/10/2023 22:30 | 1851.979 | 2076.673 | 1708.242
24/10/2023 23:00 | 1807.957 | 2040.357 | 1667.242
24/10/2023 23:30 | 1772.505 | 2011.048 | 1634.161
25/10/2023 00:00 | 1742.372 | 1986.964 | 1606
25/10/2023 00:30 | 1720.645 | 1960.771 | 1585.597
25/10/2023 01:00 | 1710.096 | 1941.861 | 1575.502
25/10/2023 01:30 | 1700.905 | 1923.297 | 1566.664
25/10/2023 02:00 | 1693.092 | 1909.314 | 1559.097
25/10/2023 02:30 | 1692.69 | 1899.96 | 1558.357
25/10/2023 03:00 | 1698.598 | 1893.14 | 1563.425
25/10/2023 03:30 | 1713.696 | 1890.74 | 1576.947
25/10/2023 04:00 | 1745.854 | 1892.176 | 1606.157
25/10/2023 04:30 | 1797.242 | 1886.301 | 1653.041
25/10/2023 05:00 | 1839.211 | 1872.006 | 1691.241
25/10/2023 05:30 | 1848.269 | 1837.724 | 1699.166
25/10/2023 06:00 | 1818.825 | 1751.96 | 1671.701
25/10/2023 06:30 | 1739.438 | 1652.143 | 1598.354
25/10/2023 07:00 | 1627.011 | 1526.949 | 1494.692
25/10/2023 07:30 | 1469.95 | 1344.833 | 1350.097
25/10/2023 08:00 | 1314.007 | 1187.624 | 1206.618
25/10/2023 08:30 | 1187.58 | 1039.399 | 1090.297
25/10/2023 09:00 | 1102.699 | 940.11 | 1012.158
25/10/2023 09:30 | 1055.622 | 876.3913 | 968.7437
25/10/2023 10:00 | 1028.853 | 817.7811 | 943.9799
25/10/2023 10:30 | 1034.902 | 790.6981 | 949.3315
25/10/2023 11:00 | 1060.489 | 810.5621 | 972.5999
25/10/2023 11:30 | 1084.472 | 832.774 | 994.3879
25/10/2023 12:00 | 1123.525 | 816.5388 | 1029.981
25/10/2023 12:30 | 1180.834 | 809.3123 | 1082.293
25/10/2023 13:00 | 1257.736 | 852.1442 | 1152.536
25/10/2023 13:30 | 1380.616 | 964.1302 | 1264.874
25/10/2023 14:00 | 1503.349 | 1114.717 | 1377.029
25/10/2023 14:30 | 1649.711 | 1245.874 | 1510.776
25/10/2023 15:00 | 1831.424 | 1411.062 | 1676.835
25/10/2023 15:30 | 2022.883 | 1634.034 | 1851.745
25/10/2023 16:00 | 2185.71 | 1867.191 | 2000.378
25/10/2023 16:30 | 2326.808 | 2074.878 | 2129.066
25/10/2023 17:00 | 2443.663 | 2256.745 | 2235.522
25/10/2023 17:30 | 2507.259 | 2397.485 | 2293.221
25/10/2023 18:00 | 2545.527 | 2487.038 | 2327.734
25/10/2023 18:30 | 2538.832 | 2503.949 | 2321.125
25/10/2023 19:00 | 2470.016 | 2454.239 | 2257.737
25/10/2023 19:30 | 2394.648 | 2398.77 | 2188.387
25/10/2023 20:00 | 2319.626 | 2339.24 | 2119.382
25/10/2023 20:30 | 2234.133 | 2273.746 | 2040.841
25/10/2023 21:00 | 2146.403 | 2194.464 | 1960.29
25/10/2023 21:30 | 2069.677 | 2116.697 | 1889.82
25/10/2023 22:00 | 1994.569 | 2044.588 | 1820.857
25/10/2023 22:30 | 1934.258 | 1985.453 | 1765.428
25/10/2023 23:00 | 1896.103 | 1946.843 | 1730.24
25/10/2023 23:30 | 1863.053 | 1920.846 | 1699.724
26/10/2023 00:00 | 1839.204 | 1905.468 | 1677.613
26/10/2023 00:30 | 1816.7 | 1882.237 | 1656.738
26/10/2023 01:00 | 1799.535 | 1867.235 | 1640.739
26/10/2023 01:30 | 1783.878 | 1858.922 | 1626.122
26/10/2023 02:00 | 1774.125 | 1852.339 | 1616.892
26/10/2023 02:30 | 1768.734 | 1854.402 | 1611.64
26/10/2023 03:00 | 1769.144 | 1859.044 | 1611.674
26/10/2023 03:30 | 1779.326 | 1874.319 | 1620.609
26/10/2023 04:00 | 1809.293 | 1914.005 | 1647.555
26/10/2023 04:30 | 1854.585 | 1969.938 | 1688.443
26/10/2023 05:00 | 1886.275 | 2038.247 | 1716.933
26/10/2023 05:30 | 1894.396 | 2099.353 | 1723.962
26/10/2023 06:00 | 1889.161 | 2090.48 | 1718.835
26/10/2023 06:30 | 1873.514 | 2030.966 | 1704.241
26/10/2023 07:00 | 1823.285 | 1892.831 | 1658.2
26/10/2023 07:30 | 1696.152 | 1632.722 | 1542.253
26/10/2023 08:00 | 1535.014 | 1409.011 | 1395.442
26/10/2023 08:30 | 1339.702 | 1255.125 | 1217.632
26/10/2023 09:00 | 1219.19 | 1123.005 | 1107.867
26/10/2023 09:30 | 1173.577 | 1016.958 | 1066.194
26/10/2023 10:00 | 1114.229 | 956.6865 | 1012.063
26/10/2023 10:30 | 1066.081 | 927.6116 | 968.125
26/10/2023 11:00 | 1043.906 | 875.8003 | 947.788
26/10/2023 11:30 | 1037.893 | 849.0163 | 942.1293
26/10/2023 12:00 | 1029.859 | 842.0163 | 934.6388
26/10/2023 12:30 | 1043.779 | 857.4806 | 947.0723
26/10/2023 13:00 | 1102.85 | 871.772 | 1000.458
26/10/2023 13:30 | 1235.118 | 940.3367 | 1120.21
26/10/2023 14:00 | 1363.729 | 1043.991 | 1236.594
26/10/2023 14:30 | 1482.508 | 1191.944 | 1344.016
26/10/2023 15:00 | 1624.116 | 1379.016 | 1472.084
26/10/2023 15:30 | 1794.447 | 1619.553 | 1626.126
26/10/2023 16:00 | 1954.699 | 1864.777 | 1770.972
26/10/2023 16:30 | 2100.65 | 2108.497 | 1902.802
26/10/2023 17:00 | 2233.985 | 2339.542 | 2023.151
26/10/2023 17:30 | 2335.471 | 2516.112 | 2114.612
26/10/2023 18:00 | 2397.777 | 2625.939 | 2170.565
26/10/2023 18:30 | 2415.334 | 2651.906 | 2185.997
26/10/2023 19:00 | 2369.303 | 2598.696 | 2143.882
26/10/2023 19:30 | 2304.626 | 2525.782 | 2084.917
26/10/2023 20:00 | 2241.756 | 2449.857 | 2027.611
26/10/2023 20:30 | 2167.343 | 2369.144 | 1959.891
26/10/2023 21:00 | 2080.046 | 2279.38 | 1880.551
26/10/2023 21:30 | 2007.116 | 2192.442 | 1814.231
26/10/2023 22:00 | 1937.75 | 2110.334 | 1751.159
26/10/2023 22:30 | 1877.759 | 2038.927 | 1696.585
26/10/2023 23:00 | 1836.284 | 1986.779 | 1658.76
26/10/2023 23:30 | 1803.534 | 1938.66 | 1628.831
27/10/2023 00:00 | 1777.762 | 1896.949 | 1605.214
27/10/2023 00:30 | 1754.482 | 1868.76 | 1583.858
27/10/2023 01:00 | 1737.897 | 1854.809 | 1568.552
27/10/2023 01:30 | 1726.934 | 1848.851 | 1558.327
27/10/2023 02:00 | 1720.395 | 1844.788 | 1552.096
27/10/2023 02:30 | 1718.498 | 1846.014 | 1550.055
27/10/2023 03:00 | 1720.46 | 1855.237 | 1551.496
27/10/2023 03:30 | 1731.479 | 1875.24 | 1561.1
27/10/2023 04:00 | 1764.012 | 1915.207 | 1590.094
27/10/2023 04:30 | 1808.504 | 1969.878 | 1629.853
27/10/2023 05:00 | 1843.873 | 2016.844 | 1661.375
27/10/2023 05:30 | 1890.431 | 2037.316 | 1702.962
27/10/2023 06:00 | 1950.048 | 2008.705 | 1756.293
27/10/2023 06:30 | 1986.969 | 1935.802 | 1789.165
27/10/2023 07:00 | 1957.548 | 1830.891 | 1762.297
27/10/2023 07:30 | 1821.43 | 1670.511 | 1639.314
27/10/2023 08:00 | 1712.243 | 1494.797 | 1540.455
27/10/2023 08:30 | 1662.896 | 1339.076 | 1495.502
27/10/2023 09:00 | 1567.333 | 1222.5 | 1409.033
27/10/2023 09:30 | 1385.655 | 1121.11 | 1245.239
27/10/2023 10:00 | 1212.771 | 1057.525 | 1089.468
27/10/2023 10:30 | 1105.484 | 1063.211 | 992.7181
27/10/2023 11:00 | 1037.072 | 1081.395 | 930.9373
27/10/2023 11:30 | 1002.604 | 1101.708 | 899.6601
27/10/2023 12:00 | 958.941 | 1084.61 | 860.1591
27/10/2023 12:30 | 921.0638 | 1046.37 | 825.8748
27/10/2023 13:00 | 893.7258 | 1057.657 | 801.0624
27/10/2023 13:30 | 934.4966 | 1159.039 | 837.2927
27/10/2023 14:00 | 995.6008 | 1299.122 | 891.7072
27/10/2023 14:30 | 1122.101 | 1468.6 | 1004.631
27/10/2023 15:00 | 1282.64 | 1660.379 | 1147.933
27/10/2023 15:30 | 1485.285 | 1870.906 | 1328.798
27/10/2023 16:00 | 1695.499 | 2089.434 | 1516.295
27/10/2023 16:30 | 1894.517 | 2316.556 | 1693.643
27/10/2023 17:00 | 2081.596 | 2485.757 | 1860.188
27/10/2023 17:30 | 2214.777 | 2581.67 | 1978.46
27/10/2023 18:00 | 2304.012 | 2656.481 | 2057.402
27/10/2023 18:30 | 2334.139 | 2662.133 | 2083.522
27/10/2023 19:00 | 2285.059 | 2591.327 | 2038.945
27/10/2023 19:30 | 2233.607 | 2518.807 | 1992.286
27/10/2023 20:00 | 2181.454 | 2443.448 | 1945.036
27/10/2023 20:30 | 2121.034 | 2357.08 | 1890.453
27/10/2023 21:00 | 2054.507 | 2268.518 | 1830.469
27/10/2023 21:30 | 1993.943 | 2187.506 | 1775.842
27/10/2023 22:00 | 1928.502 | 2109.942 | 1716.911
27/10/2023 22:30 | 1866.725 | 2044.692 | 1661.287
27/10/2023 23:00 | 1816.195 | 1995.737 | 1615.709
27/10/2023 23:30 | 1775.633 | 1954.846 | 1580.184
28/10/2023 00:00 | 1737.678 | 1919.338 | 1547.992
28/10/2023 00:30 | 1708.328 | 1895.394 | 1520.88
28/10/2023 01:00 | 1689.258 | 1884.733 | 1503.147
28/10/2023 01:30 | 1678.162 | 1875.256 | 1492.523
28/10/2023 02:00 | 1670.694 | 1867.413 | 1485.133
28/10/2023 02:30 | 1663.135 | 1868.138 | 1477.67
28/10/2023 03:00 | 1660.134 | 1876.117 | 1474.26
28/10/2023 03:30 | 1665.53 | 1892.733 | 1478.307
28/10/2023 04:00 | 1679.813 | 1930.092 | 1490.233
28/10/2023 04:30 | 1684.6 | 1989.817 | 1493.725
28/10/2023 05:00 | 1676.34 | 2038.245 | 1485.57
28/10/2023 05:30 | 1628.974 | 2049.894 | 1442.945
28/10/2023 06:00 | 1516.368 | 2009.705 | 1342.52
28/10/2023 06:30 | 1384.953 | 1907.61 | 1225.552
28/10/2023 07:00 | 1242.512 | 1763.894 | 1098.948
28/10/2023 07:30 | 1084.539 | 1564.776 | 958.7426