## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
25/10/2023 08:00 | 1397.19 | 1421.097 | 1381.505
25/10/2023 08:30 | 1277.531 | 1299.376 | 1255.685 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
25/10/2023 09:00 | 1184.038 | 1207.804 | 1160.271 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
25/10/2023 09:30 | 1096.724 | 1121.998 | 1071.449 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
25/10/2023 10:00 | 1027.646 | 1047.082 | 993.9784 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
25/10/2023 10:30 | 1011.993 | 1037.464 | 980.4083 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
25/10/2023 11:00 | 1012.809 | 1042.021 | 983.0583 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
25/10/2023 11:30 | 1026.065 | 1059.668 | 997.7811 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
25/10/2023 12:00 | 1057.552 | 1094.983 | 1029.048 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
25/10/2023 12:30 | 1109.841 | 1150.873 | 1079.489 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
25/10/2023 13:00 | 1184.622 | 1229.31 | 1150.839 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
25/10/2023 13:30 | 1296.485 | 1344.307 | 1256.071
25/10/2023 14:00 | 1418.656 | 1472.089 | 1372.817 | Summary view - for each schedule horizon (dispatch, week-ahead)
25/10/2023 14:30 | 1570.433 | 1630.425 | 1517.545
25/10/2023 15:00 | 1751.359 | 1818.735 | 1689.556 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
25/10/2023 15:30 | 1940.281 | 2017.094 | 1870.216 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
25/10/2023 16:00 | 2105.262 | 2190.322 | 2026.915 | Scenario | Violations
25/10/2023 16:30 | 2258.833 | 2348.532 | 2169.134 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
25/10/2023 17:00 | 2391.12 | 2488.375 | 2293.865 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
25/10/2023 17:30 | 2467.633 | 2570.376 | 2364.889 | Reference Scenario | 0 | 0 | 0 | 0 | 13 | 11 | 9 | 0 | 24 | 24 | 0 | 1
25/10/2023 18:00 | 2507.71 | 2614.538 | 2400.883 | High Demand Scenario | 0 | 0 | 0 | 0 | 16 | 15 | 9 | 0 | 24 | 24 | 0 | 1
25/10/2023 18:30 | 2500.281 | 2608.692 | 2391.871 | Low Demand Scenario | 0 | 0 | 0 | 0 | 21 | 19 | 9 | 0 | 33 | 33 | 0 | 1
25/10/2023 19:00 | 2430.495 | 2536.747 | 2324.244
25/10/2023 19:30 | 2352.031 | 2455.773 | 2248.289 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
25/10/2023 20:00 | 2272.845 | 2373.984 | 2171.706
25/10/2023 20:30 | 2187.475 | 2285.671 | 2089.279 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
25/10/2023 21:00 | 2102.481 | 2197.685 | 2007.278 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
25/10/2023 21:30 | 2026.266 | 2118.811 | 1933.72 | [5 empty] | 28/10/2023 10:30 | 28/10/2023 10:30 | 25/10/2023 09:00 |  | 27/10/2023 11:30 | 27/10/2023 11:30 |  | 25/10/2023 08:00 |  |  |  |  | 27/10/2023 12:00 | 27/10/2023 12:00 | 25/10/2023 09:00 |  | 27/10/2023 11:30 | 27/10/2023 11:30 |  | 25/10/2023 08:00 |  |  |  |  | 27/10/2023 11:30 | 27/10/2023 11:30 | 25/10/2023 09:00 |  | 27/10/2023 09:30 | 27/10/2023 09:30 |  | 25/10/2023 08:00
25/10/2023 22:00 | 1952.771 | 2042.724 | 1862.818 | [5 empty] | 28/10/2023 11:00 | 28/10/2023 11:00 | 25/10/2023 09:30 |  | 27/10/2023 12:00 | 27/10/2023 12:00 | [6 empty] | 28/10/2023 10:00 | 28/10/2023 10:30 | 25/10/2023 09:30 |  | 27/10/2023 12:00 | 27/10/2023 12:00 | [6 empty] | 27/10/2023 12:00 | 27/10/2023 12:00 | 25/10/2023 09:30 |  | 27/10/2023 10:00 | 27/10/2023 10:00
25/10/2023 22:30 | 1894.182 | 1982.177 | 1806.186 | [5 empty] | 28/10/2023 11:30 | 28/10/2023 11:30 | 25/10/2023 10:00 |  | 27/10/2023 12:30 | 27/10/2023 12:30 | [6 empty] | 28/10/2023 10:30 | 28/10/2023 11:00 | 25/10/2023 10:00 |  | 27/10/2023 12:30 | 27/10/2023 12:30 | [6 empty] | 27/10/2023 12:30 | 27/10/2023 12:30 | 25/10/2023 10:00 |  | 27/10/2023 10:30 | 27/10/2023 10:30
25/10/2023 23:00 | 1857.058 | 1944.056 | 1770.061 | [5 empty] | 28/10/2023 12:00 | 28/10/2023 12:00 | 25/10/2023 10:30 |  | 27/10/2023 13:00 | 27/10/2023 13:00 | [6 empty] | 28/10/2023 11:00 | 28/10/2023 11:30 | 25/10/2023 10:30 |  | 27/10/2023 13:00 | 27/10/2023 13:00 | [6 empty] | 27/10/2023 13:00 | 27/10/2023 13:00 | 25/10/2023 10:30 |  | 27/10/2023 11:00 | 27/10/2023 11:00
25/10/2023 23:30 | 1826.582 | 1912.867 | 1740.297 | [5 empty] | 28/10/2023 12:30 | 30/10/2023 10:00 | 25/10/2023 11:00 |  | 28/10/2023 09:00 | 28/10/2023 09:00 | [6 empty] | 28/10/2023 11:30 | 28/10/2023 12:00 | 25/10/2023 11:00 |  | 28/10/2023 09:00 | 28/10/2023 09:00 | [6 empty] | 28/10/2023 09:00 | 28/10/2023 09:30 | 25/10/2023 11:00 |  | 27/10/2023 11:30 | 27/10/2023 11:30
26/10/2023 00:00 | 1802.068 | 1887.9 | 1716.235 | [5 empty] | 28/10/2023 13:00 | 30/10/2023 10:30 | 25/10/2023 11:30 |  | 28/10/2023 09:30 | 28/10/2023 09:30 | [6 empty] | 28/10/2023 12:00 | 28/10/2023 12:30 | 25/10/2023 11:30 |  | 28/10/2023 09:30 | 28/10/2023 09:30 | [6 empty] | 28/10/2023 09:30 | 28/10/2023 10:00 | 25/10/2023 11:30 |  | 27/10/2023 12:00 | 27/10/2023 12:00
26/10/2023 00:30 | 1781.26 | 1866.798 | 1695.722 | [5 empty] | 30/10/2023 10:00 | 30/10/2023 11:00 | 25/10/2023 12:00 |  | 28/10/2023 10:00 | 28/10/2023 10:00 | [6 empty] | 28/10/2023 12:30 | 28/10/2023 13:00 | 25/10/2023 12:00 |  | 28/10/2023 10:00 | 28/10/2023 10:00 | [6 empty] | 28/10/2023 10:00 | 28/10/2023 10:30 | 25/10/2023 12:00 |  | 27/10/2023 12:30 | 27/10/2023 12:30
26/10/2023 01:00 | 1766.079 | 1851.58 | 1680.579 | [5 empty] | 30/10/2023 10:30 | 30/10/2023 11:30 | 25/10/2023 12:30 |  | 28/10/2023 10:30 | 28/10/2023 10:30 | [6 empty] | 28/10/2023 13:00 | 30/10/2023 09:30 | 25/10/2023 12:30 |  | 28/10/2023 10:30 | 28/10/2023 10:30 | [6 empty] | 28/10/2023 10:30 | 28/10/2023 11:00 | 25/10/2023 12:30 |  | 27/10/2023 13:00 | 27/10/2023 13:00
26/10/2023 01:30 | 1753.12 | 1838.68 | 1667.561 | [5 empty] | 30/10/2023 11:00 | 30/10/2023 12:00 | 25/10/2023 13:00 |  | 28/10/2023 11:00 | 28/10/2023 11:00 | [6 empty] | 30/10/2023 09:30 | 30/10/2023 10:00 | 25/10/2023 13:00 |  | 28/10/2023 11:00 | 28/10/2023 11:00 | [6 empty] | 28/10/2023 11:00 | 28/10/2023 11:30 | 25/10/2023 13:00 |  | 27/10/2023 13:30 | 27/10/2023 13:30
26/10/2023 02:00 | 1746.382 | 1832.296 | 1660.468 | [5 empty] | 30/10/2023 11:30 | 30/10/2023 12:30 |  |  | 28/10/2023 11:30 | 28/10/2023 11:30 | [6 empty] | 30/10/2023 10:00 | 30/10/2023 10:30 |  |  | 28/10/2023 11:30 | 28/10/2023 11:30 | [6 empty] | 28/10/2023 11:30 | 28/10/2023 12:00 |  |  | 28/10/2023 08:30 | 28/10/2023 08:30
26/10/2023 02:30 | 1743.391 | 1829.84 | 1656.942 | [5 empty] | 30/10/2023 12:00 | 30/10/2023 13:00 |  |  | 28/10/2023 12:00 | 28/10/2023 12:00 | [6 empty] | 30/10/2023 10:30 | 30/10/2023 11:00 |  |  | 28/10/2023 12:00 | 28/10/2023 12:00 | [6 empty] | 28/10/2023 12:00 | 28/10/2023 12:30 |  |  | 28/10/2023 09:00 | 28/10/2023 09:00
26/10/2023 03:00 | 1746.767 | 1834.067 | 1659.466 | [5 empty] | 30/10/2023 12:30 |  |  |  | 28/10/2023 12:30 | 28/10/2023 12:30 | [6 empty] | 30/10/2023 11:00 | 30/10/2023 11:30 |  |  | 28/10/2023 12:30 | 28/10/2023 12:30 | [6 empty] | 28/10/2023 12:30 | 28/10/2023 13:00 |  |  | 28/10/2023 09:30 | 28/10/2023 09:30
26/10/2023 03:30 | 1758.667 | 1847.25 | 1670.083 | [5 empty] | 30/10/2023 13:00 |  |  |  | 28/10/2023 13:00 | 28/10/2023 13:00 | [6 empty] | 30/10/2023 11:30 | 30/10/2023 12:00 |  |  | 28/10/2023 13:00 | 28/10/2023 13:00 | [6 empty] | 28/10/2023 13:00 | 28/10/2023 13:30 |  |  | 28/10/2023 10:00 | 28/10/2023 10:00
26/10/2023 04:00 | 1790.461 | 1881.347 | 1699.575 | [9 empty] | 28/10/2023 13:30 | 28/10/2023 13:30 | [6 empty] | 30/10/2023 12:00 | 30/10/2023 12:30 |  |  | 28/10/2023 13:30 | 28/10/2023 13:30 | [6 empty] | 28/10/2023 13:30 | 30/10/2023 10:00 |  |  | 28/10/2023 10:30 | 28/10/2023 10:30
26/10/2023 04:30 | 1836.373 | 1930.308 | 1742.438 | [9 empty] | 30/10/2023 09:00 | 30/10/2023 09:00 | [6 empty] | 30/10/2023 12:30 | 30/10/2023 13:00 |  |  | 30/10/2023 09:00 | 30/10/2023 09:00 | [6 empty] | 30/10/2023 10:00 | 30/10/2023 10:30 |  |  | 28/10/2023 11:00 | 28/10/2023 11:00
26/10/2023 05:00 | 1873.947 | 1970.538 | 1777.359 | [9 empty] | 30/10/2023 09:30 | 30/10/2023 09:30 | [6 empty] | 30/10/2023 13:00 |  |  |  | 30/10/2023 09:30 | 30/10/2023 09:30 | [6 empty] | 30/10/2023 10:30 | 30/10/2023 11:00 |  |  | 28/10/2023 11:30 | 28/10/2023 11:30
26/10/2023 05:30 | 1897.835 | 1996.402 | 1799.273 | [9 empty] | 30/10/2023 10:00 | 30/10/2023 10:00 | [10 empty] | 30/10/2023 10:00 | 30/10/2023 10:00 | [6 empty] | 30/10/2023 11:00 | 30/10/2023 11:30 |  |  | 28/10/2023 12:00 | 28/10/2023 12:00
26/10/2023 06:00 | 1889.036 | 1987.886 | 1790.192 | [9 empty] | 30/10/2023 10:30 | 30/10/2023 10:30 | [10 empty] | 30/10/2023 10:30 | 30/10/2023 10:30 | [6 empty] | 30/10/2023 11:30 | 30/10/2023 12:00 |  |  | 28/10/2023 12:30 | 28/10/2023 12:30
26/10/2023 06:30 | 1835.661 | 1932.289 | 1739.039 | [9 empty] | 30/10/2023 11:00 | 30/10/2023 11:00 | [10 empty] | 30/10/2023 11:00 | 30/10/2023 11:00 | [6 empty] | 30/10/2023 12:00 | 30/10/2023 12:30 |  |  | 28/10/2023 13:00 | 28/10/2023 13:00
26/10/2023 07:00 | 1736.547 | 1828.22 | 1644.879 | [9 empty] | 30/10/2023 11:30 | 30/10/2023 11:30 | [10 empty] | 30/10/2023 11:30 | 30/10/2023 11:30 | [6 empty] | 30/10/2023 12:30 |  |  |  | 28/10/2023 13:30 | 28/10/2023 13:30
26/10/2023 07:30 | 1561.356 | 1644.038 | 1478.678 | [9 empty] | 30/10/2023 12:00 | 30/10/2023 12:00 | [10 empty] | 30/10/2023 12:00 | 30/10/2023 12:00 | [6 empty] | 30/10/2023 13:00 |  |  |  | 28/10/2023 14:00 | 28/10/2023 14:00
26/10/2023 08:00 | 1398.943 | 1473.255 | 1324.634 | [9 empty] | 30/10/2023 12:30 | 30/10/2023 12:30 | [10 empty] | 30/10/2023 12:30 | 30/10/2023 12:30 | [10 empty] | 29/10/2023 12:30 | 29/10/2023 12:30
26/10/2023 08:30 | 1271.82 | 1339.589 | 1204.054 | [9 empty] | 30/10/2023 13:00 | 30/10/2023 13:00 | [10 empty] | 30/10/2023 13:00 | 30/10/2023 13:00 | [10 empty] | 29/10/2023 13:00 | 29/10/2023 13:00
26/10/2023 09:00 | 1180.71 | 1243.819 | 1117.603 | [9 empty] | 30/10/2023 13:30 | 30/10/2023 13:30 | [10 empty] | 30/10/2023 13:30 | 30/10/2023 13:30 | [10 empty] | 30/10/2023 09:00 | 30/10/2023 09:00
26/10/2023 09:30 | 1122.065 | 1182.224 | 1061.907 | [33 empty] | 30/10/2023 09:30 | 30/10/2023 09:30
26/10/2023 10:00 | 1080.019 | 1138.103 | 1021.937 | [33 empty] | 30/10/2023 10:00 | 30/10/2023 10:00
26/10/2023 10:30 | 1069.137 | 1126.812 | 1011.464 | [33 empty] | 30/10/2023 10:30 | 30/10/2023 10:30
26/10/2023 11:00 | 1072.06 | 1130.069 | 1014.052 | [33 empty] | 30/10/2023 11:00 | 30/10/2023 11:00
26/10/2023 11:30 | 1074.062 | 1132.357 | 1015.768 | [33 empty] | 30/10/2023 11:30 | 30/10/2023 11:30
26/10/2023 12:00 | 1072.122 | 1130.489 | 1013.756 | [33 empty] | 30/10/2023 12:00 | 30/10/2023 12:00
26/10/2023 12:30 | 1076.91 | 1135.715 | 1018.105 | [33 empty] | 30/10/2023 12:30 | 30/10/2023 12:30
26/10/2023 13:00 | 1101.01 | 1161.312 | 1040.707 | [33 empty] | 30/10/2023 13:00 | 30/10/2023 13:00
26/10/2023 13:30 | 1160.857 | 1224.629 | 1097.086 | [33 empty] | 30/10/2023 13:30 | 30/10/2023 13:30
26/10/2023 14:00 | 1259.077 | 1328.453 | 1189.702
26/10/2023 14:30 | 1424.717 | 1503.455 | 1345.979
26/10/2023 15:00 | 1589.315 | 1677.411 | 1501.218
26/10/2023 15:30 | 1728.158 | 1824.236 | 1632.08
26/10/2023 16:00 | 1889.512 | 1994.872 | 1784.151
26/10/2023 16:30 | 2071.222 | 2187.056 | 1955.387
26/10/2023 17:00 | 2225.985 | 2350.842 | 2101.127
26/10/2023 17:30 | 2337.367 | 2468.858 | 2205.876
26/10/2023 18:00 | 2408.149 | 2544.019 | 2272.279
26/10/2023 18:30 | 2425.667 | 2562.927 | 2288.408
26/10/2023 19:00 | 2374.039 | 2508.769 | 2239.309
26/10/2023 19:30 | 2313.095 | 2444.749 | 2181.442
26/10/2023 20:00 | 2249.277 | 2377.669 | 2120.885
26/10/2023 20:30 | 2172.717 | 2297.098 | 2048.337
26/10/2023 21:00 | 2087.082 | 2206.905 | 1967.259
26/10/2023 21:30 | 2011.901 | 2127.74 | 1896.062
26/10/2023 22:00 | 1939.873 | 2051.885 | 1827.861
26/10/2023 22:30 | 1877.184 | 1985.887 | 1768.482
26/10/2023 23:00 | 1829.518 | 1935.762 | 1723.274
26/10/2023 23:30 | 1790.981 | 1895.283 | 1686.679
27/10/2023 00:00 | 1759.086 | 1861.82 | 1656.351
27/10/2023 00:30 | 1732.944 | 1834.439 | 1631.45
27/10/2023 01:00 | 1714.114 | 1814.788 | 1613.44
27/10/2023 01:30 | 1704.194 | 1804.567 | 1603.821
27/10/2023 02:00 | 1698.136 | 1798.432 | 1597.839
27/10/2023 02:30 | 1696.446 | 1796.923 | 1595.969
27/10/2023 03:00 | 1698.771 | 1799.666 | 1597.876
27/10/2023 03:30 | 1710.365 | 1812.217 | 1608.487
27/10/2023 04:00 | 1743.848 | 1847.983 | 1639.688
27/10/2023 04:30 | 1789.951 | 1897.135 | 1682.742
27/10/2023 05:00 | 1838.813 | 1949.226 | 1728.374
27/10/2023 05:30 | 1887.987 | 2001.664 | 1774.282
27/10/2023 06:00 | 1871.896 | 1984.912 | 1758.851
27/10/2023 06:30 | 1772.681 | 1880.032 | 1665.299
27/10/2023 07:00 | 1618.301 | 1716.662 | 1519.912
27/10/2023 07:30 | 1410.601 | 1496.65 | 1324.536
27/10/2023 08:00 | 1217.944 | 1292.515 | 1143.375
27/10/2023 08:30 | 1072.371 | 1138.263 | 1006.479
27/10/2023 09:00 | 962.2189 | 1021.553 | 902.8852
27/10/2023 09:30 | 867.2225 | 920.8879 | 813.5571
27/10/2023 10:00 | 808.2812 | 858.4758 | 758.0867
27/10/2023 10:30 | 835.9147 | 888.0079 | 783.8215
27/10/2023 11:00 | 815.0813 | 866.0543 | 764.1083
27/10/2023 11:30 | 719.6344 | 764.7957 | 674.4731
27/10/2023 12:00 | 680.1757 | 723.0093 | 637.3421
27/10/2023 12:30 | 712.0985 | 757.098 | 667.099
27/10/2023 13:00 | 731.7848 | 778.1882 | 685.3814
27/10/2023 13:30 | 804.8557 | 856.0684 | 753.6429
27/10/2023 14:00 | 908.9043 | 966.9363 | 850.8723
27/10/2023 14:30 | 1041.01 | 1107.704 | 974.3156
27/10/2023 15:00 | 1225.412 | 1304.188 | 1146.636
27/10/2023 15:30 | 1443.136 | 1536.224 | 1350.049
27/10/2023 16:00 | 1670.104 | 1778.197 | 1562.011
27/10/2023 16:30 | 1885.101 | 2007.521 | 1763.505
27/10/2023 17:00 | 2080.749 | 2216.329 | 1946.078
27/10/2023 17:30 | 2219.126 | 2364.207 | 2075.015
27/10/2023 18:00 | 2313.875 | 2465.656 | 2163.104
27/10/2023 18:30 | 2347.876 | 2502.4 | 2194.377
27/10/2023 19:00 | 2315.767 | 2468.684 | 2163.861
27/10/2023 19:30 | 2265.494 | 2415.586 | 2116.391
27/10/2023 20:00 | 2209.74 | 2356.621 | 2063.824
27/10/2023 20:30 | 2148.837 | 2292.14 | 2006.473
27/10/2023 21:00 | 2083.719 | 2222.224 | 1945.214
27/10/2023 21:30 | 2019.814 | 2154.512 | 1885.115
27/10/2023 22:00 | 1949.076 | 2079.482 | 1818.669
27/10/2023 22:30 | 1881.666 | 2007.974 | 1755.358
27/10/2023 23:00 | 1826.468 | 1949.47 | 1703.467
27/10/2023 23:30 | 1782.208 | 1906.864 | 1657.553
28/10/2023 00:00 | 1739.644 | 1869.921 | 1609.367
28/10/2023 00:30 | 1707.375 | 1834.951 | 1579.799
28/10/2023 01:00 | 1685.239 | 1811.563 | 1558.914
28/10/2023 01:30 | 1673.777 | 1799.642 | 1547.911
28/10/2023 02:00 | 1666.921 | 1792.669 | 1541.173
28/10/2023 02:30 | 1658.864 | 1784.401 | 1533.328
28/10/2023 03:00 | 1655.682 | 1781.373 | 1529.991
28/10/2023 03:30 | 1661.192 | 1787.698 | 1534.686
28/10/2023 04:00 | 1675.804 | 1803.823 | 1547.785
28/10/2023 04:30 | 1681.735 | 1810.609 | 1552.861
28/10/2023 05:00 | 1669.085 | 1797.389 | 1540.782
28/10/2023 05:30 | 1616.092 | 1740.708 | 1491.476
28/10/2023 06:00 | 1502.155 | 1618.344 | 1385.965
28/10/2023 06:30 | 1365.348 | 1471.282 | 1259.415
28/10/2023 07:00 | 1224.121 | 1319.39 | 1128.853
28/10/2023 07:30 | 1078.667 | 1162.873 | 994.4606
28/10/2023 08:00 | 931.2789 | 1004.202 | 858.3563
28/10/2023 08:30 | 800.3199 | 863.1793 | 737.4607
28/10/2023 09:00 | 698.2778 | 753.2891 | 643.2664
28/10/2023 09:30 | 636.9067 | 687.2354 | 586.5781
28/10/2023 10:00 | 590.5885 | 637.3981 | 543.7789
28/10/2023 10:30 | 559.6427 | 604.1333 | 515.1521
28/10/2023 11:00 | 540.4659 | 583.5611 | 497.3708
28/10/2023 11:30 | 524.2308 | 566.1566 | 482.3049
28/10/2023 12:00 | 524.4323 | 566.4995 | 482.3651
28/10/2023 12:30 | 564.9819 | 610.4367 | 519.527
28/10/2023 13:00 | 577.1422 | 623.7132 | 530.5711
28/10/2023 13:30 | 647.1472 | 699.5218 | 594.7727
28/10/2023 14:00 | 764.2383 | 826.2717 | 702.2048
28/10/2023 14:30 | 910.1259 | 984.2184 | 836.0333
28/10/2023 15:00 | 1071.474 | 1158.958 | 983.9904
28/10/2023 15:30 | 1280.362 | 1385.207 | 1175.517
28/10/2023 16:00 | 1502.4 | 1625.785 | 1379.014
28/10/2023 16:30 | 1717.36 | 1858.809 | 1575.91
28/10/2023 17:00 | 1911.023 | 2068.88 | 1753.165
28/10/2023 17:30 | 2070.43 | 2241.949 | 1898.911
28/10/2023 18:00 | 2169.976 | 2350.26 | 1989.692
28/10/2023 18:30 | 2207.42 | 2391.343 | 2023.498
28/10/2023 19:00 | 2187.781 | 2370.59 | 2004.972
28/10/2023 19:30 | 2135.531 | 2314.484 | 1956.578
28/10/2023 20:00 | 2085.037 | 2260.257 | 1909.818
28/10/2023 20:30 | 2041.832 | 2213.908 | 1869.755
28/10/2023 21:00 | 1993.613 | 2162.102 | 1825.123
28/10/2023 21:30 | 1938.707 | 2103.019 | 1774.395
28/10/2023 22:00 | 1881.194 | 2041.081 | 1721.307
28/10/2023 22:30 | 1830.738 | 1986.774 | 1674.702
28/10/2023 23:00 | 1784.712 | 1937.252 | 1632.173
28/10/2023 23:30 | 1746.267 | 1895.937 | 1596.596
29/10/2023 00:00 | 1711.077 | 1858.14 | 1564.014
29/10/2023 00:30 | 1683.572 | 1828.673 | 1538.471
29/10/2023 01:00 | 1665.718 | 1809.678 | 1521.757
29/10/2023 01:30 | 1655.762 | 1799.257 | 1512.266
29/10/2023 02:00 | 1650.107 | 1793.506 | 1506.707
29/10/2023 02:30 | 1645.341 | 1788.72 | 1501.963
29/10/2023 03:00 | 1644.636 | 1788.346 | 1500.926
29/10/2023 03:30 | 1647.441 | 1791.79 | 1503.093
29/10/2023 04:00 | 1653.159 | 1798.403 | 1507.914
29/10/2023 04:30 | 1648.562 | 1793.796 | 1503.328
29/10/2023 05:00 | 1617.266 | 1760.13 | 1474.403
29/10/2023 05:30 | 1546.354 | 1683.323 | 1409.385
29/10/2023 06:00 | 1426.498 | 1553.191 | 1299.804
29/10/2023 06:30 | 1285.278 | 1399.736 | 1170.82
29/10/2023 07:00 | 1198.2 | 1305.189 | 1091.21
29/10/2023 07:30 | 1200.268 | 1307.649 | 1092.887
29/10/2023 08:00 | 1180.434 | 1286.087 | 1074.781
29/10/2023 08:30 | 1104.962 | 1203.917 | 1006.008
29/10/2023 09:00 | 1080.887 | 1177.741 | 984.0341
29/10/2023 09:30 | 1144.649 | 1247.275 | 1042.024
29/10/2023 10:00 | 1185.392 | 1291.73 | 1079.053
29/10/2023 10:30 | 1162.653 | 1267.01 | 1058.295
29/10/2023 11:00 | 1114.371 | 1214.452 | 1014.29
29/10/2023 11:30 | 1051.125 | 1145.58 | 956.6705
29/10/2023 12:00 | 965.3268 | 1052.121 | 878.533
29/10/2023 12:30 | 855.5613 | 932.5296 | 778.593
29/10/2023 13:00 | 808.0817 | 880.8198 | 735.3436
29/10/2023 13:30 | 883.366 | 962.9258 | 803.8063
29/10/2023 14:00 | 1007.344 | 1098.121 | 916.5669
29/10/2023 14:30 | 1184.583 | 1291.393 | 1077.774
29/10/2023 15:00 | 1327.305 | 1447.05 | 1207.559
29/10/2023 15:30 | 1459.092 | 1590.802 | 1327.383
29/10/2023 16:00 | 1637.339 | 1785.222 | 1489.455
29/10/2023 16:30 | 1850.661 | 2017.905 | 1683.416
29/10/2023 17:00 | 2049.121 | 2234.405 | 1863.837
29/10/2023 17:30 | 2198.534 | 2397.441 | 1999.628
29/10/2023 18:00 | 2285.007 | 2491.853 | 2078.161
29/10/2023 18:30 | 2305.958 | 2514.818 | 2097.098
29/10/2023 19:00 | 2264.955 | 2470.217 | 2059.693
29/10/2023 19:30 | 2211.143 | 2411.641 | 2010.645
29/10/2023 20:00 | 2150.944 | 2346.093 | 1955.795
29/10/2023 20:30 | 2081.365 | 2270.307 | 1892.422
29/10/2023 21:00 | 2004.634 | 2186.713 | 1822.555
29/10/2023 21:30 | 1931.527 | 2107.064 | 1755.99
29/10/2023 22:00 | 1862.861 | 2032.252 | 1693.469
29/10/2023 22:30 | 1802.825 | 1966.85 | 1638.801
29/10/2023 23:00 | 1756.622 | 1916.533 | 1596.712
29/10/2023 23:30 | 1723.261 | 1878.177 | 1568.345
30/10/2023 00:00 | 1697.755 | 1846.56 | 1548.95
30/10/2023 00:30 | 1673.244 | 1820.574 | 1525.913
30/10/2023 01:00 | 1659.132 | 1805.538 | 1512.726
30/10/2023 01:30 | 1656.47 | 1802.958 | 1509.981
30/10/2023 02:00 | 1654.372 | 1800.992 | 1507.752
30/10/2023 02:30 | 1658.558 | 1805.867 | 1511.249
30/10/2023 03:00 | 1665.177 | 1813.393 | 1516.961
30/10/2023 03:30 | 1680.255 | 1830.135 | 1530.375
30/10/2023 04:00 | 1715.318 | 1868.655 | 1561.982
30/10/2023 04:30 | 1762.215 | 1920.082 | 1604.349
30/10/2023 05:00 | 1815.668 | 1978.671 | 1652.665
30/10/2023 05:30 | 1851.189 | 2017.736 | 1684.642
30/10/2023 06:00 | 1816.802 | 1980.604 | 1653.001
30/10/2023 06:30 | 1738.012 | 1895.043 | 1580.981
30/10/2023 07:00 | 1603.413 | 1748.59 | 1458.236
30/10/2023 07:30 | 1397.674 | 1524.491 | 1270.857
30/10/2023 08:00 | 1214.261 | 1324.668 | 1103.853
30/10/2023 08:30 | 1065.756 | 1162.865 | 968.6473
30/10/2023 09:00 | 931.2693 | 1016.303 | 846.236
30/10/2023 09:30 | 832.4305 | 908.5986 | 756.2625
30/10/2023 10:00 | 784.02 | 855.9088 | 712.1313
30/10/2023 10:30 | 769.5081 | 840.2137 | 698.8026
30/10/2023 11:00 | 745.1603 | 813.7715 | 676.549
30/10/2023 11:30 | 733.1873 | 800.8366 | 665.538
30/10/2023 12:00 | 737.8057 | 806.0225 | 669.5888
30/10/2023 12:30 | 763.3463 | 834.0709 | 692.6217
30/10/2023 13:00 | 787.6376 | 860.7639 | 714.5114
30/10/2023 13:30 | 862.6576 | 942.9142 | 782.401
30/10/2023 14:00 | 959.8157 | 1049.295 | 870.3362
30/10/2023 14:30 | 1098.435 | 1201.048 | 995.8224
30/10/2023 15:00 | 1278.573 | 1398.259 | 1158.887
30/10/2023 15:30 | 1496.564 | 1636.942 | 1356.185
30/10/2023 16:00 | 1714.061 | 1875.169 | 1552.952
30/10/2023 16:30 | 1927.279 | 2108.798 | 1745.76
30/10/2023 17:00 | 2123.208 | 2323.587 | 1922.828
30/10/2023 17:30 | 2278.979 | 2494.496 | 2063.462
30/10/2023 18:00 | 2379.477 | 2604.954 | 2154
30/10/2023 18:30 | 2404.472 | 2632.778 | 2176.165
30/10/2023 19:00 | 2359.455 | 2583.939 | 2134.97
30/10/2023 19:30 | 2290.064 | 2508.385 | 2071.743
30/10/2023 20:00 | 2217.311 | 2429.122 | 2005.501
30/10/2023 20:30 | 2140.595 | 2345.487 | 1935.703
30/10/2023 21:00 | 2058.494 | 2255.922 | 1861.066
30/10/2023 21:30 | 1981.556 | 2171.985 | 1791.127
30/10/2023 22:00 | 1908.839 | 2092.645 | 1725.032
30/10/2023 22:30 | 1845.186 | 2023.217 | 1667.155
30/10/2023 23:00 | 1799.251 | 1973.195 | 1625.307
30/10/2023 23:30 | 1758.039 | 1928.336 | 1587.743
31/10/2023 00:00 | 1721.677 | 1888.781 | 1554.573
31/10/2023 00:30 | 1697.202 | 1862.256 | 1532.148
31/10/2023 01:00 | 1685.518 | 1849.759 | 1521.277
31/10/2023 01:30 | 1679.394 | 1843.36 | 1515.428
31/10/2023 02:00 | 1676.012 | 1839.97 | 1512.055
31/10/2023 02:30 | 1677.204 | 1841.6 | 1512.809
31/10/2023 03:00 | 1683.72 | 1849.076 | 1518.363
31/10/2023 03:30 | 1699.282 | 1866.492 | 1532.071
31/10/2023 04:00 | 1732.125 | 1902.9 | 1561.351
31/10/2023 04:30 | 1775.293 | 1950.664 | 1599.922
31/10/2023 05:00 | 1808.58 | 1987.585 | 1629.574
31/10/2023 05:30 | 1809.53 | 1988.976 | 1630.084
31/10/2023 06:00 | 1757.657 | 1932.296 | 1583.018
31/10/2023 06:30 | 1660.812 | 1826.148 | 1495.477
31/10/2023 07:00 | 1538.656 | 1692.125 | 1385.187
31/10/2023 07:30 | 1380.963 | 1519.039 | 1242.888
31/10/2023 08:00 | 1212.543 | 1334.197 | 1090.89
31/10/2023 08:30 | 1072.815 | 1180.81 | 964.8209
31/10/2023 09:00 | 987.9514 | 1087.734 | 888.1685
31/10/2023 09:30 | 945.7682 | 1041.608 | 849.9287
31/10/2023 10:00 | 947.8914 | 1039.699 | 851.5189
31/10/2023 10:30 | 993.3784 | 1088.854 | 892.0482
31/10/2023 11:00 | 1046.526 | 1148.264 | 939.4231
31/10/2023 11:30 | 1114.598 | 1224.319 | 1000.155
31/10/2023 12:00 | 1140.305 | 1253.257 | 1022.841
31/10/2023 12:30 | 1112.315 | 1223.203 | 997.3605
31/10/2023 13:00 | 1140.977 | 1255.503 | 1022.678
31/10/2023 13:30 | 1271.949 | 1401.159 | 1139.644
31/10/2023 14:00 | 1401.289 | 1544.724 | 1255.061
31/10/2023 14:30 | 1532.172 | 1691.386 | 1371.772
31/10/2023 15:00 | 1689.475 | 1866.345 | 1512.041
31/10/2023 15:30 | 1864.649 | 2060.674 | 1668.192
31/10/2023 16:00 | 2025.051 | 2240.233 | 1811.015
31/10/2023 16:30 | 2181.317 | 2415.096 | 1950.034
31/10/2023 17:00 | 2315.624 | 2565.48 | 2069.324
31/10/2023 17:30 | 2400.665 | 2661.75 | 2144.514
31/10/2023 18:00 | 2452.28 | 2720.845 | 2189.8
31/10/2023 18:30 | 2453.871 | 2724.13 | 2190.398
31/10/2023 19:00 | 2398.927 | 2664.542 | 2140.549
31/10/2023 19:30 | 2325.582 | 2585.217 | 2074.323
31/10/2023 20:00 | 2250.101 | 2503.054 | 2006.244
31/10/2023 20:30 | 2171.54 | 2417.049 | 1935.468
31/10/2023 21:00 | 2092.777 | 2330.458 | 1872.174
31/10/2023 21:30 | 2022.307 | 2252.743 | 1808.514
31/10/2023 22:00 | 1951.121 | 2174.05 | 1744.155
31/10/2023 22:30 | 1892.037 | 2107.894 | 1689.933
31/10/2023 23:00 | 1852.883 | 2062.757 | 1652.623
31/10/2023 23:30 | 1821.326 | 2025.49 | 1621.665
01/11/2023 00:00 | 1795.858 | 1994.885 | 1596.078
01/11/2023 00:30 | 1780.928 | 1977.146 | 1580.811
01/11/2023 01:00 | 1772.864 | 1967.559 | 1572.079
01/11/2023 01:30 | 1759.308 | 1953.137 | 1559.496
01/11/2023 02:00 | 1749.877 | 1943.272 | 1550.565
01/11/2023 02:30 | 1747.777 | 1941.631 | 1548.204
01/11/2023 03:00 | 1750.022 | 1944.789 | 1549.669
01/11/2023 03:30 | 1764.749 | 1961.523 | 1561.943
01/11/2023 04:00 | 1790.932 | 1991.008 | 1584.344
01/11/2023 04:30 | 1832.27 | 2037.617 | 1620.332
01/11/2023 05:00 | 1871.343 | 2082.263 | 1654.71
01/11/2023 05:30 | 1877.432 | 2090.027 | 1659.752
01/11/2023 06:00 | 1848.699 | 2058.2 | 1633.366
01/11/2023 06:30 | 1773.344 | 1975.103 | 1566.356
01/11/2023 07:00 | 1649.53 | 1840.468 | 1458.592
01/11/2023 07:30 | 1494.087 | 1667.533 | 1320.641