## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
28/10/2023 08:00 | 1176.69 | 1201.434 | 1161.679
28/10/2023 08:30 | 1080.423 | 1102.73 | 1058.116 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
28/10/2023 09:00 | 1009.85 | 1034.56 | 985.1393 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
28/10/2023 09:30 | 912.4218 | 938.2363 | 886.6073 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
28/10/2023 10:00 | 826.3741 | 852.9135 | 799.8349 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
28/10/2023 10:30 | 756.4739 | 782.9114 | 730.0364 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
28/10/2023 11:00 | 688.3788 | 713.0372 | 663.7205 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
28/10/2023 11:30 | 621.7186 | 647.7218 | 598.8007 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
28/10/2023 12:00 | 575.73 | 601.0659 | 557.1646 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
28/10/2023 12:30 | 597.5021 | 621.1559 | 574.5873 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
28/10/2023 13:00 | 617.1875 | 643.1859 | 593.7257 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
28/10/2023 13:30 | 677.6606 | 706.9841 | 651.2578
28/10/2023 14:00 | 786.1715 | 820.793 | 754.52 | Summary view - for each schedule horizon (dispatch, week-ahead)
28/10/2023 14:30 | 933.1441 | 975.1189 | 894.5165
28/10/2023 15:00 | 1096.664 | 1147.015 | 1050.01 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
28/10/2023 15:30 | 1304.877 | 1366.118 | 1247.975 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
28/10/2023 16:00 | 1531.356 | 1604.571 | 1462.751 | Scenario | Violations
28/10/2023 16:30 | 1742.022 | 1826.395 | 1661.497 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
28/10/2023 17:00 | 1923.058 | 2017.632 | 1831.641 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
28/10/2023 17:30 | 2071.242 | 2174.363 | 1969.806 | Reference Scenario | 0 | 0 | 0 | 0 | 3 | 1 | 10 | 0 | 12 | 12 | 0 | 1
28/10/2023 18:00 | 2167.613 | 2277.049 | 2058.528 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 7 | 7 | 0 | 1
28/10/2023 18:30 | 2204.733 | 2317.394 | 2091.793 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 11 | 11 | 0 | 4
28/10/2023 19:00 | 2181.478 | 2293.293 | 2069.141
28/10/2023 19:30 | 2132.461 | 2242.435 | 2022.187 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
28/10/2023 20:00 | 2086.217 | 2194.443 | 1977.864
28/10/2023 20:30 | 2043.599 | 2150.171 | 1936.938 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
28/10/2023 21:00 | 1995.606 | 2100.218 | 1890.939 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
28/10/2023 21:30 | 1942.86 | 2045.213 | 1840.444 | [5 empty] | 29/10/2023 09:30 | 29/10/2023 12:00 | 28/10/2023 09:00 |  | 28/10/2023 12:00 | 28/10/2023 12:00 |  | 28/10/2023 08:00 | [6 empty] | 28/10/2023 09:30 |  | 29/10/2023 09:30 | 29/10/2023 09:30 |  | 28/10/2023 08:00 | [6 empty] | 28/10/2023 09:00 |  | 28/10/2023 12:00 | 28/10/2023 12:00 |  | 28/10/2023 08:00
28/10/2023 22:00 | 1886.104 | 1985.955 | 1786.176 | [5 empty] | 29/10/2023 10:00 |  | 28/10/2023 09:30 |  | 29/10/2023 09:00 | 29/10/2023 09:00 | [8 empty] | 28/10/2023 10:00 |  | 29/10/2023 10:00 | 29/10/2023 10:00 | [8 empty] | 28/10/2023 09:30 |  | 28/10/2023 12:30 | 28/10/2023 12:30 |  | 29/10/2023 07:00
28/10/2023 22:30 | 1833.998 | 1931.568 | 1736.342 | [5 empty] | 29/10/2023 12:00 |  | 28/10/2023 10:00 |  | 29/10/2023 09:30 | 29/10/2023 09:30 | [8 empty] | 28/10/2023 10:30 |  | 29/10/2023 11:30 | 29/10/2023 11:30 | [8 empty] | 28/10/2023 10:00 |  | 29/10/2023 09:30 | 29/10/2023 09:30 |  | 29/10/2023 07:30
28/10/2023 23:00 | 1788.574 | 1884.242 | 1692.905 | [7 empty] | 28/10/2023 10:30 |  | 29/10/2023 10:00 | 29/10/2023 10:00 | [8 empty] | 28/10/2023 11:00 |  | 29/10/2023 12:00 | 29/10/2023 12:00 | [8 empty] | 28/10/2023 10:30 |  | 29/10/2023 10:00 | 29/10/2023 10:00 |  | 01/11/2023 09:30
28/10/2023 23:30 | 1745.709 | 1839.545 | 1651.874 | [7 empty] | 28/10/2023 11:00 |  | 29/10/2023 10:30 | 29/10/2023 10:30 | [8 empty] | 28/10/2023 11:30 |  | 01/11/2023 10:00 | 01/11/2023 10:00 | [8 empty] | 28/10/2023 11:00 |  | 29/10/2023 11:30 | 29/10/2023 11:30
29/10/2023 00:00 | 1704.256 | 1796.312 | 1612.201 | [7 empty] | 28/10/2023 11:30 |  | 29/10/2023 11:00 | 29/10/2023 11:00 | [8 empty] | 28/10/2023 12:00 |  | 01/11/2023 10:30 | 01/11/2023 10:30 | [8 empty] | 28/10/2023 11:30 |  | 29/10/2023 12:00 | 29/10/2023 12:00
29/10/2023 00:30 | 1677.072 | 1768.101 | 1586.043 | [7 empty] | 28/10/2023 12:00 |  | 29/10/2023 11:30 | 29/10/2023 11:30 | [8 empty] | 28/10/2023 12:30 |  | 01/11/2023 11:00 | 01/11/2023 11:00 | [8 empty] | 28/10/2023 12:00 |  | 29/10/2023 12:30 | 29/10/2023 12:30
29/10/2023 01:00 | 1658.727 | 1749.197 | 1568.257 | [7 empty] | 28/10/2023 12:30 |  | 29/10/2023 12:00 | 29/10/2023 12:00 | [8 empty] | 28/10/2023 13:00 | [11 empty] | 28/10/2023 12:30 |  | 01/11/2023 09:30 | 01/11/2023 09:30
29/10/2023 01:30 | 1647.98 | 1738.298 | 1557.663 | [7 empty] | 28/10/2023 13:00 |  | 29/10/2023 12:30 | 29/10/2023 12:30 | [8 empty] | 28/10/2023 13:30 | [11 empty] | 28/10/2023 13:00 |  | 01/11/2023 10:00 | 01/11/2023 10:00
29/10/2023 02:00 | 1641.401 | 1731.791 | 1551.012 | [7 empty] | 28/10/2023 13:30 |  | 01/11/2023 10:00 | 01/11/2023 10:00 | [20 empty] | 28/10/2023 13:30 |  | 01/11/2023 10:30 | 01/11/2023 10:30
29/10/2023 02:30 | 1636.154 | 1726.685 | 1545.623 | [9 empty] | 01/11/2023 10:30 | 01/11/2023 10:30 | [22 empty] | 01/11/2023 11:00 | 01/11/2023 11:00
29/10/2023 03:00 | 1634.857 | 1725.747 | 1543.967 | [9 empty] | 01/11/2023 11:00 | 01/11/2023 11:00
29/10/2023 03:30 | 1636.567 | 1727.982 | 1545.151
29/10/2023 04:00 | 1641.893 | 1734.038 | 1549.747
29/10/2023 04:30 | 1637.218 | 1729.532 | 1544.904
29/10/2023 05:00 | 1607.792 | 1698.87 | 1516.713
29/10/2023 05:30 | 1544.239 | 1632.124 | 1456.354
29/10/2023 06:00 | 1434.638 | 1516.663 | 1352.613
29/10/2023 06:30 | 1314.443 | 1389.908 | 1238.978
29/10/2023 07:00 | 1207.07 | 1276.596 | 1137.544
29/10/2023 07:30 | 1103.961 | 1167.759 | 1040.163
29/10/2023 08:00 | 1007.477 | 1065.891 | 949.0624
29/10/2023 08:30 | 915.3297 | 968.5764 | 862.0831
29/10/2023 09:00 | 838.1794 | 887.0983 | 789.2606
29/10/2023 09:30 | 779.3239 | 824.9566 | 733.6912
29/10/2023 10:00 | 772.6871 | 818.0789 | 727.2953
29/10/2023 10:30 | 849.7114 | 899.7903 | 799.6325
29/10/2023 11:00 | 861.9675 | 912.9334 | 811.0015
29/10/2023 11:30 | 781.0942 | 827.4276 | 734.7609
29/10/2023 12:00 | 748.7222 | 793.2786 | 704.166
29/10/2023 12:30 | 826.7319 | 876.0884 | 777.3756
29/10/2023 13:00 | 914.7673 | 969.5544 | 859.9805
29/10/2023 13:30 | 1031.899 | 1093.899 | 969.8998
29/10/2023 14:00 | 1131.431 | 1199.626 | 1063.235
29/10/2023 14:30 | 1178.534 | 1249.794 | 1107.274
29/10/2023 15:00 | 1278.06 | 1355.583 | 1200.538
29/10/2023 15:30 | 1447.278 | 1535.34 | 1359.215
29/10/2023 16:00 | 1645.576 | 1746.019 | 1545.133
29/10/2023 16:30 | 1842.434 | 1955.245 | 1729.623
29/10/2023 17:00 | 2024.267 | 2148.598 | 1899.936
29/10/2023 17:30 | 2168.004 | 2301.578 | 2034.431
29/10/2023 18:00 | 2252.859 | 2392.091 | 2113.627
29/10/2023 18:30 | 2281.295 | 2422.72 | 2139.87
29/10/2023 19:00 | 2253.189 | 2393.303 | 2113.076
29/10/2023 19:30 | 2200.793 | 2338.069 | 2063.517
29/10/2023 20:00 | 2141.355 | 2275.332 | 2007.377
29/10/2023 20:30 | 2074.19 | 2204.362 | 1944.019
29/10/2023 21:00 | 1998.916 | 2124.745 | 1873.086
29/10/2023 21:30 | 1926.488 | 2048.126 | 1804.85
29/10/2023 22:00 | 1858.177 | 1975.858 | 1740.497
29/10/2023 22:30 | 1798.366 | 1912.601 | 1684.13
29/10/2023 23:00 | 1753.488 | 1865.208 | 1641.768
29/10/2023 23:30 | 1719.318 | 1825.712 | 1612.923
30/10/2023 00:00 | 1694.085 | 1792.441 | 1595.729
30/10/2023 00:30 | 1670.028 | 1767.838 | 1572.219
30/10/2023 01:00 | 1655.941 | 1753.199 | 1558.684
30/10/2023 01:30 | 1653.137 | 1750.503 | 1555.771
30/10/2023 02:00 | 1651.181 | 1748.705 | 1553.658
30/10/2023 02:30 | 1654.669 | 1752.672 | 1556.667
30/10/2023 03:00 | 1661.496 | 1760.177 | 1562.814
30/10/2023 03:30 | 1676.967 | 1776.844 | 1577.09
30/10/2023 04:00 | 1712.97 | 1815.274 | 1610.666
30/10/2023 04:30 | 1761.371 | 1866.857 | 1655.886
30/10/2023 05:00 | 1810.559 | 1919.289 | 1701.828
30/10/2023 05:30 | 1841.406 | 1952.293 | 1730.52
30/10/2023 06:00 | 1809.252 | 1918.501 | 1700.003
30/10/2023 06:30 | 1726.535 | 1831.108 | 1621.963
30/10/2023 07:00 | 1589.116 | 1685.717 | 1492.514
30/10/2023 07:30 | 1400.941 | 1486.409 | 1315.472
30/10/2023 08:00 | 1241.672 | 1317.696 | 1165.649
30/10/2023 08:30 | 1098.594 | 1166.097 | 1031.091
30/10/2023 09:00 | 970.2947 | 1030.126 | 910.4631
30/10/2023 09:30 | 874.2247 | 928.3234 | 820.126
30/10/2023 10:00 | 823.8236 | 874.9834 | 772.6639
30/10/2023 10:30 | 810.925 | 861.4609 | 760.3891
30/10/2023 11:00 | 787.6256 | 836.8816 | 738.3696
30/10/2023 11:30 | 774.9193 | 823.5499 | 726.2886
30/10/2023 12:00 | 775.9041 | 824.7661 | 727.0421
30/10/2023 12:30 | 793.6675 | 843.8215 | 743.5135
30/10/2023 13:00 | 815.4554 | 867.1645 | 763.7464
30/10/2023 13:30 | 884.9739 | 941.2846 | 828.6633
30/10/2023 14:00 | 977.7789 | 1040.208 | 915.3494
30/10/2023 14:30 | 1110.115 | 1181.236 | 1038.994
30/10/2023 15:00 | 1284.294 | 1366.855 | 1201.733
30/10/2023 15:30 | 1498.33 | 1594.978 | 1401.682
30/10/2023 16:00 | 1716.357 | 1827.444 | 1605.271
30/10/2023 16:30 | 1930.244 | 2055.596 | 1804.893
30/10/2023 17:00 | 2125.48 | 2263.975 | 1986.986
30/10/2023 17:30 | 2281.45 | 2430.606 | 2132.295
30/10/2023 18:00 | 2383.842 | 2540.213 | 2227.471
30/10/2023 18:30 | 2409.474 | 2568.053 | 2250.896
30/10/2023 19:00 | 2364.693 | 2520.841 | 2208.545
30/10/2023 19:30 | 2296.555 | 2448.705 | 2144.405
30/10/2023 20:00 | 2224.207 | 2372.05 | 2076.364
30/10/2023 20:30 | 2147.188 | 2290.381 | 2003.996
30/10/2023 21:00 | 2063.548 | 2201.614 | 1925.482
30/10/2023 21:30 | 1984.636 | 2117.856 | 1851.417
30/10/2023 22:00 | 1911.105 | 2039.806 | 1782.404
30/10/2023 22:30 | 1846.758 | 1971.53 | 1721.987
30/10/2023 23:00 | 1800.518 | 1922.559 | 1678.477
30/10/2023 23:30 | 1759.785 | 1879.45 | 1640.121
31/10/2023 00:00 | 1724.061 | 1841.673 | 1606.449
31/10/2023 00:30 | 1699.422 | 1815.724 | 1583.12
31/10/2023 01:00 | 1687.911 | 1803.795 | 1572.028
31/10/2023 01:30 | 1682.032 | 1797.879 | 1566.185
31/10/2023 02:00 | 1678.333 | 1794.293 | 1562.374
31/10/2023 02:30 | 1679.369 | 1795.767 | 1562.972
31/10/2023 03:00 | 1685.361 | 1802.542 | 1568.18
31/10/2023 03:30 | 1701.063 | 1819.708 | 1582.419
31/10/2023 04:00 | 1734.989 | 1856.379 | 1613.599
31/10/2023 04:30 | 1779.81 | 1904.724 | 1654.895
31/10/2023 05:00 | 1810.352 | 1937.806 | 1682.898
31/10/2023 05:30 | 1807.98 | 1935.662 | 1680.298
31/10/2023 06:00 | 1759.719 | 1884.377 | 1635.061
31/10/2023 06:30 | 1669.067 | 1787.668 | 1550.466
31/10/2023 07:00 | 1538.754 | 1648.431 | 1429.077
31/10/2023 07:30 | 1367.837 | 1465.63 | 1270.043
31/10/2023 08:00 | 1203.756 | 1290.082 | 1117.43
31/10/2023 08:30 | 1067.969 | 1144.323 | 991.1473
31/10/2023 09:00 | 981.1501 | 1051.512 | 910.3595
31/10/2023 09:30 | 933.2015 | 1000.329 | 865.6666
31/10/2023 10:00 | 905.092 | 970.395 | 839.3936
31/10/2023 10:30 | 907.4727 | 973.1457 | 841.4032
31/10/2023 11:00 | 915.4618 | 981.913 | 848.6106
31/10/2023 11:30 | 928.0568 | 995.625 | 860.0831
31/10/2023 12:00 | 941.6995 | 1010.467 | 872.5208
31/10/2023 12:30 | 974.7609 | 1046.155 | 902.9405
31/10/2023 13:00 | 1034.444 | 1110.436 | 958.0002
31/10/2023 13:30 | 1129.181 | 1212.379 | 1045.49
31/10/2023 14:00 | 1248.869 | 1341.158 | 1156.034
31/10/2023 14:30 | 1401.737 | 1505.629 | 1297.232
31/10/2023 15:00 | 1578.501 | 1695.84 | 1460.473
31/10/2023 15:30 | 1770.858 | 1902.883 | 1638.06
31/10/2023 16:00 | 1947.489 | 2093.107 | 1801.019
31/10/2023 16:30 | 2118.395 | 2277.255 | 1958.609
31/10/2023 17:00 | 2264.786 | 2435.119 | 2094.453
31/10/2023 17:30 | 2359.81 | 2537.806 | 2181.814
31/10/2023 18:00 | 2418.029 | 2600.945 | 2235.114
31/10/2023 18:30 | 2418.901 | 2602.411 | 2235.392
31/10/2023 19:00 | 2359.634 | 2539.163 | 2180.105
31/10/2023 19:30 | 2285.954 | 2460.376 | 2111.532
31/10/2023 20:00 | 2210.345 | 2379.481 | 2041.208
31/10/2023 20:30 | 2131.915 | 2295.515 | 1968.314
31/10/2023 21:00 | 2051.979 | 2209.894 | 1894.065
31/10/2023 21:30 | 1980.925 | 2133.804 | 1828.046
31/10/2023 22:00 | 1911.192 | 2059.107 | 1763.276
31/10/2023 22:30 | 1852.768 | 1996.566 | 1708.969
31/10/2023 23:00 | 1811.896 | 1952.918 | 1670.874
31/10/2023 23:30 | 1775.413 | 1913.984 | 1636.843
01/11/2023 00:00 | 1744.537 | 1881.079 | 1607.996
01/11/2023 00:30 | 1728.211 | 1863.853 | 1592.57
01/11/2023 01:00 | 1719.576 | 1854.916 | 1584.237
01/11/2023 01:30 | 1707.449 | 1842.208 | 1572.691
01/11/2023 02:00 | 1699.177 | 1833.653 | 1564.7
01/11/2023 02:30 | 1698.111 | 1832.874 | 1563.348
01/11/2023 03:00 | 1701.533 | 1836.94 | 1566.127
01/11/2023 03:30 | 1718.231 | 1855.342 | 1581.12
01/11/2023 04:00 | 1745.335 | 1884.99 | 1605.68
01/11/2023 04:30 | 1786.971 | 1930.347 | 1643.594
01/11/2023 05:00 | 1827.071 | 1974.064 | 1680.077
01/11/2023 05:30 | 1835.716 | 1983.806 | 1687.626
01/11/2023 06:00 | 1809.79 | 1956.184 | 1663.396
01/11/2023 06:30 | 1737.808 | 1878.759 | 1596.857
01/11/2023 07:00 | 1620.799 | 1752.613 | 1488.984
01/11/2023 07:30 | 1469.444 | 1589.257 | 1349.632
01/11/2023 08:00 | 1328.658 | 1437.244 | 1220.072
01/11/2023 08:30 | 1218.839 | 1318.683 | 1118.994
01/11/2023 09:00 | 1145.722 | 1239.796 | 1051.648
01/11/2023 09:30 | 1094.412 | 1184.483 | 1004.341
01/11/2023 10:00 | 1067.26 | 1155.301 | 979.219
01/11/2023 10:30 | 1038.517 | 1124.386 | 952.6479
01/11/2023 11:00 | 1061.229 | 1149.179 | 973.2783
01/11/2023 11:30 | 1105.087 | 1196.884 | 1013.29
01/11/2023 12:00 | 1139.361 | 1234.224 | 1044.499
01/11/2023 12:30 | 1194.55 | 1294.237 | 1094.864
01/11/2023 13:00 | 1264.635 | 1370.412 | 1158.858
01/11/2023 13:30 | 1381.779 | 1497.62 | 1265.939
01/11/2023 14:00 | 1499.498 | 1625.494 | 1373.501
01/11/2023 14:30 | 1656.823 | 1796.357 | 1517.29
01/11/2023 15:00 | 1835.994 | 1990.969 | 1681.019
01/11/2023 15:30 | 2002.159 | 2171.543 | 1832.774
01/11/2023 16:00 | 2165.852 | 2349.5 | 1982.203
01/11/2023 16:30 | 2319.77 | 2516.913 | 2122.626
01/11/2023 17:00 | 2436.724 | 2644.274 | 2229.174
01/11/2023 17:30 | 2506.663 | 2720.65 | 2292.675
01/11/2023 18:00 | 2534.423 | 2751.266 | 2317.58
01/11/2023 18:30 | 2523.027 | 2739.379 | 2306.675
01/11/2023 19:00 | 2468.586 | 2680.742 | 2256.429
01/11/2023 19:30 | 2394.847 | 2601.125 | 2188.569
01/11/2023 20:00 | 2318.38 | 2518.516 | 2118.244
01/11/2023 20:30 | 2238.077 | 2431.71 | 2044.444
01/11/2023 21:00 | 2156.139 | 2343.096 | 1969.182
01/11/2023 21:30 | 2077.229 | 2257.741 | 1896.715
01/11/2023 22:00 | 2003.447 | 2177.932 | 1828.962
01/11/2023 22:30 | 1947.124 | 2117.077 | 1777.171
01/11/2023 23:00 | 1909.368 | 2076.392 | 1742.344
01/11/2023 23:30 | 1876.647 | 2041.168 | 1712.126
02/11/2023 00:00 | 1853.084 | 2015.895 | 1690.274
02/11/2023 00:30 | 1833.864 | 1995.338 | 1672.391
02/11/2023 01:00 | 1820.021 | 1980.624 | 1659.418
02/11/2023 01:30 | 1802.492 | 1961.894 | 1643.09
02/11/2023 02:00 | 1790.891 | 1949.61 | 1632.172
02/11/2023 02:30 | 1785.261 | 1943.824 | 1626.699
02/11/2023 03:00 | 1785.208 | 1944.108 | 1626.308
02/11/2023 03:30 | 1799.267 | 1959.763 | 1638.771
02/11/2023 04:00 | 1823.407 | 1986.406 | 1660.408
02/11/2023 04:30 | 1859.641 | 2026.236 | 1693.047
02/11/2023 05:00 | 1895.596 | 2065.775 | 1725.417
02/11/2023 05:30 | 1904.351 | 2075.681 | 1733.022
02/11/2023 06:00 | 1882.255 | 2051.957 | 1712.552
02/11/2023 06:30 | 1817.205 | 1981.391 | 1653.019
02/11/2023 07:00 | 1708.965 | 1863.699 | 1554.231
02/11/2023 07:30 | 1569.82 | 1712.256 | 1427.383
02/11/2023 08:00 | 1444.946 | 1576.329 | 1313.563
02/11/2023 08:30 | 1345.564 | 1444.08 | 1222.959
02/11/2023 09:00 | 1276.523 | 1364.359 | 1159.965
02/11/2023 09:30 | 1242.17 | 1320.061 | 1128.51
02/11/2023 10:00 | 1238.524 | 1309.312 | 1124.961
02/11/2023 10:30 | 1232.643 | 1299.235 | 1119.382
02/11/2023 11:00 | 1261.645 | 1325.932 | 1145.478
02/11/2023 11:30 | 1322.737 | 1385.984 | 1200.692
02/11/2023 12:00 | 1383.851 | 1447.706 | 1255.901
02/11/2023 12:30 | 1458.735 | 1529.977 | 1323.582
02/11/2023 13:00 | 1545.74 | 1624.635 | 1402.229
02/11/2023 13:30 | 1694.669 | 1783.336 | 1537.007
02/11/2023 14:00 | 1842.109 | 1942.594 | 1670.377
02/11/2023 14:30 | 2016.199 | 2132.844 | 1827.851
02/11/2023 15:00 | 2194.622 | 2327.712 | 1989.185
02/11/2023 15:30 | 2343.486 | 2491.758 | 2123.665
02/11/2023 16:00 | 2486.274 | 2649.916 | 2252.583
02/11/2023 16:30 | 2622.239 | 2799.098 | 2375.266
02/11/2023 17:00 | 2720.894 | 2906.011 | 2464.107
02/11/2023 17:30 | 2778.592 | 2970.543 | 2515.828
02/11/2023 18:00 | 2786.004 | 2982.214 | 2522.005
02/11/2023 18:30 | 2764.339 | 2960.537 | 2501.863
02/11/2023 19:00 | 2705.909 | 2897.236 | 2448.463
02/11/2023 19:30 | 2622.183 | 2807.517 | 2372.2
02/11/2023 20:00 | 2533.13 | 2713.351 | 2291.151
02/11/2023 20:30 | 2432.441 | 2608.602 | 2199.614
02/11/2023 21:00 | 2329.632 | 2500.955 | 2106.199
02/11/2023 21:30 | 2237.807 | 2405.578 | 2022.752
02/11/2023 22:00 | 2150.552 | 2315.339 | 1943.47
02/11/2023 22:30 | 2077.663 | 2240.156 | 1877.202
02/11/2023 23:00 | 2021.287 | 2182.568 | 1825.878
02/11/2023 23:30 | 1973.52 | 2134.669 | 1782.35
03/11/2023 00:00 | 1933.258 | 2095.014 | 1745.618
03/11/2023 00:30 | 1902.151 | 2064.001 | 1717.166
03/11/2023 01:00 | 1879.824 | 2041.56 | 1696.649
03/11/2023 01:30 | 1857.441 | 2018.925 | 1676.092
03/11/2023 02:00 | 1841.632 | 2003.382 | 1661.473
03/11/2023 02:30 | 1833 | 1995.22 | 1653.334
03/11/2023 03:00 | 1828.584 | 1991.54 | 1649.001
03/11/2023 03:30 | 1839.007 | 2003.94 | 1658.048
03/11/2023 04:00 | 1860.779 | 2028.794 | 1677.32
03/11/2023 04:30 | 1876.965 | 2062.379 | 1703.68
03/11/2023 05:00 | 1909.187 | 2098.15 | 1731.869
03/11/2023 05:30 | 1924.592 | 2115.449 | 1746.179
03/11/2023 06:00 | 1904.069 | 2093.256 | 1728.507
03/11/2023 06:30 | 1839.13 | 2022.217 | 1670.843
03/11/2023 07:00 | 1734.286 | 1907.268 | 1577.537
03/11/2023 07:30 | 1600.582 | 1760.616 | 1459.525
03/11/2023 08:00 | 1474.667 | 1622.619 | 1349.865
03/11/2023 08:30 | 1371.442 | 1509.497 | 1260.078
03/11/2023 09:00 | 1308.28 | 1440.416 | 1206.1
03/11/2023 09:30 | 1270.601 | 1399.358 | 1175.469
03/11/2023 10:00 | 1265.822 | 1394.519 | 1175.641
03/11/2023 10:30 | 1258.434 | 1386.801 | 1170.942
03/11/2023 11:00 | 1287.914 | 1419.72 | 1198.499
03/11/2023 11:30 | 1343.387 | 1481.321 | 1251.636
03/11/2023 12:00 | 1401.03 | 1545.352 | 1306.201
03/11/2023 12:30 | 1491.451 | 1645.588 | 1388.625
03/11/2023 13:00 | 1574.332 | 1737.562 | 1463.11
03/11/2023 13:30 | 1703.995 | 1881.24 | 1581.169
03/11/2023 14:00 | 1847.774 | 2040.594 | 1711.596
03/11/2023 14:30 | 2019.1 | 2230.476 | 1807.725
03/11/2023 15:00 | 2204.647 | 2436.186 | 1973.108
03/11/2023 15:30 | 2369.283 | 2618.907 | 2119.658
03/11/2023 16:00 | 2521.586 | 2788.102 | 2255.07
03/11/2023 16:30 | 2644.482 | 2924.875 | 2364.09
03/11/2023 17:00 | 2716.603 | 3005.552 | 2427.653
03/11/2023 17:30 | 2740.021 | 3032.381 | 2447.662
03/11/2023 18:00 | 2733.337 | 3025.9 | 2440.774
03/11/2023 18:30 | 2707.672 | 2998.395 | 2416.948
03/11/2023 19:00 | 2649.379 | 2934.732 | 2364.026
03/11/2023 19:30 | 2568.407 | 2845.9 | 2290.914
03/11/2023 20:00 | 2490.474 | 2760.382 | 2220.566
03/11/2023 20:30 | 2410.076 | 2672.079 | 2148.073
03/11/2023 21:00 | 2329.016 | 2582.988 | 2075.044
03/11/2023 21:30 | 2250.167 | 2496.296 | 2004.039
03/11/2023 22:00 | 2170.997 | 2409.193 | 1932.8
03/11/2023 22:30 | 2098.464 | 2329.405 | 1867.522
03/11/2023 23:00 | 2035.297 | 2259.97 | 1810.625
03/11/2023 23:30 | 1980.3 | 2198.278 | 1762.322
04/11/2023 00:00 | 1929.258 | 2139.857 | 1718.659
04/11/2023 00:30 | 1890.489 | 2097.925 | 1683.054
04/11/2023 01:00 | 1861.786 | 2066.905 | 1656.667
04/11/2023 01:30 | 1835.747 | 2038.818 | 1632.675
04/11/2023 02:00 | 1818.434 | 2020.404 | 1616.464
04/11/2023 02:30 | 1803.004 | 2004.067 | 1601.941
04/11/2023 03:00 | 1791.434 | 1992.008 | 1590.859
04/11/2023 03:30 | 1791.334 | 1992.698 | 1589.969
04/11/2023 04:00 | 1789.64 | 1991.615 | 1587.665
04/11/2023 04:30 | 1774.891 | 1975.996 | 1573.786
04/11/2023 05:00 | 1758.368 | 1958.387 | 1558.348
04/11/2023 05:30 | 1731.942 | 1929.73 | 1534.153
04/11/2023 06:00 | 1669.271 | 1860.649 | 1477.892
04/11/2023 06:30 | 1577.944 | 1759.558 | 1396.33
04/11/2023 07:00 | 1469.281 | 1639.045 | 1299.516
04/11/2023 07:30 | 1360.522 | 1518.33 | 1202.715