## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
29/10/2023 08:00 | 1294.27 | 1318.659 | 1275.025
29/10/2023 08:30 | 1210.327 | 1235.316 | 1185.339 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
29/10/2023 09:00 | 1122.986 | 1150.465 | 1095.508 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
29/10/2023 09:30 | 1070.093 | 1100.368 | 1039.818 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
29/10/2023 10:00 | 1017.526 | 1050.204 | 984.8476 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
29/10/2023 10:30 | 983.8754 | 1009.616 | 941.4301 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
29/10/2023 11:00 | 961.2857 | 991.4497 | 922.877 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
29/10/2023 11:30 | 937.0374 | 971.351 | 902.2844 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
29/10/2023 12:00 | 927.2461 | 964.4178 | 893.9776 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
29/10/2023 12:30 | 963.6844 | 1000.338 | 925.3417 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
29/10/2023 13:00 | 1030.397 | 1070.677 | 988.3437 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
29/10/2023 13:30 | 1144.404 | 1191.436 | 1097.523
29/10/2023 14:00 | 1251.84 | 1303.864 | 1198.586 | Summary view - for each schedule horizon (dispatch, week-ahead)
29/10/2023 14:30 | 1318.532 | 1376.011 | 1262.271
29/10/2023 15:00 | 1405.5 | 1469.095 | 1344.852 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
29/10/2023 15:30 | 1550.34 | 1620.953 | 1480.773 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
29/10/2023 16:00 | 1721.831 | 1801.649 | 1642.41 | Scenario | Violations
29/10/2023 16:30 | 1888.364 | 1978.03 | 1799.441 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
29/10/2023 17:00 | 2047.502 | 2145.718 | 1947.918 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
29/10/2023 17:30 | 2176.519 | 2282.73 | 2067.979 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 1
29/10/2023 18:00 | 2256.208 | 2368.902 | 2141.566 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 4 | 4 | 0 | 2
29/10/2023 18:30 | 2283.926 | 2399.829 | 2166.202 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 2 | 2 | 0 | 1
29/10/2023 19:00 | 2253.259 | 2369.037 | 2137.482
29/10/2023 19:30 | 2199.548 | 2313.145 | 2085.951 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
29/10/2023 20:00 | 2140.338 | 2251.441 | 2029.236
29/10/2023 20:30 | 2072.962 | 2181.113 | 1964.811 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
29/10/2023 21:00 | 1998.465 | 2103.255 | 1893.674 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
29/10/2023 21:30 | 1926.76 | 2028.298 | 1825.223 | [7 empty] | 29/10/2023 10:00 |  |  |  |  | 29/10/2023 08:00 | [6 empty] | 29/10/2023 10:00 |  | 30/10/2023 10:30 | 30/10/2023 10:30 |  | 29/10/2023 08:00 | [6 empty] | 29/10/2023 10:00 |  | 01/11/2023 10:30 | 01/11/2023 10:30 |  | 29/10/2023 08:00
29/10/2023 22:00 | 1858.356 | 1956.778 | 1759.933 | [7 empty] | 29/10/2023 10:30 | [11 empty] | 29/10/2023 10:30 |  | 01/11/2023 10:00 | 01/11/2023 10:00 |  | 31/10/2023 06:30 | [6 empty] | 29/10/2023 10:30 |  | 01/11/2023 11:00 | 01/11/2023 11:00
29/10/2023 22:30 | 1799.5 | 1895.279 | 1703.721 | [7 empty] | 29/10/2023 11:00 | [11 empty] | 29/10/2023 11:30 |  | 01/11/2023 10:30 | 01/11/2023 10:30 | [8 empty] | 29/10/2023 11:00
29/10/2023 23:00 | 1755.553 | 1849.455 | 1661.651 | [7 empty] | 29/10/2023 11:30 | [11 empty] | 29/10/2023 12:00 |  | 01/11/2023 11:00 | 01/11/2023 11:00 | [8 empty] | 29/10/2023 11:30
29/10/2023 23:30 | 1722.355 | 1810.988 | 1633.722 | [7 empty] | 29/10/2023 12:00 | [11 empty] | 29/10/2023 12:30 | [11 empty] | 29/10/2023 12:00
30/10/2023 00:00 | 1697.912 | 1778.106 | 1617.718 | [7 empty] | 29/10/2023 12:30 | [11 empty] | 29/10/2023 13:00 | [11 empty] | 29/10/2023 12:30
30/10/2023 00:30 | 1674.057 | 1754.447 | 1593.666 | [7 empty] | 29/10/2023 13:00 | [23 empty] | 29/10/2023 13:00
30/10/2023 01:00 | 1660.058 | 1740.426 | 1579.691 | [7 empty] | 29/10/2023 14:00 | [23 empty] | 29/10/2023 13:30
30/10/2023 01:30 | 1656.991 | 1737.859 | 1576.123 | [31 empty] | 29/10/2023 14:00
30/10/2023 02:00 | 1655.106 | 1736.53 | 1573.682
30/10/2023 02:30 | 1658.374 | 1740.608 | 1576.141
30/10/2023 03:00 | 1665.13 | 1748.35 | 1581.91
30/10/2023 03:30 | 1680.767 | 1765.427 | 1596.108
30/10/2023 04:00 | 1717.162 | 1804.327 | 1629.998
30/10/2023 04:30 | 1766.339 | 1856.692 | 1675.987
30/10/2023 05:00 | 1814.084 | 1907.589 | 1720.579
30/10/2023 05:30 | 1843.451 | 1939.191 | 1747.711
30/10/2023 06:00 | 1812.43 | 1907.269 | 1717.592
30/10/2023 06:30 | 1727.32 | 1818.242 | 1636.399
30/10/2023 07:00 | 1588.117 | 1671.951 | 1504.282
30/10/2023 07:30 | 1386.289 | 1459.698 | 1312.879
30/10/2023 08:00 | 1203.835 | 1267.781 | 1139.888
30/10/2023 08:30 | 1056.057 | 1112.328 | 999.7861
30/10/2023 09:00 | 931.5086 | 981.2969 | 881.7202
30/10/2023 09:30 | 840.0436 | 885.082 | 795.0052
30/10/2023 10:00 | 787.9492 | 830.3246 | 745.5738
30/10/2023 10:30 | 776.3138 | 818.1917 | 734.436
30/10/2023 11:00 | 757.9754 | 798.9892 | 716.9617
30/10/2023 11:30 | 745.8775 | 786.3597 | 705.3952
30/10/2023 12:00 | 749.6689 | 790.4808 | 708.8571
30/10/2023 12:30 | 771.2205 | 813.3329 | 729.1081
30/10/2023 13:00 | 795.9624 | 839.5573 | 752.3675
30/10/2023 13:30 | 865.8478 | 913.4133 | 818.2823
30/10/2023 14:00 | 961.5719 | 1014.555 | 908.5891
30/10/2023 14:30 | 1096.892 | 1157.512 | 1036.272
30/10/2023 15:00 | 1273.711 | 1344.313 | 1203.108
30/10/2023 15:30 | 1487.273 | 1569.959 | 1404.587
30/10/2023 16:00 | 1708.928 | 1804.219 | 1613.637
30/10/2023 16:30 | 1924.862 | 2032.511 | 1817.212
30/10/2023 17:00 | 2120.825 | 2239.783 | 2001.866
30/10/2023 17:30 | 2275 | 2402.982 | 2147.017
30/10/2023 18:00 | 2374.778 | 2508.766 | 2240.791
30/10/2023 18:30 | 2401.178 | 2537.052 | 2265.304
30/10/2023 19:00 | 2357.108 | 2490.876 | 2223.339
30/10/2023 19:30 | 2290.392 | 2420.753 | 2160.031
30/10/2023 20:00 | 2218.913 | 2345.572 | 2092.254
30/10/2023 20:30 | 2142.192 | 2264.825 | 2019.559
30/10/2023 21:00 | 2058.893 | 2177.097 | 1940.688
30/10/2023 21:30 | 1980.639 | 2094.677 | 1866.6
30/10/2023 22:00 | 1907.132 | 2017.253 | 1797.01
30/10/2023 22:30 | 1843.626 | 1950.385 | 1736.867
30/10/2023 23:00 | 1798.29 | 1902.721 | 1693.859
30/10/2023 23:30 | 1759.137 | 1861.585 | 1656.69
31/10/2023 00:00 | 1724.965 | 1825.707 | 1624.223
31/10/2023 00:30 | 1701.095 | 1800.724 | 1601.467
31/10/2023 01:00 | 1689.594 | 1788.828 | 1590.36
31/10/2023 01:30 | 1682.986 | 1782.11 | 1583.862
31/10/2023 02:00 | 1679.055 | 1778.225 | 1579.886
31/10/2023 02:30 | 1679.819 | 1779.312 | 1580.327
31/10/2023 03:00 | 1685.389 | 1785.49 | 1585.289
31/10/2023 03:30 | 1700.268 | 1801.533 | 1599.004
31/10/2023 04:00 | 1734.274 | 1837.85 | 1630.698
31/10/2023 04:30 | 1779.835 | 1886.426 | 1673.244
31/10/2023 05:00 | 1810.183 | 1918.89 | 1701.475
31/10/2023 05:30 | 1812.991 | 1922.167 | 1703.816
31/10/2023 06:00 | 1773.658 | 1880.758 | 1666.558
31/10/2023 06:30 | 1689.332 | 1791.651 | 1587.013
31/10/2023 07:00 | 1559.411 | 1654.207 | 1464.615
31/10/2023 07:30 | 1384.386 | 1468.844 | 1299.927
31/10/2023 08:00 | 1223.618 | 1298.537 | 1148.7
31/10/2023 08:30 | 1083.024 | 1149.57 | 1016.478
31/10/2023 09:00 | 993.511 | 1054.774 | 932.2477
31/10/2023 09:30 | 941.8877 | 1000.174 | 883.6019
31/10/2023 10:00 | 917.1132 | 974.0663 | 860.1602
31/10/2023 10:30 | 940.7882 | 999.417 | 882.1594
31/10/2023 11:00 | 974.8239 | 1035.787 | 913.861
31/10/2023 11:30 | 1027.39 | 1091.865 | 962.9154
31/10/2023 12:00 | 1046.392 | 1112.288 | 980.4965
31/10/2023 12:30 | 1026.503 | 1091.37 | 961.6354
31/10/2023 13:00 | 1049.589 | 1116.145 | 983.0333
31/10/2023 13:30 | 1127.608 | 1199.357 | 1055.858
31/10/2023 14:00 | 1233.072 | 1311.801 | 1154.342
31/10/2023 14:30 | 1376.625 | 1464.821 | 1288.429
31/10/2023 15:00 | 1548.461 | 1648.004 | 1448.918
31/10/2023 15:30 | 1746.189 | 1858.824 | 1633.553
31/10/2023 16:00 | 1932.26 | 2057.32 | 1807.2
31/10/2023 16:30 | 2111.79 | 2248.931 | 1974.649
31/10/2023 17:00 | 2266.151 | 2413.812 | 2118.491
31/10/2023 17:30 | 2367.982 | 2522.795 | 2213.169
31/10/2023 18:00 | 2433.089 | 2592.69 | 2273.488
31/10/2023 18:30 | 2435.605 | 2595.903 | 2275.307
31/10/2023 19:00 | 2375.177 | 2532.018 | 2218.337
31/10/2023 19:30 | 2303.455 | 2456.063 | 2150.848
31/10/2023 20:00 | 2228.266 | 2376.378 | 2080.153
31/10/2023 20:30 | 2148.95 | 2292.26 | 2005.64
31/10/2023 21:00 | 2067.062 | 2205.363 | 1928.761
31/10/2023 21:30 | 1993.188 | 2126.982 | 1859.395
31/10/2023 22:00 | 1920.836 | 2050.193 | 1791.48
31/10/2023 22:30 | 1859.255 | 1984.871 | 1733.639
31/10/2023 23:00 | 1814.203 | 1937.171 | 1691.234
31/10/2023 23:30 | 1773.334 | 1893.92 | 1652.749
01/11/2023 00:00 | 1738.43 | 1857.022 | 1619.838
01/11/2023 00:30 | 1720.298 | 1838.029 | 1602.567
01/11/2023 01:00 | 1710.925 | 1828.388 | 1593.461
01/11/2023 01:30 | 1699.765 | 1816.833 | 1582.696
01/11/2023 02:00 | 1692.044 | 1808.95 | 1575.137
01/11/2023 02:30 | 1691.5 | 1808.738 | 1574.262
01/11/2023 03:00 | 1695.341 | 1812.476 | 1577.466
01/11/2023 03:30 | 1712.641 | 1831.344 | 1593.188
01/11/2023 04:00 | 1740.432 | 1861.443 | 1618.662
01/11/2023 04:30 | 1782.971 | 1907.328 | 1657.834
01/11/2023 05:00 | 1822.753 | 1950.283 | 1694.426
01/11/2023 05:30 | 1830.164 | 1958.613 | 1700.916
01/11/2023 06:00 | 1804.957 | 1932.031 | 1677.095
01/11/2023 06:30 | 1733.221 | 1855.624 | 1610.062
01/11/2023 07:00 | 1616.15 | 1730.637 | 1500.956
01/11/2023 07:30 | 1464.803 | 1568.889 | 1360.077
01/11/2023 08:00 | 1324.265 | 1418.654 | 1229.297
01/11/2023 08:30 | 1215.414 | 1302.31 | 1127.986
01/11/2023 09:00 | 1141.63 | 1223.501 | 1059.261
01/11/2023 09:30 | 1087.862 | 1166.114 | 1009.134
01/11/2023 10:00 | 1058.894 | 1135.293 | 982.031
01/11/2023 10:30 | 1031.289 | 1105.922 | 956.205
01/11/2023 11:00 | 1053.47 | 1129.939 | 976.5413
01/11/2023 11:30 | 1095.938 | 1175.729 | 1015.669
01/11/2023 12:00 | 1130.206 | 1212.738 | 1047.673
01/11/2023 12:30 | 1185.385 | 1272.206 | 1098.563
01/11/2023 13:00 | 1255.994 | 1348.261 | 1163.727
01/11/2023 13:30 | 1373.205 | 1474.383 | 1272.027
01/11/2023 14:00 | 1491.669 | 1601.902 | 1381.437
01/11/2023 14:30 | 1646.625 | 1768.668 | 1524.582
01/11/2023 15:00 | 1825.067 | 1960.734 | 1689.4
01/11/2023 15:30 | 1990.97 | 2139.405 | 1842.536
01/11/2023 16:00 | 2152.55 | 2313.501 | 1991.599
01/11/2023 16:30 | 2304.64 | 2477.467 | 2131.813
01/11/2023 17:00 | 2420.588 | 2602.639 | 2238.537
01/11/2023 17:30 | 2490.375 | 2678.219 | 2302.531
01/11/2023 18:00 | 2519.151 | 2709.716 | 2328.586
01/11/2023 18:30 | 2508.655 | 2698.974 | 2318.336
01/11/2023 19:00 | 2455.709 | 2642.548 | 2268.871
01/11/2023 19:30 | 2382.411 | 2564.193 | 2200.629
01/11/2023 20:00 | 2306.133 | 2482.599 | 2129.667
01/11/2023 20:30 | 2226.434 | 2397.288 | 2055.58
01/11/2023 21:00 | 2145.367 | 2310.468 | 1980.265
01/11/2023 21:30 | 2067.497 | 2227.058 | 1907.937
01/11/2023 22:00 | 1994.533 | 2148.899 | 1840.168
01/11/2023 22:30 | 1938.534 | 2088.989 | 1788.079
01/11/2023 23:00 | 1900.362 | 2048.27 | 1752.455
01/11/2023 23:30 | 1866.542 | 2012.225 | 1720.859
02/11/2023 00:00 | 1841.642 | 1985.784 | 1697.5
02/11/2023 00:30 | 1821.858 | 1964.85 | 1678.867
02/11/2023 01:00 | 1807.41 | 1949.663 | 1665.158
02/11/2023 01:30 | 1789.938 | 1931.206 | 1648.669
02/11/2023 02:00 | 1778.981 | 1919.773 | 1638.189
02/11/2023 02:30 | 1773.59 | 1914.343 | 1632.837
02/11/2023 03:00 | 1773.499 | 1914.632 | 1632.366
02/11/2023 03:30 | 1787.215 | 1929.831 | 1644.6
02/11/2023 04:00 | 1811.539 | 1956.491 | 1666.587
02/11/2023 04:30 | 1847.871 | 1996.134 | 1699.608
02/11/2023 05:00 | 1883.362 | 2034.885 | 1731.84
02/11/2023 05:30 | 1889.468 | 2041.895 | 1737.042
02/11/2023 06:00 | 1861.357 | 2011.922 | 1710.792
02/11/2023 06:30 | 1789.732 | 1934.895 | 1644.57
02/11/2023 07:00 | 1676.157 | 1812.474 | 1539.84
02/11/2023 07:30 | 1531.994 | 1656.906 | 1407.081
02/11/2023 08:00 | 1399.968 | 1514.382 | 1285.554
02/11/2023 08:30 | 1292.771 | 1398.672 | 1186.87
02/11/2023 09:00 | 1218.942 | 1319.028 | 1118.855
02/11/2023 09:30 | 1177.828 | 1274.765 | 1080.892
02/11/2023 10:00 | 1168.337 | 1264.716 | 1071.957
02/11/2023 10:30 | 1159.384 | 1255.246 | 1063.521
02/11/2023 11:00 | 1184.23 | 1282.374 | 1086.086
02/11/2023 11:30 | 1238.594 | 1341.481 | 1135.707
02/11/2023 12:00 | 1293.246 | 1400.921 | 1185.571
02/11/2023 12:30 | 1365.773 | 1479.748 | 1251.798
02/11/2023 13:00 | 1445.567 | 1566.478 | 1324.656
02/11/2023 13:30 | 1577.626 | 1709.885 | 1445.367
02/11/2023 14:00 | 1714.055 | 1858.08 | 1570.03
02/11/2023 14:30 | 1893.375 | 2052.83 | 1733.919
02/11/2023 15:00 | 2075.298 | 2250.472 | 1900.123
02/11/2023 15:30 | 2232.448 | 2421.315 | 2043.581
02/11/2023 16:00 | 2386.939 | 2589.334 | 2184.544
02/11/2023 16:30 | 2531.74 | 2746.898 | 2316.583
02/11/2023 17:00 | 2636.826 | 2861.42 | 2412.232
02/11/2023 17:30 | 2701.823 | 2932.471 | 2471.175
02/11/2023 18:00 | 2716.662 | 2949.097 | 2484.226
02/11/2023 18:30 | 2697.144 | 2928.427 | 2465.862
02/11/2023 19:00 | 2637.376 | 2864.038 | 2410.713
02/11/2023 19:30 | 2557.04 | 2777.289 | 2336.792
02/11/2023 20:00 | 2472.353 | 2685.781 | 2258.925
02/11/2023 20:30 | 2378.309 | 2584.075 | 2172.544
02/11/2023 21:00 | 2281.141 | 2478.937 | 2083.345
02/11/2023 21:30 | 2194.952 | 2385.695 | 2004.208
02/11/2023 22:00 | 2112.957 | 2296.98 | 1928.934
02/11/2023 22:30 | 2044.049 | 2222.462 | 1865.635
02/11/2023 23:00 | 1990.923 | 2165.081 | 1816.766
02/11/2023 23:30 | 1946.853 | 2117.528 | 1776.177
03/11/2023 00:00 | 1910.324 | 2078.163 | 1742.484
03/11/2023 00:30 | 1881.939 | 2047.645 | 1716.232
03/11/2023 01:00 | 1861.608 | 2025.881 | 1697.335
03/11/2023 01:30 | 1840.719 | 2003.502 | 1677.937
03/11/2023 02:00 | 1826.299 | 1988.156 | 1664.441
03/11/2023 02:30 | 1819.067 | 1980.632 | 1657.502
03/11/2023 03:00 | 1815.687 | 1977.299 | 1654.074
03/11/2023 03:30 | 1826.794 | 1989.746 | 1663.843
03/11/2023 04:00 | 1849.122 | 2014.42 | 1683.824
03/11/2023 04:30 | 1879.83 | 2048.233 | 1711.427
03/11/2023 05:00 | 1913.411 | 2085.189 | 1741.633
03/11/2023 05:30 | 1930.497 | 2104.179 | 1756.815
03/11/2023 06:00 | 1911.833 | 2084.203 | 1739.464
03/11/2023 06:30 | 1850.199 | 2017.366 | 1683.032
03/11/2023 07:00 | 1750.574 | 1909.075 | 1592.072
03/11/2023 07:30 | 1622.058 | 1767.915 | 1474.882
03/11/2023 08:00 | 1504.991 | 1639.875 | 1368.148
03/11/2023 08:30 | 1414.952 | 1540.999 | 1286.026
03/11/2023 09:00 | 1362.7 | 1483.556 | 1238.273
03/11/2023 09:30 | 1336.623 | 1454.916 | 1214.321
03/11/2023 10:00 | 1336.637 | 1454.586 | 1214.077
03/11/2023 10:30 | 1324.369 | 1440.598 | 1202.681
03/11/2023 11:00 | 1359.356 | 1478.802 | 1234.192
03/11/2023 11:30 | 1421.286 | 1546.547 | 1290.148
03/11/2023 12:00 | 1485.403 | 1616.741 | 1348.064
03/11/2023 12:30 | 1594.552 | 1736.354 | 1446.815
03/11/2023 13:00 | 1688.731 | 1839.509 | 1531.945
03/11/2023 13:30 | 1830.498 | 1994.898 | 1660.199
03/11/2023 14:00 | 1986.755 | 2166.335 | 1801.538
03/11/2023 14:30 | 2162.504 | 2359.597 | 1960.489
03/11/2023 15:00 | 2337.578 | 2551.967 | 2118.759
03/11/2023 15:30 | 2472.587 | 2700.366 | 2240.656
03/11/2023 16:00 | 2602.994 | 2844.38 | 2358.333
03/11/2023 16:30 | 2713.638 | 2966.764 | 2458.057
03/11/2023 17:00 | 2773.159 | 3033.104 | 2511.44
03/11/2023 17:30 | 2786.289 | 3048.83 | 2522.796
03/11/2023 18:00 | 2775.462 | 3038.319 | 2512.461
03/11/2023 18:30 | 2752.825 | 3014.618 | 2491.442
03/11/2023 19:00 | 2701.263 | 2959.075 | 2444.258
03/11/2023 19:30 | 2621.553 | 2872.78 | 2371.629
03/11/2023 20:00 | 2544.034 | 2788.726 | 2301.013
03/11/2023 20:30 | 2462.657 | 2700.37 | 2226.938
03/11/2023 21:00 | 2381.648 | 2610.069 | 2151.439
03/11/2023 21:30 | 2300.138 | 2521.183 | 2077.277
03/11/2023 22:00 | 2217.655 | 2431.198 | 2002.357
03/11/2023 22:30 | 2145.55 | 2352.561 | 1936.941
03/11/2023 23:00 | 2088.018 | 2289.878 | 1884.724
03/11/2023 23:30 | 2042.46 | 2237.823 | 1845.762
04/11/2023 00:00 | 2002.757 | 2189.78 | 1814.405
04/11/2023 00:30 | 1969.424 | 2153.827 | 1783.704
04/11/2023 01:00 | 1943.119 | 2125.158 | 1759.915
04/11/2023 01:30 | 1914.295 | 2093.732 | 1733.665
04/11/2023 02:00 | 1894.617 | 2072.305 | 1715.69
04/11/2023 02:30 | 1877.256 | 2053.411 | 1699.99
04/11/2023 03:00 | 1863.644 | 2038.618 | 1687.581
04/11/2023 03:30 | 1860.85 | 2035.657 | 1684.931
04/11/2023 04:00 | 1856.314 | 2030.789 | 1680.76
04/11/2023 04:30 | 1839.649 | 2012.652 | 1665.718
04/11/2023 05:00 | 1817.142 | 1988.12 | 1645.518
04/11/2023 05:30 | 1786.901 | 1955.125 | 1618.573
04/11/2023 06:00 | 1737.653 | 1901.329 | 1574.224
04/11/2023 06:30 | 1667.177 | 1824.299 | 1510.504
04/11/2023 07:00 | 1590.562 | 1740.546 | 1441.129
04/11/2023 07:30 | 1527.536 | 1671.87 | 1383.253
04/11/2023 08:00 | 1487.034 | 1628.242 | 1345.283
04/11/2023 08:30 | 1453.741 | 1592.438 | 1314.556
04/11/2023 09:00 | 1418.648 | 1554.632 | 1282.571
04/11/2023 09:30 | 1372.302 | 1504.457 | 1240.4
04/11/2023 10:00 | 1334.218 | 1463.303 | 1206.15
04/11/2023 10:30 | 1309.091 | 1436.33 | 1182.642
04/11/2023 11:00 | 1353.434 | 1485.589 | 1221.835
04/11/2023 11:30 | 1421.018 | 1560.408 | 1282.009
04/11/2023 12:00 | 1483.06 | 1629.199 | 1336.702
04/11/2023 12:30 | 1575.365 | 1731.305 | 1418.179
04/11/2023 13:00 | 1655.5 | 1820.114 | 1487.919
04/11/2023 13:30 | 1741.959 | 1915.949 | 1564.033
04/11/2023 14:00 | 1869.658 | 2057.239 | 1676.746
04/11/2023 14:30 | 2054.326 | 2261.353 | 1841.275
04/11/2023 15:00 | 2233.365 | 2459.435 | 2000.152
04/11/2023 15:30 | 2407.894 | 2652.708 | 2154.655
04/11/2023 16:00 | 2580.318 | 2843.817 | 2308.051
04/11/2023 16:30 | 2723.377 | 3002.704 | 2435.384
04/11/2023 17:00 | 2809.061 | 3098.433 | 2512.156
04/11/2023 17:30 | 2859.736 | 3155.608 | 2557.367
04/11/2023 18:00 | 2867.88 | 3165.877 | 2564.296
04/11/2023 18:30 | 2836.995 | 3133.052 | 2536.406
04/11/2023 19:00 | 2775.571 | 3066.461 | 2481.114
04/11/2023 19:30 | 2701.51 | 2985.847 | 2414.195
04/11/2023 20:00 | 2630.595 | 2908.646 | 2350.128
04/11/2023 20:30 | 2562.067 | 2834.02 | 2288.334
04/11/2023 21:00 | 2488.316 | 2753.554 | 2221.793
04/11/2023 21:30 | 2406.083 | 2663.632 | 2147.674
04/11/2023 22:00 | 2322.199 | 2571.809 | 2071.864
04/11/2023 22:30 | 2249.13 | 2491.892 | 2005.579
04/11/2023 23:00 | 2191.093 | 2428.572 | 1952.789
04/11/2023 23:30 | 2146.294 | 2379.878 | 1911.843
05/11/2023 00:00 | 2108.646 | 2339.075 | 1877.355
05/11/2023 00:30 | 2072.875 | 2300.323 | 1844.563
05/11/2023 01:00 | 2043.495 | 2268.634 | 1817.409
05/11/2023 01:30 | 2009.756 | 2232.076 | 1786.799
05/11/2023 02:00 | 1984.364 | 2204.764 | 1763.598
05/11/2023 02:30 | 1964.369 | 2183.427 | 1745.311
05/11/2023 03:00 | 1945.918 | 2163.79 | 1728.047
05/11/2023 03:30 | 1934.738 | 2152.223 | 1717.253
05/11/2023 04:00 | 1926.021 | 2143.388 | 1708.654
05/11/2023 04:30 | 1852.754 | 2062.682 | 1642.827
05/11/2023 05:00 | 1752.903 | 1952.301 | 1553.505
05/11/2023 05:30 | 1694.515 | 1888.029 | 1501
05/11/2023 06:00 | 1611.09 | 1795.799 | 1426.382
05/11/2023 06:30 | 1512.644 | 1686.742 | 1338.545
05/11/2023 07:00 | 1409.753 | 1572.64 | 1246.866
05/11/2023 07:30 | 1310.142 | 1462.106 | 1158.178