## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
01/11/2023 08:00 | 1349.65 | 1372.195 | 1333.965
01/11/2023 08:30 | 1238.799 | 1259.982 | 1217.616 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
01/11/2023 09:00 | 1144.131 | 1167.096 | 1121.166 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
01/11/2023 09:30 | 1066.624 | 1091.205 | 1042.044 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
01/11/2023 10:00 | 1011.62 | 1037.941 | 985.3004 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
01/11/2023 10:30 | 967.5604 | 987.3395 | 933.0403 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
01/11/2023 11:00 | 962.8407 | 984.9555 | 929.2217 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
01/11/2023 11:30 | 985.9216 | 1011.214 | 952.1569 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
01/11/2023 12:00 | 1009.516 | 1038.422 | 975.8922 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
01/11/2023 12:30 | 1044.026 | 1075.855 | 1009.124 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
01/11/2023 13:00 | 1100.61 | 1135.558 | 1063.072 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
01/11/2023 13:30 | 1194.545 | 1233.117 | 1152.18
01/11/2023 14:00 | 1297.878 | 1341.176 | 1250.731 | Summary view - for each schedule horizon (dispatch, week-ahead)
01/11/2023 14:30 | 1433.922 | 1483.167 | 1380.483
01/11/2023 15:00 | 1605.821 | 1662.567 | 1544.48 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
01/11/2023 15:30 | 1776.894 | 1841.868 | 1707.749 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
01/11/2023 16:00 | 1950.277 | 2023.558 | 1872.593 | Scenario | Violations
01/11/2023 16:30 | 2121.867 | 2203.455 | 2035.138 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
01/11/2023 17:00 | 2265.071 | 2354.898 | 2170.822 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
01/11/2023 17:30 | 2362.836 | 2459.348 | 2262.737 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 3
01/11/2023 18:00 | 2414.816 | 2517.686 | 2311.946 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
01/11/2023 18:30 | 2419.091 | 2523.981 | 2314.201 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 14 | 0 | 4
01/11/2023 19:00 | 2372.933 | 2476.668 | 2269.198
01/11/2023 19:30 | 2302.67 | 2404.234 | 2201.105 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
01/11/2023 20:00 | 2229.102 | 2328.294 | 2129.91
01/11/2023 20:30 | 2152.495 | 2249.12 | 2055.869 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
01/11/2023 21:00 | 2073.659 | 2167.557 | 1979.76 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
01/11/2023 21:30 | 1997.625 | 2088.862 | 1906.387 | [9 empty] | 05/11/2023 10:30 | 05/11/2023 10:30 |  | 01/11/2023 08:00 | [11 empty] | 01/11/2023 08:00 | [8 empty] | 05/11/2023 09:30 | 05/11/2023 09:30 |  | 01/11/2023 08:00
01/11/2023 22:00 | 1927.681 | 2016.478 | 1838.884 | [9 empty] | 05/11/2023 11:00 | 05/11/2023 11:00 |  | 01/11/2023 08:30 | [11 empty] | 01/11/2023 08:30 | [8 empty] | 05/11/2023 10:00 | 05/11/2023 10:00 |  | 01/11/2023 08:30
01/11/2023 22:30 | 1871.955 | 1958.917 | 1784.992 | [12 empty] | 02/11/2023 10:30 | [20 empty] | 05/11/2023 10:30 | 05/11/2023 10:30 |  | 02/11/2023 11:00
01/11/2023 23:00 | 1829.555 | 1915.264 | 1743.846 | [33 empty] | 05/11/2023 11:00 | 05/11/2023 11:00 |  | 02/11/2023 12:00
01/11/2023 23:30 | 1789.581 | 1874.118 | 1705.044 | [33 empty] | 05/11/2023 11:30 | 05/11/2023 11:30
02/11/2023 00:00 | 1758.142 | 1841.882 | 1674.402 | [33 empty] | 05/11/2023 12:00 | 05/11/2023 12:00
02/11/2023 00:30 | 1736.699 | 1820.098 | 1653.301 | [33 empty] | 05/11/2023 12:30 | 05/11/2023 12:30
02/11/2023 01:00 | 1722.511 | 1805.902 | 1639.12 | [33 empty] | 07/11/2023 10:00 | 07/11/2023 10:00
02/11/2023 01:30 | 1710.632 | 1794.118 | 1627.146 | [33 empty] | 07/11/2023 10:30 | 07/11/2023 10:30
02/11/2023 02:00 | 1704.111 | 1787.945 | 1620.276 | [33 empty] | 07/11/2023 11:00 | 07/11/2023 11:00
02/11/2023 02:30 | 1702.957 | 1787.401 | 1618.512 | [33 empty] | 07/11/2023 11:30 | 07/11/2023 11:30
02/11/2023 03:00 | 1706.84 | 1792.144 | 1621.535 | [33 empty] | 07/11/2023 12:00 | 07/11/2023 12:00
02/11/2023 03:30 | 1724.341 | 1811.196 | 1637.487 | [33 empty] | 07/11/2023 12:30 | 07/11/2023 12:30
02/11/2023 04:00 | 1751.498 | 1840.405 | 1662.59 | [33 empty] | 07/11/2023 13:00 | 07/11/2023 13:00
02/11/2023 04:30 | 1790.471 | 1882.058 | 1698.884
02/11/2023 05:00 | 1828.04 | 1922.264 | 1733.816
02/11/2023 05:30 | 1835.405 | 1930.727 | 1740.083
02/11/2023 06:00 | 1807.089 | 1901.648 | 1712.531
02/11/2023 06:30 | 1729.111 | 1820.127 | 1638.095
02/11/2023 07:00 | 1609.277 | 1694.229 | 1524.325
02/11/2023 07:30 | 1458.031 | 1535.24 | 1380.823
02/11/2023 08:00 | 1323.123 | 1393.406 | 1252.84
02/11/2023 08:30 | 1220.362 | 1285.388 | 1155.336
02/11/2023 09:00 | 1150.961 | 1212.479 | 1089.443
02/11/2023 09:30 | 1116.762 | 1176.637 | 1056.888
02/11/2023 10:00 | 1110.457 | 1170.177 | 1050.737
02/11/2023 10:30 | 1110.669 | 1170.584 | 1050.755
02/11/2023 11:00 | 1145.3 | 1207.272 | 1083.328
02/11/2023 11:30 | 1201.744 | 1266.968 | 1136.52
02/11/2023 12:00 | 1266.271 | 1335.207 | 1197.336
02/11/2023 12:30 | 1359.71 | 1433.957 | 1285.464
02/11/2023 13:00 | 1451.206 | 1530.688 | 1371.723
02/11/2023 13:30 | 1578.662 | 1665.386 | 1491.938
02/11/2023 14:00 | 1705.646 | 1799.628 | 1611.665
02/11/2023 14:30 | 1863.477 | 1966.463 | 1760.492
02/11/2023 15:00 | 2032.247 | 2144.896 | 1919.599
02/11/2023 15:30 | 2187.849 | 2309.484 | 2066.214
02/11/2023 16:00 | 2342.222 | 2472.826 | 2211.618
02/11/2023 16:30 | 2487.6 | 2626.72 | 2348.479
02/11/2023 17:00 | 2594.869 | 2740.417 | 2449.321
02/11/2023 17:30 | 2660.877 | 2810.568 | 2511.187
02/11/2023 18:00 | 2680.211 | 2831.432 | 2528.991
02/11/2023 18:30 | 2666.362 | 2817.241 | 2515.483
02/11/2023 19:00 | 2612.679 | 2760.951 | 2464.406
02/11/2023 19:30 | 2537.866 | 2682.312 | 2393.419
02/11/2023 20:00 | 2456.885 | 2597.127 | 2316.642
02/11/2023 20:30 | 2365.967 | 2501.411 | 2230.523
02/11/2023 21:00 | 2270.693 | 2401.057 | 2140.329
02/11/2023 21:30 | 2185.778 | 2311.628 | 2059.928
02/11/2023 22:00 | 2105.432 | 2227.004 | 1983.86
02/11/2023 22:30 | 2038.624 | 2156.675 | 1920.574
02/11/2023 23:00 | 1987.393 | 2102.806 | 1871.981
02/11/2023 23:30 | 1945.765 | 2059.081 | 1832.448
03/11/2023 00:00 | 1912.462 | 2024.155 | 1800.77
03/11/2023 00:30 | 1886.165 | 1996.612 | 1775.697
03/11/2023 01:00 | 1867.239 | 1976.894 | 1757.571
03/11/2023 01:30 | 1847.057 | 1955.832 | 1738.27
03/11/2023 02:00 | 1832.76 | 1940.996 | 1724.512
03/11/2023 02:30 | 1826.259 | 1934.413 | 1718.093
03/11/2023 03:00 | 1823.583 | 1931.88 | 1715.275
03/11/2023 03:30 | 1834.39 | 1943.633 | 1725.138
03/11/2023 04:00 | 1856.212 | 1967.061 | 1745.353
03/11/2023 04:30 | 1887.688 | 2000.728 | 1774.637
03/11/2023 05:00 | 1922.279 | 2037.707 | 1806.839
03/11/2023 05:30 | 1949.146 | 2066.51 | 1831.772
03/11/2023 06:00 | 1960.057 | 2078.4 | 1841.702
03/11/2023 06:30 | 1937.035 | 2054.344 | 1819.702
03/11/2023 07:00 | 1873.719 | 1987.609 | 1759.806
03/11/2023 07:30 | 1768.605 | 1876.498 | 1660.7
03/11/2023 08:00 | 1675.855 | 1778.462 | 1573.249
03/11/2023 08:30 | 1608.909 | 1707.768 | 1510.05
03/11/2023 09:00 | 1554.126 | 1649.959 | 1458.294
03/11/2023 09:30 | 1505.049 | 1598.184 | 1411.914
03/11/2023 10:00 | 1483.179 | 1575.285 | 1391.073
03/11/2023 10:30 | 1461.544 | 1552.626 | 1370.463
03/11/2023 11:00 | 1500.54 | 1594.38 | 1406.701
03/11/2023 11:30 | 1575.603 | 1674.481 | 1476.724
03/11/2023 12:00 | 1636.747 | 1739.82 | 1533.674
03/11/2023 12:30 | 1729.974 | 1839.295 | 1620.652
03/11/2023 13:00 | 1810.596 | 1925.408 | 1695.784
03/11/2023 13:30 | 1927.476 | 2050.121 | 1804.831
03/11/2023 14:00 | 2054.686 | 2185.875 | 1923.498
03/11/2023 14:30 | 2219.148 | 2361.322 | 2076.975
03/11/2023 15:00 | 2386.364 | 2539.772 | 2232.956
03/11/2023 15:30 | 2538.861 | 2702.627 | 2375.095
03/11/2023 16:00 | 2690.443 | 2864.575 | 2516.312
03/11/2023 16:30 | 2811.35 | 2993.921 | 2628.779
03/11/2023 17:00 | 2879.669 | 3067.305 | 2692.032
03/11/2023 17:30 | 2903.199 | 3091.735 | 2713.395
03/11/2023 18:00 | 2900.36 | 3089.345 | 2710.108
03/11/2023 18:30 | 2874.637 | 3062.573 | 2685.444
03/11/2023 19:00 | 2815.056 | 2999.713 | 2629.169
03/11/2023 19:30 | 2741.421 | 2921.846 | 2559.797
03/11/2023 20:00 | 2665.56 | 2841.575 | 2488.38
03/11/2023 20:30 | 2581.922 | 2752.978 | 2409.737
03/11/2023 21:00 | 2494.794 | 2660.624 | 2327.875
03/11/2023 21:30 | 2406.828 | 2567.336 | 2245.269
03/11/2023 22:00 | 2317.468 | 2472.522 | 2161.4
03/11/2023 22:30 | 2240.58 | 2390.979 | 2089.2
03/11/2023 23:00 | 2180.247 | 2327.073 | 2032.468
03/11/2023 23:30 | 2133.389 | 2282.607 | 1983.207
04/11/2023 00:00 | 2093.339 | 2250.104 | 1935.569
04/11/2023 00:30 | 2057.827 | 2211.589 | 1903.082
04/11/2023 01:00 | 2029.511 | 2181.642 | 1876.41
04/11/2023 01:30 | 1995.803 | 2145.884 | 1844.768
04/11/2023 02:00 | 1972.369 | 2121.16 | 1822.637
04/11/2023 02:30 | 1952.454 | 2100.209 | 1804.7
04/11/2023 03:00 | 1933.662 | 2080.457 | 1786.868
04/11/2023 03:30 | 1928.201 | 2075.041 | 1781.361
04/11/2023 04:00 | 1924.059 | 2071.043 | 1777.075
04/11/2023 04:30 | 1908.324 | 2054.562 | 1762.086
04/11/2023 05:00 | 1881.923 | 2026.588 | 1737.259
04/11/2023 05:30 | 1845.227 | 1987.512 | 1702.943
04/11/2023 06:00 | 1787.268 | 1925.51 | 1649.026
04/11/2023 06:30 | 1699.898 | 1831.788 | 1568.008
04/11/2023 07:00 | 1600.193 | 1724.73 | 1475.656
04/11/2023 07:30 | 1500.965 | 1618.138 | 1383.792
04/11/2023 08:00 | 1418.607 | 1529.69 | 1307.525
04/11/2023 08:30 | 1348.804 | 1454.742 | 1242.865
04/11/2023 09:00 | 1305.873 | 1408.752 | 1202.995
04/11/2023 09:30 | 1269.277 | 1369.576 | 1168.978
04/11/2023 10:00 | 1258.189 | 1357.912 | 1158.466
04/11/2023 10:30 | 1266.741 | 1367.445 | 1166.038
04/11/2023 11:00 | 1310.76 | 1415.276 | 1206.244
04/11/2023 11:30 | 1366.442 | 1475.724 | 1257.159
04/11/2023 12:00 | 1413.037 | 1526.384 | 1299.691
04/11/2023 12:30 | 1471.776 | 1590.186 | 1353.366
04/11/2023 13:00 | 1535.728 | 1659.649 | 1411.806
04/11/2023 13:30 | 1648.873 | 1782.319 | 1515.427
04/11/2023 14:00 | 1801.136 | 1947.335 | 1654.937
04/11/2023 14:30 | 1952.539 | 2111.493 | 1793.584
04/11/2023 15:00 | 2112.353 | 2284.822 | 1939.883
04/11/2023 15:30 | 2264.929 | 2450.397 | 2079.461
04/11/2023 16:00 | 2417.66 | 2616.212 | 2219.108
04/11/2023 16:30 | 2556.33 | 2766.881 | 2345.779
04/11/2023 17:00 | 2645.906 | 2864.467 | 2427.345
04/11/2023 17:30 | 2706.3 | 2930.496 | 2482.103
04/11/2023 18:00 | 2725.999 | 2952.479 | 2499.52
04/11/2023 18:30 | 2711.887 | 2937.842 | 2485.933
04/11/2023 19:00 | 2675.715 | 2899.295 | 2452.135
04/11/2023 19:30 | 2601.384 | 2819.374 | 2383.393
04/11/2023 20:00 | 2532.001 | 2744.782 | 2319.22
04/11/2023 20:30 | 2474.311 | 2682.835 | 2265.787
04/11/2023 21:00 | 2409.056 | 2612.656 | 2205.456
04/11/2023 21:30 | 2333.795 | 2531.592 | 2135.998
04/11/2023 22:00 | 2255.19 | 2446.864 | 2063.517
04/11/2023 22:30 | 2183.257 | 2369.338 | 1997.175
04/11/2023 23:00 | 2121.102 | 2302.392 | 1939.811
04/11/2023 23:30 | 2069.139 | 2246.483 | 1891.796
05/11/2023 00:00 | 2019.963 | 2193.574 | 1846.352
05/11/2023 00:30 | 1979.491 | 2150.097 | 1808.886
05/11/2023 01:00 | 1950.062 | 2118.597 | 1781.527
05/11/2023 01:30 | 1922.964 | 2089.616 | 1756.312
05/11/2023 02:00 | 1902.857 | 2068.222 | 1737.493
05/11/2023 02:30 | 1886.637 | 2051.042 | 1722.231
05/11/2023 03:00 | 1870.727 | 2034.193 | 1707.261
05/11/2023 03:30 | 1865.043 | 2028.458 | 1701.628
05/11/2023 04:00 | 1861.912 | 2025.497 | 1698.327
05/11/2023 04:30 | 1795.102 | 1953.246 | 1636.958
05/11/2023 05:00 | 1708.933 | 1859.894 | 1557.972
05/11/2023 05:30 | 1676.072 | 1824.53 | 1527.613
05/11/2023 06:00 | 1637.922 | 1783.392 | 1492.451
05/11/2023 06:30 | 1597.862 | 1740.157 | 1455.568
05/11/2023 07:00 | 1527.628 | 1664.033 | 1391.223
05/11/2023 07:30 | 1410.608 | 1536.806 | 1284.409
05/11/2023 08:00 | 1301.205 | 1417.667 | 1184.743
05/11/2023 08:30 | 1190.991 | 1297.65 | 1084.332
05/11/2023 09:00 | 1105.291 | 1204.331 | 1006.251
05/11/2023 09:30 | 1022.622 | 1114.306 | 930.937
05/11/2023 10:00 | 974.565 | 1061.991 | 887.1393
05/11/2023 10:30 | 939.3259 | 1023.638 | 855.0135
05/11/2023 11:00 | 944.373 | 1029.187 | 859.5594
05/11/2023 11:30 | 993.2585 | 1082.513 | 904.004
05/11/2023 12:00 | 1000.91 | 1090.903 | 910.9171
05/11/2023 12:30 | 1006.147 | 1096.663 | 915.6318
05/11/2023 13:00 | 1042.043 | 1135.841 | 948.2457
05/11/2023 13:30 | 1133.445 | 1235.528 | 1031.362
05/11/2023 14:00 | 1253.414 | 1366.366 | 1140.462
05/11/2023 14:30 | 1398.615 | 1524.723 | 1272.507
05/11/2023 15:00 | 1548.989 | 1688.734 | 1409.243
05/11/2023 15:30 | 1700.904 | 1854.441 | 1547.366
05/11/2023 16:00 | 1872.957 | 2042.121 | 1703.793
05/11/2023 16:30 | 2034.497 | 2218.354 | 1850.639
05/11/2023 17:00 | 2160.826 | 2356.21 | 1965.441
05/11/2023 17:30 | 2249.007 | 2452.479 | 2045.534
05/11/2023 18:00 | 2284.926 | 2491.764 | 2078.087
05/11/2023 18:30 | 2273.18 | 2479.071 | 2067.288
05/11/2023 19:00 | 2228.401 | 2430.35 | 2026.452
05/11/2023 19:30 | 2160.076 | 2355.943 | 1964.208
05/11/2023 20:00 | 2093.47 | 2283.405 | 1903.536
05/11/2023 20:30 | 2033.122 | 2217.684 | 1848.559
05/11/2023 21:00 | 1966.546 | 2145.166 | 1787.927
05/11/2023 21:30 | 1899.669 | 2072.311 | 1727.027
05/11/2023 22:00 | 1836.841 | 2003.866 | 1669.815
05/11/2023 22:30 | 1789.333 | 1952.131 | 1626.536
05/11/2023 23:00 | 1761.547 | 1921.906 | 1601.188
05/11/2023 23:30 | 1743.769 | 1900.529 | 1587.009
06/11/2023 00:00 | 1733.473 | 1885.408 | 1581.537
06/11/2023 00:30 | 1716 | 1867.095 | 1564.905
06/11/2023 01:00 | 1703.469 | 1853.787 | 1553.15
06/11/2023 01:30 | 1689.539 | 1838.952 | 1540.126
06/11/2023 02:00 | 1680.771 | 1829.73 | 1531.811
06/11/2023 02:30 | 1677.015 | 1825.963 | 1528.067
06/11/2023 03:00 | 1677.867 | 1827.213 | 1528.521
06/11/2023 03:30 | 1694.109 | 1845.225 | 1542.993
06/11/2023 04:00 | 1722.811 | 1876.817 | 1568.804
06/11/2023 04:30 | 1756.36 | 1913.702 | 1599.018
06/11/2023 05:00 | 1786.242 | 1946.604 | 1625.881
06/11/2023 05:30 | 1823.352 | 1987.394 | 1659.309
06/11/2023 06:00 | 1866.344 | 2034.612 | 1698.076
06/11/2023 06:30 | 1880.428 | 2050.326 | 1710.53
06/11/2023 07:00 | 1849.243 | 2016.678 | 1681.808
06/11/2023 07:30 | 1763.209 | 1923.193 | 1603.226
06/11/2023 08:00 | 1694.766 | 1848.864 | 1540.668
06/11/2023 08:30 | 1642.389 | 1792.039 | 1492.738
06/11/2023 09:00 | 1561.942 | 1704.562 | 1419.322
06/11/2023 09:30 | 1439.423 | 1571.131 | 1307.714
06/11/2023 10:00 | 1351.913 | 1475.873 | 1227.953
06/11/2023 10:30 | 1320.765 | 1442.122 | 1199.407
06/11/2023 11:00 | 1336.471 | 1459.527 | 1213.414
06/11/2023 11:30 | 1402.956 | 1532.403 | 1273.509
06/11/2023 12:00 | 1408.194 | 1538.394 | 1277.994
06/11/2023 12:30 | 1384.43 | 1512.699 | 1256.162
06/11/2023 13:00 | 1364.247 | 1490.907 | 1237.587
06/11/2023 13:30 | 1331.693 | 1455.586 | 1207.8
06/11/2023 14:00 | 1330.857 | 1454.928 | 1206.787
06/11/2023 14:30 | 1449.042 | 1584.408 | 1313.676
06/11/2023 15:00 | 1596.707 | 1746.173 | 1447.241
06/11/2023 15:30 | 1792.639 | 1960.79 | 1624.488
06/11/2023 16:00 | 1982.603 | 2168.953 | 1796.253
06/11/2023 16:30 | 2131.202 | 2331.927 | 1930.476
06/11/2023 17:00 | 2233.43 | 2444.211 | 2022.648
06/11/2023 17:30 | 2292.333 | 2509.114 | 2075.553
06/11/2023 18:00 | 2320.569 | 2540.464 | 2100.674
06/11/2023 18:30 | 2314.44 | 2534.198 | 2094.682
06/11/2023 19:00 | 2252.794 | 2467.13 | 2038.458
06/11/2023 19:30 | 2179.828 | 2387.639 | 1972.016
06/11/2023 20:00 | 2107.546 | 2308.871 | 1906.221
06/11/2023 20:30 | 2033.124 | 2227.729 | 1838.519
06/11/2023 21:00 | 1956.185 | 2143.801 | 1768.569
06/11/2023 21:30 | 1882.167 | 2063.044 | 1701.289
06/11/2023 22:00 | 1813.098 | 1987.685 | 1638.51
06/11/2023 22:30 | 1758.286 | 1927.932 | 1588.639
06/11/2023 23:00 | 1720.774 | 1887.131 | 1554.417
06/11/2023 23:30 | 1689.317 | 1852.957 | 1525.678
07/11/2023 00:00 | 1662.138 | 1823.464 | 1500.813
07/11/2023 00:30 | 1641.104 | 1800.703 | 1481.505
07/11/2023 01:00 | 1629.675 | 1788.474 | 1470.875
07/11/2023 01:30 | 1617.94 | 1775.906 | 1459.974
07/11/2023 02:00 | 1610.881 | 1768.467 | 1453.296
07/11/2023 02:30 | 1610.94 | 1768.84 | 1453.04
07/11/2023 03:00 | 1613.902 | 1772.402 | 1455.402
07/11/2023 03:30 | 1630.317 | 1790.742 | 1469.893
07/11/2023 04:00 | 1659.757 | 1823.396 | 1496.117
07/11/2023 04:30 | 1696.095 | 1863.642 | 1528.547
07/11/2023 05:00 | 1723.013 | 1893.549 | 1552.476
07/11/2023 05:30 | 1758.19 | 1932.546 | 1583.835
07/11/2023 06:00 | 1800.59 | 1979.494 | 1621.685
07/11/2023 06:30 | 1788.974 | 1967.067 | 1610.88
07/11/2023 07:00 | 1741.897 | 1915.638 | 1568.156
07/11/2023 07:30 | 1647.576 | 1812.309 | 1482.843
07/11/2023 08:00 | 1522.925 | 1675.719 | 1370.131
07/11/2023 08:30 | 1384.642 | 1524.026 | 1245.257
07/11/2023 09:00 | 1256.538 | 1383.448 | 1129.628
07/11/2023 09:30 | 1126.037 | 1240.144 | 1011.93
07/11/2023 10:00 | 1024.377 | 1128.526 | 920.228
07/11/2023 10:30 | 959.787 | 1057.691 | 861.8834
07/11/2023 11:00 | 941.6084 | 1037.974 | 845.2433
07/11/2023 11:30 | 947.5986 | 1044.895 | 850.3028
07/11/2023 12:00 | 933.5103 | 1029.672 | 837.348
07/11/2023 12:30 | 936.2092 | 1032.964 | 839.455
07/11/2023 13:00 | 951.1779 | 1049.798 | 852.5578
07/11/2023 13:30 | 1007.728 | 1112.549 | 902.9066
07/11/2023 14:00 | 1103.008 | 1218.11 | 987.9063
07/11/2023 14:30 | 1238.039 | 1367.647 | 1108.431
07/11/2023 15:00 | 1392.422 | 1538.659 | 1246.186
07/11/2023 15:30 | 1553.677 | 1717.37 | 1389.984
07/11/2023 16:00 | 1728.837 | 1911.564 | 1546.109
07/11/2023 16:30 | 1912.232 | 2114.984 | 1709.48
07/11/2023 17:00 | 2065.011 | 2284.655 | 1845.368
07/11/2023 17:30 | 2173.607 | 2405.531 | 1941.684
07/11/2023 18:00 | 2235.642 | 2474.934 | 1996.35
07/11/2023 18:30 | 2244.549 | 2485.547 | 2003.551
07/11/2023 19:00 | 2206.4 | 2444.042 | 1968.759
07/11/2023 19:30 | 2142.891 | 2374.411 | 1911.371
07/11/2023 20:00 | 2074.61 | 2299.448 | 1849.771
07/11/2023 20:30 | 2004.727 | 2222.664 | 1786.79
07/11/2023 21:00 | 1930.216 | 2140.7 | 1719.732
07/11/2023 21:30 | 1856.738 | 2059.832 | 1653.644
07/11/2023 22:00 | 1788.09 | 1984.275 | 1591.906
07/11/2023 22:30 | 1733.696 | 1924.493 | 1542.898
07/11/2023 23:00 | 1695.004 | 1882.112 | 1507.896
07/11/2023 23:30 | 1663.219 | 1847.376 | 1479.062
08/11/2023 00:00 | 1635.67 | 1817.325 | 1454.015
08/11/2023 00:30 | 1615.84 | 1795.835 | 1435.846
08/11/2023 01:00 | 1606.091 | 1785.539 | 1426.644
08/11/2023 01:30 | 1593.72 | 1772.32 | 1415.121
08/11/2023 02:00 | 1585.114 | 1763.28 | 1406.947
08/11/2023 02:30 | 1584.539 | 1763.172 | 1405.906
08/11/2023 03:00 | 1588.267 | 1767.853 | 1408.681
08/11/2023 03:30 | 1603.864 | 1785.751 | 1421.976
08/11/2023 04:00 | 1632.268 | 1817.924 | 1446.613
08/11/2023 04:30 | 1672.46 | 1863.248 | 1481.672
08/11/2023 05:00 | 1702.833 | 1897.657 | 1508.009
08/11/2023 05:30 | 1705.382 | 1901.069 | 1509.695
08/11/2023 06:00 | 1673.017 | 1865.551 | 1480.483
08/11/2023 06:30 | 1596.526 | 1780.793 | 1412.259
08/11/2023 07:00 | 1481.676 | 1653.183 | 1310.167
08/11/2023 07:30 | 1331.65 | 1486.238 | 1177.061