## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
03/11/2023 08:00 | 1592.92 | 1614.841 | 1569.852
03/11/2023 08:30 | 1539.956 | 1566.289 | 1513.623 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
03/11/2023 09:00 | 1523.076 | 1553.648 | 1492.504 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
03/11/2023 09:30 | 1509.588 | 1544.377 | 1474.799 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
03/11/2023 10:00 | 1504.394 | 1543.535 | 1465.253 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
03/11/2023 10:30 | 1527.492 | 1570.682 | 1484.302 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
03/11/2023 11:00 | 1549.635 | 1594.755 | 1504.516 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
03/11/2023 11:30 | 1603.506 | 1636.626 | 1541.044 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
03/11/2023 12:00 | 1652.305 | 1700.564 | 1598.163 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
03/11/2023 12:30 | 1713.537 | 1767.559 | 1657.924 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
03/11/2023 13:00 | 1784.225 | 1842.596 | 1724.978 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
03/11/2023 13:30 | 1904.447 | 1967.884 | 1838.719
03/11/2023 14:00 | 2033.34 | 2103.913 | 1962.033 | Summary view - for each schedule horizon (dispatch, week-ahead)
03/11/2023 14:30 | 2191.89 | 2269.979 | 2112.821
03/11/2023 15:00 | 2360.991 | 2447.114 | 2273.303 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
03/11/2023 15:30 | 2511.555 | 2606.791 | 2416.972 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
03/11/2023 16:00 | 2657.063 | 2760.157 | 2554.239 | Scenario | Violations
03/11/2023 16:30 | 2781.093 | 2890.053 | 2669.29 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
03/11/2023 17:00 | 2864.578 | 2979.54 | 2746.636 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
03/11/2023 17:30 | 2909.235 | 3028.226 | 2786.136 | Reference Scenario | 0 | 0 | 0 | 0 | 16 | 15 | 0 | 0 | 22 | 22 | 0 | 1
03/11/2023 18:00 | 2924.194 | 3046.645 | 2797.679 | High Demand Scenario | 0 | 0 | 0 | 0 | 12 | 10 | 0 | 0 | 18 | 18 | 0 | 1
03/11/2023 18:30 | 2904.703 | 3030.649 | 2778.757 | Low Demand Scenario | 0 | 0 | 0 | 0 | 16 | 14 | 0 | 0 | 22 | 22 | 0 | 1
03/11/2023 19:00 | 2842.158 | 2966.405 | 2717.91
03/11/2023 19:30 | 2759.608 | 2881.327 | 2637.889 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
03/11/2023 20:00 | 2677.093 | 2796.22 | 2557.966
03/11/2023 20:30 | 2585.871 | 2701.951 | 2469.791 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
03/11/2023 21:00 | 2492.024 | 2604.867 | 2379.182 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
03/11/2023 21:30 | 2399.231 | 2508.811 | 2289.652 | [5 empty] | 05/11/2023 09:30 | 05/11/2023 09:30 |  |  | 05/11/2023 09:00 | 05/11/2023 09:00 |  | 03/11/2023 08:00 |  |  |  |  | 05/11/2023 09:30 | 05/11/2023 10:00 |  |  | 05/11/2023 09:00 | 05/11/2023 09:00 |  | 03/11/2023 08:00 |  |  |  |  | 05/11/2023 09:30 | 05/11/2023 09:30 |  |  | 03/11/2023 12:00 | 03/11/2023 12:00 |  | 03/11/2023 08:00
03/11/2023 22:00 | 2307.258 | 2413.54 | 2200.976 | [5 empty] | 05/11/2023 10:00 | 05/11/2023 10:00 |  |  | 05/11/2023 09:30 | 05/11/2023 09:30 | [6 empty] | 05/11/2023 10:00 | 05/11/2023 10:30 |  |  | 05/11/2023 09:30 | 05/11/2023 09:30 | [6 empty] | 05/11/2023 10:00 | 05/11/2023 10:00 |  |  | 05/11/2023 09:00 | 05/11/2023 09:00
03/11/2023 22:30 | 2227.021 | 2330.479 | 2123.563 | [5 empty] | 05/11/2023 10:30 | 05/11/2023 10:30 |  |  | 05/11/2023 10:00 | 05/11/2023 10:00 | [6 empty] | 05/11/2023 10:30 | 05/11/2023 11:00 |  |  | 05/11/2023 10:00 | 05/11/2023 10:00 | [6 empty] | 05/11/2023 10:30 | 05/11/2023 10:30 |  |  | 05/11/2023 09:30 | 05/11/2023 09:30
03/11/2023 23:00 | 2160.644 | 2261.864 | 2059.425 | [5 empty] | 05/11/2023 11:00 | 05/11/2023 11:00 |  |  | 05/11/2023 10:30 | 05/11/2023 10:30 | [6 empty] | 05/11/2023 11:00 | 05/11/2023 11:30 |  |  | 05/11/2023 10:30 | 05/11/2023 10:30 | [6 empty] | 05/11/2023 11:00 | 05/11/2023 11:00 |  |  | 05/11/2023 10:00 | 05/11/2023 10:00
03/11/2023 23:30 | 2105.91 | 2210.216 | 2001.604 | [5 empty] | 05/11/2023 11:30 | 05/11/2023 11:30 |  |  | 05/11/2023 11:00 | 05/11/2023 11:00 | [6 empty] | 05/11/2023 11:30 | 05/11/2023 12:00 |  |  | 05/11/2023 11:00 | 05/11/2023 11:00 | [6 empty] | 05/11/2023 11:30 | 05/11/2023 11:30 |  |  | 05/11/2023 10:30 | 05/11/2023 10:30
04/11/2023 00:00 | 2058.827 | 2170.857 | 1946.798 | [5 empty] | 05/11/2023 12:00 | 05/11/2023 12:00 |  |  | 05/11/2023 11:30 | 05/11/2023 11:30 | [6 empty] | 05/11/2023 12:00 | 05/11/2023 12:30 |  |  | 05/11/2023 11:30 | 05/11/2023 11:30 | [6 empty] | 05/11/2023 12:00 | 05/11/2023 12:00 |  |  | 05/11/2023 11:00 | 05/11/2023 11:00
04/11/2023 00:30 | 2021.193 | 2130.9 | 1911.485 | [5 empty] | 05/11/2023 12:30 | 05/11/2023 12:30 |  |  | 05/11/2023 12:00 | 05/11/2023 12:00 | [6 empty] | 05/11/2023 12:30 | 08/11/2023 10:30 |  |  | 05/11/2023 12:00 | 05/11/2023 12:00 | [6 empty] | 05/11/2023 12:30 | 05/11/2023 12:30 |  |  | 05/11/2023 11:30 | 05/11/2023 11:30
04/11/2023 01:00 | 1993.013 | 2101.716 | 1884.311 | [5 empty] | 05/11/2023 13:00 | 05/11/2023 13:00 |  |  | 05/11/2023 12:30 | 05/11/2023 12:30 | [6 empty] | 08/11/2023 10:00 | 08/11/2023 11:00 |  |  | 05/11/2023 12:30 | 05/11/2023 12:30 | [6 empty] | 05/11/2023 13:00 | 08/11/2023 09:30 |  |  | 05/11/2023 12:00 | 05/11/2023 12:00
04/11/2023 01:30 | 1962.956 | 2070.536 | 1855.376 | [5 empty] | 08/11/2023 09:30 | 08/11/2023 09:30 |  |  | 05/11/2023 13:00 | 05/11/2023 13:00 | [6 empty] | 08/11/2023 10:30 | 08/11/2023 11:30 |  |  | 05/11/2023 13:00 | 05/11/2023 13:00 | [6 empty] | 08/11/2023 09:30 | 08/11/2023 10:00 |  |  | 05/11/2023 12:30 | 05/11/2023 12:30
04/11/2023 02:00 | 1941.391 | 2048.3 | 1834.482 | [5 empty] | 08/11/2023 10:00 | 08/11/2023 10:00 |  |  | 05/11/2023 13:30 | 05/11/2023 13:30 | [6 empty] | 08/11/2023 11:00 | 08/11/2023 12:00 |  |  | 08/11/2023 09:00 | 08/11/2023 09:00 | [6 empty] | 08/11/2023 10:00 | 08/11/2023 10:30 |  |  | 05/11/2023 13:00 | 05/11/2023 13:00
04/11/2023 02:30 | 1922.125 | 2028.479 | 1815.771 | [5 empty] | 08/11/2023 10:30 | 08/11/2023 10:30 |  |  | 07/11/2023 12:30 | 07/11/2023 12:30 | [6 empty] | 08/11/2023 11:30 |  |  |  | 08/11/2023 09:30 | 08/11/2023 09:30 | [6 empty] | 08/11/2023 10:30 | 08/11/2023 11:00 |  |  | 05/11/2023 13:30 | 05/11/2023 13:30
04/11/2023 03:00 | 1907.197 | 2013.228 | 1801.167 | [5 empty] | 08/11/2023 11:00 | 08/11/2023 11:00 |  |  | 08/11/2023 08:30 | 08/11/2023 08:30 | [6 empty] | 08/11/2023 12:00 |  |  |  | 08/11/2023 10:00 | 08/11/2023 10:00 | [6 empty] | 08/11/2023 11:00 | 08/11/2023 11:30 |  |  | 08/11/2023 08:30 | 08/11/2023 08:30
04/11/2023 03:30 | 1905.972 | 2012.436 | 1799.508 | [5 empty] | 08/11/2023 11:30 | 08/11/2023 11:30 |  |  | 08/11/2023 09:00 | 08/11/2023 09:00 | [10 empty] | 08/11/2023 10:30 | 08/11/2023 10:30 | [6 empty] | 08/11/2023 11:30 | 08/11/2023 12:00 |  |  | 08/11/2023 09:00 | 08/11/2023 09:00
04/11/2023 04:00 | 1902.133 | 2008.884 | 1795.383 | [5 empty] | 08/11/2023 12:00 | 08/11/2023 12:00 |  |  | 08/11/2023 09:30 | 08/11/2023 09:30 | [10 empty] | 08/11/2023 11:00 | 08/11/2023 11:00 | [6 empty] | 08/11/2023 12:00 | 08/11/2023 12:30 |  |  | 08/11/2023 09:30 | 08/11/2023 09:30
04/11/2023 04:30 | 1883.681 | 1989.892 | 1777.47 | [5 empty] | 08/11/2023 12:30 | 08/11/2023 12:30 |  |  | 08/11/2023 10:00 | 08/11/2023 10:00 | [10 empty] | 08/11/2023 11:30 | 08/11/2023 11:30 | [6 empty] | 08/11/2023 12:30 |  |  |  | 08/11/2023 10:00 | 08/11/2023 10:00
04/11/2023 05:00 | 1860.334 | 1965.719 | 1754.95 | [5 empty] | 08/11/2023 13:00 |  |  |  | 08/11/2023 10:30 | 08/11/2023 10:30 | [10 empty] | 08/11/2023 12:00 | 08/11/2023 12:00 | [6 empty] | 08/11/2023 13:00 |  |  |  | 08/11/2023 10:30 | 08/11/2023 10:30
04/11/2023 05:30 | 1828.959 | 1933.047 | 1724.87 | [9 empty] | 08/11/2023 11:00 | 08/11/2023 11:00 | [10 empty] | 08/11/2023 12:30 | 08/11/2023 12:30 | [10 empty] | 08/11/2023 11:00 | 08/11/2023 11:00
04/11/2023 06:00 | 1772.43 | 1873.768 | 1671.092 | [9 empty] | 08/11/2023 11:30 | 08/11/2023 11:30 | [10 empty] | 08/11/2023 13:00 | 08/11/2023 13:00 | [10 empty] | 08/11/2023 11:30 | 08/11/2023 11:30
04/11/2023 06:30 | 1688.332 | 1785.263 | 1591.401 | [9 empty] | 08/11/2023 12:00 | 08/11/2023 12:00 | [22 empty] | 08/11/2023 12:00 | 08/11/2023 12:00
04/11/2023 07:00 | 1584.941 | 1676.232 | 1493.651 | [9 empty] | 08/11/2023 12:30 | 08/11/2023 12:30 | [22 empty] | 08/11/2023 12:30 | 08/11/2023 12:30
04/11/2023 07:30 | 1483.043 | 1568.748 | 1397.338 | [9 empty] | 08/11/2023 13:00 | 08/11/2023 13:00 | [22 empty] | 08/11/2023 13:00 | 08/11/2023 13:00
04/11/2023 08:00 | 1407.388 | 1488.99 | 1325.786 | [9 empty] | 08/11/2023 13:30 | 08/11/2023 13:30 | [22 empty] | 08/11/2023 13:30 | 08/11/2023 13:30
04/11/2023 08:30 | 1343.059 | 1421.188 | 1264.931
04/11/2023 09:00 | 1305.325 | 1381.508 | 1229.142
04/11/2023 09:30 | 1289.796 | 1365.319 | 1214.273
04/11/2023 10:00 | 1290.028 | 1365.811 | 1214.245
04/11/2023 10:30 | 1294.23 | 1370.507 | 1217.953
04/11/2023 11:00 | 1339.045 | 1418.22 | 1259.871
04/11/2023 11:30 | 1398.517 | 1481.475 | 1315.559
04/11/2023 12:00 | 1455.429 | 1542.041 | 1368.817
04/11/2023 12:30 | 1530.456 | 1621.825 | 1439.086
04/11/2023 13:00 | 1620.318 | 1717.362 | 1523.275
04/11/2023 13:30 | 1750.442 | 1855.613 | 1645.271
04/11/2023 14:00 | 1915.125 | 2030.557 | 1799.693
04/11/2023 14:30 | 2081.282 | 2207.127 | 1955.438
04/11/2023 15:00 | 2262.506 | 2399.74 | 2125.271
04/11/2023 15:30 | 2439.982 | 2588.448 | 2291.516
04/11/2023 16:00 | 2594.523 | 2752.887 | 2436.158
04/11/2023 16:30 | 2723.488 | 2890.245 | 2556.731
04/11/2023 17:00 | 2802.034 | 2974.135 | 2629.932
04/11/2023 17:30 | 2845.02 | 3020.305 | 2669.734
04/11/2023 18:00 | 2841.005 | 3016.586 | 2665.425
04/11/2023 18:30 | 2810.06 | 2984.266 | 2635.855
04/11/2023 19:00 | 2754.904 | 2926.217 | 2583.592
04/11/2023 19:30 | 2666.527 | 2832.853 | 2501.164
04/11/2023 20:00 | 2586.11 | 2747.914 | 2425.182
04/11/2023 20:30 | 2511.384 | 2668.992 | 2354.56
04/11/2023 21:00 | 2433.173 | 2586.338 | 2280.706
04/11/2023 21:30 | 2347.868 | 2496.112 | 2200.247
04/11/2023 22:00 | 2264.595 | 2408.014 | 2121.74
04/11/2023 22:30 | 2188.597 | 2327.621 | 2050.048
04/11/2023 23:00 | 2119.033 | 2254.043 | 1984.392
04/11/2023 23:30 | 2057.278 | 2188.746 | 1926.062
05/11/2023 00:00 | 1997.7 | 2125.743 | 1869.799
05/11/2023 00:30 | 1951.582 | 2077.042 | 1826.203
05/11/2023 01:00 | 1918.436 | 2042.131 | 1794.782
05/11/2023 01:30 | 1890.571 | 2012.831 | 1768.353
05/11/2023 02:00 | 1870.424 | 1991.739 | 1749.15
05/11/2023 02:30 | 1854.486 | 1975.122 | 1733.89
05/11/2023 03:00 | 1839.491 | 1959.503 | 1719.518
05/11/2023 03:30 | 1833.029 | 1952.969 | 1713.126
05/11/2023 04:00 | 1829.594 | 1949.659 | 1709.567
05/11/2023 04:30 | 1762.159 | 1878.136 | 1646.22
05/11/2023 05:00 | 1670.731 | 1781.009 | 1560.453
05/11/2023 05:30 | 1617.345 | 1724.409 | 1510.282
05/11/2023 06:00 | 1535.191 | 1637.11 | 1433.273
05/11/2023 06:30 | 1442.233 | 1538.28 | 1346.186
05/11/2023 07:00 | 1341.072 | 1430.706 | 1251.437
05/11/2023 07:30 | 1243.675 | 1327.097 | 1160.254
05/11/2023 08:00 | 1163.868 | 1242.215 | 1085.522
05/11/2023 08:30 | 1077.708 | 1150.512 | 1004.904
05/11/2023 09:00 | 995.3938 | 1062.875 | 927.9127
05/11/2023 09:30 | 884.7413 | 944.9323 | 824.5504
05/11/2023 10:00 | 825.765 | 882.1409 | 769.3891
05/11/2023 10:30 | 796.6608 | 851.24 | 742.0816
05/11/2023 11:00 | 804.8451 | 860.1772 | 749.5129
05/11/2023 11:30 | 847.6707 | 906.1495 | 789.1918
05/11/2023 12:00 | 857.8101 | 917.1934 | 798.4268
05/11/2023 12:30 | 873.4173 | 934.0897 | 812.7449
05/11/2023 13:00 | 914.8878 | 978.6594 | 851.1161
05/11/2023 13:30 | 1014.467 | 1085.422 | 943.5115
05/11/2023 14:00 | 1145.799 | 1225.666 | 1065.384
05/11/2023 14:30 | 1296.185 | 1386.844 | 1204.906
05/11/2023 15:00 | 1455.122 | 1557.246 | 1352.303
05/11/2023 15:30 | 1618.372 | 1732.339 | 1503.631
05/11/2023 16:00 | 1805.317 | 1932.88 | 1676.891
05/11/2023 16:30 | 1979.873 | 2120.244 | 1838.557
05/11/2023 17:00 | 2115.48 | 2265.97 | 1963.979
05/11/2023 17:30 | 2212.155 | 2370.051 | 2053.202
05/11/2023 18:00 | 2254.64 | 2416.107 | 2092.096
05/11/2023 18:30 | 2252.145 | 2413.971 | 2089.243
05/11/2023 19:00 | 2215.705 | 2375.442 | 2054.91
05/11/2023 19:30 | 2149.604 | 2305.089 | 1993.092
05/11/2023 20:00 | 2084.516 | 2235.791 | 1932.245
05/11/2023 20:30 | 2025.421 | 2172.891 | 1876.983
05/11/2023 21:00 | 1958.258 | 2101.306 | 1814.275
05/11/2023 21:30 | 1890.363 | 2028.903 | 1750.92
05/11/2023 22:00 | 1827.192 | 1961.538 | 1691.972
05/11/2023 22:30 | 1776.474 | 1907.516 | 1644.584
05/11/2023 23:00 | 1744.024 | 1873.089 | 1614.126
05/11/2023 23:30 | 1721.66 | 1845.38 | 1597.142
06/11/2023 00:00 | 1707.221 | 1822.246 | 1591.454
06/11/2023 00:30 | 1688.621 | 1803.446 | 1573.057
06/11/2023 01:00 | 1676.129 | 1790.471 | 1561.054
06/11/2023 01:30 | 1664.891 | 1778.83 | 1550.224
06/11/2023 02:00 | 1657.96 | 1771.787 | 1543.408
06/11/2023 02:30 | 1655.426 | 1769.44 | 1540.688
06/11/2023 03:00 | 1657.828 | 1772.371 | 1542.561
06/11/2023 03:30 | 1676.108 | 1792.279 | 1559.204
06/11/2023 04:00 | 1705.748 | 1824.346 | 1586.404
06/11/2023 04:30 | 1740.03 | 1861.392 | 1617.907
06/11/2023 05:00 | 1771.135 | 1895.054 | 1646.443
06/11/2023 05:30 | 1808.08 | 1934.979 | 1680.391
06/11/2023 06:00 | 1849.465 | 1979.672 | 1718.45
06/11/2023 06:30 | 1855.106 | 1986.115 | 1723.285
06/11/2023 07:00 | 1815.799 | 1944.43 | 1686.375
06/11/2023 07:30 | 1732.06 | 1855.136 | 1608.226
06/11/2023 08:00 | 1660.436 | 1778.786 | 1542.086
06/11/2023 08:30 | 1596.935 | 1711.108 | 1482.762
06/11/2023 09:00 | 1547.506 | 1658.484 | 1436.529
06/11/2023 09:30 | 1512.157 | 1620.93 | 1403.385
06/11/2023 10:00 | 1461.647 | 1567.105 | 1356.188
06/11/2023 10:30 | 1385.791 | 1486.079 | 1285.502
06/11/2023 11:00 | 1360.097 | 1458.824 | 1261.371
06/11/2023 11:30 | 1388.688 | 1489.793 | 1287.583
06/11/2023 12:00 | 1384.197 | 1485.278 | 1283.117
06/11/2023 12:30 | 1391.746 | 1493.681 | 1289.81
06/11/2023 13:00 | 1405.238 | 1508.469 | 1302.007
06/11/2023 13:30 | 1408.158 | 1511.911 | 1304.405
06/11/2023 14:00 | 1428.633 | 1534.207 | 1323.059
06/11/2023 14:30 | 1539.305 | 1653.394 | 1425.217
06/11/2023 15:00 | 1669.522 | 1793.626 | 1545.417
06/11/2023 15:30 | 1828.106 | 1964.399 | 1691.814
06/11/2023 16:00 | 1991.876 | 2140.814 | 1842.939
06/11/2023 16:30 | 2139.366 | 2299.799 | 1978.933
06/11/2023 17:00 | 2243.534 | 2412.269 | 2074.799
06/11/2023 17:30 | 2301.542 | 2475.142 | 2127.941
06/11/2023 18:00 | 2325.164 | 2501.054 | 2149.274
06/11/2023 18:30 | 2317.039 | 2492.821 | 2141.257
06/11/2023 19:00 | 2258.229 | 2430.043 | 2086.416
06/11/2023 19:30 | 2183.465 | 2350.068 | 2016.863
06/11/2023 20:00 | 2109.706 | 2271.141 | 1948.27
06/11/2023 20:30 | 2033.459 | 2189.504 | 1877.414
06/11/2023 21:00 | 1955.982 | 2106.51 | 1805.455
06/11/2023 21:30 | 1882.449 | 2027.729 | 1737.17
06/11/2023 22:00 | 1813.951 | 1954.34 | 1673.562
06/11/2023 22:30 | 1760.574 | 1897.217 | 1623.931
06/11/2023 23:00 | 1724.809 | 1859.053 | 1590.565
06/11/2023 23:30 | 1695.206 | 1827.516 | 1562.896
07/11/2023 00:00 | 1670.085 | 1800.799 | 1539.37
07/11/2023 00:30 | 1650.465 | 1780.005 | 1520.925
07/11/2023 01:00 | 1639.416 | 1768.447 | 1510.386
07/11/2023 01:30 | 1626.563 | 1754.937 | 1498.189
07/11/2023 02:00 | 1619.339 | 1747.497 | 1491.181
07/11/2023 02:30 | 1618.662 | 1747.12 | 1490.204
07/11/2023 03:00 | 1620.924 | 1749.916 | 1491.932
07/11/2023 03:30 | 1637.04 | 1767.672 | 1506.408
07/11/2023 04:00 | 1665.862 | 1799.157 | 1532.566
07/11/2023 04:30 | 1700.988 | 1837.466 | 1564.51
07/11/2023 05:00 | 1727.275 | 1866.239 | 1588.31
07/11/2023 05:30 | 1765.742 | 1908.187 | 1623.297
07/11/2023 06:00 | 1810.953 | 1957.441 | 1664.465
07/11/2023 06:30 | 1790.913 | 1936.172 | 1645.655
07/11/2023 07:00 | 1754.215 | 1896.88 | 1611.55
07/11/2023 07:30 | 1706.963 | 1846.142 | 1567.784
07/11/2023 08:00 | 1616.807 | 1748.942 | 1484.672
07/11/2023 08:30 | 1495.781 | 1618.312 | 1373.25
07/11/2023 09:00 | 1399.745 | 1514.677 | 1284.813
07/11/2023 09:30 | 1315.215 | 1423.458 | 1206.972
07/11/2023 10:00 | 1255.081 | 1358.616 | 1151.547
07/11/2023 10:30 | 1214.856 | 1315.305 | 1114.406
07/11/2023 11:00 | 1202.108 | 1301.734 | 1102.482
07/11/2023 11:30 | 1208.362 | 1308.737 | 1107.986
07/11/2023 12:00 | 1170.443 | 1267.894 | 1072.993
07/11/2023 12:30 | 1088.412 | 1179.241 | 997.5827
07/11/2023 13:00 | 1051.093 | 1139.009 | 963.1771
07/11/2023 13:30 | 1109.514 | 1202.529 | 1016.498
07/11/2023 14:00 | 1192.867 | 1293.099 | 1092.635
07/11/2023 14:30 | 1318.526 | 1429.569 | 1207.483
07/11/2023 15:00 | 1464.563 | 1588.185 | 1340.94
07/11/2023 15:30 | 1628.039 | 1765.773 | 1490.306
07/11/2023 16:00 | 1803.035 | 1955.919 | 1650.151
07/11/2023 16:30 | 1980.002 | 2148.271 | 1811.733
07/11/2023 17:00 | 2121.198 | 2301.872 | 1940.523
07/11/2023 17:30 | 2213.72 | 2402.7 | 2024.741
07/11/2023 18:00 | 2264.511 | 2458.261 | 2070.761
07/11/2023 18:30 | 2267.258 | 2461.677 | 2072.839
07/11/2023 19:00 | 2220.41 | 2411.238 | 2029.582
07/11/2023 19:30 | 2153.47 | 2338.957 | 1967.983
07/11/2023 20:00 | 2083.301 | 2263.144 | 1903.458
07/11/2023 20:30 | 2011.687 | 2185.733 | 1837.641
07/11/2023 21:00 | 1935.928 | 2103.792 | 1768.066
07/11/2023 21:30 | 1861.785 | 2023.576 | 1699.994
07/11/2023 22:00 | 1792.702 | 1948.833 | 1636.571
07/11/2023 22:30 | 1737.717 | 1889.393 | 1586.042
07/11/2023 23:00 | 1698.378 | 1846.945 | 1549.811
07/11/2023 23:30 | 1666.469 | 1812.564 | 1520.373
08/11/2023 00:00 | 1638.074 | 1781.994 | 1494.155
08/11/2023 00:30 | 1617.614 | 1760.046 | 1475.182
08/11/2023 01:00 | 1607.955 | 1749.845 | 1466.065
08/11/2023 01:30 | 1595.928 | 1737.063 | 1454.793
08/11/2023 02:00 | 1587.116 | 1727.776 | 1446.457
08/11/2023 02:30 | 1586.383 | 1727.282 | 1445.485
08/11/2023 03:00 | 1590.017 | 1731.543 | 1448.491
08/11/2023 03:30 | 1605.421 | 1748.625 | 1462.216
08/11/2023 04:00 | 1633.148 | 1779.139 | 1487.157
08/11/2023 04:30 | 1673.102 | 1822.985 | 1523.219
08/11/2023 05:00 | 1702.099 | 1854.906 | 1549.292
08/11/2023 05:30 | 1698.443 | 1851.247 | 1545.638
08/11/2023 06:00 | 1661.771 | 1811.595 | 1511.947
08/11/2023 06:30 | 1583.948 | 1727.059 | 1440.837
08/11/2023 07:00 | 1465.556 | 1598.251 | 1332.861
08/11/2023 07:30 | 1311.618 | 1430.626 | 1192.609
08/11/2023 08:00 | 1170.347 | 1276.762 | 1063.932
08/11/2023 08:30 | 1056.421 | 1152.679 | 960.1621
08/11/2023 09:00 | 973.9694 | 1062.902 | 885.037
08/11/2023 09:30 | 910.0527 | 993.3232 | 826.7821
08/11/2023 10:00 | 863.1337 | 942.2765 | 783.9908
08/11/2023 10:30 | 820.8949 | 896.3221 | 745.4677
08/11/2023 11:00 | 834.8351 | 911.7032 | 757.967
08/11/2023 11:30 | 851.613 | 930.1893 | 773.0369
08/11/2023 12:00 | 857.1366 | 936.3867 | 777.8865
08/11/2023 12:30 | 885.1134 | 967.1199 | 803.1069
08/11/2023 13:00 | 929.4658 | 1015.76 | 843.1719
08/11/2023 13:30 | 1019.045 | 1113.851 | 924.2394
08/11/2023 14:00 | 1118.601 | 1222.883 | 1014.318
08/11/2023 14:30 | 1242.635 | 1358.719 | 1126.551
08/11/2023 15:00 | 1410.09 | 1542.087 | 1278.093
08/11/2023 15:30 | 1590.057 | 1739.205 | 1440.908
08/11/2023 16:00 | 1769.25 | 1935.546 | 1602.954
08/11/2023 16:30 | 1945.023 | 2128.214 | 1761.833
08/11/2023 17:00 | 2089.867 | 2287.099 | 1892.634
08/11/2023 17:30 | 2185.322 | 2391.982 | 1978.661
08/11/2023 18:00 | 2240.551 | 2452.863 | 2028.238
08/11/2023 18:30 | 2252.112 | 2465.952 | 2038.272
08/11/2023 19:00 | 2215.59 | 2426.387 | 2004.794
08/11/2023 19:30 | 2148.578 | 2353.411 | 1943.746
08/11/2023 20:00 | 2078.245 | 2276.771 | 1879.719
08/11/2023 20:30 | 2005.92 | 2197.922 | 1813.919
08/11/2023 21:00 | 1930.08 | 2115.192 | 1744.968
08/11/2023 21:30 | 1857.174 | 2035.65 | 1678.698
08/11/2023 22:00 | 1789.38 | 1961.683 | 1617.076
08/11/2023 22:30 | 1737.683 | 1905.342 | 1570.024
08/11/2023 23:00 | 1703.273 | 1867.939 | 1538.608
08/11/2023 23:30 | 1671.027 | 1832.895 | 1509.159
09/11/2023 00:00 | 1646.862 | 1806.705 | 1487.019
09/11/2023 00:30 | 1628.477 | 1786.848 | 1470.107
09/11/2023 01:00 | 1616.053 | 1773.525 | 1458.581
09/11/2023 01:30 | 1603.232 | 1759.762 | 1446.702
09/11/2023 02:00 | 1597.236 | 1753.487 | 1440.986
09/11/2023 02:30 | 1596.292 | 1752.756 | 1439.827
09/11/2023 03:00 | 1600.598 | 1757.791 | 1443.405
09/11/2023 03:30 | 1618.321 | 1777.565 | 1459.077
09/11/2023 04:00 | 1647.961 | 1810.437 | 1485.484
09/11/2023 04:30 | 1682.995 | 1849.248 | 1516.742
09/11/2023 05:00 | 1716.687 | 1886.597 | 1546.776
09/11/2023 05:30 | 1753.235 | 1927.099 | 1579.372
09/11/2023 06:00 | 1779.706 | 1956.536 | 1602.876
09/11/2023 06:30 | 1772.705 | 1949.179 | 1596.231
09/11/2023 07:00 | 1708.639 | 1879.063 | 1538.215
09/11/2023 07:30 | 1557.795 | 1713.551 | 1402.039
09/11/2023 08:00 | 1413.993 | 1555.858 | 1272.128
09/11/2023 08:30 | 1283.056 | 1412.215 | 1153.898
09/11/2023 09:00 | 1202.159 | 1323.577 | 1080.741
09/11/2023 09:30 | 1170.759 | 1289.398 | 1052.12
09/11/2023 10:00 | 1155.034 | 1272.467 | 1037.601
09/11/2023 10:30 | 1160.785 | 1279.192 | 1042.378
09/11/2023 11:00 | 1203.51 | 1326.679 | 1080.342
09/11/2023 11:30 | 1263.995 | 1393.777 | 1134.212
09/11/2023 12:00 | 1291.075 | 1424.071 | 1158.08
09/11/2023 12:30 | 1309.716 | 1445.071 | 1174.361
09/11/2023 13:00 | 1315.474 | 1451.865 | 1179.083
09/11/2023 13:30 | 1321.538 | 1459.001 | 1184.075
09/11/2023 14:00 | 1354.452 | 1495.793 | 1213.112
09/11/2023 14:30 | 1433.644 | 1583.729 | 1283.558
09/11/2023 15:00 | 1537.868 | 1699.38 | 1376.356
09/11/2023 15:30 | 1673.363 | 1849.666 | 1497.06
09/11/2023 16:00 | 1822.438 | 2015.059 | 1629.818
09/11/2023 16:30 | 1975.059 | 2184.473 | 1765.645
09/11/2023 17:00 | 2110.793 | 2335.307 | 1886.28
09/11/2023 17:30 | 2214.163 | 2450.414 | 1977.912
09/11/2023 18:00 | 2272.244 | 2515.454 | 2029.034
09/11/2023 18:30 | 2290.127 | 2536.019 | 2044.235
09/11/2023 19:00 | 2260.316 | 2503.765 | 2016.868
09/11/2023 19:30 | 2197.506 | 2434.927 | 1960.086
09/11/2023 20:00 | 2129.864 | 2360.69 | 1899.037
09/11/2023 20:30 | 2054.274 | 2277.597 | 1830.951
09/11/2023 21:00 | 1968.177 | 2182.8 | 1753.553
09/11/2023 21:30 | 1891.728 | 2098.649 | 1684.807
09/11/2023 22:00 | 1821.701 | 2021.573 | 1621.828
09/11/2023 22:30 | 1762.551 | 1956.525 | 1568.578
09/11/2023 23:00 | 1716.428 | 1905.901 | 1526.955
09/11/2023 23:30 | 1679.646 | 1865.622 | 1493.67
10/11/2023 00:00 | 1649.394 | 1832.573 | 1466.215
10/11/2023 00:30 | 1625.28 | 1806.327 | 1444.234
10/11/2023 01:00 | 1607.671 | 1787.295 | 1428.047
10/11/2023 01:30 | 1595.697 | 1774.518 | 1416.876
10/11/2023 02:00 | 1589.065 | 1767.676 | 1410.455
10/11/2023 02:30 | 1589.409 | 1768.592 | 1410.227
10/11/2023 03:00 | 1592.126 | 1772.148 | 1412.104
10/11/2023 03:30 | 1607.996 | 1790.352 | 1425.64
10/11/2023 04:00 | 1638.573 | 1824.946 | 1452.201
10/11/2023 04:30 | 1673.527 | 1864.437 | 1482.617
10/11/2023 05:00 | 1714.316 | 1910.454 | 1518.178
10/11/2023 05:30 | 1773.49 | 1976.992 | 1569.988
10/11/2023 06:00 | 1819.801 | 2029.227 | 1610.374
10/11/2023 06:30 | 1824.333 | 2034.893 | 1613.773
10/11/2023 07:00 | 1791.881 | 1999.296 | 1584.466
10/11/2023 07:30 | 1713.571 | 1912.496 | 1514.646