## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
06/11/2023 08:00 | 1927.84 | 1947.01 | 1892.766
06/11/2023 08:30 | 1882.367 | 1914.555 | 1850.179 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
06/11/2023 09:00 | 1850.397 | 1887.539 | 1813.255 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
06/11/2023 09:30 | 1794.409 | 1835.761 | 1753.056 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
06/11/2023 10:00 | 1720.421 | 1765.183 | 1675.66 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
06/11/2023 10:30 | 1645.782 | 1692.317 | 1599.247 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
06/11/2023 11:00 | 1567.552 | 1620.146 | 1521.911 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
06/11/2023 11:30 | 1507.489 | 1561.546 | 1470.349 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
06/11/2023 12:00 | 1433.165 | 1486.806 | 1397.277 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
06/11/2023 12:30 | 1414.879 | 1467.813 | 1376.771 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
06/11/2023 13:00 | 1419.385 | 1472.262 | 1378.283 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
06/11/2023 13:30 | 1444.311 | 1497.849 | 1399.536
06/11/2023 14:00 | 1481.071 | 1535.739 | 1432.174 | Summary view - for each schedule horizon (dispatch, week-ahead)
06/11/2023 14:30 | 1561.454 | 1619.858 | 1507.71
06/11/2023 15:00 | 1681.479 | 1745.215 | 1621.258 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
06/11/2023 15:30 | 1822.738 | 1893.037 | 1755.192 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
06/11/2023 16:00 | 1980.054 | 2057.886 | 1904.36 | Scenario | Violations
06/11/2023 16:30 | 2132.462 | 2218.063 | 2048.631 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
06/11/2023 17:00 | 2253.108 | 2345.759 | 2162.397 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
06/11/2023 17:30 | 2334.023 | 2432.362 | 2237.908 | Reference Scenario | 0 | 0 | 0 | 0 | 18 | 9 | 0 | 0 | 45 | 45 | 0 | 6
06/11/2023 18:00 | 2372.552 | 2475.121 | 2272.859 | High Demand Scenario | 0 | 0 | 0 | 0 | 19 | 18 | 0 | 0 | 41 | 41 | 0 | 1
06/11/2023 18:30 | 2368.548 | 2472.728 | 2267.208 | Low Demand Scenario | 0 | 0 | 0 | 0 | 37 | 36 | 0 | 0 | 52 | 52 | 0 | 4
06/11/2023 19:00 | 2318.193 | 2420.444 | 2217.684
06/11/2023 19:30 | 2246.843 | 2345.946 | 2147.741 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
06/11/2023 20:00 | 2171.629 | 2268.264 | 2074.995
06/11/2023 20:30 | 2094.021 | 2188.021 | 2000.02 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
06/11/2023 21:00 | 2012.617 | 2103.751 | 1921.483 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
06/11/2023 21:30 | 1933.569 | 2021.881 | 1845.258 | [5 empty] | 07/11/2023 11:00 | 08/11/2023 10:30 |  |  | 07/11/2023 10:00 | 07/11/2023 10:00 |  | 07/11/2023 10:30 |  |  |  |  | 10/11/2023 10:00 | 10/11/2023 10:00 |  |  | 07/11/2023 10:30 | 07/11/2023 10:30 |  | 07/11/2023 12:00 |  |  |  |  | 07/11/2023 10:30 | 07/11/2023 10:30 |  |  | 07/11/2023 09:30 | 07/11/2023 09:30 |  | 07/11/2023 11:30
06/11/2023 22:00 | 1859.14 | 1944.78 | 1773.5 | [5 empty] | 07/11/2023 11:30 | 10/11/2023 10:00 |  |  | 07/11/2023 10:30 | 07/11/2023 10:30 |  | 07/11/2023 13:00 |  |  |  |  | 10/11/2023 10:30 | 10/11/2023 10:30 |  |  | 07/11/2023 11:00 | 07/11/2023 11:00 | [6 empty] | 07/11/2023 11:00 | 07/11/2023 11:00 |  |  | 07/11/2023 10:00 | 07/11/2023 10:00 |  | 08/11/2023 09:00
06/11/2023 22:30 | 1799.781 | 1883.391 | 1716.171 | [5 empty] | 07/11/2023 12:00 | 10/11/2023 10:30 |  |  | 07/11/2023 11:00 | 07/11/2023 11:00 |  | 08/11/2023 09:30 |  |  |  |  | 10/11/2023 11:00 | 10/11/2023 11:00 |  |  | 07/11/2023 11:30 | 07/11/2023 11:30 | [6 empty] | 07/11/2023 11:30 | 07/11/2023 11:30 |  |  | 07/11/2023 10:30 | 07/11/2023 10:30 |  | 08/11/2023 10:00
06/11/2023 23:00 | 1757.44 | 1839.771 | 1675.109 | [5 empty] | 07/11/2023 12:30 | 10/11/2023 11:00 |  |  | 07/11/2023 11:30 | 07/11/2023 11:30 |  | 10/11/2023 11:30 |  |  |  |  | 10/11/2023 11:30 | 10/11/2023 11:30 |  |  | 07/11/2023 12:00 | 07/11/2023 12:00 | [6 empty] | 07/11/2023 12:00 | 07/11/2023 12:00 |  |  | 07/11/2023 11:00 | 07/11/2023 11:00 |  | 08/11/2023 11:30
06/11/2023 23:30 | 1721.068 | 1802.369 | 1639.767 | [5 empty] | 08/11/2023 10:00 | 10/11/2023 11:30 |  |  | 07/11/2023 12:00 | 07/11/2023 12:00 |  | 10/11/2023 12:00 |  |  |  |  | 10/11/2023 12:00 | 10/11/2023 12:00 |  |  | 07/11/2023 12:30 | 07/11/2023 12:30 | [6 empty] | 07/11/2023 12:30 | 07/11/2023 12:30 |  |  | 07/11/2023 11:30 | 07/11/2023 11:30
07/11/2023 00:00 | 1688.956 | 1769.4 | 1608.511 | [5 empty] | 08/11/2023 10:30 | 10/11/2023 12:00 |  |  | 07/11/2023 12:30 | 07/11/2023 12:30 |  | 10/11/2023 12:30 |  |  |  |  | 10/11/2023 12:30 | 10/11/2023 12:30 |  |  | 07/11/2023 13:00 | 07/11/2023 13:00 | [6 empty] | 07/11/2023 13:00 | 07/11/2023 13:00 |  |  | 07/11/2023 12:00 | 07/11/2023 12:00
07/11/2023 00:30 | 1664.876 | 1744.826 | 1584.927 | [5 empty] | 08/11/2023 11:00 | 10/11/2023 12:30 |  |  | 07/11/2023 13:00 | 07/11/2023 13:00 | [6 empty] | 10/11/2023 13:00 | 10/11/2023 13:00 |  |  | 08/11/2023 09:30 | 08/11/2023 09:30 | [6 empty] | 08/11/2023 09:30 | 08/11/2023 09:30 |  |  | 07/11/2023 12:30 | 07/11/2023 12:30
07/11/2023 01:00 | 1651.501 | 1731.454 | 1571.547 | [5 empty] | 10/11/2023 10:00 | 10/11/2023 13:00 |  |  | 07/11/2023 13:30 | 07/11/2023 13:30 | [6 empty] | 10/11/2023 13:30 | 10/11/2023 13:30 |  |  | 08/11/2023 10:00 | 08/11/2023 10:00 | [6 empty] | 08/11/2023 10:00 | 08/11/2023 10:00 |  |  | 07/11/2023 13:00 | 07/11/2023 13:00
07/11/2023 01:30 | 1638.073 | 1718.017 | 1558.128 | [5 empty] | 10/11/2023 10:30 | 12/11/2023 10:30 |  |  | 08/11/2023 08:30 | 08/11/2023 08:30 | [6 empty] | 11/11/2023 09:30 | 11/11/2023 09:30 |  |  | 08/11/2023 10:30 | 08/11/2023 10:30 | [6 empty] | 08/11/2023 10:30 | 08/11/2023 10:30 |  |  | 07/11/2023 13:30 | 07/11/2023 13:30
07/11/2023 02:00 | 1629.712 | 1709.886 | 1549.538 | [5 empty] | 10/11/2023 11:00 |  |  |  | 08/11/2023 09:00 | 08/11/2023 09:00 | [6 empty] | 11/11/2023 10:00 | 11/11/2023 10:00 |  |  | 08/11/2023 11:00 | 08/11/2023 11:00 | [6 empty] | 08/11/2023 11:00 | 08/11/2023 11:00 |  |  | 08/11/2023 08:30 | 08/11/2023 08:30
07/11/2023 02:30 | 1628.327 | 1709.07 | 1547.583 | [5 empty] | 10/11/2023 11:30 |  |  |  | 08/11/2023 09:30 | 08/11/2023 09:30 | [6 empty] | 11/11/2023 10:30 | 11/11/2023 10:30 |  |  | 08/11/2023 11:30 | 08/11/2023 11:30 | [6 empty] | 08/11/2023 11:30 | 08/11/2023 11:30 |  |  | 08/11/2023 09:00 | 08/11/2023 09:00
07/11/2023 03:00 | 1629.934 | 1711.395 | 1548.473 | [5 empty] | 10/11/2023 12:00 |  |  |  | 08/11/2023 10:00 | 08/11/2023 10:00 | [6 empty] | 11/11/2023 11:00 | 11/11/2023 11:00 |  |  | 08/11/2023 12:00 | 08/11/2023 12:00 | [6 empty] | 08/11/2023 12:00 | 08/11/2023 12:00 |  |  | 08/11/2023 09:30 | 08/11/2023 09:30
07/11/2023 03:30 | 1645.056 | 1727.917 | 1562.195 | [5 empty] | 10/11/2023 12:30 |  |  |  | 08/11/2023 10:30 | 08/11/2023 10:30 | [6 empty] | 11/11/2023 11:30 | 11/11/2023 11:30 |  |  | 10/11/2023 09:00 | 10/11/2023 09:00 | [6 empty] | 08/11/2023 12:30 | 10/11/2023 09:30 |  |  | 08/11/2023 10:00 | 08/11/2023 10:00
07/11/2023 04:00 | 1673.051 | 1757.976 | 1588.125 | [5 empty] | 10/11/2023 13:00 |  |  |  | 08/11/2023 11:00 | 08/11/2023 11:00 | [6 empty] | 11/11/2023 12:00 | 11/11/2023 12:00 |  |  | 10/11/2023 09:30 | 10/11/2023 09:30 | [6 empty] | 10/11/2023 09:30 | 10/11/2023 10:00 |  |  | 08/11/2023 10:30 | 08/11/2023 10:30
07/11/2023 04:30 | 1708.497 | 1795.891 | 1621.103 | [5 empty] | 10/11/2023 13:30 |  |  |  | 08/11/2023 11:30 | 08/11/2023 11:30 | [6 empty] | 12/11/2023 09:30 | 12/11/2023 09:30 |  |  | 10/11/2023 10:00 | 10/11/2023 10:00 | [6 empty] | 10/11/2023 10:00 | 10/11/2023 10:30 |  |  | 08/11/2023 11:00 | 08/11/2023 11:00
07/11/2023 05:00 | 1732.3 | 1821.589 | 1643.01 | [5 empty] | 12/11/2023 10:00 |  |  |  | 08/11/2023 12:00 | 08/11/2023 12:00 | [6 empty] | 12/11/2023 10:00 | 12/11/2023 10:00 |  |  | 10/11/2023 10:30 | 10/11/2023 10:30 | [6 empty] | 10/11/2023 10:30 | 10/11/2023 11:00 |  |  | 08/11/2023 11:30 | 08/11/2023 11:30
07/11/2023 05:30 | 1733.844 | 1823.892 | 1643.797 | [5 empty] | 12/11/2023 10:30 |  |  |  | 08/11/2023 12:30 | 08/11/2023 12:30 | [6 empty] | 12/11/2023 10:30 | 12/11/2023 10:30 |  |  | 10/11/2023 11:00 | 10/11/2023 11:00 | [6 empty] | 10/11/2023 11:00 | 10/11/2023 11:30 |  |  | 08/11/2023 12:00 | 08/11/2023 12:00
07/11/2023 06:00 | 1716.626 | 1806.452 | 1626.801 | [5 empty] | 12/11/2023 11:00 |  |  |  | 09/11/2023 10:30 | 09/11/2023 10:30 | [6 empty] | 12/11/2023 11:00 | 12/11/2023 11:00 |  |  | 10/11/2023 11:30 | 10/11/2023 11:30 | [6 empty] | 10/11/2023 11:30 | 10/11/2023 12:00 |  |  | 08/11/2023 12:30 | 08/11/2023 12:30
07/11/2023 06:30 | 1659.209 | 1746.546 | 1571.873 | [9 empty] | 09/11/2023 11:00 | 09/11/2023 11:00 | [6 empty] | 12/11/2023 11:30 |  |  |  | 10/11/2023 12:00 | 10/11/2023 12:00 | [6 empty] | 10/11/2023 12:00 | 10/11/2023 12:30 |  |  | 08/11/2023 13:00 | 08/11/2023 13:00
07/11/2023 07:00 | 1574.054 | 1657.147 | 1490.962 | [9 empty] | 09/11/2023 11:30 | 09/11/2023 11:30 | [10 empty] | 10/11/2023 12:30 | 10/11/2023 12:30 | [6 empty] | 10/11/2023 12:30 | 10/11/2023 13:00 |  |  | 09/11/2023 10:30 | 09/11/2023 10:30
07/11/2023 07:30 | 1464.489 | 1542.039 | 1386.938 | [9 empty] | 09/11/2023 12:00 | 09/11/2023 12:00 | [10 empty] | 10/11/2023 13:00 | 10/11/2023 13:00 | [6 empty] | 10/11/2023 13:00 | 10/11/2023 13:30 |  |  | 09/11/2023 11:00 | 09/11/2023 11:00
07/11/2023 08:00 | 1345.998 | 1417.496 | 1274.5 | [9 empty] | 10/11/2023 09:00 | 10/11/2023 09:00 | [10 empty] | 10/11/2023 13:30 | 10/11/2023 13:30 | [6 empty] | 10/11/2023 13:30 | 11/11/2023 09:00 |  |  | 10/11/2023 09:00 | 10/11/2023 09:00
07/11/2023 08:30 | 1234.476 | 1300.254 | 1168.698 | [9 empty] | 10/11/2023 09:30 | 10/11/2023 09:30 | [10 empty] | 10/11/2023 14:00 | 10/11/2023 14:00 | [6 empty] | 11/11/2023 09:00 | 11/11/2023 09:30 |  |  | 10/11/2023 09:30 | 10/11/2023 09:30
07/11/2023 09:00 | 1144.323 | 1205.486 | 1083.159 | [9 empty] | 10/11/2023 10:00 | 10/11/2023 10:00 | [10 empty] | 11/11/2023 09:00 | 11/11/2023 09:00 | [6 empty] | 11/11/2023 09:30 | 11/11/2023 10:00 |  |  | 10/11/2023 10:00 | 10/11/2023 10:00
07/11/2023 09:30 | 1060.302 | 1117.15 | 1003.455 | [9 empty] | 10/11/2023 10:30 | 10/11/2023 10:30 | [10 empty] | 11/11/2023 09:30 | 11/11/2023 09:30 | [6 empty] | 11/11/2023 10:00 | 11/11/2023 10:30 |  |  | 10/11/2023 10:30 | 10/11/2023 10:30
07/11/2023 10:00 | 987.4081 | 1040.51 | 934.3058 | [9 empty] | 10/11/2023 11:00 | 10/11/2023 11:00 | [10 empty] | 11/11/2023 10:00 | 11/11/2023 10:00 | [6 empty] | 11/11/2023 10:30 | 11/11/2023 11:00 |  |  | 10/11/2023 11:00 | 10/11/2023 11:00
07/11/2023 10:30 | 919.6326 | 969.2416 | 870.0234 | [9 empty] | 10/11/2023 11:30 | 10/11/2023 11:30 | [10 empty] | 11/11/2023 10:30 | 11/11/2023 10:30 | [6 empty] | 11/11/2023 11:00 | 11/11/2023 11:30 |  |  | 10/11/2023 11:30 | 10/11/2023 11:30
07/11/2023 11:00 | 894.6094 | 943.0163 | 846.2024 | [9 empty] | 10/11/2023 12:00 | 10/11/2023 12:00 | [10 empty] | 11/11/2023 11:00 | 11/11/2023 11:00 | [6 empty] | 11/11/2023 11:30 | 11/11/2023 12:00 |  |  | 10/11/2023 12:00 | 10/11/2023 12:00
07/11/2023 11:30 | 900.704 | 949.5894 | 851.8185 | [9 empty] | 10/11/2023 12:30 | 10/11/2023 12:30 | [10 empty] | 11/11/2023 11:30 | 11/11/2023 11:30 | [6 empty] | 11/11/2023 12:00 | 11/11/2023 12:30 |  |  | 10/11/2023 12:30 | 10/11/2023 12:30
07/11/2023 12:00 | 895.2423 | 943.9791 | 846.5054 | [9 empty] | 10/11/2023 13:00 | 10/11/2023 13:00 | [10 empty] | 11/11/2023 12:00 | 11/11/2023 12:00 | [6 empty] | 11/11/2023 12:30 | 12/11/2023 09:00 |  |  | 10/11/2023 13:00 | 10/11/2023 13:00
07/11/2023 12:30 | 901.1818 | 950.3907 | 851.9728 | [9 empty] | 10/11/2023 13:30 | 10/11/2023 13:30 | [10 empty] | 11/11/2023 12:30 | 11/11/2023 12:30 | [6 empty] | 12/11/2023 09:00 | 12/11/2023 09:30 |  |  | 10/11/2023 13:30 | 10/11/2023 13:30
07/11/2023 13:00 | 924.7514 | 975.322 | 874.1027 | [9 empty] | 10/11/2023 14:00 | 10/11/2023 14:00 | [10 empty] | 11/11/2023 13:00 | 11/11/2023 13:00 | [6 empty] | 12/11/2023 09:30 | 12/11/2023 10:00 |  |  | 10/11/2023 14:00 | 10/11/2023 14:00
07/11/2023 13:30 | 992.9634 | 1047.46 | 938.3682 | [9 empty] | 11/11/2023 09:30 | 11/11/2023 09:30 | [10 empty] | 12/11/2023 08:30 | 12/11/2023 08:30 | [6 empty] | 12/11/2023 10:00 | 12/11/2023 10:30 |  |  | 11/11/2023 08:30 | 11/11/2023 08:30
07/11/2023 14:00 | 1090.906 | 1150.824 | 1030.625 | [9 empty] | 11/11/2023 10:00 | 11/11/2023 10:00 | [10 empty] | 12/11/2023 09:00 | 12/11/2023 09:00 | [6 empty] | 12/11/2023 10:30 | 12/11/2023 11:00 |  |  | 11/11/2023 09:00 | 11/11/2023 09:00
07/11/2023 14:30 | 1222.69 | 1289.938 | 1154.827 | [9 empty] | 11/11/2023 10:30 | 11/11/2023 10:30 | [10 empty] | 12/11/2023 09:30 | 12/11/2023 09:30 | [6 empty] | 12/11/2023 11:00 | 12/11/2023 11:30 |  |  | 11/11/2023 09:30 | 11/11/2023 09:30
07/11/2023 15:00 | 1385.977 | 1462.774 | 1309.126 | [9 empty] | 11/11/2023 11:00 | 11/11/2023 11:00 | [10 empty] | 12/11/2023 10:00 | 12/11/2023 10:00 | [6 empty] | 12/11/2023 11:30 | 12/11/2023 12:00 |  |  | 11/11/2023 10:00 | 11/11/2023 10:00
07/11/2023 15:30 | 1556.461 | 1643.008 | 1469.942 | [9 empty] | 11/11/2023 11:30 | 11/11/2023 11:30 | [10 empty] | 12/11/2023 10:30 | 12/11/2023 10:30 | [6 empty] | 12/11/2023 12:00 |  |  |  | 11/11/2023 10:30 | 11/11/2023 10:30
07/11/2023 16:00 | 1738.809 | 1835.76 | 1641.846 | [9 empty] | 11/11/2023 12:00 | 11/11/2023 12:00 | [10 empty] | 12/11/2023 11:00 | 12/11/2023 11:00 | [10 empty] | 11/11/2023 11:00 | 11/11/2023 11:00
07/11/2023 16:30 | 1925.636 | 2033.257 | 1817.879 | [9 empty] | 12/11/2023 09:00 | 12/11/2023 09:00 | [10 empty] | 12/11/2023 11:30 | 12/11/2023 11:30 | [10 empty] | 11/11/2023 11:30 | 11/11/2023 11:30
07/11/2023 17:00 | 2080.309 | 2196.997 | 1963.624 | [9 empty] | 12/11/2023 09:30 | 12/11/2023 09:30 | [10 empty] | 12/11/2023 12:00 | 12/11/2023 12:00 | [10 empty] | 11/11/2023 12:00 | 11/11/2023 12:00
07/11/2023 17:30 | 2190.613 | 2313.815 | 2067.349 | [9 empty] | 12/11/2023 10:00 | 12/11/2023 10:00 | [10 empty] | 12/11/2023 12:30 | 12/11/2023 12:30 | [10 empty] | 11/11/2023 12:30 | 11/11/2023 12:30
07/11/2023 18:00 | 2250.885 | 2377.833 | 2123.844 | [9 empty] | 12/11/2023 10:30 | 12/11/2023 10:30 | [22 empty] | 11/11/2023 13:00 | 11/11/2023 13:00
07/11/2023 18:30 | 2261.061 | 2389.015 | 2133.124 | [9 empty] | 12/11/2023 11:00 | 12/11/2023 11:00 | [22 empty] | 12/11/2023 08:30 | 12/11/2023 08:30
07/11/2023 19:00 | 2225.666 | 2352.015 | 2099.392 | [9 empty] | 12/11/2023 11:30 | 12/11/2023 11:30 | [22 empty] | 12/11/2023 09:00 | 12/11/2023 09:00
07/11/2023 19:30 | 2159.038 | 2281.933 | 2036.163 | [9 empty] | 12/11/2023 12:00 | 12/11/2023 12:00 | [22 empty] | 12/11/2023 09:30 | 12/11/2023 09:30
07/11/2023 20:00 | 2088.87 | 2208.095 | 1969.624 | [33 empty] | 12/11/2023 10:00 | 12/11/2023 10:00
07/11/2023 20:30 | 2017.727 | 2133.236 | 1902.219 | [33 empty] | 12/11/2023 10:30 | 12/11/2023 10:30
07/11/2023 21:00 | 1941.403 | 2052.864 | 1829.945 | [33 empty] | 12/11/2023 11:00 | 12/11/2023 11:00
07/11/2023 21:30 | 1867.009 | 1974.507 | 1759.514 | [33 empty] | 12/11/2023 11:30 | 12/11/2023 11:30
07/11/2023 22:00 | 1797.809 | 1901.647 | 1694.026 | [33 empty] | 12/11/2023 12:00 | 12/11/2023 12:00
07/11/2023 22:30 | 1742.073 | 1842.985 | 1641.225 | [33 empty] | 12/11/2023 12:30 | 12/11/2023 12:30
07/11/2023 23:00 | 1701.006 | 1799.771 | 1602.211 | [33 empty] | 12/11/2023 13:00 | 12/11/2023 13:00
07/11/2023 23:30 | 1666.066 | 1763.114 | 1569.057
08/11/2023 00:00 | 1636.251 | 1731.844 | 1540.719
08/11/2023 00:30 | 1615.466 | 1710.075 | 1520.848
08/11/2023 01:00 | 1604.7 | 1698.948 | 1510.452
08/11/2023 01:30 | 1593.841 | 1687.714 | 1499.967
08/11/2023 02:00 | 1586.379 | 1680.075 | 1492.683
08/11/2023 02:30 | 1585.776 | 1679.698 | 1491.854
08/11/2023 03:00 | 1589.78 | 1684.201 | 1495.358
08/11/2023 03:30 | 1606.743 | 1702.437 | 1511.048
08/11/2023 04:00 | 1634.279 | 1731.884 | 1536.675
08/11/2023 04:30 | 1672.333 | 1772.486 | 1572.179
08/11/2023 05:00 | 1701.265 | 1803.432 | 1599.098
08/11/2023 05:30 | 1700.578 | 1802.984 | 1598.172
08/11/2023 06:00 | 1668.94 | 1769.716 | 1568.163
08/11/2023 06:30 | 1590.9 | 1687.257 | 1494.543
08/11/2023 07:00 | 1471.686 | 1561.149 | 1382.223
08/11/2023 07:30 | 1323.105 | 1403.825 | 1242.385
08/11/2023 08:00 | 1191.243 | 1264.178 | 1118.307
08/11/2023 08:30 | 1083.432 | 1150.003 | 1016.86
08/11/2023 09:00 | 1006.513 | 1068.578 | 944.4482
08/11/2023 09:30 | 947.888 | 1006.545 | 889.2309
08/11/2023 10:00 | 910.4094 | 966.9462 | 853.8727
08/11/2023 10:30 | 876.8986 | 931.5458 | 822.2512
08/11/2023 11:00 | 895.3856 | 951.3806 | 839.3906
08/11/2023 11:30 | 922.163 | 980.0341 | 864.2919
08/11/2023 12:00 | 937.0352 | 996.0443 | 878.0261
08/11/2023 12:30 | 974.3076 | 1035.877 | 912.7384
08/11/2023 13:00 | 1028.984 | 1094.234 | 963.7353
08/11/2023 13:30 | 1128.959 | 1200.794 | 1057.123
08/11/2023 14:00 | 1234.468 | 1313.287 | 1155.65
08/11/2023 14:30 | 1365.682 | 1453.177 | 1278.187
08/11/2023 15:00 | 1532.224 | 1630.724 | 1433.725
08/11/2023 15:30 | 1702.336 | 1812.143 | 1592.529
08/11/2023 16:00 | 1867.814 | 1988.703 | 1746.925
08/11/2023 16:30 | 2027.866 | 2159.557 | 1896.175
08/11/2023 17:00 | 2156.774 | 2297.307 | 2016.24
08/11/2023 17:30 | 2238.511 | 2384.859 | 2092.162
08/11/2023 18:00 | 2281.554 | 2431.215 | 2131.893
08/11/2023 18:30 | 2286.932 | 2437.446 | 2136.419
08/11/2023 19:00 | 2248.045 | 2396.491 | 2099.6
08/11/2023 19:30 | 2177.297 | 2321.546 | 2033.047
08/11/2023 20:00 | 2104.297 | 2244.169 | 1964.424
08/11/2023 20:30 | 2029.72 | 2165.079 | 1894.361
08/11/2023 21:00 | 1952.683 | 2083.331 | 1822.035
08/11/2023 21:30 | 1879.669 | 2005.843 | 1753.496
08/11/2023 22:00 | 1811.851 | 1933.868 | 1689.834
08/11/2023 22:30 | 1760.408 | 1879.345 | 1641.47
08/11/2023 23:00 | 1726.183 | 1843.185 | 1609.181
08/11/2023 23:30 | 1694.239 | 1809.446 | 1579.032
09/11/2023 00:00 | 1669.912 | 1783.83 | 1555.994
09/11/2023 00:30 | 1650.418 | 1763.367 | 1537.47
09/11/2023 01:00 | 1636.861 | 1749.239 | 1524.482
09/11/2023 01:30 | 1622.006 | 1733.719 | 1510.293
09/11/2023 02:00 | 1613.659 | 1725.149 | 1502.168
09/11/2023 02:30 | 1610.571 | 1722.2 | 1498.941
09/11/2023 03:00 | 1612.956 | 1725.103 | 1500.809
09/11/2023 03:30 | 1627.914 | 1741.457 | 1514.371
09/11/2023 04:00 | 1655.52 | 1771.349 | 1539.69
09/11/2023 04:30 | 1691.513 | 1810.231 | 1572.795
09/11/2023 05:00 | 1716.655 | 1837.512 | 1595.798
09/11/2023 05:30 | 1711.732 | 1832.616 | 1590.847
09/11/2023 06:00 | 1674.624 | 1793.253 | 1555.994
09/11/2023 06:30 | 1600.003 | 1713.697 | 1486.31
09/11/2023 07:00 | 1493.7 | 1600.166 | 1387.234
09/11/2023 07:30 | 1360.353 | 1457.611 | 1263.094
09/11/2023 08:00 | 1240.246 | 1329.189 | 1151.304
09/11/2023 08:30 | 1130.224 | 1211.524 | 1048.925
09/11/2023 09:00 | 1041.738 | 1116.9 | 966.5763
09/11/2023 09:30 | 966.1222 | 1036.04 | 896.2048
09/11/2023 10:00 | 911.6613 | 977.8365 | 845.486
09/11/2023 10:30 | 877.0654 | 940.9211 | 813.2098
09/11/2023 11:00 | 880.0192 | 944.2821 | 815.7562
09/11/2023 11:30 | 893.0946 | 958.5076 | 827.6816
09/11/2023 12:00 | 897.5219 | 963.4553 | 831.5886
09/11/2023 12:30 | 930.6923 | 999.2657 | 862.1188
09/11/2023 13:00 | 970.189 | 1041.885 | 898.4935
09/11/2023 13:30 | 1042.549 | 1119.819 | 965.278
09/11/2023 14:00 | 1137.896 | 1222.481 | 1053.31
09/11/2023 14:30 | 1267.972 | 1362.504 | 1173.439
09/11/2023 15:00 | 1417.734 | 1523.742 | 1311.727
09/11/2023 15:30 | 1580.262 | 1698.767 | 1461.757
09/11/2023 16:00 | 1751.792 | 1883.543 | 1620.041
09/11/2023 16:30 | 1920.934 | 2065.825 | 1776.042
09/11/2023 17:00 | 2064.871 | 2221.071 | 1908.671
09/11/2023 17:30 | 2176.368 | 2341.478 | 2011.258
09/11/2023 18:00 | 2239.948 | 2410.371 | 2069.525
09/11/2023 18:30 | 2261.258 | 2433.796 | 2088.72
09/11/2023 19:00 | 2234.519 | 2405.505 | 2063.532
09/11/2023 19:30 | 2173.779 | 2340.592 | 2006.966
09/11/2023 20:00 | 2108.271 | 2269.597 | 1946.025
09/11/2023 20:30 | 2035.75 | 2191.972 | 1878.64
09/11/2023 21:00 | 1953.325 | 2103.648 | 1803.003
09/11/2023 21:30 | 1881.057 | 2026.229 | 1735.885
09/11/2023 22:00 | 1812.747 | 1953.043 | 1672.451
09/11/2023 22:30 | 1754.278 | 1890.432 | 1618.124
09/11/2023 23:00 | 1709.346 | 1842.387 | 1576.306
09/11/2023 23:30 | 1672.831 | 1803.395 | 1542.267
10/11/2023 00:00 | 1642.626 | 1771.191 | 1514.061
10/11/2023 00:30 | 1618.491 | 1745.521 | 1491.461
10/11/2023 01:00 | 1601.255 | 1727.282 | 1475.228
10/11/2023 01:30 | 1590.107 | 1715.604 | 1464.61
10/11/2023 02:00 | 1583.048 | 1708.334 | 1457.763
10/11/2023 02:30 | 1581.741 | 1707.269 | 1456.213
10/11/2023 03:00 | 1583.719 | 1709.75 | 1457.688
10/11/2023 03:30 | 1598.33 | 1725.873 | 1470.787
10/11/2023 04:00 | 1627.102 | 1757.297 | 1496.908
10/11/2023 04:30 | 1659.507 | 1792.656 | 1526.357
10/11/2023 05:00 | 1705.978 | 1843.229 | 1568.727
10/11/2023 05:30 | 1773.819 | 1916.916 | 1630.722
10/11/2023 06:00 | 1816.061 | 1962.962 | 1669.16
10/11/2023 06:30 | 1809.935 | 1956.736 | 1663.134
10/11/2023 07:00 | 1710.792 | 1849.925 | 1571.658
10/11/2023 07:30 | 1503.198 | 1625.763 | 1380.634
10/11/2023 08:00 | 1286.812 | 1391.977 | 1181.646
10/11/2023 08:30 | 1086.823 | 1175.853 | 997.7927
10/11/2023 09:00 | 942.7394 | 1020.147 | 865.3317
10/11/2023 09:30 | 851.9023 | 922.0146 | 781.79
10/11/2023 10:00 | 775.8444 | 839.8458 | 711.843
10/11/2023 10:30 | 730.1035 | 790.4716 | 669.7354
10/11/2023 11:00 | 712.6833 | 771.7476 | 653.619
10/11/2023 11:30 | 686.6335 | 743.6705 | 629.5966
10/11/2023 12:00 | 674.0192 | 730.1375 | 617.9009
10/11/2023 12:30 | 710.999 | 770.3325 | 651.6655
10/11/2023 13:00 | 729.4314 | 790.4429 | 668.4199
10/11/2023 13:30 | 796.6891 | 863.4789 | 729.8993
10/11/2023 14:00 | 896.688 | 972.033 | 821.343
10/11/2023 14:30 | 1028.485 | 1115.102 | 941.869
10/11/2023 15:00 | 1201.102 | 1302.486 | 1099.718
10/11/2023 15:30 | 1392.543 | 1510.353 | 1274.733
10/11/2023 16:00 | 1597.327 | 1732.768 | 1461.885
10/11/2023 16:30 | 1796.833 | 1949.535 | 1644.13
10/11/2023 17:00 | 1969.744 | 2137.518 | 1801.969
10/11/2023 17:30 | 2090.921 | 2269.418 | 1912.425
10/11/2023 18:00 | 2166.682 | 2352.061 | 1981.302
10/11/2023 18:30 | 2203.748 | 2392.722 | 2014.775
10/11/2023 19:00 | 2194.642 | 2383.255 | 2006.029
10/11/2023 19:30 | 2141.066 | 2325.485 | 1956.647
10/11/2023 20:00 | 2082.651 | 2262.438 | 1902.864
10/11/2023 20:30 | 2021.874 | 2196.801 | 1846.946
10/11/2023 21:00 | 1956.827 | 2126.502 | 1787.152
10/11/2023 21:30 | 1893.332 | 2057.864 | 1728.8
10/11/2023 22:00 | 1826.633 | 1985.719 | 1667.547
10/11/2023 22:30 | 1764.709 | 1918.741 | 1610.678
10/11/2023 23:00 | 1711.799 | 1861.54 | 1562.058
10/11/2023 23:30 | 1666.957 | 1815.073 | 1518.841
11/11/2023 00:00 | 1623.694 | 1772.012 | 1475.376
11/11/2023 00:30 | 1593.565 | 1738.876 | 1448.254
11/11/2023 01:00 | 1574.529 | 1718.184 | 1430.874
11/11/2023 01:30 | 1562.344 | 1704.966 | 1419.721
11/11/2023 02:00 | 1554.599 | 1696.594 | 1412.604
11/11/2023 02:30 | 1547.62 | 1689.056 | 1406.183
11/11/2023 03:00 | 1545.079 | 1686.362 | 1403.796
11/11/2023 03:30 | 1553.84 | 1696.003 | 1411.676
11/11/2023 04:00 | 1562.282 | 1705.298 | 1419.267
11/11/2023 04:30 | 1554.226 | 1696.584 | 1411.869
11/11/2023 05:00 | 1546.522 | 1688.253 | 1404.792
11/11/2023 05:30 | 1524.698 | 1664.506 | 1384.89
11/11/2023 06:00 | 1455.093 | 1588.593 | 1321.593
11/11/2023 06:30 | 1367.429 | 1492.956 | 1241.902
11/11/2023 07:00 | 1246.975 | 1361.508 | 1132.442
11/11/2023 07:30 | 1099.776 | 1200.845 | 998.7069
11/11/2023 08:00 | 946.9728 | 1034.047 | 859.8981
11/11/2023 08:30 | 788.7572 | 861.3241 | 716.1902
11/11/2023 09:00 | 686.2555 | 749.4271 | 623.0839
11/11/2023 09:30 | 634.3436 | 692.7689 | 575.9183
11/11/2023 10:00 | 598.6559 | 653.8247 | 543.487
11/11/2023 10:30 | 552.1638 | 603.0764 | 501.2513
11/11/2023 11:00 | 581.8695 | 635.5508 | 528.1883
11/11/2023 11:30 | 608.2905 | 664.4402 | 552.1407
11/11/2023 12:00 | 632.04 | 690.4143 | 573.6658
11/11/2023 12:30 | 695.7814 | 760.0782 | 631.4846
11/11/2023 13:00 | 741.7723 | 810.3569 | 673.1877
11/11/2023 13:30 | 921.6295 | 1006.891 | 836.3683
11/11/2023 14:00 | 1187.01 | 1296.883 | 1077.138
11/11/2023 14:30 | 1447.594 | 1581.66 | 1313.527
11/11/2023 15:00 | 1662.014 | 1816.023 | 1508.004
11/11/2023 15:30 | 1790.857 | 1956.897 | 1624.817
11/11/2023 16:00 | 1907.194 | 2084.117 | 1730.271
11/11/2023 16:30 | 1979.986 | 2163.763 | 1796.209
11/11/2023 17:00 | 2022.637 | 2210.476 | 1834.798
11/11/2023 17:30 | 2081.162 | 2274.542 | 1887.782
11/11/2023 18:00 | 2118.549 | 2315.511 | 1921.587
11/11/2023 18:30 | 2152.29 | 2352.499 | 1952.081
11/11/2023 19:00 | 2163.38 | 2364.731 | 1962.03
11/11/2023 19:30 | 2105.362 | 2301.42 | 1909.304
11/11/2023 20:00 | 2050.29 | 2241.324 | 1859.256
11/11/2023 20:30 | 2004.137 | 2190.973 | 1817.302
11/11/2023 21:00 | 1954.91 | 2137.257 | 1772.564
11/11/2023 21:30 | 1900.022 | 2077.345 | 1722.698
11/11/2023 22:00 | 1843.57 | 2015.719 | 1671.421
11/11/2023 22:30 | 1792.63 | 1960.113 | 1625.146
11/11/2023 23:00 | 1743.086 | 1906.03 | 1580.142
11/11/2023 23:30 | 1697.898 | 1856.704 | 1539.092
12/11/2023 00:00 | 1655.046 | 1809.929 | 1500.164
12/11/2023 00:30 | 1623.82 | 1775.863 | 1471.777
12/11/2023 01:00 | 1604.217 | 1754.506 | 1453.928
12/11/2023 01:30 | 1589.775 | 1738.792 | 1440.757
12/11/2023 02:00 | 1580.396 | 1728.616 | 1432.177
12/11/2023 02:30 | 1573.633 | 1721.298 | 1425.968
12/11/2023 03:00 | 1569.374 | 1716.719 | 1422.029
12/11/2023 03:30 | 1571.197 | 1718.794 | 1423.6
12/11/2023 04:00 | 1566.998 | 1714.279 | 1419.716
12/11/2023 04:30 | 1545.397 | 1690.727 | 1400.066
12/11/2023 05:00 | 1520.618 | 1663.696 | 1377.54
12/11/2023 05:30 | 1479.664 | 1618.963 | 1340.364
12/11/2023 06:00 | 1389.511 | 1520.394 | 1258.628
12/11/2023 06:30 | 1279.542 | 1400.132 | 1158.951
12/11/2023 07:00 | 1145.242 | 1253.234 | 1037.251
12/11/2023 07:30 | 995.6916 | 1089.772 | 901.6108
12/11/2023 08:00 | 871.8711 | 954.6635 | 789.0787
12/11/2023 08:30 | 756.2496 | 828.4011 | 684.0982
12/11/2023 09:00 | 679.6336 | 744.7795 | 614.4878
12/11/2023 09:30 | 637.8777 | 699.3065 | 576.4489
12/11/2023 10:00 | 621.194 | 681.2941 | 561.0939
12/11/2023 10:30 | 584.4846 | 641.2946 | 527.6746
12/11/2023 11:00 | 616.5259 | 676.7261 | 556.3257
12/11/2023 11:30 | 669.535 | 735.2108 | 603.8592
12/11/2023 12:00 | 691.7936 | 759.9623 | 623.6249
12/11/2023 12:30 | 735.4466 | 808.246 | 662.6472
12/11/2023 13:00 | 796.7975 | 876.0264 | 717.5687
12/11/2023 13:30 | 918.8336 | 1010.608 | 827.0591
12/11/2023 14:00 | 1070.67 | 1178.089 | 963.2503
12/11/2023 14:30 | 1232.615 | 1356.833 | 1108.396
12/11/2023 15:00 | 1410.388 | 1553.153 | 1267.623
12/11/2023 15:30 | 1635.39 | 1801.662 | 1469.118
12/11/2023 16:00 | 1837.142 | 2024.748 | 1649.535
12/11/2023 16:30 | 1966.514 | 2168.212 | 1764.816
12/11/2023 17:00 | 2079.92 | 2294.18 | 1865.659
12/11/2023 17:30 | 2179.01 | 2404.454 | 1953.567
12/11/2023 18:00 | 2226.145 | 2457.461 | 1994.829
12/11/2023 18:30 | 2233.816 | 2466.929 | 2000.704
12/11/2023 19:00 | 2211.025 | 2442.749 | 1979.301
12/11/2023 19:30 | 2152.512 | 2379.066 | 1925.957
12/11/2023 20:00 | 2088.438 | 2309.183 | 1867.693
12/11/2023 20:30 | 2024.954 | 2239.895 | 1810.013
12/11/2023 21:00 | 1954.698 | 2163.056 | 1746.34
12/11/2023 21:30 | 1887.043 | 2089.034 | 1685.052
12/11/2023 22:00 | 1824.328 | 2020.422 | 1628.233
12/11/2023 22:30 | 1771.514 | 1962.724 | 1580.304
12/11/2023 23:00 | 1734.507 | 1922.499 | 1546.516
12/11/2023 23:30 | 1703.637 | 1890.153 | 1517.121
13/11/2023 00:00 | 1679.034 | 1865.704 | 1492.365
13/11/2023 00:30 | 1660.188 | 1845.122 | 1475.253
13/11/2023 01:00 | 1648.169 | 1832.318 | 1464.021
13/11/2023 01:30 | 1638.797 | 1822.448 | 1455.146
13/11/2023 02:00 | 1632.798 | 1816.325 | 1449.272
13/11/2023 02:30 | 1631.42 | 1815.338 | 1447.502
13/11/2023 03:00 | 1633.989 | 1818.745 | 1449.233
13/11/2023 03:30 | 1649.566 | 1836.636 | 1462.496
13/11/2023 04:00 | 1675.439 | 1866.005 | 1484.873
13/11/2023 04:30 | 1706.956 | 1901.68 | 1512.233
13/11/2023 05:00 | 1736.237 | 1934.883 | 1537.592
13/11/2023 05:30 | 1747.533 | 1948.057 | 1547.009
13/11/2023 06:00 | 1735.21 | 1934.901 | 1535.518
13/11/2023 06:30 | 1686.417 | 1881.058 | 1491.775
13/11/2023 07:00 | 1597.33 | 1782.225 | 1412.435
13/11/2023 07:30 | 1479.378 | 1651.116 | 1307.64