## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
09/11/2023 08:00 | 1644.86 | 1666.744 | 1620.308
09/11/2023 08:30 | 1557.144 | 1583.771 | 1530.518 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
09/11/2023 09:00 | 1490.762 | 1520.685 | 1460.839 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
09/11/2023 09:30 | 1436.461 | 1469.564 | 1403.357 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
09/11/2023 10:00 | 1380.268 | 1416.18 | 1344.357 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
09/11/2023 10:30 | 1308.653 | 1345.656 | 1271.651 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
09/11/2023 11:00 | 1252.79 | 1289.266 | 1216.313 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
09/11/2023 11:30 | 1222.644 | 1259.42 | 1185.867 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
09/11/2023 12:00 | 1216.842 | 1254.616 | 1179.068 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
09/11/2023 12:30 | 1289.918 | 1324.979 | 1242.796 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
09/11/2023 13:00 | 1345.184 | 1384.742 | 1296.35 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
09/11/2023 13:30 | 1352.707 | 1396.875 | 1305.189
09/11/2023 14:00 | 1368.366 | 1415.59 | 1320.128 | Summary view - for each schedule horizon (dispatch, week-ahead)
09/11/2023 14:30 | 1437.192 | 1488.322 | 1385.281
09/11/2023 15:00 | 1547.485 | 1603.867 | 1489.95 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
09/11/2023 15:30 | 1688.047 | 1751.559 | 1624.016 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
09/11/2023 16:00 | 1844.773 | 1915.997 | 1773.056 | Scenario | Violations
09/11/2023 16:30 | 2003.558 | 2082.529 | 1923.45 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
09/11/2023 17:00 | 2137.784 | 2224.431 | 2050.552 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
09/11/2023 17:30 | 2234.417 | 2327.43 | 2141.365 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 0 | 2 | 2 | 0 | 2
09/11/2023 18:00 | 2287.35 | 2384.777 | 2189.897 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 45 | 0 | 10 | 10 | 0 | 1
09/11/2023 18:30 | 2304.125 | 2403.963 | 2204.158 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 48 | 0 | 2 | 2 | 0 | 1
09/11/2023 19:00 | 2271.074 | 2370.147 | 2171.601
09/11/2023 19:30 | 2205.78 | 2302.748 | 2108.194 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
09/11/2023 20:00 | 2136.486 | 2231.174 | 2041.065
09/11/2023 20:30 | 2059.866 | 2151.965 | 1967.061 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
09/11/2023 21:00 | 1972.96 | 2061.941 | 1883.295 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
09/11/2023 21:30 | 1895.014 | 1981.275 | 1808.198 | [7 empty] | 09/11/2023 12:00 |  | 10/11/2023 12:00 | 10/11/2023 12:00 |  | 09/11/2023 08:00 | [6 empty] | 10/11/2023 08:30 |  | 10/11/2023 09:30 | 10/11/2023 09:30 |  | 10/11/2023 09:30 | [6 empty] | 09/11/2023 11:30 |  | 11/11/2023 10:30 | 11/11/2023 10:30 |  | 09/11/2023 14:00
09/11/2023 22:00 | 1824.291 | 1908.125 | 1740.073 | [7 empty] | 10/11/2023 08:30 |  | 11/11/2023 10:30 | 11/11/2023 10:30 |  | 09/11/2023 14:00 | [6 empty] | 10/11/2023 09:00 |  | 10/11/2023 10:30 | 10/11/2023 10:30 | [8 empty] | 09/11/2023 12:00 |  | 11/11/2023 11:00 | 11/11/2023 11:00
09/11/2023 22:30 | 1764.723 | 1846.705 | 1682.742 | [7 empty] | 10/11/2023 09:00 | [11 empty] | 10/11/2023 09:30 |  | 10/11/2023 11:00 | 10/11/2023 11:00 | [8 empty] | 10/11/2023 08:30
09/11/2023 23:00 | 1720.061 | 1800.641 | 1639.481 | [7 empty] | 10/11/2023 09:30 | [11 empty] | 10/11/2023 10:00 |  | 10/11/2023 11:30 | 10/11/2023 11:30 | [8 empty] | 10/11/2023 09:00
09/11/2023 23:30 | 1684.353 | 1763.919 | 1604.787 | [7 empty] | 10/11/2023 10:00 | [11 empty] | 10/11/2023 10:30 |  | 10/11/2023 12:00 | 10/11/2023 12:00 | [8 empty] | 10/11/2023 09:30
10/11/2023 00:00 | 1653.617 | 1732.378 | 1574.855 | [7 empty] | 10/11/2023 10:30 | [11 empty] | 10/11/2023 11:00 |  | 10/11/2023 12:30 | 10/11/2023 12:30 | [8 empty] | 10/11/2023 10:00
10/11/2023 00:30 | 1629.544 | 1707.797 | 1551.292 | [7 empty] | 10/11/2023 11:00 | [11 empty] | 10/11/2023 11:30 |  | 10/11/2023 13:00 | 10/11/2023 13:00 | [8 empty] | 10/11/2023 10:30
10/11/2023 01:00 | 1613.674 | 1691.796 | 1535.551 | [7 empty] | 10/11/2023 11:30 | [11 empty] | 10/11/2023 12:00 |  | 11/11/2023 10:30 | 11/11/2023 10:30 | [8 empty] | 10/11/2023 11:00
10/11/2023 01:30 | 1601.696 | 1679.865 | 1523.527 | [7 empty] | 10/11/2023 12:00 | [11 empty] | 10/11/2023 12:30 |  | 11/11/2023 11:00 | 11/11/2023 11:00 | [8 empty] | 10/11/2023 11:30
10/11/2023 02:00 | 1593.519 | 1671.913 | 1515.125 | [7 empty] | 10/11/2023 12:30 | [11 empty] | 10/11/2023 13:00 |  | 12/11/2023 10:00 | 12/11/2023 10:00 | [8 empty] | 10/11/2023 12:00
10/11/2023 02:30 | 1592.083 | 1671.03 | 1513.137 | [7 empty] | 10/11/2023 13:00 | [11 empty] | 10/11/2023 13:30 | [11 empty] | 10/11/2023 12:30
10/11/2023 03:00 | 1594.646 | 1674.344 | 1514.949 | [7 empty] | 10/11/2023 13:30 | [11 empty] | 10/11/2023 14:00 | [11 empty] | 10/11/2023 13:00
10/11/2023 03:30 | 1609.284 | 1690.343 | 1528.225 | [7 empty] | 10/11/2023 14:00 | [11 empty] | 10/11/2023 14:30 | [11 empty] | 10/11/2023 13:30
10/11/2023 04:00 | 1638.555 | 1721.73 | 1555.38 | [7 empty] | 10/11/2023 14:30 | [11 empty] | 11/11/2023 08:30 | [11 empty] | 10/11/2023 14:00
10/11/2023 04:30 | 1671.783 | 1757.299 | 1586.267 | [7 empty] | 11/11/2023 08:30 | [11 empty] | 11/11/2023 09:00 | [11 empty] | 10/11/2023 14:30
10/11/2023 05:00 | 1711.792 | 1800.025 | 1623.56 | [7 empty] | 11/11/2023 09:00 | [11 empty] | 11/11/2023 09:30 | [11 empty] | 11/11/2023 08:30
10/11/2023 05:30 | 1744.206 | 1834.792 | 1653.621 | [7 empty] | 11/11/2023 09:30 | [11 empty] | 11/11/2023 10:00 | [11 empty] | 11/11/2023 09:00
10/11/2023 06:00 | 1725.323 | 1815.604 | 1635.043 | [7 empty] | 11/11/2023 10:00 | [11 empty] | 11/11/2023 10:30 | [11 empty] | 11/11/2023 09:30
10/11/2023 06:30 | 1658.492 | 1745.791 | 1571.193 | [7 empty] | 11/11/2023 10:30 | [11 empty] | 11/11/2023 11:00 | [11 empty] | 11/11/2023 10:00
10/11/2023 07:00 | 1534.086 | 1615.068 | 1453.103 | [7 empty] | 11/11/2023 11:00 | [11 empty] | 11/11/2023 11:30 | [11 empty] | 11/11/2023 10:30
10/11/2023 07:30 | 1350.272 | 1421.774 | 1278.77 | [7 empty] | 11/11/2023 11:30 | [11 empty] | 11/11/2023 12:00 | [11 empty] | 11/11/2023 11:00
10/11/2023 08:00 | 1172.864 | 1235.165 | 1110.562 | [7 empty] | 11/11/2023 12:00 | [11 empty] | 11/11/2023 12:30 | [11 empty] | 11/11/2023 11:30
10/11/2023 08:30 | 1032.867 | 1087.902 | 977.8313 | [7 empty] | 11/11/2023 12:30 | [11 empty] | 11/11/2023 13:00 | [11 empty] | 11/11/2023 12:00
10/11/2023 09:00 | 925.7833 | 975.2657 | 876.301 | [7 empty] | 11/11/2023 13:00 | [11 empty] | 11/11/2023 13:30 | [11 empty] | 11/11/2023 12:30
10/11/2023 09:30 | 833.5103 | 878.1984 | 788.8221 | [7 empty] | 11/11/2023 13:30 | [11 empty] | 11/11/2023 14:00 | [11 empty] | 11/11/2023 13:00
10/11/2023 10:00 | 762.7075 | 803.7255 | 721.6896 | [7 empty] | 11/11/2023 14:00 | [11 empty] | 12/11/2023 08:30 | [11 empty] | 11/11/2023 13:30
10/11/2023 10:30 | 715.5819 | 754.1836 | 676.9802 | [7 empty] | 12/11/2023 08:30 | [11 empty] | 12/11/2023 09:00 | [11 empty] | 11/11/2023 14:00
10/11/2023 11:00 | 699.2378 | 737.0732 | 661.4023 | [7 empty] | 12/11/2023 09:00 | [11 empty] | 12/11/2023 09:30 | [11 empty] | 12/11/2023 08:30
10/11/2023 11:30 | 682.9846 | 720.0534 | 645.9158 | [7 empty] | 12/11/2023 09:30 | [11 empty] | 12/11/2023 10:00 | [11 empty] | 12/11/2023 09:00
10/11/2023 12:00 | 675.8537 | 712.647 | 639.0603 | [7 empty] | 12/11/2023 10:00 | [11 empty] | 12/11/2023 10:30 | [11 empty] | 12/11/2023 09:30
10/11/2023 12:30 | 709.6287 | 748.3779 | 670.8795 | [7 empty] | 12/11/2023 10:30 | [11 empty] | 12/11/2023 11:00 | [11 empty] | 12/11/2023 10:00
10/11/2023 13:00 | 728.6046 | 768.5103 | 688.6989 | [7 empty] | 12/11/2023 11:00 | [11 empty] | 12/11/2023 11:30 | [11 empty] | 12/11/2023 10:30
10/11/2023 13:30 | 795.7649 | 839.4804 | 752.0494 | [7 empty] | 12/11/2023 11:30 | [11 empty] | 12/11/2023 12:00 | [11 empty] | 12/11/2023 11:00
10/11/2023 14:00 | 893.915 | 943.1699 | 844.6601 | [7 empty] | 12/11/2023 12:00 | [11 empty] | 12/11/2023 12:30 | [11 empty] | 12/11/2023 11:30
10/11/2023 14:30 | 1022.52 | 1079.03 | 966.0102 | [7 empty] | 12/11/2023 12:30 | [11 empty] | 12/11/2023 13:00 | [11 empty] | 12/11/2023 12:00
10/11/2023 15:00 | 1188.344 | 1254.214 | 1122.473 | [7 empty] | 12/11/2023 13:00 | [11 empty] | 12/11/2023 13:30 | [11 empty] | 12/11/2023 12:30
10/11/2023 15:30 | 1376.917 | 1453.468 | 1300.367 | [7 empty] | 12/11/2023 13:30 | [11 empty] | 12/11/2023 14:00 | [11 empty] | 12/11/2023 13:00
10/11/2023 16:00 | 1581.866 | 1670.072 | 1493.661 | [7 empty] | 12/11/2023 14:00 | [11 empty] | 12/11/2023 14:30 | [11 empty] | 12/11/2023 13:30
10/11/2023 16:30 | 1779.841 | 1879.38 | 1680.302 | [7 empty] | 12/11/2023 14:30 | [11 empty] | 13/11/2023 08:30 | [11 empty] | 12/11/2023 14:00
10/11/2023 17:00 | 1947.107 | 2056.322 | 1837.892 | [7 empty] | 13/11/2023 08:30 | [11 empty] | 13/11/2023 09:00 | [11 empty] | 12/11/2023 14:30
10/11/2023 17:30 | 2066.337 | 2182.581 | 1950.093 | [7 empty] | 13/11/2023 09:00 | [11 empty] | 13/11/2023 09:30 | [11 empty] | 13/11/2023 08:30
10/11/2023 18:00 | 2142.43 | 2263.308 | 2021.551 | [7 empty] | 13/11/2023 09:30 | [11 empty] | 13/11/2023 10:00 | [11 empty] | 13/11/2023 09:00
10/11/2023 18:30 | 2179.644 | 2302.982 | 2056.306 | [7 empty] | 13/11/2023 10:00 | [11 empty] | 13/11/2023 10:30 | [11 empty] | 13/11/2023 09:30
10/11/2023 19:00 | 2168.485 | 2291.549 | 2045.421 | [7 empty] | 13/11/2023 10:30 | [11 empty] | 13/11/2023 11:00 | [11 empty] | 13/11/2023 10:00
10/11/2023 19:30 | 2116.933 | 2237.421 | 1996.444 | [7 empty] | 13/11/2023 11:00 | [11 empty] | 13/11/2023 11:30 | [11 empty] | 13/11/2023 10:30
10/11/2023 20:00 | 2061.824 | 2179.516 | 1944.132 | [7 empty] | 13/11/2023 11:30 | [23 empty] | 13/11/2023 11:00
10/11/2023 20:30 | 2004.151 | 2118.882 | 1889.42 | [31 empty] | 13/11/2023 11:30
10/11/2023 21:00 | 1941.763 | 2053.243 | 1830.283 | [31 empty] | 13/11/2023 12:00
10/11/2023 21:30 | 1880.603 | 1988.882 | 1772.324
10/11/2023 22:00 | 1815.891 | 1920.744 | 1711.038
10/11/2023 22:30 | 1755.892 | 1857.57 | 1654.213
10/11/2023 23:00 | 1704.498 | 1803.482 | 1605.514
10/11/2023 23:30 | 1660.751 | 1760.827 | 1560.675
11/11/2023 00:00 | 1619.447 | 1723.802 | 1515.092
11/11/2023 00:30 | 1589.908 | 1692.117 | 1487.698
11/11/2023 01:00 | 1570.527 | 1671.791 | 1469.264
11/11/2023 01:30 | 1557.877 | 1658.622 | 1457.131
11/11/2023 02:00 | 1549.764 | 1650.281 | 1449.247
11/11/2023 02:30 | 1542.97 | 1643.341 | 1442.599
11/11/2023 03:00 | 1540.67 | 1641.186 | 1440.154
11/11/2023 03:30 | 1547.574 | 1648.836 | 1446.312
11/11/2023 04:00 | 1555.847 | 1657.948 | 1453.747
11/11/2023 04:30 | 1549.285 | 1651.251 | 1447.319
11/11/2023 05:00 | 1534.865 | 1636.147 | 1433.554
11/11/2023 05:30 | 1502.561 | 1601.998 | 1403.096
11/11/2023 06:00 | 1438.018 | 1533.455 | 1342.551
11/11/2023 06:30 | 1370.483 | 1461.721 | 1279.214
11/11/2023 07:00 | 1280.314 | 1365.857 | 1194.714
11/11/2023 07:30 | 1184.3 | 1263.723 | 1104.847
11/11/2023 08:00 | 1065.037 | 1136.732 | 993.3444
11/11/2023 08:30 | 875.1277 | 934.2465 | 816.0089
11/11/2023 09:00 | 754.8542 | 806.0283 | 703.6801
11/11/2023 09:30 | 717.9901 | 766.8365 | 669.1436
11/11/2023 10:00 | 668.591 | 714.2365 | 622.9456
11/11/2023 10:30 | 578.91 | 618.571 | 539.2488
11/11/2023 11:00 | 592.4264 | 633.155 | 551.6978
11/11/2023 11:30 | 629.5568 | 672.9885 | 586.1251
11/11/2023 12:00 | 658.6569 | 704.2535 | 613.0602
11/11/2023 12:30 | 737.0562 | 788.2562 | 685.8562
11/11/2023 13:00 | 772.4336 | 826.2755 | 718.5916
11/11/2023 13:30 | 838.0761 | 896.6938 | 779.4584
11/11/2023 14:00 | 966.3922 | 1034.216 | 898.5688
11/11/2023 14:30 | 1148.059 | 1228.906 | 1067.211
11/11/2023 15:00 | 1350.031 | 1445.424 | 1254.638
11/11/2023 15:30 | 1601.733 | 1715.294 | 1488.172
11/11/2023 16:00 | 1821.599 | 1951.183 | 1692.015
11/11/2023 16:30 | 1966.665 | 2107.039 | 1826.292
11/11/2023 17:00 | 2088.421 | 2237.984 | 1938.858
11/11/2023 17:30 | 2199.089 | 2357.103 | 2041.075
11/11/2023 18:00 | 2261.391 | 2424.422 | 2098.361
11/11/2023 18:30 | 2273.439 | 2437.881 | 2108.997
11/11/2023 19:00 | 2241.969 | 2404.671 | 2079.268
11/11/2023 19:30 | 2186.98 | 2346.213 | 2027.746
11/11/2023 20:00 | 2127.992 | 2283.439 | 1972.545
11/11/2023 20:30 | 2076.631 | 2228.822 | 1924.44
11/11/2023 21:00 | 2021.52 | 2170.155 | 1872.885
11/11/2023 21:30 | 1958.917 | 2103.417 | 1814.417
11/11/2023 22:00 | 1896.976 | 2037.359 | 1756.592
11/11/2023 22:30 | 1840.396 | 1977.033 | 1703.76
11/11/2023 23:00 | 1783.338 | 1916.165 | 1650.512
11/11/2023 23:30 | 1730.859 | 1860.19 | 1601.528
12/11/2023 00:00 | 1681.155 | 1807.173 | 1555.136
12/11/2023 00:30 | 1645.615 | 1769.362 | 1521.867
12/11/2023 01:00 | 1623.279 | 1744.96 | 1500.824
12/11/2023 01:30 | 1608.226 | 1729.162 | 1486.522
12/11/2023 02:00 | 1598.061 | 1718.614 | 1476.744
12/11/2023 02:30 | 1590.96 | 1711.358 | 1469.803
12/11/2023 03:00 | 1586.865 | 1707.331 | 1465.64
12/11/2023 03:30 | 1588.357 | 1709.317 | 1466.639
12/11/2023 04:00 | 1586.453 | 1707.646 | 1465.259
12/11/2023 04:30 | 1566.321 | 1686.35 | 1446.291
12/11/2023 05:00 | 1537.307 | 1655.481 | 1419.133
12/11/2023 05:30 | 1507.54 | 1623.785 | 1391.294
12/11/2023 06:00 | 1439.118 | 1550.431 | 1327.805
12/11/2023 06:30 | 1334.659 | 1438.211 | 1231.107
12/11/2023 07:00 | 1211.108 | 1305.363 | 1116.852
12/11/2023 07:30 | 1077.393 | 1161.499 | 993.2863
12/11/2023 08:00 | 972.4352 | 1048.581 | 896.2899
12/11/2023 08:30 | 874.125 | 942.7811 | 805.4689
12/11/2023 09:00 | 797.9878 | 860.8544 | 735.1211
12/11/2023 09:30 | 746.1176 | 805.0761 | 687.1591
12/11/2023 10:00 | 713.0919 | 769.6111 | 656.5728
12/11/2023 10:30 | 665.9379 | 718.8788 | 612.9971
12/11/2023 11:00 | 689.3447 | 744.311 | 634.3784
12/11/2023 11:30 | 730.5059 | 788.9287 | 672.083
12/11/2023 12:00 | 745.7196 | 805.5373 | 685.9019
12/11/2023 12:30 | 799.0171 | 863.3009 | 734.7333
12/11/2023 13:00 | 851.0925 | 919.7693 | 782.4156
12/11/2023 13:30 | 901.6078 | 974.5762 | 828.6395
12/11/2023 14:00 | 1001.834 | 1083.153 | 920.5147
12/11/2023 14:30 | 1152.473 | 1246.295 | 1058.652
12/11/2023 15:00 | 1306.721 | 1413.412 | 1200.03
12/11/2023 15:30 | 1495.939 | 1618.437 | 1373.441
12/11/2023 16:00 | 1707.884 | 1848.145 | 1567.622
12/11/2023 16:30 | 1910.161 | 2067.491 | 1752.831
12/11/2023 17:00 | 2084.322 | 2256.494 | 1912.149
12/11/2023 17:30 | 2203.377 | 2385.91 | 2020.844
12/11/2023 18:00 | 2255.382 | 2442.761 | 2068.002
12/11/2023 18:30 | 2258.128 | 2446.276 | 2069.981
12/11/2023 19:00 | 2221.361 | 2406.976 | 2035.746
12/11/2023 19:30 | 2161.934 | 2343.1 | 1980.769
12/11/2023 20:00 | 2095.407 | 2271.498 | 1919.316
12/11/2023 20:30 | 2027.03 | 2197.859 | 1856.201
12/11/2023 21:00 | 1950.351 | 2115.184 | 1785.518
12/11/2023 21:30 | 1876.256 | 2035.275 | 1717.237
12/11/2023 22:00 | 1808.791 | 1962.524 | 1655.058
12/11/2023 22:30 | 1750.463 | 1899.657 | 1601.269
12/11/2023 23:00 | 1706.515 | 1852.37 | 1560.659
12/11/2023 23:30 | 1667.405 | 1805.764 | 1529.046
13/11/2023 00:00 | 1633.419 | 1760.505 | 1506.334
13/11/2023 00:30 | 1609.499 | 1735.823 | 1483.174
13/11/2023 01:00 | 1595.751 | 1721.345 | 1470.157
13/11/2023 01:30 | 1588.473 | 1713.841 | 1463.105
13/11/2023 02:00 | 1583.369 | 1708.68 | 1458.057
13/11/2023 02:30 | 1584.17 | 1709.89 | 1458.449
13/11/2023 03:00 | 1588.821 | 1715.258 | 1462.384
13/11/2023 03:30 | 1606.48 | 1734.673 | 1478.287
13/11/2023 04:00 | 1634.882 | 1765.699 | 1504.065
13/11/2023 04:30 | 1668.295 | 1802.15 | 1534.441
13/11/2023 05:00 | 1698.287 | 1834.919 | 1561.654
13/11/2023 05:30 | 1703.073 | 1840.463 | 1565.684
13/11/2023 06:00 | 1673.193 | 1808.537 | 1537.848
13/11/2023 06:30 | 1609.416 | 1739.953 | 1478.878
13/11/2023 07:00 | 1506.109 | 1628.596 | 1383.622
13/11/2023 07:30 | 1368.846 | 1480.456 | 1257.236
13/11/2023 08:00 | 1263.943 | 1367.24 | 1160.646
13/11/2023 08:30 | 1178.694 | 1275.249 | 1082.138
13/11/2023 09:00 | 1106.508 | 1197.363 | 1015.654
13/11/2023 09:30 | 1061.43 | 1148.786 | 974.0731
13/11/2023 10:00 | 1058.272 | 1145.571 | 970.972
13/11/2023 10:30 | 1051.995 | 1138.978 | 965.0115
13/11/2023 11:00 | 1083.5 | 1173.296 | 993.7042
13/11/2023 11:30 | 1144.664 | 1239.748 | 1049.579
13/11/2023 12:00 | 1183.788 | 1282.349 | 1085.227
13/11/2023 12:30 | 1235.217 | 1338.297 | 1132.137
13/11/2023 13:00 | 1340.872 | 1453.026 | 1228.718
13/11/2023 13:30 | 1585.445 | 1718.36 | 1452.531
13/11/2023 14:00 | 1762.974 | 1911.109 | 1614.838
13/11/2023 14:30 | 1824.739 | 1978.414 | 1671.064
13/11/2023 15:00 | 1963.65 | 2129.4 | 1797.9
13/11/2023 15:30 | 2135.993 | 2316.7 | 1955.286
13/11/2023 16:00 | 2272.542 | 2465.237 | 2079.848
13/11/2023 16:30 | 2362.85 | 2563.655 | 2162.045
13/11/2023 17:00 | 2441.133 | 2649.058 | 2233.207
13/11/2023 17:30 | 2500.265 | 2713.706 | 2286.823
13/11/2023 18:00 | 2514.491 | 2729.629 | 2299.354
13/11/2023 18:30 | 2515.117 | 2730.791 | 2299.444
13/11/2023 19:00 | 2488.177 | 2702.018 | 2274.337
13/11/2023 19:30 | 2403.496 | 2610.519 | 2196.473
13/11/2023 20:00 | 2317.78 | 2517.864 | 2117.695
13/11/2023 20:30 | 2232.792 | 2425.968 | 2039.616
13/11/2023 21:00 | 2144.709 | 2330.675 | 1958.743
13/11/2023 21:30 | 2062.434 | 2241.661 | 1883.207
13/11/2023 22:00 | 1986.168 | 2159.148 | 1813.187
13/11/2023 22:30 | 1923.802 | 2091.719 | 1755.884
13/11/2023 23:00 | 1879.329 | 2043.725 | 1714.933
13/11/2023 23:30 | 1840.664 | 2002.03 | 1679.297
14/11/2023 00:00 | 1807.466 | 1966.268 | 1648.663
14/11/2023 00:30 | 1784.205 | 1941.305 | 1627.104
14/11/2023 01:00 | 1771.198 | 1927.493 | 1614.903
14/11/2023 01:30 | 1755.301 | 1910.529 | 1600.072
14/11/2023 02:00 | 1745.7 | 1900.415 | 1590.986
14/11/2023 02:30 | 1741.071 | 1895.709 | 1586.433
14/11/2023 03:00 | 1740.666 | 1895.602 | 1585.731
14/11/2023 03:30 | 1753.298 | 1909.694 | 1596.902
14/11/2023 04:00 | 1777.664 | 1936.574 | 1618.754
14/11/2023 04:30 | 1804.54 | 1966.198 | 1642.882
14/11/2023 05:00 | 1832.027 | 1996.498 | 1667.555
14/11/2023 05:30 | 1851.171 | 2017.716 | 1684.625
14/11/2023 06:00 | 1855.774 | 2023.089 | 1688.459
14/11/2023 06:30 | 1830.142 | 1995.497 | 1664.787
14/11/2023 07:00 | 1830.086 | 1995.787 | 1664.386
14/11/2023 07:30 | 1892.286 | 2063.981 | 1720.591
14/11/2023 08:00 | 1919.555 | 2094.093 | 1745.018
14/11/2023 08:30 | 1904.798 | 2078.358 | 1731.237
14/11/2023 09:00 | 1885.881 | 2058.079 | 1713.683
14/11/2023 09:30 | 1891.787 | 2064.887 | 1718.687
14/11/2023 10:00 | 1918.93 | 2094.882 | 1742.979
14/11/2023 10:30 | 1909.006 | 2084.413 | 1733.599
14/11/2023 11:00 | 1931.391 | 2109.226 | 1753.557
14/11/2023 11:30 | 1974.394 | 2156.566 | 1792.222
14/11/2023 12:00 | 1974.989 | 2157.594 | 1792.383
14/11/2023 12:30 | 1927.924 | 2106.548 | 1749.3
14/11/2023 13:00 | 1866.286 | 2039.556 | 1693.015
14/11/2023 13:30 | 1796.982 | 1964.163 | 1629.801
14/11/2023 14:00 | 1793.842 | 1961.074 | 1626.609
14/11/2023 14:30 | 1953.586 | 2136.085 | 1771.087
14/11/2023 15:00 | 2101.758 | 2298.502 | 1905.015
14/11/2023 15:30 | 2250.268 | 2461.345 | 2039.191
14/11/2023 16:00 | 2394.839 | 2619.936 | 2169.742
14/11/2023 16:30 | 2529.833 | 2768.103 | 2291.563
14/11/2023 17:00 | 2626.269 | 2874.125 | 2378.412
14/11/2023 17:30 | 2677.379 | 2930.572 | 2424.186
14/11/2023 18:00 | 2687.991 | 2942.703 | 2433.28
14/11/2023 18:30 | 2666.388 | 2919.564 | 2413.213
14/11/2023 19:00 | 2597.379 | 2844.5 | 2350.258
14/11/2023 19:30 | 2513.234 | 2752.831 | 2273.637
14/11/2023 20:00 | 2425.88 | 2657.615 | 2194.146
14/11/2023 20:30 | 2333.521 | 2556.88 | 2110.162
14/11/2023 21:00 | 2236.105 | 2450.568 | 2021.643
14/11/2023 21:30 | 2145.329 | 2351.496 | 1939.161
14/11/2023 22:00 | 2060.33 | 2258.724 | 1861.936
14/11/2023 22:30 | 1990.212 | 2182.236 | 1798.188
14/11/2023 23:00 | 1938.439 | 2125.839 | 1751.039
14/11/2023 23:30 | 1896.824 | 2080.564 | 1713.084
15/11/2023 00:00 | 1860.491 | 2041.068 | 1679.913
15/11/2023 00:30 | 1832.605 | 2010.827 | 1654.383
15/11/2023 01:00 | 1814.928 | 1991.779 | 1638.077
15/11/2023 01:30 | 1796.439 | 1971.832 | 1621.045
15/11/2023 02:00 | 1782.668 | 1957.059 | 1608.277
15/11/2023 02:30 | 1775.929 | 1950 | 1601.857
15/11/2023 03:00 | 1774.594 | 1948.876 | 1600.313
15/11/2023 03:30 | 1784.708 | 1960.324 | 1609.091
15/11/2023 04:00 | 1807.11 | 1985.277 | 1628.943
15/11/2023 04:30 | 1836.384 | 2017.789 | 1654.978
15/11/2023 05:00 | 1858.716 | 2042.683 | 1674.748
15/11/2023 05:30 | 1864.065 | 2048.919 | 1679.211
15/11/2023 06:00 | 1869.437 | 2055.183 | 1683.692
15/11/2023 06:30 | 1874.476 | 2061.081 | 1687.87
15/11/2023 07:00 | 1813.455 | 1994.334 | 1632.577
15/11/2023 07:30 | 1659.881 | 1825.844 | 1493.917
15/11/2023 08:00 | 1556.121 | 1712.246 | 1399.997
15/11/2023 08:30 | 1526.124 | 1679.75 | 1372.498
15/11/2023 09:00 | 1461.761 | 1609.398 | 1314.123
15/11/2023 09:30 | 1349.749 | 1486.526 | 1212.972
15/11/2023 10:00 | 1299.425 | 1431.538 | 1167.312
15/11/2023 10:30 | 1326.892 | 1462.242 | 1191.541
15/11/2023 11:00 | 1354.421 | 1493.033 | 1215.808
15/11/2023 11:30 | 1331.307 | 1468 | 1194.613
15/11/2023 12:00 | 1339.171 | 1477.12 | 1201.221
15/11/2023 12:30 | 1434.52 | 1582.773 | 1286.267
15/11/2023 13:00 | 1518.899 | 1676.382 | 1361.417
15/11/2023 13:30 | 1608.797 | 1776.139 | 1441.454
15/11/2023 14:00 | 1728.753 | 1909.153 | 1548.353
15/11/2023 14:30 | 1895.708 | 2094.166 | 1697.25
15/11/2023 15:00 | 2082.981 | 2301.743 | 1864.22
15/11/2023 15:30 | 2269.421 | 2508.524 | 2030.318
15/11/2023 16:00 | 2433.219 | 2690.396 | 2176.043
15/11/2023 16:30 | 2552.209 | 2822.818 | 2281.601
15/11/2023 17:00 | 2623.57 | 2902.624 | 2344.515
15/11/2023 17:30 | 2655.345 | 2938.669 | 2372.02
15/11/2023 18:00 | 2665.546 | 2950.853 | 2380.239
15/11/2023 18:30 | 2662.925 | 2948.844 | 2377.006
15/11/2023 19:00 | 2619.757 | 2901.919 | 2337.594
15/11/2023 19:30 | 2537.164 | 2811.282 | 2263.047
15/11/2023 20:00 | 2450.653 | 2716.246 | 2185.061
15/11/2023 20:30 | 2360.562 | 2617.183 | 2103.942
15/11/2023 21:00 | 2266.221 | 2513.345 | 2019.097
15/11/2023 21:30 | 2176.886 | 2414.999 | 1938.774
15/11/2023 22:00 | 2092.062 | 2321.597 | 1862.526
15/11/2023 22:30 | 2022.033 | 2244.563 | 1799.503
15/11/2023 23:00 | 1970.893 | 2188.456 | 1753.33
15/11/2023 23:30 | 1926.817 | 2140.161 | 1713.474
16/11/2023 00:00 | 1890.824 | 2100.816 | 1680.831
16/11/2023 00:30 | 1862.796 | 2070.301 | 1655.292
16/11/2023 01:00 | 1843.653 | 2049.643 | 1637.663
16/11/2023 01:30 | 1824.391 | 2028.84 | 1619.941
16/11/2023 02:00 | 1810.565 | 2014.072 | 1607.058
16/11/2023 02:30 | 1802.575 | 2005.789 | 1599.362
16/11/2023 03:00 | 1800.39 | 2003.961 | 1596.819
16/11/2023 03:30 | 1809.705 | 2014.936 | 1604.474
16/11/2023 04:00 | 1831.849 | 2040.206 | 1623.493
16/11/2023 04:30 | 1860.825 | 2073.101 | 1648.549
16/11/2023 05:00 | 1881.23 | 2096.465 | 1665.996
16/11/2023 05:30 | 1877.455 | 2092.887 | 1662.023
16/11/2023 06:00 | 1849.332 | 2062.157 | 1636.507
16/11/2023 06:30 | 1791.106 | 1997.831 | 1584.381
16/11/2023 07:00 | 1705.372 | 1902.773 | 1507.971
16/11/2023 07:30 | 1591.945 | 1752.197 | 1407.139