## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
11/11/2023 08:00 | 1085.99 | 1105.578 | 1068.995
11/11/2023 08:30 | 991.3039 | 1011.771 | 970.8372 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
11/11/2023 09:00 | 946.7017 | 969.8668 | 923.5366 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
11/11/2023 09:30 | 859.3545 | 883.6676 | 835.0414 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
11/11/2023 10:00 | 770.9775 | 795.7377 | 746.2174 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
11/11/2023 10:30 | 663.8669 | 687.0679 | 640.6658 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
11/11/2023 11:00 | 595.4602 | 676.3685 | 629.588 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
11/11/2023 11:30 | 561.9033 | 622.9452 | 578.6516 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
11/11/2023 12:00 | 555.5397 | 587.4235 | 544.5186 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
11/11/2023 12:30 | 615.6522 | 640.5016 | 592.4827 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
11/11/2023 13:00 | 685.4062 | 713.7569 | 658.8699 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
11/11/2023 13:30 | 822.0444 | 857.1994 | 789.6327
11/11/2023 14:00 | 986.8286 | 1028.265 | 945.2397 | Summary view - for each schedule horizon (dispatch, week-ahead)
11/11/2023 14:30 | 1132.779 | 1181.861 | 1084.169
11/11/2023 15:00 | 1303.186 | 1362.005 | 1246.818 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
11/11/2023 15:30 | 1515.354 | 1582.836 | 1445.952 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
11/11/2023 16:00 | 1713.055 | 1790.537 | 1632.28 | Scenario | Violations
11/11/2023 16:30 | 1863.082 | 1950.874 | 1774.738 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
11/11/2023 17:00 | 1990.582 | 2085.448 | 1893.205 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
11/11/2023 17:30 | 2099.194 | 2201.407 | 1994.305 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 2 | 2 | 0 | 2
11/11/2023 18:00 | 2156.749 | 2264.54 | 2047.219 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 1
11/11/2023 18:30 | 2179.225 | 2289.873 | 2066.95 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 2 | 2 | 0 | 2
11/11/2023 19:00 | 2164.922 | 2275.729 | 2053.294
11/11/2023 19:30 | 2111.031 | 2220.135 | 2002.077 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
11/11/2023 20:00 | 2056.284 | 2163.455 | 1949.934
11/11/2023 20:30 | 2010.215 | 2115.092 | 1905.337 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
11/11/2023 21:00 | 1961.304 | 2064.146 | 1858.462 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
11/11/2023 21:30 | 1906.413 | 2006.879 | 1805.948 | [7 empty] | 11/11/2023 08:30 |  | 11/11/2023 11:30 | 11/11/2023 11:30 |  | 11/11/2023 08:00 | [6 empty] | 11/11/2023 09:00 |  |  |  |  | 11/11/2023 08:00 | [6 empty] | 11/11/2023 08:00 |  | 11/11/2023 11:30 | 11/11/2023 11:30 |  | 11/11/2023 08:00
11/11/2023 22:00 | 1850.437 | 1948.439 | 1752.434 | [7 empty] | 11/11/2023 09:00 |  | 11/11/2023 12:00 | 11/11/2023 12:00 |  | 11/11/2023 12:00 | [6 empty] | 11/11/2023 09:30 | [11 empty] | 11/11/2023 09:00 |  | 11/11/2023 12:00 | 11/11/2023 12:00 |  | 14/11/2023 23:30
11/11/2023 22:30 | 1800.351 | 1896.175 | 1704.527 | [7 empty] | 11/11/2023 09:30 | [11 empty] | 11/11/2023 10:00 | [11 empty] | 11/11/2023 09:30
11/11/2023 23:00 | 1754.069 | 1847.892 | 1660.246 | [7 empty] | 11/11/2023 10:00 | [11 empty] | 11/11/2023 10:30 | [11 empty] | 11/11/2023 10:00
11/11/2023 23:30 | 1712.83 | 1804.898 | 1620.762 | [7 empty] | 11/11/2023 10:30 | [11 empty] | 11/11/2023 11:00 | [11 empty] | 11/11/2023 10:30
12/11/2023 00:00 | 1674.484 | 1764.932 | 1584.037 | [7 empty] | 11/11/2023 11:00 | [11 empty] | 11/11/2023 11:30 | [11 empty] | 11/11/2023 11:00
12/11/2023 00:30 | 1645.833 | 1735.166 | 1556.5 | [7 empty] | 11/11/2023 11:30 | [11 empty] | 11/11/2023 12:00 | [11 empty] | 11/11/2023 11:30
12/11/2023 01:00 | 1628.033 | 1716.829 | 1539.238 | [7 empty] | 11/11/2023 12:00 | [11 empty] | 11/11/2023 12:30 | [11 empty] | 11/11/2023 12:00
12/11/2023 01:30 | 1610.671 | 1698.943 | 1522.398 | [7 empty] | 11/11/2023 12:30 | [11 empty] | 11/11/2023 13:30 | [11 empty] | 11/11/2023 12:30
12/11/2023 02:00 | 1598.709 | 1686.747 | 1510.67 | [7 empty] | 11/11/2023 13:30 | [11 empty] | 11/11/2023 14:30 | [11 empty] | 11/11/2023 13:00
12/11/2023 02:30 | 1590.274 | 1678.266 | 1502.281 | [7 empty] | 11/11/2023 14:30 | [23 empty] | 11/11/2023 13:30
12/11/2023 03:00 | 1585.505 | 1673.651 | 1497.359 | [7 empty] | 11/11/2023 15:00 | [23 empty] | 11/11/2023 14:00
12/11/2023 03:30 | 1589.27 | 1678.044 | 1500.497 | [31 empty] | 11/11/2023 14:30
12/11/2023 04:00 | 1590.028 | 1679.263 | 1500.793 | [31 empty] | 11/11/2023 15:00
12/11/2023 04:30 | 1571.406 | 1660.01 | 1482.803 | [31 empty] | 12/11/2023 09:00
12/11/2023 05:00 | 1535.565 | 1622.552 | 1448.578 | [31 empty] | 12/11/2023 09:30
12/11/2023 05:30 | 1495.99 | 1581.129 | 1410.852 | [31 empty] | 12/11/2023 10:00
12/11/2023 06:00 | 1455.546 | 1538.766 | 1372.326 | [31 empty] | 12/11/2023 10:30
12/11/2023 06:30 | 1422.357 | 1504.018 | 1340.696 | [31 empty] | 12/11/2023 11:00
12/11/2023 07:00 | 1406.228 | 1487.225 | 1325.231 | [31 empty] | 12/11/2023 11:30
12/11/2023 07:30 | 1427.047 | 1509.516 | 1344.578
12/11/2023 08:00 | 1463.634 | 1548.497 | 1378.771
12/11/2023 08:30 | 1482.129 | 1568.347 | 1395.91
12/11/2023 09:00 | 1470.11 | 1555.909 | 1384.31
12/11/2023 09:30 | 1404.215 | 1486.436 | 1321.992
12/11/2023 10:00 | 1312.005 | 1389.079 | 1234.931
12/11/2023 10:30 | 1208.801 | 1280.042 | 1137.558
12/11/2023 11:00 | 1206.334 | 1277.661 | 1135.006
12/11/2023 11:30 | 1304.437 | 1381.814 | 1227.059
12/11/2023 12:00 | 1358.908 | 1439.776 | 1278.04
12/11/2023 12:30 | 1407.292 | 1491.308 | 1323.276
12/11/2023 13:00 | 1428.103 | 1513.635 | 1342.572
12/11/2023 13:30 | 1402.258 | 1486.509 | 1318.006
12/11/2023 14:00 | 1400.614 | 1485.034 | 1316.193
12/11/2023 14:30 | 1476.543 | 1565.821 | 1387.263
12/11/2023 15:00 | 1564.36 | 1659.248 | 1469.473
12/11/2023 15:30 | 1697.679 | 1800.978 | 1594.38
12/11/2023 16:00 | 1862.194 | 1975.859 | 1748.529
12/11/2023 16:30 | 2021.71 | 2145.498 | 1897.923
12/11/2023 17:00 | 2166.024 | 2299.062 | 2032.986
12/11/2023 17:30 | 2258.157 | 2397.285 | 2119.029
12/11/2023 18:00 | 2287.179 | 2428.532 | 2145.826
12/11/2023 18:30 | 2286.7 | 2428.46 | 2144.939
12/11/2023 19:00 | 2245.654 | 2385.299 | 2106.009
12/11/2023 19:30 | 2180.353 | 2316.353 | 2044.352
12/11/2023 20:00 | 2114.239 | 2246.519 | 1981.958
12/11/2023 20:30 | 2043.293 | 2171.527 | 1915.061
12/11/2023 21:00 | 1968.169 | 2092.065 | 1844.275
12/11/2023 21:30 | 1895.682 | 2015.378 | 1775.989
12/11/2023 22:00 | 1828.235 | 1944.022 | 1712.451
12/11/2023 22:30 | 1771.153 | 1883.663 | 1658.646
12/11/2023 23:00 | 1724.463 | 1834.337 | 1614.593
12/11/2023 23:30 | 1699.486 | 1804.656 | 1594.318
13/11/2023 00:00 | 1682.843 | 1780.548 | 1585.139
13/11/2023 00:30 | 1657.455 | 1754.53 | 1560.382
13/11/2023 01:00 | 1643.186 | 1739.696 | 1546.677
13/11/2023 01:30 | 1635.592 | 1731.927 | 1539.26
13/11/2023 02:00 | 1630.497 | 1726.8 | 1534.195
13/11/2023 02:30 | 1631.427 | 1728.055 | 1534.801
13/11/2023 03:00 | 1636.348 | 1733.537 | 1539.16
13/11/2023 03:30 | 1653.577 | 1752.063 | 1555.094
13/11/2023 04:00 | 1682.587 | 1783.078 | 1582.097
13/11/2023 04:30 | 1716.238 | 1819.022 | 1613.455
13/11/2023 05:00 | 1754.436 | 1859.798 | 1649.076
13/11/2023 05:30 | 1780.696 | 1887.929 | 1673.465
13/11/2023 06:00 | 1788.856 | 1896.875 | 1680.838
13/11/2023 06:30 | 1785.83 | 1893.996 | 1677.666
13/11/2023 07:00 | 1704.111 | 1807.704 | 1600.519
13/11/2023 07:30 | 1496.151 | 1587.429 | 1404.874
13/11/2023 08:00 | 1323.154 | 1404.166 | 1242.142
13/11/2023 08:30 | 1214.593 | 1289.224 | 1139.963
13/11/2023 09:00 | 1116.607 | 1185.461 | 1047.753
13/11/2023 09:30 | 1048.553 | 1112.982 | 983.667
13/11/2023 10:00 | 1021.919 | 1084.935 | 958.4579
13/11/2023 10:30 | 1000.29 | 1062.19 | 937.9531
13/11/2023 11:00 | 1017.587 | 1080.78 | 953.9502
13/11/2023 11:30 | 1066.638 | 1133.109 | 999.6998
13/11/2023 12:00 | 1098.49 | 1167.187 | 1029.314
13/11/2023 12:30 | 1145.433 | 1217.316 | 1073.05
13/11/2023 13:00 | 1201.263 | 1276.911 | 1125.089
13/11/2023 13:30 | 1310.22 | 1393.016 | 1226.851
13/11/2023 14:00 | 1448.186 | 1540.017 | 1355.722
13/11/2023 14:30 | 1614.046 | 1716.747 | 1510.639
13/11/2023 15:00 | 1786.191 | 1900.236 | 1671.365
13/11/2023 15:30 | 1941.08 | 2065.438 | 1815.873
13/11/2023 16:00 | 2102.217 | 2237.358 | 1966.156
13/11/2023 16:30 | 2262.887 | 2408.851 | 2115.933
13/11/2023 17:00 | 2374.363 | 2528.037 | 2219.652
13/11/2023 17:30 | 2439.542 | 2597.968 | 2280.051
13/11/2023 18:00 | 2470.438 | 2631.409 | 2308.387
13/11/2023 18:30 | 2474.143 | 2635.896 | 2311.308
13/11/2023 19:00 | 2439.291 | 2599.299 | 2278.217
13/11/2023 19:30 | 2363.403 | 2518.95 | 2206.824
13/11/2023 20:00 | 2283.482 | 2434.268 | 2131.699
13/11/2023 20:30 | 2203.972 | 2349.989 | 2056.992
13/11/2023 21:00 | 2119.828 | 2260.733 | 1977.996
13/11/2023 21:30 | 2039.772 | 2175.801 | 1902.851
13/11/2023 22:00 | 1964.349 | 2095.778 | 1832.062
13/11/2023 22:30 | 1901.516 | 2029.156 | 1773.045
13/11/2023 23:00 | 1856.473 | 1981.495 | 1730.639
13/11/2023 23:30 | 1817.605 | 1940.407 | 1694.009
14/11/2023 00:00 | 1783.982 | 1904.902 | 1662.283
14/11/2023 00:30 | 1759.026 | 1878.639 | 1638.645
14/11/2023 01:00 | 1745.329 | 1864.392 | 1625.504
14/11/2023 01:30 | 1731.033 | 1849.499 | 1611.811
14/11/2023 02:00 | 1721.002 | 1839.158 | 1602.095
14/11/2023 02:30 | 1717.195 | 1835.464 | 1598.175
14/11/2023 03:00 | 1717.735 | 1836.416 | 1598.303
14/11/2023 03:30 | 1730.386 | 1850.32 | 1609.697
14/11/2023 04:00 | 1754.366 | 1876.345 | 1631.621
14/11/2023 04:30 | 1783.009 | 1907.369 | 1657.87
14/11/2023 05:00 | 1807.907 | 1934.399 | 1680.626
14/11/2023 05:30 | 1812.385 | 1939.586 | 1684.392
14/11/2023 06:00 | 1787.215 | 1913.04 | 1660.609
14/11/2023 06:30 | 1722.614 | 1844.267 | 1600.208
14/11/2023 07:00 | 1621.338 | 1736.193 | 1505.775
14/11/2023 07:30 | 1485.951 | 1591.54 | 1379.712
14/11/2023 08:00 | 1355.73 | 1452.362 | 1258.506
14/11/2023 08:30 | 1251.74 | 1341.233 | 1161.7
14/11/2023 09:00 | 1180.177 | 1264.812 | 1095.026
14/11/2023 09:30 | 1135.31 | 1216.975 | 1053.148
14/11/2023 10:00 | 1111.195 | 1191.369 | 1030.536
14/11/2023 10:30 | 1092.209 | 1171.251 | 1012.69
14/11/2023 11:00 | 1110.809 | 1191.44 | 1029.693
14/11/2023 11:30 | 1153.13 | 1237.085 | 1069.176
14/11/2023 12:00 | 1191.202 | 1278.189 | 1104.215
14/11/2023 12:30 | 1251.519 | 1343.184 | 1159.854
14/11/2023 13:00 | 1328.903 | 1426.526 | 1231.28
14/11/2023 13:30 | 1451.116 | 1558.034 | 1344.198
14/11/2023 14:00 | 1595.903 | 1713.838 | 1477.968
14/11/2023 14:30 | 1750.606 | 1880.355 | 1620.856
14/11/2023 15:00 | 1966.764 | 2112.964 | 1820.563
14/11/2023 15:30 | 2236.586 | 2403.333 | 2069.84
14/11/2023 16:00 | 2407.351 | 2587.354 | 2227.347
14/11/2023 16:30 | 2453.167 | 2637.132 | 2269.202
14/11/2023 17:00 | 2506.592 | 2695.111 | 2318.073
14/11/2023 17:30 | 2567.876 | 2761.566 | 2374.187
14/11/2023 18:00 | 2587.56 | 2783.3 | 2391.821
14/11/2023 18:30 | 2582.979 | 2778.936 | 2387.021
14/11/2023 19:00 | 2546.786 | 2740.554 | 2353.018
14/11/2023 19:30 | 2463.459 | 2651.426 | 2275.493
14/11/2023 20:00 | 2376.078 | 2557.896 | 2194.26
14/11/2023 20:30 | 2288.022 | 2463.603 | 2112.442
14/11/2023 21:00 | 2196.515 | 2365.552 | 2027.477
14/11/2023 21:30 | 2109.935 | 2272.771 | 1947.099
14/11/2023 22:00 | 2027.977 | 2184.93 | 1871.023
14/11/2023 22:30 | 1960.779 | 2112.96 | 1808.597
14/11/2023 23:00 | 1910.725 | 2059.439 | 1762.011
14/11/2023 23:30 | 1868.238 | 2014.053 | 1722.423
15/11/2023 00:00 | 1831.913 | 1975.293 | 1688.532
15/11/2023 00:30 | 1803.879 | 1945.46 | 1662.299
15/11/2023 01:00 | 1786.323 | 1926.916 | 1645.73
15/11/2023 01:30 | 1767.772 | 1907.291 | 1628.253
15/11/2023 02:00 | 1753.349 | 1892.113 | 1614.585
15/11/2023 02:30 | 1746.707 | 1885.327 | 1608.087
15/11/2023 03:00 | 1745.853 | 1884.786 | 1606.919
15/11/2023 03:30 | 1755.762 | 1895.868 | 1615.657
15/11/2023 04:00 | 1777.73 | 1919.977 | 1635.483
15/11/2023 04:30 | 1807.007 | 1951.991 | 1662.022
15/11/2023 05:00 | 1831.355 | 1978.694 | 1684.017
15/11/2023 05:30 | 1833.813 | 1981.749 | 1685.876
15/11/2023 06:00 | 1809.099 | 1955.437 | 1662.761
15/11/2023 06:30 | 1752.172 | 1894.288 | 1610.056
15/11/2023 07:00 | 1657.701 | 1792.517 | 1522.886
15/11/2023 07:30 | 1530.013 | 1654.764 | 1405.262
15/11/2023 08:00 | 1411.96 | 1527.354 | 1296.566
15/11/2023 08:30 | 1317.786 | 1425.736 | 1209.836
15/11/2023 09:00 | 1267.467 | 1371.538 | 1163.396
15/11/2023 09:30 | 1260.495 | 1364.235 | 1156.756
15/11/2023 10:00 | 1248.372 | 1351.353 | 1145.39
15/11/2023 10:30 | 1199.032 | 1298.173 | 1099.891
15/11/2023 11:00 | 1241.195 | 1344.061 | 1138.33
15/11/2023 11:30 | 1351.719 | 1464.003 | 1239.435
15/11/2023 12:00 | 1407.932 | 1525.155 | 1290.708
15/11/2023 12:30 | 1421.279 | 1539.886 | 1302.672
15/11/2023 13:00 | 1466.213 | 1588.851 | 1343.575
15/11/2023 13:30 | 1590.797 | 1724.16 | 1457.433
15/11/2023 14:00 | 1741.896 | 1888.26 | 1595.531
15/11/2023 14:30 | 1920.75 | 2082.511 | 1758.989
15/11/2023 15:00 | 2127.522 | 2307.105 | 1947.94
15/11/2023 15:30 | 2335.392 | 2532.969 | 2137.816
15/11/2023 16:00 | 2491.925 | 2703.222 | 2280.629
15/11/2023 16:30 | 2568.728 | 2787.029 | 2350.427
15/11/2023 17:00 | 2625.411 | 2849.033 | 2401.79
15/11/2023 17:30 | 2669.646 | 2897.548 | 2441.745
15/11/2023 18:00 | 2684.505 | 2914.189 | 2454.821
15/11/2023 18:30 | 2682.176 | 2912.175 | 2452.177
15/11/2023 19:00 | 2642.14 | 2869.212 | 2415.067
15/11/2023 19:30 | 2558.439 | 2778.808 | 2338.07
15/11/2023 20:00 | 2470.571 | 2683.845 | 2257.297
15/11/2023 20:30 | 2376.825 | 2582.462 | 2171.188
15/11/2023 21:00 | 2279.014 | 2476.625 | 2081.402
15/11/2023 21:30 | 2186.163 | 2376.142 | 1996.183
15/11/2023 22:00 | 2098.08 | 2280.807 | 1915.353
15/11/2023 22:30 | 2023.945 | 2200.603 | 1847.286
15/11/2023 23:00 | 1967.85 | 2139.99 | 1795.711
15/11/2023 23:30 | 1917.674 | 2085.792 | 1749.556
16/11/2023 00:00 | 1875.48 | 2040.259 | 1710.702
16/11/2023 00:30 | 1844.093 | 2006.467 | 1681.719
16/11/2023 01:00 | 1822.883 | 1983.739 | 1662.027
16/11/2023 01:30 | 1803.141 | 1962.6 | 1643.682
16/11/2023 02:00 | 1789.881 | 1948.511 | 1631.252
16/11/2023 02:30 | 1782.646 | 1940.977 | 1624.316
16/11/2023 03:00 | 1780.716 | 1939.216 | 1622.216
16/11/2023 03:30 | 1790.117 | 1949.797 | 1630.437
16/11/2023 04:00 | 1812.316 | 1974.324 | 1650.309
16/11/2023 04:30 | 1839.353 | 2004.129 | 1674.576
16/11/2023 05:00 | 1862.89 | 2030.132 | 1695.647
16/11/2023 05:30 | 1877.52 | 2046.436 | 1708.604
16/11/2023 06:00 | 1865.139 | 2033.298 | 1696.979
16/11/2023 06:30 | 1804.232 | 1967.246 | 1641.218
16/11/2023 07:00 | 1711.447 | 1866.406 | 1556.488
16/11/2023 07:30 | 1585.815 | 1729.703 | 1441.928
16/11/2023 08:00 | 1468 | 1601.479 | 1334.521
16/11/2023 08:30 | 1372.462 | 1497.518 | 1247.407
16/11/2023 09:00 | 1302.332 | 1421.246 | 1183.417
16/11/2023 09:30 | 1256.626 | 1371.608 | 1141.644
16/11/2023 10:00 | 1253.649 | 1368.599 | 1138.699
16/11/2023 10:30 | 1287.123 | 1405.389 | 1168.856
16/11/2023 11:00 | 1331.139 | 1453.704 | 1208.573
16/11/2023 11:30 | 1348.598 | 1473.03 | 1224.166
16/11/2023 12:00 | 1388.296 | 1516.657 | 1259.935
16/11/2023 12:30 | 1504 | 1643.347 | 1364.653
16/11/2023 13:00 | 1651.452 | 1804.777 | 1498.127
16/11/2023 13:30 | 1924.962 | 2104.05 | 1745.875
16/11/2023 14:00 | 2141.962 | 2341.648 | 1942.276
16/11/2023 14:30 | 2206.253 | 2412.355 | 2000.15
16/11/2023 15:00 | 2298.889 | 2514.086 | 2083.692
16/11/2023 15:30 | 2367.64 | 2589.727 | 2145.554
16/11/2023 16:00 | 2436.379 | 2665.381 | 2207.378
16/11/2023 16:30 | 2507.207 | 2743.346 | 2271.068
16/11/2023 17:00 | 2558.305 | 2799.747 | 2316.863
16/11/2023 17:30 | 2584.798 | 2829.235 | 2340.36
16/11/2023 18:00 | 2587.833 | 2833.054 | 2342.613
16/11/2023 18:30 | 2608.82 | 2856.53 | 2361.111
16/11/2023 19:00 | 2612.471 | 2861.028 | 2363.915
16/11/2023 19:30 | 2531.802 | 2773.168 | 2290.435
16/11/2023 20:00 | 2447.9 | 2681.738 | 2214.063
16/11/2023 20:30 | 2359.118 | 2584.927 | 2133.309
16/11/2023 21:00 | 2262.458 | 2479.449 | 2045.468
16/11/2023 21:30 | 2176.251 | 2385.39 | 1967.111
16/11/2023 22:00 | 2093.29 | 2294.858 | 1891.722
16/11/2023 22:30 | 2022.907 | 2218.086 | 1827.729
16/11/2023 23:00 | 1972.465 | 2163.154 | 1781.775
16/11/2023 23:30 | 1934.954 | 2122.388 | 1747.52
17/11/2023 00:00 | 1906.058 | 2091.059 | 1721.058
17/11/2023 00:30 | 1880.329 | 2063.192 | 1697.466
17/11/2023 01:00 | 1861.352 | 2042.727 | 1679.978
17/11/2023 01:30 | 1842.477 | 2022.365 | 1662.588
17/11/2023 02:00 | 1827.574 | 2006.358 | 1648.791
17/11/2023 02:30 | 1819.047 | 1997.345 | 1640.749
17/11/2023 03:00 | 1814.895 | 1993.134 | 1636.656
17/11/2023 03:30 | 1823.435 | 2002.863 | 1644.008
17/11/2023 04:00 | 1845.393 | 2027.335 | 1663.451
17/11/2023 04:30 | 1870.555 | 2055.336 | 1685.774
17/11/2023 05:00 | 1886.774 | 2073.519 | 1700.029
17/11/2023 05:30 | 1885.081 | 2072.019 | 1698.142
17/11/2023 06:00 | 1860.628 | 2045.498 | 1675.758
17/11/2023 06:30 | 1804.741 | 1984.405 | 1625.078
17/11/2023 07:00 | 1719.295 | 1890.782 | 1547.809
17/11/2023 07:30 | 1597.472 | 1757.195 | 1437.749
17/11/2023 08:00 | 1486.18 | 1635.287 | 1337.073
17/11/2023 08:30 | 1399.465 | 1540.341 | 1258.588
17/11/2023 09:00 | 1334.907 | 1469.732 | 1200.082
17/11/2023 09:30 | 1283.558 | 1413.627 | 1153.488
17/11/2023 10:00 | 1254.28 | 1381.803 | 1126.757
17/11/2023 10:30 | 1242.85 | 1369.628 | 1116.073
17/11/2023 11:00 | 1278.587 | 1409.439 | 1147.735
17/11/2023 11:30 | 1322.511 | 1458.302 | 1186.721
17/11/2023 12:00 | 1359.424 | 1499.461 | 1219.388
17/11/2023 12:30 | 1433.837 | 1582.02 | 1285.655
17/11/2023 13:00 | 1509.101 | 1665.568 | 1352.634
17/11/2023 13:30 | 1642.059 | 1812.861 | 1471.256
17/11/2023 14:00 | 1823.767 | 2014.082 | 1633.452
17/11/2023 14:30 | 1997.168 | 2206.248 | 1788.089
17/11/2023 15:00 | 2157.99 | 2384.629 | 1931.351
17/11/2023 15:30 | 2254.12 | 2491.611 | 2016.629
17/11/2023 16:00 | 2368.714 | 2619.073 | 2118.355
17/11/2023 16:30 | 2499.253 | 2764.246 | 2234.259
17/11/2023 17:00 | 2563.945 | 2836.658 | 2291.232
17/11/2023 17:30 | 2573.184 | 2847.741 | 2298.625
17/11/2023 18:00 | 2576.827 | 2852.637 | 2301.016
17/11/2023 18:30 | 2581.822 | 2859.033 | 2304.611
17/11/2023 19:00 | 2562.417 | 2838.404 | 2286.431
17/11/2023 19:30 | 2489.418 | 2758.377 | 2220.459
17/11/2023 20:00 | 2414.35 | 2676.008 | 2152.691
17/11/2023 20:30 | 2339.99 | 2594.374 | 2085.606
17/11/2023 21:00 | 2262.375 | 2509.08 | 2015.671
17/11/2023 21:30 | 2187.32 | 2426.573 | 1948.066
17/11/2023 22:00 | 2108.862 | 2340.24 | 1877.483
17/11/2023 22:30 | 2041.397 | 2266.058 | 1816.736
17/11/2023 23:00 | 1990.566 | 2210.301 | 1770.832
17/11/2023 23:30 | 1957.742 | 2173.237 | 1742.247
18/11/2023 00:00 | 1934.136 | 2145.268 | 1723.005
18/11/2023 00:30 | 1904.258 | 2113.205 | 1695.312
18/11/2023 01:00 | 1882.027 | 2089.376 | 1674.678
18/11/2023 01:30 | 1858.968 | 2064.609 | 1653.328
18/11/2023 02:00 | 1842.591 | 2047.244 | 1637.938
18/11/2023 02:30 | 1827.904 | 2031.744 | 1624.064
18/11/2023 03:00 | 1817.029 | 2020.469 | 1613.589
18/11/2023 03:30 | 1816.925 | 2021.167 | 1612.683
18/11/2023 04:00 | 1818.379 | 2023.598 | 1613.16
18/11/2023 04:30 | 1801.75 | 2005.898 | 1597.601
18/11/2023 05:00 | 1778.285 | 1980.57 | 1576
18/11/2023 05:30 | 1745.58 | 1944.927 | 1546.234
18/11/2023 06:00 | 1674.321 | 1866.279 | 1482.364
18/11/2023 06:30 | 1588.547 | 1771.381 | 1405.713
18/11/2023 07:00 | 1491.16 | 1663.453 | 1318.867
18/11/2023 07:30 | 1377.606 | 1537.395 | 1217.817