## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
14/11/2023 08:00 | 1499.95 | 1520.641 | 1478.276
14/11/2023 08:30 | 1403.231 | 1427.226 | 1379.236 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
14/11/2023 09:00 | 1328.102 | 1354.76 | 1301.444 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
14/11/2023 09:30 | 1258.208 | 1287.203 | 1229.212 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
14/11/2023 10:00 | 1210.186 | 1241.672 | 1178.7 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
14/11/2023 10:30 | 1165.34 | 1198.291 | 1132.39 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
14/11/2023 11:00 | 1143.836 | 1177.14 | 1110.532 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
14/11/2023 11:30 | 1138.118 | 1172.352 | 1103.884 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
14/11/2023 12:00 | 1133.537 | 1168.724 | 1098.349 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
14/11/2023 12:30 | 1155.591 | 1192.577 | 1118.606 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
14/11/2023 13:00 | 1197.631 | 1237.115 | 1158.147 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
14/11/2023 13:30 | 1283.91 | 1327.475 | 1240.344
14/11/2023 14:00 | 1394.469 | 1443.129 | 1345.809 | Summary view - for each schedule horizon (dispatch, week-ahead)
14/11/2023 14:30 | 1529.485 | 1584.329 | 1474.641
14/11/2023 15:00 | 1694.563 | 1756.959 | 1632.168 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
14/11/2023 15:30 | 1858.974 | 1929.214 | 1788.734 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
14/11/2023 16:00 | 2028.882 | 2107.496 | 1950.269 | Scenario | Violations
14/11/2023 16:30 | 2196.843 | 2284.08 | 2109.605 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
14/11/2023 17:00 | 2328.776 | 2423.495 | 2234.057 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
14/11/2023 17:30 | 2417.771 | 2518.438 | 2317.103 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 0 | 2
14/11/2023 18:00 | 2461.226 | 2566.073 | 2356.378 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
14/11/2023 18:30 | 2469.048 | 2576.104 | 2361.992 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 5 | 0 | 1
14/11/2023 19:00 | 2439.318 | 2545.955 | 2332.681
14/11/2023 19:30 | 2368.96 | 2473.448 | 2264.471 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
14/11/2023 20:00 | 2291.975 | 2393.965 | 2189.985
14/11/2023 20:30 | 2212.836 | 2312.17 | 2113.501 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
14/11/2023 21:00 | 2127.449 | 2223.783 | 2031.115 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
14/11/2023 21:30 | 2044.654 | 2138.039 | 1951.269 | [9 empty] | 16/11/2023 10:00 | 16/11/2023 10:00 |  | 14/11/2023 08:00 | [11 empty] | 14/11/2023 08:00 | [8 empty] | 16/11/2023 09:30 | 16/11/2023 09:30 |  | 14/11/2023 08:00
14/11/2023 22:00 | 1966.544 | 2057.131 | 1875.956 | [9 empty] | 16/11/2023 10:30 | 16/11/2023 10:30 |  | 16/11/2023 10:30 | [20 empty] | 16/11/2023 10:00 | 16/11/2023 10:00
14/11/2023 22:30 | 1903.125 | 1991.536 | 1814.714 | [9 empty] | 16/11/2023 11:00 | 16/11/2023 11:00 | [22 empty] | 16/11/2023 10:30 | 16/11/2023 10:30
14/11/2023 23:00 | 1855.907 | 1942.85 | 1768.963 | [33 empty] | 16/11/2023 11:00 | 16/11/2023 11:00
14/11/2023 23:30 | 1816.057 | 1901.845 | 1730.269 | [33 empty] | 16/11/2023 11:30 | 16/11/2023 11:30
15/11/2023 00:00 | 1782.882 | 1867.8 | 1697.964
15/11/2023 00:30 | 1758.297 | 1842.733 | 1673.862
15/11/2023 01:00 | 1743.636 | 1828.05 | 1659.222
15/11/2023 01:30 | 1729.767 | 1814.187 | 1645.347
15/11/2023 02:00 | 1719.528 | 1804.121 | 1634.935
15/11/2023 02:30 | 1715.151 | 1800.2 | 1630.102
15/11/2023 03:00 | 1716.441 | 1802.226 | 1630.657
15/11/2023 03:30 | 1729.409 | 1816.519 | 1642.299
15/11/2023 04:00 | 1754.172 | 1843.216 | 1665.129
15/11/2023 04:30 | 1784.925 | 1876.228 | 1693.622
15/11/2023 05:00 | 1808.991 | 1902.233 | 1715.749
15/11/2023 05:30 | 1813.678 | 1907.871 | 1719.484
15/11/2023 06:00 | 1793.838 | 1887.703 | 1699.972
15/11/2023 06:30 | 1739.489 | 1831.051 | 1647.927
15/11/2023 07:00 | 1643.065 | 1729.8 | 1556.329
15/11/2023 07:30 | 1505.987 | 1585.734 | 1426.239
15/11/2023 08:00 | 1386.002 | 1459.625 | 1312.379
15/11/2023 08:30 | 1292.948 | 1381.046 | 1224.054
15/11/2023 09:00 | 1231.536 | 1317.896 | 1165.712
15/11/2023 09:30 | 1198.011 | 1283.064 | 1133.781
15/11/2023 10:00 | 1202.708 | 1286.016 | 1138.027
15/11/2023 10:30 | 1227.104 | 1317.017 | 1160.908
15/11/2023 11:00 | 1258.815 | 1355.23 | 1190.701
15/11/2023 11:30 | 1269.176 | 1365.311 | 1200.292
15/11/2023 12:00 | 1276.759 | 1379.696 | 1207.253
15/11/2023 12:30 | 1325.137 | 1440.051 | 1252.778
15/11/2023 13:00 | 1402.632 | 1524.562 | 1325.81
15/11/2023 13:30 | 1523.992 | 1651.582 | 1479.572
15/11/2023 14:00 | 1675.284 | 1767.593 | 1582.976
15/11/2023 14:30 | 1753.959 | 1850.893 | 1657.026
15/11/2023 15:00 | 1867.033 | 1970.523 | 1763.542
15/11/2023 15:30 | 2006.828 | 2118.398 | 1895.257
15/11/2023 16:00 | 2148.254 | 2268.042 | 2028.466
15/11/2023 16:30 | 2284.73 | 2412.505 | 2156.955
15/11/2023 17:00 | 2384.414 | 2518.157 | 2250.67
15/11/2023 17:30 | 2438.682 | 2575.873 | 2301.492
15/11/2023 18:00 | 2464.598 | 2603.653 | 2325.543
15/11/2023 18:30 | 2475.655 | 2615.743 | 2335.567
15/11/2023 19:00 | 2449.39 | 2588.396 | 2310.384
15/11/2023 19:30 | 2374.073 | 2509.197 | 2238.949
15/11/2023 20:00 | 2294.474 | 2425.446 | 2163.502
15/11/2023 20:30 | 2210.085 | 2336.605 | 2083.565
15/11/2023 21:00 | 2121.845 | 2243.664 | 2000.026
15/11/2023 21:30 | 2037.893 | 2155.228 | 1920.557
15/11/2023 22:00 | 1961.056 | 2074.291 | 1847.82
15/11/2023 22:30 | 1897.994 | 2007.901 | 1788.087
15/11/2023 23:00 | 1849.816 | 1957.239 | 1742.394
15/11/2023 23:30 | 1805.521 | 1910.669 | 1700.372
16/11/2023 00:00 | 1767.365 | 1870.583 | 1664.147
16/11/2023 00:30 | 1738.895 | 1840.738 | 1637.052
16/11/2023 01:00 | 1720.567 | 1821.62 | 1619.514
16/11/2023 01:30 | 1706.586 | 1807.1 | 1606.073
16/11/2023 02:00 | 1696.548 | 1796.751 | 1596.346
16/11/2023 02:30 | 1691.973 | 1792.185 | 1591.761
16/11/2023 03:00 | 1694.401 | 1795.036 | 1593.765
16/11/2023 03:30 | 1706.873 | 1808.531 | 1605.215
16/11/2023 04:00 | 1731.49 | 1834.901 | 1628.08
16/11/2023 04:30 | 1762.759 | 1868.328 | 1657.19
16/11/2023 05:00 | 1780.923 | 1887.873 | 1673.972
16/11/2023 05:30 | 1765.861 | 1872.199 | 1659.524
16/11/2023 06:00 | 1717.224 | 1820.423 | 1613.532
16/11/2023 06:30 | 1634.063 | 1732.541 | 1535.091
16/11/2023 07:00 | 1510.709 | 1602.006 | 1418.874
16/11/2023 07:30 | 1358.766 | 1441.104 | 1275.87
16/11/2023 08:00 | 1223.246 | 1297.604 | 1148.351
16/11/2023 08:30 | 1097.605 | 1164.567 | 1030.163
16/11/2023 09:00 | 1006.072 | 1067.67 | 944.0338
16/11/2023 09:30 | 946.9635 | 1005.15 | 888.3636
16/11/2023 10:00 | 912.9364 | 969.2311 | 856.2427
16/11/2023 10:30 | 890.7913 | 945.9151 | 835.2781
16/11/2023 11:00 | 908.7456 | 965.1791 | 851.9151
16/11/2023 11:30 | 936.983 | 995.3747 | 878.1819
16/11/2023 12:00 | 965.666 | 1026.056 | 904.8539
16/11/2023 12:30 | 1018.667 | 1082.594 | 954.2946
16/11/2023 13:00 | 1087.457 | 1155.939 | 1018.5
16/11/2023 13:30 | 1203.413 | 1279.46 | 1126.84
16/11/2023 14:00 | 1331.927 | 1416.386 | 1246.885
16/11/2023 14:30 | 1487.489 | 1582.137 | 1392.19
16/11/2023 15:00 | 1648.605 | 1753.866 | 1542.625
16/11/2023 15:30 | 1826.289 | 1943.293 | 1708.487
16/11/2023 16:00 | 2005.837 | 2134.783 | 1876.015
16/11/2023 16:30 | 2180.424 | 2321.07 | 2038.826
16/11/2023 17:00 | 2326.125 | 2476.677 | 2174.556
16/11/2023 17:30 | 2431.704 | 2589.621 | 2272.725
16/11/2023 18:00 | 2485.128 | 2647.057 | 2322.114
16/11/2023 18:30 | 2502.928 | 2666.564 | 2338.199
16/11/2023 19:00 | 2477.236 | 2639.733 | 2313.656
16/11/2023 19:30 | 2411.004 | 2569.683 | 2251.271
16/11/2023 20:00 | 2336.524 | 2490.812 | 2181.215
16/11/2023 20:30 | 2254.696 | 2404.073 | 2104.334
16/11/2023 21:00 | 2164.971 | 2308.877 | 2020.119
16/11/2023 21:30 | 2086.686 | 2225.844 | 1946.616
16/11/2023 22:00 | 2009.882 | 2144.357 | 1874.528
16/11/2023 22:30 | 1941.027 | 2071.32 | 1809.887
16/11/2023 23:00 | 1886.719 | 2013.778 | 1758.835
16/11/2023 23:30 | 1841.263 | 1965.664 | 1716.059
17/11/2023 00:00 | 1803.621 | 1925.872 | 1680.582
17/11/2023 00:30 | 1775.264 | 1895.981 | 1653.771
17/11/2023 01:00 | 1755.606 | 1875.37 | 1635.075
17/11/2023 01:30 | 1741.227 | 1860.39 | 1622.064
17/11/2023 02:00 | 1730.176 | 1848.961 | 1611.391
17/11/2023 02:30 | 1725.153 | 1843.97 | 1606.336
17/11/2023 03:00 | 1725.031 | 1844.216 | 1605.845
17/11/2023 03:30 | 1736.512 | 1856.87 | 1616.154
17/11/2023 04:00 | 1760.446 | 1882.848 | 1638.044
17/11/2023 04:30 | 1787.376 | 1912.041 | 1662.712
17/11/2023 05:00 | 1803.249 | 1929.414 | 1677.083
17/11/2023 05:30 | 1793.226 | 1919.082 | 1667.369
17/11/2023 06:00 | 1750.93 | 1874.201 | 1627.66
17/11/2023 06:30 | 1676.047 | 1794.411 | 1557.682
17/11/2023 07:00 | 1568.169 | 1679.258 | 1457.081
17/11/2023 07:30 | 1430.39 | 1532.031 | 1328.749
17/11/2023 08:00 | 1301.269 | 1394.019 | 1208.519
17/11/2023 08:30 | 1199.827 | 1285.609 | 1114.046
17/11/2023 09:00 | 1123.695 | 1204.279 | 1043.11
17/11/2023 09:30 | 1059.932 | 1136.176 | 983.6891
17/11/2023 10:00 | 1024.81 | 1098.751 | 950.8693
17/11/2023 10:30 | 1003.782 | 1076.425 | 931.1391
17/11/2023 11:00 | 1039.832 | 1115.311 | 964.3529
17/11/2023 11:30 | 1083.57 | 1162.46 | 1004.679
17/11/2023 12:00 | 1131.329 | 1213.944 | 1048.714
17/11/2023 12:30 | 1214.036 | 1302.956 | 1125.116
17/11/2023 13:00 | 1281.53 | 1375.673 | 1187.387
17/11/2023 13:30 | 1391.619 | 1494.153 | 1289.084
17/11/2023 14:00 | 1538.11 | 1651.774 | 1424.446
17/11/2023 14:30 | 1693.198 | 1818.693 | 1567.703
17/11/2023 15:00 | 1872.586 | 2011.786 | 1733.387
17/11/2023 15:30 | 2058.994 | 2212.5 | 1905.488
17/11/2023 16:00 | 2234.301 | 2401.365 | 2067.237
17/11/2023 16:30 | 2380.748 | 2559.282 | 2202.213
17/11/2023 17:00 | 2481.055 | 2667.654 | 2294.456
17/11/2023 17:30 | 2533.879 | 2725.005 | 2342.754
17/11/2023 18:00 | 2558.344 | 2751.874 | 2364.815
17/11/2023 18:30 | 2560.425 | 2754.671 | 2366.179
17/11/2023 19:00 | 2530.142 | 2722.644 | 2337.64
17/11/2023 19:30 | 2464.403 | 2652.441 | 2276.364
17/11/2023 20:00 | 2393.001 | 2576.114 | 2209.888
17/11/2023 20:30 | 2319.626 | 2497.631 | 2141.621
17/11/2023 21:00 | 2243.918 | 2416.604 | 2071.232
17/11/2023 21:30 | 2171.431 | 2339.012 | 2003.849
17/11/2023 22:00 | 2095.645 | 2257.835 | 1933.454
17/11/2023 22:30 | 2026.214 | 2183.474 | 1868.954
17/11/2023 23:00 | 1971.709 | 2125.17 | 1818.249
17/11/2023 23:30 | 1929.159 | 2084.996 | 1773.322
18/11/2023 00:00 | 1891.737 | 2055.207 | 1728.267
18/11/2023 00:30 | 1860.188 | 2020.512 | 1699.865
18/11/2023 01:00 | 1836.962 | 1995.723 | 1678.202
18/11/2023 01:30 | 1815.435 | 1972.769 | 1658.102
18/11/2023 02:00 | 1800.287 | 1956.738 | 1643.836
18/11/2023 02:30 | 1786.287 | 1941.947 | 1630.626
18/11/2023 03:00 | 1775.833 | 1931.007 | 1620.659
18/11/2023 03:30 | 1775.995 | 1931.607 | 1620.382
18/11/2023 04:00 | 1777.055 | 1933.185 | 1620.925
18/11/2023 04:30 | 1760.44 | 1915.531 | 1605.35
18/11/2023 05:00 | 1735.339 | 1888.633 | 1582.046
18/11/2023 05:30 | 1693.747 | 1843.771 | 1543.723
18/11/2023 06:00 | 1612.031 | 1755.202 | 1468.859
18/11/2023 06:30 | 1516.876 | 1651.958 | 1381.793
18/11/2023 07:00 | 1407.228 | 1532.882 | 1281.574
18/11/2023 07:30 | 1281.234 | 1395.859 | 1166.61
18/11/2023 08:00 | 1174.462 | 1279.581 | 1069.344
18/11/2023 08:30 | 1084.253 | 1181.353 | 987.1537
18/11/2023 09:00 | 1019.694 | 1111.065 | 928.3243
18/11/2023 09:30 | 982.5463 | 1070.638 | 894.4547
18/11/2023 10:00 | 963.1974 | 1049.603 | 876.7914
18/11/2023 10:30 | 955.146 | 1040.878 | 869.4136
18/11/2023 11:00 | 1013.436 | 1104.452 | 922.4199
18/11/2023 11:30 | 1070.194 | 1155.118 | 974.0258
18/11/2023 12:00 | 1114.487 | 1202.31 | 1014.282
18/11/2023 12:30 | 1202.643 | 1297.372 | 1094.451
18/11/2023 13:00 | 1273.554 | 1373.729 | 1158.917
18/11/2023 13:30 | 1368.697 | 1476.718 | 1245.426
18/11/2023 14:00 | 1513.951 | 1634.121 | 1377.521
18/11/2023 14:30 | 1683.172 | 1817.722 | 1531.406
18/11/2023 15:00 | 1845.149 | 1994.077 | 1678.684
18/11/2023 15:30 | 2019.552 | 2183.936 | 1837.25
18/11/2023 16:00 | 2195.263 | 2375.263 | 1996.989
18/11/2023 16:30 | 2348.955 | 2542.642 | 2136.68
18/11/2023 17:00 | 2460.333 | 2664.008 | 2237.867
18/11/2023 17:30 | 2536.408 | 2747.081 | 2306.934
18/11/2023 18:00 | 2566.75 | 2780.717 | 2334.399
18/11/2023 18:30 | 2561.082 | 2775.351 | 2329.114
18/11/2023 19:00 | 2525.051 | 2736.838 | 2296.218
18/11/2023 19:30 | 2452.684 | 2658.352 | 2230.284
18/11/2023 20:00 | 2381.553 | 2581.365 | 2165.481
18/11/2023 20:30 | 2324.275 | 2519.64 | 2113.282
18/11/2023 21:00 | 2264.24 | 2455.088 | 2058.582
18/11/2023 21:30 | 2197.232 | 2383.1 | 1997.548
18/11/2023 22:00 | 2127.932 | 2308.596 | 1934.437
18/11/2023 22:30 | 2067.32 | 2244.162 | 1879.231
18/11/2023 23:00 | 2017.745 | 2192.41 | 1834.064
18/11/2023 23:30 | 1978.596 | 2152.198 | 1798.378
19/11/2023 00:00 | 1944.695 | 2117.69 | 1767.465
19/11/2023 00:30 | 1913.198 | 2084.841 | 1738.741
19/11/2023 01:00 | 1888.925 | 2059.374 | 1716.585
19/11/2023 01:30 | 1865.023 | 2033.466 | 1694.769
19/11/2023 02:00 | 1846.344 | 2013.299 | 1677.701
19/11/2023 02:30 | 1831.216 | 1997.022 | 1663.861
19/11/2023 03:00 | 1819.882 | 1984.838 | 1653.47
19/11/2023 03:30 | 1813.04 | 1977.623 | 1647.162
19/11/2023 04:00 | 1801.49 | 1965.225 | 1636.576
19/11/2023 04:30 | 1770.104 | 1931.197 | 1607.973
19/11/2023 05:00 | 1725.918 | 1883.156 | 1567.747
19/11/2023 05:30 | 1659.381 | 1810.756 | 1507.223
19/11/2023 06:00 | 1554.735 | 1696.918 | 1412.093
19/11/2023 06:30 | 1451.007 | 1583.919 | 1317.808
19/11/2023 07:00 | 1342.888 | 1466.271 | 1219.545
19/11/2023 07:30 | 1226.402 | 1339.348 | 1113.696
19/11/2023 08:00 | 1147.113 | 1253.132 | 1041.636
19/11/2023 08:30 | 1079.825 | 1180.513 | 980.4797
19/11/2023 09:00 | 1027.99 | 1124.683 | 933.3608
19/11/2023 09:30 | 1006.18 | 1101.478 | 913.507
19/11/2023 10:00 | 1014.886 | 1111.647 | 921.36
19/11/2023 10:30 | 1028.479 | 1127.435 | 933.6473
19/11/2023 11:00 | 1097.87 | 1203.834 | 996.5848
19/11/2023 11:30 | 1175.192 | 1288.679 | 1066.713
19/11/2023 12:00 | 1224.437 | 1342.654 | 1111.35
19/11/2023 12:30 | 1300.526 | 1425.65 | 1180.345
19/11/2023 13:00 | 1385.637 | 1518.389 | 1257.52
19/11/2023 13:30 | 1497.876 | 1640.786 | 1359.305
19/11/2023 14:00 | 1658.747 | 1816.164 | 1505.209
19/11/2023 14:30 | 1834.706 | 2004.625 | 1661.981
19/11/2023 15:00 | 1997.115 | 2182.176 | 1809.724
19/11/2023 15:30 | 2175.233 | 2376.911 | 1971.716
19/11/2023 16:00 | 2357.611 | 2576.318 | 2137.565
19/11/2023 16:30 | 2514.48 | 2747.868 | 2280.12
19/11/2023 17:00 | 2634.259 | 2878.898 | 2388.767
19/11/2023 17:30 | 2710.174 | 2962.001 | 2457.62
19/11/2023 18:00 | 2733.639 | 2987.786 | 2478.84
19/11/2023 18:30 | 2716.355 | 2969.034 | 2463.106
19/11/2023 19:00 | 2672.786 | 2921.548 | 2423.475
19/11/2023 19:30 | 2594.743 | 2836.374 | 2352.583
19/11/2023 20:00 | 2508.143 | 2741.837 | 2273.978
19/11/2023 20:30 | 2424.93 | 2650.994 | 2198.449
19/11/2023 21:00 | 2333.456 | 2551.111 | 2115.404
19/11/2023 21:30 | 2244.006 | 2453.433 | 2034.171
19/11/2023 22:00 | 2158.279 | 2359.815 | 1956.363
19/11/2023 22:30 | 2086.139 | 2281.045 | 1890.833
19/11/2023 23:00 | 2034.428 | 2224.606 | 1843.781
19/11/2023 23:30 | 1990.472 | 2179.065 | 1801.286
20/11/2023 00:00 | 1952.469 | 2142.362 | 1761.83
20/11/2023 00:30 | 1920.319 | 2107.071 | 1732.764
20/11/2023 01:00 | 1898.594 | 2083.598 | 1712.733
20/11/2023 01:30 | 1879.511 | 2063.016 | 1695.02
20/11/2023 02:00 | 1864.576 | 2046.979 | 1681.193
20/11/2023 02:30 | 1856.435 | 2038.398 | 1673.545
20/11/2023 03:00 | 1851.123 | 2032.92 | 1668.357
20/11/2023 03:30 | 1858.33 | 2041.191 | 1674.593
20/11/2023 04:00 | 1878.715 | 2063.942 | 1692.769
20/11/2023 04:30 | 1905.557 | 2093.795 | 1716.71
20/11/2023 05:00 | 1921.866 | 2112.084 | 1731.024
20/11/2023 05:30 | 1909.553 | 2098.918 | 1719.785
20/11/2023 06:00 | 1873.521 | 2059.672 | 1686.883
20/11/2023 06:30 | 1813.303 | 1993.819 | 1632.787
20/11/2023 07:00 | 1735.551 | 1908.659 | 1562.443
20/11/2023 07:30 | 1635.107 | 1798.593 | 1471.621
20/11/2023 08:00 | 1552.04 | 1707.755 | 1396.325
20/11/2023 08:30 | 1490.374 | 1640.402 | 1340.346
20/11/2023 09:00 | 1439.975 | 1585.412 | 1294.538
20/11/2023 09:30 | 1403.347 | 1545.555 | 1261.139
20/11/2023 10:00 | 1411.903 | 1555.452 | 1268.354
20/11/2023 10:30 | 1430.332 | 1576.234 | 1284.43
20/11/2023 11:00 | 1487.02 | 1639.203 | 1334.837
20/11/2023 11:30 | 1562.613 | 1723.057 | 1402.17
20/11/2023 12:00 | 1632.62 | 1800.798 | 1464.441
20/11/2023 12:30 | 1732.207 | 1911.225 | 1553.189
20/11/2023 13:00 | 1819.504 | 2008.154 | 1630.854
20/11/2023 13:30 | 1940.221 | 2142.037 | 1738.404
20/11/2023 14:00 | 2101.518 | 2320.817 | 1882.219
20/11/2023 14:30 | 2278.054 | 2516.539 | 2039.569
20/11/2023 15:00 | 2454.866 | 2712.684 | 2197.048
20/11/2023 15:30 | 2630.265 | 2907.386 | 2353.144
20/11/2023 16:00 | 2795.663 | 3091.148 | 2500.179
20/11/2023 16:30 | 2931.513 | 3242.339 | 2620.687
20/11/2023 17:00 | 3022.883 | 3344.411 | 2701.356
20/11/2023 17:30 | 3065.431 | 3392.512 | 2738.351
20/11/2023 18:00 | 3065.258 | 3393.348 | 2737.168
20/11/2023 18:30 | 3035.088 | 3360.967 | 2709.21
20/11/2023 19:00 | 2973.498 | 3293.76 | 2653.235
20/11/2023 19:30 | 2870.913 | 3181.089 | 2560.737
20/11/2023 20:00 | 2760.531 | 3059.707 | 2461.355
20/11/2023 20:30 | 2652.471 | 2940.825 | 2364.116
20/11/2023 21:00 | 2537.485 | 2814.189 | 2260.78
20/11/2023 21:30 | 2427.353 | 2692.862 | 2161.844
20/11/2023 22:00 | 2322.673 | 2577.511 | 2067.836
20/11/2023 22:30 | 2235.541 | 2481.568 | 1989.513
20/11/2023 23:00 | 2169.448 | 2408.93 | 1929.967
20/11/2023 23:30 | 2111.154 | 2344.908 | 1877.4
21/11/2023 00:00 | 2058.995 | 2287.664 | 1830.326
21/11/2023 00:30 | 2019.055 | 2243.965 | 1794.145
21/11/2023 01:00 | 1994.564 | 2217.415 | 1771.713
21/11/2023 01:30 | 1970.431 | 2191.246 | 1749.615
21/11/2023 02:00 | 1950.619 | 2169.868 | 1731.37
21/11/2023 02:30 | 1939.203 | 2157.819 | 1720.587
21/11/2023 03:00 | 1932.29 | 2150.775 | 1713.805
21/11/2023 03:30 | 1937.198 | 2156.887 | 1717.508
21/11/2023 04:00 | 1953.645 | 2175.855 | 1731.436
21/11/2023 04:30 | 1974.804 | 2200.083 | 1749.526
21/11/2023 05:00 | 1986.632 | 2213.926 | 1759.339
21/11/2023 05:30 | 1981.032 | 2208.349 | 1753.715
21/11/2023 06:00 | 1960.709 | 2186.352 | 1735.067
21/11/2023 06:30 | 1912.815 | 2133.588 | 1692.043
21/11/2023 07:00 | 1835.37 | 2047.82 | 1622.921
21/11/2023 07:30 | 1722.216 | 1922.144 | 1522.287