## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
17/11/2023 08:00 | 1464.14 | 1485.66 | 1444.269
17/11/2023 08:30 | 1369.529 | 1392.947 | 1346.11 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
17/11/2023 09:00 | 1308.413 | 1334.676 | 1282.15 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
17/11/2023 09:30 | 1210.628 | 1238.527 | 1182.729 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
17/11/2023 10:00 | 1119.88 | 1149.016 | 1090.743 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
17/11/2023 10:30 | 1069.782 | 1100.03 | 1039.533 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
17/11/2023 11:00 | 1040.031 | 1070.313 | 1009.749 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
17/11/2023 11:30 | 1029.246 | 1060.205 | 998.2869 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
17/11/2023 12:00 | 1037.931 | 1070.151 | 1005.711 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
17/11/2023 12:30 | 1097.866 | 1133.004 | 1062.728 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
17/11/2023 13:00 | 1158.697 | 1199.105 | 1122.562 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
17/11/2023 13:30 | 1258.329 | 1303.609 | 1218.045
17/11/2023 14:00 | 1381.413 | 1432.151 | 1335.572 | Summary view - for each schedule horizon (dispatch, week-ahead)
17/11/2023 14:30 | 1523.665 | 1580.783 | 1471.34
17/11/2023 15:00 | 1692.052 | 1756.784 | 1632.005 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
17/11/2023 15:30 | 1872.589 | 1945.708 | 1804.027 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
17/11/2023 16:00 | 2047.256 | 2128.885 | 1970.062 | Scenario | Violations
17/11/2023 16:30 | 2200.807 | 2290.307 | 2115.357 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
17/11/2023 17:00 | 2317.543 | 2413.525 | 2224.865 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
17/11/2023 17:30 | 2388.836 | 2489.528 | 2290.504 | Reference Scenario | 0 | 0 | 0 | 0 | 1 | 0 | 5 | 0 | 5 | 5 | 0 | 0
17/11/2023 18:00 | 2426.526 | 2530.5 | 2323.712 | High Demand Scenario | 0 | 0 | 6 | 3 | 0 | 0 | 12 | 0 | 3 | 3 | 0 | 0
17/11/2023 18:30 | 2438.717 | 2544.703 | 2333.201 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0
17/11/2023 19:00 | 2412.244 | 2517.808 | 2306.892
17/11/2023 19:30 | 2347.465 | 2451.047 | 2243.962 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
17/11/2023 20:00 | 2280.514 | 2382.002 | 2179.042
17/11/2023 20:30 | 2212.701 | 2312.027 | 2113.37 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
17/11/2023 21:00 | 2142.104 | 2239.094 | 2045.1 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
17/11/2023 21:30 | 2075.739 | 2170.555 | 1980.944 | [5 empty] | 19/11/2023 10:30 |  | 17/11/2023 08:30 |  | 19/11/2023 09:00 | 19/11/2023 09:00 |  |  |  |  | 23/11/2023 15:00 | 23/11/2023 16:30 |  |  | 17/11/2023 10:00 |  | 19/11/2023 09:30 | 19/11/2023 09:30 | [8 empty] | 17/11/2023 08:30
17/11/2023 22:00 | 2007.465 | 2099.993 | 1915.044 | [7 empty] | 17/11/2023 10:00 |  | 19/11/2023 09:30 | 19/11/2023 09:30 |  |  |  |  | 23/11/2023 15:30 | 23/11/2023 17:00 |  |  | 17/11/2023 10:30 |  | 19/11/2023 10:00 | 19/11/2023 10:00 | [8 empty] | 17/11/2023 09:30
17/11/2023 22:30 | 1944.854 | 2035.262 | 1854.558 | [7 empty] | 17/11/2023 10:30 |  | 19/11/2023 10:00 | 19/11/2023 10:00 |  |  |  |  | 23/11/2023 16:00 | 23/11/2023 17:30 |  |  | 17/11/2023 11:00 |  | 19/11/2023 10:30 | 19/11/2023 10:30 | [8 empty] | 17/11/2023 10:00
17/11/2023 23:00 | 1893.576 | 1982.268 | 1804.853 | [7 empty] | 17/11/2023 11:00 |  | 19/11/2023 10:30 | 19/11/2023 10:30 |  |  |  |  | 23/11/2023 16:30 |  |  |  | 17/11/2023 11:30 | [11 empty] | 17/11/2023 10:30
17/11/2023 23:30 | 1852.346 | 1944.06 | 1760.57 | [7 empty] | 17/11/2023 11:30 |  | 19/11/2023 11:00 | 19/11/2023 11:00 |  |  |  |  | 23/11/2023 17:00 |  |  |  | 23/11/2023 15:00 | [11 empty] | 17/11/2023 11:00
18/11/2023 00:00 | 1816.435 | 1915.208 | 1717.535 | [15 empty] | 23/11/2023 17:30 |  |  |  | 23/11/2023 15:30 | [11 empty] | 17/11/2023 11:30
18/11/2023 00:30 | 1787.571 | 1884.542 | 1690.494 | [19 empty] | 23/11/2023 16:00
18/11/2023 01:00 | 1768.053 | 1864.496 | 1671.63 | [19 empty] | 23/11/2023 16:30
18/11/2023 01:30 | 1752.117 | 1848.104 | 1656.058 | [19 empty] | 23/11/2023 17:00
18/11/2023 02:00 | 1740.769 | 1836.584 | 1644.867 | [19 empty] | 23/11/2023 17:30
18/11/2023 02:30 | 1730.869 | 1826.641 | 1635.097 | [19 empty] | 23/11/2023 18:00
18/11/2023 03:00 | 1724.59 | 1820.468 | 1628.711 | [19 empty] | 23/11/2023 18:30
18/11/2023 03:30 | 1728.771 | 1825.337 | 1632.205
18/11/2023 04:00 | 1732.594 | 1829.829 | 1635.358
18/11/2023 04:30 | 1719.179 | 1816.115 | 1622.243
18/11/2023 05:00 | 1693.889 | 1789.845 | 1597.934
18/11/2023 05:30 | 1648.77 | 1742.604 | 1554.936
18/11/2023 06:00 | 1567.184 | 1656.788 | 1477.581
18/11/2023 06:30 | 1468.002 | 1552.283 | 1383.721
18/11/2023 07:00 | 1348.948 | 1426.646 | 1271.25
18/11/2023 07:30 | 1208.139 | 1277.957 | 1138.32
18/11/2023 08:00 | 1091.088 | 1154.35 | 1027.825
18/11/2023 08:30 | 991.8599 | 1049.558 | 934.1613
18/11/2023 09:00 | 921.441 | 975.2193 | 867.6628
18/11/2023 09:30 | 881.6284 | 933.2515 | 830.0053
18/11/2023 10:00 | 858.8925 | 909.3483 | 808.4365
18/11/2023 10:30 | 840.361 | 889.8889 | 790.8332
18/11/2023 11:00 | 881.0545 | 933.149 | 828.96
18/11/2023 11:30 | 920.6743 | 975.2874 | 866.0613
18/11/2023 12:00 | 951.9131 | 1008.561 | 895.2651
18/11/2023 12:30 | 1019.593 | 1080.463 | 958.7224
18/11/2023 13:00 | 1076.84 | 1141.334 | 1012.347
18/11/2023 13:30 | 1158.991 | 1228.627 | 1089.356
18/11/2023 14:00 | 1285.578 | 1363.064 | 1208.091
18/11/2023 14:30 | 1442.489 | 1529.708 | 1355.269
18/11/2023 15:00 | 1603.613 | 1700.882 | 1506.344
18/11/2023 15:30 | 1779.496 | 1887.773 | 1671.219
18/11/2023 16:00 | 1960.258 | 2079.908 | 1840.608
18/11/2023 16:30 | 2121.569 | 2251.471 | 1991.667
18/11/2023 17:00 | 2245.431 | 2383.346 | 2107.516
18/11/2023 17:30 | 2334.081 | 2477.886 | 2190.275
18/11/2023 18:00 | 2374.886 | 2521.659 | 2228.112
18/11/2023 18:30 | 2381.091 | 2528.703 | 2233.479
18/11/2023 19:00 | 2354.078 | 2500.466 | 2207.691
18/11/2023 19:30 | 2289.357 | 2432.157 | 2146.557
18/11/2023 20:00 | 2226.058 | 2365.335 | 2086.781
18/11/2023 20:30 | 2174.394 | 2310.854 | 2037.934
18/11/2023 21:00 | 2121.431 | 2254.972 | 1987.889
18/11/2023 21:30 | 2063.367 | 2193.648 | 1933.086
18/11/2023 22:00 | 2003.836 | 2130.741 | 1876.931
18/11/2023 22:30 | 1951.181 | 2075.124 | 1827.238
18/11/2023 23:00 | 1904.578 | 2025.924 | 1783.231
18/11/2023 23:30 | 1863.483 | 1982.567 | 1744.398
19/11/2023 00:00 | 1826.385 | 1943.447 | 1709.322
19/11/2023 00:30 | 1795.376 | 1910.794 | 1679.958
19/11/2023 01:00 | 1773.752 | 1888.119 | 1659.385
19/11/2023 01:30 | 1756.721 | 1870.326 | 1643.117
19/11/2023 02:00 | 1743.524 | 1856.609 | 1630.44
19/11/2023 02:30 | 1733.148 | 1845.89 | 1620.406
19/11/2023 03:00 | 1726.581 | 1839.226 | 1613.936
19/11/2023 03:30 | 1725.101 | 1837.979 | 1612.223
19/11/2023 04:00 | 1717.31 | 1830.006 | 1604.614
19/11/2023 04:30 | 1689.713 | 1800.921 | 1578.505
19/11/2023 05:00 | 1649.477 | 1758.352 | 1540.602
19/11/2023 05:30 | 1582.36 | 1687.107 | 1477.613
19/11/2023 06:00 | 1473.872 | 1571.719 | 1376.025
19/11/2023 06:30 | 1363.071 | 1453.846 | 1272.296
19/11/2023 07:00 | 1241.042 | 1323.99 | 1158.093
19/11/2023 07:30 | 1120.127 | 1195.261 | 1044.992
19/11/2023 08:00 | 1041.677 | 1111.798 | 971.5563
19/11/2023 08:30 | 956.6609 | 1021.288 | 892.0342
19/11/2023 09:00 | 893.4624 | 954.0332 | 832.8916
19/11/2023 09:30 | 864.8463 | 923.6838 | 806.0089
19/11/2023 10:00 | 859.0538 | 917.7024 | 800.4052
19/11/2023 10:30 | 847.1194 | 905.1555 | 789.0833
19/11/2023 11:00 | 903.7777 | 965.9114 | 841.644
19/11/2023 11:30 | 964.3877 | 1030.919 | 897.8568
19/11/2023 12:00 | 994.1136 | 1062.933 | 925.2944
19/11/2023 12:30 | 1052.852 | 1125.988 | 979.7147
19/11/2023 13:00 | 1126.122 | 1204.617 | 1047.626
19/11/2023 13:30 | 1226.419 | 1312.199 | 1140.64
19/11/2023 14:00 | 1370.682 | 1466.88 | 1274.485
19/11/2023 14:30 | 1540.812 | 1649.318 | 1432.307
19/11/2023 15:00 | 1701.203 | 1821.409 | 1580.996
19/11/2023 15:30 | 1886.587 | 2020.344 | 1752.831
19/11/2023 16:00 | 2083.833 | 2232.071 | 1935.594
19/11/2023 16:30 | 2262.958 | 2424.48 | 2101.437
19/11/2023 17:00 | 2409.493 | 2582.049 | 2236.936
19/11/2023 17:30 | 2509.434 | 2689.747 | 2329.12
19/11/2023 18:00 | 2549.361 | 2733.152 | 2365.57
19/11/2023 18:30 | 2540.558 | 2724.322 | 2356.795
19/11/2023 19:00 | 2499.958 | 2681.383 | 2318.534
19/11/2023 19:30 | 2432.401 | 2609.504 | 2255.299
19/11/2023 20:00 | 2356.519 | 2528.659 | 2184.378
19/11/2023 20:30 | 2281.022 | 2448.192 | 2113.852
19/11/2023 21:00 | 2198.163 | 2359.786 | 2036.54
19/11/2023 21:30 | 2118.043 | 2274.281 | 1961.806
19/11/2023 22:00 | 2043.613 | 2194.849 | 1892.377
19/11/2023 22:30 | 1981.571 | 2128.689 | 1834.454
19/11/2023 23:00 | 1937.282 | 2081.574 | 1792.99
19/11/2023 23:30 | 1898.932 | 2036.271 | 1761.593
20/11/2023 00:00 | 1866.741 | 1993.325 | 1740.157
20/11/2023 00:30 | 1840.042 | 1965.968 | 1714.116
20/11/2023 01:00 | 1823.005 | 1948.163 | 1697.847
20/11/2023 01:30 | 1808.442 | 1932.996 | 1683.889
20/11/2023 02:00 | 1796.888 | 1921.038 | 1672.738
20/11/2023 02:30 | 1792.012 | 1916.217 | 1667.807
20/11/2023 03:00 | 1790.257 | 1914.731 | 1665.782
20/11/2023 03:30 | 1800.579 | 1926.164 | 1674.993
20/11/2023 04:00 | 1823.481 | 1951.063 | 1695.9
20/11/2023 04:30 | 1852.2 | 1982.195 | 1722.204
20/11/2023 05:00 | 1870.12 | 2001.782 | 1738.458
20/11/2023 05:30 | 1856.934 | 1988.073 | 1725.795
20/11/2023 06:00 | 1816.688 | 1945.381 | 1687.994
20/11/2023 06:30 | 1748.763 | 1873.026 | 1624.499
20/11/2023 07:00 | 1658.476 | 1775.277 | 1540.265
20/11/2023 07:30 | 1542.621 | 1651.455 | 1432.331
20/11/2023 08:00 | 1443.66 | 1545.668 | 1340.13
20/11/2023 08:30 | 1365.788 | 1462.439 | 1267.544
20/11/2023 09:00 | 1297.358 | 1389.275 | 1203.753
20/11/2023 09:30 | 1244.856 | 1333.171 | 1154.767
20/11/2023 10:00 | 1241.521 | 1329.752 | 1151.402
20/11/2023 10:30 | 1249.764 | 1338.797 | 1158.774
20/11/2023 11:00 | 1292.196 | 1385.994 | 1199.095
20/11/2023 11:30 | 1360.469 | 1459.52 | 1262.128
20/11/2023 12:00 | 1427.405 | 1531.64 | 1323.893
20/11/2023 12:30 | 1520.727 | 1632.109 | 1410.078
20/11/2023 13:00 | 1603.031 | 1720.792 | 1485.995
20/11/2023 13:30 | 1716.84 | 1843.337 | 1591.052
20/11/2023 14:00 | 1870.613 | 2008.849 | 1733.05
20/11/2023 14:30 | 2044.358 | 2195.88 | 1893.436
20/11/2023 15:00 | 2223.756 | 2389.06 | 2058.957
20/11/2023 15:30 | 2402.458 | 2581.571 | 2223.733
20/11/2023 16:00 | 2572.212 | 2764.543 | 2380.145
20/11/2023 16:30 | 2719.194 | 2923.109 | 2515.412
20/11/2023 17:00 | 2823.286 | 3035.624 | 2610.981
20/11/2023 17:30 | 2881.384 | 3098.721 | 2663.967
20/11/2023 18:00 | 2896.417 | 3115.521 | 2677.117
20/11/2023 18:30 | 2876.523 | 3094.75 | 2658.042
20/11/2023 19:00 | 2823.751 | 3038.592 | 2608.63
20/11/2023 19:30 | 2728.367 | 2936.547 | 2519.869
20/11/2023 20:00 | 2625.774 | 2826.699 | 2424.509
20/11/2023 20:30 | 2526.749 | 2720.648 | 2332.49
20/11/2023 21:00 | 2422.296 | 2608.709 | 2235.499
20/11/2023 21:30 | 2323.004 | 2502.283 | 2143.313
20/11/2023 22:00 | 2228.523 | 2400.998 | 2055.615
20/11/2023 22:30 | 2149.118 | 2315.917 | 1981.858
20/11/2023 23:00 | 2089.491 | 2252.118 | 1926.36
20/11/2023 23:30 | 2036.649 | 2195.609 | 1877.135
21/11/2023 00:00 | 1988.605 | 2144.25 | 1832.351
21/11/2023 00:30 | 1952.016 | 2105.223 | 1798.808
21/11/2023 01:00 | 1930.952 | 2082.928 | 1778.977
21/11/2023 01:30 | 1909.59 | 2060.302 | 1758.878
21/11/2023 02:00 | 1891.805 | 2041.526 | 1742.083
21/11/2023 02:30 | 1882.871 | 2032.297 | 1733.445
21/11/2023 03:00 | 1879.09 | 2028.626 | 1729.554
21/11/2023 03:30 | 1886.201 | 2036.715 | 1735.687
21/11/2023 04:00 | 1903.504 | 2055.814 | 1751.193
21/11/2023 04:30 | 1925.72 | 2080.23 | 1771.211
21/11/2023 05:00 | 1939.223 | 2095.239 | 1783.207
21/11/2023 05:30 | 1928.582 | 2084.163 | 1773
21/11/2023 06:00 | 1894.374 | 2047.609 | 1741.138
21/11/2023 06:30 | 1832.018 | 1980.61 | 1683.426
21/11/2023 07:00 | 1741.178 | 1882.782 | 1599.573
21/11/2023 07:30 | 1620.723 | 1752.87 | 1488.576
21/11/2023 08:00 | 1511.765 | 1635.315 | 1388.214
21/11/2023 08:30 | 1428.158 | 1545.149 | 1311.167
21/11/2023 09:00 | 1378.297 | 1491.468 | 1265.126
21/11/2023 09:30 | 1356.168 | 1467.782 | 1244.554
21/11/2023 10:00 | 1349.266 | 1460.571 | 1237.962
21/11/2023 10:30 | 1370.046 | 1483.327 | 1256.765
21/11/2023 11:00 | 1429.701 | 1548.189 | 1311.213
21/11/2023 11:30 | 1493.876 | 1617.968 | 1369.783
21/11/2023 12:00 | 1560.106 | 1689.999 | 1430.213
21/11/2023 12:30 | 1661.36 | 1800.002 | 1522.718
21/11/2023 13:00 | 1771.282 | 1919.437 | 1623.127
21/11/2023 13:30 | 1916.808 | 2077.502 | 1756.114
21/11/2023 14:00 | 2088.187 | 2263.648 | 1912.725
21/11/2023 14:30 | 2264.606 | 2455.325 | 2073.886
21/11/2023 15:00 | 2459.561 | 2667.171 | 2251.951
21/11/2023 15:30 | 2646.038 | 2869.895 | 2422.181
21/11/2023 16:00 | 2809.27 | 3047.475 | 2571.064
21/11/2023 16:30 | 2955.087 | 3206.223 | 2703.951
21/11/2023 17:00 | 3055.755 | 3316.031 | 2795.478
21/11/2023 17:30 | 3101.558 | 3366.33 | 2836.785
21/11/2023 18:00 | 3107.125 | 3372.969 | 2841.282
21/11/2023 18:30 | 3089.951 | 3354.917 | 2824.985
21/11/2023 19:00 | 3047.956 | 3309.905 | 2786.007
21/11/2023 19:30 | 2948.247 | 3202.191 | 2694.302
21/11/2023 20:00 | 2838.346 | 3083.369 | 2593.323
21/11/2023 20:30 | 2721.751 | 2957.23 | 2486.272
21/11/2023 21:00 | 2596.694 | 2821.852 | 2371.537
21/11/2023 21:30 | 2478.386 | 2693.76 | 2263.012
21/11/2023 22:00 | 2367.283 | 2573.456 | 2161.111
21/11/2023 22:30 | 2278.542 | 2477.422 | 2079.661
21/11/2023 23:00 | 2216.711 | 2410.62 | 2022.803
21/11/2023 23:30 | 2168.558 | 2358.67 | 1978.446
22/11/2023 00:00 | 2130.133 | 2317.284 | 1942.981
22/11/2023 00:30 | 2094.198 | 2278.593 | 1909.802
22/11/2023 01:00 | 2068.232 | 2250.739 | 1885.726
22/11/2023 01:30 | 2039.928 | 2220.328 | 1859.529
22/11/2023 02:00 | 2015.174 | 2193.77 | 1836.577
22/11/2023 02:30 | 2002.383 | 2180.23 | 1824.537
22/11/2023 03:00 | 1995.485 | 2173.102 | 1817.869
22/11/2023 03:30 | 2001.022 | 2179.515 | 1822.53
22/11/2023 04:00 | 2017.983 | 2198.375 | 1837.59
22/11/2023 04:30 | 2040.184 | 2222.952 | 1857.416
22/11/2023 05:00 | 2053.292 | 2237.628 | 1868.956
22/11/2023 05:30 | 2055.677 | 2240.621 | 1870.732
22/11/2023 06:00 | 2061.032 | 2246.853 | 1875.211
22/11/2023 06:30 | 2040.199 | 2224.532 | 1855.865
22/11/2023 07:00 | 1991.81 | 2172.153 | 1811.467
22/11/2023 07:30 | 1907.23 | 2080.281 | 1734.179
22/11/2023 08:00 | 1835.59 | 2002.492 | 1668.687
22/11/2023 08:30 | 1783.779 | 1946.312 | 1621.245
22/11/2023 09:00 | 1748.483 | 1908.135 | 1588.83
22/11/2023 09:30 | 1721.592 | 1879.119 | 1564.065
22/11/2023 10:00 | 1713.264 | 1870.358 | 1556.171
22/11/2023 10:30 | 1754.75 | 1915.983 | 1593.516
22/11/2023 11:00 | 1856.96 | 2027.941 | 1685.979
22/11/2023 11:30 | 1957.532 | 2138.149 | 1776.916
22/11/2023 12:00 | 2037.977 | 2226.406 | 1849.547
22/11/2023 12:30 | 2107.364 | 2302.612 | 1912.115
22/11/2023 13:00 | 2190.318 | 2393.673 | 1986.964
22/11/2023 13:30 | 2346.453 | 2564.753 | 2128.152
22/11/2023 14:00 | 2536.562 | 2773.035 | 2300.089
22/11/2023 14:30 | 2707.337 | 2960.25 | 2454.425
22/11/2023 15:00 | 2889.7 | 3160.202 | 2619.198
22/11/2023 15:30 | 3055.193 | 3341.773 | 2768.614
22/11/2023 16:00 | 3202.79 | 3503.828 | 2901.752
22/11/2023 16:30 | 3307.389 | 3618.892 | 2995.885
22/11/2023 17:00 | 3374.734 | 3693.227 | 3056.241
22/11/2023 17:30 | 3393.532 | 3714.449 | 3072.615
22/11/2023 18:00 | 3387.036 | 3707.988 | 3066.083
22/11/2023 18:30 | 3370.227 | 3690.232 | 3050.221
22/11/2023 19:00 | 3323.074 | 3639.239 | 3006.909
22/11/2023 19:30 | 3225.34 | 3532.825 | 2917.855
22/11/2023 20:00 | 3110.023 | 3407.11 | 2812.936
22/11/2023 20:30 | 2980.146 | 3265.398 | 2694.894
22/11/2023 21:00 | 2841.747 | 3114.297 | 2569.198
22/11/2023 21:30 | 2704.783 | 2964.714 | 2444.851
22/11/2023 22:00 | 2570.384 | 2817.892 | 2322.875
22/11/2023 22:30 | 2460.283 | 2697.661 | 2222.905
22/11/2023 23:00 | 2387.722 | 2618.557 | 2156.887
22/11/2023 23:30 | 2334.242 | 2560.354 | 2108.13
23/11/2023 00:00 | 2289.858 | 2512.109 | 2067.606
23/11/2023 00:30 | 2249.34 | 2468.09 | 2030.59
23/11/2023 01:00 | 2220.256 | 2436.603 | 2003.909
23/11/2023 01:30 | 2185.772 | 2399.178 | 1972.366
23/11/2023 02:00 | 2158.125 | 2369.246 | 1947.005
23/11/2023 02:30 | 2142.477 | 2352.477 | 1932.477
23/11/2023 03:00 | 2130.104 | 2339.299 | 1920.909
23/11/2023 03:30 | 2128.744 | 2338.214 | 1919.274
23/11/2023 04:00 | 2140.897 | 2351.974 | 1929.821
23/11/2023 04:30 | 2156.342 | 2369.354 | 1943.33
23/11/2023 05:00 | 2163.003 | 2377.088 | 1948.919
23/11/2023 05:30 | 2204.398 | 2423.002 | 1985.794
23/11/2023 06:00 | 2314.419 | 2544.377 | 2084.46
23/11/2023 06:30 | 2415.919 | 2656.426 | 2175.413
23/11/2023 07:00 | 2472.347 | 2718.945 | 2225.75
23/11/2023 07:30 | 2454.481 | 2699.893 | 2209.07
23/11/2023 08:00 | 2461.691 | 2708.67 | 2214.711
23/11/2023 08:30 | 2508.953 | 2761.515 | 2256.39
23/11/2023 09:00 | 2502.77 | 2755.549 | 2249.991
23/11/2023 09:30 | 2479.996 | 2731.306 | 2228.685
23/11/2023 10:00 | 2476.578 | 2728.373 | 2224.784
23/11/2023 10:30 | 2502.492 | 2757.76 | 2247.224
23/11/2023 11:00 | 2540.402 | 2800.389 | 2280.415
23/11/2023 11:30 | 2519.326 | 2778.001 | 2260.651
23/11/2023 12:00 | 2527.111 | 2787.433 | 2266.79
23/11/2023 12:30 | 2588.655 | 2856.185 | 2321.126
23/11/2023 13:00 | 2653.525 | 2928.648 | 2378.402
23/11/2023 13:30 | 2848.92 | 3145.258 | 2552.583
23/11/2023 14:00 | 3073.764 | 3394.52 | 2753.008
23/11/2023 14:30 | 3242.938 | 3582.435 | 2903.442
23/11/2023 15:00 | 3389.028 | 3744.955 | 3033.102
23/11/2023 15:30 | 3448.961 | 3812.339 | 3085.584
23/11/2023 16:00 | 3481.649 | 3849.639 | 3113.66
23/11/2023 16:30 | 3494.544 | 3865.067 | 3124.021
23/11/2023 17:00 | 3491.024 | 3862.345 | 3119.703
23/11/2023 17:30 | 3467.258 | 3837.213 | 3097.302
23/11/2023 18:00 | 3432.106 | 3799.462 | 3064.75
23/11/2023 18:30 | 3421.2 | 3788.535 | 3053.864
23/11/2023 19:00 | 3395.139 | 3760.814 | 3029.463
23/11/2023 19:30 | 3294.687 | 3650.648 | 2938.726
23/11/2023 20:00 | 3176.092 | 3520.305 | 2831.879
23/11/2023 20:30 | 3039.901 | 3370.373 | 2709.428
23/11/2023 21:00 | 2896.279 | 3212.109 | 2580.449
23/11/2023 21:30 | 2755.723 | 3057.149 | 2454.296
23/11/2023 22:00 | 2621.785 | 2909.44 | 2334.129
23/11/2023 22:30 | 2513.443 | 2790.054 | 2236.832
23/11/2023 23:00 | 2437.048 | 2706.069 | 2168.027
23/11/2023 23:30 | 2378.779 | 2642.166 | 2115.393
24/11/2023 00:00 | 2330.135 | 2588.917 | 2071.354
24/11/2023 00:30 | 2286.325 | 2541.008 | 2031.643
24/11/2023 01:00 | 2253.881 | 2505.705 | 2002.057
24/11/2023 01:30 | 2216.758 | 2465.177 | 1968.338
24/11/2023 02:00 | 2185.242 | 2430.863 | 1939.621
24/11/2023 02:30 | 2163.095 | 2406.951 | 1919.238
24/11/2023 03:00 | 2146.215 | 2388.888 | 1903.542
24/11/2023 03:30 | 2144.173 | 2387.335 | 1901.012
24/11/2023 04:00 | 2156.642 | 2401.94 | 1911.344
24/11/2023 04:30 | 2171.788 | 2419.537 | 1924.038
24/11/2023 05:00 | 2170.278 | 2418.583 | 1921.973
24/11/2023 05:30 | 2164.911 | 2413.327 | 1916.494
24/11/2023 06:00 | 2169.245 | 2418.886 | 1919.603
24/11/2023 06:30 | 2153.799 | 2402.385 | 1905.213
24/11/2023 07:00 | 2107.455 | 2351.399 | 1863.511
24/11/2023 07:30 | 2021.094 | 2255.719 | 1786.469