## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
18/11/2023 08:00 | 1175.51 | 1200.165 | 1160.452
18/11/2023 08:30 | 1093.299 | 1115.871 | 1070.726 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
18/11/2023 09:00 | 1049.728 | 1075.414 | 1024.042 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
18/11/2023 09:30 | 991.696 | 1019.753 | 963.6387 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
18/11/2023 10:00 | 938.3062 | 968.4402 | 908.1722 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
18/11/2023 10:30 | 888.2203 | 919.2621 | 857.1785 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
18/11/2023 11:00 | 874.7554 | 906.0898 | 843.4209 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
18/11/2023 11:30 | 880.9037 | 918.951 | 853.6102 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
18/11/2023 12:00 | 897.5475 | 932.1447 | 864.0616 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
18/11/2023 12:30 | 965.3958 | 999.6508 | 924.7061 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
18/11/2023 13:00 | 1031.084 | 1068.942 | 986.7418 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
18/11/2023 13:30 | 1122.904 | 1166.293 | 1074.362
18/11/2023 14:00 | 1250.678 | 1300.087 | 1195.114 | Summary view - for each schedule horizon (dispatch, week-ahead)
18/11/2023 14:30 | 1406.689 | 1463.8 | 1342.804
18/11/2023 15:00 | 1570.522 | 1636.664 | 1498.249 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
18/11/2023 15:30 | 1745.744 | 1821.142 | 1663.649 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
18/11/2023 16:00 | 1925.564 | 2010.912 | 1833.178 | Scenario | Violations
18/11/2023 16:30 | 2085.42 | 2180.409 | 1983.548 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
18/11/2023 17:00 | 2209.922 | 2313.035 | 2099.812 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
18/11/2023 17:30 | 2299.7 | 2410.128 | 2183.391 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 5 | 5 | 0 | 1
18/11/2023 18:00 | 2338.854 | 2454.975 | 2219.379 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 4 | 4 | 0 | 1
18/11/2023 18:30 | 2347.436 | 2466.827 | 2226.677 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 1
18/11/2023 19:00 | 2322.916 | 2442.128 | 2203.429
18/11/2023 19:30 | 2259.2 | 2375.945 | 2142.583 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
18/11/2023 20:00 | 2198.307 | 2312.646 | 2084.4
18/11/2023 20:30 | 2147.529 | 2259.812 | 2035.705 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
18/11/2023 21:00 | 2096.373 | 2206.54 | 1986.667 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
18/11/2023 21:30 | 2041.321 | 2149.038 | 1933.874 | [7 empty] | 18/11/2023 08:30 |  | 19/11/2023 09:00 | 19/11/2023 09:00 |  | 18/11/2023 08:00 | [6 empty] | 18/11/2023 08:30 |  | 19/11/2023 09:00 | 19/11/2023 09:00 |  | 18/11/2023 08:00 | [6 empty] | 18/11/2023 08:30 |  |  |  |  | 18/11/2023 08:00
18/11/2023 22:00 | 1985.102 | 2090.256 | 1879.984 | [7 empty] | 18/11/2023 09:00 |  | 19/11/2023 09:30 | 19/11/2023 09:30 | [8 empty] | 18/11/2023 09:00 |  | 19/11/2023 09:30 | 19/11/2023 09:30 | [8 empty] | 18/11/2023 09:00
18/11/2023 22:30 | 1934.827 | 2037.824 | 1831.859 | [7 empty] | 18/11/2023 09:30 |  | 19/11/2023 10:00 | 19/11/2023 10:00 | [8 empty] | 18/11/2023 09:30 |  | 19/11/2023 10:00 | 19/11/2023 10:00 | [8 empty] | 18/11/2023 09:30
18/11/2023 23:00 | 1889.923 | 1990.988 | 1788.812 | [7 empty] | 18/11/2023 10:00 |  | 19/11/2023 10:30 | 19/11/2023 10:30 | [8 empty] | 18/11/2023 10:00 |  | 19/11/2023 10:30 | 19/11/2023 10:30 | [8 empty] | 18/11/2023 10:00
18/11/2023 23:30 | 1849.683 | 1949.011 | 1750.173 | [7 empty] | 18/11/2023 10:30 |  | 19/11/2023 11:00 | 19/11/2023 11:00 | [8 empty] | 18/11/2023 10:30 | [11 empty] | 18/11/2023 10:30
19/11/2023 00:00 | 1813.653 | 1911.618 | 1715.689 | [7 empty] | 18/11/2023 11:00 | [11 empty] | 18/11/2023 11:00 | [11 empty] | 18/11/2023 11:00
19/11/2023 00:30 | 1783.958 | 1880.789 | 1687.128 | [7 empty] | 18/11/2023 11:30 | [11 empty] | 18/11/2023 11:30 | [11 empty] | 18/11/2023 11:30
19/11/2023 01:00 | 1763.64 | 1859.832 | 1667.448 | [7 empty] | 18/11/2023 12:00 | [11 empty] | 18/11/2023 12:00 | [11 empty] | 18/11/2023 12:00
19/11/2023 01:30 | 1747.349 | 1843.112 | 1651.585 | [7 empty] | 18/11/2023 12:30 | [11 empty] | 18/11/2023 12:30 | [11 empty] | 18/11/2023 12:30
19/11/2023 02:00 | 1735.055 | 1830.602 | 1639.509 | [7 empty] | 18/11/2023 13:00 | [11 empty] | 18/11/2023 13:00 | [11 empty] | 18/11/2023 13:00
19/11/2023 02:30 | 1725.516 | 1820.991 | 1630.04
19/11/2023 03:00 | 1719.374 | 1814.963 | 1623.786
19/11/2023 03:30 | 1719.199 | 1815.231 | 1623.168
19/11/2023 04:00 | 1712.97 | 1809.104 | 1616.836
19/11/2023 04:30 | 1686.578 | 1781.675 | 1591.48
19/11/2023 05:00 | 1645.169 | 1738.364 | 1551.973
19/11/2023 05:30 | 1578.855 | 1668.709 | 1489
19/11/2023 06:00 | 1475.051 | 1559.387 | 1390.716
19/11/2023 06:30 | 1363.964 | 1442.273 | 1285.656
19/11/2023 07:00 | 1242.52 | 1314.088 | 1170.952
19/11/2023 07:30 | 1107.614 | 1171.623 | 1043.605
19/11/2023 08:00 | 1006.968 | 1065.353 | 948.5825
19/11/2023 08:30 | 921.2471 | 974.838 | 867.6562
19/11/2023 09:00 | 863.7889 | 914.2025 | 813.3754
19/11/2023 09:30 | 842.1213 | 891.4312 | 792.8116
19/11/2023 10:00 | 840.4731 | 889.8469 | 791.0992
19/11/2023 10:30 | 840.101 | 889.6135 | 790.5885
19/11/2023 11:00 | 892.2223 | 944.9771 | 839.4675
19/11/2023 11:30 | 947.1996 | 1003.386 | 891.0131
19/11/2023 12:00 | 979.0023 | 1037.262 | 920.7423
19/11/2023 12:30 | 1032.637 | 1094.286 | 970.9876
19/11/2023 13:00 | 1101.769 | 1167.756 | 1035.782
19/11/2023 13:30 | 1197.053 | 1268.975 | 1125.131
19/11/2023 14:00 | 1332.315 | 1412.619 | 1252.011
19/11/2023 14:30 | 1492.599 | 1582.849 | 1402.349
19/11/2023 15:00 | 1652.274 | 1752.494 | 1552.053
19/11/2023 15:30 | 1833.714 | 1945.29 | 1722.138
19/11/2023 16:00 | 2025.037 | 2148.641 | 1901.432
19/11/2023 16:30 | 2198.454 | 2333.063 | 2063.844
19/11/2023 17:00 | 2338.95 | 2482.608 | 2195.291
19/11/2023 17:30 | 2435.479 | 2585.532 | 2285.426
19/11/2023 18:00 | 2473.767 | 2626.652 | 2320.882
19/11/2023 18:30 | 2470.99 | 2624.176 | 2317.805
19/11/2023 19:00 | 2436.323 | 2587.824 | 2284.821
19/11/2023 19:30 | 2368.468 | 2516.202 | 2220.733
19/11/2023 20:00 | 2293.855 | 2437.374 | 2150.337
19/11/2023 20:30 | 2220.435 | 2359.784 | 2081.085
19/11/2023 21:00 | 2141.125 | 2275.907 | 2006.344
19/11/2023 21:30 | 2065.211 | 2195.608 | 1934.814
19/11/2023 22:00 | 1994.649 | 2120.972 | 1868.326
19/11/2023 22:30 | 1936.155 | 2059.144 | 1813.167
19/11/2023 23:00 | 1894.299 | 2014.991 | 1773.607
19/11/2023 23:30 | 1858.22 | 1973.211 | 1743.23
20/11/2023 00:00 | 1828.19 | 1934.332 | 1722.048
20/11/2023 00:30 | 1803.502 | 1909.129 | 1697.876
20/11/2023 01:00 | 1787.595 | 1892.585 | 1682.605
20/11/2023 01:30 | 1774.905 | 1879.443 | 1670.367
20/11/2023 02:00 | 1765.041 | 1869.289 | 1660.792
20/11/2023 02:30 | 1761.194 | 1865.505 | 1656.882
20/11/2023 03:00 | 1760.997 | 1865.588 | 1656.406
20/11/2023 03:30 | 1772.419 | 1877.981 | 1666.857
20/11/2023 04:00 | 1796.322 | 1903.604 | 1689.04
20/11/2023 04:30 | 1825.713 | 1935.052 | 1716.374
20/11/2023 05:00 | 1841.827 | 1952.435 | 1731.219
20/11/2023 05:30 | 1825.842 | 1935.792 | 1715.893
20/11/2023 06:00 | 1783.314 | 1890.997 | 1675.631
20/11/2023 06:30 | 1711.792 | 1815.471 | 1608.112
20/11/2023 07:00 | 1616.788 | 1715.071 | 1518.504
20/11/2023 07:30 | 1501.784 | 1593.404 | 1410.163
20/11/2023 08:00 | 1404.906 | 1490.923 | 1318.889
20/11/2023 08:30 | 1315.889 | 1396.743 | 1235.034
20/11/2023 09:00 | 1239.13 | 1315.539 | 1162.721
20/11/2023 09:30 | 1182.035 | 1255.182 | 1108.888
20/11/2023 10:00 | 1171.703 | 1244.466 | 1098.94
20/11/2023 10:30 | 1173.732 | 1246.877 | 1100.586
20/11/2023 11:00 | 1214.514 | 1290.466 | 1138.561
20/11/2023 11:30 | 1278.771 | 1359.021 | 1198.52
20/11/2023 12:00 | 1339.536 | 1423.893 | 1255.18
20/11/2023 12:30 | 1427.137 | 1517.322 | 1336.952
20/11/2023 13:00 | 1505.816 | 1601.301 | 1410.33
20/11/2023 13:30 | 1617.143 | 1720.042 | 1514.245
20/11/2023 14:00 | 1767.437 | 1880.285 | 1654.589
20/11/2023 14:30 | 1940.563 | 2064.888 | 1816.237
20/11/2023 15:00 | 2118.8 | 2255.008 | 1982.593
20/11/2023 15:30 | 2298.4 | 2446.655 | 2150.145
20/11/2023 16:00 | 2472.815 | 2632.861 | 2312.769
20/11/2023 16:30 | 2624.667 | 2795.114 | 2454.219
20/11/2023 17:00 | 2732.99 | 2911.07 | 2554.911
20/11/2023 17:30 | 2797.509 | 2980.404 | 2614.615
20/11/2023 18:00 | 2819.725 | 3004.688 | 2634.762
20/11/2023 18:30 | 2804.687 | 2989.276 | 2620.098
20/11/2023 19:00 | 2754.881 | 2936.794 | 2572.968
20/11/2023 19:30 | 2665.301 | 2841.882 | 2488.721
20/11/2023 20:00 | 2567.749 | 2738.427 | 2397.07
20/11/2023 20:30 | 2473.33 | 2638.273 | 2308.387
20/11/2023 21:00 | 2373.549 | 2532.356 | 2214.742
20/11/2023 21:30 | 2278.26 | 2431.189 | 2125.33
20/11/2023 22:00 | 2187.215 | 2334.511 | 2039.919
20/11/2023 22:30 | 2109.693 | 2252.229 | 1967.157
20/11/2023 23:00 | 2050.736 | 2189.737 | 1911.735
20/11/2023 23:30 | 1997.934 | 2133.793 | 1862.076
21/11/2023 00:00 | 1949.676 | 2082.679 | 1816.673
21/11/2023 00:30 | 1913.248 | 2044.184 | 1782.312
21/11/2023 01:00 | 1892.982 | 2022.944 | 1763.019
21/11/2023 01:30 | 1872.606 | 2001.579 | 1743.634
21/11/2023 02:00 | 1855.087 | 1983.259 | 1726.916
21/11/2023 02:30 | 1846.922 | 1974.933 | 1718.912
21/11/2023 03:00 | 1844.347 | 1972.582 | 1716.112
21/11/2023 03:30 | 1851.869 | 1981.032 | 1722.706
21/11/2023 04:00 | 1869.222 | 2000.004 | 1738.441
21/11/2023 04:30 | 1892.026 | 2024.816 | 1759.235
21/11/2023 05:00 | 1904.497 | 2038.579 | 1770.416
21/11/2023 05:30 | 1894.27 | 2028.046 | 1760.494
21/11/2023 06:00 | 1864.777 | 1996.877 | 1732.676
21/11/2023 06:30 | 1803.553 | 1930.922 | 1675.396
21/11/2023 07:00 | 1709.961 | 1831.095 | 1588.081
21/11/2023 07:30 | 1584.87 | 1697.488 | 1471.56
21/11/2023 08:00 | 1471.56 | 1576.447 | 1366.029
21/11/2023 08:30 | 1382.317 | 1481.146 | 1282.884
21/11/2023 09:00 | 1325.457 | 1420.51 | 1229.824
21/11/2023 09:30 | 1298.449 | 1391.849 | 1204.481
21/11/2023 10:00 | 1285.173 | 1377.899 | 1191.885
21/11/2023 10:30 | 1301.729 | 1395.934 | 1206.956
21/11/2023 11:00 | 1357.205 | 1455.721 | 1258.095
21/11/2023 11:30 | 1421.543 | 1525.041 | 1317.425
21/11/2023 12:00 | 1489.505 | 1598.275 | 1380.083
21/11/2023 12:30 | 1591.935 | 1708.533 | 1474.641
21/11/2023 13:00 | 1705.041 | 1830.296 | 1579.041
21/11/2023 13:30 | 1856.156 | 1992.917 | 1718.583
21/11/2023 14:00 | 2037.176 | 2187.721 | 1885.742
21/11/2023 14:30 | 2217.6 | 2381.962 | 2052.27
21/11/2023 15:00 | 2419.521 | 2599.377 | 2238.608
21/11/2023 15:30 | 2612.491 | 2807.263 | 2416.578
21/11/2023 16:00 | 2781.857 | 2989.863 | 2572.635
21/11/2023 16:30 | 2933.331 | 3153.304 | 2712.076
21/11/2023 17:00 | 3039.447 | 3268.042 | 2809.523
21/11/2023 17:30 | 3089.884 | 3322.947 | 2855.47
21/11/2023 18:00 | 3099.077 | 3333.511 | 2863.289
21/11/2023 18:30 | 3086.831 | 3321.013 | 2851.3
21/11/2023 19:00 | 3051.548 | 3283.72 | 2818.042
21/11/2023 19:30 | 2953.839 | 3179.222 | 2727.165
21/11/2023 20:00 | 2844.414 | 3062.07 | 2625.516
21/11/2023 20:30 | 2726.979 | 2936.244 | 2517.714
21/11/2023 21:00 | 2600.478 | 2800.604 | 2400.352
21/11/2023 21:30 | 2480.283 | 2671.7 | 2288.865
21/11/2023 22:00 | 2367.317 | 2550.533 | 2184.1
21/11/2023 22:30 | 2276.982 | 2453.705 | 2100.259
21/11/2023 23:00 | 2214.147 | 2386.477 | 2041.818
21/11/2023 23:30 | 2164.964 | 2333.938 | 1995.989
22/11/2023 00:00 | 2125.145 | 2291.477 | 1958.814
22/11/2023 00:30 | 2087.302 | 2251.128 | 1923.477
22/11/2023 01:00 | 2060.665 | 2222.85 | 1898.48
22/11/2023 01:30 | 2031.076 | 2191.375 | 1870.776
22/11/2023 02:00 | 2004.093 | 2162.701 | 1845.485
22/11/2023 02:30 | 1991.235 | 2149.26 | 1833.209
22/11/2023 03:00 | 1984.08 | 2141.972 | 1826.189
22/11/2023 03:30 | 1989.097 | 2147.823 | 1830.372
22/11/2023 04:00 | 2005.813 | 2166.31 | 1845.316
22/11/2023 04:30 | 2029.551 | 2192.391 | 1866.711
22/11/2023 05:00 | 2039.933 | 2204.052 | 1875.814
22/11/2023 05:30 | 2031.162 | 2195.019 | 1867.305
22/11/2023 06:00 | 2027.505 | 2191.509 | 1863.5
22/11/2023 06:30 | 2003.253 | 2165.734 | 1840.772
22/11/2023 07:00 | 1951.829 | 2110.565 | 1793.093
22/11/2023 07:30 | 1863.276 | 2015.2 | 1711.352
22/11/2023 08:00 | 1784.831 | 1930.698 | 1638.964
22/11/2023 08:30 | 1723.644 | 1864.841 | 1582.448
22/11/2023 09:00 | 1687.131 | 1825.66 | 1548.602
22/11/2023 09:30 | 1664.328 | 1801.304 | 1527.353
22/11/2023 10:00 | 1655.863 | 1792.46 | 1519.267
22/11/2023 10:30 | 1699.693 | 1840.231 | 1559.155
22/11/2023 11:00 | 1805.155 | 1954.759 | 1655.551
22/11/2023 11:30 | 1896.031 | 2053.53 | 1738.532
22/11/2023 12:00 | 1988.465 | 2154.023 | 1822.907
22/11/2023 12:30 | 2088.117 | 2262.373 | 1913.862
22/11/2023 13:00 | 2189.714 | 2372.867 | 2006.561
22/11/2023 13:30 | 2365.173 | 2563.455 | 2166.89
22/11/2023 14:00 | 2577.928 | 2794.541 | 2361.316
22/11/2023 14:30 | 2750.365 | 2981.993 | 2518.736
22/11/2023 15:00 | 2942.822 | 3191.223 | 2694.421
22/11/2023 15:30 | 3114.533 | 3378.025 | 2851.04
22/11/2023 16:00 | 3264.272 | 3541.058 | 2987.486
22/11/2023 16:30 | 3365.316 | 3651.315 | 3079.318
22/11/2023 17:00 | 3437 | 3729.749 | 3144.25
22/11/2023 17:30 | 3465.412 | 3761.246 | 3169.578
22/11/2023 18:00 | 3466.989 | 3763.621 | 3170.356
22/11/2023 18:30 | 3453.888 | 3750.062 | 3157.714
22/11/2023 19:00 | 3413.862 | 3707.258 | 3120.466
22/11/2023 19:30 | 3315.822 | 3601.428 | 3030.217
22/11/2023 20:00 | 3197.436 | 3473.458 | 2921.415
22/11/2023 20:30 | 3062.838 | 3327.827 | 2797.849
22/11/2023 21:00 | 2918.424 | 3171.478 | 2665.369
22/11/2023 21:30 | 2773.767 | 3014.809 | 2532.724
22/11/2023 22:00 | 2630.018 | 2859.073 | 2400.963
22/11/2023 22:30 | 2511.223 | 2730.413 | 2292.033
22/11/2023 23:00 | 2433.448 | 2646.316 | 2220.58
22/11/2023 23:30 | 2376.306 | 2584.631 | 2167.981
23/11/2023 00:00 | 2329.08 | 2533.71 | 2124.448
23/11/2023 00:30 | 2284.017 | 2485.126 | 2082.907
23/11/2023 01:00 | 2251.403 | 2450.073 | 2052.734
23/11/2023 01:30 | 2217.156 | 2413.229 | 2021.084
23/11/2023 02:00 | 2185.595 | 2379.295 | 1991.895
23/11/2023 02:30 | 2165.436 | 2357.764 | 1973.107
23/11/2023 03:00 | 2149.147 | 2340.441 | 1957.853
23/11/2023 03:30 | 2144.04 | 2335.291 | 1952.79
23/11/2023 04:00 | 2153.689 | 2346.212 | 1961.165
23/11/2023 04:30 | 2172.719 | 2367.361 | 1978.078
23/11/2023 05:00 | 2173.889 | 2369.052 | 1978.727
23/11/2023 05:30 | 2161.877 | 2356.376 | 1967.379
23/11/2023 06:00 | 2163.427 | 2358.48 | 1968.375
23/11/2023 06:30 | 2142.595 | 2336.18 | 1949.01
23/11/2023 07:00 | 2095.278 | 2284.99 | 1905.566
23/11/2023 07:30 | 2012.638 | 2195.253 | 1830.023
23/11/2023 08:00 | 1951.86 | 2129.335 | 1774.386
23/11/2023 08:30 | 1926.877 | 2102.449 | 1751.304
23/11/2023 09:00 | 1899.548 | 2072.994 | 1726.102
23/11/2023 09:30 | 1896.413 | 2069.936 | 1722.89
23/11/2023 10:00 | 1926.385 | 2103.02 | 1749.75
23/11/2023 10:30 | 1976.658 | 2158.282 | 1795.035
23/11/2023 11:00 | 2065.485 | 2255.666 | 1875.304
23/11/2023 11:30 | 2163.733 | 2363.376 | 1964.091
23/11/2023 12:00 | 2245.464 | 2453.077 | 2037.85
23/11/2023 12:30 | 2317.387 | 2532.095 | 2102.68
23/11/2023 13:00 | 2399.01 | 2621.74 | 2176.281
23/11/2023 13:30 | 2548.062 | 2785.119 | 2311.005
23/11/2023 14:00 | 2729.53 | 2983.992 | 2475.067
23/11/2023 14:30 | 2884.34 | 3153.787 | 2614.892
23/11/2023 15:00 | 3069.209 | 3356.515 | 2781.904
23/11/2023 15:30 | 3241.035 | 3545.047 | 2937.023
23/11/2023 16:00 | 3362.999 | 3679.096 | 3046.903
23/11/2023 16:30 | 3423.897 | 3746.374 | 3101.42
23/11/2023 17:00 | 3456.494 | 3782.703 | 3130.284
23/11/2023 17:30 | 3464.077 | 3791.666 | 3136.488
23/11/2023 18:00 | 3446.822 | 3773.439 | 3120.204
23/11/2023 18:30 | 3437.51 | 3763.904 | 3111.116
23/11/2023 19:00 | 3411.869 | 3736.482 | 3087.255
23/11/2023 19:30 | 3316.821 | 3633.027 | 3000.615
23/11/2023 20:00 | 3197.881 | 3503.361 | 2892.401
23/11/2023 20:30 | 3065.67 | 3359.108 | 2772.232
23/11/2023 21:00 | 2925.629 | 3206.224 | 2645.035
23/11/2023 21:30 | 2786.957 | 3054.785 | 2519.128
23/11/2023 22:00 | 2648.016 | 2903 | 2393.032
23/11/2023 22:30 | 2536.511 | 2781.244 | 2291.778
23/11/2023 23:00 | 2462.698 | 2700.782 | 2224.615
23/11/2023 23:30 | 2405.523 | 2638.54 | 2172.506
24/11/2023 00:00 | 2358.669 | 2587.6 | 2129.739
24/11/2023 00:30 | 2314.276 | 2539.341 | 2089.211
24/11/2023 01:00 | 2280.524 | 2502.744 | 2058.304
24/11/2023 01:30 | 2241.376 | 2460.211 | 2022.541
24/11/2023 02:00 | 2208.905 | 2424.993 | 1992.818
24/11/2023 02:30 | 2185.36 | 2399.563 | 1971.156
24/11/2023 03:00 | 2166.423 | 2379.186 | 1953.661
24/11/2023 03:30 | 2163.294 | 2376.164 | 1950.425
24/11/2023 04:00 | 2175.869 | 2390.394 | 1961.345
24/11/2023 04:30 | 2190.015 | 2406.353 | 1973.676
24/11/2023 05:00 | 2186.768 | 2403.204 | 1970.331
24/11/2023 05:30 | 2179.79 | 2395.954 | 1963.626
24/11/2023 06:00 | 2183.604 | 2400.564 | 1966.643
24/11/2023 06:30 | 2170.795 | 2386.9 | 1954.691
24/11/2023 07:00 | 2150.742 | 2365.262 | 1936.222
24/11/2023 07:30 | 2118.366 | 2330.171 | 1906.561
24/11/2023 08:00 | 2102.418 | 2313.352 | 1891.484
24/11/2023 08:30 | 2081.671 | 2291.222 | 1872.121
24/11/2023 09:00 | 2043.085 | 2249.436 | 1836.734
24/11/2023 09:30 | 1982.328 | 2183.208 | 1781.449
24/11/2023 10:00 | 1963.719 | 2163.371 | 1764.067
24/11/2023 10:30 | 1988.794 | 2191.662 | 1785.926
24/11/2023 11:00 | 2044.168 | 2253.371 | 1834.966
24/11/2023 11:30 | 2117.083 | 2334.457 | 1899.708
24/11/2023 12:00 | 2164.403 | 2387.361 | 1941.444
24/11/2023 12:30 | 2223.444 | 2453.23 | 1993.658
24/11/2023 13:00 | 2310.133 | 2549.653 | 2070.614
24/11/2023 13:30 | 2478.654 | 2736.477 | 2220.831
24/11/2023 14:00 | 2638.978 | 2914.362 | 2363.593
24/11/2023 14:30 | 2705.48 | 2988.712 | 2422.249
24/11/2023 15:00 | 2818.188 | 3114.163 | 2522.212
24/11/2023 15:30 | 2965.026 | 3277.417 | 2652.635
24/11/2023 16:00 | 3078.342 | 3403.704 | 2752.98
24/11/2023 16:30 | 3141.239 | 3474.301 | 2808.176
24/11/2023 17:00 | 3161.97 | 3498.292 | 2825.649
24/11/2023 17:30 | 3146.437 | 3482.16 | 2810.712
24/11/2023 18:00 | 3118.219 | 3451.978 | 2784.46
24/11/2023 18:30 | 3091.747 | 3423.709 | 2759.785
24/11/2023 19:00 | 3049.829 | 3378.313 | 2721.345
24/11/2023 19:30 | 2948.982 | 3267.593 | 2630.371
24/11/2023 20:00 | 2847.275 | 3155.852 | 2538.698
24/11/2023 20:30 | 2749.119 | 3047.98 | 2450.258
24/11/2023 21:00 | 2644.287 | 2932.638 | 2355.936
24/11/2023 21:30 | 2538.707 | 2816.396 | 2261.018
24/11/2023 22:00 | 2434.149 | 2701.217 | 2167.08
24/11/2023 22:30 | 2339.563 | 2597.038 | 2082.088
24/11/2023 23:00 | 2258.731 | 2508.068 | 2009.395
24/11/2023 23:30 | 2185.802 | 2426.399 | 1945.204
25/11/2023 00:00 | 2118.692 | 2349.969 | 1887.414
25/11/2023 00:30 | 2064.122 | 2290.61 | 1837.635
25/11/2023 01:00 | 2023.634 | 2246.584 | 1800.683
25/11/2023 01:30 | 1991.831 | 2212.169 | 1771.493
25/11/2023 02:00 | 1966.75 | 2185.194 | 1748.307
25/11/2023 02:30 | 1944.267 | 2161.083 | 1727.451
25/11/2023 03:00 | 1926.211 | 2141.876 | 1710.547
25/11/2023 03:30 | 1918.763 | 2134.452 | 1703.074
25/11/2023 04:00 | 1913.067 | 2128.972 | 1697.162
25/11/2023 04:30 | 1887.144 | 2100.968 | 1673.32
25/11/2023 05:00 | 1851.426 | 2062.031 | 1640.821
25/11/2023 05:30 | 1822.167 | 2030.26 | 1614.075
25/11/2023 06:00 | 1781.715 | 1985.985 | 1577.445
25/11/2023 06:30 | 1749.84 | 1951.238 | 1548.442
25/11/2023 07:00 | 1700.45 | 1896.925 | 1503.975
25/11/2023 07:30 | 1599.244 | 1784.741 | 1413.747