## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
20/11/2023 08:00 | 1524.86 | 1549.633 | 1506.46
20/11/2023 08:30 | 1433.49 | 1458.002 | 1408.978 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
20/11/2023 09:00 | 1370.961 | 1398.48 | 1343.443 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
20/11/2023 09:30 | 1317.286 | 1347.643 | 1286.93 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
20/11/2023 10:00 | 1281.042 | 1314.372 | 1247.713 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
20/11/2023 10:30 | 1276.597 | 1312.693 | 1240.501 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
20/11/2023 11:00 | 1308.981 | 1347.093 | 1270.868 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
20/11/2023 11:30 | 1357.146 | 1397.301 | 1315.695 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
20/11/2023 12:00 | 1410.086 | 1453.121 | 1365.62 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
20/11/2023 12:30 | 1499.111 | 1546.172 | 1450.27 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
20/11/2023 13:00 | 1583.394 | 1634.717 | 1530.368 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
20/11/2023 13:30 | 1700.946 | 1757.853 | 1642.474
20/11/2023 14:00 | 1843.339 | 1906.692 | 1778.111 | Summary view - for each schedule horizon (dispatch, week-ahead)
20/11/2023 14:30 | 2011.027 | 2082.044 | 1937.898
20/11/2023 15:00 | 2193.453 | 2273.02 | 2111.574 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
20/11/2023 15:30 | 2373.565 | 2462.004 | 2282.728 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
20/11/2023 16:00 | 2545.029 | 2642.28 | 2445.155 | Scenario | Violations
20/11/2023 16:30 | 2694.182 | 2799.723 | 2585.859 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
20/11/2023 17:00 | 2802.11 | 2914.713 | 2686.876 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
20/11/2023 17:30 | 2863.689 | 2981.784 | 2743.407 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
20/11/2023 18:00 | 2880.195 | 3002.371 | 2757.023 | High Demand Scenario | 0 | 5 | 6 | 6 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 1
20/11/2023 18:30 | 2861.733 | 2985.841 | 2737.673 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
20/11/2023 19:00 | 2806.681 | 2929.565 | 2684.156
20/11/2023 19:30 | 2713.57 | 2833.429 | 2594.038 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
20/11/2023 20:00 | 2612.338 | 2728.748 | 2496.243
20/11/2023 20:30 | 2511.393 | 2624.265 | 2398.781 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
20/11/2023 21:00 | 2406.09 | 2515.157 | 2297.244 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
20/11/2023 21:30 | 2306.229 | 2411.663 | 2200.99 | [12 empty] | 20/11/2023 08:00 |  | 24/11/2023 16:00 | 24/11/2023 16:00 | 24/11/2023 16:00 |  |  | 23/11/2023 17:00 |  |  |  |  | 20/11/2023 08:00 | [6 empty] | 21/11/2023 07:00 |  |  |  |  | 20/11/2023 08:00
20/11/2023 22:00 | 2211.457 | 2313.417 | 2109.671 | [14 empty] | 24/11/2023 16:30 | 24/11/2023 16:30 | 24/11/2023 16:30 |  |  | 23/11/2023 17:30
20/11/2023 22:30 | 2130.092 | 2229.129 | 2031.212 | [14 empty] | 24/11/2023 17:00 | 24/11/2023 17:00 | 24/11/2023 17:00 |  |  | 24/11/2023 15:30
20/11/2023 23:00 | 2065.182 | 2161.995 | 1968.493 | [14 empty] | 24/11/2023 17:30 | 24/11/2023 17:30 | 24/11/2023 17:30 |  |  | 24/11/2023 16:00
20/11/2023 23:30 | 2006.013 | 2100.773 | 1911.252 | [14 empty] | 24/11/2023 18:00 | 24/11/2023 18:00 | 24/11/2023 18:00 |  |  | 24/11/2023 16:30
21/11/2023 00:00 | 1952.169 | 2045.15 | 1859.187 | [15 empty] | 24/11/2023 18:30 | 24/11/2023 18:30 |  |  | 24/11/2023 17:00
21/11/2023 00:30 | 1912.547 | 2004.39 | 1820.704 | [19 empty] | 24/11/2023 17:30
21/11/2023 01:00 | 1889.175 | 1980.635 | 1797.715 | [19 empty] | 24/11/2023 18:00
21/11/2023 01:30 | 1867.955 | 1959.118 | 1776.791 | [19 empty] | 24/11/2023 18:30
21/11/2023 02:00 | 1850.344 | 1941.373 | 1759.316 | [19 empty] | 24/11/2023 19:00
21/11/2023 02:30 | 1841.853 | 1933.185 | 1750.521
21/11/2023 03:00 | 1839.189 | 1931.109 | 1747.27
21/11/2023 03:30 | 1846.699 | 1939.717 | 1753.682
21/11/2023 04:00 | 1863.991 | 1958.609 | 1769.373
21/11/2023 04:30 | 1886.371 | 1982.863 | 1789.879
21/11/2023 05:00 | 1897.372 | 1995.17 | 1799.574
21/11/2023 05:30 | 1886.301 | 1984.267 | 1788.336
21/11/2023 06:00 | 1855.784 | 1952.891 | 1758.678
21/11/2023 06:30 | 1791.452 | 1885.749 | 1697.154
21/11/2023 07:00 | 1697.3 | 1786.898 | 1607.701
21/11/2023 07:30 | 1573.686 | 1657.019 | 1490.353
21/11/2023 08:00 | 1461.46 | 1539.091 | 1383.829
21/11/2023 08:30 | 1373.859 | 1447.064 | 1300.654
21/11/2023 09:00 | 1321.328 | 1391.952 | 1250.704
21/11/2023 09:30 | 1301.105 | 1370.863 | 1231.347
21/11/2023 10:00 | 1295.16 | 1364.813 | 1225.507
21/11/2023 10:30 | 1317.2 | 1388.256 | 1246.144
21/11/2023 11:00 | 1379.341 | 1453.976 | 1304.705
21/11/2023 11:30 | 1447.872 | 1526.455 | 1369.289
21/11/2023 12:00 | 1524.451 | 1608.931 | 1441.46
21/11/2023 12:30 | 1629.589 | 1719.506 | 1540.605
21/11/2023 13:00 | 1743.848 | 1839.779 | 1648.338
21/11/2023 13:30 | 1900.159 | 2004.963 | 1795.774
21/11/2023 14:00 | 2080.073 | 2194.965 | 1965.46
21/11/2023 14:30 | 2264.367 | 2390.033 | 2139.226
21/11/2023 15:00 | 2466.915 | 2603.728 | 2330.173
21/11/2023 15:30 | 2658.233 | 2805.994 | 2510.447
21/11/2023 16:00 | 2828.23 | 2985.968 | 2670.526
21/11/2023 16:30 | 2979.12 | 3145.888 | 2812.652
21/11/2023 17:00 | 3087.729 | 3260.933 | 2914.545
21/11/2023 17:30 | 3140.919 | 3317.842 | 2964.427
21/11/2023 18:00 | 3146.301 | 3324.415 | 2969.316
21/11/2023 18:30 | 3130.114 | 3307.808 | 2953.504
21/11/2023 19:00 | 3089.425 | 3265.056 | 2914.366
21/11/2023 19:30 | 2991.364 | 3161.696 | 2821.172
21/11/2023 20:00 | 2881.259 | 3045.606 | 2716.686
21/11/2023 20:30 | 2760.947 | 2919.002 | 2602.892
21/11/2023 21:00 | 2631.906 | 2783.008 | 2480.804
21/11/2023 21:30 | 2508.767 | 2653.213 | 2364.32
21/11/2023 22:00 | 2393.218 | 2531.406 | 2255.029
21/11/2023 22:30 | 2300.072 | 2433.263 | 2166.882
21/11/2023 23:00 | 2233.729 | 2363.447 | 2104.012
21/11/2023 23:30 | 2181.274 | 2308.306 | 2054.243
22/11/2023 00:00 | 2139.033 | 2263.958 | 2014.108
22/11/2023 00:30 | 2100.704 | 2223.737 | 1977.671
22/11/2023 01:00 | 2074.237 | 2196.062 | 1952.411
22/11/2023 01:30 | 2045.289 | 2165.752 | 1924.827
22/11/2023 02:00 | 2018.508 | 2137.726 | 1899.289
22/11/2023 02:30 | 2005.079 | 2123.836 | 1886.323
22/11/2023 03:00 | 1997.84 | 2116.498 | 1879.183
22/11/2023 03:30 | 2001.694 | 2120.911 | 1882.477
22/11/2023 04:00 | 2016.92 | 2137.377 | 1896.463
22/11/2023 04:30 | 2039.131 | 2161.251 | 1917.011
22/11/2023 05:00 | 2047.305 | 2170.252 | 1924.357
22/11/2023 05:30 | 2037.649 | 2160.353 | 1914.944
22/11/2023 06:00 | 2036.194 | 2159.147 | 1913.242
22/11/2023 06:30 | 2014.529 | 2136.544 | 1892.514
22/11/2023 07:00 | 1965.934 | 2085.442 | 1846.426
22/11/2023 07:30 | 1881.19 | 1995.958 | 1766.422
22/11/2023 08:00 | 1804.147 | 1914.608 | 1693.685
22/11/2023 08:30 | 1741.068 | 1848.048 | 1634.088
22/11/2023 09:00 | 1697.604 | 1802.284 | 1592.924
22/11/2023 09:30 | 1665.513 | 1768.579 | 1562.448
22/11/2023 10:00 | 1646.67 | 1748.929 | 1544.411
22/11/2023 10:30 | 1682.505 | 1787.357 | 1577.653
22/11/2023 11:00 | 1784.794 | 1896.41 | 1673.178
22/11/2023 11:30 | 1873.918 | 1991.517 | 1756.319
22/11/2023 12:00 | 1966.772 | 2090.628 | 1842.916
22/11/2023 12:30 | 2064.121 | 2194.558 | 1933.683
22/11/2023 13:00 | 2165.372 | 2302.68 | 2028.063
22/11/2023 13:30 | 2347.344 | 2496.705 | 2197.983
22/11/2023 14:00 | 2569.31 | 2733.356 | 2405.264
22/11/2023 14:30 | 2742.923 | 2918.653 | 2567.193
22/11/2023 15:00 | 2942.038 | 3131.167 | 2752.908
22/11/2023 15:30 | 3118.868 | 3320.047 | 2917.69
22/11/2023 16:00 | 3277.096 | 3489.197 | 3064.995
22/11/2023 16:30 | 3388.615 | 3608.674 | 3168.556
22/11/2023 17:00 | 3459.93 | 3685.375 | 3234.484
22/11/2023 17:30 | 3482.764 | 3710.459 | 3255.069
22/11/2023 18:00 | 3486.92 | 3715.648 | 3258.191
22/11/2023 18:30 | 3482.988 | 3712.219 | 3253.756
22/11/2023 19:00 | 3453.614 | 3681.667 | 3225.561
22/11/2023 19:30 | 3360.239 | 3582.86 | 3137.618
22/11/2023 20:00 | 3244.205 | 3459.847 | 3028.562
22/11/2023 20:30 | 3111.711 | 3319.227 | 2904.196
22/11/2023 21:00 | 2967.449 | 3165.992 | 2768.906
22/11/2023 21:30 | 2820.688 | 3010.028 | 2631.348
22/11/2023 22:00 | 2673.458 | 2853.499 | 2493.416
22/11/2023 22:30 | 2551.111 | 2723.47 | 2378.751
22/11/2023 23:00 | 2472.063 | 2639.622 | 2304.505
22/11/2023 23:30 | 2413.859 | 2576.946 | 2249.718
23/11/2023 00:00 | 2364.292 | 2524.545 | 2203.004
23/11/2023 00:30 | 2316.31 | 2473.818 | 2157.79
23/11/2023 01:00 | 2282.184 | 2437.87 | 2125.501
23/11/2023 01:30 | 2246.383 | 2400.117 | 2091.667
23/11/2023 02:00 | 2211.567 | 2363.402 | 2058.766
23/11/2023 02:30 | 2188.656 | 2339.396 | 2036.96
23/11/2023 03:00 | 2170.744 | 2320.725 | 2019.815
23/11/2023 03:30 | 2163.226 | 2313.159 | 2012.346
23/11/2023 04:00 | 2170.596 | 2321.515 | 2018.729
23/11/2023 04:30 | 2189.494 | 2342.205 | 2035.826
23/11/2023 05:00 | 2185.899 | 2338.837 | 2032.006
23/11/2023 05:30 | 2165.744 | 2317.745 | 2012.797
23/11/2023 06:00 | 2166.086 | 2318.584 | 2012.641
23/11/2023 06:30 | 2145.106 | 2296.596 | 1992.679
23/11/2023 07:00 | 2090.687 | 2238.791 | 1941.67
23/11/2023 07:30 | 2001.36 | 2143.573 | 1858.272
23/11/2023 08:00 | 1935.545 | 2073.504 | 1796.74
23/11/2023 08:30 | 1903.82 | 2039.934 | 1766.874
23/11/2023 09:00 | 1867.873 | 2001.825 | 1733.104
23/11/2023 09:30 | 1859.985 | 1993.778 | 1725.38
23/11/2023 10:00 | 1890.98 | 2027.415 | 1753.718
23/11/2023 10:30 | 1936.562 | 2076.709 | 1796.415
23/11/2023 11:00 | 2018.597 | 2165.122 | 1872.072
23/11/2023 11:30 | 2125.618 | 2280.376 | 1970.86
23/11/2023 12:00 | 2237.669 | 2401.074 | 2074.265
23/11/2023 12:30 | 2356.759 | 2529.375 | 2184.143
23/11/2023 13:00 | 2491.839 | 2674.894 | 2308.785
23/11/2023 13:30 | 2700.546 | 2899.523 | 2501.57
23/11/2023 14:00 | 2905.458 | 3120.167 | 2690.749
23/11/2023 14:30 | 3021.213 | 3245.136 | 2797.29
23/11/2023 15:00 | 3177.411 | 3413.605 | 2941.216
23/11/2023 15:30 | 3312.352 | 3559.301 | 3065.403
23/11/2023 16:00 | 3418.193 | 3673.78 | 3162.607
23/11/2023 16:30 | 3498.151 | 3760.481 | 3235.822
23/11/2023 17:00 | 3549.54 | 3816.498 | 3282.581
23/11/2023 17:30 | 3566.209 | 3835.201 | 3297.218
23/11/2023 18:00 | 3548.164 | 3816.57 | 3279.759
23/11/2023 18:30 | 3543.83 | 3812.682 | 3274.978
23/11/2023 19:00 | 3534.911 | 3803.858 | 3265.963
23/11/2023 19:30 | 3436.678 | 3698.903 | 3174.453
23/11/2023 20:00 | 3312.786 | 3566.281 | 3059.29
23/11/2023 20:30 | 3173.006 | 3416.499 | 2929.513
23/11/2023 21:00 | 3026.524 | 3259.437 | 2793.611
23/11/2023 21:30 | 2880.426 | 3102.725 | 2658.126
23/11/2023 22:00 | 2731.955 | 2943.393 | 2520.518
23/11/2023 22:30 | 2611.239 | 2813.905 | 2408.574
23/11/2023 23:00 | 2529.677 | 2726.565 | 2332.789
23/11/2023 23:30 | 2463.428 | 2720.208 | 2271.158
24/11/2023 00:00 | 2407.376 | 2641.329 | 2218.956
24/11/2023 00:30 | 2357.534 | 2576.863 | 2172.499
24/11/2023 01:00 | 2321.353 | 2530.016 | 2138.65
24/11/2023 01:30 | 2279.843 | 2484.352 | 2099.91
24/11/2023 02:00 | 2244.853 | 2445.008 | 2067.191
24/11/2023 02:30 | 2220.175 | 2416.661 | 2043.98
24/11/2023 03:00 | 2200.58 | 2392.199 | 2025.459
24/11/2023 03:30 | 2195.958 | 2386.749 | 2020.726
24/11/2023 04:00 | 2205.451 | 2397.532 | 2028.979
24/11/2023 04:30 | 2217.329 | 2409.882 | 2039.422
24/11/2023 05:00 | 2217.969 | 2399.354 | 2039.527
24/11/2023 05:30 | 2215.558 | 2388.112 | 2036.826
24/11/2023 06:00 | 2222.452 | 2399.7 | 2042.678
24/11/2023 06:30 | 2221.375 | 2395.784 | 2041.203
24/11/2023 07:00 | 2189.544 | 2351.129 | 2011.475
24/11/2023 07:30 | 2096.942 | 2267.918 | 1941.109
24/11/2023 08:00 | 2085.388 | 2255.818 | 1920.659
24/11/2023 08:30 | 2102.149 | 2274.352 | 1932.64
24/11/2023 09:00 | 2100.914 | 2273.418 | 1924.281
24/11/2023 09:30 | 2055.656 | 2224.838 | 1901.03
24/11/2023 10:00 | 2064.024 | 2234.291 | 1916.464
24/11/2023 10:30 | 2123.687 | 2299.283 | 1948.092
24/11/2023 11:00 | 2199.727 | 2382.031 | 2017.423
24/11/2023 11:30 | 2320.695 | 2513.47 | 2127.921
24/11/2023 12:00 | 2410.417 | 2611.106 | 2209.727
24/11/2023 12:30 | 2490.151 | 2697.956 | 2282.345
24/11/2023 13:00 | 2577.323 | 2792.896 | 2361.749
24/11/2023 13:30 | 2730.355 | 2959.253 | 2501.458
24/11/2023 14:00 | 2916.97 | 3162.071 | 2671.869
24/11/2023 14:30 | 3045.2 | 3301.659 | 2788.74
24/11/2023 15:00 | 3223.32 | 3495.398 | 2951.242
24/11/2023 15:30 | 3397.215 | 3684.623 | 3109.808
24/11/2023 16:00 | 3539.602 | 3839.734 | 3239.47
24/11/2023 16:30 | 3629.921 | 3938.407 | 3321.435
24/11/2023 17:00 | 3656.362 | 3967.796 | 3344.928
24/11/2023 17:30 | 3627.213 | 3936.859 | 3317.567
24/11/2023 18:00 | 3571.386 | 3876.951 | 3265.821
24/11/2023 18:30 | 3522.752 | 3824.832 | 3220.673
24/11/2023 19:00 | 3471.547 | 3769.9 | 3173.193
24/11/2023 19:30 | 3357.66 | 3646.869 | 3068.45
24/11/2023 20:00 | 3237.754 | 3517.256 | 2958.252
24/11/2023 20:30 | 3113.358 | 3382.719 | 2843.998
24/11/2023 21:00 | 2981.991 | 3240.557 | 2723.425
24/11/2023 21:30 | 2843.351 | 3090.44 | 2596.261
24/11/2023 22:00 | 2711.681 | 2947.848 | 2475.514
24/11/2023 22:30 | 2591.388 | 2817.576 | 2365.201
24/11/2023 23:00 | 2487.794 | 2705.416 | 2270.172
24/11/2023 23:30 | 2395.819 | 2608.698 | 2182.94
25/11/2023 00:00 | 2311.639 | 2522.798 | 2100.479
25/11/2023 00:30 | 2244.796 | 2449.49 | 2040.102
25/11/2023 01:00 | 2193.155 | 2393.252 | 1993.059
25/11/2023 01:30 | 2150.928 | 2347.281 | 1954.574
25/11/2023 02:00 | 2119.339 | 2312.917 | 1925.761
25/11/2023 02:30 | 2090.433 | 2281.477 | 1899.389
25/11/2023 03:00 | 2064.053 | 2252.792 | 1875.314
25/11/2023 03:30 | 2049.054 | 2236.525 | 1861.582
25/11/2023 04:00 | 2034.729 | 2220.994 | 1848.464
25/11/2023 04:30 | 1999.561 | 2182.708 | 1816.413
25/11/2023 05:00 | 1943.206 | 2121.29 | 1765.121
25/11/2023 05:30 | 1878.517 | 2050.769 | 1706.265
25/11/2023 06:00 | 1799.053 | 1964.11 | 1633.996
25/11/2023 06:30 | 1720.476 | 1878.412 | 1562.54
25/11/2023 07:00 | 1653.38 | 1805.24 | 1501.519
25/11/2023 07:30 | 1597.909 | 1744.756 | 1451.062
25/11/2023 08:00 | 1575.027 | 1719.852 | 1430.203
25/11/2023 08:30 | 1550.045 | 1692.652 | 1407.439
25/11/2023 09:00 | 1541.307 | 1683.188 | 1399.425
25/11/2023 09:30 | 1542.73 | 1684.822 | 1400.64
25/11/2023 10:00 | 1541.586 | 1683.651 | 1399.522
25/11/2023 10:30 | 1587.263 | 1733.618 | 1440.909
25/11/2023 11:00 | 1688.546 | 1844.325 | 1532.766
25/11/2023 11:30 | 1777.61 | 1941.697 | 1613.523
25/11/2023 12:00 | 1836.787 | 2006.43 | 1667.145
25/11/2023 12:30 | 1926.162 | 2104.158 | 1748.167
25/11/2023 13:00 | 2036.045 | 2224.298 | 1847.791
25/11/2023 13:30 | 2153.625 | 2352.86 | 1954.39
25/11/2023 14:00 | 2320.052 | 2534.801 | 2105.302
25/11/2023 14:30 | 2485.217 | 2715.381 | 2255.052
25/11/2023 15:00 | 2662.716 | 2909.455 | 2415.977
25/11/2023 15:30 | 2847.806 | 3111.842 | 2583.771
25/11/2023 16:00 | 3006.8 | 3285.729 | 2727.87
25/11/2023 16:30 | 3146.149 | 3438.166 | 2854.132
25/11/2023 17:00 | 3226.816 | 3526.485 | 2927.147
25/11/2023 17:30 | 3266.203 | 3569.696 | 2962.71
25/11/2023 18:00 | 3256.735 | 3559.515 | 2953.956
25/11/2023 18:30 | 3218.525 | 3517.916 | 2919.134
25/11/2023 19:00 | 3165.686 | 3460.323 | 2871.048
25/11/2023 19:30 | 3069.015 | 3354.812 | 2783.219
25/11/2023 20:00 | 2970.635 | 3247.422 | 2693.849
25/11/2023 20:30 | 2882.806 | 3151.556 | 2614.056
25/11/2023 21:00 | 2785.339 | 3045.145 | 2525.533
25/11/2023 21:30 | 2674.961 | 2924.607 | 2425.315
25/11/2023 22:00 | 2567.811 | 2807.588 | 2328.033
25/11/2023 22:30 | 2466.164 | 2696.575 | 2235.753
25/11/2023 23:00 | 2372.306 | 2594.07 | 2150.543
25/11/2023 23:30 | 2291.98 | 2506.352 | 2077.609
26/11/2023 00:00 | 2217.158 | 2424.645 | 2009.672
26/11/2023 00:30 | 2156.322 | 2358.225 | 1954.419
26/11/2023 01:00 | 2109.853 | 2307.513 | 1912.194
26/11/2023 01:30 | 2072.163 | 2266.397 | 1877.929
26/11/2023 02:00 | 2040.987 | 2232.403 | 1849.571
26/11/2023 02:30 | 2016.284 | 2205.486 | 1827.082
26/11/2023 03:00 | 1996.097 | 2183.506 | 1808.687
26/11/2023 03:30 | 1979.278 | 2165.209 | 1793.346
26/11/2023 04:00 | 1957.928 | 2141.953 | 1773.903
26/11/2023 04:30 | 1912.878 | 2092.766 | 1732.989
26/11/2023 05:00 | 1850.842 | 2024.992 | 1676.693
26/11/2023 05:30 | 1772.431 | 1939.293 | 1605.57
26/11/2023 06:00 | 1656.513 | 1812.546 | 1500.48
26/11/2023 06:30 | 1554.769 | 1701.298 | 1408.24
26/11/2023 07:00 | 1470.884 | 1609.582 | 1332.186
26/11/2023 07:30 | 1389.08 | 1520.331 | 1257.828
26/11/2023 08:00 | 1355.403 | 1484.111 | 1226.694
26/11/2023 08:30 | 1326.838 | 1453.427 | 1200.249
26/11/2023 09:00 | 1310.001 | 1435.57 | 1184.431
26/11/2023 09:30 | 1327.95 | 1455.834 | 1200.066
26/11/2023 10:00 | 1374.43 | 1507.405 | 1241.455
26/11/2023 10:30 | 1421.01 | 1559.128 | 1282.893
26/11/2023 11:00 | 1515.051 | 1662.987 | 1367.115
26/11/2023 11:30 | 1613.621 | 1771.903 | 1455.338
26/11/2023 12:00 | 1683.377 | 1849.255 | 1517.499
26/11/2023 12:30 | 1785.343 | 1962.068 | 1608.618
26/11/2023 13:00 | 1885.353 | 2072.821 | 1697.884
26/11/2023 13:30 | 1996.939 | 2196.397 | 1797.482
26/11/2023 14:00 | 2162.049 | 2378.965 | 1945.133
26/11/2023 14:30 | 2337.456 | 2573.017 | 2101.896
26/11/2023 15:00 | 2518.515 | 2773.449 | 2263.581
26/11/2023 15:30 | 2712.897 | 2988.721 | 2437.073
26/11/2023 16:00 | 2900.799 | 3197.025 | 2604.573
26/11/2023 16:30 | 3059.951 | 3373.799 | 2746.103
26/11/2023 17:00 | 3170.359 | 3496.95 | 2843.768
26/11/2023 17:30 | 3226.434 | 3560.245 | 2892.623
26/11/2023 18:00 | 3221.094 | 3555.793 | 2886.394
26/11/2023 18:30 | 3177.405 | 3508.987 | 2845.823
26/11/2023 19:00 | 3114.698 | 3441.13 | 2788.266
26/11/2023 19:30 | 3015.074 | 3332.414 | 2697.734
26/11/2023 20:00 | 2901.661 | 3228.372 | 2594.959
26/11/2023 20:30 | 2787.762 | 3100.747 | 2491.852
26/11/2023 21:00 | 2662.696 | 2960.652 | 2378.87
26/11/2023 21:30 | 2539.21 | 2822.677 | 2267.411
26/11/2023 22:00 | 2422.476 | 2692.829 | 2162.088
26/11/2023 22:30 | 2323.427 | 2582.776 | 2072.645
26/11/2023 23:00 | 2243.706 | 2493.914 | 2000.525
26/11/2023 23:30 | 2171.708 | 2414.799 | 1933.947
27/11/2023 00:00 | 2107.461 | 2345.74 | 1873.161
27/11/2023 00:30 | 2057.556 | 2289.925 | 1828.357
27/11/2023 01:00 | 2023 | 2251.478 | 1796.972
27/11/2023 01:30 | 1999.36 | 2225.614 | 1775.302
27/11/2023 02:00 | 1979.942 | 2204.539 | 1757.397
27/11/2023 02:30 | 1966.698 | 2190.261 | 1744.982
27/11/2023 03:00 | 1956.101 | 2178.807 | 1734.924
27/11/2023 03:30 | 1960.851 | 2184.617 | 1738.479
27/11/2023 04:00 | 1979.36 | 2205.666 | 1754.226
27/11/2023 04:30 | 2001.3 | 2230.866 | 1772.999
27/11/2023 05:00 | 2011.577 | 2243.332 | 1781.429
27/11/2023 05:30 | 1997.091 | 2227.63 | 1767.931
27/11/2023 06:00 | 1963.277 | 2190.026 | 1737.339
27/11/2023 06:30 | 1913.187 | 2134.019 | 1692.371
27/11/2023 07:00 | 1845.198 | 2058.218 | 1631.611
27/11/2023 07:30 | 1760.997 | 1965.02 | 1556.567