## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
21/11/2023 08:00 | 1541.86 | 1564.956 | 1521.356
21/11/2023 08:30 | 1465.368 | 1490.425 | 1440.311 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
21/11/2023 09:00 | 1422.593 | 1451.148 | 1394.038 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
21/11/2023 09:30 | 1394.393 | 1426.527 | 1362.26 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
21/11/2023 10:00 | 1396.158 | 1432.483 | 1359.833 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
21/11/2023 10:30 | 1419.383 | 1459.517 | 1379.25 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
21/11/2023 11:00 | 1477.828 | 1520.857 | 1434.799 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
21/11/2023 11:30 | 1548.987 | 1595.579 | 1502.394 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
21/11/2023 12:00 | 1631.497 | 1682.143 | 1580.851 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
21/11/2023 12:30 | 1743.009 | 1798.795 | 1687.223 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
21/11/2023 13:00 | 1854.717 | 1915.864 | 1805.834 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
21/11/2023 13:30 | 2004.898 | 2085.867 | 1948.959
21/11/2023 14:00 | 2171.519 | 2259.927 | 2107.526 | Summary view - for each schedule horizon (dispatch, week-ahead)
21/11/2023 14:30 | 2357.58 | 2454.684 | 2284.738
21/11/2023 15:00 | 2560.98 | 2667.612 | 2478.14 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
21/11/2023 15:30 | 2755.995 | 2872.434 | 2663.272 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
21/11/2023 16:00 | 2931.043 | 3056.63 | 2828.594 | Scenario | Violations
21/11/2023 16:30 | 3088.482 | 3221.915 | 2975.801 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
21/11/2023 17:00 | 3204.724 | 3343.92 | 3082.534 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
21/11/2023 17:30 | 3265.892 | 3407.895 | 3135.452 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21/11/2023 18:00 | 3275.509 | 3417.656 | 3138.371 | High Demand Scenario | 0 | 0 | 4 | 4 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0
21/11/2023 18:30 | 3254.356 | 3396.225 | 3113.948 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21/11/2023 19:00 | 3201.999 | 3342.303 | 3062.319
21/11/2023 19:30 | 3101.735 | 3238.838 | 2965.195 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
21/11/2023 20:00 | 2987.753 | 3120.946 | 2855.023
21/11/2023 20:30 | 2858.49 | 2986.808 | 2730.172 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
21/11/2023 21:00 | 2720.481 | 2843.668 | 2597.294 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
21/11/2023 21:30 | 2588.918 | 2707.161 | 2470.675 | [15 empty] | 23/11/2023 17:00 | 23/11/2023 17:00 |  |  | 23/11/2023 17:00
21/11/2023 22:00 | 2464.885 | 2578.428 | 2351.342 | [15 empty] | 23/11/2023 17:30 | 23/11/2023 17:30 |  |  | 23/11/2023 17:30
21/11/2023 22:30 | 2363.497 | 2473.295 | 2253.699 | [15 empty] | 23/11/2023 18:00 | 23/11/2023 18:00 |  |  | 23/11/2023 18:00
21/11/2023 23:00 | 2291.792 | 2399.155 | 2184.428 | [15 empty] | 23/11/2023 18:30 | 23/11/2023 18:30 |  |  | 23/11/2023 18:30
21/11/2023 23:30 | 2236.289 | 2341.928 | 2130.65 | [19 empty] | 23/11/2023 19:00
22/11/2023 00:00 | 2191.577 | 2295.961 | 2087.192 | [19 empty] | 24/11/2023 16:30
22/11/2023 00:30 | 2151.336 | 2254.646 | 2048.026 | [19 empty] | 24/11/2023 17:00
22/11/2023 01:00 | 2122.918 | 2225.694 | 2020.142
22/11/2023 01:30 | 2092.156 | 2194.261 | 1990.05
22/11/2023 02:00 | 2064.227 | 2165.777 | 1962.676
22/11/2023 02:30 | 2050.352 | 2152.022 | 1948.682
22/11/2023 03:00 | 2042.632 | 2144.719 | 1940.545
22/11/2023 03:30 | 2046.882 | 2149.982 | 1943.781
22/11/2023 04:00 | 2063.492 | 2168.237 | 1958.747
22/11/2023 04:30 | 2085.294 | 2191.962 | 1978.626
22/11/2023 05:00 | 2093.28 | 2201.176 | 1985.384
22/11/2023 05:30 | 2087.613 | 2196.033 | 1979.192
22/11/2023 06:00 | 2089.007 | 2198.318 | 1979.697
22/11/2023 06:30 | 2069.24 | 2178.159 | 1960.32
22/11/2023 07:00 | 2025.141 | 2132.044 | 1918.236
22/11/2023 07:30 | 1953.749 | 2057.207 | 1850.291
22/11/2023 08:00 | 1902.739 | 2003.81 | 1801.667
22/11/2023 08:30 | 1863.332 | 1962.617 | 1764.046
22/11/2023 09:00 | 1850.594 | 1949.506 | 1751.681
22/11/2023 09:30 | 1854.626 | 1954.061 | 1755.192
22/11/2023 10:00 | 1861.175 | 1961.268 | 1761.082
22/11/2023 10:30 | 1911.809 | 2014.941 | 1808.678
22/11/2023 11:00 | 2019.432 | 2128.702 | 1910.161
22/11/2023 11:30 | 2120.127 | 2235.197 | 2005.058
22/11/2023 12:00 | 2223.586 | 2344.638 | 2102.535
22/11/2023 12:30 | 2329.281 | 2456.471 | 2202.091
22/11/2023 13:00 | 2444.239 | 2578.11 | 2310.368
22/11/2023 13:30 | 2621.965 | 2766.003 | 2477.927
22/11/2023 14:00 | 2825.618 | 2981.31 | 2669.925
22/11/2023 14:30 | 2997.971 | 3163.655 | 2832.287
22/11/2023 15:00 | 3201.966 | 3379.452 | 3024.479
22/11/2023 15:30 | 3385.956 | 3574.2 | 3197.711
22/11/2023 16:00 | 3544.167 | 3741.792 | 3346.542
22/11/2023 16:30 | 3655.774 | 3860.226 | 3451.322
22/11/2023 17:00 | 3727.54 | 3936.62 | 3518.458
22/11/2023 17:30 | 3746.529 | 3957.293 | 3535.764
22/11/2023 18:00 | 3736.091 | 3946.885 | 3525.297
22/11/2023 18:30 | 3707.567 | 3917.365 | 3497.77
22/11/2023 19:00 | 3649.968 | 3855.641 | 3442.828
22/11/2023 19:30 | 3541.056 | 3741.299 | 3339.512
22/11/2023 20:00 | 3409.6 | 3603.055 | 3214.975
22/11/2023 20:30 | 3253.75 | 3438.979 | 3067.483
22/11/2023 21:00 | 3088.66 | 3265.078 | 2911.334
22/11/2023 21:30 | 2923.477 | 3091.025 | 2755.153
22/11/2023 22:00 | 2763.434 | 2922.333 | 2603.868
22/11/2023 22:30 | 2628.468 | 2780.132 | 2476.261
22/11/2023 23:00 | 2533.037 | 2679.721 | 2385.938
22/11/2023 23:30 | 2459.219 | 2602.438 | 2316.256
23/11/2023 00:00 | 2395.439 | 2535.338 | 2255.682
23/11/2023 00:30 | 2339.452 | 2476.468 | 2202.514
23/11/2023 01:00 | 2298.919 | 2433.94 | 2163.897
23/11/2023 01:30 | 2261.8 | 2395.015 | 2128.585
23/11/2023 02:00 | 2227.273 | 2358.822 | 2095.724
23/11/2023 02:30 | 2203.885 | 2334.416 | 2073.354
23/11/2023 03:00 | 2185.653 | 2315.465 | 2055.84
23/11/2023 03:30 | 2178.382 | 2307.34 | 2048.641
23/11/2023 04:00 | 2186.811 | 2316.631 | 2056.208
23/11/2023 04:30 | 2206.028 | 2337.356 | 2073.913
23/11/2023 05:00 | 2201.196 | 2332.601 | 2069.006
23/11/2023 05:30 | 2184.861 | 2315.651 | 2053.292
23/11/2023 06:00 | 2190.362 | 2321.841 | 2058.1
23/11/2023 06:30 | 2172.958 | 2303.749 | 2041.346
23/11/2023 07:00 | 2124.518 | 2252.743 | 1995.37
23/11/2023 07:30 | 2038.203 | 2161.608 | 1913.856
23/11/2023 08:00 | 1963.35 | 2082.683 | 1843.141
23/11/2023 08:30 | 1920.114 | 2037.235 | 1802.133
23/11/2023 09:00 | 1882.784 | 1998.038 | 1766.685
23/11/2023 09:30 | 1890.316 | 2006.444 | 1773.34
23/11/2023 10:00 | 1925.494 | 2044.203 | 1805.92
23/11/2023 10:30 | 1972.375 | 2094.405 | 1849.459
23/11/2023 11:00 | 2069.277 | 2197.78 | 1939.891
23/11/2023 11:30 | 2217.058 | 2355.222 | 2077.945
23/11/2023 12:00 | 2325.701 | 2471.144 | 2179.263
23/11/2023 12:30 | 2376.763 | 2525.918 | 2226.591
23/11/2023 13:00 | 2487.676 | 2644.335 | 2329.952
23/11/2023 13:30 | 2695.429 | 2865.761 | 2525.098
23/11/2023 14:00 | 2917.169 | 3102.151 | 2732.188
23/11/2023 14:30 | 3100.395 | 3297.672 | 2903.118
23/11/2023 15:00 | 3323.935 | 3536.163 | 3111.708
23/11/2023 15:30 | 3510.98 | 3735.917 | 3286.043
23/11/2023 16:00 | 3679.208 | 3915.726 | 3442.689
23/11/2023 16:30 | 3829.623 | 4076.648 | 3582.598
23/11/2023 17:00 | 3905.428 | 4158.196 | 3652.66
23/11/2023 17:30 | 3911.25 | 4165.249 | 3657.25
23/11/2023 18:00 | 3878.253 | 4130.957 | 3625.549
23/11/2023 18:30 | 3846.025 | 4097.469 | 3594.581
23/11/2023 19:00 | 3798.534 | 4047.703 | 3549.365
23/11/2023 19:30 | 3681.826 | 3924.144 | 3439.508
23/11/2023 20:00 | 3536.124 | 3769.625 | 3302.623
23/11/2023 20:30 | 3361.205 | 3583.889 | 3138.52
23/11/2023 21:00 | 3185.275 | 3397 | 2973.55
23/11/2023 21:30 | 3012.529 | 3213.43 | 2811.628
23/11/2023 22:00 | 2843.51 | 3033.761 | 2653.26
23/11/2023 22:30 | 2703.782 | 2885.274 | 2522.289
23/11/2023 23:00 | 2600.441 | 2775.565 | 2425.317
23/11/2023 23:30 | 2511.987 | 2681.703 | 2342.271
24/11/2023 00:00 | 2438.556 | 2603.844 | 2273.269
24/11/2023 00:30 | 2379.35 | 2541.145 | 2217.556
24/11/2023 01:00 | 2337.382 | 2496.833 | 2177.931
24/11/2023 01:30 | 2295.686 | 2452.795 | 2138.578
24/11/2023 02:00 | 2259.517 | 2414.644 | 2104.39
24/11/2023 02:30 | 2234.16 | 2388.035 | 2080.286
24/11/2023 03:00 | 2212.536 | 2365.404 | 2059.668
24/11/2023 03:30 | 2209.253 | 2362.377 | 2056.129
24/11/2023 04:00 | 2219.431 | 2373.746 | 2065.117
24/11/2023 04:30 | 2230.866 | 2386.463 | 2075.269
24/11/2023 05:00 | 2223.069 | 2378.608 | 2067.531
24/11/2023 05:30 | 2222.423 | 2378.402 | 2066.444
24/11/2023 06:00 | 2249.947 | 2408.349 | 2091.544
24/11/2023 06:30 | 2255.93 | 2415.246 | 2096.613
24/11/2023 07:00 | 2226.903 | 2384.656 | 2069.149
24/11/2023 07:30 | 2167.925 | 2321.974 | 2013.876
24/11/2023 08:00 | 2180.966 | 2336.418 | 2025.514
24/11/2023 08:30 | 2225.138 | 2384.225 | 2066.052
24/11/2023 09:00 | 2241.914 | 2402.69 | 2081.138
24/11/2023 09:30 | 2212.594 | 2371.75 | 2053.437
24/11/2023 10:00 | 2246.004 | 2408.054 | 2083.953
24/11/2023 10:30 | 2340.016 | 2509.36 | 2170.671
24/11/2023 11:00 | 2418.798 | 2594.372 | 2243.223
24/11/2023 11:30 | 2510.67 | 2693.462 | 2327.878
24/11/2023 12:00 | 2571.401 | 2759.176 | 2383.625
24/11/2023 12:30 | 2610.868 | 2802.096 | 2419.64
24/11/2023 13:00 | 2674.543 | 2871.02 | 2478.067
24/11/2023 13:30 | 2834.91 | 3043.786 | 2626.033
24/11/2023 14:00 | 3036.388 | 3260.773 | 2812.003
24/11/2023 14:30 | 3187.426 | 3423.668 | 2951.184
24/11/2023 15:00 | 3367.6 | 3617.932 | 3117.268
24/11/2023 15:30 | 3521.915 | 3784.488 | 3259.343
24/11/2023 16:00 | 3642.112 | 3914.442 | 3369.783
24/11/2023 16:30 | 3714.691 | 3993.259 | 3436.123
24/11/2023 17:00 | 3717.26 | 3996.833 | 3437.687
24/11/2023 17:30 | 3662.422 | 3938.671 | 3386.173
24/11/2023 18:00 | 3593.421 | 3865.25 | 3321.592
24/11/2023 18:30 | 3545.914 | 3814.924 | 3276.903
24/11/2023 19:00 | 3498.402 | 3764.572 | 3232.232
24/11/2023 19:30 | 3382.748 | 3640.857 | 3124.638
24/11/2023 20:00 | 3261.862 | 3511.461 | 3012.263
24/11/2023 20:30 | 3134.578 | 3375.122 | 2894.034
24/11/2023 21:00 | 3000.609 | 3231.528 | 2769.69
24/11/2023 21:30 | 2859.939 | 3080.657 | 2639.221
24/11/2023 22:00 | 2726.591 | 2937.614 | 2515.569
24/11/2023 22:30 | 2606.402 | 2808.692 | 2404.112
24/11/2023 23:00 | 2503.708 | 2698.574 | 2308.841
24/11/2023 23:30 | 2412.265 | 2607.127 | 2217.402
25/11/2023 00:00 | 2328.102 | 2529.28 | 2126.925
25/11/2023 00:30 | 2260.775 | 2455.623 | 2065.926
25/11/2023 01:00 | 2209.278 | 2400.216 | 2018.34
25/11/2023 01:30 | 2165.558 | 2353.235 | 1977.881
25/11/2023 02:00 | 2132.733 | 2318.074 | 1947.392
25/11/2023 02:30 | 2103.912 | 2287.251 | 1920.573
25/11/2023 03:00 | 2076.931 | 2258.415 | 1895.447
25/11/2023 03:30 | 2060.647 | 2241.2 | 1880.093
25/11/2023 04:00 | 2045.041 | 2224.716 | 1865.366
25/11/2023 04:30 | 2010.241 | 2187.339 | 1833.144
25/11/2023 05:00 | 1952.632 | 2125.12 | 1780.143
25/11/2023 05:30 | 1888.475 | 2055.748 | 1721.203
25/11/2023 06:00 | 1813.526 | 1974.593 | 1652.459
25/11/2023 06:30 | 1736.22 | 1890.835 | 1581.604
25/11/2023 07:00 | 1672.761 | 1822.125 | 1523.397
25/11/2023 07:30 | 1619.715 | 1764.621 | 1474.809
25/11/2023 08:00 | 1598.582 | 1741.661 | 1455.503
25/11/2023 08:30 | 1580.318 | 1721.843 | 1438.793
25/11/2023 09:00 | 1576.062 | 1717.285 | 1434.838
25/11/2023 09:30 | 1577.404 | 1718.828 | 1435.979
25/11/2023 10:00 | 1581.26 | 1723.111 | 1439.409
25/11/2023 10:30 | 1632.913 | 1779.481 | 1486.346
25/11/2023 11:00 | 1735.867 | 1891.765 | 1579.97
25/11/2023 11:30 | 1828.611 | 1992.931 | 1664.292
25/11/2023 12:00 | 1893.556 | 2063.808 | 1723.304
25/11/2023 12:30 | 1985.768 | 2164.413 | 1807.124
25/11/2023 13:00 | 2091.314 | 2279.561 | 1903.068
25/11/2023 13:30 | 2208.399 | 2394.706 | 2009.501
25/11/2023 14:00 | 2387.556 | 2588.759 | 2172.401
25/11/2023 14:30 | 2563.89 | 2781.271 | 2332.714
25/11/2023 15:00 | 2732.997 | 2965.403 | 2486.433
25/11/2023 15:30 | 2874.875 | 3119.734 | 2615.365
25/11/2023 16:00 | 3010.344 | 3267.824 | 2738.452
25/11/2023 16:30 | 3148.746 | 3418.862 | 2864.193
25/11/2023 17:00 | 3219.841 | 3496.722 | 2928.699
25/11/2023 17:30 | 3246.561 | 3526.084 | 2952.838
25/11/2023 18:00 | 3233.91 | 3512.956 | 2941.166
25/11/2023 18:30 | 3207.99 | 3484.783 | 2917.429
25/11/2023 19:00 | 3172.482 | 3445.5 | 2884.976
25/11/2023 19:30 | 3080.661 | 3346.067 | 2801.319
25/11/2023 20:00 | 2987.282 | 3244.965 | 2716.254
25/11/2023 20:30 | 2904.655 | 3155.377 | 2640.976
25/11/2023 21:00 | 2811.146 | 3054.146 | 2555.812
25/11/2023 21:30 | 2703.472 | 2937.837 | 2457.78
25/11/2023 22:00 | 2595.459 | 2821.017 | 2359.452
25/11/2023 22:30 | 2494.991 | 2712.517 | 2267.991
25/11/2023 23:00 | 2408.287 | 2619.151 | 2189.053
25/11/2023 23:30 | 2331.094 | 2543.419 | 2124.933
26/11/2023 00:00 | 2267.123 | 2473.737 | 2065.808
26/11/2023 00:30 | 2211.785 | 2413.468 | 2014.779
26/11/2023 01:00 | 2168.622 | 2366.48 | 1974.988
26/11/2023 01:30 | 2127.516 | 2321.733 | 1937.272
26/11/2023 02:00 | 2093.414 | 2284.624 | 1905.951
26/11/2023 02:30 | 2066.739 | 2255.618 | 1881.412
26/11/2023 03:00 | 2044.807 | 2231.785 | 1861.189
26/11/2023 03:30 | 2027.026 | 2212.482 | 1844.748
26/11/2023 04:00 | 2004.976 | 2188.517 | 1821.435
26/11/2023 04:30 | 1958.789 | 2138.202 | 1779.376
26/11/2023 05:00 | 1894.832 | 2068.483 | 1721.18
26/11/2023 05:30 | 1822.485 | 1989.599 | 1655.371
26/11/2023 06:00 | 1721.409 | 1879.343 | 1563.475
26/11/2023 06:30 | 1631.651 | 1781.433 | 1481.869
26/11/2023 07:00 | 1563.385 | 1706.979 | 1419.79
26/11/2023 07:30 | 1499.608 | 1637.421 | 1361.794
26/11/2023 08:00 | 1484.801 | 1621.329 | 1348.272
26/11/2023 08:30 | 1477.752 | 1613.707 | 1341.796
26/11/2023 09:00 | 1477.815 | 1613.851 | 1341.778
26/11/2023 09:30 | 1510.634 | 1649.768 | 1371.499
26/11/2023 10:00 | 1571.436 | 1716.251 | 1426.621
26/11/2023 10:30 | 1632.787 | 1783.339 | 1482.235
26/11/2023 11:00 | 1733.839 | 1893.797 | 1573.881
26/11/2023 11:30 | 1839.66 | 2009.474 | 1669.846
26/11/2023 12:00 | 1915.631 | 2092.555 | 1738.706
26/11/2023 12:30 | 2019.572 | 2206.2 | 1832.945
26/11/2023 13:00 | 2117.398 | 2313.174 | 1921.623
26/11/2023 13:30 | 2230.472 | 2436.816 | 2024.128
26/11/2023 14:00 | 2396.392 | 2618.208 | 2174.576
26/11/2023 14:30 | 2562.843 | 2800.197 | 2325.49
26/11/2023 15:00 | 2738.956 | 2984.489 | 2485.152
26/11/2023 15:30 | 2931.064 | 3194.927 | 2659.309
26/11/2023 16:00 | 3106.52 | 3386.848 | 2818.339
26/11/2023 16:30 | 3240.771 | 3533.964 | 2939.971
26/11/2023 17:00 | 3319.397 | 3620.555 | 3011.13
26/11/2023 17:30 | 3343.49 | 3647.17 | 3032.815
26/11/2023 18:00 | 3320.458 | 3621.532 | 3011.754
26/11/2023 18:30 | 3274.72 | 3571.477 | 2970.102
26/11/2023 19:00 | 3214.99 | 3506.304 | 2915.763
26/11/2023 19:30 | 3110.877 | 3391.94 | 2821.183
26/11/2023 20:00 | 2993.331 | 3263.34 | 2714.43
26/11/2023 20:30 | 2874.758 | 3133.781 | 2606.758
26/11/2023 21:00 | 2745.129 | 2992.241 | 2489.074
26/11/2023 21:30 | 2616.256 | 2851.833 | 2372.089
26/11/2023 22:00 | 2492.095 | 2716.744 | 2259.388
26/11/2023 22:30 | 2388.488 | 2604.168 | 2165.334
26/11/2023 23:00 | 2307.85 | 2516.791 | 2092.112
26/11/2023 23:30 | 2237.283 | 2443.226 | 2025.305
27/11/2023 00:00 | 2173.957 | 2380.372 | 1962.521
27/11/2023 00:30 | 2124.283 | 2326.487 | 1917.695
27/11/2023 01:00 | 2090.294 | 2289.851 | 1886.61
27/11/2023 01:30 | 2064.95 | 2262.789 | 1863.341
27/11/2023 02:00 | 2041.76 | 2241.497 | 1844.879
27/11/2023 02:30 | 2026.763 | 2225.421 | 1830.82
27/11/2023 03:00 | 2015.561 | 2213.507 | 1820.282
27/11/2023 03:30 | 2020.93 | 2219.791 | 1824.398
27/11/2023 04:00 | 2039.467 | 2240.542 | 1840.555
27/11/2023 04:30 | 2058.541 | 2261.892 | 1857.082
27/11/2023 05:00 | 2072.611 | 2277.749 | 1868.942
27/11/2023 05:30 | 2093.274 | 2300.859 | 1887.283
27/11/2023 06:00 | 2121.799 | 2332.618 | 1912.634
27/11/2023 06:30 | 2131.577 | 2343.777 | 1920.992
27/11/2023 07:00 | 2123.31 | 2335.094 | 1912.987
27/11/2023 07:30 | 2097.451 | 2307.165 | 1887.737
27/11/2023 08:00 | 2095.488 | 2305.726 | 1885.249
27/11/2023 08:30 | 2091.147 | 2301.652 | 1880.643
27/11/2023 09:00 | 2116.12 | 2329.848 | 1902.392
27/11/2023 09:30 | 2173.705 | 2393.977 | 1953.432
27/11/2023 10:00 | 2192.978 | 2415.939 | 1970.017
27/11/2023 10:30 | 2158.907 | 2379.128 | 1938.687
27/11/2023 11:00 | 2201.36 | 2426.65 | 1976.071
27/11/2023 11:30 | 2298.36 | 2534.347 | 2062.374
27/11/2023 12:00 | 2392.287 | 2638.72 | 2145.854
27/11/2023 12:30 | 2589.366 | 2856.969 | 2321.763
27/11/2023 13:00 | 2725.989 | 3008.625 | 2443.353
27/11/2023 13:30 | 2789.758 | 3079.941 | 2499.574
27/11/2023 14:00 | 2891.514 | 3193.251 | 2589.776
27/11/2023 14:30 | 2981.361 | 3293.474 | 2669.249
27/11/2023 15:00 | 3068.266 | 3390.506 | 2746.027
27/11/2023 15:30 | 3122.171 | 3451.118 | 2793.223
27/11/2023 16:00 | 3152.024 | 3485.174 | 2818.874
27/11/2023 16:30 | 3159.221 | 3494.19 | 2824.251
27/11/2023 17:00 | 3135.826 | 3469.367 | 2802.286
27/11/2023 17:30 | 3081.252 | 3410.021 | 2752.483
27/11/2023 18:00 | 3018.144 | 3341.191 | 2695.096
27/11/2023 18:30 | 2990.653 | 3311.761 | 2669.546
27/11/2023 19:00 | 2957.512 | 3276.053 | 2638.971
27/11/2023 19:30 | 2851.021 | 3159.048 | 2542.994
27/11/2023 20:00 | 2739.137 | 3035.994 | 2442.279
27/11/2023 20:30 | 2623.603 | 2908.819 | 2338.387
27/11/2023 21:00 | 2503.958 | 2777.006 | 2230.909
27/11/2023 21:30 | 2391.425 | 2653.005 | 2129.846
27/11/2023 22:00 | 2287.359 | 2538.322 | 2036.396
27/11/2023 22:30 | 2203.401 | 2445.891 | 1960.911
27/11/2023 23:00 | 2135.605 | 2371.351 | 1899.86
27/11/2023 23:30 | 2074.273 | 2303.943 | 1844.603
28/11/2023 00:00 | 2017.479 | 2241.538 | 1793.421
28/11/2023 00:30 | 1975.204 | 2195.23 | 1755.179
28/11/2023 01:00 | 1947.893 | 2165.529 | 1730.256
28/11/2023 01:30 | 1924.859 | 2140.567 | 1709.151
28/11/2023 02:00 | 1908.942 | 2123.507 | 1694.378
28/11/2023 02:30 | 1898.996 | 2113.08 | 1684.913
28/11/2023 03:00 | 1892.33 | 2106.296 | 1678.364
28/11/2023 03:30 | 1898.048 | 2113.298 | 1682.799
28/11/2023 04:00 | 1917.493 | 2135.59 | 1699.395
28/11/2023 04:30 | 1937.132 | 2158.113 | 1716.151
28/11/2023 05:00 | 1953.529 | 2177.036 | 1730.023
28/11/2023 05:30 | 1989.406 | 2217.685 | 1761.128
28/11/2023 06:00 | 2030.712 | 2264.411 | 1797.013
28/11/2023 06:30 | 2034.696 | 2269.535 | 1799.856
28/11/2023 07:00 | 2047.638 | 2284.657 | 1810.618
28/11/2023 07:30 | 2063.793 | 2303.374 | 1824.211