## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
23/11/2023 08:00 | 1974.53 | 1995.46 | 1939.866
23/11/2023 08:30 | 1939.367 | 1972.529 | 1906.204 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
23/11/2023 09:00 | 1953.884 | 1993.103 | 1914.665 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
23/11/2023 09:30 | 2005.727 | 2051.949 | 1959.505 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
23/11/2023 10:00 | 2118.108 | 2173.217 | 2063 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
23/11/2023 10:30 | 2229.719 | 2292.765 | 2166.673 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
23/11/2023 11:00 | 2362.518 | 2446.399 | 2293.73 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
23/11/2023 11:30 | 2499.354 | 2577.745 | 2427.199 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
23/11/2023 12:00 | 2664.792 | 2742.428 | 2577.291 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
23/11/2023 12:30 | 2901.279 | 2986.74 | 2801.485 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
23/11/2023 13:00 | 3096.118 | 3191.712 | 2987.976 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
23/11/2023 13:30 | 3220.982 | 3328.946 | 3110.446
23/11/2023 14:00 | 3350.146 | 3465.822 | 3232.099 | Summary view - for each schedule horizon (dispatch, week-ahead)
23/11/2023 14:30 | 3485.047 | 3609.273 | 3359.391
23/11/2023 15:00 | 3617.796 | 3751.007 | 3484.585 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
23/11/2023 15:30 | 3704.448 | 3844.417 | 3564.479 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
23/11/2023 16:00 | 3769.557 | 3915.617 | 3623.497 | Scenario | Violations
23/11/2023 16:30 | 3848.574 | 4001.403 | 3695.746 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
23/11/2023 17:00 | 3899.605 | 4058.215 | 3740.985 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
23/11/2023 17:30 | 3889.81 | 4051.768 | 3727.822 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
23/11/2023 18:00 | 3832.364 | 3995.622 | 3669.073 | High Demand Scenario | 0 | 0 | 3 | 2 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0
23/11/2023 18:30 | 3784.556 | 3948.652 | 3620.458 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23/11/2023 19:00 | 3726.695 | 3889.627 | 3563.794
23/11/2023 19:30 | 3593.399 | 3751.908 | 3434.917 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
23/11/2023 20:00 | 3438.916 | 3591.956 | 3285.9
23/11/2023 20:30 | 3258.06 | 3404.326 | 3111.816 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
23/11/2023 21:00 | 3075.508 | 3214.781 | 2936.253 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
23/11/2023 21:30 | 2906.039 | 3038.774 | 2773.319 | [9 empty] | 23/11/2023 17:00 | [5 empty] | 23/11/2023 17:00 | 23/11/2023 17:00 |  |  | 23/11/2023 17:00
23/11/2023 22:00 | 2748.652 | 2875.274 | 2622.044 | [15 empty] | 23/11/2023 17:30 | 23/11/2023 17:30 |  |  | 23/11/2023 17:30
23/11/2023 22:30 | 2616.538 | 2738.097 | 2494.991 | [15 empty] | 23/11/2023 18:00 |  |  |  | 23/11/2023 18:00
23/11/2023 23:00 | 2512.038 | 2629.725 | 2394.361 | [19 empty] | 23/11/2023 18:30
23/11/2023 23:30 | 2421.231 | 2535.612 | 2306.861
24/11/2023 00:00 | 2339.098 | 2450.514 | 2227.692
24/11/2023 00:30 | 2275.426 | 2384.699 | 2166.161
24/11/2023 01:00 | 2230.262 | 2338.24 | 2122.293
24/11/2023 01:30 | 2192.583 | 2299.594 | 2085.58
24/11/2023 02:00 | 2162.747 | 2269.148 | 2056.353
24/11/2023 02:30 | 2142.734 | 2248.985 | 2036.483
24/11/2023 03:00 | 2127.08 | 2233.388 | 2020.773
24/11/2023 03:30 | 2129.596 | 2236.863 | 2022.329
24/11/2023 04:00 | 2142.812 | 2251.583 | 2034.04
24/11/2023 04:30 | 2154.077 | 2264.263 | 2043.891
24/11/2023 05:00 | 2161.712 | 2273.135 | 2050.289
24/11/2023 05:30 | 2174.306 | 2287.229 | 2060.603
24/11/2023 06:00 | 2184.034 | 2298.317 | 2069.043
24/11/2023 06:30 | 2184.979 | 2299.99 | 2069.263
24/11/2023 07:00 | 2175.711 | 2290.564 | 2060.016
24/11/2023 07:30 | 2130.032 | 2242.826 | 2016.182
24/11/2023 08:00 | 2112.105 | 2224.298 | 1998.642
24/11/2023 08:30 | 2106.668 | 2218.92 | 1993.006
24/11/2023 09:00 | 2110.553 | 2221.561 | 1996.129
24/11/2023 09:30 | 2134.581 | 2246.969 | 2018.289
24/11/2023 10:00 | 2184.077 | 2299.188 | 2064.51
24/11/2023 10:30 | 2248.322 | 2367.013 | 2124.709
24/11/2023 11:00 | 2338.484 | 2462.295 | 2209.506
24/11/2023 11:30 | 2422.161 | 2550.723 | 2288.097
24/11/2023 12:00 | 2483.925 | 2616.049 | 2345.921
24/11/2023 12:30 | 2572.761 | 2709.995 | 2429.361
24/11/2023 13:00 | 2662.552 | 2804.989 | 2513.685
24/11/2023 13:30 | 2764.51 | 2916.379 | 2612.641
24/11/2023 14:00 | 2887.314 | 3046.406 | 2728.223
24/11/2023 14:30 | 3009.276 | 3175.585 | 2842.967
24/11/2023 15:00 | 3150.201 | 3324.818 | 2975.584
24/11/2023 15:30 | 3284.981 | 3467.612 | 3102.351
24/11/2023 16:00 | 3385.487 | 3574.263 | 3196.709
24/11/2023 16:30 | 3474.307 | 3668.611 | 3280.004
24/11/2023 17:00 | 3492.827 | 3688.743 | 3298.065
24/11/2023 17:30 | 3446.742 | 3640.642 | 3253.98
24/11/2023 18:00 | 3381.649 | 3572.446 | 3191.97
24/11/2023 18:30 | 3332.968 | 3521.568 | 3145.468
24/11/2023 19:00 | 3274.6 | 3459.356 | 3089.843
24/11/2023 19:30 | 3161.219 | 3340.1 | 2982.337
24/11/2023 20:00 | 3045.721 | 3218.569 | 2872.872
24/11/2023 20:30 | 2916.604 | 3082.607 | 2750.602
24/11/2023 21:00 | 2783.245 | 2942.116 | 2624.373
24/11/2023 21:30 | 2658.118 | 2810.287 | 2505.95
24/11/2023 22:00 | 2542.554 | 2688.527 | 2396.582
24/11/2023 22:30 | 2440.155 | 2580.651 | 2299.659
24/11/2023 23:00 | 2347.898 | 2483.47 | 2212.325
24/11/2023 23:30 | 2263.925 | 2399.559 | 2128.292
25/11/2023 00:00 | 2189.379 | 2329.616 | 2049.141
25/11/2023 00:30 | 2132.262 | 2268.522 | 1996.001
25/11/2023 01:00 | 2090.229 | 2224.202 | 1956.255
25/11/2023 01:30 | 2054.604 | 2186.687 | 1922.521
25/11/2023 02:00 | 2027.961 | 2158.719 | 1897.204
25/11/2023 02:30 | 2006.311 | 2136.055 | 1876.566
25/11/2023 03:00 | 1988.169 | 2117.121 | 1859.218
25/11/2023 03:30 | 1978.794 | 2107.515 | 1850.072
25/11/2023 04:00 | 1967.066 | 2095.4 | 1838.731
25/11/2023 04:30 | 1936.988 | 2063.73 | 1810.245
25/11/2023 05:00 | 1897.797 | 2022.337 | 1773.256
25/11/2023 05:30 | 1854.654 | 1976.718 | 1732.59
25/11/2023 06:00 | 1783.717 | 1901.453 | 1665.981
25/11/2023 06:30 | 1716.228 | 1829.837 | 1602.619
25/11/2023 07:00 | 1661.583 | 1771.892 | 1551.274
25/11/2023 07:30 | 1604.024 | 1710.846 | 1497.202
25/11/2023 08:00 | 1588.873 | 1695.07 | 1482.676
25/11/2023 08:30 | 1587.663 | 1694.158 | 1481.168
25/11/2023 09:00 | 1601.173 | 1708.957 | 1493.389
25/11/2023 09:30 | 1640.201 | 1751.004 | 1529.398
25/11/2023 10:00 | 1669.67 | 1782.863 | 1556.478
25/11/2023 10:30 | 1715.458 | 1832.164 | 1598.751
25/11/2023 11:00 | 1832.791 | 1957.917 | 1707.664
25/11/2023 11:30 | 1925.614 | 2057.537 | 1793.69
25/11/2023 12:00 | 1982.646 | 2118.951 | 1846.342
25/11/2023 12:30 | 2064.991 | 2207.45 | 1922.532
25/11/2023 13:00 | 2199.615 | 2351.887 | 2047.343
25/11/2023 13:30 | 2467.504 | 2638.91 | 2296.097
25/11/2023 14:00 | 2749.764 | 2941.435 | 2558.094
25/11/2023 14:30 | 2895.833 | 3098.376 | 2693.289
25/11/2023 15:00 | 3021.593 | 3233.655 | 2809.531
25/11/2023 15:30 | 3111.123 | 3330.212 | 2892.035
25/11/2023 16:00 | 3177.552 | 3402.078 | 2953.027
25/11/2023 16:30 | 3210.602 | 3438.229 | 2982.974
25/11/2023 17:00 | 3227.539 | 3457.138 | 2997.94
25/11/2023 17:30 | 3244.727 | 3476.324 | 3013.13
25/11/2023 18:00 | 3215.18 | 3445.436 | 2984.924
25/11/2023 18:30 | 3191.933 | 3421.286 | 2962.579
25/11/2023 19:00 | 3168.37 | 3396.787 | 2939.952
25/11/2023 19:30 | 3084.805 | 3307.935 | 2861.675
25/11/2023 20:00 | 2998.314 | 3215.904 | 2780.724
25/11/2023 20:30 | 2910.171 | 3122.06 | 2698.283
25/11/2023 21:00 | 2815.017 | 3020.65 | 2609.384
25/11/2023 21:30 | 2710.423 | 2909.063 | 2511.783
25/11/2023 22:00 | 2603.72 | 2795.162 | 2412.278
25/11/2023 22:30 | 2504.745 | 2689.508 | 2319.982
25/11/2023 23:00 | 2420.37 | 2599.487 | 2241.252
25/11/2023 23:30 | 2350.904 | 2525.442 | 2176.365
26/11/2023 00:00 | 2290.162 | 2460.737 | 2119.586
26/11/2023 00:30 | 2237.684 | 2404.885 | 2070.483
26/11/2023 01:00 | 2194.621 | 2359.129 | 2030.113
26/11/2023 01:30 | 2150.706 | 2312.436 | 1988.976
26/11/2023 02:00 | 2114.662 | 2274.186 | 1955.137
26/11/2023 02:30 | 2086.683 | 2244.595 | 1928.77
26/11/2023 03:00 | 2065.772 | 2222.596 | 1908.949
26/11/2023 03:30 | 2047.553 | 2203.482 | 1891.624
26/11/2023 04:00 | 2024.521 | 2179.18 | 1869.863
26/11/2023 04:30 | 1977.106 | 2128.615 | 1825.598
26/11/2023 05:00 | 1914.481 | 2061.649 | 1767.314
26/11/2023 05:30 | 1845.99 | 1988.334 | 1703.647
26/11/2023 06:00 | 1746.959 | 1882.083 | 1611.834
26/11/2023 06:30 | 1671.378 | 1801.055 | 1541.7
26/11/2023 07:00 | 1630.561 | 1757.461 | 1503.661
26/11/2023 07:30 | 1602.391 | 1727.481 | 1477.3
26/11/2023 08:00 | 1625.746 | 1753.048 | 1498.444
26/11/2023 08:30 | 1665.629 | 1796.452 | 1534.806
26/11/2023 09:00 | 1715.81 | 1850.984 | 1580.636
26/11/2023 09:30 | 1815.119 | 1958.551 | 1671.688
26/11/2023 10:00 | 1902.465 | 2053.253 | 1751.677
26/11/2023 10:30 | 1945.08 | 2099.711 | 1790.45
26/11/2023 11:00 | 2054.151 | 2217.943 | 1890.359
26/11/2023 11:30 | 2168.234 | 2341.64 | 1994.827
26/11/2023 12:00 | 2254.801 | 2435.669 | 2073.932
26/11/2023 12:30 | 2396.705 | 2589.529 | 2203.881
26/11/2023 13:00 | 2500.645 | 2702.428 | 2298.862
26/11/2023 13:30 | 2584.568 | 2793.741 | 2375.396
26/11/2023 14:00 | 2724.566 | 2945.719 | 2503.412
26/11/2023 14:30 | 2896.437 | 3132.233 | 2660.641
26/11/2023 15:00 | 3074.092 | 3325.085 | 2823.098
26/11/2023 15:30 | 3287.825 | 3557.055 | 3018.595
26/11/2023 16:00 | 3469.024 | 3753.92 | 3184.128
26/11/2023 16:30 | 3580.557 | 3875.468 | 3285.646
26/11/2023 17:00 | 3655.017 | 3956.934 | 3353.099
26/11/2023 17:30 | 3685.598 | 3990.922 | 3380.275
26/11/2023 18:00 | 3661.372 | 3965.564 | 3357.181
26/11/2023 18:30 | 3597.688 | 3897.448 | 3297.928
26/11/2023 19:00 | 3512 | 3805.46 | 3218.541
26/11/2023 19:30 | 3408.269 | 3693.874 | 3122.663
26/11/2023 20:00 | 3284.409 | 3560.42 | 3008.398
26/11/2023 20:30 | 3150.369 | 3415.868 | 2884.87
26/11/2023 21:00 | 3005.226 | 3259.211 | 2751.24
26/11/2023 21:30 | 2857.954 | 3100.176 | 2615.733
26/11/2023 22:00 | 2714.153 | 2944.834 | 2483.471
26/11/2023 22:30 | 2595 | 2816.175 | 2373.826
26/11/2023 23:00 | 2501.437 | 2715.234 | 2287.639
26/11/2023 23:30 | 2417.779 | 2622.926 | 2217.155
27/11/2023 00:00 | 2341.611 | 2526.27 | 2159.426
27/11/2023 00:30 | 2285.608 | 2466.441 | 2106.218
27/11/2023 01:00 | 2246.091 | 2423.872 | 2069.312
27/11/2023 01:30 | 2214.152 | 2390.541 | 2039.403
27/11/2023 02:00 | 2187.596 | 2362.532 | 2014.465
27/11/2023 02:30 | 2166.519 | 2340.349 | 1994.583
27/11/2023 03:00 | 2148.455 | 2321.451 | 1977.482
27/11/2023 03:30 | 2146.691 | 2320.186 | 1975.391
27/11/2023 04:00 | 2161.023 | 2336.17 | 1988.106
27/11/2023 04:30 | 2178.789 | 2355.824 | 2003.975
27/11/2023 05:00 | 2185.342 | 2362.881 | 2009.525
27/11/2023 05:30 | 2186.692 | 2364.009 | 2010.288
27/11/2023 06:00 | 2196.263 | 2376.138 | 2018.608
27/11/2023 06:30 | 2193.357 | 2374.942 | 2015.457
27/11/2023 07:00 | 2169.832 | 2350.262 | 1993.366
27/11/2023 07:30 | 2126.631 | 2300.028 | 1949.674
27/11/2023 08:00 | 2120.621 | 2293.931 | 1947.311
27/11/2023 08:30 | 2114.484 | 2287.697 | 1941.27
27/11/2023 09:00 | 2116.538 | 2290.325 | 1942.75
27/11/2023 09:30 | 2123.756 | 2298.543 | 1948.969
27/11/2023 10:00 | 2137.915 | 2314.277 | 1961.553
27/11/2023 10:30 | 2165.961 | 2345.052 | 1986.87
27/11/2023 11:00 | 2227.539 | 2412.148 | 2042.93
27/11/2023 11:30 | 2288.594 | 2478.702 | 2098.486
27/11/2023 12:00 | 2308.904 | 2501.141 | 2116.666
27/11/2023 12:30 | 2363.957 | 2561.231 | 2166.682
27/11/2023 13:00 | 2451.688 | 2656.753 | 2246.622
27/11/2023 13:30 | 2626.531 | 2846.725 | 2406.338
27/11/2023 14:00 | 2848.157 | 3087.476 | 2608.838
27/11/2023 14:30 | 3013.544 | 3267.337 | 2759.751
27/11/2023 15:00 | 3138.887 | 3403.838 | 2873.936
27/11/2023 15:30 | 3178.318 | 3447.207 | 2909.43
27/11/2023 16:00 | 3214.292 | 3486.841 | 2941.744
27/11/2023 16:30 | 3245.902 | 3521.753 | 2970.052
27/11/2023 17:00 | 3271.817 | 3550.497 | 2993.137
27/11/2023 17:30 | 3268.729 | 3547.773 | 2989.686
27/11/2023 18:00 | 3227.411 | 3503.546 | 2951.276
27/11/2023 18:30 | 3199.699 | 3474.076 | 2925.322
27/11/2023 19:00 | 3166.388 | 3438.516 | 2894.261
27/11/2023 19:30 | 3058.312 | 3321.738 | 2794.887
27/11/2023 20:00 | 2938.76 | 3192.45 | 2685.069
27/11/2023 20:30 | 2818.653 | 3062.516 | 2574.79
27/11/2023 21:00 | 2689.764 | 2922.992 | 2456.537
27/11/2023 21:30 | 2562.12 | 2784.77 | 2339.469
27/11/2023 22:00 | 2440.887 | 2653.47 | 2228.304
27/11/2023 22:30 | 2345.148 | 2549.843 | 2140.454
27/11/2023 23:00 | 2271.876 | 2470.611 | 2073.142
27/11/2023 23:30 | 2207.562 | 2401.094 | 2014.031
28/11/2023 00:00 | 2146.853 | 2335.473 | 1958.232
28/11/2023 00:30 | 2097.967 | 2282.695 | 1913.239
28/11/2023 01:00 | 2065.237 | 2247.479 | 1882.995
28/11/2023 01:30 | 2036.987 | 2217.127 | 1856.848
28/11/2023 02:00 | 2015.019 | 2193.601 | 1836.436
28/11/2023 02:30 | 2000.185 | 2177.836 | 1822.533
28/11/2023 03:00 | 1988.222 | 2165.192 | 1811.252
28/11/2023 03:30 | 1988.472 | 2165.846 | 1811.099
28/11/2023 04:00 | 2003.967 | 2183.107 | 1824.828
28/11/2023 04:30 | 2021.684 | 2202.795 | 1840.573
28/11/2023 05:00 | 2023.908 | 2205.606 | 1842.21
28/11/2023 05:30 | 2021.348 | 2203.204 | 1839.492
28/11/2023 06:00 | 2009.334 | 2190.494 | 1828.174
28/11/2023 06:30 | 1951.768 | 2128.112 | 1775.425
28/11/2023 07:00 | 1874.198 | 2043.892 | 1704.503
28/11/2023 07:30 | 1768.601 | 1929.073 | 1608.128
28/11/2023 08:00 | 1669.757 | 1821.581 | 1517.933
28/11/2023 08:30 | 1587.094 | 1731.707 | 1442.482
28/11/2023 09:00 | 1532.594 | 1672.534 | 1392.654
28/11/2023 09:30 | 1479.722 | 1615.118 | 1344.327
28/11/2023 10:00 | 1439.641 | 1571.645 | 1307.637
28/11/2023 10:30 | 1423.353 | 1554.137 | 1292.57
28/11/2023 11:00 | 1433.841 | 1565.863 | 1301.819
28/11/2023 11:30 | 1451.751 | 1585.701 | 1317.802
28/11/2023 12:00 | 1477.827 | 1614.466 | 1341.188
28/11/2023 12:30 | 1565.415 | 1710.451 | 1420.378
28/11/2023 13:00 | 1658.798 | 1812.804 | 1504.791
28/11/2023 13:30 | 1800.418 | 1967.918 | 1632.917
28/11/2023 14:00 | 1988.059 | 2173.397 | 1802.72
28/11/2023 14:30 | 2126.731 | 2325.405 | 1928.057
28/11/2023 15:00 | 2291.685 | 2506.207 | 2077.162
28/11/2023 15:30 | 2435.125 | 2663.542 | 2206.709
28/11/2023 16:00 | 2537.882 | 2776.424 | 2299.34
28/11/2023 16:30 | 2576.458 | 2819.119 | 2333.796
28/11/2023 17:00 | 2598.489 | 2843.723 | 2353.255
28/11/2023 17:30 | 2616.658 | 2864.108 | 2369.207
28/11/2023 18:00 | 2621.538 | 2869.952 | 2373.123
28/11/2023 18:30 | 2639.045 | 2889.625 | 2388.466
28/11/2023 19:00 | 2647.38 | 2899.258 | 2395.502
28/11/2023 19:30 | 2568.913 | 2813.818 | 2324.008
28/11/2023 20:00 | 2481.955 | 2719.045 | 2244.864
28/11/2023 20:30 | 2398.848 | 2628.46 | 2169.237
28/11/2023 21:00 | 2307.138 | 2528.414 | 2085.863
28/11/2023 21:30 | 2215.213 | 2428.097 | 2002.33
28/11/2023 22:00 | 2127.338 | 2332.185 | 1922.492
28/11/2023 22:30 | 2054.67 | 2252.913 | 1856.427
28/11/2023 23:00 | 1999.363 | 2192.652 | 1806.073
28/11/2023 23:30 | 1952.065 | 2141.156 | 1762.974
29/11/2023 00:00 | 1908.445 | 2093.677 | 1723.213
29/11/2023 00:30 | 1874.511 | 2056.808 | 1692.213
29/11/2023 01:00 | 1854.369 | 2035.063 | 1673.675
29/11/2023 01:30 | 1835.96 | 2015.213 | 1656.708
29/11/2023 02:00 | 1820.333 | 1998.409 | 1642.258
29/11/2023 02:30 | 1814.137 | 1991.954 | 1636.32
29/11/2023 03:00 | 1813.377 | 1991.467 | 1635.287
29/11/2023 03:30 | 1822.261 | 2001.573 | 1642.95
29/11/2023 04:00 | 1842.507 | 2024.164 | 1660.85
29/11/2023 04:30 | 1870.232 | 2054.981 | 1685.483
29/11/2023 05:00 | 1884.9 | 2071.459 | 1698.34
29/11/2023 05:30 | 1887.689 | 2074.886 | 1700.492
29/11/2023 06:00 | 1880.475 | 2067.317 | 1693.633
29/11/2023 06:30 | 1832.065 | 2014.448 | 1649.681
29/11/2023 07:00 | 1738.411 | 1911.805 | 1565.018
29/11/2023 07:30 | 1581.846 | 1740.007 | 1423.685
29/11/2023 08:00 | 1447.283 | 1592.488 | 1302.079
29/11/2023 08:30 | 1345.297 | 1480.721 | 1209.874
29/11/2023 09:00 | 1275.673 | 1404.515 | 1146.83
29/11/2023 09:30 | 1231.52 | 1356.316 | 1106.724
29/11/2023 10:00 | 1193.237 | 1314.553 | 1071.92
29/11/2023 10:30 | 1170.05 | 1289.402 | 1050.699
29/11/2023 11:00 | 1202.049 | 1325.068 | 1079.03
29/11/2023 11:30 | 1241.605 | 1369.089 | 1114.122
29/11/2023 12:00 | 1271.913 | 1402.934 | 1140.891
29/11/2023 12:30 | 1328.382 | 1465.666 | 1191.098
29/11/2023 13:00 | 1408.266 | 1554.279 | 1262.254
29/11/2023 13:30 | 1553.573 | 1715.171 | 1391.974
29/11/2023 14:00 | 1714.173 | 1893.052 | 1535.294
29/11/2023 14:30 | 1845.419 | 2038.612 | 1652.226
29/11/2023 15:00 | 2006.475 | 2217.202 | 1795.749
29/11/2023 15:30 | 2147.528 | 2373.789 | 1921.268
29/11/2023 16:00 | 2288.43 | 2530.303 | 2046.557
29/11/2023 16:30 | 2425.527 | 2682.703 | 2168.35
29/11/2023 17:00 | 2538.461 | 2808.463 | 2268.459
29/11/2023 17:30 | 2610.564 | 2889.111 | 2332.018
29/11/2023 18:00 | 2642.956 | 2925.845 | 2360.067
29/11/2023 18:30 | 2655.664 | 2940.804 | 2370.524
29/11/2023 19:00 | 2643.394 | 2928.102 | 2358.685
29/11/2023 19:30 | 2575.832 | 2854.127 | 2297.536
29/11/2023 20:00 | 2492.631 | 2762.773 | 2222.489
29/11/2023 20:30 | 2404.378 | 2665.761 | 2142.994
29/11/2023 21:00 | 2311.244 | 2563.278 | 2059.21
29/11/2023 21:30 | 2219.813 | 2462.621 | 1977.005
29/11/2023 22:00 | 2132.312 | 2366.263 | 1898.36
29/11/2023 22:30 | 2062.365 | 2289.334 | 1835.396
29/11/2023 23:00 | 2011.2 | 2233.212 | 1789.187
29/11/2023 23:30 | 1967.621 | 2185.482 | 1749.759
30/11/2023 00:00 | 1933.764 | 2148.525 | 1719.003
30/11/2023 00:30 | 1906.236 | 2118.579 | 1693.893
30/11/2023 01:00 | 1887.154 | 2098.004 | 1676.304
30/11/2023 01:30 | 1869.649 | 2079.17 | 1660.127
30/11/2023 02:00 | 1855.527 | 2064.088 | 1646.966
30/11/2023 02:30 | 1847.519 | 2055.799 | 1639.239
30/11/2023 03:00 | 1845.069 | 2053.692 | 1636.446
30/11/2023 03:30 | 1853.659 | 2063.874 | 1643.443
30/11/2023 04:00 | 1874.309 | 2087.495 | 1661.123
30/11/2023 04:30 | 1901.57 | 2118.494 | 1684.646
30/11/2023 05:00 | 1913.34 | 2132.248 | 1694.432
30/11/2023 05:30 | 1898.41 | 2116.246 | 1680.573
30/11/2023 06:00 | 1867.925 | 2082.889 | 1652.96
30/11/2023 06:30 | 1807.407 | 2016.014 | 1598.801
30/11/2023 07:00 | 1710.979 | 1909.03 | 1512.929
30/11/2023 07:30 | 1567.335 | 1749.283 | 1385.386