## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
26/11/2023 08:00 | 1446.01 | 1473.35 | 1424.597
26/11/2023 08:30 | 1396.964 | 1425.806 | 1368.122 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
26/11/2023 09:00 | 1372.535 | 1406.12 | 1338.95 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
26/11/2023 09:30 | 1373.263 | 1412.116 | 1334.411 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
26/11/2023 10:00 | 1416.757 | 1462.257 | 1371.258 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
26/11/2023 10:30 | 1469.353 | 1520.704 | 1418.001 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
26/11/2023 11:00 | 1559.329 | 1586.329 | 1476.612 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
26/11/2023 11:30 | 1646.339 | 1687.568 | 1567.575 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
26/11/2023 12:00 | 1706.126 | 1766.216 | 1637.213 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
26/11/2023 12:30 | 1757.58 | 1824.147 | 1687.389 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
26/11/2023 13:00 | 1810.32 | 1881.188 | 1736.527 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
26/11/2023 13:30 | 1881.401 | 1957.4 | 1803.112
26/11/2023 14:00 | 2011.916 | 2095.524 | 1926.326 | Summary view - for each schedule horizon (dispatch, week-ahead)
26/11/2023 14:30 | 2175.018 | 2267.496 | 2080.067
26/11/2023 15:00 | 2310.917 | 2412.95 | 2208.883 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
26/11/2023 15:30 | 2438.617 | 2548.828 | 2328.405 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
26/11/2023 16:00 | 2578.929 | 2698.168 | 2459.691 | Scenario | Violations
26/11/2023 16:30 | 2723.789 | 2852.562 | 2595.016 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
26/11/2023 17:00 | 2854.687 | 2992.622 | 2716.752 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
26/11/2023 17:30 | 2946.85 | 3092.307 | 2801.393 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 6 | 0 | 0
26/11/2023 18:00 | 2936.427 | 3084.428 | 2788.426 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26/11/2023 18:30 | 2878.468 | 3025.748 | 2731.187 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26/11/2023 19:00 | 2813.059 | 2957.6 | 2668.517
26/11/2023 19:30 | 2704.175 | 2843.833 | 2564.516 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
26/11/2023 20:00 | 2588.564 | 2722.934 | 2454.195
26/11/2023 20:30 | 2472.762 | 2601.772 | 2343.753 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
26/11/2023 21:00 | 2363.572 | 2487.507 | 2239.637 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
26/11/2023 21:30 | 2273.718 | 2393.54 | 2153.896 | [9 empty] | 29/11/2023 10:00 | 29/11/2023 10:00
26/11/2023 22:00 | 2185.495 | 2301.243 | 2069.746 | [9 empty] | 29/11/2023 10:30 | 29/11/2023 10:30
26/11/2023 22:30 | 2114.232 | 2226.763 | 2001.702 | [9 empty] | 29/11/2023 11:00 | 29/11/2023 11:00
26/11/2023 23:00 | 2063.339 | 2173.704 | 1952.974 | [9 empty] | 29/11/2023 11:30 | 29/11/2023 11:30
26/11/2023 23:30 | 2018.053 | 2121.903 | 1914.203 | [9 empty] | 29/11/2023 12:00 | 29/11/2023 12:00
27/11/2023 00:00 | 1976.818 | 2070.184 | 1883.451 | [9 empty] | 29/11/2023 12:30 | 29/11/2023 12:30
27/11/2023 00:30 | 1945.177 | 2038.587 | 1851.767
27/11/2023 01:00 | 1922.739 | 2015.824 | 1829.654
27/11/2023 01:30 | 1904.208 | 1997.141 | 1811.275
27/11/2023 02:00 | 1890.117 | 1983.102 | 1797.131
27/11/2023 02:30 | 1881.355 | 1974.645 | 1788.064
27/11/2023 03:00 | 1878.06 | 1971.922 | 1784.198
27/11/2023 03:30 | 1887.277 | 1982.338 | 1792.215
27/11/2023 04:00 | 1909.729 | 2006.668 | 1812.789
27/11/2023 04:30 | 1933.934 | 2032.859 | 1835.009
27/11/2023 05:00 | 1952.559 | 2053.201 | 1851.917
27/11/2023 05:30 | 1975.153 | 2077.739 | 1872.573
27/11/2023 06:00 | 2009.333 | 2114.481 | 1904.192
27/11/2023 06:30 | 2040.741 | 2148.167 | 1933.322
27/11/2023 07:00 | 2032.18 | 2139.456 | 1924.898
27/11/2023 07:30 | 1945.304 | 2048.316 | 1842.288
27/11/2023 08:00 | 1865.854 | 1964.966 | 1766.738
27/11/2023 08:30 | 1795.769 | 1891.455 | 1700.08
27/11/2023 09:00 | 1724.287 | 1816.449 | 1632.125
27/11/2023 09:30 | 1646.622 | 1734.905 | 1558.34
27/11/2023 10:00 | 1581.157 | 1666.191 | 1496.124
27/11/2023 10:30 | 1549.761 | 1633.362 | 1466.16
27/11/2023 11:00 | 1573.176 | 1658.3 | 1488.052
27/11/2023 11:30 | 1638.456 | 1727.382 | 1549.529
27/11/2023 12:00 | 1675.247 | 1766.447 | 1584.047
27/11/2023 12:30 | 1724.014 | 1818.153 | 1629.874
27/11/2023 13:00 | 1783.931 | 1881.637 | 1686.225
27/11/2023 13:30 | 1862.682 | 1965.008 | 1760.355
27/11/2023 14:00 | 1958.781 | 2066.71 | 1850.852
27/11/2023 14:30 | 2048.606 | 2161.823 | 1935.389
27/11/2023 15:00 | 2149.999 | 2269.175 | 2030.824
27/11/2023 15:30 | 2249.523 | 2374.587 | 2124.46
27/11/2023 16:00 | 2346.991 | 2477.861 | 2216.121
27/11/2023 16:30 | 2443.306 | 2579.949 | 2306.662
27/11/2023 17:00 | 2525.742 | 2667.413 | 2384.071
27/11/2023 17:30 | 2581.435 | 2726.656 | 2436.213
27/11/2023 18:00 | 2601.509 | 2748.289 | 2454.729
27/11/2023 18:30 | 2607.694 | 2755.253 | 2460.134
27/11/2023 19:00 | 2585.646 | 2732.385 | 2438.907
27/11/2023 19:30 | 2512.189 | 2654.239 | 2369.204
27/11/2023 20:00 | 2428.064 | 2565.824 | 2289.467
27/11/2023 20:30 | 2341.31 | 2474.579 | 2207.278
27/11/2023 21:00 | 2249.085 | 2378.209 | 2120.576
27/11/2023 21:30 | 2160.051 | 2284.42 | 2036.229
27/11/2023 22:00 | 2076.857 | 2196.779 | 1957.424
27/11/2023 22:30 | 2009.059 | 2125.398 | 1893.142
27/11/2023 23:00 | 1957.212 | 2070.872 | 1843.888
27/11/2023 23:30 | 1913.548 | 2024.988 | 1802.353
28/11/2023 00:00 | 1874.189 | 1983.646 | 1764.884
28/11/2023 00:30 | 1843.995 | 1951.993 | 1736.095
28/11/2023 01:00 | 1826.341 | 1933.607 | 1719.14
28/11/2023 01:30 | 1811.879 | 1918.594 | 1705.226
28/11/2023 02:00 | 1801.402 | 1907.798 | 1695.067
28/11/2023 02:30 | 1797.174 | 1903.617 | 1690.79
28/11/2023 03:00 | 1797.075 | 1903.809 | 1690.399
28/11/2023 03:30 | 1807.958 | 1915.637 | 1700.337
28/11/2023 04:00 | 1831.177 | 1940.541 | 1721.869
28/11/2023 04:30 | 1856.927 | 1968.135 | 1745.774
28/11/2023 05:00 | 1872.044 | 1984.466 | 1759.677
28/11/2023 05:30 | 1887.896 | 2001.582 | 1774.268
28/11/2023 06:00 | 1910.485 | 2025.846 | 1795.184
28/11/2023 06:30 | 1899.931 | 2015.005 | 1784.921
28/11/2023 07:00 | 1842.892 | 1954.921 | 1730.927
28/11/2023 07:30 | 1704.798 | 1808.804 | 1600.827
28/11/2023 08:00 | 1621.516 | 1720.795 | 1522.234
28/11/2023 08:30 | 1638.926 | 1739.63 | 1538.223
28/11/2023 09:00 | 1570.024 | 1666.837 | 1473.211
28/11/2023 09:30 | 1383.522 | 1469.137 | 1297.907
28/11/2023 10:00 | 1243.248 | 1320.454 | 1166.042
28/11/2023 10:30 | 1209.193 | 1284.549 | 1133.838
28/11/2023 11:00 | 1210.36 | 1286.052 | 1134.667
28/11/2023 11:30 | 1213.685 | 1289.851 | 1137.519
28/11/2023 12:00 | 1207.971 | 1284.042 | 1131.9
28/11/2023 12:30 | 1232.016 | 1309.871 | 1154.162
28/11/2023 13:00 | 1258.39 | 1338.187 | 1178.594
28/11/2023 13:30 | 1294.407 | 1376.769 | 1212.044
28/11/2023 14:00 | 1409.875 | 1499.894 | 1319.857
28/11/2023 14:30 | 1571.272 | 1671.939 | 1470.606
28/11/2023 15:00 | 1729.953 | 1841.164 | 1618.743
28/11/2023 15:30 | 1853.61 | 1973.175 | 1734.045
28/11/2023 16:00 | 1987.767 | 2116.42 | 1859.115
28/11/2023 16:30 | 2142.942 | 2282.106 | 2003.778
28/11/2023 17:00 | 2274.289 | 2422.479 | 2126.098
28/11/2023 17:30 | 2373.414 | 2528.582 | 2218.246
28/11/2023 18:00 | 2428.896 | 2587.285 | 2269.57
28/11/2023 18:30 | 2449.75 | 2610.03 | 2288.521
28/11/2023 19:00 | 2439.539 | 2599.693 | 2278.448
28/11/2023 19:30 | 2383.216 | 2540.187 | 2225.324
28/11/2023 20:00 | 2310.944 | 2463.649 | 2157.335
28/11/2023 20:30 | 2236.467 | 2384.725 | 2087.32
28/11/2023 21:00 | 2154.831 | 2298.136 | 2010.658
28/11/2023 21:30 | 2074.295 | 2212.688 | 1935.057
28/11/2023 22:00 | 1997.894 | 2131.619 | 1863.348
28/11/2023 22:30 | 1936.146 | 2066.158 | 1805.335
28/11/2023 23:00 | 1890.255 | 2017.552 | 1762.091
28/11/2023 23:30 | 1852.598 | 1977.764 | 1726.585
29/11/2023 00:00 | 1818.082 | 1941.313 | 1694.021
29/11/2023 00:30 | 1791.362 | 1913.173 | 1668.737
29/11/2023 01:00 | 1776.969 | 1898.19 | 1654.943
29/11/2023 01:30 | 1762.23 | 1882.831 | 1640.838
29/11/2023 02:00 | 1749.707 | 1869.833 | 1628.804
29/11/2023 02:30 | 1746.339 | 1866.616 | 1625.288
29/11/2023 03:00 | 1748.802 | 1869.629 | 1627.198
29/11/2023 03:30 | 1759.524 | 1881.477 | 1636.792
29/11/2023 04:00 | 1782.006 | 1905.907 | 1657.316
29/11/2023 04:30 | 1813.466 | 1939.95 | 1686.171
29/11/2023 05:00 | 1829.755 | 1957.776 | 1700.939
29/11/2023 05:30 | 1821.772 | 1949.632 | 1693.163
29/11/2023 06:00 | 1801.606 | 1928.444 | 1674.035
29/11/2023 06:30 | 1758.582 | 1882.775 | 1633.69
29/11/2023 07:00 | 1661.178 | 1778.856 | 1542.865
29/11/2023 07:30 | 1491.248 | 1597.213 | 1384.743
29/11/2023 08:00 | 1365.177 | 1462.482 | 1267.406
29/11/2023 08:30 | 1284.773 | 1376.628 | 1192.517
29/11/2023 09:00 | 1207.229 | 1293.803 | 1120.325
29/11/2023 09:30 | 1118.132 | 1198.562 | 1037.483
29/11/2023 10:00 | 1038.834 | 1113.787 | 963.7522
29/11/2023 10:30 | 991.7919 | 1063.567 | 919.8674
29/11/2023 11:00 | 1006.292 | 1079.337 | 933.0589
29/11/2023 11:30 | 1019.181 | 1093.383 | 944.7699
29/11/2023 12:00 | 1017.568 | 1091.875 | 943.0033
29/11/2023 12:30 | 1044.975 | 1121.512 | 968.1479
29/11/2023 13:00 | 1087.606 | 1167.503 | 1007.376
29/11/2023 13:30 | 1153.699 | 1238.704 | 1068.24
29/11/2023 14:00 | 1245.386 | 1337.418 | 1152.745
29/11/2023 14:30 | 1353.368 | 1453.675 | 1252.404
29/11/2023 15:00 | 1515.702 | 1628.373 | 1402.232
29/11/2023 15:30 | 1702.124 | 1829.024 | 1574.291
29/11/2023 16:00 | 1892.972 | 2034.515 | 1750.382
29/11/2023 16:30 | 2083.698 | 2239.956 | 1926.285
29/11/2023 17:00 | 2245.831 | 2414.738 | 2075.693
29/11/2023 17:30 | 2361.394 | 2539.509 | 2181.999
29/11/2023 18:00 | 2429.223 | 2612.985 | 2244.144
29/11/2023 18:30 | 2456.064 | 2642.393 | 2268.411
29/11/2023 19:00 | 2438.724 | 2624.27 | 2251.858
29/11/2023 19:30 | 2386.923 | 2569.05 | 2204.797
29/11/2023 20:00 | 2316.572 | 2493.836 | 2139.307
29/11/2023 20:30 | 2240.535 | 2412.471 | 2068.599
29/11/2023 21:00 | 2157.477 | 2323.51 | 1991.443
29/11/2023 21:30 | 2075.327 | 2235.492 | 1915.162
29/11/2023 22:00 | 1998.455 | 2153.124 | 1843.786
29/11/2023 22:30 | 1935.987 | 2086.244 | 1785.73
29/11/2023 23:00 | 1887.516 | 2034.423 | 1740.608
29/11/2023 23:30 | 1843.012 | 1986.858 | 1699.165
30/11/2023 00:00 | 1806.069 | 1947.426 | 1664.711
30/11/2023 00:30 | 1779.677 | 1919.357 | 1639.996
30/11/2023 01:00 | 1763.26 | 1902.038 | 1624.482
30/11/2023 01:30 | 1750.525 | 1888.683 | 1612.368
30/11/2023 02:00 | 1741.536 | 1879.365 | 1603.707
30/11/2023 02:30 | 1738.171 | 1876.113 | 1600.229
30/11/2023 03:00 | 1741.123 | 1879.68 | 1602.566
30/11/2023 03:30 | 1754.112 | 1894.086 | 1614.138
30/11/2023 04:00 | 1776.69 | 1918.853 | 1634.526
30/11/2023 04:30 | 1805.909 | 1950.805 | 1661.013
30/11/2023 05:00 | 1823.895 | 1970.633 | 1677.157
30/11/2023 05:30 | 1810.124 | 1956.149 | 1664.098
30/11/2023 06:00 | 1774.493 | 1918.032 | 1630.955
30/11/2023 06:30 | 1714.73 | 1853.809 | 1575.651
30/11/2023 07:00 | 1620.118 | 1751.878 | 1488.359
30/11/2023 07:30 | 1480.993 | 1601.747 | 1360.239
30/11/2023 08:00 | 1360.383 | 1471.561 | 1249.204
30/11/2023 08:30 | 1253.795 | 1356.502 | 1151.087
30/11/2023 09:00 | 1176.77 | 1273.394 | 1080.146
30/11/2023 09:30 | 1129.596 | 1222.563 | 1036.63
30/11/2023 10:00 | 1096.69 | 1187.159 | 1006.221
30/11/2023 10:30 | 1086.943 | 1176.817 | 997.0703
30/11/2023 11:00 | 1109.638 | 1201.6 | 1017.676
30/11/2023 11:30 | 1138.816 | 1233.415 | 1044.217
30/11/2023 12:00 | 1158.814 | 1255.296 | 1062.332
30/11/2023 12:30 | 1206.028 | 1306.672 | 1105.384
30/11/2023 13:00 | 1268.449 | 1374.545 | 1162.352
30/11/2023 13:30 | 1360.08 | 1474.101 | 1246.059
30/11/2023 14:00 | 1470.767 | 1594.349 | 1347.184
30/11/2023 14:30 | 1597.273 | 1731.792 | 1462.755
30/11/2023 15:00 | 1751.605 | 1899.456 | 1603.753
30/11/2023 15:30 | 1919.704 | 2082.113 | 1757.295
30/11/2023 16:00 | 2085.61 | 2262.454 | 1908.766
30/11/2023 16:30 | 2252.358 | 2443.773 | 2060.943
30/11/2023 17:00 | 2396.455 | 2600.575 | 2192.335
30/11/2023 17:30 | 2506.047 | 2719.982 | 2292.112
30/11/2023 18:00 | 2557.76 | 2776.601 | 2338.92
30/11/2023 18:30 | 2573.818 | 2794.525 | 2353.111
30/11/2023 19:00 | 2553.316 | 2772.754 | 2333.877
30/11/2023 19:30 | 2498.164 | 2713.341 | 2282.987
30/11/2023 20:00 | 2422.364 | 2631.477 | 2213.251
30/11/2023 20:30 | 2337.052 | 2539.248 | 2134.856
30/11/2023 21:00 | 2243.209 | 2437.717 | 2048.703
30/11/2023 21:30 | 2161.644 | 2349.492 | 1973.795
30/11/2023 22:00 | 2081.391 | 2262.664 | 1900.117
30/11/2023 22:30 | 2015.231 | 2191.129 | 1839.333
30/11/2023 23:00 | 1967.123 | 2139.199 | 1795.048
30/11/2023 23:30 | 1931.401 | 2100.722 | 1762.08
01/12/2023 00:00 | 1905.77 | 2073.209 | 1738.33
01/12/2023 00:30 | 1883.809 | 2049.68 | 1717.938
01/12/2023 01:00 | 1866.544 | 2031.253 | 1701.836
01/12/2023 01:30 | 1850.453 | 2014.097 | 1686.81
01/12/2023 02:00 | 1839.763 | 2002.814 | 1676.713
01/12/2023 02:30 | 1833.338 | 1996.17 | 1670.505
01/12/2023 03:00 | 1832.905 | 1996.05 | 1669.759
01/12/2023 03:30 | 1846.093 | 2010.766 | 1681.42
01/12/2023 04:00 | 1865.054 | 2031.776 | 1698.333
01/12/2023 04:30 | 1884.043 | 2052.823 | 1715.262
01/12/2023 05:00 | 1901.15 | 2071.827 | 1730.473
01/12/2023 05:30 | 1908.927 | 2080.668 | 1737.186
01/12/2023 06:00 | 1896.693 | 2067.698 | 1725.689
01/12/2023 06:30 | 1834.306 | 2000.038 | 1668.575
01/12/2023 07:00 | 1745.128 | 1903.137 | 1587.12
01/12/2023 07:30 | 1636.063 | 1784.51 | 1487.616
01/12/2023 08:00 | 1534.243 | 1673.745 | 1394.74
01/12/2023 08:30 | 1464.204 | 1597.619 | 1330.79
01/12/2023 09:00 | 1419.494 | 1549.107 | 1289.881
01/12/2023 09:30 | 1390.035 | 1517.224 | 1262.845
01/12/2023 10:00 | 1390.548 | 1518.05 | 1263.045
01/12/2023 10:30 | 1413.991 | 1543.914 | 1284.067
01/12/2023 11:00 | 1464.218 | 1599.037 | 1329.399
01/12/2023 11:30 | 1509.448 | 1648.721 | 1370.175
01/12/2023 12:00 | 1558.235 | 1702.308 | 1414.162
01/12/2023 12:30 | 1626.387 | 1777.073 | 1475.701
01/12/2023 13:00 | 1693.4 | 1850.62 | 1536.181
01/12/2023 13:30 | 1813.927 | 1982.685 | 1645.17
01/12/2023 14:00 | 1944.814 | 2126.121 | 1763.508
01/12/2023 14:30 | 2084.001 | 2278.684 | 1889.319
01/12/2023 15:00 | 2238.686 | 2448.247 | 2029.125
01/12/2023 15:30 | 2411.285 | 2637.466 | 2185.105
01/12/2023 16:00 | 2560.771 | 2801.464 | 2320.078
01/12/2023 16:30 | 2675.181 | 2927.141 | 2423.222
01/12/2023 17:00 | 2752.088 | 3011.819 | 2492.358
01/12/2023 17:30 | 2776.947 | 3039.556 | 2514.339
01/12/2023 18:00 | 2774.616 | 3037.536 | 2511.696
01/12/2023 18:30 | 2752.682 | 3014.051 | 2491.312
01/12/2023 19:00 | 2714.469 | 2972.73 | 2456.208
01/12/2023 19:30 | 2660.87 | 2914.542 | 2407.198
01/12/2023 20:00 | 2582.287 | 2828.962 | 2335.612
01/12/2023 20:30 | 2493.681 | 2732.37 | 2254.993
01/12/2023 21:00 | 2404.192 | 2634.776 | 2173.609
01/12/2023 21:30 | 2324.267 | 2547.63 | 2100.903
01/12/2023 22:00 | 2242.695 | 2458.649 | 2026.74
01/12/2023 22:30 | 2168.647 | 2377.887 | 1959.408
01/12/2023 23:00 | 2111.136 | 2315.231 | 1907.04
01/12/2023 23:30 | 2074.922 | 2273.39 | 1876.454
02/12/2023 00:00 | 2048.119 | 2239.378 | 1856.86
02/12/2023 00:30 | 2016.787 | 2205.625 | 1827.949
02/12/2023 01:00 | 1989.646 | 2176.044 | 1803.248
02/12/2023 01:30 | 1963.539 | 2147.591 | 1779.486
02/12/2023 02:00 | 1945.848 | 2128.341 | 1763.355
02/12/2023 02:30 | 1927.812 | 2108.712 | 1746.912
02/12/2023 03:00 | 1915.945 | 2095.829 | 1736.061
02/12/2023 03:30 | 1914.055 | 2093.859 | 1734.25
02/12/2023 04:00 | 1905.899 | 2085.034 | 1726.763
02/12/2023 04:30 | 1877.152 | 2053.681 | 1700.623
02/12/2023 05:00 | 1851.603 | 2025.824 | 1677.382
02/12/2023 05:30 | 1825.079 | 1996.897 | 1653.261
02/12/2023 06:00 | 1766.573 | 1932.974 | 1600.173
02/12/2023 06:30 | 1684.977 | 1843.778 | 1526.177
02/12/2023 07:00 | 1595.259 | 1745.685 | 1444.833
02/12/2023 07:30 | 1506.401 | 1648.738 | 1364.065
02/12/2023 08:00 | 1440.836 | 1577.657 | 1304.015
02/12/2023 08:30 | 1392.349 | 1525.189 | 1259.509
02/12/2023 09:00 | 1366.679 | 1497.682 | 1235.677
02/12/2023 09:30 | 1361.456 | 1492.567 | 1230.346
02/12/2023 10:00 | 1366.107 | 1498.277 | 1233.938
02/12/2023 10:30 | 1386.048 | 1520.767 | 1251.328
02/12/2023 11:00 | 1447.856 | 1589.231 | 1306.482
02/12/2023 11:30 | 1498.973 | 1646.01 | 1351.936
02/12/2023 12:00 | 1539.958 | 1691.704 | 1388.212
02/12/2023 12:30 | 1595.432 | 1753.358 | 1437.505
02/12/2023 13:00 | 1666.214 | 1831.893 | 1500.536
02/12/2023 13:30 | 1767.623 | 1944.175 | 1591.07
02/12/2023 14:00 | 1896.249 | 2086.498 | 1706
02/12/2023 14:30 | 2044.18 | 2250.185 | 1838.175
02/12/2023 15:00 | 2197.26 | 2419.675 | 1974.844
02/12/2023 15:30 | 2370.912 | 2611.966 | 2129.858
02/12/2023 16:00 | 2532.771 | 2791.415 | 2274.127
02/12/2023 16:30 | 2669.583 | 2943.392 | 2395.774
02/12/2023 17:00 | 2759.029 | 3043.248 | 2474.811
02/12/2023 17:30 | 2806.807 | 3097.203 | 2516.411
02/12/2023 18:00 | 2808.841 | 3100.705 | 2516.978
02/12/2023 18:30 | 2771.232 | 3060.427 | 2482.037
02/12/2023 19:00 | 2721.498 | 3006.72 | 2436.275
02/12/2023 19:30 | 2664.458 | 2944.895 | 2384.021
02/12/2023 20:00 | 2586.216 | 2859.575 | 2312.856
02/12/2023 20:30 | 2506.738 | 2772.818 | 2240.657
02/12/2023 21:00 | 2426.293 | 2684.921 | 2167.666
02/12/2023 21:30 | 2347.161 | 2598.403 | 2095.918
02/12/2023 22:00 | 2269.622 | 2513.58 | 2025.664
02/12/2023 22:30 | 2193.251 | 2429.982 | 1956.521
02/12/2023 23:00 | 2121.586 | 2351.531 | 1891.642
02/12/2023 23:30 | 2057.905 | 2281.868 | 1833.941
03/12/2023 00:00 | 1999.406 | 2217.897 | 1780.914
03/12/2023 00:30 | 1953.583 | 2167.942 | 1739.225
03/12/2023 01:00 | 1919.88 | 2131.399 | 1708.36
03/12/2023 01:30 | 1896.052 | 2105.795 | 1686.31
03/12/2023 02:00 | 1878.916 | 2087.603 | 1670.228
03/12/2023 02:30 | 1863.317 | 2071.106 | 1655.528
03/12/2023 03:00 | 1851.559 | 2058.865 | 1644.253
03/12/2023 03:30 | 1846.739 | 2054.332 | 1639.146
03/12/2023 04:00 | 1832.506 | 2039.319 | 1625.693
03/12/2023 04:30 | 1796.385 | 1999.926 | 1592.845
03/12/2023 05:00 | 1750.043 | 1949.116 | 1550.971
03/12/2023 05:30 | 1695.742 | 1889.396 | 1502.087
03/12/2023 06:00 | 1619.284 | 1804.932 | 1433.637
03/12/2023 06:30 | 1514.823 | 1689.172 | 1340.474
03/12/2023 07:00 | 1398.128 | 1559.672 | 1236.585
03/12/2023 07:30 | 1284.857 | 1433.888 | 1135.826