## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
28/11/2023 08:00 | 1937.98 | 1967.801 | 1912.977
28/11/2023 08:30 | 1859.701 | 1891.501 | 1827.901 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
28/11/2023 09:00 | 1806.126 | 1842.38 | 1769.873 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
28/11/2023 09:30 | 1726.137 | 1759.606 | 1686.358 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
28/11/2023 10:00 | 1640.39 | 1680.464 | 1597.711 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
28/11/2023 10:30 | 1552.389 | 1597.981 | 1508.495 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
28/11/2023 11:00 | 1473.629 | 1521.268 | 1435.187 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
28/11/2023 11:30 | 1410.932 | 1460.78 | 1375.468 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
28/11/2023 12:00 | 1356.4 | 1402.611 | 1318.152 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
28/11/2023 12:30 | 1365.948 | 1409.398 | 1321.978 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
28/11/2023 13:00 | 1379.016 | 1424.089 | 1333.186 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
28/11/2023 13:30 | 1394.808 | 1442.229 | 1347.566
28/11/2023 14:00 | 1471.181 | 1522.261 | 1419.605 | Summary view - for each schedule horizon (dispatch, week-ahead)
28/11/2023 14:30 | 1605.586 | 1662.101 | 1547.028
28/11/2023 15:00 | 1757.554 | 1821.551 | 1692.172 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
28/11/2023 15:30 | 1888.582 | 1959.719 | 1817.018 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
28/11/2023 16:00 | 2029.563 | 2108.163 | 1950.885 | Scenario | Violations
28/11/2023 16:30 | 2188.509 | 2275.416 | 2101.603 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
28/11/2023 17:00 | 2323.811 | 2418.328 | 2229.293 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
28/11/2023 17:30 | 2421.319 | 2522.134 | 2320.503 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28/11/2023 18:00 | 2477.008 | 2582.528 | 2371.489 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
28/11/2023 18:30 | 2496.996 | 2605.263 | 2388.728 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0
28/11/2023 19:00 | 2479.917 | 2588.329 | 2371.505
28/11/2023 19:30 | 2420.631 | 2527.399 | 2313.864 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
28/11/2023 20:00 | 2345.437 | 2449.806 | 2241.068
28/11/2023 20:30 | 2266.198 | 2367.927 | 2164.468 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
28/11/2023 21:00 | 2179.22 | 2277.898 | 2080.542 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
28/11/2023 21:30 | 2094.903 | 2190.583 | 1999.223 | [24 empty] | 28/11/2023 13:30 | [8 empty] | 03/12/2023 12:00 | 03/12/2023 12:00
28/11/2023 22:00 | 2015.556 | 2108.402 | 1922.711 | [33 empty] | 03/12/2023 12:30 | 03/12/2023 12:30
28/11/2023 22:30 | 1951.486 | 2042.143 | 1860.828
28/11/2023 23:00 | 1903.364 | 1992.531 | 1814.197
28/11/2023 23:30 | 1864.35 | 1952.419 | 1776.281
29/11/2023 00:00 | 1830.01 | 1917.173 | 1742.847
29/11/2023 00:30 | 1803.443 | 1890.046 | 1716.839
29/11/2023 01:00 | 1787.655 | 1874.2 | 1701.11
29/11/2023 01:30 | 1773.865 | 1860.437 | 1687.293
29/11/2023 02:00 | 1762.7 | 1849.416 | 1675.983
29/11/2023 02:30 | 1759.223 | 1846.458 | 1671.989
29/11/2023 03:00 | 1761.761 | 1849.811 | 1673.712
29/11/2023 03:30 | 1773.468 | 1862.797 | 1684.139
29/11/2023 04:00 | 1796.269 | 1887.45 | 1705.089
29/11/2023 04:30 | 1825.466 | 1918.843 | 1732.089
29/11/2023 05:00 | 1845.753 | 1940.89 | 1750.616
29/11/2023 05:30 | 1871.97 | 1969.191 | 1774.749
29/11/2023 06:00 | 1894.157 | 1993.272 | 1795.042
29/11/2023 06:30 | 1852.755 | 1950.279 | 1755.23
29/11/2023 07:00 | 1760.074 | 1852.986 | 1667.162
29/11/2023 07:30 | 1612.081 | 1697.447 | 1526.715
29/11/2023 08:00 | 1485.749 | 1564.667 | 1406.827
29/11/2023 08:30 | 1391.12 | 1465.242 | 1316.996
29/11/2023 09:00 | 1329.2 | 1400.243 | 1258.156
29/11/2023 09:30 | 1291.947 | 1361.212 | 1222.68
29/11/2023 10:00 | 1233.152 | 1299.469 | 1166.833
29/11/2023 10:30 | 1144.673 | 1206.421 | 1082.924
29/11/2023 11:00 | 1127.795 | 1188.818 | 1066.769
29/11/2023 11:30 | 1139.08 | 1200.903 | 1077.257
29/11/2023 12:00 | 1133.086 | 1194.77 | 1071.4
29/11/2023 12:30 | 1150.783 | 1213.621 | 1087.944
29/11/2023 13:00 | 1188.225 | 1253.304 | 1123.146
29/11/2023 13:30 | 1245.562 | 1313.987 | 1177.137
29/11/2023 14:00 | 1327.358 | 1400.496 | 1254.22
29/11/2023 14:30 | 1437.403 | 1516.842 | 1357.964
29/11/2023 15:00 | 1594.527 | 1682.913 | 1506.142
29/11/2023 15:30 | 1774.403 | 1873.052 | 1675.754
29/11/2023 16:00 | 1961.844 | 2071.238 | 1852.45
29/11/2023 16:30 | 2146.254 | 2266.284 | 2026.223
29/11/2023 17:00 | 2304.38 | 2433.635 | 2175.125
29/11/2023 17:30 | 2418.914 | 2554.993 | 2282.836
29/11/2023 18:00 | 2483.245 | 2623.352 | 2343.138
29/11/2023 18:30 | 2508.16 | 2650.088 | 2366.233
29/11/2023 19:00 | 2488.844 | 2630.088 | 2347.598
29/11/2023 19:30 | 2437.303 | 2576.026 | 2298.58
29/11/2023 20:00 | 2365.824 | 2500.869 | 2230.78
29/11/2023 20:30 | 2286.893 | 2417.81 | 2155.976
29/11/2023 21:00 | 2200.872 | 2327.227 | 2074.516
29/11/2023 21:30 | 2115.859 | 2237.683 | 1994.034
29/11/2023 22:00 | 2036.427 | 2154.014 | 1918.84
29/11/2023 22:30 | 1972.15 | 2086.351 | 1857.948
29/11/2023 23:00 | 1922.23 | 2033.858 | 1810.602
29/11/2023 23:30 | 1877.885 | 1987.248 | 1768.522
30/11/2023 00:00 | 1841.467 | 1949.013 | 1733.921
30/11/2023 00:30 | 1814.53 | 1920.803 | 1708.258
30/11/2023 01:00 | 1797.345 | 1902.908 | 1691.782
30/11/2023 01:30 | 1783.625 | 1888.676 | 1678.573
30/11/2023 02:00 | 1773.729 | 1878.49 | 1668.967
30/11/2023 02:30 | 1770.001 | 1874.835 | 1665.168
30/11/2023 03:00 | 1772.154 | 1877.407 | 1666.9
30/11/2023 03:30 | 1784.531 | 1890.814 | 1678.248
30/11/2023 04:00 | 1806.776 | 1914.682 | 1698.869
30/11/2023 04:30 | 1834.722 | 1944.601 | 1724.844
30/11/2023 05:00 | 1851.898 | 1963.111 | 1740.685
30/11/2023 05:30 | 1844.757 | 1955.846 | 1733.669
30/11/2023 06:00 | 1821.309 | 1931.286 | 1711.332
30/11/2023 06:30 | 1769.433 | 1876.603 | 1662.262
30/11/2023 07:00 | 1679.91 | 1782.007 | 1577.789
30/11/2023 07:30 | 1535.427 | 1629.087 | 1441.754
30/11/2023 08:00 | 1411.803 | 1498.244 | 1325.364
30/11/2023 08:30 | 1313.889 | 1394.62 | 1233.157
30/11/2023 09:00 | 1243.955 | 1320.661 | 1167.249
30/11/2023 09:30 | 1204.67 | 1279.217 | 1130.123
30/11/2023 10:00 | 1176.645 | 1249.715 | 1103.575
30/11/2023 10:30 | 1168.442 | 1241.258 | 1095.626
30/11/2023 11:00 | 1194.441 | 1269.138 | 1119.744
30/11/2023 11:30 | 1221.655 | 1298.321 | 1144.989
30/11/2023 12:00 | 1240.765 | 1318.901 | 1162.629
30/11/2023 12:30 | 1291.297 | 1372.898 | 1209.696
30/11/2023 13:00 | 1354.738 | 1440.643 | 1268.832
30/11/2023 13:30 | 1447.465 | 1539.567 | 1355.363
30/11/2023 14:00 | 1557.276 | 1656.705 | 1457.847
30/11/2023 14:30 | 1679.479 | 1787.078 | 1571.88
30/11/2023 15:00 | 1830.082 | 1947.729 | 1712.435
30/11/2023 15:30 | 1995.062 | 2123.751 | 1866.373
30/11/2023 16:00 | 2159.067 | 2298.806 | 2019.327
30/11/2023 16:30 | 2321.322 | 2472.07 | 2170.574
30/11/2023 17:00 | 2459.302 | 2619.548 | 2299.056
30/11/2023 17:30 | 2563.469 | 2731.063 | 2395.876
30/11/2023 18:00 | 2611.186 | 2782.47 | 2439.902
30/11/2023 18:30 | 2623.459 | 2796.121 | 2450.798
30/11/2023 19:00 | 2599.646 | 2771.308 | 2427.983
30/11/2023 19:30 | 2543.248 | 2711.741 | 2374.753
30/11/2023 20:00 | 2465.515 | 2629.398 | 2301.632
30/11/2023 20:30 | 2378.566 | 2537.189 | 2219.943
30/11/2023 21:00 | 2283.095 | 2435.85 | 2130.34
30/11/2023 21:30 | 2198.679 | 2346.266 | 2051.091
30/11/2023 22:00 | 2116.001 | 2258.5 | 1973.501
30/11/2023 22:30 | 2048.788 | 2187.209 | 1910.367
30/11/2023 23:00 | 2000.927 | 2136.552 | 1865.302
30/11/2023 23:30 | 1966.145 | 2099.841 | 1832.448
01/12/2023 00:00 | 1941.445 | 2073.886 | 1809.003
01/12/2023 00:30 | 1919.215 | 2050.56 | 1787.871
01/12/2023 01:00 | 1901.492 | 2032.039 | 1770.945
01/12/2023 01:30 | 1883.349 | 2013.062 | 1753.637
01/12/2023 02:00 | 1871.047 | 2000.322 | 1741.773
01/12/2023 02:30 | 1863.273 | 1991.603 | 1734.129
01/12/2023 03:00 | 1861.251 | 1989.848 | 1731.84
01/12/2023 03:30 | 1873.604 | 2003.464 | 1742.925
01/12/2023 04:00 | 1891.936 | 2023.48 | 1759.565
01/12/2023 04:30 | 1910.141 | 2043.369 | 1776.079
01/12/2023 05:00 | 1925.007 | 2059.692 | 1789.481
01/12/2023 05:30 | 1928.779 | 2064.149 | 1792.566
01/12/2023 06:00 | 1912.05 | 2046.664 | 1776.601
01/12/2023 06:30 | 1846.04 | 1976.409 | 1714.864
01/12/2023 07:00 | 1754.98 | 1879.302 | 1629.891
01/12/2023 07:30 | 1646.905 | 1763.931 | 1529.159
01/12/2023 08:00 | 1548.529 | 1658.903 | 1437.478
01/12/2023 08:30 | 1482.019 | 1587.977 | 1375.414
01/12/2023 09:00 | 1442.415 | 1545.856 | 1338.344
01/12/2023 09:30 | 1416.8 | 1518.714 | 1314.887
01/12/2023 10:00 | 1421.935 | 1524.529 | 1319.342
01/12/2023 10:30 | 1448.944 | 1553.803 | 1344.085
01/12/2023 11:00 | 1499.425 | 1608.265 | 1390.585
01/12/2023 11:30 | 1546.329 | 1658.911 | 1433.747
01/12/2023 12:00 | 1596.84 | 1713.449 | 1480.232
01/12/2023 12:30 | 1664.632 | 1786.554 | 1542.709
01/12/2023 13:00 | 1730.689 | 1857.828 | 1603.55
01/12/2023 13:30 | 1850.539 | 1986.887 | 1714.191
01/12/2023 14:00 | 1979.89 | 2126.2 | 1833.579
01/12/2023 14:30 | 2113.729 | 2270.392 | 1957.066
01/12/2023 15:00 | 2266.192 | 2434.651 | 2097.734
01/12/2023 15:30 | 2435.642 | 2617.228 | 2254.055
01/12/2023 16:00 | 2584.736 | 2778.003 | 2391.469
01/12/2023 16:30 | 2705.014 | 2907.866 | 2502.163
01/12/2023 17:00 | 2781.738 | 2990.951 | 2572.525
01/12/2023 17:30 | 2799.113 | 3010.244 | 2587.982
01/12/2023 18:00 | 2792.233 | 3003.456 | 2581.011
01/12/2023 18:30 | 2771.016 | 2981.239 | 2560.793
01/12/2023 19:00 | 2730.231 | 2937.957 | 2522.506
01/12/2023 19:30 | 2672.663 | 2876.592 | 2468.734
01/12/2023 20:00 | 2591.42 | 2789.717 | 2393.124
01/12/2023 20:30 | 2501.453 | 2693.412 | 2309.495
01/12/2023 21:00 | 2410.609 | 2596.123 | 2225.095
01/12/2023 21:30 | 2329.488 | 2509.268 | 2149.708
01/12/2023 22:00 | 2246.944 | 2420.844 | 2073.043
01/12/2023 22:30 | 2168.236 | 2336.518 | 1999.953
01/12/2023 23:00 | 2100.944 | 2264.463 | 1937.425
01/12/2023 23:30 | 2050.9 | 2216.571 | 1885.228
02/12/2023 00:00 | 2007.102 | 2180.54 | 1833.663
02/12/2023 00:30 | 1965.211 | 2134.586 | 1795.837
02/12/2023 01:00 | 1934.273 | 2101.443 | 1767.103
02/12/2023 01:30 | 1910.629 | 2076.212 | 1745.045
02/12/2023 02:00 | 1893.096 | 2057.612 | 1728.58
02/12/2023 02:30 | 1876.724 | 2040.266 | 1713.182
02/12/2023 03:00 | 1865.346 | 2028.342 | 1702.35
02/12/2023 03:30 | 1864.215 | 2027.557 | 1700.872
02/12/2023 04:00 | 1859.222 | 2022.57 | 1695.873
02/12/2023 04:30 | 1835.404 | 1997.098 | 1673.709
02/12/2023 05:00 | 1809.894 | 1969.774 | 1650.014
02/12/2023 05:30 | 1780.409 | 1938.109 | 1622.708
02/12/2023 06:00 | 1719.502 | 1872.218 | 1566.786
02/12/2023 06:30 | 1627.969 | 1772.945 | 1482.993
02/12/2023 07:00 | 1515.278 | 1650.58 | 1379.976
02/12/2023 07:30 | 1392.283 | 1516.842 | 1267.724
02/12/2023 08:00 | 1281.468 | 1396.163 | 1166.772
02/12/2023 08:30 | 1186.437 | 1292.688 | 1080.186
02/12/2023 09:00 | 1122.138 | 1222.688 | 1021.589
02/12/2023 09:30 | 1072.829 | 1169.015 | 976.6426
02/12/2023 10:00 | 1046.669 | 1140.563 | 952.7753
02/12/2023 10:30 | 1020.974 | 1112.615 | 929.3334
02/12/2023 11:00 | 1036.502 | 1129.589 | 943.4141
02/12/2023 11:30 | 1046.521 | 1140.562 | 952.4803
02/12/2023 12:00 | 1051.057 | 1145.559 | 956.5552
02/12/2023 12:30 | 1069.036 | 1165.209 | 972.8631
02/12/2023 13:00 | 1084.71 | 1182.349 | 987.0718
02/12/2023 13:30 | 1151.479 | 1255.186 | 1047.772
02/12/2023 14:00 | 1247.126 | 1359.511 | 1134.741
02/12/2023 14:30 | 1365.705 | 1488.845 | 1242.564
02/12/2023 15:00 | 1503.111 | 1638.718 | 1367.504
02/12/2023 15:30 | 1669.277 | 1819.96 | 1518.594
02/12/2023 16:00 | 1849.415 | 2016.453 | 1682.378
02/12/2023 16:30 | 2019.4 | 2201.894 | 1836.907
02/12/2023 17:00 | 2162.222 | 2357.733 | 1966.711
02/12/2023 17:30 | 2262.458 | 2467.148 | 2057.769
02/12/2023 18:00 | 2312.152 | 2521.455 | 2102.848
02/12/2023 18:30 | 2325.967 | 2536.639 | 2115.295
02/12/2023 19:00 | 2316.311 | 2526.227 | 2106.395
02/12/2023 19:30 | 2279.274 | 2485.949 | 2072.598
02/12/2023 20:00 | 2224.51 | 2426.333 | 2022.687
02/12/2023 20:30 | 2175.539 | 2373.031 | 1978.048
02/12/2023 21:00 | 2122.986 | 2315.814 | 1930.157
02/12/2023 21:30 | 2068.287 | 2256.253 | 1880.321
02/12/2023 22:00 | 2010.463 | 2193.276 | 1827.65
02/12/2023 22:30 | 1956.375 | 2134.37 | 1778.381
02/12/2023 23:00 | 1910.575 | 2084.501 | 1736.65
02/12/2023 23:30 | 1871.135 | 2041.566 | 1700.705
03/12/2023 00:00 | 1834.234 | 2001.397 | 1667.071
03/12/2023 00:30 | 1803.609 | 1968.073 | 1639.145
03/12/2023 01:00 | 1782.802 | 1945.459 | 1620.145
03/12/2023 01:30 | 1767.133 | 1928.451 | 1605.815
03/12/2023 02:00 | 1756.553 | 1916.995 | 1596.111
03/12/2023 02:30 | 1746.987 | 1906.644 | 1587.33
03/12/2023 03:00 | 1741.52 | 1900.766 | 1582.274
03/12/2023 03:30 | 1743.294 | 1902.791 | 1583.797
03/12/2023 04:00 | 1735.421 | 1894.286 | 1576.556
03/12/2023 04:30 | 1706.667 | 1862.987 | 1550.347
03/12/2023 05:00 | 1665.833 | 1818.498 | 1513.168
03/12/2023 05:30 | 1614.844 | 1762.918 | 1466.77
03/12/2023 06:00 | 1572.757 | 1717.052 | 1428.462
03/12/2023 06:30 | 1544.768 | 1686.574 | 1402.962
03/12/2023 07:00 | 1478.605 | 1614.412 | 1342.797
03/12/2023 07:30 | 1365.59 | 1491.087 | 1240.093
03/12/2023 08:00 | 1267.902 | 1384.486 | 1151.317
03/12/2023 08:30 | 1174.049 | 1282.064 | 1066.035
03/12/2023 09:00 | 1114.047 | 1216.598 | 1011.496
03/12/2023 09:30 | 1088.576 | 1188.838 | 988.3146
03/12/2023 10:00 | 1045.947 | 1142.336 | 949.5585
03/12/2023 10:30 | 980.9993 | 1071.453 | 890.5457
03/12/2023 11:00 | 947.3301 | 1034.728 | 859.9327
03/12/2023 11:30 | 889.2159 | 971.2972 | 807.1346
03/12/2023 12:00 | 844.0652 | 922.0217 | 766.1086
03/12/2023 12:30 | 849.7169 | 928.2388 | 771.195
03/12/2023 13:00 | 874.3931 | 955.2398 | 793.5463
03/12/2023 13:30 | 935.6239 | 1022.18 | 849.068
03/12/2023 14:00 | 1025.687 | 1120.627 | 930.7472
03/12/2023 14:30 | 1146.758 | 1252.963 | 1040.553
03/12/2023 15:00 | 1275.631 | 1393.836 | 1157.425
03/12/2023 15:30 | 1451.55 | 1586.131 | 1316.969
03/12/2023 16:00 | 1649.365 | 1802.371 | 1496.36
03/12/2023 16:30 | 1845.956 | 2017.292 | 1674.619
03/12/2023 17:00 | 2031.39 | 2220.042 | 1842.738
03/12/2023 17:30 | 2165.691 | 2366.925 | 1964.456
03/12/2023 18:00 | 2236.535 | 2444.466 | 2028.604
03/12/2023 18:30 | 2253.334 | 2462.943 | 2043.727
03/12/2023 19:00 | 2242.142 | 2450.823 | 2033.461
03/12/2023 19:30 | 2216.668 | 2423.092 | 2010.245
03/12/2023 20:00 | 2161.858 | 2363.287 | 1960.429
03/12/2023 20:30 | 2100.462 | 2296.278 | 1904.646
03/12/2023 21:00 | 2031.15 | 2220.608 | 1841.692
03/12/2023 21:30 | 1966.824 | 2150.383 | 1783.266
03/12/2023 22:00 | 1907.375 | 2085.482 | 1729.268
03/12/2023 22:30 | 1854.226 | 2027.465 | 1680.988
03/12/2023 23:00 | 1817.106 | 1986.969 | 1647.243
03/12/2023 23:30 | 1791.28 | 1961 | 1621.561
04/12/2023 00:00 | 1770.975 | 1943.216 | 1598.733
04/12/2023 00:30 | 1750.04 | 1920.233 | 1579.848
04/12/2023 01:00 | 1736.61 | 1905.829 | 1567.39
04/12/2023 01:30 | 1728.826 | 1897.619 | 1560.034
04/12/2023 02:00 | 1723.376 | 1891.967 | 1554.786
04/12/2023 02:30 | 1722.502 | 1891.338 | 1553.667
04/12/2023 03:00 | 1727.222 | 1896.851 | 1557.593
04/12/2023 03:30 | 1745.511 | 1917.27 | 1573.751
04/12/2023 04:00 | 1769.872 | 1944.368 | 1595.376
04/12/2023 04:30 | 1794.676 | 1971.961 | 1617.391
04/12/2023 05:00 | 1812.238 | 1991.605 | 1632.87
04/12/2023 05:30 | 1809.792 | 1989.265 | 1630.32
04/12/2023 06:00 | 1784.305 | 1961.592 | 1607.019
04/12/2023 06:30 | 1710.509 | 1880.792 | 1540.227
04/12/2023 07:00 | 1608.322 | 1768.74 | 1447.904
04/12/2023 07:30 | 1482.879 | 1631.145 | 1334.613
04/12/2023 08:00 | 1365.371 | 1502.358 | 1228.385
04/12/2023 08:30 | 1267.629 | 1395.234 | 1140.024
04/12/2023 09:00 | 1183.971 | 1303.552 | 1064.391
04/12/2023 09:30 | 1116.901 | 1230.083 | 1003.72
04/12/2023 10:00 | 1084.905 | 1195.208 | 974.6027
04/12/2023 10:30 | 1067.551 | 1176.447 | 958.6544
04/12/2023 11:00 | 1061.803 | 1170.469 | 953.1367
04/12/2023 11:30 | 1076.555 | 1187.092 | 966.0188
04/12/2023 12:00 | 1094.259 | 1206.981 | 981.5381
04/12/2023 12:30 | 1113.43 | 1228.499 | 998.3603
04/12/2023 13:00 | 1140.325 | 1258.557 | 1022.094
04/12/2023 13:30 | 1217.101 | 1343.7 | 1090.501
04/12/2023 14:00 | 1305.202 | 1441.403 | 1169
04/12/2023 14:30 | 1414.773 | 1562.883 | 1266.663
04/12/2023 15:00 | 1561.186 | 1725.147 | 1397.225
04/12/2023 15:30 | 1738.229 | 1921.366 | 1555.091
04/12/2023 16:00 | 1906.366 | 2107.857 | 1704.874
04/12/2023 16:30 | 2071.147 | 2290.749 | 1851.545
04/12/2023 17:00 | 2217.611 | 2453.486 | 1981.736
04/12/2023 17:30 | 2315.316 | 2562.36 | 2068.272
04/12/2023 18:00 | 2364.984 | 2618.121 | 2111.848
04/12/2023 18:30 | 2379.372 | 2634.846 | 2123.898
04/12/2023 19:00 | 2364.433 | 2619.095 | 2109.77
04/12/2023 19:30 | 2319.276 | 2569.853 | 2068.7
04/12/2023 20:00 | 2247.118 | 2490.652 | 2003.583
04/12/2023 20:30 | 2171.507 | 2407.574 | 1935.439
04/12/2023 21:00 | 2092.76 | 2320.968 | 1864.551
04/12/2023 21:30 | 2021.703 | 2242.841 | 1800.565
04/12/2023 22:00 | 1955.1 | 2169.609 | 1740.592
04/12/2023 22:30 | 1896.815 | 2105.564 | 1688.065
04/12/2023 23:00 | 1856.978 | 2061.966 | 1651.99
04/12/2023 23:30 | 1824.689 | 2026.725 | 1622.654
05/12/2023 00:00 | 1797.501 | 1997.129 | 1597.873
05/12/2023 00:30 | 1776.578 | 1974.478 | 1578.678
05/12/2023 01:00 | 1764.605 | 1961.763 | 1567.448
05/12/2023 01:30 | 1753.635 | 1950.155 | 1557.115
05/12/2023 02:00 | 1747.161 | 1943.542 | 1550.781
05/12/2023 02:30 | 1745.177 | 1941.92 | 1548.434
05/12/2023 03:00 | 1748.958 | 1946.713 | 1551.202
05/12/2023 03:30 | 1765.783 | 1966.033 | 1565.533
05/12/2023 04:00 | 1787.737 | 1991.076 | 1584.398
05/12/2023 04:30 | 1810.898 | 2017.478 | 1604.318
05/12/2023 05:00 | 1829.783 | 2039.131 | 1620.434
05/12/2023 05:30 | 1833.712 | 2044.124 | 1623.299
05/12/2023 06:00 | 1818.901 | 2028.224 | 1609.578
05/12/2023 06:30 | 1747.604 | 1949.308 | 1545.9
05/12/2023 07:00 | 1648.236 | 1839.023 | 1457.448
05/12/2023 07:30 | 1526.682 | 1703.912 | 1349.453