## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
29/11/2023 08:00 | 1817.91 | 1850.493 | 1798.938
29/11/2023 08:30 | 1732.047 | 1761.664 | 1702.429 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
29/11/2023 09:00 | 1667.622 | 1701.095 | 1634.149 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
29/11/2023 09:30 | 1570.086 | 1606.268 | 1533.903 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
29/11/2023 10:00 | 1457.266 | 1495.181 | 1419.351 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
29/11/2023 10:30 | 1343.294 | 1381.276 | 1305.312 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
29/11/2023 11:00 | 1254.842 | 1291.378 | 1218.305 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
29/11/2023 11:30 | 1185.519 | 1232.383 | 1160.409 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
29/11/2023 12:00 | 1122.583 | 1168.108 | 1097.769 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
29/11/2023 12:30 | 1139.007 | 1180.9 | 1107.654 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
29/11/2023 13:00 | 1178.895 | 1222.749 | 1144.697 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
29/11/2023 13:30 | 1242.391 | 1288.541 | 1203.966
29/11/2023 14:00 | 1327.829 | 1376.823 | 1283.975 | Summary view - for each schedule horizon (dispatch, week-ahead)
29/11/2023 14:30 | 1442.01 | 1496.218 | 1392.63
29/11/2023 15:00 | 1601.006 | 1662.235 | 1544.172 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
29/11/2023 15:30 | 1779.75 | 1848.85 | 1714.222 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
29/11/2023 16:00 | 1966.372 | 2044.227 | 1891.72 | Scenario | Violations
29/11/2023 16:30 | 2150.227 | 2237.267 | 2066.368 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
29/11/2023 17:00 | 2308.873 | 2404.155 | 2216.228 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
29/11/2023 17:30 | 2424.296 | 2526.469 | 2324.492 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29/11/2023 18:00 | 2487.942 | 2595.067 | 2383.003 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
29/11/2023 18:30 | 2513.037 | 2623.015 | 2405.004 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 1
29/11/2023 19:00 | 2495.236 | 2604.317 | 2386.154
29/11/2023 19:30 | 2441.194 | 2548.868 | 2333.519 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
29/11/2023 20:00 | 2368.323 | 2473.71 | 2262.936
29/11/2023 20:30 | 2287.498 | 2390.183 | 2184.812 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
29/11/2023 21:00 | 2200.329 | 2299.963 | 2100.695 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
29/11/2023 21:30 | 2114.751 | 2211.338 | 2018.165 | [21 empty] | 03/12/2023 10:30 | 03/12/2023 10:30 | [10 empty] | 03/12/2023 10:30 | 03/12/2023 10:30 |  | 30/11/2023 09:30
29/11/2023 22:00 | 2035.282 | 2129.036 | 1941.529 | [33 empty] | 03/12/2023 11:00 | 03/12/2023 11:00
29/11/2023 22:30 | 1970.772 | 2062.325 | 1879.218
29/11/2023 23:00 | 1920.159 | 2010.113 | 1830.206
29/11/2023 23:30 | 1875.336 | 1963.924 | 1786.748
30/11/2023 00:00 | 1838.816 | 1926.399 | 1751.234
30/11/2023 00:30 | 1811.988 | 1899.001 | 1724.974
30/11/2023 01:00 | 1795 | 1881.901 | 1708.1
30/11/2023 01:30 | 1782.122 | 1869.097 | 1695.147
30/11/2023 02:00 | 1772.702 | 1859.911 | 1685.493
30/11/2023 02:30 | 1769.485 | 1857.228 | 1681.741
30/11/2023 03:00 | 1772.023 | 1860.585 | 1683.46
30/11/2023 03:30 | 1784.944 | 1874.851 | 1695.037
30/11/2023 04:00 | 1807.346 | 1899.089 | 1715.603
30/11/2023 04:30 | 1835.517 | 1929.408 | 1741.625
30/11/2023 05:00 | 1852.242 | 1947.713 | 1756.77
30/11/2023 05:30 | 1844.371 | 1940.159 | 1748.583
30/11/2023 06:00 | 1819.181 | 1914.373 | 1723.99
30/11/2023 06:30 | 1757.559 | 1850.073 | 1665.046
30/11/2023 07:00 | 1663.355 | 1751.161 | 1575.548
30/11/2023 07:30 | 1525.863 | 1606.664 | 1445.063
30/11/2023 08:00 | 1407.218 | 1481.968 | 1332.468
30/11/2023 08:30 | 1311.766 | 1381.662 | 1241.869
30/11/2023 09:00 | 1242.379 | 1308.783 | 1175.975
30/11/2023 09:30 | 1200.057 | 1264.395 | 1135.717
30/11/2023 10:00 | 1171.377 | 1234.371 | 1108.381
30/11/2023 10:30 | 1167.484 | 1230.462 | 1104.505
30/11/2023 11:00 | 1194.582 | 1259.219 | 1129.944
30/11/2023 11:30 | 1224.302 | 1290.75 | 1157.853
30/11/2023 12:00 | 1252.455 | 1320.638 | 1184.271
30/11/2023 12:30 | 1307.159 | 1378.536 | 1235.782
30/11/2023 13:00 | 1370.156 | 1445.199 | 1295.113
30/11/2023 13:30 | 1458.182 | 1538.288 | 1378.077
30/11/2023 14:00 | 1566.977 | 1653.318 | 1480.636
30/11/2023 14:30 | 1695.396 | 1789.092 | 1601.699
30/11/2023 15:00 | 1855.074 | 1957.901 | 1752.246
30/11/2023 15:30 | 2021.928 | 2134.338 | 1909.517
30/11/2023 16:00 | 2184.776 | 2306.601 | 2062.952
30/11/2023 16:30 | 2345.057 | 2476.205 | 2213.907
30/11/2023 17:00 | 2480.866 | 2620.02 | 2341.712
30/11/2023 17:30 | 2582.524 | 2727.806 | 2437.241
30/11/2023 18:00 | 2628.391 | 2776.688 | 2480.094
30/11/2023 18:30 | 2639.659 | 2789.027 | 2490.291
30/11/2023 19:00 | 2615.494 | 2763.926 | 2467.061
30/11/2023 19:30 | 2558.032 | 2703.626 | 2412.438
30/11/2023 20:00 | 2478.627 | 2620.111 | 2337.143
30/11/2023 20:30 | 2389.542 | 2526.335 | 2252.749
30/11/2023 21:00 | 2292.804 | 2424.437 | 2161.17
30/11/2023 21:30 | 2207.028 | 2334.101 | 2079.954
30/11/2023 22:00 | 2123.785 | 2246.416 | 2001.153
30/11/2023 22:30 | 2056.009 | 2175.067 | 1936.952
30/11/2023 23:00 | 2006.627 | 2123.156 | 1890.098
30/11/2023 23:30 | 1969.527 | 2084.227 | 1854.827
01/12/2023 00:00 | 1942.576 | 2056.027 | 1829.125
01/12/2023 00:30 | 1919.114 | 2031.512 | 1806.716
01/12/2023 01:00 | 1900.897 | 2012.542 | 1789.253
01/12/2023 01:30 | 1883.272 | 1994.192 | 1772.352
01/12/2023 02:00 | 1871.105 | 1981.617 | 1760.592
01/12/2023 02:30 | 1863.569 | 1973.944 | 1753.194
01/12/2023 03:00 | 1861.983 | 1972.572 | 1751.394
01/12/2023 03:30 | 1874.232 | 1985.858 | 1762.606
01/12/2023 04:00 | 1892.008 | 2005.004 | 1779.011
01/12/2023 04:30 | 1910.101 | 2024.428 | 1795.709
01/12/2023 05:00 | 1923.756 | 2039.217 | 1808.228
01/12/2023 05:30 | 1925.608 | 2041.495 | 1809.651
01/12/2023 06:00 | 1912.121 | 2027.508 | 1796.661
01/12/2023 06:30 | 1850.901 | 1962.928 | 1738.796
01/12/2023 07:00 | 1762.835 | 1869.921 | 1655.673
01/12/2023 07:30 | 1672.14 | 1774.112 | 1570.126
01/12/2023 08:00 | 1604.442 | 1702.68 | 1506.208
01/12/2023 08:30 | 1544.371 | 1639.264 | 1449.477
01/12/2023 09:00 | 1510.395 | 1603.531 | 1417.259
01/12/2023 09:30 | 1492.731 | 1585.104 | 1400.358
01/12/2023 10:00 | 1503.533 | 1596.903 | 1410.163
01/12/2023 10:30 | 1531.996 | 1627.468 | 1436.524
01/12/2023 11:00 | 1585.495 | 1684.647 | 1486.342
01/12/2023 11:30 | 1637.017 | 1739.749 | 1534.285
01/12/2023 12:00 | 1688.634 | 1794.974 | 1582.293
01/12/2023 12:30 | 1756.545 | 1867.546 | 1645.544
01/12/2023 13:00 | 1825.763 | 1941.537 | 1709.989
01/12/2023 13:30 | 1946.146 | 2069.979 | 1822.313
01/12/2023 14:00 | 2075.426 | 2207.938 | 1942.913
01/12/2023 14:30 | 2209.218 | 2350.756 | 2067.681
01/12/2023 15:00 | 2359.863 | 2510.536 | 2208.158
01/12/2023 15:30 | 2529.012 | 2691.037 | 2365.881
01/12/2023 16:00 | 2673.155 | 2845 | 2500.143
01/12/2023 16:30 | 2783.604 | 2963.157 | 2602.835
01/12/2023 17:00 | 2855.983 | 3040.828 | 2669.889
01/12/2023 17:30 | 2877.919 | 3064.813 | 2689.768
01/12/2023 18:00 | 2867.542 | 3054.388 | 2679.442
01/12/2023 18:30 | 2833.537 | 3018.787 | 2647.049
01/12/2023 19:00 | 2788.746 | 2971.677 | 2604.596
01/12/2023 19:30 | 2729.001 | 2908.609 | 2548.2
01/12/2023 20:00 | 2645.12 | 2819.786 | 2469.299
01/12/2023 20:30 | 2550.533 | 2719.51 | 2380.442
01/12/2023 21:00 | 2455.33 | 2618.535 | 2291.051
01/12/2023 21:30 | 2369.502 | 2527.52 | 2210.448
01/12/2023 22:00 | 2283.675 | 2436.469 | 2129.883
01/12/2023 22:30 | 2201.834 | 2349.633 | 2053.073
01/12/2023 23:00 | 2129.964 | 2273.404 | 1985.593
01/12/2023 23:30 | 2074.369 | 2219.459 | 1928.342
02/12/2023 00:00 | 2025.515 | 2177.2 | 1872.857
02/12/2023 00:30 | 1980.66 | 2128.656 | 1831.717
02/12/2023 01:00 | 1947.577 | 2093.566 | 1800.657
02/12/2023 01:30 | 1922.985 | 2067.591 | 1777.461
02/12/2023 02:00 | 1904.828 | 2048.523 | 1760.223
02/12/2023 02:30 | 1887.865 | 2030.732 | 1744.097
02/12/2023 03:00 | 1876.018 | 2018.436 | 1732.703
02/12/2023 03:30 | 1874.385 | 2017.127 | 1730.748
02/12/2023 04:00 | 1868.728 | 2011.485 | 1725.078
02/12/2023 04:30 | 1844.096 | 1985.412 | 1701.899
02/12/2023 05:00 | 1817.361 | 1957.063 | 1676.791
02/12/2023 05:30 | 1790.669 | 1928.747 | 1651.736
02/12/2023 06:00 | 1738.979 | 1873.485 | 1603.641
02/12/2023 06:30 | 1657.829 | 1786.455 | 1528.411
02/12/2023 07:00 | 1554.8 | 1675.804 | 1433.054
02/12/2023 07:30 | 1438.182 | 1550.453 | 1325.223
02/12/2023 08:00 | 1331.543 | 1435.808 | 1226.642
02/12/2023 08:30 | 1237.886 | 1335.113 | 1140.068
02/12/2023 09:00 | 1173.908 | 1266.39 | 1080.865
02/12/2023 09:30 | 1125.226 | 1214.142 | 1035.773
02/12/2023 10:00 | 1100.324 | 1187.535 | 1012.588
02/12/2023 10:30 | 1079.372 | 1165.18 | 993.048
02/12/2023 11:00 | 1095.759 | 1183.132 | 1007.863
02/12/2023 11:30 | 1107.989 | 1196.601 | 1018.847
02/12/2023 12:00 | 1117.068 | 1206.674 | 1027.463
02/12/2023 12:30 | 1139.389 | 1231.057 | 1047.721
02/12/2023 13:00 | 1161.987 | 1255.75 | 1068.223
02/12/2023 13:30 | 1237.276 | 1337.411 | 1137.142
02/12/2023 14:00 | 1339.43 | 1448.152 | 1230.708
02/12/2023 14:30 | 1457.087 | 1575.707 | 1338.467
02/12/2023 15:00 | 1594.05 | 1724.201 | 1463.899
02/12/2023 15:30 | 1758.828 | 1902.853 | 1614.803
02/12/2023 16:00 | 1932.477 | 2091.183 | 1773.771
02/12/2023 16:30 | 2091.357 | 2263.61 | 1919.103
02/12/2023 17:00 | 2219.497 | 2402.835 | 2036.159
02/12/2023 17:30 | 2307.877 | 2499.067 | 2116.687
02/12/2023 18:00 | 2350.493 | 2545.775 | 2155.211
02/12/2023 18:30 | 2359.453 | 2556.043 | 2162.863
02/12/2023 19:00 | 2348.902 | 2545.174 | 2152.63
02/12/2023 19:30 | 2308.849 | 2502.326 | 2115.373
02/12/2023 20:00 | 2251.924 | 2441.169 | 2062.68
02/12/2023 20:30 | 2200.302 | 2385.733 | 2014.87
02/12/2023 21:00 | 2145.426 | 2326.746 | 1964.107
02/12/2023 21:30 | 2088.992 | 2266.041 | 1911.943
02/12/2023 22:00 | 2029.636 | 2202.139 | 1857.133
02/12/2023 22:30 | 1974.124 | 2142.38 | 1805.867
02/12/2023 23:00 | 1927.51 | 2092.255 | 1762.766
02/12/2023 23:30 | 1887.797 | 2049.598 | 1725.996
03/12/2023 00:00 | 1850.972 | 2010.059 | 1691.885
03/12/2023 00:30 | 1820.622 | 1977.536 | 1663.709
03/12/2023 01:00 | 1800.113 | 1955.688 | 1644.537
03/12/2023 01:30 | 1783.501 | 1938.067 | 1628.935
03/12/2023 02:00 | 1772.142 | 1926.147 | 1618.137
03/12/2023 02:30 | 1761.827 | 1915.356 | 1608.298
03/12/2023 03:00 | 1755.803 | 1909.226 | 1602.379
03/12/2023 03:30 | 1758.232 | 1912.288 | 1604.176
03/12/2023 04:00 | 1751.238 | 1905.099 | 1597.376
03/12/2023 04:30 | 1722.604 | 1874.362 | 1570.847
03/12/2023 05:00 | 1685.369 | 1834.248 | 1536.489
03/12/2023 05:30 | 1661.612 | 1808.79 | 1514.434
03/12/2023 06:00 | 1650.236 | 1796.8 | 1503.672
03/12/2023 06:30 | 1616.05 | 1759.964 | 1472.135
03/12/2023 07:00 | 1564.613 | 1704.32 | 1424.905
03/12/2023 07:30 | 1499.452 | 1633.599 | 1365.305
03/12/2023 08:00 | 1414.872 | 1541.508 | 1288.236
03/12/2023 08:30 | 1300.413 | 1416.871 | 1183.955
03/12/2023 09:00 | 1216.353 | 1325.345 | 1107.361
03/12/2023 09:30 | 1163.713 | 1268.047 | 1059.378
03/12/2023 10:00 | 1077.243 | 1173.88 | 980.6064
03/12/2023 10:30 | 959.1793 | 1045.274 | 873.0849
03/12/2023 11:00 | 955.3123 | 1041.108 | 869.5163
03/12/2023 11:30 | 1037.904 | 1131.171 | 944.6379
03/12/2023 12:00 | 1061.789 | 1157.256 | 966.322
03/12/2023 12:30 | 1048.512 | 1142.838 | 954.1851
03/12/2023 13:00 | 1094.032 | 1192.51 | 995.5549
03/12/2023 13:30 | 1283.079 | 1398.639 | 1167.52
03/12/2023 14:00 | 1430.054 | 1558.924 | 1301.184
03/12/2023 14:30 | 1456.11 | 1587.402 | 1324.818
03/12/2023 15:00 | 1528.582 | 1666.486 | 1390.677
03/12/2023 15:30 | 1656.903 | 1806.468 | 1507.337
03/12/2023 16:00 | 1794.107 | 1956.149 | 1632.065
03/12/2023 16:30 | 1918.088 | 2091.426 | 1744.75
03/12/2023 17:00 | 2049.078 | 2234.358 | 1863.798
03/12/2023 17:30 | 2156.702 | 2351.824 | 1961.581
03/12/2023 18:00 | 2208.287 | 2408.188 | 2008.386
03/12/2023 18:30 | 2233.206 | 2435.477 | 2030.935
03/12/2023 19:00 | 2247.058 | 2450.698 | 2043.418
03/12/2023 19:30 | 2217.687 | 2418.778 | 2016.596
03/12/2023 20:00 | 2162.558 | 2358.761 | 1966.355
03/12/2023 20:30 | 2100.399 | 2291.069 | 1909.729
03/12/2023 21:00 | 2031.819 | 2216.367 | 1847.271
03/12/2023 21:30 | 1968.557 | 2147.46 | 1789.655
03/12/2023 22:00 | 1909.366 | 2082.987 | 1735.746
03/12/2023 22:30 | 1857.162 | 2026.13 | 1688.193
03/12/2023 23:00 | 1820.968 | 1986.736 | 1655.199
03/12/2023 23:30 | 1796.56 | 1958.066 | 1635.054
04/12/2023 00:00 | 1777.808 | 1933.63 | 1621.987
04/12/2023 00:30 | 1758.195 | 1913.006 | 1603.385
04/12/2023 01:00 | 1745.55 | 1899.581 | 1591.518
04/12/2023 01:30 | 1737.724 | 1891.398 | 1584.049
04/12/2023 02:00 | 1732.557 | 1886.107 | 1579.008
04/12/2023 02:30 | 1731.24 | 1885.005 | 1577.476
04/12/2023 03:00 | 1736.374 | 1890.927 | 1581.821
04/12/2023 03:30 | 1755.635 | 1912.239 | 1599.031
04/12/2023 04:00 | 1780.336 | 1939.485 | 1621.187
04/12/2023 04:30 | 1804.753 | 1966.43 | 1643.076
04/12/2023 05:00 | 1825.524 | 1989.412 | 1661.636
04/12/2023 05:30 | 1853.45 | 2020.2 | 1686.7
04/12/2023 06:00 | 1890.18 | 2060.597 | 1719.763
04/12/2023 06:30 | 1880.706 | 2050.63 | 1710.783
04/12/2023 07:00 | 1797.766 | 1960.54 | 1634.992
04/12/2023 07:30 | 1618.481 | 1765.333 | 1471.63
04/12/2023 08:00 | 1485.999 | 1621.115 | 1350.883
04/12/2023 08:30 | 1432.253 | 1562.757 | 1301.75
04/12/2023 09:00 | 1374.284 | 1499.769 | 1248.799
04/12/2023 09:30 | 1315.002 | 1435.326 | 1194.679
04/12/2023 10:00 | 1284.911 | 1402.728 | 1167.094
04/12/2023 10:30 | 1272.734 | 1389.678 | 1155.79
04/12/2023 11:00 | 1266.117 | 1382.696 | 1149.538
04/12/2023 11:30 | 1269.864 | 1387.031 | 1152.697
04/12/2023 12:00 | 1265.739 | 1382.768 | 1148.71
04/12/2023 12:30 | 1250.03 | 1365.846 | 1134.214
04/12/2023 13:00 | 1257.895 | 1374.681 | 1141.109
04/12/2023 13:30 | 1331.83 | 1455.735 | 1207.924
04/12/2023 14:00 | 1409.864 | 1541.3 | 1278.429
04/12/2023 14:30 | 1519.908 | 1661.894 | 1377.922
04/12/2023 15:00 | 1657.867 | 1813.059 | 1502.676
04/12/2023 15:30 | 1828.59 | 2000.114 | 1657.067
04/12/2023 16:00 | 1989.232 | 2176.205 | 1802.259
04/12/2023 16:30 | 2143.919 | 2345.843 | 1941.996
04/12/2023 17:00 | 2281.67 | 2497.005 | 2066.336
04/12/2023 17:30 | 2368.126 | 2592.073 | 2144.178
04/12/2023 18:00 | 2407.326 | 2635.442 | 2179.21
04/12/2023 18:30 | 2414.198 | 2643.428 | 2184.969
04/12/2023 19:00 | 2389.804 | 2617.176 | 2162.432
04/12/2023 19:30 | 2342.847 | 2566.2 | 2119.494
04/12/2023 20:00 | 2269.11 | 2485.869 | 2052.352
04/12/2023 20:30 | 2190.219 | 2399.861 | 1980.577
04/12/2023 21:00 | 2109.575 | 2311.902 | 1907.247
04/12/2023 21:30 | 2037.798 | 2233.631 | 1841.964
04/12/2023 22:00 | 1970.651 | 2160.41 | 1780.892
04/12/2023 22:30 | 1912.738 | 2097.287 | 1728.189
04/12/2023 23:00 | 1873.214 | 2054.309 | 1692.12
04/12/2023 23:30 | 1842.012 | 2020.443 | 1663.581
05/12/2023 00:00 | 1815.981 | 1992.238 | 1639.723
05/12/2023 00:30 | 1795.35 | 1969.949 | 1620.751
05/12/2023 01:00 | 1783.25 | 1957.014 | 1609.485
05/12/2023 01:30 | 1771.314 | 1944.255 | 1598.374
05/12/2023 02:00 | 1764.02 | 1936.586 | 1591.453
05/12/2023 02:30 | 1761.088 | 1933.705 | 1588.471
05/12/2023 03:00 | 1764.241 | 1937.506 | 1590.977
05/12/2023 03:30 | 1780.03 | 1955.187 | 1604.874
05/12/2023 04:00 | 1800.92 | 1978.477 | 1623.363
05/12/2023 04:30 | 1822.846 | 2002.915 | 1642.778
05/12/2023 05:00 | 1844.72 | 2027.303 | 1662.138
05/12/2023 05:30 | 1871.399 | 2056.981 | 1685.818
05/12/2023 06:00 | 1882.298 | 2069.321 | 1695.275
05/12/2023 06:30 | 1809.084 | 1989.179 | 1628.988
05/12/2023 07:00 | 1696.169 | 1865.349 | 1526.989
05/12/2023 07:30 | 1552.574 | 1707.808 | 1397.339
05/12/2023 08:00 | 1412.816 | 1554.562 | 1271.069
05/12/2023 08:30 | 1319.174 | 1451.968 | 1186.38
05/12/2023 09:00 | 1257.346 | 1384.337 | 1130.354
05/12/2023 09:30 | 1210.979 | 1333.694 | 1088.265
05/12/2023 10:00 | 1206.555 | 1329.226 | 1083.885
05/12/2023 10:30 | 1253.47 | 1381.331 | 1125.609
05/12/2023 11:00 | 1278.824 | 1409.7 | 1147.948
05/12/2023 11:30 | 1275.667 | 1406.648 | 1144.687
05/12/2023 12:00 | 1301.314 | 1435.365 | 1167.264
05/12/2023 12:30 | 1349.072 | 1488.495 | 1209.65
05/12/2023 13:00 | 1413.127 | 1559.643 | 1266.611
05/12/2023 13:30 | 1542.86 | 1703.344 | 1382.375
05/12/2023 14:00 | 1679.739 | 1855.025 | 1504.454
05/12/2023 14:30 | 1800.897 | 1989.429 | 1612.365
05/12/2023 15:00 | 1970.502 | 2177.45 | 1763.553
05/12/2023 15:30 | 2177.493 | 2406.911 | 1948.076
05/12/2023 16:00 | 2330.164 | 2576.448 | 2083.88
05/12/2023 16:30 | 2429.825 | 2687.457 | 2172.193
05/12/2023 17:00 | 2507.449 | 2774.152 | 2240.745
05/12/2023 17:30 | 2553.271 | 2825.704 | 2280.837
05/12/2023 18:00 | 2578.201 | 2854.158 | 2302.243
05/12/2023 18:30 | 2571.973 | 2848.127 | 2295.82
05/12/2023 19:00 | 2564.114 | 2840.283 | 2287.944
05/12/2023 19:30 | 2513.275 | 2784.812 | 2241.739
05/12/2023 20:00 | 2432.621 | 2696.259 | 2168.982
05/12/2023 20:30 | 2345.227 | 2600.18 | 2090.274
05/12/2023 21:00 | 2255.071 | 2500.979 | 2009.162
05/12/2023 21:30 | 2174.006 | 2411.804 | 1936.209
05/12/2023 22:00 | 2096.56 | 2326.589 | 1866.531
05/12/2023 22:30 | 2029.388 | 2252.728 | 1806.048
05/12/2023 23:00 | 1980.235 | 2198.829 | 1761.641
05/12/2023 23:30 | 1941.598 | 2156.578 | 1726.618
06/12/2023 00:00 | 1910.805 | 2123.017 | 1698.594
06/12/2023 00:30 | 1885.827 | 2095.897 | 1675.758
06/12/2023 01:00 | 1868.415 | 2077.171 | 1659.659
06/12/2023 01:30 | 1851.402 | 2058.878 | 1643.925
06/12/2023 02:00 | 1838.799 | 2045.479 | 1632.118
06/12/2023 02:30 | 1831.824 | 2038.334 | 1625.313
06/12/2023 03:00 | 1832.58 | 2039.79 | 1625.369
06/12/2023 03:30 | 1845.67 | 2054.98 | 1636.361
06/12/2023 04:00 | 1863.472 | 2075.426 | 1651.519
06/12/2023 04:30 | 1885.868 | 2101.001 | 1670.735
06/12/2023 05:00 | 1906.5 | 2124.626 | 1688.375
06/12/2023 05:30 | 1914.142 | 2133.784 | 1694.5
06/12/2023 06:00 | 1908.677 | 2128.332 | 1689.023
06/12/2023 06:30 | 1852.688 | 2066.521 | 1638.856
06/12/2023 07:00 | 1767.256 | 1971.821 | 1562.691
06/12/2023 07:30 | 1664.467 | 1857.692 | 1471.243