## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
30/11/2023 08:00 | 1552.89 | 1572.895 | 1529.074
30/11/2023 08:30 | 1446.429 | 1471.162 | 1421.695 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
30/11/2023 09:00 | 1372.102 | 1399.644 | 1344.561 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
30/11/2023 09:30 | 1304.425 | 1334.485 | 1274.364 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
30/11/2023 10:00 | 1256.289 | 1288.974 | 1223.603 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
30/11/2023 10:30 | 1227.593 | 1262.303 | 1192.882 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
30/11/2023 11:00 | 1221.55 | 1257.117 | 1185.983 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
30/11/2023 11:30 | 1224.23 | 1261.054 | 1187.406 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
30/11/2023 12:00 | 1234.039 | 1272.346 | 1195.731 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
30/11/2023 12:30 | 1286.065 | 1327.227 | 1244.904 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
30/11/2023 13:00 | 1342.048 | 1386.294 | 1297.803 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
30/11/2023 13:30 | 1423.991 | 1472.31 | 1375.673
30/11/2023 14:00 | 1529.098 | 1582.456 | 1475.74 | Summary view - for each schedule horizon (dispatch, week-ahead)
30/11/2023 14:30 | 1656.339 | 1715.732 | 1596.946
30/11/2023 15:00 | 1816.313 | 1883.191 | 1749.434 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
30/11/2023 15:30 | 1980.73 | 2055.57 | 1905.89 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
30/11/2023 16:00 | 2142.802 | 2225.83 | 2059.775 | Scenario | Violations
30/11/2023 16:30 | 2303.689 | 2395.17 | 2212.209 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
30/11/2023 17:00 | 2444.205 | 2543.62 | 2344.791 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
30/11/2023 17:30 | 2551.422 | 2657.654 | 2445.189 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 0 | 1
30/11/2023 18:00 | 2605.687 | 2716.689 | 2494.686 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 4 | 0 | 2
30/11/2023 18:30 | 2623.908 | 2737.678 | 2510.137 | Low Demand Scenario | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 5 | 5 | 0 | 1
30/11/2023 19:00 | 2603.038 | 2716.832 | 2489.244
30/11/2023 19:30 | 2547.289 | 2659.643 | 2434.935 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
30/11/2023 20:00 | 2469.313 | 2579.195 | 2359.432
30/11/2023 20:30 | 2380.991 | 2487.874 | 2274.108 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
30/11/2023 21:00 | 2284.675 | 2388.129 | 2181.222 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
30/11/2023 21:30 | 2198.599 | 2299.016 | 2098.183 | [9 empty] | 03/12/2023 12:00 | 03/12/2023 12:00 |  | 30/11/2023 08:00 | [8 empty] | 03/12/2023 11:30 | 03/12/2023 11:30 |  | 30/11/2023 08:00 |  |  |  |  | 03/12/2023 12:00 |  |  |  | 03/12/2023 11:30 | 03/12/2023 11:30 |  | 30/11/2023 08:00
30/11/2023 22:00 | 2115.66 | 2213.117 | 2018.204 | [9 empty] | 03/12/2023 12:30 | 03/12/2023 12:30 | [10 empty] | 03/12/2023 12:00 | 03/12/2023 12:00 |  | 30/11/2023 08:30 |  |  |  |  | 03/12/2023 12:30 |  |  |  | 03/12/2023 12:00 | 03/12/2023 12:00
30/11/2023 22:30 | 2047.17 | 2142.272 | 1952.067 | [9 empty] | 03/12/2023 13:00 | 03/12/2023 13:00 | [10 empty] | 03/12/2023 12:30 | 03/12/2023 12:30 | [10 empty] | 03/12/2023 12:30 | 03/12/2023 12:30
30/11/2023 23:00 | 1995.756 | 2089.251 | 1902.261 | [21 empty] | 03/12/2023 13:00 | 03/12/2023 13:00 | [10 empty] | 03/12/2023 13:00 | 03/12/2023 13:00
30/11/2023 23:30 | 1956.158 | 2048.564 | 1863.752 | [33 empty] | 03/12/2023 13:30 | 03/12/2023 13:30
01/12/2023 00:00 | 1926.769 | 2018.541 | 1834.997
01/12/2023 00:30 | 1902.533 | 1993.895 | 1811.171
01/12/2023 01:00 | 1884.185 | 1975.404 | 1792.967
01/12/2023 01:30 | 1867.631 | 1958.779 | 1776.483
01/12/2023 02:00 | 1856.622 | 1947.96 | 1765.285
01/12/2023 02:30 | 1850.473 | 1942.128 | 1758.714
01/12/2023 03:00 | 1850.008 | 1942.521 | 1757.548
01/12/2023 03:30 | 1863.207 | 1956.955 | 1769.358
01/12/2023 04:00 | 1881.646 | 1977.145 | 1786.131
01/12/2023 04:30 | 1900.638 | 1997.798 | 1803.416
01/12/2023 05:00 | 1914.563 | 2013.162 | 1815.879
01/12/2023 05:30 | 1916.78 | 2016.343 | 1817.231
01/12/2023 06:00 | 1904.965 | 2004.63 | 1805.285
01/12/2023 06:30 | 1845.245 | 1941.851 | 1748.116
01/12/2023 07:00 | 1760.979 | 1853.083 | 1668.019
01/12/2023 07:30 | 1656.69 | 1744.418 | 1569.419
01/12/2023 08:00 | 1570.033 | 1653.432 | 1487.268
01/12/2023 08:30 | 1511.844 | 1592.401 | 1432.012
01/12/2023 09:00 | 1476.068 | 1554.963 | 1397.527
01/12/2023 09:30 | 1459.422 | 1537.668 | 1381.814
01/12/2023 10:00 | 1472.577 | 1551.771 | 1394.809
01/12/2023 10:30 | 1512.538 | 1594.131 | 1431.764
01/12/2023 11:00 | 1570.926 | 1655.928 | 1485.924
01/12/2023 11:30 | 1622.997 | 1711.085 | 1534.91
01/12/2023 12:00 | 1678.12 | 1769.476 | 1586.763
01/12/2023 12:30 | 1749.988 | 1845.546 | 1654.43
01/12/2023 13:00 | 1823.182 | 1923.03 | 1723.326
01/12/2023 13:30 | 1941.593 | 2048.247 | 1834.931
01/12/2023 14:00 | 2069.981 | 2184.03 | 1955.924
01/12/2023 14:30 | 2203.105 | 2324.853 | 2081.35
01/12/2023 15:00 | 2356.177 | 2486.772 | 2225.573
01/12/2023 15:30 | 2528.043 | 2668.582 | 2387.495
01/12/2023 16:00 | 2672.002 | 2820.986 | 2523.009
01/12/2023 16:30 | 2778.134 | 2933.496 | 2622.765
01/12/2023 17:00 | 2846.578 | 3006.238 | 2686.911
01/12/2023 17:30 | 2865.018 | 3026.184 | 2703.843
01/12/2023 18:00 | 2857.014 | 3018.202 | 2695.818
01/12/2023 18:30 | 2828.391 | 2988.431 | 2668.343
01/12/2023 19:00 | 2787.581 | 2945.773 | 2629.382
01/12/2023 19:30 | 2729.135 | 2884.462 | 2573.803
01/12/2023 20:00 | 2646.432 | 2797.49 | 2495.37
01/12/2023 20:30 | 2552.823 | 2698.959 | 2406.682
01/12/2023 21:00 | 2458.05 | 2599.167 | 2316.929
01/12/2023 21:30 | 2372.612 | 2509.216 | 2236.005
01/12/2023 22:00 | 2287.139 | 2419.2 | 2155.075
01/12/2023 22:30 | 2205.573 | 2333.289 | 2077.855
01/12/2023 23:00 | 2133.97 | 2257.893 | 2010.046
01/12/2023 23:30 | 2078.831 | 2204.099 | 1953.562
02/12/2023 00:00 | 2030.696 | 2161.552 | 1899.84
02/12/2023 00:30 | 1986.442 | 2114.143 | 1858.741
02/12/2023 01:00 | 1953.924 | 2079.907 | 1827.94
02/12/2023 01:30 | 1929.405 | 2054.177 | 1804.634
02/12/2023 02:00 | 1911.335 | 2035.303 | 1787.366
02/12/2023 02:30 | 1894.574 | 2017.817 | 1771.331
02/12/2023 03:00 | 1882.8 | 2005.636 | 1759.963
02/12/2023 03:30 | 1880.738 | 2003.086 | 1757.676
02/12/2023 04:00 | 1874.516 | 1996.818 | 1751.503
02/12/2023 04:30 | 1849.795 | 1970.838 | 1728.051
02/12/2023 05:00 | 1819.389 | 1938.79 | 1699.299
02/12/2023 05:30 | 1787.931 | 1905.609 | 1669.575
02/12/2023 06:00 | 1736.725 | 1851.365 | 1621.427
02/12/2023 06:30 | 1655.336 | 1764.921 | 1545.097
02/12/2023 07:00 | 1552.233 | 1655.289 | 1448.485
02/12/2023 07:30 | 1443.652 | 1539.797 | 1346.817
02/12/2023 08:00 | 1353.625 | 1444.098 | 1262.505
02/12/2023 08:30 | 1267.356 | 1352.366 | 1181.74
02/12/2023 09:00 | 1209.261 | 1290.664 | 1127.282
02/12/2023 09:30 | 1164.078 | 1242.717 | 1084.883
02/12/2023 10:00 | 1142.515 | 1219.97 | 1064.514
02/12/2023 10:30 | 1122.847 | 1199.237 | 1045.921
02/12/2023 11:00 | 1140.058 | 1217.891 | 1061.68
02/12/2023 11:30 | 1149.655 | 1228.418 | 1070.343
02/12/2023 12:00 | 1153.421 | 1232.717 | 1073.573
02/12/2023 12:30 | 1167.945 | 1248.519 | 1086.813
02/12/2023 13:00 | 1183.863 | 1265.818 | 1101.343
02/12/2023 13:30 | 1262.759 | 1350.477 | 1174.437
02/12/2023 14:00 | 1391.748 | 1488.759 | 1294.072
02/12/2023 14:30 | 1547.947 | 1656.215 | 1438.939
02/12/2023 15:00 | 1688.88 | 1807.409 | 1569.544
02/12/2023 15:30 | 1808.681 | 1936.05 | 1680.448
02/12/2023 16:00 | 1951.637 | 2089.54 | 1812.802
02/12/2023 16:30 | 2102.26 | 2251.307 | 1952.208
02/12/2023 17:00 | 2225.616 | 2383.941 | 2066.228
02/12/2023 17:30 | 2317.095 | 2482.481 | 2150.602
02/12/2023 18:00 | 2358.724 | 2527.645 | 2188.677
02/12/2023 18:30 | 2364.626 | 2534.534 | 2193.588
02/12/2023 19:00 | 2359.772 | 2529.895 | 2188.522
02/12/2023 19:30 | 2321.408 | 2489.32 | 2152.387
02/12/2023 20:00 | 2265.974 | 2430.418 | 2100.448
02/12/2023 20:30 | 2214.922 | 2376.19 | 2052.596
02/12/2023 21:00 | 2160.24 | 2318.042 | 2001.405
02/12/2023 21:30 | 2103.675 | 2257.848 | 1948.497
02/12/2023 22:00 | 2043.532 | 2193.785 | 1892.303
02/12/2023 22:30 | 1987.405 | 2134.007 | 1839.854
02/12/2023 23:00 | 1941.313 | 2084.978 | 1796.721
02/12/2023 23:30 | 1902.185 | 2043.409 | 1760.053
03/12/2023 00:00 | 1866.22 | 2005.219 | 1726.329
03/12/2023 00:30 | 1835.737 | 1972.904 | 1697.693
03/12/2023 01:00 | 1814.636 | 1950.66 | 1677.745
03/12/2023 01:30 | 1797.482 | 1932.65 | 1661.455
03/12/2023 02:00 | 1785.638 | 1920.341 | 1650.081
03/12/2023 02:30 | 1774.732 | 1909.037 | 1639.58
03/12/2023 03:00 | 1767.933 | 1902.146 | 1632.876
03/12/2023 03:30 | 1768.262 | 1902.922 | 1632.757
03/12/2023 04:00 | 1759.309 | 1893.707 | 1624.07
03/12/2023 04:30 | 1729.094 | 1861.598 | 1595.765
03/12/2023 05:00 | 1691.092 | 1821.087 | 1560.289
03/12/2023 05:30 | 1660.858 | 1788.925 | 1531.996
03/12/2023 06:00 | 1623.93 | 1749.538 | 1497.546
03/12/2023 06:30 | 1544.43 | 1664.258 | 1423.864
03/12/2023 07:00 | 1479.605 | 1594.757 | 1363.746
03/12/2023 07:30 | 1460.702 | 1574.732 | 1345.975
03/12/2023 08:00 | 1376.046 | 1483.796 | 1267.639
03/12/2023 08:30 | 1191.849 | 1285.46 | 1097.668
03/12/2023 09:00 | 1062.991 | 1146.735 | 978.7393
03/12/2023 09:30 | 998.2919 | 1077.177 | 918.9295
03/12/2023 10:00 | 965.927 | 1042.486 | 888.9069
03/12/2023 10:30 | 983.3672 | 1061.543 | 905.1913
03/12/2023 11:00 | 985.6894 | 1064.285 | 907.0934
03/12/2023 11:30 | 917.0801 | 990.4244 | 843.7358
03/12/2023 12:00 | 868.6229 | 938.2993 | 798.9466
03/12/2023 12:30 | 872.5874 | 942.7902 | 802.3846
03/12/2023 13:00 | 899.4497 | 972.0286 | 826.8708
03/12/2023 13:30 | 967.244 | 1045.524 | 888.9636
03/12/2023 14:00 | 1064.06 | 1150.43 | 977.6902
03/12/2023 14:30 | 1187.297 | 1283.953 | 1090.64
03/12/2023 15:00 | 1320.087 | 1427.869 | 1212.304
03/12/2023 15:30 | 1496.934 | 1619.514 | 1374.355
03/12/2023 16:00 | 1692.42 | 1831.411 | 1553.429
03/12/2023 16:30 | 1884.945 | 2040.198 | 1729.692
03/12/2023 17:00 | 2063.901 | 2234.387 | 1893.416
03/12/2023 17:30 | 2192.087 | 2373.684 | 2010.489
03/12/2023 18:00 | 2258.935 | 2446.61 | 2071.26
03/12/2023 18:30 | 2275.224 | 2464.796 | 2085.652
03/12/2023 19:00 | 2263.701 | 2452.853 | 2074.548
03/12/2023 19:30 | 2235.758 | 2423.109 | 2048.406
03/12/2023 20:00 | 2178.887 | 2361.994 | 1995.781
03/12/2023 20:30 | 2117.031 | 2295.445 | 1938.616
03/12/2023 21:00 | 2047.259 | 2220.282 | 1874.236
03/12/2023 21:30 | 1982.38 | 2150.394 | 1814.367
03/12/2023 22:00 | 1921.815 | 2085.155 | 1758.476
03/12/2023 22:30 | 1868.225 | 2027.456 | 1708.994
03/12/2023 23:00 | 1832.232 | 1988.833 | 1675.631
03/12/2023 23:30 | 1808.368 | 1958.424 | 1658.312
04/12/2023 00:00 | 1790.043 | 1929.314 | 1650.771
04/12/2023 00:30 | 1770.21 | 1909.148 | 1631.272
04/12/2023 01:00 | 1757.091 | 1895.383 | 1618.799
04/12/2023 01:30 | 1748.362 | 1886.349 | 1610.375
04/12/2023 02:00 | 1742.578 | 1880.489 | 1604.667
04/12/2023 02:30 | 1740.643 | 1878.781 | 1602.505
04/12/2023 03:00 | 1745.335 | 1884.227 | 1606.443
04/12/2023 03:30 | 1764.019 | 1904.783 | 1623.254
04/12/2023 04:00 | 1788.516 | 1931.626 | 1645.406
04/12/2023 04:30 | 1812.794 | 1958.242 | 1667.345
04/12/2023 05:00 | 1833.049 | 1980.523 | 1685.575
04/12/2023 05:30 | 1837.737 | 1985.99 | 1689.484
04/12/2023 06:00 | 1822.052 | 1969.437 | 1674.666
04/12/2023 06:30 | 1764.489 | 1907.604 | 1621.374
04/12/2023 07:00 | 1676.51 | 1812.855 | 1540.164
04/12/2023 07:30 | 1561.728 | 1689.065 | 1434.391
04/12/2023 08:00 | 1456.739 | 1575.793 | 1337.686
04/12/2023 08:30 | 1374.516 | 1487.113 | 1261.919
04/12/2023 09:00 | 1339.095 | 1449.047 | 1229.143
04/12/2023 09:30 | 1371.898 | 1484.806 | 1258.99
04/12/2023 10:00 | 1411.944 | 1528.419 | 1295.469
04/12/2023 10:30 | 1410.042 | 1526.63 | 1293.453
04/12/2023 11:00 | 1379.768 | 1494.118 | 1265.419
04/12/2023 11:30 | 1312.477 | 1421.502 | 1203.453
04/12/2023 12:00 | 1288.925 | 1396.24 | 1181.61
04/12/2023 12:30 | 1326.27 | 1436.948 | 1215.591
04/12/2023 13:00 | 1374.627 | 1489.605 | 1259.65
04/12/2023 13:30 | 1483.284 | 1607.634 | 1358.934
04/12/2023 14:00 | 1590.015 | 1723.617 | 1456.412
04/12/2023 14:30 | 1686.232 | 1828.243 | 1544.222
04/12/2023 15:00 | 1786.535 | 1937.335 | 1635.735
04/12/2023 15:30 | 1870.676 | 2028.937 | 1712.415
04/12/2023 16:00 | 1975.576 | 2143.09 | 1808.062
04/12/2023 16:30 | 2123.19 | 2303.627 | 1942.752
04/12/2023 17:00 | 2253.57 | 2445.52 | 2061.621
04/12/2023 17:30 | 2331.959 | 2531.033 | 2132.886
04/12/2023 18:00 | 2366.102 | 2568.544 | 2163.66
04/12/2023 18:30 | 2384.261 | 2588.714 | 2179.809
04/12/2023 19:00 | 2382.365 | 2587.112 | 2177.619
04/12/2023 19:30 | 2335.827 | 2537.021 | 2134.632
04/12/2023 20:00 | 2263.714 | 2459.131 | 2068.297
04/12/2023 20:30 | 2185.993 | 2375.12 | 1996.866
04/12/2023 21:00 | 2106.295 | 2288.93 | 1923.66
04/12/2023 21:30 | 2034.799 | 2211.624 | 1857.973
04/12/2023 22:00 | 1967.871 | 2139.258 | 1796.484
04/12/2023 22:30 | 1909.156 | 2075.795 | 1742.516
04/12/2023 23:00 | 1867.512 | 2030.874 | 1704.15
04/12/2023 23:30 | 1833.658 | 1994.411 | 1672.906
05/12/2023 00:00 | 1804.614 | 1963.165 | 1646.062
05/12/2023 00:30 | 1782.258 | 1939.188 | 1625.329
05/12/2023 01:00 | 1769.285 | 1925.411 | 1613.159
05/12/2023 01:30 | 1758.048 | 1913.519 | 1602.576
05/12/2023 02:00 | 1751.223 | 1906.426 | 1596.019
05/12/2023 02:30 | 1748.846 | 1904.175 | 1593.518
05/12/2023 03:00 | 1752.561 | 1908.555 | 1596.567
05/12/2023 03:30 | 1768.885 | 1926.672 | 1611.099
05/12/2023 04:00 | 1790.482 | 1950.538 | 1630.427
05/12/2023 04:30 | 1813.222 | 1975.658 | 1650.786
05/12/2023 05:00 | 1832.206 | 1996.694 | 1667.719
05/12/2023 05:30 | 1834.062 | 1999.068 | 1669.056
05/12/2023 06:00 | 1813.897 | 1977.436 | 1650.357
05/12/2023 06:30 | 1739.067 | 1896.193 | 1581.941
05/12/2023 07:00 | 1634.95 | 1782.983 | 1486.918
05/12/2023 07:30 | 1511.453 | 1648.593 | 1374.312
05/12/2023 08:00 | 1384.461 | 1510.345 | 1258.578
05/12/2023 08:30 | 1288.336 | 1405.725 | 1170.946
05/12/2023 09:00 | 1231.036 | 1343.441 | 1118.631
05/12/2023 09:30 | 1195.983 | 1305.417 | 1086.55
05/12/2023 10:00 | 1193.915 | 1303.388 | 1084.442
05/12/2023 10:30 | 1228.573 | 1341.46 | 1115.687
05/12/2023 11:00 | 1241.496 | 1355.808 | 1127.184
05/12/2023 11:30 | 1230.137 | 1343.639 | 1116.636
05/12/2023 12:00 | 1243.142 | 1358.082 | 1128.202
05/12/2023 12:30 | 1266.393 | 1383.725 | 1149.061
05/12/2023 13:00 | 1318.791 | 1441.23 | 1196.351
05/12/2023 13:30 | 1453.641 | 1588.879 | 1318.402
05/12/2023 14:00 | 1584.247 | 1731.94 | 1436.554
05/12/2023 14:30 | 1684.124 | 1841.45 | 1526.797
05/12/2023 15:00 | 1832.042 | 2003.537 | 1660.546
05/12/2023 15:30 | 2010.94 | 2199.568 | 1822.312
05/12/2023 16:00 | 2170.045 | 2374.013 | 1966.077
05/12/2023 16:30 | 2317.171 | 2535.412 | 2098.931
05/12/2023 17:00 | 2427.638 | 2656.748 | 2198.528
05/12/2023 17:30 | 2488.714 | 2724.065 | 2253.362
05/12/2023 18:00 | 2521.845 | 2760.812 | 2282.877
05/12/2023 18:30 | 2518.278 | 2757.39 | 2279.166
05/12/2023 19:00 | 2512.188 | 2751.204 | 2273.173
05/12/2023 19:30 | 2463.74 | 2698.618 | 2228.862
05/12/2023 20:00 | 2385.718 | 2613.616 | 2157.821
05/12/2023 20:30 | 2301.542 | 2521.84 | 2081.245
05/12/2023 21:00 | 2214.636 | 2427.04 | 2002.232
05/12/2023 21:30 | 2136.632 | 2341.964 | 1931.3
05/12/2023 22:00 | 2062 | 2260.554 | 1863.445
05/12/2023 22:30 | 1997.61 | 2190.347 | 1804.872
05/12/2023 23:00 | 1951.674 | 2140.353 | 1762.994
05/12/2023 23:30 | 1916.369 | 2102.002 | 1730.735
06/12/2023 00:00 | 1888.366 | 2071.649 | 1705.083
06/12/2023 00:30 | 1865.693 | 2047.133 | 1684.253
06/12/2023 01:00 | 1850.82 | 2031.169 | 1670.472
06/12/2023 01:30 | 1834.8 | 2013.939 | 1655.661
06/12/2023 02:00 | 1822.907 | 2001.234 | 1644.58
06/12/2023 02:30 | 1816.672 | 1994.738 | 1638.607
06/12/2023 03:00 | 1817.734 | 1996.251 | 1639.216
06/12/2023 03:30 | 1830.711 | 2010.854 | 1650.568
06/12/2023 04:00 | 1849.059 | 2031.363 | 1666.756
06/12/2023 04:30 | 1872.802 | 2057.805 | 1687.799
06/12/2023 05:00 | 1892.969 | 2080.326 | 1705.611
06/12/2023 05:30 | 1902.737 | 2091.427 | 1714.048
06/12/2023 06:00 | 1909.939 | 2099.709 | 1720.17
06/12/2023 06:30 | 1873.929 | 2060.48 | 1687.378
06/12/2023 07:00 | 1810.08 | 1990.622 | 1629.538
06/12/2023 07:30 | 1721.13 | 1893.218 | 1549.043
06/12/2023 08:00 | 1598.537 | 1758.917 | 1438.157
06/12/2023 08:30 | 1455.708 | 1602.246 | 1309.17
06/12/2023 09:00 | 1355.769 | 1492.701 | 1218.837
06/12/2023 09:30 | 1295.47 | 1426.746 | 1164.193
06/12/2023 10:00 | 1264.023 | 1392.537 | 1135.51
06/12/2023 10:30 | 1270.276 | 1399.852 | 1140.701
06/12/2023 11:00 | 1296.63 | 1429.328 | 1163.932
06/12/2023 11:30 | 1325.127 | 1461.186 | 1189.068
06/12/2023 12:00 | 1356.219 | 1495.926 | 1216.513
06/12/2023 12:30 | 1399.814 | 1544.481 | 1255.148
06/12/2023 13:00 | 1458.834 | 1610.089 | 1307.579
06/12/2023 13:30 | 1565.865 | 1728.742 | 1402.988
06/12/2023 14:00 | 1677.074 | 1852.081 | 1502.067
06/12/2023 14:30 | 1800.22 | 1988.682 | 1611.759
06/12/2023 15:00 | 1955.011 | 2160.332 | 1749.689
06/12/2023 15:30 | 2119.62 | 2342.94 | 1896.299
06/12/2023 16:00 | 2269.284 | 2509.134 | 2029.435
06/12/2023 16:30 | 2406.368 | 2661.514 | 2151.223
06/12/2023 17:00 | 2520.006 | 2788.046 | 2251.967
06/12/2023 17:30 | 2582.382 | 2857.922 | 2306.843
06/12/2023 18:00 | 2607.512 | 2886.607 | 2328.417
06/12/2023 18:30 | 2607.249 | 2887.19 | 2327.308
06/12/2023 19:00 | 2585.94 | 2864.46 | 2307.419
06/12/2023 19:30 | 2536.968 | 2811.064 | 2262.871
06/12/2023 20:00 | 2456.316 | 2722.522 | 2190.11
06/12/2023 20:30 | 2367.576 | 2624.958 | 2110.193
06/12/2023 21:00 | 2275.983 | 2524.172 | 2027.794
06/12/2023 21:30 | 2192.33 | 2432.132 | 1952.528
06/12/2023 22:00 | 2112.7 | 2344.5 | 1880.9
06/12/2023 22:30 | 2045.383 | 2270.483 | 1820.283
06/12/2023 23:00 | 1997.533 | 2218.037 | 1777.029
06/12/2023 23:30 | 1958.298 | 2175.127 | 1741.469
07/12/2023 00:00 | 1926.901 | 2140.899 | 1712.902
07/12/2023 00:30 | 1901.097 | 2112.868 | 1689.327
07/12/2023 01:00 | 1882.075 | 2092.357 | 1671.792
07/12/2023 01:30 | 1863.705 | 2072.56 | 1654.85
07/12/2023 02:00 | 1852.71 | 2060.954 | 1644.466
07/12/2023 02:30 | 1845.942 | 2054.044 | 1637.84
07/12/2023 03:00 | 1847.143 | 2056 | 1638.286
07/12/2023 03:30 | 1860.598 | 2071.6 | 1649.596
07/12/2023 04:00 | 1879.694 | 2093.492 | 1665.896
07/12/2023 04:30 | 1897.938 | 2114.447 | 1681.428
07/12/2023 05:00 | 1920.674 | 2140.422 | 1700.927
07/12/2023 05:30 | 1941.234 | 2163.984 | 1718.483
07/12/2023 06:00 | 1952.719 | 2177.442 | 1727.996
07/12/2023 06:30 | 1933.424 | 2156.575 | 1710.273
07/12/2023 07:00 | 1880.989 | 2098.718 | 1663.259
07/12/2023 07:30 | 1789.253 | 1996.964 | 1581.542