## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
03/12/2023 08:00 | 1353.79 | 1373.279 | 1327.837
03/12/2023 08:30 | 1274.074 | 1300.379 | 1247.77 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
03/12/2023 09:00 | 1234.408 | 1264.613 | 1204.203 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
03/12/2023 09:30 | 1175.406 | 1208.66 | 1142.151 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
03/12/2023 10:00 | 1116.148 | 1151.993 | 1080.302 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
03/12/2023 10:30 | 1051.917 | 1088.68 | 1015.154 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
03/12/2023 11:00 | 994.9606 | 1057.327 | 959.3203 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
03/12/2023 11:30 | 947.1506 | 1005.025 | 912.2365 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
03/12/2023 12:00 | 890.3029 | 937.9708 | 869.4622 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
03/12/2023 12:30 | 889.263 | 932.196 | 862.3084 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
03/12/2023 13:00 | 914.7007 | 958.7841 | 885.0548 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
03/12/2023 13:30 | 966.8327 | 1012.531 | 932.7204
03/12/2023 14:00 | 1053.541 | 1102.668 | 1013.635 | Summary view - for each schedule horizon (dispatch, week-ahead)
03/12/2023 14:30 | 1172.74 | 1227.533 | 1126.066
03/12/2023 15:00 | 1309.4 | 1371.575 | 1255.578 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
03/12/2023 15:30 | 1483.449 | 1554.847 | 1420.383 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
03/12/2023 16:00 | 1681.317 | 1762.948 | 1607.129 | Scenario | Violations
03/12/2023 16:30 | 1872.613 | 1963.732 | 1786.434 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
03/12/2023 17:00 | 2045.38 | 2144.927 | 1947.2 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
03/12/2023 17:30 | 2182.955 | 2289.61 | 2074.21 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 1
03/12/2023 18:00 | 2267.13 | 2379.753 | 2151.376 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 1
03/12/2023 18:30 | 2298.646 | 2415.676 | 2180.507 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 1
03/12/2023 19:00 | 2297.866 | 2416.575 | 2180.373
03/12/2023 19:30 | 2272.698 | 2390.675 | 2155.866 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
03/12/2023 20:00 | 2218.316 | 2333.467 | 2103.166
03/12/2023 20:30 | 2157.684 | 2270.255 | 2045.113 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
03/12/2023 21:00 | 2089.001 | 2198.539 | 1979.463 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
03/12/2023 21:30 | 2023.549 | 2130.188 | 1916.911 | [7 empty] | 03/12/2023 11:00 |  |  |  |  | 03/12/2023 08:00 | [6 empty] | 03/12/2023 12:00 |  |  |  |  | 03/12/2023 08:00 | [6 empty] | 03/12/2023 10:30 |  |  |  |  | 03/12/2023 08:00
03/12/2023 22:00 | 1960.917 | 2064.771 | 1857.063 | [7 empty] | 03/12/2023 11:30 | [11 empty] | 03/12/2023 12:30 | [11 empty] | 03/12/2023 11:00
03/12/2023 22:30 | 1906.068 | 2007.519 | 1804.617 | [7 empty] | 03/12/2023 12:00 | [11 empty] | 03/12/2023 13:00 | [11 empty] | 03/12/2023 11:30
03/12/2023 23:00 | 1867.778 | 1967.683 | 1767.873 | [7 empty] | 03/12/2023 12:30 | [11 empty] | 03/12/2023 13:30 | [11 empty] | 03/12/2023 12:00
03/12/2023 23:30 | 1837.567 | 1932.129 | 1743.005 | [7 empty] | 03/12/2023 13:00 | [11 empty] | 03/12/2023 14:00 | [11 empty] | 03/12/2023 12:30
04/12/2023 00:00 | 1813.026 | 1898.656 | 1727.395 | [7 empty] | 03/12/2023 13:30 | [23 empty] | 03/12/2023 13:00
04/12/2023 00:30 | 1791.456 | 1877.484 | 1705.428 | [7 empty] | 03/12/2023 14:00 | [23 empty] | 03/12/2023 13:30
04/12/2023 01:00 | 1776.372 | 1862.371 | 1690.373 | [31 empty] | 03/12/2023 14:00
04/12/2023 01:30 | 1767.266 | 1853.516 | 1681.017 | [31 empty] | 09/12/2023 11:30
04/12/2023 02:00 | 1761.23 | 1847.875 | 1674.586 | [31 empty] | 09/12/2023 12:00
04/12/2023 02:30 | 1758.777 | 1845.989 | 1671.565 | [31 empty] | 09/12/2023 12:30
04/12/2023 03:00 | 1762.101 | 1850.167 | 1674.034 | [31 empty] | 09/12/2023 13:00
04/12/2023 03:30 | 1778.226 | 1867.795 | 1688.657 | [31 empty] | 09/12/2023 13:30
04/12/2023 04:00 | 1801.476 | 1892.92 | 1710.031 | [31 empty] | 09/12/2023 14:00
04/12/2023 04:30 | 1826.155 | 1919.567 | 1732.743 | [31 empty] | 09/12/2023 14:30
04/12/2023 05:00 | 1845.193 | 1940.301 | 1750.085 | [31 empty] | 09/12/2023 15:00
04/12/2023 05:30 | 1866.894 | 1963.852 | 1769.937
04/12/2023 06:00 | 1891.292 | 1990.257 | 1792.328
04/12/2023 06:30 | 1862.114 | 1960.131 | 1764.097
04/12/2023 07:00 | 1801.093 | 1896.171 | 1706.016
04/12/2023 07:30 | 1704.347 | 1794.598 | 1614.095
04/12/2023 08:00 | 1611.397 | 1696.993 | 1525.802
04/12/2023 08:30 | 1531.395 | 1612.994 | 1449.796
04/12/2023 09:00 | 1466.616 | 1545.005 | 1388.226
04/12/2023 09:30 | 1421.177 | 1497.373 | 1344.982
04/12/2023 10:00 | 1405.48 | 1481.066 | 1329.895
04/12/2023 10:30 | 1417.13 | 1493.576 | 1340.684
04/12/2023 11:00 | 1426.692 | 1503.889 | 1349.494
04/12/2023 11:30 | 1439.871 | 1518.02 | 1361.723
04/12/2023 12:00 | 1451.804 | 1530.84 | 1372.768
04/12/2023 12:30 | 1484.535 | 1565.598 | 1403.472
04/12/2023 13:00 | 1510.107 | 1592.815 | 1427.398
04/12/2023 13:30 | 1530.851 | 1614.948 | 1446.753
04/12/2023 14:00 | 1573.966 | 1660.692 | 1487.24
04/12/2023 14:30 | 1662.686 | 1754.575 | 1570.797
04/12/2023 15:00 | 1785.722 | 1884.705 | 1686.738
04/12/2023 15:30 | 1942.112 | 2050.085 | 1834.139
04/12/2023 16:00 | 2099.86 | 2216.949 | 1982.77
04/12/2023 16:30 | 2250.632 | 2376.5 | 2124.764
04/12/2023 17:00 | 2381.629 | 2515.216 | 2248.041
04/12/2023 17:30 | 2466.278 | 2605.02 | 2327.535
04/12/2023 18:00 | 2502.587 | 2643.785 | 2361.388
04/12/2023 18:30 | 2502.332 | 2643.93 | 2360.735
04/12/2023 19:00 | 2480.927 | 2621.722 | 2340.131
04/12/2023 19:30 | 2433.962 | 2572.495 | 2295.43
04/12/2023 20:00 | 2357.708 | 2492.289 | 2223.126
04/12/2023 20:30 | 2274.449 | 2404.653 | 2144.244
04/12/2023 21:00 | 2187.576 | 2313.168 | 2061.983
04/12/2023 21:30 | 2107.879 | 2229.244 | 1986.514
04/12/2023 22:00 | 2033.472 | 2150.889 | 1916.056
04/12/2023 22:30 | 1969.018 | 2083.038 | 1854.998
04/12/2023 23:00 | 1920.771 | 2032.315 | 1809.228
04/12/2023 23:30 | 1879.967 | 1989.451 | 1770.482
05/12/2023 00:00 | 1844.906 | 1952.653 | 1737.159
05/12/2023 00:30 | 1818.942 | 1925.473 | 1712.411
05/12/2023 01:00 | 1802.771 | 1908.653 | 1696.89
05/12/2023 01:30 | 1788.596 | 1893.94 | 1683.252
05/12/2023 02:00 | 1780.135 | 1885.275 | 1674.995
05/12/2023 02:30 | 1776.155 | 1881.353 | 1670.958
05/12/2023 03:00 | 1777.201 | 1882.755 | 1671.648
05/12/2023 03:30 | 1790.658 | 1897.307 | 1684.01
05/12/2023 04:00 | 1810.645 | 1918.782 | 1702.507
05/12/2023 04:30 | 1832.097 | 1941.818 | 1722.376
05/12/2023 05:00 | 1855.196 | 1966.606 | 1743.785
05/12/2023 05:30 | 1896.011 | 2010.186 | 1781.836
05/12/2023 06:00 | 1955.818 | 2073.917 | 1837.718
05/12/2023 06:30 | 1972.933 | 2092.429 | 1853.437
05/12/2023 07:00 | 1935.067 | 2052.699 | 1817.436
05/12/2023 07:30 | 1805.195 | 1915.326 | 1695.064
05/12/2023 08:00 | 1683.297 | 1786.358 | 1580.235
05/12/2023 08:30 | 1646.105 | 1747.25 | 1544.96
05/12/2023 09:00 | 1624.25 | 1724.406 | 1524.093
05/12/2023 09:30 | 1607.225 | 1706.683 | 1507.767
05/12/2023 10:00 | 1639.618 | 1741.439 | 1537.797
05/12/2023 10:30 | 1724.798 | 1832.285 | 1617.31
05/12/2023 11:00 | 1753.85 | 1863.531 | 1644.169
05/12/2023 11:30 | 1734.768 | 1843.635 | 1625.901
05/12/2023 12:00 | 1706.973 | 1814.469 | 1599.478
05/12/2023 12:30 | 1616.141 | 1718.269 | 1514.012
05/12/2023 13:00 | 1587.584 | 1688.255 | 1486.913
05/12/2023 13:30 | 1701.787 | 1810.071 | 1593.502
05/12/2023 14:00 | 1816.398 | 1932.371 | 1700.424
05/12/2023 14:30 | 1915.665 | 2038.395 | 1792.934
05/12/2023 15:00 | 2030.204 | 2160.717 | 1899.692
05/12/2023 15:30 | 2153.513 | 2292.422 | 2014.603
05/12/2023 16:00 | 2262.536 | 2408.972 | 2116.1
05/12/2023 16:30 | 2361.009 | 2514.334 | 2207.683
05/12/2023 17:00 | 2456.878 | 2616.966 | 2296.79
05/12/2023 17:30 | 2517.062 | 2681.621 | 2352.502
05/12/2023 18:00 | 2540.71 | 2707.371 | 2374.05
05/12/2023 18:30 | 2549.455 | 2717.246 | 2381.663
05/12/2023 19:00 | 2543.914 | 2711.897 | 2375.932
05/12/2023 19:30 | 2498.752 | 2664.299 | 2333.206
05/12/2023 20:00 | 2422.963 | 2584.018 | 2261.909
05/12/2023 20:30 | 2337.081 | 2492.937 | 2181.224
05/12/2023 21:00 | 2246.643 | 2396.959 | 2096.326
05/12/2023 21:30 | 2163.989 | 2309.248 | 2018.73
05/12/2023 22:00 | 2085.185 | 2225.609 | 1944.76
05/12/2023 22:30 | 2015.884 | 2152.082 | 1879.686
05/12/2023 23:00 | 1962.596 | 2095.623 | 1829.569
05/12/2023 23:30 | 1917.739 | 2048.145 | 1787.334
06/12/2023 00:00 | 1878.257 | 2006.387 | 1750.126
06/12/2023 00:30 | 1848.798 | 1975.323 | 1722.273
06/12/2023 01:00 | 1829.502 | 1955.106 | 1703.897
06/12/2023 01:30 | 1812.752 | 1936.81 | 1687.902
06/12/2023 02:00 | 1799.644 | 1923.198 | 1675.303
06/12/2023 02:30 | 1793.802 | 1917.347 | 1669.473
06/12/2023 03:00 | 1794.543 | 1918.531 | 1669.77
06/12/2023 03:30 | 1806.386 | 1931.588 | 1680.396
06/12/2023 04:00 | 1824.805 | 1951.682 | 1697.131
06/12/2023 04:30 | 1851.994 | 1981.166 | 1722.013
06/12/2023 05:00 | 1860.512 | 1990.684 | 1729.527
06/12/2023 05:30 | 1842 | 1971.279 | 1711.916
06/12/2023 06:00 | 1824.694 | 1953.158 | 1695.434
06/12/2023 06:30 | 1757.082 | 1881.169 | 1632.227
06/12/2023 07:00 | 1654.96 | 1772.197 | 1537
06/12/2023 07:30 | 1524.512 | 1632.841 | 1415.516
06/12/2023 08:00 | 1399.274 | 1499.01 | 1298.927
06/12/2023 08:30 | 1300.673 | 1393.665 | 1207.113
06/12/2023 09:00 | 1232.717 | 1321.12 | 1143.776
06/12/2023 09:30 | 1175.442 | 1259.994 | 1090.376
06/12/2023 10:00 | 1145.661 | 1228.321 | 1062.5
06/12/2023 10:30 | 1154.065 | 1237.584 | 1070.042
06/12/2023 11:00 | 1183.424 | 1269.326 | 1097.005
06/12/2023 11:30 | 1217.605 | 1306.254 | 1128.424
06/12/2023 12:00 | 1249.945 | 1341.221 | 1158.122
06/12/2023 12:30 | 1276.374 | 1369.859 | 1182.331
06/12/2023 13:00 | 1326.297 | 1423.729 | 1228.286
06/12/2023 13:30 | 1441.57 | 1547.785 | 1334.725
06/12/2023 14:00 | 1560.729 | 1676.064 | 1444.711
06/12/2023 14:30 | 1683.543 | 1808.322 | 1558.764
06/12/2023 15:00 | 1852.388 | 1990.086 | 1714.69
06/12/2023 15:30 | 2030.853 | 2182.261 | 1879.445
06/12/2023 16:00 | 2197.2 | 2361.49 | 2032.91
06/12/2023 16:30 | 2350.63 | 2526.906 | 2174.354
06/12/2023 17:00 | 2483.781 | 2670.584 | 2296.977
06/12/2023 17:30 | 2561.334 | 2754.53 | 2368.138
06/12/2023 18:00 | 2587.877 | 2783.64 | 2392.113
06/12/2023 18:30 | 2595.685 | 2792.606 | 2398.764
06/12/2023 19:00 | 2587.23 | 2784.075 | 2390.385
06/12/2023 19:30 | 2537.957 | 2731.607 | 2344.306
06/12/2023 20:00 | 2456.859 | 2644.859 | 2268.86
06/12/2023 20:30 | 2368.351 | 2550.095 | 2186.607
06/12/2023 21:00 | 2276.852 | 2452.073 | 2101.632
06/12/2023 21:30 | 2191.8 | 2360.953 | 2022.646
06/12/2023 22:00 | 2109.287 | 2272.534 | 1946.04
06/12/2023 22:30 | 2038.712 | 2196.942 | 1880.482
06/12/2023 23:00 | 1989.833 | 2144.704 | 1834.962
06/12/2023 23:30 | 1950.702 | 2102.954 | 1798.451
07/12/2023 00:00 | 1920.859 | 2071.201 | 1770.517
07/12/2023 00:30 | 1895.508 | 2044.28 | 1746.736
07/12/2023 01:00 | 1875.981 | 2023.63 | 1728.331
07/12/2023 01:30 | 1857.564 | 2004.17 | 1710.958
07/12/2023 02:00 | 1845.366 | 1991.412 | 1699.32
07/12/2023 02:30 | 1837.779 | 1983.626 | 1691.932
07/12/2023 03:00 | 1837.244 | 1983.45 | 1691.037
07/12/2023 03:30 | 1847.822 | 1995.274 | 1700.37
07/12/2023 04:00 | 1864.815 | 2014.03 | 1715.599
07/12/2023 04:30 | 1886.037 | 2037.363 | 1734.712
07/12/2023 05:00 | 1902.317 | 2055.364 | 1749.27
07/12/2023 05:30 | 1917.465 | 2072.15 | 1762.78
07/12/2023 06:00 | 1949.763 | 2107.479 | 1792.046
07/12/2023 06:30 | 1946.551 | 2104.433 | 1788.669
07/12/2023 07:00 | 1904.781 | 2059.691 | 1749.871
07/12/2023 07:30 | 1816.524 | 1964.636 | 1668.412
07/12/2023 08:00 | 1703.723 | 1842.961 | 1564.484
07/12/2023 08:30 | 1580.158 | 1709.6 | 1450.715
07/12/2023 09:00 | 1488.355 | 1610.563 | 1366.147
07/12/2023 09:30 | 1436.987 | 1555.252 | 1318.722
07/12/2023 10:00 | 1409.977 | 1526.29 | 1293.665
07/12/2023 10:30 | 1416.734 | 1533.875 | 1299.592
07/12/2023 11:00 | 1425.191 | 1543.305 | 1307.077
07/12/2023 11:30 | 1417.559 | 1535.312 | 1299.805
07/12/2023 12:00 | 1443.961 | 1564.184 | 1323.738
07/12/2023 12:30 | 1511.881 | 1638.049 | 1385.713
07/12/2023 13:00 | 1589.296 | 1722.228 | 1456.363
07/12/2023 13:30 | 1741.224 | 1887.198 | 1595.25
07/12/2023 14:00 | 1890.762 | 2049.635 | 1731.889
07/12/2023 14:30 | 2015.037 | 2184.739 | 1845.336
07/12/2023 15:00 | 2165.922 | 2348.745 | 1983.098
07/12/2023 15:30 | 2328.22 | 2525.19 | 2131.251
07/12/2023 16:00 | 2454.395 | 2662.509 | 2246.28
07/12/2023 16:30 | 2543.059 | 2759.179 | 2326.939
07/12/2023 17:00 | 2623.262 | 2846.701 | 2399.823
07/12/2023 17:30 | 2681.773 | 2910.709 | 2452.836
07/12/2023 18:00 | 2707.622 | 2939.284 | 2475.96
07/12/2023 18:30 | 2710.011 | 2942.397 | 2477.626
07/12/2023 19:00 | 2702.866 | 2935.157 | 2470.574
07/12/2023 19:30 | 2658.223 | 2887.187 | 2429.259
07/12/2023 20:00 | 2577.024 | 2799.488 | 2354.561
07/12/2023 20:30 | 2480.437 | 2695.039 | 2265.836
07/12/2023 21:00 | 2377.852 | 2584.034 | 2171.67
07/12/2023 21:30 | 2288.73 | 2487.623 | 2089.838
07/12/2023 22:00 | 2202.71 | 2394.55 | 2010.87
07/12/2023 22:30 | 2121.749 | 2306.944 | 1936.554
07/12/2023 23:00 | 2053.158 | 2232.76 | 1873.556
07/12/2023 23:30 | 1993.616 | 2168.391 | 1818.84
08/12/2023 00:00 | 1941.348 | 2111.913 | 1770.783
08/12/2023 00:30 | 1901.157 | 2068.555 | 1733.758
08/12/2023 01:00 | 1871.957 | 2037.144 | 1706.771
08/12/2023 01:30 | 1852.113 | 2015.904 | 1688.323
08/12/2023 02:00 | 1836.499 | 1999.26 | 1673.738
08/12/2023 02:30 | 1826.855 | 1989.112 | 1664.599
08/12/2023 03:00 | 1823.76 | 1986.091 | 1661.428
08/12/2023 03:30 | 1832.031 | 1995.45 | 1668.613
08/12/2023 04:00 | 1847.924 | 2013.114 | 1682.733
08/12/2023 04:30 | 1865.07 | 2032.151 | 1697.99
08/12/2023 05:00 | 1870.934 | 2038.899 | 1702.969
08/12/2023 05:30 | 1861.495 | 2028.969 | 1694.021
08/12/2023 06:00 | 1839.32 | 2005.152 | 1673.489
08/12/2023 06:30 | 1769.135 | 1928.978 | 1609.293
08/12/2023 07:00 | 1670.444 | 1821.69 | 1519.198
08/12/2023 07:30 | 1543.636 | 1683.697 | 1403.576
08/12/2023 08:00 | 1412.016 | 1540.405 | 1283.628
08/12/2023 08:30 | 1306.275 | 1425.299 | 1187.25
08/12/2023 09:00 | 1237.386 | 1350.371 | 1124.401
08/12/2023 09:30 | 1181.799 | 1289.935 | 1073.663
08/12/2023 10:00 | 1160.332 | 1266.726 | 1053.938
08/12/2023 10:30 | 1166.774 | 1273.982 | 1059.566
08/12/2023 11:00 | 1189.117 | 1298.606 | 1079.628
08/12/2023 11:30 | 1211.437 | 1323.213 | 1099.661
08/12/2023 12:00 | 1259.057 | 1375.468 | 1142.646
08/12/2023 12:30 | 1328.731 | 1451.839 | 1205.623
08/12/2023 13:00 | 1386.528 | 1515.257 | 1257.799
08/12/2023 13:30 | 1498.683 | 1638.112 | 1359.254
08/12/2023 14:00 | 1632.671 | 1784.878 | 1480.464
08/12/2023 14:30 | 1770.417 | 1935.805 | 1605.03
08/12/2023 15:00 | 1941.759 | 2123.525 | 1759.993
08/12/2023 15:30 | 2129.07 | 2328.779 | 1929.362
08/12/2023 16:00 | 2299.615 | 2515.762 | 2083.469
08/12/2023 16:30 | 2442.93 | 2673.015 | 2212.844
08/12/2023 17:00 | 2554.856 | 2795.972 | 2313.739
08/12/2023 17:30 | 2609.847 | 2856.654 | 2363.041
08/12/2023 18:00 | 2625.565 | 2874.361 | 2376.769
08/12/2023 18:30 | 2624.045 | 2873.2 | 2374.89
08/12/2023 19:00 | 2606.387 | 2854.365 | 2358.409
08/12/2023 19:30 | 2566.619 | 2811.305 | 2321.933
08/12/2023 20:00 | 2496.829 | 2735.341 | 2258.318
08/12/2023 20:30 | 2418.917 | 2650.45 | 2187.385
08/12/2023 21:00 | 2337.004 | 2561.145 | 2112.865
08/12/2023 21:30 | 2262.529 | 2479.96 | 2045.098
08/12/2023 22:00 | 2185.1 | 2395.509 | 1974.692
08/12/2023 22:30 | 2106.453 | 2309.692 | 1903.214
08/12/2023 23:00 | 2034.417 | 2231.095 | 1837.738
08/12/2023 23:30 | 1971.45 | 2160.021 | 1782.879
09/12/2023 00:00 | 1913.031 | 2091.676 | 1734.387
09/12/2023 00:30 | 1870.224 | 2045.339 | 1695.109
09/12/2023 01:00 | 1837.56 | 2009.71 | 1665.41
09/12/2023 01:30 | 1813.642 | 1983.644 | 1643.64
09/12/2023 02:00 | 1797.938 | 1966.559 | 1629.316
09/12/2023 02:30 | 1783.01 | 1950.323 | 1615.698
09/12/2023 03:00 | 1774.322 | 1940.909 | 1607.734
09/12/2023 03:30 | 1772.974 | 1939.526 | 1606.423
09/12/2023 04:00 | 1766.004 | 1931.991 | 1600.018
09/12/2023 04:30 | 1740.032 | 1903.667 | 1576.398
09/12/2023 05:00 | 1707.193 | 1867.826 | 1546.56
09/12/2023 05:30 | 1662.072 | 1818.544 | 1505.6
09/12/2023 06:00 | 1587.85 | 1737.416 | 1438.284
09/12/2023 06:30 | 1480.536 | 1620.069 | 1341.004
09/12/2023 07:00 | 1365.221 | 1493.956 | 1236.487
09/12/2023 07:30 | 1247.361 | 1365.222 | 1129.501
09/12/2023 08:00 | 1135.512 | 1243.34 | 1027.685
09/12/2023 08:30 | 1032.35 | 1130.844 | 933.8569
09/12/2023 09:00 | 964.3438 | 1056.78 | 871.9072
09/12/2023 09:30 | 939.6838 | 1030.177 | 849.1906
09/12/2023 10:00 | 929.9752 | 1019.95 | 840.0007
09/12/2023 10:30 | 944.2409 | 1036.018 | 852.4637
09/12/2023 11:00 | 1005.677 | 1103.875 | 907.4785
09/12/2023 11:30 | 1058.797 | 1162.657 | 954.9383
09/12/2023 12:00 | 1123.076 | 1233.743 | 1012.409
09/12/2023 12:30 | 1218.22 | 1338.808 | 1097.633
09/12/2023 13:00 | 1302.768 | 1432.308 | 1173.229
09/12/2023 13:30 | 1416.357 | 1557.825 | 1274.889
09/12/2023 14:00 | 1566.971 | 1724.184 | 1409.758
09/12/2023 14:30 | 1747.653 | 1923.775 | 1571.53
09/12/2023 15:00 | 1921.702 | 2116.224 | 1727.18
09/12/2023 15:30 | 2116.761 | 2331.975 | 1901.547
09/12/2023 16:00 | 2311.033 | 2547.033 | 2075.033
09/12/2023 16:30 | 2483.285 | 2737.986 | 2228.583
09/12/2023 17:00 | 2617.715 | 2887.376 | 2348.054
09/12/2023 17:30 | 2709.463 | 2989.787 | 2429.138
09/12/2023 18:00 | 2741.566 | 3026.438 | 2456.693
09/12/2023 18:30 | 2732.007 | 3017.109 | 2446.905
09/12/2023 19:00 | 2710.939 | 2995.055 | 2426.823
09/12/2023 19:30 | 2672.458 | 2953.737 | 2391.178
09/12/2023 20:00 | 2602.57 | 2877.658 | 2327.482
09/12/2023 20:30 | 2533.857 | 2802.816 | 2264.898
09/12/2023 21:00 | 2461.547 | 2723.932 | 2199.162
09/12/2023 21:30 | 2383.642 | 2638.79 | 2128.495
09/12/2023 22:00 | 2305.225 | 2553.01 | 2057.439
09/12/2023 22:30 | 2228.732 | 2469.292 | 1988.172
09/12/2023 23:00 | 2155.547 | 2389.173 | 1921.922
09/12/2023 23:30 | 2093.969 | 2321.858 | 1866.081
10/12/2023 00:00 | 2038.728 | 2261.516 | 1815.939
10/12/2023 00:30 | 1994.218 | 2213.035 | 1775.401
10/12/2023 01:00 | 1958.981 | 2174.809 | 1743.154
10/12/2023 01:30 | 1930.149 | 2143.664 | 1716.635
10/12/2023 02:00 | 1907.276 | 2119.114 | 1695.438
10/12/2023 02:30 | 1887.96 | 2098.498 | 1677.423
10/12/2023 03:00 | 1875.468 | 2085.452 | 1665.485
10/12/2023 03:30 | 1865.169 | 2074.833 | 1655.504
10/12/2023 04:00 | 1845.387 | 2053.653 | 1637.12
10/12/2023 04:30 | 1804.235 | 2008.665 | 1599.805
10/12/2023 05:00 | 1752.236 | 1951.558 | 1552.914
10/12/2023 05:30 | 1693.113 | 1886.468 | 1499.759
10/12/2023 06:00 | 1615.047 | 1800.208 | 1429.885
10/12/2023 06:30 | 1517.039 | 1691.644 | 1342.435
10/12/2023 07:00 | 1422.389 | 1586.736 | 1258.042
10/12/2023 07:30 | 1336.604 | 1491.637 | 1181.57