## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
06/12/2023 08:00 | 1553.59 | 1579.468 | 1535.464
06/12/2023 08:30 | 1463.395 | 1488.418 | 1438.371 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
06/12/2023 09:00 | 1387.416 | 1415.265 | 1359.568 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
06/12/2023 09:30 | 1336.826 | 1367.633 | 1306.019 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
06/12/2023 10:00 | 1309.701 | 1343.776 | 1275.625 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
06/12/2023 10:30 | 1315.414 | 1352.608 | 1278.22 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
06/12/2023 11:00 | 1356.173 | 1406.344 | 1326.766 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
06/12/2023 11:30 | 1404.153 | 1450.401 | 1365.695 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
06/12/2023 12:00 | 1451.124 | 1495.603 | 1405.544 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
06/12/2023 12:30 | 1504.654 | 1550.622 | 1454.443 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
06/12/2023 13:00 | 1574.957 | 1624.89 | 1521.169 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
06/12/2023 13:30 | 1672.972 | 1729.377 | 1615.867
06/12/2023 14:00 | 1779.534 | 1840.152 | 1716.059 | Summary view - for each schedule horizon (dispatch, week-ahead)
06/12/2023 14:30 | 1906.293 | 1973.294 | 1836.676
06/12/2023 15:00 | 2067.595 | 2143.764 | 1991.499 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
06/12/2023 15:30 | 2244.578 | 2327.804 | 2158.301 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
06/12/2023 16:00 | 2410.076 | 2501.622 | 2314.991 | Scenario | Violations
06/12/2023 16:30 | 2556.75 | 2657.432 | 2454.438 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
06/12/2023 17:00 | 2674.914 | 2781.309 | 2563.901 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
06/12/2023 17:30 | 2738.654 | 2850.024 | 2622.181 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
06/12/2023 18:00 | 2753.06 | 2868.466 | 2634.06 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
06/12/2023 18:30 | 2741.526 | 2860.396 | 2622.655 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 2
06/12/2023 19:00 | 2713.953 | 2832.596 | 2595.31
06/12/2023 19:30 | 2666.208 | 2783.807 | 2548.608 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
06/12/2023 20:00 | 2580.734 | 2695.573 | 2465.895
06/12/2023 20:30 | 2479.469 | 2590.772 | 2368.165 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
06/12/2023 21:00 | 2373.01 | 2480.463 | 2265.556 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
06/12/2023 21:30 | 2276.876 | 2380.867 | 2172.884 | [12 empty] | 06/12/2023 08:00 | [6 empty] | 06/12/2023 10:00 |  |  |  |  | 11/12/2023 11:00 | [6 empty] | 06/12/2023 10:00 |  |  |  |  | 06/12/2023 08:00
06/12/2023 22:00 | 2188.795 | 2289.621 | 2087.97 | [31 empty] | 06/12/2023 10:30 |  |  |  |  | 06/12/2023 10:00
06/12/2023 22:30 | 2111.263 | 2209.343 | 2013.183 | [31 empty] | 06/12/2023 11:00
06/12/2023 23:00 | 2048.062 | 2144.008 | 1952.117
06/12/2023 23:30 | 1992 | 2086.099 | 1897.901
07/12/2023 00:00 | 1944.413 | 2037.025 | 1851.801
07/12/2023 00:30 | 1907.859 | 1999.477 | 1816.242
07/12/2023 01:00 | 1880.884 | 1971.943 | 1789.826
07/12/2023 01:30 | 1862.364 | 1953.254 | 1771.473
07/12/2023 02:00 | 1851.07 | 1942.134 | 1760.006
07/12/2023 02:30 | 1843.66 | 1935.082 | 1752.239
07/12/2023 03:00 | 1842.702 | 1934.797 | 1750.607
07/12/2023 03:30 | 1851.561 | 1944.825 | 1758.299
07/12/2023 04:00 | 1868.37 | 1963.21 | 1773.529
07/12/2023 04:30 | 1891.038 | 1987.77 | 1794.307
07/12/2023 05:00 | 1902.424 | 2000.483 | 1804.366
07/12/2023 05:30 | 1899.218 | 1997.855 | 1800.582
07/12/2023 06:00 | 1904.448 | 2004.103 | 1804.796
07/12/2023 06:30 | 1868.966 | 1967.344 | 1770.589
07/12/2023 07:00 | 1811.077 | 1906.682 | 1715.473
07/12/2023 07:30 | 1728.717 | 1820.259 | 1637.175
07/12/2023 08:00 | 1655.651 | 1743.598 | 1567.705
07/12/2023 08:30 | 1606.855 | 1692.476 | 1521.236
07/12/2023 09:00 | 1563.549 | 1647.119 | 1479.978
07/12/2023 09:30 | 1506.07 | 1586.817 | 1425.323
07/12/2023 10:00 | 1504.088 | 1584.977 | 1423.199
07/12/2023 10:30 | 1591.001 | 1676.827 | 1505.175
07/12/2023 11:00 | 1648.145 | 1737.326 | 1558.965
07/12/2023 11:30 | 1632.773 | 1721.391 | 1544.155
07/12/2023 12:00 | 1614.75 | 1702.657 | 1526.844
07/12/2023 12:30 | 1593.997 | 1681.037 | 1506.957
07/12/2023 13:00 | 1579.104 | 1665.592 | 1492.616
07/12/2023 13:30 | 1613.184 | 1701.804 | 1524.563
07/12/2023 14:00 | 1665.729 | 1757.559 | 1573.947
07/12/2023 14:30 | 1760.543 | 1857.887 | 1663.246
07/12/2023 15:00 | 1892.714 | 1997.672 | 1787.8
07/12/2023 15:30 | 2055.347 | 2169.656 | 1941.079
07/12/2023 16:00 | 2218.138 | 2341.86 | 2094.453
07/12/2023 16:30 | 2373.429 | 2506.197 | 2240.693
07/12/2023 17:00 | 2509.775 | 2650.576 | 2368.999
07/12/2023 17:30 | 2604.331 | 2750.86 | 2457.822
07/12/2023 18:00 | 2648.915 | 2798.383 | 2499.46
07/12/2023 18:30 | 2657.917 | 2808.331 | 2507.516
07/12/2023 19:00 | 2637.489 | 2787.177 | 2487.808
07/12/2023 19:30 | 2604.923 | 2753.19 | 2456.66
07/12/2023 20:00 | 2531.816 | 2676.339 | 2387.296
07/12/2023 20:30 | 2438.76 | 2578.375 | 2299.149
07/12/2023 21:00 | 2333.9 | 2467.896 | 2199.906
07/12/2023 21:30 | 2243.603 | 2372.785 | 2114.423
07/12/2023 22:00 | 2161.168 | 2285.961 | 2036.378
07/12/2023 22:30 | 2083.45 | 2204.1 | 1962.804
07/12/2023 23:00 | 2015.749 | 2132.811 | 1898.69
07/12/2023 23:30 | 1956.794 | 2070.756 | 1842.836
08/12/2023 00:00 | 1904.23 | 2015.444 | 1793.019
08/12/2023 00:30 | 1864.673 | 1973.882 | 1755.461
08/12/2023 01:00 | 1836.234 | 1944.08 | 1728.385
08/12/2023 01:30 | 1818.874 | 1926.002 | 1711.745
08/12/2023 02:00 | 1806.534 | 1913.233 | 1699.834
08/12/2023 02:30 | 1799.31 | 1905.879 | 1692.74
08/12/2023 03:00 | 1797.967 | 1904.753 | 1691.18
08/12/2023 03:30 | 1807.19 | 1914.823 | 1699.557
08/12/2023 04:00 | 1824.29 | 1933.242 | 1715.337
08/12/2023 04:30 | 1846.391 | 1950.317 | 1735.814
08/12/2023 05:00 | 1852.517 | 1957.123 | 1741.267
08/12/2023 05:30 | 1836.567 | 1940.408 | 1725.972
08/12/2023 06:00 | 1827.028 | 1930.45 | 1716.706
08/12/2023 06:30 | 1790.534 | 1891.767 | 1682.085
08/12/2023 07:00 | 1707.856 | 1804.632 | 1604.037
08/12/2023 07:30 | 1562.94 | 1652.32 | 1467.589
08/12/2023 08:00 | 1422.763 | 1505.094 | 1335.652
08/12/2023 08:30 | 1317.121 | 1393.136 | 1236.19
08/12/2023 09:00 | 1254.045 | 1326.298 | 1176.716
08/12/2023 09:30 | 1204.927 | 1274.197 | 1130.364
08/12/2023 10:00 | 1177.769 | 1244.556 | 1104.629
08/12/2023 10:30 | 1169.707 | 1235.424 | 1096.812
08/12/2023 11:00 | 1196.865 | 1264.551 | 1122.016
08/12/2023 11:30 | 1217.178 | 1285.293 | 1140.793
08/12/2023 12:00 | 1244.141 | 1312.472 | 1165.792
08/12/2023 12:30 | 1298.206 | 1368.765 | 1216.169
08/12/2023 13:00 | 1340.888 | 1412.789 | 1255.861
08/12/2023 13:30 | 1423.643 | 1499.167 | 1333.057
08/12/2023 14:00 | 1525.434 | 1606.22 | 1428.038
08/12/2023 14:30 | 1643.252 | 1730.906 | 1537.974
08/12/2023 15:00 | 1804.682 | 1902.052 | 1688.667
08/12/2023 15:30 | 1992.697 | 2102.472 | 1864.16
08/12/2023 16:00 | 2172.361 | 2295.125 | 2031.761
08/12/2023 16:30 | 2317.954 | 2467.471 | 2180.992
08/12/2023 17:00 | 2451.497 | 2610.163 | 2303.584
08/12/2023 17:30 | 2524.96 | 2688.933 | 2369.797
08/12/2023 18:00 | 2534.059 | 2699.176 | 2375.74
08/12/2023 18:30 | 2536.159 | 2701.967 | 2375.855
08/12/2023 19:00 | 2552.441 | 2719.871 | 2389.576
08/12/2023 19:30 | 2522.677 | 2688.706 | 2360.113
08/12/2023 20:00 | 2460.056 | 2622.501 | 2300.382
08/12/2023 20:30 | 2383.098 | 2540.982 | 2227.406
08/12/2023 21:00 | 2299.608 | 2452.463 | 2148.561
08/12/2023 21:30 | 2225.549 | 2373.968 | 2078.699
08/12/2023 22:00 | 2150.562 | 2294.45 | 2008.106
08/12/2023 22:30 | 2074.285 | 2213.523 | 1936.532
08/12/2023 23:00 | 2002.347 | 2137.193 | 1869.299
08/12/2023 23:30 | 1938.515 | 2074.103 | 1805.103
09/12/2023 00:00 | 1879.321 | 2020.058 | 1741.077
09/12/2023 00:30 | 1835.663 | 1972.825 | 1701.098
09/12/2023 01:00 | 1802.554 | 1937.673 | 1670.017
09/12/2023 01:30 | 1781.374 | 1915.33 | 1647.417
09/12/2023 02:00 | 1766.663 | 1899.935 | 1633.391
09/12/2023 02:30 | 1752.341 | 1884.951 | 1619.73
09/12/2023 03:00 | 1744.482 | 1876.914 | 1612.049
09/12/2023 03:30 | 1744.053 | 1876.869 | 1611.236
09/12/2023 04:00 | 1739.858 | 1872.77 | 1606.945
09/12/2023 04:30 | 1718.596 | 1850.295 | 1586.897
09/12/2023 05:00 | 1685.057 | 1814.588 | 1555.526
09/12/2023 05:30 | 1637.232 | 1763.478 | 1510.986
09/12/2023 06:00 | 1569.547 | 1690.949 | 1448.145
09/12/2023 06:30 | 1467.769 | 1581.649 | 1353.889
09/12/2023 07:00 | 1341.59 | 1446 | 1237.179
09/12/2023 07:30 | 1202.962 | 1296.871 | 1109.052
09/12/2023 08:00 | 1071.818 | 1155.746 | 987.8911
09/12/2023 08:30 | 949.3965 | 1023.965 | 874.8284
09/12/2023 09:00 | 874.9447 | 943.8741 | 806.0152
09/12/2023 09:30 | 831.6055 | 897.3193 | 765.8917
09/12/2023 10:00 | 804.1241 | 867.8585 | 740.3898
09/12/2023 10:30 | 782.7916 | 845.0222 | 720.5611
09/12/2023 11:00 | 817.6956 | 882.8962 | 752.4949
09/12/2023 11:30 | 846.6807 | 914.3947 | 778.9666
09/12/2023 12:00 | 890.7306 | 962.1803 | 819.2809
09/12/2023 12:30 | 978.1533 | 1056.849 | 899.4573
09/12/2023 13:00 | 1038.789 | 1122.612 | 954.9666
09/12/2023 13:30 | 1121.403 | 1212.16 | 1030.646
09/12/2023 14:00 | 1242.051 | 1342.869 | 1141.234
09/12/2023 14:30 | 1402.603 | 1516.787 | 1288.418
09/12/2023 15:00 | 1577.437 | 1706.231 | 1448.642
09/12/2023 15:30 | 1780.997 | 1926.837 | 1635.157
09/12/2023 16:00 | 1987.414 | 2150.632 | 1824.196
09/12/2023 16:30 | 2185.26 | 2365.249 | 2005.272
09/12/2023 17:00 | 2348.022 | 2541.977 | 2154.068
09/12/2023 17:30 | 2461.315 | 2665.217 | 2257.414
09/12/2023 18:00 | 2493.171 | 2700.307 | 2286.035
09/12/2023 18:30 | 2494.117 | 2701.927 | 2286.307
09/12/2023 19:00 | 2504.039 | 2713.274 | 2294.804
09/12/2023 19:30 | 2471.205 | 2678.287 | 2264.123
09/12/2023 20:00 | 2406.855 | 2609.12 | 2204.591
09/12/2023 20:30 | 2343.944 | 2541.481 | 2146.407
09/12/2023 21:00 | 2275.652 | 2467.978 | 2083.326
09/12/2023 21:30 | 2205.644 | 2392.579 | 2018.708
09/12/2023 22:00 | 2138.709 | 2320.482 | 1956.935
09/12/2023 22:30 | 2069.987 | 2246.414 | 1893.56
09/12/2023 23:00 | 1996.872 | 2167.544 | 1826.199
09/12/2023 23:30 | 1930.777 | 2096.262 | 1765.292
10/12/2023 00:00 | 1867.153 | 2027.63 | 1706.675
10/12/2023 00:30 | 1820.298 | 1977.183 | 1663.413
10/12/2023 01:00 | 1786.829 | 1941.257 | 1632.402
10/12/2023 01:30 | 1767.269 | 1920.428 | 1614.11
10/12/2023 02:00 | 1752.828 | 1905.154 | 1600.501
10/12/2023 02:30 | 1740.243 | 1891.892 | 1588.595
10/12/2023 03:00 | 1733.856 | 1885.362 | 1582.35
10/12/2023 03:30 | 1727.845 | 1879.239 | 1576.452
10/12/2023 04:00 | 1711.273 | 1861.624 | 1560.923
10/12/2023 04:30 | 1676.387 | 1824.072 | 1528.701
10/12/2023 05:00 | 1626.315 | 1769.978 | 1482.652
10/12/2023 05:30 | 1555.059 | 1692.799 | 1417.319
10/12/2023 06:00 | 1461.788 | 1591.616 | 1331.961
10/12/2023 06:30 | 1346.249 | 1466.136 | 1226.361
10/12/2023 07:00 | 1217.815 | 1326.556 | 1109.074
10/12/2023 07:30 | 1090.131 | 1187.658 | 992.6036
10/12/2023 08:00 | 987.2702 | 1075.634 | 898.9061
10/12/2023 08:30 | 880.5128 | 959.3667 | 801.6589
10/12/2023 09:00 | 809.4205 | 881.949 | 736.892
10/12/2023 09:30 | 779.3275 | 849.1993 | 709.4557
10/12/2023 10:00 | 786.707 | 857.2805 | 716.1335
10/12/2023 10:30 | 794.8051 | 866.1455 | 723.4646
10/12/2023 11:00 | 844.5181 | 920.3638 | 768.6724
10/12/2023 11:30 | 909.9926 | 991.7649 | 828.2203
10/12/2023 12:00 | 970.6781 | 1057.953 | 883.4031
10/12/2023 12:30 | 1051.532 | 1146.13 | 956.9338
10/12/2023 13:00 | 1142.436 | 1245.271 | 1039.602
10/12/2023 13:30 | 1258.334 | 1371.665 | 1145.003
10/12/2023 14:00 | 1410.415 | 1537.515 | 1283.315
10/12/2023 14:30 | 1584.533 | 1727.404 | 1441.661
10/12/2023 15:00 | 1768.297 | 1927.828 | 1608.766
10/12/2023 15:30 | 1985.55 | 2164.782 | 1806.318
10/12/2023 16:00 | 2204.08 | 2403.151 | 2005.009
10/12/2023 16:30 | 2407.86 | 2625.458 | 2190.261
10/12/2023 17:00 | 2580.992 | 2814.369 | 2347.616
10/12/2023 17:30 | 2691.33 | 2934.82 | 2447.839
10/12/2023 18:00 | 2691.131 | 2934.74 | 2447.521
10/12/2023 18:30 | 2667.449 | 2909.051 | 2425.847
10/12/2023 19:00 | 2688.108 | 2931.718 | 2444.498
10/12/2023 19:30 | 2649.392 | 2889.628 | 2409.155
10/12/2023 20:00 | 2568.982 | 2802.058 | 2335.906
10/12/2023 20:30 | 2476.125 | 2700.902 | 2251.347
10/12/2023 21:00 | 2371.743 | 2587.166 | 2156.32
10/12/2023 21:30 | 2278.206 | 2485.249 | 2071.162
10/12/2023 22:00 | 2193.287 | 2392.725 | 1993.849
10/12/2023 22:30 | 2114.681 | 2307.079 | 1922.283
10/12/2023 23:00 | 2051.19 | 2237.916 | 1864.464
10/12/2023 23:30 | 1996.45 | 2175.925 | 1816.975
11/12/2023 00:00 | 1949.614 | 2120.494 | 1778.734
11/12/2023 00:30 | 1913.63 | 2082.127 | 1745.134
11/12/2023 01:00 | 1887.375 | 2053.922 | 1720.828
11/12/2023 01:30 | 1869.312 | 2034.624 | 1704.001
11/12/2023 02:00 | 1856.734 | 2021.288 | 1692.179
11/12/2023 02:30 | 1848.708 | 2012.906 | 1684.511
11/12/2023 03:00 | 1844.971 | 2009.19 | 1680.752
11/12/2023 03:30 | 1853.946 | 2019.319 | 1688.572
11/12/2023 04:00 | 1870.379 | 2037.577 | 1703.181
11/12/2023 04:30 | 1894.869 | 2064.619 | 1725.119
11/12/2023 05:00 | 1911.284 | 2082.871 | 1739.697
11/12/2023 05:30 | 1905.764 | 2077.22 | 1734.307
11/12/2023 06:00 | 1899.719 | 2070.997 | 1728.442
11/12/2023 06:30 | 1851.967 | 2019.294 | 1684.64
11/12/2023 07:00 | 1782.224 | 1943.591 | 1620.857
11/12/2023 07:30 | 1686.198 | 1839.194 | 1533.203
11/12/2023 08:00 | 1597.88 | 1743.169 | 1452.592
11/12/2023 08:30 | 1536.188 | 1676.161 | 1396.214
11/12/2023 09:00 | 1501.114 | 1638.179 | 1364.048
11/12/2023 09:30 | 1482.931 | 1618.62 | 1347.241
11/12/2023 10:00 | 1512.226 | 1650.886 | 1373.566
11/12/2023 10:30 | 1556.821 | 1699.868 | 1413.774
11/12/2023 11:00 | 1611.206 | 1759.559 | 1462.853
11/12/2023 11:30 | 1682.778 | 1838.044 | 1527.512
11/12/2023 12:00 | 1763.704 | 1926.774 | 1600.633
11/12/2023 12:30 | 1864.992 | 2037.785 | 1692.199
11/12/2023 13:00 | 1950.279 | 2131.348 | 1769.211
11/12/2023 13:30 | 2054.778 | 2245.942 | 1863.613
11/12/2023 14:00 | 2194.769 | 2399.377 | 1990.16
11/12/2023 14:30 | 2360.088 | 2580.561 | 2139.615
11/12/2023 15:00 | 2542.825 | 2780.857 | 2304.794
11/12/2023 15:30 | 2732.712 | 2989.042 | 2476.381
11/12/2023 16:00 | 2905.875 | 3179.006 | 2632.745
11/12/2023 16:30 | 3059.605 | 3347.771 | 2771.439
11/12/2023 17:00 | 3174.66 | 3474.271 | 2875.049
11/12/2023 17:30 | 3223.213 | 3528.024 | 2918.402
11/12/2023 18:00 | 3185.218 | 3487.046 | 2883.389
11/12/2023 18:30 | 3124.344 | 3421.003 | 2827.685
11/12/2023 19:00 | 3090.816 | 3384.883 | 2796.748
11/12/2023 19:30 | 3016.369 | 3303.931 | 2728.806
11/12/2023 20:00 | 2900.992 | 3178.112 | 2623.873
11/12/2023 20:30 | 2772.141 | 3037.483 | 2506.798
11/12/2023 21:00 | 2634.964 | 2887.681 | 2382.247
11/12/2023 21:30 | 2510.447 | 2751.702 | 2269.191
11/12/2023 22:00 | 2397.908 | 2628.808 | 2167.008
11/12/2023 22:30 | 2302.308 | 2524.444 | 2080.172
11/12/2023 23:00 | 2223.918 | 2438.917 | 2008.919
11/12/2023 23:30 | 2155.532 | 2364.333 | 1946.732
12/12/2023 00:00 | 2096.553 | 2300.042 | 1893.063
12/12/2023 00:30 | 2052.522 | 2252.131 | 1852.913
12/12/2023 01:00 | 2022.147 | 2219.19 | 1825.104
12/12/2023 01:30 | 1997.205 | 2192.201 | 1802.21
12/12/2023 02:00 | 1977.881 | 2171.369 | 1784.393
12/12/2023 02:30 | 1963.838 | 2156.329 | 1771.348
12/12/2023 03:00 | 1956.048 | 2148.149 | 1763.946
12/12/2023 03:30 | 1961.337 | 2154.334 | 1768.34
12/12/2023 04:00 | 1974.371 | 2169.029 | 1779.713
12/12/2023 04:30 | 1993.267 | 2190.17 | 1796.364
12/12/2023 05:00 | 2004.799 | 2203.225 | 1806.372
12/12/2023 05:30 | 2002.395 | 2200.967 | 1803.823
12/12/2023 06:00 | 2006.833 | 2206.23 | 1807.436
12/12/2023 06:30 | 1971.256 | 2167.496 | 1775.016
12/12/2023 07:00 | 1905.376 | 2095.423 | 1715.329
12/12/2023 07:30 | 1801.754 | 1981.903 | 1621.606
12/12/2023 08:00 | 1706.234 | 1877.419 | 1535.049
12/12/2023 08:30 | 1646.786 | 1812.559 | 1481.013
12/12/2023 09:00 | 1631.538 | 1796.323 | 1466.753
12/12/2023 09:30 | 1623.535 | 1788.056 | 1459.014
12/12/2023 10:00 | 1635.532 | 1801.818 | 1469.247
12/12/2023 10:30 | 1686.977 | 1859.059 | 1514.896
12/12/2023 11:00 | 1737.892 | 1915.749 | 1560.034
12/12/2023 11:30 | 1791.379 | 1975.311 | 1607.447
12/12/2023 12:00 | 1858.815 | 2050.294 | 1667.336
12/12/2023 12:30 | 1950.844 | 2152.457 | 1749.23
12/12/2023 13:00 | 2044.579 | 2256.565 | 1832.593
12/12/2023 13:30 | 2156.185 | 2380.465 | 1931.904
12/12/2023 14:00 | 2279.168 | 2517.005 | 2041.33
12/12/2023 14:30 | 2424.126 | 2677.904 | 2170.35
12/12/2023 15:00 | 2614.136 | 2888.681 | 2339.591
12/12/2023 15:30 | 2806.935 | 3102.67 | 2511.2
12/12/2023 16:00 | 2968.557 | 3282.316 | 2654.799
12/12/2023 16:30 | 3117.227 | 3447.744 | 2786.71
12/12/2023 17:00 | 3221.442 | 3564.089 | 2878.795
12/12/2023 17:30 | 3256.821 | 3604.323 | 2909.319
12/12/2023 18:00 | 3198.475 | 3540.824 | 2856.126
12/12/2023 18:30 | 3136.004 | 3472.718 | 2799.29
12/12/2023 19:00 | 3131.51 | 3468.792 | 2794.229
12/12/2023 19:30 | 3053.284 | 3383.163 | 2723.404
12/12/2023 20:00 | 2935.193 | 3253.299 | 2617.088
12/12/2023 20:30 | 2801.398 | 3105.942 | 2496.854
12/12/2023 21:00 | 2657.62 | 2947.425 | 2367.815
12/12/2023 21:30 | 2529.215 | 2805.866 | 2252.564
12/12/2023 22:00 | 2413.035 | 2677.787 | 2148.283
12/12/2023 22:30 | 2316.719 | 2571.68 | 2061.758
12/12/2023 23:00 | 2241.641 | 2489.092 | 1994.191
12/12/2023 23:30 | 2180.243 | 2421.647 | 1938.839
13/12/2023 00:00 | 2129.921 | 2366.467 | 1893.375
13/12/2023 00:30 | 2086.421 | 2318.835 | 1854.006
13/12/2023 01:00 | 2051.056 | 2280.219 | 1821.893
13/12/2023 01:30 | 2021.825 | 2248.4 | 1795.251
13/12/2023 02:00 | 1998.469 | 2223.097 | 1773.842
13/12/2023 02:30 | 1983.452 | 2207.057 | 1759.848
13/12/2023 03:00 | 1976.285 | 2199.744 | 1752.826
13/12/2023 03:30 | 1982.852 | 2207.719 | 1757.985
13/12/2023 04:00 | 1997.175 | 2224.335 | 1770.014
13/12/2023 04:30 | 2018.322 | 2248.565 | 1788.08
13/12/2023 05:00 | 2032.148 | 2264.649 | 1799.647
13/12/2023 05:30 | 2028.428 | 2261.183 | 1795.672
13/12/2023 06:00 | 2028.562 | 2262.013 | 1795.11
13/12/2023 06:30 | 1994.878 | 2225.122 | 1764.635
13/12/2023 07:00 | 1937.698 | 2161.991 | 1713.404
13/12/2023 07:30 | 1844.395 | 2058.507 | 1630.283