## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
07/12/2023 08:00 | 1667.47 | 1682.994 | 1636.106
07/12/2023 08:30 | 1586.596 | 1613.727 | 1559.466 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
07/12/2023 09:00 | 1518.494 | 1548.974 | 1488.014 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
07/12/2023 09:30 | 1472.911 | 1506.855 | 1438.968 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
07/12/2023 10:00 | 1471.32 | 1509.6 | 1433.039 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
07/12/2023 10:30 | 1502.728 | 1545.218 | 1460.238 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
07/12/2023 11:00 | 1541.865 | 1586.758 | 1496.972 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
07/12/2023 11:30 | 1540.417 | 1586.752 | 1494.083 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
07/12/2023 12:00 | 1526.783 | 1574.178 | 1479.388 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
07/12/2023 12:30 | 1527.406 | 1576.291 | 1478.52 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
07/12/2023 13:00 | 1537.976 | 1591.566 | 1489.972 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
07/12/2023 13:30 | 1595.552 | 1649.15 | 1540.906
07/12/2023 14:00 | 1663.661 | 1719.184 | 1603.249 | Summary view - for each schedule horizon (dispatch, week-ahead)
07/12/2023 14:30 | 1749.555 | 1809.219 | 1683.961
07/12/2023 15:00 | 1875.652 | 1942.118 | 1804.176 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
07/12/2023 15:30 | 2031.801 | 2105.243 | 1951.946 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
07/12/2023 16:00 | 2184.925 | 2266.4 | 2097.318 | Scenario | Violations
07/12/2023 16:30 | 2327.647 | 2417.687 | 2233.006 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
07/12/2023 17:00 | 2454.131 | 2551.143 | 2351.726 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
07/12/2023 17:30 | 2544.767 | 2648.106 | 2436.405 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0
07/12/2023 18:00 | 2590.698 | 2699.183 | 2478.611 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 75 | 0 | 0 | 0 | 0 | 0
07/12/2023 18:30 | 2599.24 | 2711.941 | 2486.539 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 52 | 0 | 0 | 0 | 0 | 0
07/12/2023 19:00 | 2587.069 | 2700.166 | 2473.973
07/12/2023 19:30 | 2556.271 | 2669.021 | 2443.52 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
07/12/2023 20:00 | 2485.938 | 2596.56 | 2375.317
07/12/2023 20:30 | 2395.869 | 2503.419 | 2288.318 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
07/12/2023 21:00 | 2293.589 | 2397.446 | 2189.732 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
07/12/2023 21:30 | 2206.121 | 2306.881 | 2105.361 | [7 empty] | 07/12/2023 09:30 | [11 empty] | 07/12/2023 09:30 | [11 empty] | 07/12/2023 09:00
07/12/2023 22:00 | 2126.59 | 2224.55 | 2028.63 | [7 empty] | 07/12/2023 10:00 | [11 empty] | 07/12/2023 10:00 | [11 empty] | 07/12/2023 09:30
07/12/2023 22:30 | 2052.555 | 2147.908 | 1957.203 | [7 empty] | 07/12/2023 10:30 | [11 empty] | 07/12/2023 10:30 | [11 empty] | 07/12/2023 10:00
07/12/2023 23:00 | 1989.727 | 2082.94 | 1896.514 | [7 empty] | 07/12/2023 11:00 | [11 empty] | 07/12/2023 11:00 | [11 empty] | 07/12/2023 10:30
07/12/2023 23:30 | 1936.083 | 2027.541 | 1844.626 | [7 empty] | 07/12/2023 11:30 | [11 empty] | 07/12/2023 11:30 | [11 empty] | 07/12/2023 11:00
08/12/2023 00:00 | 1888.303 | 1978.242 | 1798.363 | [7 empty] | 07/12/2023 12:00 | [11 empty] | 07/12/2023 12:00 | [11 empty] | 07/12/2023 11:30
08/12/2023 00:30 | 1851.353 | 1940.257 | 1762.449 | [7 empty] | 07/12/2023 12:30 | [11 empty] | 07/12/2023 12:30 | [11 empty] | 07/12/2023 12:00
08/12/2023 01:00 | 1824.761 | 1913.103 | 1736.42 | [7 empty] | 07/12/2023 13:00 | [11 empty] | 07/12/2023 13:00 | [11 empty] | 07/12/2023 12:30
08/12/2023 01:30 | 1808.15 | 1896.395 | 1719.905 | [7 empty] | 07/12/2023 13:30 | [11 empty] | 07/12/2023 13:30 | [11 empty] | 07/12/2023 13:00
08/12/2023 02:00 | 1796.477 | 1884.855 | 1708.099 | [7 empty] | 07/12/2023 14:00 | [11 empty] | 07/12/2023 14:00 | [11 empty] | 07/12/2023 13:30
08/12/2023 02:30 | 1789.915 | 1878.671 | 1701.159 | [7 empty] | 08/12/2023 07:30 | [11 empty] | 08/12/2023 07:00 | [11 empty] | 07/12/2023 14:00
08/12/2023 03:00 | 1788.985 | 1878.395 | 1699.574 | [7 empty] | 08/12/2023 08:00 | [11 empty] | 08/12/2023 07:30 | [11 empty] | 09/12/2023 08:30
08/12/2023 03:30 | 1798.499 | 1889.089 | 1707.909 | [7 empty] | 08/12/2023 08:30 | [11 empty] | 08/12/2023 08:00 | [11 empty] | 09/12/2023 09:00
08/12/2023 04:00 | 1816.257 | 1908.452 | 1724.062 | [7 empty] | 08/12/2023 09:00 | [11 empty] | 08/12/2023 08:30 | [11 empty] | 09/12/2023 09:30
08/12/2023 04:30 | 1839.443 | 1933.535 | 1745.351 | [7 empty] | 08/12/2023 09:30 | [11 empty] | 08/12/2023 09:00 | [11 empty] | 09/12/2023 15:00
08/12/2023 05:00 | 1845.253 | 1940.365 | 1750.142 | [7 empty] | 08/12/2023 10:00 | [11 empty] | 08/12/2023 09:30 | [11 empty] | 10/12/2023 12:30
08/12/2023 05:30 | 1828.776 | 1923.754 | 1733.798 | [7 empty] | 08/12/2023 10:30 | [11 empty] | 08/12/2023 10:00 | [11 empty] | 10/12/2023 13:00
08/12/2023 06:00 | 1808.722 | 1903.366 | 1714.078 | [7 empty] | 08/12/2023 11:00 | [11 empty] | 08/12/2023 10:30 | [11 empty] | 10/12/2023 13:30
08/12/2023 06:30 | 1739.85 | 1831.431 | 1648.268 | [7 empty] | 08/12/2023 11:30 | [11 empty] | 08/12/2023 11:00 | [11 empty] | 10/12/2023 14:00
08/12/2023 07:00 | 1642.23 | 1728.921 | 1555.538 | [7 empty] | 08/12/2023 12:00 | [11 empty] | 08/12/2023 11:30 | [11 empty] | 10/12/2023 14:30
08/12/2023 07:30 | 1510.111 | 1590.078 | 1430.145 | [7 empty] | 08/12/2023 12:30 | [11 empty] | 08/12/2023 12:00 | [11 empty] | 10/12/2023 15:00
08/12/2023 08:00 | 1378.334 | 1451.55 | 1305.118 | [7 empty] | 08/12/2023 13:00 | [11 empty] | 08/12/2023 12:30 | [11 empty] | 11/12/2023 11:00
08/12/2023 08:30 | 1275.507 | 1343.471 | 1207.542 | [7 empty] | 08/12/2023 13:30 | [11 empty] | 08/12/2023 13:00 | [11 empty] | 11/12/2023 11:30
08/12/2023 09:00 | 1203.997 | 1268.35 | 1139.645 | [7 empty] | 08/12/2023 14:00 | [11 empty] | 08/12/2023 13:30 | [11 empty] | 11/12/2023 12:00
08/12/2023 09:30 | 1143.291 | 1204.588 | 1081.995 | [7 empty] | 08/12/2023 14:30 | [11 empty] | 08/12/2023 14:00 | [11 empty] | 11/12/2023 12:30
08/12/2023 10:00 | 1104.143 | 1163.523 | 1044.763 | [7 empty] | 09/12/2023 08:00 | [11 empty] | 08/12/2023 14:30 | [11 empty] | 11/12/2023 13:00
08/12/2023 10:30 | 1091.733 | 1150.626 | 1032.84 | [7 empty] | 09/12/2023 08:30 | [11 empty] | 09/12/2023 08:00 | [11 empty] | 11/12/2023 13:30
08/12/2023 11:00 | 1112.161 | 1172.339 | 1051.982 | [7 empty] | 09/12/2023 09:00 | [11 empty] | 09/12/2023 08:30 | [11 empty] | 12/12/2023 07:30
08/12/2023 11:30 | 1124.522 | 1185.555 | 1063.489 | [7 empty] | 09/12/2023 09:30 | [11 empty] | 09/12/2023 09:00 | [11 empty] | 12/12/2023 08:00
08/12/2023 12:00 | 1143.868 | 1206.14 | 1081.596 | [7 empty] | 09/12/2023 10:00 | [11 empty] | 09/12/2023 09:30 | [11 empty] | 12/12/2023 08:30
08/12/2023 12:30 | 1187.173 | 1251.998 | 1122.347 | [7 empty] | 09/12/2023 10:30 | [11 empty] | 09/12/2023 10:00 | [11 empty] | 12/12/2023 09:00
08/12/2023 13:00 | 1225.114 | 1291.092 | 1158.014 | [7 empty] | 09/12/2023 11:00 | [11 empty] | 09/12/2023 10:30 | [11 empty] | 12/12/2023 09:30
08/12/2023 13:30 | 1300.189 | 1370.418 | 1228.763 | [7 empty] | 09/12/2023 11:30 | [11 empty] | 09/12/2023 11:00 | [11 empty] | 12/12/2023 10:00
08/12/2023 14:00 | 1395.042 | 1470.633 | 1318.175 | [7 empty] | 09/12/2023 12:00 | [11 empty] | 09/12/2023 11:30 | [11 empty] | 12/12/2023 10:30
08/12/2023 14:30 | 1508.438 | 1590.491 | 1425.073 | [7 empty] | 09/12/2023 12:30 | [11 empty] | 09/12/2023 12:00 | [11 empty] | 12/12/2023 11:00
08/12/2023 15:00 | 1666.518 | 1757.531 | 1573.965 | [7 empty] | 09/12/2023 13:00 | [11 empty] | 09/12/2023 12:30 | [11 empty] | 12/12/2023 11:30
08/12/2023 15:30 | 1853.309 | 1954.943 | 1750.178 | [7 empty] | 09/12/2023 13:30 | [11 empty] | 09/12/2023 13:00 | [11 empty] | 12/12/2023 12:00
08/12/2023 16:00 | 2037.336 | 2149.504 | 1923.723 | [7 empty] | 09/12/2023 14:00 | [11 empty] | 09/12/2023 13:30 | [11 empty] | 12/12/2023 12:30
08/12/2023 16:30 | 2202.5 | 2324.238 | 2079.414 | [7 empty] | 09/12/2023 14:30 | [11 empty] | 09/12/2023 14:00 | [11 empty] | 12/12/2023 13:00
08/12/2023 17:00 | 2341.015 | 2470.921 | 2209.915 | [7 empty] | 09/12/2023 15:00 | [11 empty] | 09/12/2023 14:30 | [11 empty] | 13/12/2023 08:30
08/12/2023 17:30 | 2424.874 | 2559.94 | 2288.772 | [7 empty] | 10/12/2023 08:00 | [11 empty] | 10/12/2023 08:30 | [11 empty] | 13/12/2023 09:00
08/12/2023 18:00 | 2456.6 | 2593.942 | 2318.405 | [7 empty] | 10/12/2023 08:30 | [11 empty] | 10/12/2023 09:00 | [11 empty] | 13/12/2023 09:30
08/12/2023 18:30 | 2471.57 | 2610.217 | 2332.177 | [7 empty] | 10/12/2023 09:00 | [11 empty] | 10/12/2023 09:30 | [11 empty] | 13/12/2023 10:00
08/12/2023 19:00 | 2482.596 | 2622.313 | 2342.209 | [7 empty] | 10/12/2023 09:30 | [11 empty] | 10/12/2023 10:00 | [11 empty] | 13/12/2023 10:30
08/12/2023 19:30 | 2459.896 | 2598.819 | 2320.456 | [7 empty] | 10/12/2023 10:00 | [11 empty] | 10/12/2023 10:30 | [11 empty] | 13/12/2023 11:00
08/12/2023 20:00 | 2402.936 | 2539.069 | 2266.355 | [7 empty] | 10/12/2023 10:30 | [11 empty] | 10/12/2023 11:00 | [11 empty] | 13/12/2023 11:30
08/12/2023 20:30 | 2332.11 | 2464.62 | 2199.174 | [7 empty] | 10/12/2023 11:00 | [11 empty] | 10/12/2023 11:30 | [11 empty] | 13/12/2023 12:00
08/12/2023 21:00 | 2254.172 | 2382.631 | 2125.311 | [7 empty] | 10/12/2023 11:30 | [11 empty] | 10/12/2023 12:00 | [11 empty] | 13/12/2023 12:30
08/12/2023 21:30 | 2184.914 | 2309.799 | 2059.662 | [7 empty] | 10/12/2023 12:00 | [11 empty] | 10/12/2023 12:30 | [11 empty] | 13/12/2023 13:00
08/12/2023 22:00 | 2114.299 | 2235.508 | 1992.756 | [7 empty] | 10/12/2023 12:30 | [11 empty] | 10/12/2023 13:00 | [11 empty] | 13/12/2023 13:30
08/12/2023 22:30 | 2042.904 | 2160.372 | 1925.141 | [7 empty] | 10/12/2023 13:00 | [11 empty] | 10/12/2023 13:30 | [11 empty] | 13/12/2023 14:00
08/12/2023 23:00 | 1976.738 | 2090.621 | 1862.483 | [7 empty] | 10/12/2023 13:30 | [11 empty] | 10/12/2023 14:00 | [11 empty] | 13/12/2023 14:30
08/12/2023 23:30 | 1919.161 | 2033.942 | 1804.095 | [7 empty] | 10/12/2023 14:00 | [11 empty] | 10/12/2023 14:30
09/12/2023 00:00 | 1865.732 | 1985.101 | 1746.165 | [7 empty] | 10/12/2023 14:30 | [11 empty] | 10/12/2023 15:00
09/12/2023 00:30 | 1825.554 | 1942.112 | 1708.85 | [7 empty] | 10/12/2023 15:00 | [11 empty] | 11/12/2023 09:30
09/12/2023 01:00 | 1795.79 | 1910.851 | 1680.689 | [7 empty] | 11/12/2023 07:30 | [11 empty] | 11/12/2023 10:00
09/12/2023 01:30 | 1775.687 | 1889.8 | 1661.534 | [7 empty] | 11/12/2023 10:00 | [11 empty] | 11/12/2023 10:30
09/12/2023 02:00 | 1761.571 | 1875.115 | 1647.99 | [7 empty] | 11/12/2023 10:30 | [11 empty] | 11/12/2023 11:00
09/12/2023 02:30 | 1748.06 | 1861.068 | 1635.016 | [7 empty] | 11/12/2023 11:00 | [11 empty] | 11/12/2023 11:30
09/12/2023 03:00 | 1741.018 | 1853.904 | 1628.097 | [7 empty] | 11/12/2023 11:30 | [11 empty] | 11/12/2023 12:00
09/12/2023 03:30 | 1741.052 | 1854.273 | 1627.796 | [7 empty] | 11/12/2023 12:00 | [11 empty] | 11/12/2023 12:30
09/12/2023 04:00 | 1736.789 | 1850.065 | 1623.478 | [7 empty] | 11/12/2023 12:30 | [11 empty] | 11/12/2023 13:00
09/12/2023 04:30 | 1716.725 | 1829.02 | 1604.395 | [7 empty] | 11/12/2023 13:00 | [11 empty] | 11/12/2023 13:30
09/12/2023 05:00 | 1682.416 | 1792.788 | 1572.01 | [7 empty] | 11/12/2023 13:30 | [11 empty] | 12/12/2023 12:00
09/12/2023 05:30 | 1629.839 | 1737.069 | 1522.571 | [7 empty] | 12/12/2023 08:00 | [11 empty] | 12/12/2023 12:30
09/12/2023 06:00 | 1558.805 | 1661.656 | 1455.88 | [7 empty] | 12/12/2023 08:30 | [11 empty] | 12/12/2023 13:30
09/12/2023 06:30 | 1453.166 | 1549.32 | 1356.935 | [7 empty] | 12/12/2023 09:00 | [11 empty] | 12/12/2023 14:00
09/12/2023 07:00 | 1318.676 | 1406.18 | 1231.096 | [7 empty] | 12/12/2023 09:30 | [11 empty] | 13/12/2023 11:30
09/12/2023 07:30 | 1184.312 | 1263.16 | 1105.422 | [7 empty] | 12/12/2023 10:00 | [11 empty] | 13/12/2023 12:00
09/12/2023 08:00 | 1070.724 | 1142.291 | 999.1608 | [7 empty] | 12/12/2023 10:30 | [11 empty] | 13/12/2023 12:30
09/12/2023 08:30 | 946.9432 | 1010.461 | 883.4254 | [7 empty] | 12/12/2023 13:00 | [11 empty] | 13/12/2023 13:00
09/12/2023 09:00 | 871.7107 | 930.3904 | 813.031 | [7 empty] | 12/12/2023 14:00 | [11 empty] | 13/12/2023 13:30
09/12/2023 09:30 | 826.7192 | 882.5678 | 770.8707 | [7 empty] | 12/12/2023 14:30 | [11 empty] | 13/12/2023 14:00
09/12/2023 10:00 | 796.468 | 850.4633 | 742.4728 | [7 empty] | 13/12/2023 09:30 | [11 empty] | 13/12/2023 14:30
09/12/2023 10:30 | 769.5526 | 821.907 | 717.1982 | [7 empty] | 13/12/2023 10:00 | [11 empty] | 14/12/2023 07:30
09/12/2023 11:00 | 800.4963 | 855.1471 | 745.8455 | [7 empty] | 13/12/2023 10:30
09/12/2023 11:30 | 826.7065 | 883.3441 | 770.0688 | [7 empty] | 13/12/2023 11:00
09/12/2023 12:00 | 866.6976 | 926.2821 | 807.1132 | [7 empty] | 13/12/2023 11:30
09/12/2023 12:30 | 950.9352 | 1016.538 | 885.3323 | [7 empty] | 13/12/2023 12:00
09/12/2023 13:00 | 1007.477 | 1077.221 | 937.7327 | [7 empty] | 13/12/2023 12:30
09/12/2023 13:30 | 1084.549 | 1159.888 | 1009.21 | [7 empty] | 13/12/2023 13:00
09/12/2023 14:00 | 1200.297 | 1283.963 | 1116.631 | [7 empty] | 13/12/2023 13:30
09/12/2023 14:30 | 1358.697 | 1453.729 | 1263.665 | [7 empty] | 13/12/2023 14:00
09/12/2023 15:00 | 1533.401 | 1641.019 | 1425.784 | [7 empty] | 13/12/2023 14:30
09/12/2023 15:30 | 1737.765 | 1860.14 | 1615.39 | [7 empty] | 13/12/2023 15:00
09/12/2023 16:00 | 1945.009 | 2082.443 | 1807.575
09/12/2023 16:30 | 2145.056 | 2297.137 | 1992.974
09/12/2023 17:00 | 2311.329 | 2475.751 | 2146.906
09/12/2023 17:30 | 2427.488 | 2600.753 | 2254.222
09/12/2023 18:00 | 2459.158 | 2635.272 | 2283.045
09/12/2023 18:30 | 2460.819 | 2637.639 | 2283.999
09/12/2023 19:00 | 2473.581 | 2651.908 | 2295.252
09/12/2023 19:30 | 2441.201 | 2617.778 | 2264.624
09/12/2023 20:00 | 2377.619 | 2550.165 | 2205.073
09/12/2023 20:30 | 2315.314 | 2483.891 | 2146.736
09/12/2023 21:00 | 2247.604 | 2411.788 | 2083.42
09/12/2023 21:30 | 2178.598 | 2338.262 | 2018.935
09/12/2023 22:00 | 2113.034 | 2268.397 | 1957.67
09/12/2023 22:30 | 2047.2 | 2198.212 | 1896.188
09/12/2023 23:00 | 1978.302 | 2124.704 | 1831.9
09/12/2023 23:30 | 1916.711 | 2059.014 | 1774.409
10/12/2023 00:00 | 1857.306 | 1995.642 | 1718.971
10/12/2023 00:30 | 1813.098 | 1948.574 | 1677.622
10/12/2023 01:00 | 1781.82 | 1915.384 | 1648.256
10/12/2023 01:30 | 1762.738 | 1895.293 | 1630.183
10/12/2023 02:00 | 1748.841 | 1880.769 | 1616.913
10/12/2023 02:30 | 1736.605 | 1868.025 | 1605.186
10/12/2023 03:00 | 1730.224 | 1861.574 | 1598.874
10/12/2023 03:30 | 1725.349 | 1856.742 | 1593.957
10/12/2023 04:00 | 1710.251 | 1840.902 | 1579.601
10/12/2023 04:30 | 1676.786 | 1805.28 | 1548.291
10/12/2023 05:00 | 1628.695 | 1753.893 | 1503.496
10/12/2023 05:30 | 1559.979 | 1680.269 | 1439.69
10/12/2023 06:00 | 1467.998 | 1581.545 | 1354.451
10/12/2023 06:30 | 1353.009 | 1457.985 | 1248.033
10/12/2023 07:00 | 1223.449 | 1318.665 | 1128.232
10/12/2023 07:30 | 1090.48 | 1175.608 | 1005.352
10/12/2023 08:00 | 981.8816 | 1058.767 | 904.9966
10/12/2023 08:30 | 873.5215 | 942.1303 | 804.9128
10/12/2023 09:00 | 803.5988 | 866.9075 | 740.29
10/12/2023 09:30 | 772.1639 | 833.1806 | 711.1473
10/12/2023 10:00 | 775.4814 | 836.9455 | 714.0173
10/12/2023 10:30 | 778.6625 | 840.5647 | 716.7603
10/12/2023 11:00 | 823.4417 | 889.1005 | 757.7829
10/12/2023 11:30 | 881.5214 | 952.0218 | 811.0209
10/12/2023 12:00 | 933.5667 | 1008.453 | 858.6809
10/12/2023 12:30 | 1005.567 | 1086.468 | 924.6654
10/12/2023 13:00 | 1086.558 | 1174.235 | 998.8812
10/12/2023 13:30 | 1193.422 | 1290.007 | 1096.837
10/12/2023 14:00 | 1336.535 | 1445.021 | 1228.048
10/12/2023 14:30 | 1504.057 | 1626.501 | 1381.613
10/12/2023 15:00 | 1682.786 | 1820.183 | 1545.39
10/12/2023 15:30 | 1896.592 | 2051.898 | 1741.286
10/12/2023 16:00 | 2112.658 | 2286.161 | 1939.154
10/12/2023 16:30 | 2317.208 | 2508.063 | 2126.352
10/12/2023 17:00 | 2493.562 | 2699.539 | 2287.585
10/12/2023 17:30 | 2607.277 | 2823.27 | 2391.284
10/12/2023 18:00 | 2622.899 | 2840.813 | 2404.986
10/12/2023 18:30 | 2605.574 | 2822.67 | 2388.477
10/12/2023 19:00 | 2612.157 | 2830.426 | 2393.888
10/12/2023 19:30 | 2576.103 | 2791.974 | 2360.231
10/12/2023 20:00 | 2498.719 | 2708.703 | 2288.735
10/12/2023 20:30 | 2409.892 | 2612.987 | 2206.797
10/12/2023 21:00 | 2309.79 | 2505.001 | 2114.58
10/12/2023 21:30 | 2220.852 | 2409.077 | 2032.627
10/12/2023 22:00 | 2140.283 | 2322.19 | 1958.375
10/12/2023 22:30 | 2064.367 | 2240.315 | 1888.419
10/12/2023 23:00 | 2001.221 | 2172.265 | 1830.177
10/12/2023 23:30 | 1945.097 | 2106.499 | 1783.695
11/12/2023 00:00 | 1895.73 | 2043.224 | 1748.236
11/12/2023 00:30 | 1859.036 | 2004.946 | 1713.127
11/12/2023 01:00 | 1833.251 | 1977.537 | 1688.965
11/12/2023 01:30 | 1817.773 | 1961.238 | 1674.308
11/12/2023 02:00 | 1806.981 | 1949.989 | 1663.973
11/12/2023 02:30 | 1800.498 | 1943.386 | 1657.609
11/12/2023 03:00 | 1799.087 | 1942.256 | 1655.917
11/12/2023 03:30 | 1810.74 | 1955.232 | 1666.247
11/12/2023 04:00 | 1829.271 | 1975.642 | 1682.9
11/12/2023 04:30 | 1854.061 | 2002.82 | 1705.301
11/12/2023 05:00 | 1870.27 | 2020.739 | 1719.801
11/12/2023 05:30 | 1863.004 | 2013.295 | 1712.713
11/12/2023 06:00 | 1849.735 | 1999.36 | 1700.11
11/12/2023 06:30 | 1794.049 | 1939.562 | 1648.536
11/12/2023 07:00 | 1715.079 | 1854.561 | 1575.597
11/12/2023 07:30 | 1606.336 | 1737.31 | 1475.362
11/12/2023 08:00 | 1502.577 | 1625.376 | 1379.777
11/12/2023 08:30 | 1426.063 | 1542.883 | 1309.244
11/12/2023 09:00 | 1378.361 | 1491.537 | 1265.185
11/12/2023 09:30 | 1347.199 | 1458.074 | 1236.323
11/12/2023 10:00 | 1361.551 | 1473.868 | 1249.233
11/12/2023 10:30 | 1388.239 | 1503.025 | 1273.453
11/12/2023 11:00 | 1422.975 | 1540.906 | 1305.045
11/12/2023 11:30 | 1479.625 | 1602.534 | 1356.716
11/12/2023 12:00 | 1546.707 | 1675.485 | 1417.929
11/12/2023 12:30 | 1629.906 | 1765.923 | 1493.889
11/12/2023 13:00 | 1700.775 | 1843.032 | 1558.518
11/12/2023 13:30 | 1793.507 | 1943.865 | 1643.15
11/12/2023 14:00 | 1912.241 | 2072.919 | 1751.563
11/12/2023 14:30 | 2062.478 | 2236.175 | 1888.781
11/12/2023 15:00 | 2239.052 | 2428.049 | 2050.056
11/12/2023 15:30 | 2427.925 | 2633.33 | 2222.52
11/12/2023 16:00 | 2598.88 | 2819.246 | 2378.515
11/12/2023 16:30 | 2758.163 | 2992.563 | 2523.763
11/12/2023 17:00 | 2883.916 | 3129.556 | 2638.276
11/12/2023 17:30 | 2943.801 | 3195.106 | 2692.496
11/12/2023 18:00 | 2905.927 | 3154.556 | 2657.298
11/12/2023 18:30 | 2857.195 | 3102.202 | 2612.188
11/12/2023 19:00 | 2853.069 | 3098.269 | 2607.869
11/12/2023 19:30 | 2784.784 | 3024.649 | 2544.919
11/12/2023 20:00 | 2681.07 | 2912.516 | 2449.624
11/12/2023 20:30 | 2566.137 | 2788.153 | 2344.121
11/12/2023 21:00 | 2444.929 | 2656.927 | 2232.931
11/12/2023 21:30 | 2337.475 | 2540.604 | 2134.346
11/12/2023 22:00 | 2240.706 | 2435.854 | 2045.557
11/12/2023 22:30 | 2158.171 | 2346.545 | 1969.797
11/12/2023 23:00 | 2092.295 | 2275.32 | 1909.269
11/12/2023 23:30 | 2035.359 | 2213.793 | 1856.924
12/12/2023 00:00 | 1986.332 | 2160.849 | 1811.814
12/12/2023 00:30 | 1949.393 | 2121.039 | 1777.747
12/12/2023 01:00 | 1924.56 | 2094.388 | 1754.732
12/12/2023 01:30 | 1904.565 | 2072.994 | 1736.136
12/12/2023 02:00 | 1889.807 | 2057.292 | 1722.321
12/12/2023 02:30 | 1879.837 | 2046.799 | 1712.874
12/12/2023 03:00 | 1875.808 | 2042.772 | 1708.844
12/12/2023 03:30 | 1884.996 | 2053.14 | 1716.853
12/12/2023 04:00 | 1901.094 | 2071.038 | 1731.151
12/12/2023 04:30 | 1922.758 | 2095.006 | 1750.509
12/12/2023 05:00 | 1935.387 | 2109.138 | 1761.636
12/12/2023 05:30 | 1930.918 | 2104.638 | 1757.198
12/12/2023 06:00 | 1930.911 | 2105.001 | 1756.822
12/12/2023 06:30 | 1887.081 | 2057.58 | 1716.582
12/12/2023 07:00 | 1813.536 | 1977.738 | 1649.334
12/12/2023 07:30 | 1702.352 | 1856.813 | 1547.891
12/12/2023 08:00 | 1593.653 | 1738.557 | 1448.749
12/12/2023 08:30 | 1523.24 | 1662.034 | 1384.447
12/12/2023 09:00 | 1493.232 | 1629.577 | 1356.886
12/12/2023 09:30 | 1470.988 | 1605.584 | 1336.391
12/12/2023 10:00 | 1468.746 | 1603.419 | 1334.073
12/12/2023 10:30 | 1498.726 | 1636.435 | 1361.017
12/12/2023 11:00 | 1529.626 | 1670.468 | 1388.784
12/12/2023 11:30 | 1566.326 | 1710.847 | 1421.805
12/12/2023 12:00 | 1614.97 | 1764.289 | 1465.651
12/12/2023 12:30 | 1680.935 | 1836.675 | 1525.195
12/12/2023 13:00 | 1751.165 | 1913.747 | 1588.582
12/12/2023 13:30 | 1845.716 | 2017.43 | 1674.001
12/12/2023 14:00 | 1957.779 | 2140.294 | 1775.263
12/12/2023 14:30 | 2090.839 | 2286.16 | 1895.518
12/12/2023 15:00 | 2266.989 | 2479.2 | 2054.778
12/12/2023 15:30 | 2450.533 | 2680.395 | 2220.671
12/12/2023 16:00 | 2609.766 | 2855.064 | 2364.468
12/12/2023 16:30 | 2761.218 | 3021.281 | 2501.155
12/12/2023 17:00 | 2878.632 | 3150.305 | 2606.959
12/12/2023 17:30 | 2932.14 | 3209.425 | 2654.855
12/12/2023 18:00 | 2893.805 | 3168.019 | 2619.59
12/12/2023 18:30 | 2851.176 | 3121.897 | 2580.455
12/12/2023 19:00 | 2860.943 | 3133.14 | 2588.746
12/12/2023 19:30 | 2796.352 | 3062.94 | 2529.764
12/12/2023 20:00 | 2694.003 | 2951.35 | 2436.657
12/12/2023 20:30 | 2579.369 | 2826.26 | 2332.479
12/12/2023 21:00 | 2457.277 | 2692.952 | 2221.602
12/12/2023 21:30 | 2348.978 | 2574.716 | 2123.239
12/12/2023 22:00 | 2250.956 | 2467.705 | 2034.206
12/12/2023 22:30 | 2168.277 | 2377.481 | 1959.073
12/12/2023 23:00 | 2102.272 | 2305.511 | 1899.033
12/12/2023 23:30 | 2047.218 | 2245.527 | 1848.909
13/12/2023 00:00 | 2001.321 | 2195.568 | 1807.075
13/12/2023 00:30 | 1964.098 | 2155.108 | 1773.088
13/12/2023 01:00 | 1936.302 | 2124.98 | 1747.624
13/12/2023 01:30 | 1914.4 | 2101.311 | 1727.49
13/12/2023 02:00 | 1897.153 | 2082.743 | 1711.563
13/12/2023 02:30 | 1886.429 | 2071.332 | 1701.526
13/12/2023 03:00 | 1882.93 | 2067.851 | 1698.009
13/12/2023 03:30 | 1891.566 | 2076.973 | 1705.435
13/12/2023 04:00 | 1907.488 | 2094.821 | 1719.424
13/12/2023 04:30 | 1932.19 | 2122.319 | 1741.32
13/12/2023 05:00 | 1946.033 | 2137.897 | 1753.423
13/12/2023 05:30 | 1937.762 | 2129.182 | 1745.599
13/12/2023 06:00 | 1933.051 | 2124.376 | 1740.985
13/12/2023 06:30 | 1890.951 | 2078.471 | 1702.705
13/12/2023 07:00 | 1818.178 | 1998.831 | 1636.829
13/12/2023 07:30 | 1707.694 | 1877.696 | 1536.95
13/12/2023 08:00 | 1601.641 | 1761.393 | 1440.95
13/12/2023 08:30 | 1522.476 | 1674.701 | 1369.217
13/12/2023 09:00 | 1482.775 | 1631.541 | 1333.015
13/12/2023 09:30 | 1452.654 | 1598.885 | 1305.449
13/12/2023 10:00 | 1440.947 | 1586.483 | 1294.446
13/12/2023 10:30 | 1454.241 | 1601.607 | 1305.901
13/12/2023 11:00 | 1486.484 | 1637.616 | 1334.356
13/12/2023 11:30 | 1522.308 | 1677.592 | 1366.003
13/12/2023 12:00 | 1561.68 | 1721.504 | 1400.809
13/12/2023 12:30 | 1611.412 | 1776.866 | 1444.878
13/12/2023 13:00 | 1670.063 | 1842.099 | 1496.908
13/12/2023 13:30 | 1760.439 | 1942.375 | 1577.323
13/12/2023 14:00 | 1864.519 | 2057.836 | 1669.951
13/12/2023 14:30 | 1986.117 | 2192.708 | 1778.195
13/12/2023 15:00 | 2152.429 | 2377.041 | 1926.374
13/12/2023 15:30 | 2330.805 | 2574.812 | 2086.797
13/12/2023 16:00 | 2497.149 | 2759.408 | 2234.89
13/12/2023 16:30 | 2648.875 | 2927.957 | 2369.794
13/12/2023 17:00 | 2776.066 | 3069.479 | 2482.653
13/12/2023 17:30 | 2841.486 | 3142.767 | 2540.206
13/12/2023 18:00 | 2799.283 | 3097.027 | 2501.539
13/12/2023 18:30 | 2766.794 | 3062.01 | 2471.578
13/12/2023 19:00 | 2810.26 | 3111.057 | 2509.464
13/12/2023 19:30 | 2756.567 | 3052.541 | 2460.593
13/12/2023 20:00 | 2663.473 | 2950.344 | 2376.602
13/12/2023 20:30 | 2555.619 | 2831.73 | 2279.507
13/12/2023 21:00 | 2442.198 | 2706.874 | 2177.521
13/12/2023 21:30 | 2337.909 | 2592.067 | 2083.752
13/12/2023 22:00 | 2241.344 | 2485.756 | 1996.933
13/12/2023 22:30 | 2157.347 | 2393.322 | 1921.372
13/12/2023 23:00 | 2087.93 | 2317.013 | 1858.848
13/12/2023 23:30 | 2026.484 | 2249.504 | 1803.464
14/12/2023 00:00 | 1973.914 | 2191.81 | 1756.017
14/12/2023 00:30 | 1933.714 | 2147.821 | 1719.606
14/12/2023 01:00 | 1903.946 | 2115.395 | 1692.496
14/12/2023 01:30 | 1883.731 | 2093.567 | 1673.895
14/12/2023 02:00 | 1868.791 | 2077.59 | 1659.993
14/12/2023 02:30 | 1858.693 | 2066.987 | 1650.4
14/12/2023 03:00 | 1856.202 | 2064.839 | 1647.566
14/12/2023 03:30 | 1865.292 | 2075.576 | 1655.008
14/12/2023 04:00 | 1881.069 | 2093.762 | 1668.376
14/12/2023 04:30 | 1905.939 | 2122.084 | 1689.795
14/12/2023 05:00 | 1918.726 | 2136.963 | 1700.488
14/12/2023 05:30 | 1907.854 | 2125.495 | 1690.213
14/12/2023 06:00 | 1900.552 | 2117.998 | 1683.107
14/12/2023 06:30 | 1854.433 | 2067.224 | 1641.643
14/12/2023 07:00 | 1775.336 | 1979.645 | 1571.026
14/12/2023 07:30 | 1654.145 | 1845.062 | 1463.228