## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
08/12/2023 08:00 | 1474.13 | 1498.348 | 1456.604
08/12/2023 08:30 | 1371.851 | 1395.309 | 1348.393 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
08/12/2023 09:00 | 1263.648 | 1289.013 | 1238.284 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
08/12/2023 09:30 | 1174.666 | 1201.737 | 1147.596 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
08/12/2023 10:00 | 1119.585 | 1148.714 | 1090.456 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
08/12/2023 10:30 | 1081.107 | 1111.675 | 1050.538 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
08/12/2023 11:00 | 1077.031 | 1108.39 | 1045.672 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
08/12/2023 11:30 | 1087.009 | 1119.706 | 1054.313 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
08/12/2023 12:00 | 1110.519 | 1144.992 | 1076.045 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
08/12/2023 12:30 | 1146.732 | 1183.433 | 1110.03 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
08/12/2023 13:00 | 1186.262 | 1225.371 | 1147.152 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
08/12/2023 13:30 | 1256.174 | 1298.798 | 1215.315
08/12/2023 14:00 | 1346.582 | 1394.024 | 1300.016 | Summary view - for each schedule horizon (dispatch, week-ahead)
08/12/2023 14:30 | 1457.921 | 1510.749 | 1406.154
08/12/2023 15:00 | 1609.66 | 1670.286 | 1551.651 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
08/12/2023 15:30 | 1794.445 | 1861.979 | 1726.396 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
08/12/2023 16:00 | 1980.716 | 2056.913 | 1903.459 | Scenario | Violations
08/12/2023 16:30 | 2148.547 | 2234.147 | 2063.486 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
08/12/2023 17:00 | 2288.016 | 2381.078 | 2194.955 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
08/12/2023 17:30 | 2378.151 | 2477.169 | 2279.133 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 87 | 0 | 0 | 0 | 0 | 0
08/12/2023 18:00 | 2421.944 | 2525.118 | 2318.77 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 94 | 0 | 0 | 0 | 0 | 0
08/12/2023 18:30 | 2441.645 | 2547.512 | 2335.777 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 84 | 0 | 0 | 0 | 0 | 0
08/12/2023 19:00 | 2449.878 | 2556.977 | 2342.779
08/12/2023 19:30 | 2431.354 | 2538.594 | 2324.114 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
08/12/2023 20:00 | 2377.957 | 2483.773 | 2272.141
08/12/2023 20:30 | 2310.947 | 2414.685 | 2207.208 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
08/12/2023 21:00 | 2236.011 | 2337.261 | 2134.761 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
08/12/2023 21:30 | 2169.333 | 2268.412 | 2070.253 | [7 empty] | 08/12/2023 08:00 | [11 empty] | 08/12/2023 08:00 | [11 empty] | 08/12/2023 08:00
08/12/2023 22:00 | 2101.563 | 2198.37 | 2004.756 | [7 empty] | 08/12/2023 08:30 | [11 empty] | 08/12/2023 08:30 | [11 empty] | 08/12/2023 08:30
08/12/2023 22:30 | 2033.694 | 2128.17 | 1939.217 | [7 empty] | 08/12/2023 09:00 | [11 empty] | 08/12/2023 09:00 | [11 empty] | 08/12/2023 09:00
08/12/2023 23:00 | 1970.817 | 2063.144 | 1878.49 | [7 empty] | 08/12/2023 09:30 | [11 empty] | 08/12/2023 09:30 | [11 empty] | 08/12/2023 09:30
08/12/2023 23:30 | 1915.627 | 2010.509 | 1820.746 | [7 empty] | 08/12/2023 10:00 | [11 empty] | 08/12/2023 10:00 | [11 empty] | 08/12/2023 10:00
09/12/2023 00:00 | 1864.461 | 1965.914 | 1763.008 | [7 empty] | 08/12/2023 10:30 | [11 empty] | 08/12/2023 10:30 | [11 empty] | 08/12/2023 10:30
09/12/2023 00:30 | 1825.344 | 1924.421 | 1726.267 | [7 empty] | 08/12/2023 11:00 | [11 empty] | 08/12/2023 11:00 | [11 empty] | 08/12/2023 11:00
09/12/2023 01:00 | 1796.67 | 1894.55 | 1698.677 | [7 empty] | 08/12/2023 11:30 | [11 empty] | 08/12/2023 11:30 | [11 empty] | 08/12/2023 11:30
09/12/2023 01:30 | 1776.593 | 1873.855 | 1679.227 | [7 empty] | 08/12/2023 12:00 | [11 empty] | 08/12/2023 12:00 | [11 empty] | 08/12/2023 12:00
09/12/2023 02:00 | 1762.493 | 1859.452 | 1665.435 | [7 empty] | 08/12/2023 12:30 | [11 empty] | 08/12/2023 12:30 | [11 empty] | 08/12/2023 12:30
09/12/2023 02:30 | 1749.114 | 1845.801 | 1652.332 | [7 empty] | 08/12/2023 13:00 | [11 empty] | 08/12/2023 13:00 | [11 empty] | 08/12/2023 13:00
09/12/2023 03:00 | 1742.084 | 1838.848 | 1645.233 | [7 empty] | 08/12/2023 13:30 | [11 empty] | 08/12/2023 13:30 | [11 empty] | 08/12/2023 13:30
09/12/2023 03:30 | 1741.769 | 1838.978 | 1644.477 | [7 empty] | 08/12/2023 14:00 | [11 empty] | 08/12/2023 14:00 | [11 empty] | 08/12/2023 14:00
09/12/2023 04:00 | 1737.089 | 1834.498 | 1639.601 | [7 empty] | 08/12/2023 14:30 | [11 empty] | 08/12/2023 14:30 | [11 empty] | 08/12/2023 14:30
09/12/2023 04:30 | 1717.389 | 1814.149 | 1620.555 | [7 empty] | 08/12/2023 15:00 | [11 empty] | 08/12/2023 15:00 | [11 empty] | 08/12/2023 15:00
09/12/2023 05:00 | 1682.691 | 1777.944 | 1587.37 | [7 empty] | 08/12/2023 15:30 | [11 empty] | 08/12/2023 15:30 | [11 empty] | 08/12/2023 15:30
09/12/2023 05:30 | 1627.992 | 1720.582 | 1535.341 | [7 empty] | 09/12/2023 08:30 | [11 empty] | 09/12/2023 08:00 | [11 empty] | 09/12/2023 08:30
09/12/2023 06:00 | 1554.478 | 1643.296 | 1465.601 | [7 empty] | 09/12/2023 09:00 | [11 empty] | 09/12/2023 08:30 | [11 empty] | 09/12/2023 09:00
09/12/2023 06:30 | 1446.577 | 1529.569 | 1363.473 | [7 empty] | 09/12/2023 09:30 | [11 empty] | 09/12/2023 09:00 | [11 empty] | 09/12/2023 09:30
09/12/2023 07:00 | 1311.988 | 1387.496 | 1236.365 | [7 empty] | 09/12/2023 10:00 | [11 empty] | 09/12/2023 09:30 | [11 empty] | 09/12/2023 10:00
09/12/2023 07:30 | 1158.663 | 1225.556 | 1091.645 | [7 empty] | 09/12/2023 10:30 | [11 empty] | 09/12/2023 10:00 | [11 empty] | 09/12/2023 10:30
09/12/2023 08:00 | 1016.072 | 1074.917 | 957.0986 | [7 empty] | 09/12/2023 11:00 | [11 empty] | 09/12/2023 10:30 | [11 empty] | 09/12/2023 11:00
09/12/2023 08:30 | 886.0975 | 937.5782 | 834.4931 | [7 empty] | 09/12/2023 11:30 | [11 empty] | 09/12/2023 11:00 | [11 empty] | 09/12/2023 11:30
09/12/2023 09:00 | 800.7374 | 847.4709 | 754.0038 | [7 empty] | 09/12/2023 12:00 | [11 empty] | 09/12/2023 11:30 | [11 empty] | 09/12/2023 12:00
09/12/2023 09:30 | 749.5654 | 793.4556 | 705.6752 | [7 empty] | 09/12/2023 12:30 | [11 empty] | 09/12/2023 12:00 | [11 empty] | 09/12/2023 12:30
09/12/2023 10:00 | 720.2273 | 762.5372 | 677.9173 | [7 empty] | 09/12/2023 13:00 | [11 empty] | 09/12/2023 12:30 | [11 empty] | 09/12/2023 13:00
09/12/2023 10:30 | 697.4415 | 738.5462 | 656.3369 | [7 empty] | 09/12/2023 13:30 | [11 empty] | 09/12/2023 13:00 | [11 empty] | 09/12/2023 13:30
09/12/2023 11:00 | 721.5541 | 764.2177 | 678.8904 | [7 empty] | 09/12/2023 14:00 | [11 empty] | 09/12/2023 13:30 | [11 empty] | 09/12/2023 14:00
09/12/2023 11:30 | 744.9585 | 789.1484 | 700.7686 | [7 empty] | 09/12/2023 14:30 | [11 empty] | 09/12/2023 14:00 | [11 empty] | 09/12/2023 14:30
09/12/2023 12:00 | 785.5602 | 832.3087 | 738.8119 | [7 empty] | 09/12/2023 15:00 | [11 empty] | 09/12/2023 14:30 | [11 empty] | 09/12/2023 15:00
09/12/2023 12:30 | 862.4236 | 913.3474 | 810.9363 | [7 empty] | 10/12/2023 08:30 | [11 empty] | 09/12/2023 15:00 | [11 empty] | 10/12/2023 09:00
09/12/2023 13:00 | 920.4034 | 974.939 | 865.2789 | [7 empty] | 10/12/2023 09:00 | [11 empty] | 10/12/2023 08:00 | [11 empty] | 10/12/2023 10:00
09/12/2023 13:30 | 999.6769 | 1059.099 | 939.6136 | [7 empty] | 10/12/2023 09:30 | [11 empty] | 10/12/2023 08:30 | [11 empty] | 10/12/2023 10:30
09/12/2023 14:00 | 1116.381 | 1182.96 | 1049.092 | [7 empty] | 10/12/2023 10:00 | [11 empty] | 10/12/2023 09:00 | [11 empty] | 10/12/2023 11:00
09/12/2023 14:30 | 1273.469 | 1349.698 | 1196.469 | [7 empty] | 10/12/2023 10:30 | [11 empty] | 10/12/2023 09:30 | [11 empty] | 10/12/2023 11:30
09/12/2023 15:00 | 1449.087 | 1536.429 | 1361.451 | [7 empty] | 10/12/2023 11:00 | [11 empty] | 10/12/2023 10:00 | [11 empty] | 10/12/2023 12:00
09/12/2023 15:30 | 1651.636 | 1751.502 | 1551.397 | [7 empty] | 10/12/2023 11:30 | [11 empty] | 10/12/2023 10:30 | [11 empty] | 10/12/2023 12:30
09/12/2023 16:00 | 1861.112 | 1974 | 1748.225 | [7 empty] | 10/12/2023 12:00 | [11 empty] | 10/12/2023 11:00 | [11 empty] | 10/12/2023 13:00
09/12/2023 16:30 | 2059.466 | 2184.778 | 1934.153 | [7 empty] | 10/12/2023 12:30 | [11 empty] | 10/12/2023 11:30 | [11 empty] | 10/12/2023 13:30
09/12/2023 17:00 | 2224.203 | 2359.964 | 2088.441 | [7 empty] | 10/12/2023 13:00 | [11 empty] | 10/12/2023 12:00 | [11 empty] | 10/12/2023 14:00
09/12/2023 17:30 | 2341.971 | 2485.368 | 2198.574 | [7 empty] | 10/12/2023 13:30 | [11 empty] | 10/12/2023 12:30 | [11 empty] | 10/12/2023 14:30
09/12/2023 18:00 | 2381.955 | 2528.255 | 2235.655 | [7 empty] | 10/12/2023 14:00 | [11 empty] | 10/12/2023 13:00 | [11 empty] | 10/12/2023 15:00
09/12/2023 18:30 | 2393.229 | 2540.678 | 2245.779 | [7 empty] | 10/12/2023 14:30 | [11 empty] | 10/12/2023 13:30 | [11 empty] | 11/12/2023 08:00
09/12/2023 19:00 | 2411.534 | 2560.572 | 2262.495 | [7 empty] | 10/12/2023 15:00 | [11 empty] | 10/12/2023 14:00 | [11 empty] | 11/12/2023 08:30
09/12/2023 19:30 | 2387.187 | 2535.177 | 2239.197 | [7 empty] | 11/12/2023 08:00 | [11 empty] | 10/12/2023 14:30 | [11 empty] | 11/12/2023 09:00
09/12/2023 20:00 | 2331.351 | 2476.325 | 2186.377 | [7 empty] | 11/12/2023 08:30 | [11 empty] | 10/12/2023 15:00 | [11 empty] | 11/12/2023 09:30
09/12/2023 20:30 | 2275.16 | 2417.075 | 2133.246 | [7 empty] | 11/12/2023 09:00 | [11 empty] | 11/12/2023 07:30 | [11 empty] | 11/12/2023 10:00
09/12/2023 21:00 | 2213.825 | 2352.337 | 2075.313 | [7 empty] | 11/12/2023 09:30 | [11 empty] | 11/12/2023 08:00 | [11 empty] | 11/12/2023 10:30
09/12/2023 21:30 | 2151.588 | 2286.595 | 2016.559 | [7 empty] | 11/12/2023 10:00 | [11 empty] | 11/12/2023 08:30 | [11 empty] | 11/12/2023 11:00
09/12/2023 22:00 | 2090.019 | 2221.563 | 1958.455 | [7 empty] | 11/12/2023 10:30 | [11 empty] | 11/12/2023 09:00 | [11 empty] | 11/12/2023 11:30
09/12/2023 22:30 | 2026.704 | 2154.652 | 1898.738 | [7 empty] | 11/12/2023 11:00 | [11 empty] | 11/12/2023 09:30 | [11 empty] | 11/12/2023 12:00
09/12/2023 23:00 | 1962.331 | 2086.592 | 1838.054 | [7 empty] | 11/12/2023 11:30 | [11 empty] | 11/12/2023 10:00 | [11 empty] | 11/12/2023 12:30
09/12/2023 23:30 | 1904.914 | 2025.907 | 1783.91 | [7 empty] | 11/12/2023 12:00 | [11 empty] | 11/12/2023 10:30 | [11 empty] | 11/12/2023 13:00
10/12/2023 00:00 | 1849.837 | 1967.689 | 1731.979 | [7 empty] | 11/12/2023 12:30 | [11 empty] | 11/12/2023 11:00 | [11 empty] | 11/12/2023 13:30
10/12/2023 00:30 | 1808.3 | 1923.853 | 1692.742 | [7 empty] | 12/12/2023 08:00 | [11 empty] | 11/12/2023 11:30 | [11 empty] | 12/12/2023 08:00
10/12/2023 01:00 | 1778.916 | 1892.932 | 1664.896 | [7 empty] | 12/12/2023 08:30 | [11 empty] | 11/12/2023 12:00 | [11 empty] | 12/12/2023 08:30
10/12/2023 01:30 | 1760.14 | 1873.289 | 1646.987 | [7 empty] | 12/12/2023 09:00 | [11 empty] | 11/12/2023 12:30 | [11 empty] | 12/12/2023 09:00
10/12/2023 02:00 | 1746.339 | 1858.935 | 1633.74 | [7 empty] | 12/12/2023 09:30 | [11 empty] | 11/12/2023 13:00 | [11 empty] | 12/12/2023 09:30
10/12/2023 02:30 | 1734.147 | 1846.288 | 1622.002 | [7 empty] | 12/12/2023 10:30 | [11 empty] | 12/12/2023 08:30 | [11 empty] | 12/12/2023 10:00
10/12/2023 03:00 | 1727.832 | 1839.895 | 1615.766 | [7 empty] | 12/12/2023 11:00 | [11 empty] | 12/12/2023 09:00 | [11 empty] | 12/12/2023 12:00
10/12/2023 03:30 | 1723.794 | 1835.924 | 1611.661 | [7 empty] | 12/12/2023 11:30 | [11 empty] | 12/12/2023 09:30 | [11 empty] | 12/12/2023 12:30
10/12/2023 04:00 | 1709.306 | 1820.82 | 1597.788 | [7 empty] | 12/12/2023 12:00 | [11 empty] | 12/12/2023 10:00 | [11 empty] | 12/12/2023 13:00
10/12/2023 04:30 | 1676.795 | 1786.509 | 1567.078 | [7 empty] | 12/12/2023 12:30 | [11 empty] | 12/12/2023 10:30 | [11 empty] | 13/12/2023 12:30
10/12/2023 05:00 | 1628.092 | 1734.93 | 1521.25 | [7 empty] | 13/12/2023 10:30 | [11 empty] | 12/12/2023 11:00 | [11 empty] | 13/12/2023 13:00
10/12/2023 05:30 | 1555.857 | 1658.251 | 1453.455 | [7 empty] | 13/12/2023 11:00 | [11 empty] | 12/12/2023 11:30 | [11 empty] | 13/12/2023 13:30
10/12/2023 06:00 | 1462.505 | 1559.035 | 1365.968 | [7 empty] | 13/12/2023 11:30 | [11 empty] | 12/12/2023 12:00 | [11 empty] | 13/12/2023 14:00
10/12/2023 06:30 | 1344.591 | 1433.595 | 1255.58 | [7 empty] | 13/12/2023 12:00 | [11 empty] | 13/12/2023 09:30 | [11 empty] | 13/12/2023 14:30
10/12/2023 07:00 | 1208.778 | 1289.023 | 1128.526 | [7 empty] | 13/12/2023 12:30 | [11 empty] | 13/12/2023 10:00 | [11 empty] | 14/12/2023 07:00
10/12/2023 07:30 | 1083.193 | 1155.328 | 1011.055 | [7 empty] | 13/12/2023 13:00 | [11 empty] | 13/12/2023 10:30 | [11 empty] | 14/12/2023 07:30
10/12/2023 08:00 | 991.8809 | 1058.176 | 925.5857 | [7 empty] | 13/12/2023 13:30 | [11 empty] | 13/12/2023 11:00 | [11 empty] | 14/12/2023 08:00
10/12/2023 08:30 | 884.1199 | 943.4237 | 824.816 | [7 empty] | 13/12/2023 14:00 | [11 empty] | 13/12/2023 11:30 | [11 empty] | 14/12/2023 08:30
10/12/2023 09:00 | 814.3719 | 869.1919 | 759.552 | [7 empty] | 14/12/2023 07:00 | [11 empty] | 13/12/2023 12:00 | [11 empty] | 14/12/2023 09:00
10/12/2023 09:30 | 782.8919 | 835.7798 | 730.004 | [7 empty] | 14/12/2023 07:30 | [11 empty] | 13/12/2023 12:30 | [11 empty] | 14/12/2023 09:30
10/12/2023 10:00 | 786.2449 | 839.5471 | 732.9427 | [7 empty] | 14/12/2023 08:00 | [11 empty] | 13/12/2023 13:00 | [11 empty] | 14/12/2023 10:00
10/12/2023 10:30 | 789.3785 | 843.0817 | 735.6753 | [7 empty] | 14/12/2023 08:30 | [11 empty] | 13/12/2023 13:30 | [11 empty] | 14/12/2023 10:30
10/12/2023 11:00 | 834.6133 | 891.5933 | 777.6333 | [7 empty] | 14/12/2023 09:00 | [11 empty] | 13/12/2023 14:00 | [11 empty] | 14/12/2023 11:00
10/12/2023 11:30 | 894.3452 | 955.6168 | 833.0736 | [7 empty] | 14/12/2023 09:30 | [11 empty] | 14/12/2023 07:30 | [11 empty] | 14/12/2023 11:30
10/12/2023 12:00 | 947.147 | 1012.262 | 882.0317 | [7 empty] | 14/12/2023 10:00 | [11 empty] | 14/12/2023 08:00 | [11 empty] | 14/12/2023 12:00
10/12/2023 12:30 | 1021.13 | 1091.575 | 950.6842 | [7 empty] | 14/12/2023 10:30 | [11 empty] | 14/12/2023 08:30 | [11 empty] | 14/12/2023 12:30
10/12/2023 13:00 | 1105.122 | 1181.626 | 1028.618 | [7 empty] | 14/12/2023 11:00 | [11 empty] | 14/12/2023 09:00 | [11 empty] | 14/12/2023 13:00
10/12/2023 13:30 | 1213.411 | 1297.701 | 1129.121 | [7 empty] | 14/12/2023 11:30 | [11 empty] | 14/12/2023 09:30 | [11 empty] | 14/12/2023 13:30
10/12/2023 14:00 | 1356.863 | 1451.442 | 1262.284 | [7 empty] | 14/12/2023 12:00 | [11 empty] | 14/12/2023 10:00 | [11 empty] | 14/12/2023 14:00
10/12/2023 14:30 | 1523.623 | 1630.19 | 1417.056 | [7 empty] | 14/12/2023 12:30 | [11 empty] | 14/12/2023 10:30 | [11 empty] | 14/12/2023 14:30
10/12/2023 15:00 | 1702.1 | 1821.557 | 1582.643 | [7 empty] | 14/12/2023 13:00 | [11 empty] | 14/12/2023 11:00 | [11 empty] | 14/12/2023 15:00
10/12/2023 15:30 | 1914.846 | 2049.692 | 1780.001 | [7 empty] | 14/12/2023 13:30 | [11 empty] | 14/12/2023 11:30
10/12/2023 16:00 | 2129.558 | 2280.032 | 1979.083 | [7 empty] | 14/12/2023 14:00 | [11 empty] | 14/12/2023 12:00
10/12/2023 16:30 | 2333.032 | 2498.441 | 2167.623 | [7 empty] | 14/12/2023 14:30 | [11 empty] | 14/12/2023 12:30
10/12/2023 17:00 | 2508.542 | 2686.994 | 2330.091 | [19 empty] | 14/12/2023 13:00
10/12/2023 17:30 | 2621.188 | 2808.279 | 2434.096 | [19 empty] | 14/12/2023 13:30
10/12/2023 18:00 | 2623.666 | 2811.561 | 2435.771 | [19 empty] | 14/12/2023 14:00
10/12/2023 18:30 | 2602.277 | 2789.262 | 2415.293 | [19 empty] | 14/12/2023 14:30
10/12/2023 19:00 | 2623.651 | 2812.798 | 2434.504 | [19 empty] | 14/12/2023 15:00
10/12/2023 19:30 | 2586.268 | 2773.338 | 2399.198 | [19 empty] | 14/12/2023 15:30
10/12/2023 20:00 | 2508.329 | 2690.36 | 2326.297 | [19 empty] | 15/12/2023 07:30
10/12/2023 20:30 | 2418.412 | 2594.496 | 2242.328
10/12/2023 21:00 | 2317.368 | 2486.648 | 2148.087
10/12/2023 21:30 | 2227.548 | 2390.8 | 2064.297
10/12/2023 22:00 | 2146.45 | 2304.271 | 1988.63
10/12/2023 22:30 | 2071.926 | 2224.761 | 1919.09
10/12/2023 23:00 | 2012.319 | 2161.239 | 1863.399
10/12/2023 23:30 | 1960.857 | 2101.766 | 1819.948
11/12/2023 00:00 | 1916.514 | 2045.64 | 1787.388
11/12/2023 00:30 | 1882.344 | 2010.342 | 1754.345
11/12/2023 01:00 | 1857.735 | 1984.466 | 1731.005
11/12/2023 01:30 | 1840.956 | 1966.945 | 1714.968
11/12/2023 02:00 | 1829.361 | 1954.955 | 1703.766
11/12/2023 02:30 | 1822.064 | 1947.556 | 1696.573
11/12/2023 03:00 | 1819.679 | 1945.404 | 1693.954
11/12/2023 03:30 | 1830.677 | 1957.562 | 1703.792
11/12/2023 04:00 | 1848.768 | 1977.311 | 1720.225
11/12/2023 04:30 | 1873.289 | 2003.945 | 1742.632
11/12/2023 05:00 | 1889.956 | 2022.188 | 1757.724
11/12/2023 05:30 | 1884.823 | 2017.108 | 1752.538
11/12/2023 06:00 | 1875.36 | 2007.391 | 1743.33
11/12/2023 06:30 | 1823.693 | 1952.484 | 1694.901
11/12/2023 07:00 | 1748.589 | 1872.458 | 1624.719
11/12/2023 07:30 | 1644.283 | 1761.123 | 1527.444
11/12/2023 08:00 | 1546.315 | 1656.531 | 1436.099
11/12/2023 08:30 | 1475.497 | 1580.988 | 1370.006
11/12/2023 09:00 | 1433.069 | 1535.839 | 1330.298
11/12/2023 09:30 | 1406.121 | 1507.266 | 1304.976
11/12/2023 10:00 | 1426.16 | 1529.059 | 1323.262
11/12/2023 10:30 | 1460.804 | 1566.521 | 1355.087
11/12/2023 11:00 | 1501.682 | 1610.685 | 1392.678
11/12/2023 11:30 | 1563.952 | 1677.817 | 1450.087
11/12/2023 12:00 | 1637.248 | 1756.807 | 1517.688
11/12/2023 12:30 | 1728.295 | 1854.88 | 1601.709
11/12/2023 13:00 | 1805.642 | 1938.287 | 1672.997
11/12/2023 13:30 | 1903.005 | 2043.219 | 1762.792
11/12/2023 14:00 | 2028.48 | 2178.381 | 1878.578
11/12/2023 14:30 | 2182.92 | 2344.711 | 2021.128
11/12/2023 15:00 | 2361.646 | 2537.2 | 2186.093
11/12/2023 15:30 | 2549.791 | 2739.888 | 2359.694
11/12/2023 16:00 | 2717.648 | 2920.853 | 2514.443
11/12/2023 16:30 | 2871.34 | 3086.664 | 2656.015
11/12/2023 17:00 | 2989.488 | 3214.325 | 2764.65
11/12/2023 17:30 | 3040.707 | 3270.061 | 2811.353
11/12/2023 18:00 | 2993.864 | 3220.339 | 2767.389
11/12/2023 18:30 | 2936.411 | 3159.182 | 2713.641
11/12/2023 19:00 | 2925.79 | 3148.393 | 2703.186
11/12/2023 19:30 | 2851.855 | 3069.457 | 2634.253
11/12/2023 20:00 | 2742.315 | 2952.158 | 2532.473
11/12/2023 20:30 | 2621.296 | 2822.452 | 2420.141
11/12/2023 21:00 | 2493.842 | 2685.761 | 2301.923
11/12/2023 21:30 | 2380.89 | 2564.636 | 2197.143
11/12/2023 22:00 | 2279.498 | 2455.918 | 2103.078
11/12/2023 22:30 | 2194.009 | 2364.292 | 2023.726
11/12/2023 23:00 | 2126.029 | 2291.501 | 1960.558
11/12/2023 23:30 | 2067.654 | 2229.034 | 1906.274
12/12/2023 00:00 | 2017.494 | 2175.399 | 1859.588
12/12/2023 00:30 | 1979.371 | 2134.725 | 1824.016
12/12/2023 01:00 | 1953.295 | 2107.029 | 1799.561
12/12/2023 01:30 | 1931.374 | 2083.805 | 1778.943
12/12/2023 02:00 | 1915.185 | 2066.757 | 1763.613
12/12/2023 02:30 | 1903.883 | 2054.976 | 1752.789
12/12/2023 03:00 | 1898.289 | 2049.354 | 1747.225
12/12/2023 03:30 | 1905.889 | 2057.975 | 1753.804
12/12/2023 04:00 | 1921.42 | 2075.164 | 1767.676
12/12/2023 04:30 | 1942.633 | 2098.499 | 1786.766
12/12/2023 05:00 | 1953.435 | 2110.595 | 1796.276
12/12/2023 05:30 | 1947.823 | 2104.957 | 1790.689
12/12/2023 06:00 | 1947.364 | 2104.886 | 1789.842
12/12/2023 06:30 | 1902.567 | 2056.881 | 1748.252
12/12/2023 07:00 | 1829.282 | 1978.052 | 1680.512
12/12/2023 07:30 | 1718.741 | 1858.881 | 1578.602
12/12/2023 08:00 | 1608.758 | 1740.236 | 1477.281
12/12/2023 08:30 | 1536.018 | 1661.845 | 1410.192
12/12/2023 09:00 | 1504.724 | 1628.276 | 1381.172
12/12/2023 09:30 | 1480.332 | 1602.164 | 1358.499
12/12/2023 10:00 | 1476.178 | 1597.952 | 1354.404
12/12/2023 10:30 | 1505.42 | 1629.895 | 1380.946
12/12/2023 11:00 | 1535.759 | 1663.037 | 1408.482
12/12/2023 11:30 | 1570.428 | 1700.88 | 1439.976
12/12/2023 12:00 | 1618.992 | 1753.788 | 1484.196
12/12/2023 12:30 | 1686.808 | 1827.574 | 1546.042
12/12/2023 13:00 | 1756.788 | 1903.73 | 1609.846
12/12/2023 13:30 | 1850.139 | 2005.245 | 1695.034
12/12/2023 14:00 | 1961.743 | 2126.58 | 1796.906
12/12/2023 14:30 | 2095.666 | 2272.158 | 1919.174
12/12/2023 15:00 | 2272.637 | 2464.469 | 2080.805
12/12/2023 15:30 | 2457.258 | 2665.144 | 2249.372
12/12/2023 16:00 | 2618.176 | 2840.178 | 2396.174
12/12/2023 16:30 | 2770.366 | 3005.803 | 2534.928
12/12/2023 17:00 | 2888.203 | 3134.208 | 2642.198
12/12/2023 17:30 | 2942.099 | 3193.258 | 2690.939
12/12/2023 18:00 | 2897.797 | 3145.73 | 2649.863
12/12/2023 18:30 | 2853.005 | 3097.653 | 2608.358
12/12/2023 19:00 | 2873.61 | 3120.575 | 2626.645
12/12/2023 19:30 | 2807.964 | 3049.826 | 2566.102
12/12/2023 20:00 | 2705.261 | 2938.796 | 2471.727
12/12/2023 20:30 | 2591.235 | 2815.423 | 2367.048
12/12/2023 21:00 | 2469.044 | 2683.133 | 2254.955
12/12/2023 21:30 | 2360.329 | 2565.444 | 2155.214
12/12/2023 22:00 | 2261.212 | 2458.146 | 2064.277
12/12/2023 22:30 | 2176.951 | 2366.965 | 1986.938
12/12/2023 23:00 | 2109.668 | 2294.214 | 1925.123
12/12/2023 23:30 | 2053.818 | 2233.871 | 1873.765
13/12/2023 00:00 | 2007.315 | 2183.677 | 1830.954
13/12/2023 00:30 | 1969.676 | 2143.107 | 1796.244
13/12/2023 01:00 | 1941.454 | 2112.773 | 1770.135
13/12/2023 01:30 | 1919.768 | 2089.542 | 1749.995
13/12/2023 02:00 | 1902.87 | 2071.513 | 1734.226
13/12/2023 02:30 | 1892.156 | 2060.212 | 1724.099
13/12/2023 03:00 | 1888.355 | 2056.436 | 1720.274
13/12/2023 03:30 | 1897.245 | 2066.481 | 1728.009
13/12/2023 04:00 | 1913.058 | 2084.072 | 1742.045
13/12/2023 04:30 | 1937.283 | 2110.833 | 1763.733
13/12/2023 05:00 | 1951.013 | 2126.167 | 1775.86
13/12/2023 05:30 | 1943.451 | 2118.298 | 1768.604
13/12/2023 06:00 | 1940.361 | 2115.302 | 1765.42
13/12/2023 06:30 | 1900.552 | 2072.269 | 1728.836
13/12/2023 07:00 | 1831.333 | 1997.147 | 1665.52
13/12/2023 07:30 | 1724.42 | 1880.884 | 1567.956
13/12/2023 08:00 | 1623.531 | 1771.152 | 1475.911
13/12/2023 08:30 | 1551.095 | 1692.427 | 1409.763
13/12/2023 09:00 | 1517.131 | 1655.659 | 1378.603
13/12/2023 09:30 | 1492.23 | 1628.77 | 1355.69
13/12/2023 10:00 | 1483.93 | 1619.996 | 1347.865
13/12/2023 10:30 | 1497.155 | 1634.72 | 1359.59
13/12/2023 11:00 | 1528.335 | 1669.058 | 1387.612
13/12/2023 11:30 | 1564.247 | 1708.576 | 1419.917
13/12/2023 12:00 | 1598.466 | 1746.259 | 1450.674
13/12/2023 12:30 | 1643.274 | 1795.525 | 1491.024
13/12/2023 13:00 | 1699.133 | 1856.885 | 1541.382
13/12/2023 13:30 | 1784.879 | 1950.934 | 1618.824
13/12/2023 14:00 | 1881.835 | 2057.271 | 1706.4
13/12/2023 14:30 | 1996.854 | 2183.395 | 1810.313
13/12/2023 15:00 | 2155.814 | 2357.618 | 1954.01
13/12/2023 15:30 | 2328.57 | 2546.991 | 2110.148
13/12/2023 16:00 | 2490.894 | 2725.019 | 2256.769
13/12/2023 16:30 | 2639.983 | 2886.835 | 2391.338
13/12/2023 17:00 | 2763.923 | 3023.983 | 2503.075
13/12/2023 17:30 | 2827.629 | 3094.978 | 2560.227
13/12/2023 18:00 | 2802.237 | 3067.66 | 2536.699
13/12/2023 18:30 | 2774.433 | 3037.993 | 2510.998
13/12/2023 19:00 | 2791.121 | 3057.285 | 2525.567
13/12/2023 19:30 | 2739.672 | 3001.064 | 2478.488
13/12/2023 20:00 | 2647.578 | 2899.317 | 2394.666
13/12/2023 20:30 | 2541.146 | 2782.74 | 2297.915
13/12/2023 21:00 | 2428.841 | 2659.917 | 2195.893
13/12/2023 21:30 | 2325.642 | 2546.974 | 2102.146
13/12/2023 22:00 | 2230.7 | 2443.147 | 2015.901
13/12/2023 22:30 | 2148.57 | 2353.323 | 1941.267
13/12/2023 23:00 | 2080.464 | 2278.628 | 1879.334
13/12/2023 23:30 | 2017.283 | 2211.919 | 1824.303
14/12/2023 00:00 | 1964.829 | 2154.781 | 1777.207
14/12/2023 00:30 | 1925.099 | 2111.578 | 1741.21
14/12/2023 01:00 | 1895.622 | 2079.609 | 1714.279
14/12/2023 01:30 | 1874.981 | 2057.324 | 1695.099
14/12/2023 02:00 | 1860.064 | 2041.313 | 1681.073
14/12/2023 02:30 | 1849.983 | 2030.605 | 1671.467
14/12/2023 03:00 | 1847.52 | 2028.255 | 1668.757
14/12/2023 03:30 | 1856.901 | 2038.909 | 1676.602
14/12/2023 04:00 | 1873.015 | 2056.962 | 1690.551
14/12/2023 04:30 | 1897.845 | 2084.594 | 1710.368
14/12/2023 05:00 | 1913.161 | 2101.785 | 1723.805
14/12/2023 05:30 | 1909.945 | 2098.617 | 1720.541
14/12/2023 06:00 | 1912.79 | 2102.11 | 1722.737
14/12/2023 06:30 | 1880.715 | 2067.22 | 1693.488
14/12/2023 07:00 | 1813.612 | 1993.81 | 1632.718
14/12/2023 07:30 | 1695.796 | 1864.614 | 1526.242
14/12/2023 08:00 | 1569.967 | 1726.56 | 1412.454
14/12/2023 08:30 | 1459.636 | 1605.578 | 1312.703
14/12/2023 09:00 | 1387.078 | 1526.242 | 1246.983
14/12/2023 09:30 | 1335.359 | 1469.783 | 1200.041
14/12/2023 10:00 | 1314.296 | 1447.039 | 1180.671
14/12/2023 10:30 | 1330.665 | 1465.508 | 1194.93
14/12/2023 11:00 | 1351.686 | 1489.112 | 1213.353
14/12/2023 11:30 | 1381.964 | 1522.932 | 1240.069
14/12/2023 12:00 | 1426.422 | 1572.403 | 1280.44
14/12/2023 12:30 | 1480.048 | 1632.014 | 1328.082
14/12/2023 13:00 | 1531.756 | 1689.544 | 1373.967
14/12/2023 13:30 | 1621.861 | 1789.475 | 1454.246
14/12/2023 14:00 | 1727.19 | 1906.269 | 1548.112
14/12/2023 14:30 | 1849.25 | 2041.604 | 1656.895
14/12/2023 15:00 | 2011.086 | 2220.948 | 1801.224
14/12/2023 15:30 | 2185.14 | 2413.898 | 1956.382
14/12/2023 16:00 | 2347.342 | 2593.868 | 2100.817
14/12/2023 16:30 | 2511.33 | 2775.921 | 2246.74
14/12/2023 17:00 | 2656.413 | 2937.18 | 2375.646
14/12/2023 17:30 | 2742.924 | 3033.754 | 2452.094
14/12/2023 18:00 | 2697.034 | 2983.903 | 2410.166
14/12/2023 18:30 | 2668.373 | 2953.088 | 2383.658
14/12/2023 19:00 | 2740.677 | 3034.025 | 2447.328
14/12/2023 19:30 | 2692.356 | 2981.435 | 2403.277
14/12/2023 20:00 | 2605.071 | 2885.652 | 2324.49
14/12/2023 20:30 | 2499.093 | 2769.097 | 2229.088
14/12/2023 21:00 | 2386.259 | 2644.872 | 2127.645
14/12/2023 21:30 | 2292.254 | 2541.448 | 2043.059
14/12/2023 22:00 | 2203.442 | 2443.721 | 1963.164
14/12/2023 22:30 | 2123.747 | 2356.047 | 1891.447
14/12/2023 23:00 | 2057.846 | 2283.628 | 1832.065
14/12/2023 23:30 | 2007.932 | 2228.91 | 1786.953
15/12/2023 00:00 | 1966.594 | 2183.682 | 1749.505
15/12/2023 00:30 | 1929.175 | 2142.78 | 1715.571
15/12/2023 01:00 | 1901.745 | 2112.95 | 1690.54
15/12/2023 01:30 | 1879.752 | 2089.145 | 1670.359
15/12/2023 02:00 | 1863.515 | 2071.724 | 1655.306
15/12/2023 02:30 | 1852.73 | 2060.355 | 1645.104
15/12/2023 03:00 | 1849.517 | 2057.402 | 1641.631
15/12/2023 03:30 | 1857.283 | 2066.664 | 1647.902
15/12/2023 04:00 | 1869.223 | 2080.577 | 1657.87
15/12/2023 04:30 | 1881.284 | 2094.632 | 1667.936
15/12/2023 05:00 | 1882.563 | 2096.688 | 1668.439
15/12/2023 05:30 | 1860.722 | 2072.987 | 1648.458
15/12/2023 06:00 | 1827.034 | 2036.068 | 1618
15/12/2023 06:30 | 1758.014 | 1959.741 | 1556.288
15/12/2023 07:00 | 1679.587 | 1872.878 | 1486.297
15/12/2023 07:30 | 1589.635 | 1773.106 | 1406.163