## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
09/12/2023 08:00 | 1157.28 | 1185.266 | 1146.046
09/12/2023 08:30 | 1067.19 | 1089.223 | 1045.156 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
09/12/2023 09:00 | 989.4202 | 1013.631 | 965.2098 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
09/12/2023 09:30 | 889.1543 | 914.3105 | 863.9981 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
09/12/2023 10:00 | 815.2512 | 841.4333 | 789.0692 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
09/12/2023 10:30 | 765.1581 | 791.8991 | 738.4171 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
09/12/2023 11:00 | 733.1398 | 759.4014 | 706.8781 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
09/12/2023 11:30 | 714.51 | 740.8486 | 688.1715 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
09/12/2023 12:00 | 727.2755 | 754.842 | 699.709 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
09/12/2023 12:30 | 795.9709 | 826.9702 | 764.9716 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
09/12/2023 13:00 | 859.1047 | 893.4576 | 824.7518 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
09/12/2023 13:30 | 940.5696 | 979.1595 | 901.9796
09/12/2023 14:00 | 1059.997 | 1104.591 | 1015.404 | Summary view - for each schedule horizon (dispatch, week-ahead)
09/12/2023 14:30 | 1216.79 | 1269.247 | 1164.333
09/12/2023 15:00 | 1392.225 | 1453.696 | 1330.755 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
09/12/2023 15:30 | 1595.982 | 1668.111 | 1523.853 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
09/12/2023 16:00 | 1809.954 | 1893.639 | 1726.27 | Scenario | Violations
09/12/2023 16:30 | 2008.495 | 2103.451 | 1913.539 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
09/12/2023 17:00 | 2172.305 | 2277.268 | 2067.342 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
09/12/2023 17:30 | 2292.937 | 2406.117 | 2179.757 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 86 | 0 | 0 | 0 | 0 | 1
09/12/2023 18:00 | 2342.008 | 2460.05 | 2223.967 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 86 | 0 | 0 | 0 | 0 | 0
09/12/2023 18:30 | 2359.536 | 2480.265 | 2238.807 | Low Demand Scenario | 0 | 0 | 0 | 0 | 8 | 0 | 73 | 0 | 0 | 0 | 0 | 0
09/12/2023 19:00 | 2377.677 | 2499.847 | 2255.506
09/12/2023 19:30 | 2358.266 | 2480.06 | 2236.472 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
09/12/2023 20:00 | 2307.151 | 2426.913 | 2187.39
09/12/2023 20:30 | 2255.203 | 2372.862 | 2137.544 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
09/12/2023 21:00 | 2197.5 | 2312.727 | 2082.273 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
09/12/2023 21:30 | 2139.442 | 2252.188 | 2026.696 | [7 empty] | 09/12/2023 09:00 |  |  |  |  | 09/12/2023 08:00 | [6 empty] | 09/12/2023 09:00 | [9 empty] | 15/12/2023 16:30 |  | 09/12/2023 09:00
09/12/2023 22:00 | 2080.943 | 2191.154 | 1970.732 | [7 empty] | 09/12/2023 09:30 | [11 empty] | 09/12/2023 09:30 | [9 empty] | 15/12/2023 17:00 |  | 09/12/2023 09:30
09/12/2023 22:30 | 2020.184 | 2127.709 | 1912.659 | [7 empty] | 09/12/2023 10:00 | [11 empty] | 09/12/2023 10:00 | [9 empty] | 15/12/2023 17:30 |  | 09/12/2023 10:00
09/12/2023 23:00 | 1959.453 | 2064.262 | 1854.645 | [7 empty] | 09/12/2023 10:30 | [11 empty] | 09/12/2023 10:30 | [9 empty] | 15/12/2023 18:00 |  | 09/12/2023 10:30
09/12/2023 23:30 | 1904.826 | 2007.214 | 1802.438 | [7 empty] | 09/12/2023 11:00 | [11 empty] | 09/12/2023 11:00 | [9 empty] | 15/12/2023 18:30 |  | 09/12/2023 11:00
10/12/2023 00:00 | 1852.235 | 1952.284 | 1752.186 | [7 empty] | 09/12/2023 11:30 | [11 empty] | 09/12/2023 11:30 | [9 empty] | 15/12/2023 19:00 |  | 09/12/2023 11:30
10/12/2023 00:30 | 1812.063 | 1910.419 | 1713.707 | [7 empty] | 09/12/2023 12:00 | [11 empty] | 09/12/2023 12:00 | [9 empty] | 15/12/2023 19:30 |  | 09/12/2023 12:00
10/12/2023 01:00 | 1783.429 | 1880.747 | 1686.199 | [7 empty] | 09/12/2023 12:30 | [11 empty] | 09/12/2023 12:30 | [9 empty] | 15/12/2023 20:00 |  | 09/12/2023 12:30
10/12/2023 01:30 | 1764.292 | 1861.022 | 1667.634 | [7 empty] | 09/12/2023 13:00 | [11 empty] | 09/12/2023 13:00 | [11 empty] | 09/12/2023 13:00
10/12/2023 02:00 | 1750.262 | 1846.679 | 1653.908 | [7 empty] | 09/12/2023 13:30 | [11 empty] | 09/12/2023 13:30 | [11 empty] | 09/12/2023 13:30
10/12/2023 02:30 | 1737.742 | 1833.931 | 1641.623 | [7 empty] | 09/12/2023 14:00 | [11 empty] | 09/12/2023 14:00 | [11 empty] | 09/12/2023 14:00
10/12/2023 03:00 | 1731.055 | 1827.333 | 1634.853 | [7 empty] | 09/12/2023 14:30 | [11 empty] | 09/12/2023 14:30 | [11 empty] | 09/12/2023 14:30
10/12/2023 03:30 | 1727.16 | 1823.663 | 1630.708 | [7 empty] | 09/12/2023 15:00 | [11 empty] | 09/12/2023 15:00 | [11 empty] | 10/12/2023 07:30
10/12/2023 04:00 | 1712.969 | 1809.136 | 1616.864 | [7 empty] | 10/12/2023 07:00 | [11 empty] | 09/12/2023 15:30 | [11 empty] | 10/12/2023 08:00
10/12/2023 04:30 | 1680.926 | 1775.75 | 1586.188 | [7 empty] | 10/12/2023 07:30 | [11 empty] | 10/12/2023 07:30 | [11 empty] | 10/12/2023 09:30
10/12/2023 05:00 | 1632.335 | 1724.854 | 1539.911 | [7 empty] | 10/12/2023 08:00 | [11 empty] | 10/12/2023 08:00 | [11 empty] | 10/12/2023 10:00
10/12/2023 05:30 | 1559.156 | 1647.924 | 1470.453 | [7 empty] | 10/12/2023 08:30 | [11 empty] | 10/12/2023 08:30 | [11 empty] | 10/12/2023 10:30
10/12/2023 06:00 | 1464.997 | 1548.788 | 1381.264 | [7 empty] | 10/12/2023 09:00 | [11 empty] | 10/12/2023 09:00 | [11 empty] | 10/12/2023 11:00
10/12/2023 06:30 | 1346.782 | 1423.746 | 1269.141 | [7 empty] | 10/12/2023 09:30 | [11 empty] | 10/12/2023 09:30 | [11 empty] | 10/12/2023 11:30
10/12/2023 07:00 | 1210.987 | 1280.091 | 1140.659 | [7 empty] | 10/12/2023 10:00 | [11 empty] | 10/12/2023 10:00 | [11 empty] | 10/12/2023 12:00
10/12/2023 07:30 | 1065.514 | 1126.594 | 1003.497 | [7 empty] | 10/12/2023 10:30 | [11 empty] | 10/12/2023 10:30 | [11 empty] | 10/12/2023 12:30
10/12/2023 08:00 | 943.2905 | 997.0597 | 887.775 | [7 empty] | 10/12/2023 11:00 | [11 empty] | 10/12/2023 11:00 | [11 empty] | 10/12/2023 13:00
10/12/2023 08:30 | 827.571 | 875.7126 | 779.4295 | [7 empty] | 10/12/2023 11:30 | [11 empty] | 10/12/2023 11:30 | [11 empty] | 10/12/2023 13:30
10/12/2023 09:00 | 753.5029 | 797.4797 | 709.526 | [7 empty] | 10/12/2023 12:00 | [11 empty] | 10/12/2023 12:00 | [11 empty] | 10/12/2023 14:00
10/12/2023 09:30 | 720.4508 | 762.6363 | 678.2654 | [7 empty] | 10/12/2023 12:30 | [11 empty] | 10/12/2023 12:30 | [11 empty] | 10/12/2023 14:30
10/12/2023 10:00 | 720.0054 | 762.3023 | 677.7084 | [7 empty] | 10/12/2023 13:00 | [11 empty] | 10/12/2023 13:00 | [11 empty] | 11/12/2023 07:30
10/12/2023 10:30 | 724.3677 | 767.0593 | 681.6761 | [7 empty] | 10/12/2023 13:30 | [11 empty] | 10/12/2023 13:30 | [11 empty] | 11/12/2023 08:00
10/12/2023 11:00 | 764.6035 | 809.8126 | 719.3945 | [7 empty] | 10/12/2023 14:00 | [11 empty] | 10/12/2023 14:00 | [11 empty] | 11/12/2023 08:30
10/12/2023 11:30 | 817.9609 | 866.4812 | 769.4407 | [7 empty] | 10/12/2023 14:30 | [11 empty] | 10/12/2023 14:30 | [11 empty] | 11/12/2023 09:00
10/12/2023 12:00 | 871.7793 | 923.8273 | 820.6791 | [7 empty] | 10/12/2023 15:00 | [11 empty] | 10/12/2023 15:00 | [11 empty] | 11/12/2023 09:30
10/12/2023 12:30 | 944.5339 | 1001.066 | 888.9528 | [7 empty] | 11/12/2023 07:30 | [11 empty] | 11/12/2023 07:30 | [11 empty] | 11/12/2023 10:00
10/12/2023 13:00 | 1023.96 | 1085.405 | 963.4766 | [7 empty] | 11/12/2023 08:00 | [11 empty] | 11/12/2023 08:00 | [11 empty] | 11/12/2023 10:30
10/12/2023 13:30 | 1126.083 | 1193.852 | 1059.335 | [7 empty] | 11/12/2023 08:30 | [11 empty] | 11/12/2023 08:30 | [11 empty] | 11/12/2023 11:00
10/12/2023 14:00 | 1264.583 | 1340.321 | 1188.845 | [7 empty] | 11/12/2023 09:00 | [11 empty] | 11/12/2023 09:00 | [11 empty] | 11/12/2023 11:30
10/12/2023 14:30 | 1429.504 | 1515.392 | 1343.615 | [7 empty] | 11/12/2023 09:30 | [11 empty] | 11/12/2023 09:30 | [11 empty] | 11/12/2023 12:00
10/12/2023 15:00 | 1608.363 | 1705.306 | 1511.421 | [7 empty] | 11/12/2023 10:00 | [11 empty] | 11/12/2023 10:00 | [11 empty] | 11/12/2023 13:30
10/12/2023 15:30 | 1817.934 | 1927.855 | 1708.597 | [7 empty] | 11/12/2023 10:30 | [11 empty] | 11/12/2023 10:30 | [11 empty] | 11/12/2023 14:00
10/12/2023 16:00 | 2032.964 | 2156.275 | 1910.229 | [7 empty] | 11/12/2023 11:00 | [11 empty] | 11/12/2023 11:00 | [11 empty] | 12/12/2023 11:00
10/12/2023 16:30 | 2234.996 | 2370.989 | 2099.555 | [7 empty] | 11/12/2023 11:30 | [11 empty] | 11/12/2023 11:30 | [11 empty] | 12/12/2023 11:30
10/12/2023 17:00 | 2406.793 | 2553.699 | 2260.393 | [7 empty] | 11/12/2023 12:00 | [11 empty] | 11/12/2023 12:00 | [11 empty] | 12/12/2023 12:00
10/12/2023 17:30 | 2520.769 | 2675.113 | 2366.874 | [7 empty] | 11/12/2023 12:30 | [11 empty] | 12/12/2023 11:00 | [11 empty] | 12/12/2023 12:30
10/12/2023 18:00 | 2538.84 | 2694.776 | 2383.291 | [7 empty] | 11/12/2023 13:00 | [11 empty] | 12/12/2023 11:30 | [11 empty] | 12/12/2023 13:00
10/12/2023 18:30 | 2529.671 | 2685.527 | 2374.161 | [7 empty] | 12/12/2023 08:30 | [11 empty] | 12/12/2023 12:00 | [11 empty] | 12/12/2023 13:30
10/12/2023 19:00 | 2545.947 | 2703.293 | 2388.914 | [7 empty] | 12/12/2023 09:00 | [11 empty] | 12/12/2023 12:30 | [11 empty] | 12/12/2023 14:00
10/12/2023 19:30 | 2515.048 | 2670.965 | 2359.395 | [7 empty] | 12/12/2023 09:30 | [11 empty] | 12/12/2023 13:00 | [11 empty] | 13/12/2023 09:30
10/12/2023 20:00 | 2443.594 | 2595.548 | 2291.873 | [7 empty] | 12/12/2023 12:00 | [11 empty] | 12/12/2023 13:30 | [11 empty] | 13/12/2023 10:00
10/12/2023 20:30 | 2360.773 | 2508.028 | 2213.731 | [7 empty] | 12/12/2023 12:30 | [11 empty] | 13/12/2023 10:00 | [11 empty] | 13/12/2023 10:30
10/12/2023 21:00 | 2268.476 | 2410.406 | 2126.737 | [7 empty] | 12/12/2023 13:00 | [11 empty] | 13/12/2023 10:30 | [11 empty] | 13/12/2023 11:00
10/12/2023 21:30 | 2185.755 | 2323.121 | 2048.752 | [7 empty] | 12/12/2023 13:30 | [11 empty] | 13/12/2023 11:00 | [11 empty] | 13/12/2023 11:30
10/12/2023 22:00 | 2109.652 | 2242.625 | 1977.004 | [7 empty] | 12/12/2023 14:00 | [11 empty] | 13/12/2023 11:30 | [11 empty] | 13/12/2023 12:00
10/12/2023 22:30 | 2039.306 | 2168.216 | 1910.675 | [7 empty] | 13/12/2023 09:00 | [11 empty] | 13/12/2023 12:00 | [11 empty] | 13/12/2023 12:30
10/12/2023 23:00 | 1983.308 | 2109.031 | 1857.807 | [7 empty] | 13/12/2023 09:30 | [11 empty] | 13/12/2023 12:30 | [11 empty] | 13/12/2023 13:00
10/12/2023 23:30 | 1935.425 | 2054.574 | 1816.436 | [7 empty] | 13/12/2023 10:00 | [11 empty] | 13/12/2023 13:00 | [11 empty] | 13/12/2023 13:30
11/12/2023 00:00 | 1893.818 | 2003.204 | 1784.532 | [7 empty] | 13/12/2023 10:30 | [11 empty] | 13/12/2023 13:30 | [11 empty] | 13/12/2023 14:00
11/12/2023 00:30 | 1861.536 | 1969.98 | 1753.155 | [7 empty] | 13/12/2023 11:00 | [11 empty] | 13/12/2023 14:00 | [11 empty] | 14/12/2023 07:30
11/12/2023 01:00 | 1838.83 | 1946.243 | 1731.457 | [7 empty] | 13/12/2023 11:30 | [11 empty] | 13/12/2023 14:30 | [11 empty] | 14/12/2023 08:00
11/12/2023 01:30 | 1823.567 | 1930.39 | 1716.784 | [7 empty] | 13/12/2023 12:00 | [11 empty] | 13/12/2023 15:00 | [11 empty] | 14/12/2023 08:30
11/12/2023 02:00 | 1812.872 | 1919.367 | 1706.416 | [7 empty] | 13/12/2023 12:30 | [11 empty] | 14/12/2023 07:30 | [11 empty] | 14/12/2023 09:00
11/12/2023 02:30 | 1805.946 | 1912.332 | 1699.598 | [7 empty] | 13/12/2023 13:00 | [11 empty] | 14/12/2023 08:00 | [11 empty] | 14/12/2023 09:30
11/12/2023 03:00 | 1804.306 | 1910.893 | 1697.756 | [7 empty] | 13/12/2023 13:30 | [11 empty] | 14/12/2023 08:30 | [11 empty] | 14/12/2023 10:00
11/12/2023 03:30 | 1815.753 | 1923.316 | 1708.227 | [7 empty] | 13/12/2023 14:00 | [11 empty] | 14/12/2023 09:00 | [11 empty] | 14/12/2023 10:30
11/12/2023 04:00 | 1834.213 | 1943.171 | 1725.291 | [7 empty] | 13/12/2023 14:30 | [11 empty] | 14/12/2023 09:30 | [11 empty] | 14/12/2023 11:00
11/12/2023 04:30 | 1859.136 | 1969.863 | 1748.41 | [7 empty] | 14/12/2023 07:30 | [11 empty] | 14/12/2023 10:00 | [11 empty] | 14/12/2023 11:30
11/12/2023 05:00 | 1875.399 | 1987.404 | 1763.394 | [7 empty] | 14/12/2023 08:00 | [11 empty] | 14/12/2023 10:30 | [11 empty] | 14/12/2023 12:00
11/12/2023 05:30 | 1867.288 | 1979.116 | 1755.459 | [7 empty] | 14/12/2023 08:30 | [11 empty] | 14/12/2023 11:00 | [11 empty] | 14/12/2023 12:30
11/12/2023 06:00 | 1853.541 | 1964.852 | 1742.229 | [7 empty] | 14/12/2023 09:00 | [11 empty] | 14/12/2023 11:30 | [11 empty] | 14/12/2023 13:00
11/12/2023 06:30 | 1795.894 | 1904.04 | 1687.748 | [7 empty] | 14/12/2023 09:30 | [11 empty] | 14/12/2023 12:00 | [11 empty] | 14/12/2023 13:30
11/12/2023 07:00 | 1712.131 | 1815.515 | 1608.746 | [7 empty] | 14/12/2023 10:00 | [11 empty] | 14/12/2023 12:30 | [11 empty] | 14/12/2023 14:00
11/12/2023 07:30 | 1619.736 | 1717.84 | 1521.632 | [7 empty] | 14/12/2023 10:30 | [11 empty] | 14/12/2023 13:00 | [11 empty] | 15/12/2023 09:00
11/12/2023 08:00 | 1546.602 | 1640.619 | 1452.585 | [7 empty] | 14/12/2023 11:00 | [11 empty] | 14/12/2023 13:30 | [11 empty] | 15/12/2023 09:30
11/12/2023 08:30 | 1475.167 | 1565.164 | 1385.17 | [7 empty] | 14/12/2023 11:30 | [11 empty] | 14/12/2023 15:00 | [11 empty] | 15/12/2023 10:00
11/12/2023 09:00 | 1434.455 | 1522.282 | 1346.629 | [7 empty] | 14/12/2023 12:00 | [11 empty] | 15/12/2023 08:00 | [11 empty] | 15/12/2023 10:30
11/12/2023 09:30 | 1409.665 | 1496.282 | 1323.048 | [7 empty] | 14/12/2023 12:30 | [11 empty] | 15/12/2023 08:30 | [11 empty] | 15/12/2023 11:00
11/12/2023 10:00 | 1430.512 | 1518.722 | 1342.302 | [7 empty] | 14/12/2023 13:00 | [11 empty] | 15/12/2023 09:00
11/12/2023 10:30 | 1465.606 | 1556.301 | 1374.912 | [7 empty] | 14/12/2023 13:30 | [11 empty] | 15/12/2023 09:30
11/12/2023 11:00 | 1506.906 | 1600.486 | 1413.327 | [7 empty] | 15/12/2023 09:30 | [11 empty] | 15/12/2023 10:00
11/12/2023 11:30 | 1568.477 | 1666.223 | 1470.732 | [7 empty] | 15/12/2023 10:00 | [11 empty] | 15/12/2023 10:30
11/12/2023 12:00 | 1639.898 | 1742.453 | 1537.344 | [7 empty] | 15/12/2023 10:30 | [11 empty] | 15/12/2023 11:00
11/12/2023 12:30 | 1728.805 | 1837.298 | 1620.313 | [7 empty] | 15/12/2023 11:00 | [11 empty] | 15/12/2023 11:30
11/12/2023 13:00 | 1805.161 | 1918.839 | 1691.482 | [7 empty] | 15/12/2023 11:30 | [11 empty] | 15/12/2023 12:00
11/12/2023 13:30 | 1901.073 | 2021.206 | 1780.938 | [7 empty] | 15/12/2023 12:00 | [11 empty] | 15/12/2023 12:30
11/12/2023 14:00 | 2023.78 | 2152.11 | 1895.449 | [7 empty] | 15/12/2023 12:30 | [11 empty] | 15/12/2023 13:00
11/12/2023 14:30 | 2176.017 | 2314.476 | 2037.557 | [7 empty] | 15/12/2023 13:00 | [11 empty] | 15/12/2023 13:30
11/12/2023 15:00 | 2352.424 | 2502.622 | 2202.225 | [7 empty] | 15/12/2023 13:30 | [11 empty] | 15/12/2023 14:00
11/12/2023 15:30 | 2538.944 | 2701.606 | 2376.282 | [7 empty] | 15/12/2023 14:00 | [11 empty] | 15/12/2023 14:30
11/12/2023 16:00 | 2705.707 | 2879.643 | 2531.77 | [7 empty] | 15/12/2023 14:30 | [11 empty] | 15/12/2023 15:00
11/12/2023 16:30 | 2858.301 | 3042.672 | 2673.93
11/12/2023 17:00 | 2975.952 | 3168.562 | 2783.342
11/12/2023 17:30 | 3027.412 | 3224.014 | 2830.81
11/12/2023 18:00 | 2987.094 | 3181.73 | 2792.457
11/12/2023 18:30 | 2932.738 | 3124.473 | 2741.003
11/12/2023 19:00 | 2914.487 | 3105.666 | 2723.308
11/12/2023 19:30 | 2842.66 | 3029.748 | 2655.571
11/12/2023 20:00 | 2734.399 | 2914.96 | 2553.838
11/12/2023 20:30 | 2614.14 | 2787.331 | 2440.949
11/12/2023 21:00 | 2487.62 | 2652.972 | 2322.268
11/12/2023 21:30 | 2375.535 | 2533.956 | 2217.114
11/12/2023 22:00 | 2274.923 | 2427.131 | 2122.715
11/12/2023 22:30 | 2190.578 | 2337.621 | 2043.534
11/12/2023 23:00 | 2124.288 | 2267.345 | 1981.23
11/12/2023 23:30 | 2067.969 | 2207.686 | 1928.252
12/12/2023 00:00 | 2020.048 | 2156.969 | 1883.127
12/12/2023 00:30 | 1983.408 | 2118.278 | 1848.537
12/12/2023 01:00 | 1958.222 | 2091.808 | 1824.636
12/12/2023 01:30 | 1936.192 | 2068.698 | 1803.686
12/12/2023 02:00 | 1920.159 | 2051.988 | 1788.331
12/12/2023 02:30 | 1908.82 | 2040.287 | 1777.353
12/12/2023 03:00 | 1903.002 | 2034.484 | 1771.52
12/12/2023 03:30 | 1910.73 | 2043.163 | 1778.297
12/12/2023 04:00 | 1926.528 | 2060.477 | 1792.578
12/12/2023 04:30 | 1947.698 | 2083.545 | 1811.851
12/12/2023 05:00 | 1959.79 | 2096.908 | 1822.672
12/12/2023 05:30 | 1957.203 | 2094.568 | 1819.838
12/12/2023 06:00 | 1959.412 | 2097.36 | 1821.464
12/12/2023 06:30 | 1917.854 | 2053.295 | 1782.412
12/12/2023 07:00 | 1848.211 | 1979.138 | 1717.284
12/12/2023 07:30 | 1741.025 | 1864.739 | 1617.311
12/12/2023 08:00 | 1635.138 | 1751.685 | 1518.591
12/12/2023 08:30 | 1567.58 | 1679.654 | 1455.505
12/12/2023 09:00 | 1541.403 | 1651.943 | 1430.863
12/12/2023 09:30 | 1520.619 | 1630.001 | 1411.238
12/12/2023 10:00 | 1521.214 | 1630.971 | 1411.458
12/12/2023 10:30 | 1556.042 | 1668.651 | 1443.432
12/12/2023 11:00 | 1590.102 | 1705.523 | 1474.68
12/12/2023 11:30 | 1626.832 | 1745.275 | 1508.389
12/12/2023 12:00 | 1675.775 | 1798.148 | 1553.403
12/12/2023 12:30 | 1741.02 | 1868.537 | 1613.502
12/12/2023 13:00 | 1808.367 | 1941.212 | 1675.521
12/12/2023 13:30 | 1897.261 | 2037.051 | 1757.471
12/12/2023 14:00 | 2003.733 | 2151.806 | 1855.66
12/12/2023 14:30 | 2134.317 | 2292.506 | 1976.127
12/12/2023 15:00 | 2305.548 | 2476.932 | 2134.164
12/12/2023 15:30 | 2483.549 | 2668.707 | 2298.39
12/12/2023 16:00 | 2637.563 | 2834.78 | 2440.346
12/12/2023 16:30 | 2783.706 | 2992.458 | 2574.953
12/12/2023 17:00 | 2895.784 | 3113.574 | 2677.994
12/12/2023 17:30 | 2945.135 | 3167.28 | 2722.99
12/12/2023 18:00 | 2905.297 | 3125.072 | 2685.522
12/12/2023 18:30 | 2860.938 | 3077.983 | 2643.894
12/12/2023 19:00 | 2869 | 3087.283 | 2650.717
12/12/2023 19:30 | 2803.523 | 3017.437 | 2589.61
12/12/2023 20:00 | 2700.56 | 2907.208 | 2493.912
12/12/2023 20:30 | 2586.041 | 2784.49 | 2387.591
12/12/2023 21:00 | 2463.483 | 2653.065 | 2273.9
12/12/2023 21:30 | 2354.984 | 2536.732 | 2173.237
12/12/2023 22:00 | 2256.056 | 2430.662 | 2081.451
12/12/2023 22:30 | 2172.003 | 2340.578 | 2003.428
12/12/2023 23:00 | 2104.79 | 2268.608 | 1940.971
12/12/2023 23:30 | 2048.749 | 2208.653 | 1888.844
13/12/2023 00:00 | 2001.319 | 2157.958 | 1844.679
13/12/2023 00:30 | 1963.139 | 2117.22 | 1809.059
13/12/2023 01:00 | 1935.062 | 2087.361 | 1782.763
13/12/2023 01:30 | 1913.404 | 2064.417 | 1762.391
13/12/2023 02:00 | 1896.339 | 2046.42 | 1746.259
13/12/2023 02:30 | 1885.636 | 2035.281 | 1735.991
13/12/2023 03:00 | 1881.935 | 2031.698 | 1732.173
13/12/2023 03:30 | 1890.491 | 2041.348 | 1739.634
13/12/2023 04:00 | 1906.235 | 2058.764 | 1753.705
13/12/2023 04:30 | 1930.89 | 2085.814 | 1775.966
13/12/2023 05:00 | 1943.918 | 2100.312 | 1787.524
13/12/2023 05:30 | 1934.446 | 2090.5 | 1778.391
13/12/2023 06:00 | 1928.625 | 2084.632 | 1772.619
13/12/2023 06:30 | 1885.493 | 2038.422 | 1732.563
13/12/2023 07:00 | 1811.417 | 1958.734 | 1664.1
13/12/2023 07:30 | 1699.665 | 1838.248 | 1561.081
13/12/2023 08:00 | 1594.24 | 1724.53 | 1463.949
13/12/2023 08:30 | 1515.597 | 1639.752 | 1391.443
13/12/2023 09:00 | 1475.602 | 1596.763 | 1354.442
13/12/2023 09:30 | 1444.438 | 1563.316 | 1325.559
13/12/2023 10:00 | 1430.183 | 1548.162 | 1312.203
13/12/2023 10:30 | 1436.6 | 1555.384 | 1317.815
13/12/2023 11:00 | 1461.518 | 1582.643 | 1340.393
13/12/2023 11:30 | 1491.307 | 1615.186 | 1367.427
13/12/2023 12:00 | 1520.955 | 1647.588 | 1394.321
13/12/2023 12:30 | 1561.362 | 1691.659 | 1431.065
13/12/2023 13:00 | 1612.945 | 1747.856 | 1478.034
13/12/2023 13:30 | 1695.766 | 1837.929 | 1553.603
13/12/2023 14:00 | 1790.295 | 1940.726 | 1639.864
13/12/2023 14:30 | 1902.571 | 2062.801 | 1742.341
13/12/2023 15:00 | 2063.114 | 2237.26 | 1888.968
13/12/2023 15:30 | 2239.688 | 2429.168 | 2050.209
13/12/2023 16:00 | 2405.917 | 2609.921 | 2201.913
13/12/2023 16:30 | 2560.632 | 2778.246 | 2343.019
13/12/2023 17:00 | 2691.164 | 2920.386 | 2461.942
13/12/2023 17:30 | 2760.294 | 2995.934 | 2524.655
13/12/2023 18:00 | 2726.196 | 2959.447 | 2492.945
13/12/2023 18:30 | 2699.427 | 2930.905 | 2467.948
13/12/2023 19:00 | 2739.702 | 2975.159 | 2504.245
13/12/2023 19:30 | 2688.672 | 2920.259 | 2457.086
13/12/2023 20:00 | 2599.322 | 2823.71 | 2374.933
13/12/2023 20:30 | 2496.562 | 2712.559 | 2280.566
13/12/2023 21:00 | 2387.659 | 2594.691 | 2180.627
13/12/2023 21:30 | 2287.68 | 2486.481 | 2088.878
13/12/2023 22:00 | 2195.758 | 2386.992 | 2004.524
13/12/2023 22:30 | 2116.754 | 2301.513 | 1931.995
13/12/2023 23:00 | 2052.175 | 2231.691 | 1872.66
13/12/2023 23:30 | 1995.023 | 2169.922 | 1820.125
14/12/2023 00:00 | 1946.546 | 2117.568 | 1775.524
14/12/2023 00:30 | 1909.282 | 2077.396 | 1741.168
14/12/2023 01:00 | 1881.533 | 2047.564 | 1715.502
14/12/2023 01:30 | 1861.904 | 2026.56 | 1697.248
14/12/2023 02:00 | 1847.871 | 2011.64 | 1684.102
14/12/2023 02:30 | 1838.656 | 2001.96 | 1675.351
14/12/2023 03:00 | 1836.856 | 2000.353 | 1673.359
14/12/2023 03:30 | 1847.229 | 2012.003 | 1682.454
14/12/2023 04:00 | 1864.09 | 2030.726 | 1697.454
14/12/2023 04:30 | 1889.617 | 2058.896 | 1720.337
14/12/2023 05:00 | 1904.446 | 2075.419 | 1733.473
14/12/2023 05:30 | 1897.664 | 2068.392 | 1726.936
14/12/2023 06:00 | 1890.824 | 2061.299 | 1720.349
14/12/2023 06:30 | 1841.639 | 2008.033 | 1675.246
14/12/2023 07:00 | 1761.031 | 1920.479 | 1601.583
14/12/2023 07:30 | 1636.816 | 1785.331 | 1488.301
14/12/2023 08:00 | 1517.254 | 1655.211 | 1379.296
14/12/2023 08:30 | 1430.92 | 1558.999 | 1298.62
14/12/2023 09:00 | 1379.796 | 1503.083 | 1251.559
14/12/2023 09:30 | 1347.286 | 1468.066 | 1221.929
14/12/2023 10:00 | 1337.961 | 1460.642 | 1213.668
14/12/2023 10:30 | 1352.483 | 1476.755 | 1227.311
14/12/2023 11:00 | 1371.375 | 1497.646 | 1245.129
14/12/2023 11:30 | 1396.756 | 1525.631 | 1269.414
14/12/2023 12:00 | 1433.725 | 1566.286 | 1304.343
14/12/2023 12:30 | 1480.73 | 1617.921 | 1347.886
14/12/2023 13:00 | 1526.506 | 1668.23 | 1390.512
14/12/2023 13:30 | 1610.407 | 1760.23 | 1468.335
14/12/2023 14:00 | 1709.397 | 1868.756 | 1559.953
14/12/2023 14:30 | 1822.31 | 1992.545 | 1663.817
14/12/2023 15:00 | 1976.199 | 2161.189 | 1804.507
14/12/2023 15:30 | 2145.477 | 2346.724 | 1958.243
14/12/2023 16:00 | 2303.769 | 2520.305 | 2101.791
14/12/2023 16:30 | 2463.625 | 2695.659 | 2246.522
14/12/2023 17:00 | 2606.78 | 2852.796 | 2375.436
14/12/2023 17:30 | 2694.226 | 2949.011 | 2453.61
14/12/2023 18:00 | 2668.396 | 2921.251 | 2429.045
14/12/2023 18:30 | 2648.123 | 2899.564 | 2409.449
14/12/2023 19:00 | 2698.396 | 2955.128 | 2453.846
14/12/2023 19:30 | 2653.782 | 2906.778 | 2412.646
14/12/2023 20:00 | 2568.858 | 2813.265 | 2323.466
14/12/2023 20:30 | 2465.738 | 2700.807 | 2229.724
14/12/2023 21:00 | 2355.011 | 2579.975 | 2129.144
14/12/2023 21:30 | 2262.903 | 2479.502 | 2045.436
14/12/2023 22:00 | 2176.621 | 2385.379 | 1967.029
14/12/2023 22:30 | 2099.707 | 2301.49 | 1897.119
14/12/2023 23:00 | 2036.054 | 2232.11 | 1839.217
14/12/2023 23:30 | 1988.074 | 2179.891 | 1795.495
15/12/2023 00:00 | 1948.281 | 2136.632 | 1759.182
15/12/2023 00:30 | 1911.294 | 2096.437 | 1725.42
15/12/2023 01:00 | 1884.041 | 2066.904 | 1700.455
15/12/2023 01:30 | 1863.74 | 2044.99 | 1681.776
15/12/2023 02:00 | 1850.119 | 2030.399 | 1669.13
15/12/2023 02:30 | 1842.199 | 2022.06 | 1661.631
15/12/2023 03:00 | 1840.587 | 2020.644 | 1659.825
15/12/2023 03:30 | 1848.953 | 2030.183 | 1667.015
15/12/2023 04:00 | 1862.352 | 2045.252 | 1678.738
15/12/2023 04:30 | 1876.668 | 2061.334 | 1691.283
15/12/2023 05:00 | 1878.973 | 2064.226 | 1693
15/12/2023 05:30 | 1867.899 | 2052.418 | 1682.664
15/12/2023 06:00 | 1890.183 | 2077.265 | 1702.376
15/12/2023 06:30 | 1916.476 | 2106.528 | 1725.689
15/12/2023 07:00 | 1932.373 | 2124.372 | 1740.374
15/12/2023 07:30 | 1918.073 | 2109.019 | 1727.128
15/12/2023 08:00 | 1883.058 | 2070.878 | 1695.237
15/12/2023 08:30 | 1832.07 | 2015.25 | 1648.89
15/12/2023 09:00 | 1791.474 | 1971.211 | 1611.737
15/12/2023 09:30 | 1753.49 | 1930.004 | 1576.976
15/12/2023 10:00 | 1719.335 | 1892.987 | 1545.682
15/12/2023 10:30 | 1713.804 | 1887.472 | 1540.135
15/12/2023 11:00 | 1684.044 | 1855.261 | 1512.826
15/12/2023 11:30 | 1570.684 | 1730.903 | 1410.465
15/12/2023 12:00 | 1502.902 | 1656.71 | 1349.093
15/12/2023 12:30 | 1522.728 | 1679.076 | 1366.38
15/12/2023 13:00 | 1547.527 | 1706.94 | 1388.114
15/12/2023 13:30 | 1585.941 | 1749.843 | 1422.039
15/12/2023 14:00 | 1652.229 | 1823.535 | 1480.922
15/12/2023 14:30 | 1757.016 | 1939.776 | 1574.256
15/12/2023 15:00 | 1881.894 | 2078.275 | 1685.513
15/12/2023 15:30 | 2046.324 | 2260.55 | 1832.098
15/12/2023 16:00 | 2217.684 | 2450.593 | 1984.776
15/12/2023 16:30 | 2389.12 | 2640.834 | 2137.405
15/12/2023 17:00 | 2523.044 | 2789.715 | 2256.374
15/12/2023 17:30 | 2595.038 | 2870.188 | 2319.888
15/12/2023 18:00 | 2619.551 | 2898.178 | 2340.924
15/12/2023 18:30 | 2608.389 | 2886.703 | 2330.074
15/12/2023 19:00 | 2581.578 | 2857.897 | 2305.259
15/12/2023 19:30 | 2560.546 | 2835.472 | 2285.619
15/12/2023 20:00 | 2499.747 | 2768.984 | 2230.51
15/12/2023 20:30 | 2423.245 | 2685.054 | 2161.435
15/12/2023 21:00 | 2338.13 | 2591.528 | 2084.732
15/12/2023 21:30 | 2262.552 | 2508.518 | 2016.587
15/12/2023 22:00 | 2187.854 | 2426.433 | 1949.276
15/12/2023 22:30 | 2114.331 | 2345.601 | 1883.061
15/12/2023 23:00 | 2040.396 | 2264.263 | 1816.529
15/12/2023 23:30 | 1974.44 | 2190.291 | 1758.589
16/12/2023 00:00 | 1915.036 | 2122.343 | 1707.73
16/12/2023 00:30 | 1870.72 | 2074.312 | 1667.128
16/12/2023 01:00 | 1837.503 | 2038.303 | 1636.704
16/12/2023 01:30 | 1816.959 | 2016.326 | 1617.591
16/12/2023 02:00 | 1801.378 | 1999.842 | 1602.914
16/12/2023 02:30 | 1787.104 | 1984.794 | 1589.413
16/12/2023 03:00 | 1778.309 | 1975.822 | 1580.795
16/12/2023 03:30 | 1779.031 | 1977.421 | 1580.641
16/12/2023 04:00 | 1775.967 | 1974.81 | 1577.124
16/12/2023 04:30 | 1757.25 | 1954.784 | 1559.717
16/12/2023 05:00 | 1733.662 | 1929.32 | 1538.004
16/12/2023 05:30 | 1701 | 1893.733 | 1508.267
16/12/2023 06:00 | 1643.29 | 1830.219 | 1456.361
16/12/2023 06:30 | 1552.714 | 1730.035 | 1375.394
16/12/2023 07:00 | 1446.981 | 1612.875 | 1281.088
16/12/2023 07:30 | 1318.842 | 1470.635 | 1167.05