## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
10/12/2023 08:00 | 1054.97 | 1076.173 | 1040.563
10/12/2023 08:30 | 954.993 | 974.71 | 935.276 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
10/12/2023 09:00 | 886.6878 | 908.3844 | 864.9912 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
10/12/2023 09:30 | 818.2676 | 841.4183 | 795.1169 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
10/12/2023 10:00 | 786.2077 | 811.457 | 760.9584 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
10/12/2023 10:30 | 768.3862 | 795.2401 | 741.5324 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
10/12/2023 11:00 | 770.8519 | 798.4645 | 743.2394 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
10/12/2023 11:30 | 786.9767 | 815.9865 | 757.9669 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
10/12/2023 12:00 | 820.6008 | 851.7047 | 789.4969 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
10/12/2023 12:30 | 895.041 | 929.8987 | 860.1833 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
10/12/2023 13:00 | 975.2376 | 1011.442 | 933.6633 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
10/12/2023 13:30 | 1076.342 | 1119.426 | 1031.189
10/12/2023 14:00 | 1216.205 | 1265.127 | 1162.977 | Summary view - for each schedule horizon (dispatch, week-ahead)
10/12/2023 14:30 | 1385.099 | 1442.683 | 1323.432
10/12/2023 15:00 | 1565.803 | 1634.317 | 1496.1 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
10/12/2023 15:30 | 1777.49 | 1855.797 | 1695.307 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
10/12/2023 16:00 | 1996.908 | 2086.983 | 1902.525 | Scenario | Violations
10/12/2023 16:30 | 2199.917 | 2302.336 | 2094.467 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
10/12/2023 17:00 | 2370.084 | 2481.145 | 2252.424 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
10/12/2023 17:30 | 2487.935 | 2606.822 | 2361.58 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 0 | 0 | 0 | 0 | 1
10/12/2023 18:00 | 2519.324 | 2643.713 | 2390.004 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 44 | 0 | 0 | 0 | 0 | 0
10/12/2023 18:30 | 2515.402 | 2644.106 | 2386.698 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 55 | 0 | 0 | 0 | 0 | 0
10/12/2023 19:00 | 2526.67 | 2656.496 | 2396.844
10/12/2023 19:30 | 2498.8 | 2627.852 | 2369.748 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
10/12/2023 20:00 | 2430.195 | 2556.343 | 2304.046
10/12/2023 20:30 | 2350.927 | 2473.58 | 2228.274 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
10/12/2023 21:00 | 2262.29 | 2380.914 | 2143.666 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
10/12/2023 21:30 | 2182.259 | 2297.261 | 2067.257 | [7 empty] | 10/12/2023 08:30 |  |  |  |  | 10/12/2023 08:00 | [6 empty] | 10/12/2023 08:30 | [11 empty] | 10/12/2023 08:30
10/12/2023 22:00 | 2107.8 | 2219.434 | 1996.167 | [7 empty] | 10/12/2023 09:00 | [11 empty] | 10/12/2023 09:00 | [11 empty] | 10/12/2023 09:00
10/12/2023 22:30 | 2039.224 | 2147.762 | 1930.686 | [7 empty] | 10/12/2023 09:30 | [11 empty] | 10/12/2023 09:30 | [11 empty] | 10/12/2023 09:30
10/12/2023 23:00 | 1984.551 | 2090.702 | 1878.4 | [7 empty] | 10/12/2023 10:00 | [11 empty] | 10/12/2023 10:00 | [11 empty] | 10/12/2023 10:00
10/12/2023 23:30 | 1937.288 | 2036.981 | 1837.594 | [7 empty] | 10/12/2023 10:30 | [11 empty] | 10/12/2023 10:30 | [11 empty] | 10/12/2023 10:30
11/12/2023 00:00 | 1896.418 | 1985.988 | 1806.849 | [7 empty] | 10/12/2023 11:00 | [11 empty] | 10/12/2023 11:00 | [11 empty] | 10/12/2023 11:00
11/12/2023 00:30 | 1864.423 | 1953.955 | 1774.891 | [7 empty] | 10/12/2023 11:30 | [11 empty] | 10/12/2023 11:30 | [11 empty] | 10/12/2023 11:30
11/12/2023 01:00 | 1842.113 | 1931.295 | 1752.932 | [7 empty] | 10/12/2023 12:00 | [11 empty] | 10/12/2023 12:00 | [11 empty] | 10/12/2023 12:00
11/12/2023 01:30 | 1827.126 | 1916.297 | 1737.955 | [7 empty] | 10/12/2023 12:30 | [11 empty] | 10/12/2023 12:30 | [11 empty] | 10/12/2023 12:30
11/12/2023 02:00 | 1816.598 | 1905.966 | 1727.23 | [7 empty] | 10/12/2023 13:00 | [11 empty] | 10/12/2023 13:00 | [11 empty] | 10/12/2023 13:00
11/12/2023 02:30 | 1809.602 | 1899.334 | 1719.869 | [7 empty] | 10/12/2023 13:30 | [11 empty] | 10/12/2023 13:30 | [11 empty] | 10/12/2023 13:30
11/12/2023 03:00 | 1808.118 | 1898.485 | 1717.752 | [7 empty] | 10/12/2023 14:00 | [11 empty] | 10/12/2023 14:00 | [11 empty] | 10/12/2023 14:00
11/12/2023 03:30 | 1819.55 | 1911.2 | 1727.9 | [7 empty] | 10/12/2023 14:30 | [11 empty] | 10/12/2023 14:30 | [11 empty] | 10/12/2023 14:30
11/12/2023 04:00 | 1837.933 | 1931.228 | 1744.638 | [7 empty] | 10/12/2023 15:00 | [11 empty] | 10/12/2023 15:00 | [11 empty] | 10/12/2023 15:00
11/12/2023 04:30 | 1862.603 | 1957.88 | 1767.327 | [7 empty] | 11/12/2023 08:00 | [11 empty] | 11/12/2023 08:00 | [11 empty] | 11/12/2023 08:00
11/12/2023 05:00 | 1878.659 | 1975.492 | 1781.826 | [7 empty] | 11/12/2023 08:30 | [11 empty] | 11/12/2023 08:30 | [11 empty] | 11/12/2023 08:30
11/12/2023 05:30 | 1869.798 | 1966.906 | 1772.69 | [7 empty] | 11/12/2023 09:00 | [11 empty] | 11/12/2023 09:00 | [11 empty] | 11/12/2023 09:00
11/12/2023 06:00 | 1855.094 | 1952.165 | 1758.024 | [7 empty] | 11/12/2023 09:30 | [11 empty] | 11/12/2023 09:30 | [11 empty] | 11/12/2023 09:30
11/12/2023 06:30 | 1795.842 | 1890.37 | 1701.313 | [7 empty] | 11/12/2023 10:00 | [11 empty] | 11/12/2023 10:00 | [11 empty] | 11/12/2023 10:00
11/12/2023 07:00 | 1711.154 | 1801.484 | 1620.824 | [7 empty] | 11/12/2023 10:30 | [11 empty] | 11/12/2023 10:30 | [11 empty] | 11/12/2023 10:30
11/12/2023 07:30 | 1596.526 | 1681.069 | 1511.984 | [7 empty] | 11/12/2023 11:00 | [11 empty] | 11/12/2023 11:00 | [11 empty] | 11/12/2023 11:00
11/12/2023 08:00 | 1489.107 | 1568.207 | 1410.007 | [7 empty] | 11/12/2023 11:30 | [11 empty] | 11/12/2023 11:30 | [11 empty] | 11/12/2023 11:30
11/12/2023 08:30 | 1409.828 | 1484.949 | 1334.706 | [7 empty] | 11/12/2023 12:00 | [11 empty] | 11/12/2023 12:00 | [11 empty] | 11/12/2023 12:00
11/12/2023 09:00 | 1358.581 | 1431.196 | 1285.965 | [7 empty] | 12/12/2023 11:30 | [11 empty] | 12/12/2023 11:00 | [11 empty] | 12/12/2023 07:30
11/12/2023 09:30 | 1326.006 | 1397.099 | 1254.913 | [7 empty] | 12/12/2023 12:00 | [11 empty] | 12/12/2023 11:30 | [11 empty] | 12/12/2023 08:00
11/12/2023 10:00 | 1334.218 | 1405.972 | 1262.465 | [7 empty] | 12/12/2023 12:30 | [11 empty] | 12/12/2023 12:30 | [11 empty] | 12/12/2023 08:30
11/12/2023 10:30 | 1362.713 | 1436.224 | 1289.202 | [7 empty] | 13/12/2023 10:00 | [11 empty] | 13/12/2023 10:00 | [11 empty] | 12/12/2023 09:00
11/12/2023 11:00 | 1401.437 | 1477.268 | 1325.606 | [7 empty] | 13/12/2023 10:30 | [11 empty] | 13/12/2023 10:30 | [11 empty] | 12/12/2023 09:30
11/12/2023 11:30 | 1456.484 | 1535.534 | 1377.434 | [7 empty] | 13/12/2023 11:30 | [11 empty] | 13/12/2023 11:30 | [11 empty] | 12/12/2023 12:30
11/12/2023 12:00 | 1527.824 | 1610.999 | 1444.65 | [7 empty] | 13/12/2023 12:00 | [11 empty] | 13/12/2023 12:00 | [11 empty] | 13/12/2023 09:00
11/12/2023 12:30 | 1617.722 | 1705.46 | 1529.387 | [7 empty] | 13/12/2023 12:30 | [11 empty] | 13/12/2023 12:30 | [11 empty] | 13/12/2023 09:30
11/12/2023 13:00 | 1694.96 | 1787.169 | 1602.127 | [7 empty] | 13/12/2023 13:00 | [11 empty] | 13/12/2023 13:00 | [11 empty] | 13/12/2023 10:00
11/12/2023 13:30 | 1793.185 | 1891.034 | 1694.676 | [7 empty] | 13/12/2023 13:30 | [11 empty] | 13/12/2023 13:30 | [11 empty] | 13/12/2023 10:30
11/12/2023 14:00 | 1915.348 | 2020.18 | 1809.812 | [7 empty] | 13/12/2023 14:00 | [11 empty] | 14/12/2023 07:30 | [11 empty] | 13/12/2023 11:00
11/12/2023 14:30 | 2063.615 | 2176.907 | 1949.568 | [7 empty] | 14/12/2023 07:00 | [11 empty] | 14/12/2023 08:00 | [11 empty] | 13/12/2023 11:30
11/12/2023 15:00 | 2242.733 | 2366.234 | 2118.418 | [7 empty] | 14/12/2023 07:30 | [11 empty] | 14/12/2023 08:30 | [11 empty] | 13/12/2023 12:00
11/12/2023 15:30 | 2428.774 | 2562.927 | 2293.745 | [7 empty] | 14/12/2023 08:00 | [11 empty] | 14/12/2023 09:00 | [11 empty] | 13/12/2023 12:30
11/12/2023 16:00 | 2594.92 | 2738.683 | 2450.225 | [7 empty] | 14/12/2023 08:30 | [11 empty] | 14/12/2023 09:30 | [11 empty] | 13/12/2023 13:00
11/12/2023 16:30 | 2745.836 | 2898.42 | 2592.273 | [7 empty] | 14/12/2023 09:00 | [11 empty] | 14/12/2023 10:00 | [11 empty] | 13/12/2023 13:30
11/12/2023 17:00 | 2864.168 | 3023.808 | 2703.514 | [7 empty] | 14/12/2023 09:30 | [11 empty] | 14/12/2023 10:30 | [11 empty] | 13/12/2023 14:00
11/12/2023 17:30 | 2918.822 | 3081.996 | 2754.62 | [7 empty] | 14/12/2023 10:00 | [11 empty] | 14/12/2023 11:00 | [11 empty] | 13/12/2023 14:30
11/12/2023 18:00 | 2895.394 | 3057.743 | 2732.033 | [7 empty] | 14/12/2023 10:30 | [11 empty] | 14/12/2023 11:30 | [11 empty] | 14/12/2023 08:00
11/12/2023 18:30 | 2853.385 | 3013.854 | 2691.923 | [7 empty] | 14/12/2023 11:00 | [11 empty] | 14/12/2023 12:00 | [11 empty] | 14/12/2023 08:30
11/12/2023 19:00 | 2829.57 | 2989.171 | 2668.988 | [7 empty] | 14/12/2023 11:30 | [11 empty] | 14/12/2023 12:30 | [11 empty] | 14/12/2023 09:00
11/12/2023 19:30 | 2764.8 | 2921.21 | 2607.438 | [7 empty] | 14/12/2023 12:00 | [23 empty] | 14/12/2023 09:30
11/12/2023 20:00 | 2662.473 | 2813.537 | 2511.343 | [7 empty] | 14/12/2023 12:30 | [23 empty] | 14/12/2023 10:00
11/12/2023 20:30 | 2549.161 | 2694.219 | 2404.043 | [31 empty] | 14/12/2023 10:30
11/12/2023 21:00 | 2430.899 | 2569.63 | 2292.115 | [31 empty] | 14/12/2023 11:00
11/12/2023 21:30 | 2326.407 | 2459.586 | 2193.228 | [31 empty] | 14/12/2023 11:30
11/12/2023 22:00 | 2231.752 | 2359.881 | 2103.624 | [31 empty] | 14/12/2023 12:00
11/12/2023 22:30 | 2151.176 | 2275.034 | 2027.318 | [31 empty] | 14/12/2023 12:30
11/12/2023 23:00 | 2087.591 | 2208.133 | 1967.05 | [31 empty] | 14/12/2023 13:00
11/12/2023 23:30 | 2033.657 | 2151.42 | 1915.894 | [31 empty] | 14/12/2023 13:30
12/12/2023 00:00 | 1986.846 | 2102.227 | 1871.466 | [31 empty] | 14/12/2023 14:00
12/12/2023 00:30 | 1951.225 | 2064.859 | 1837.591 | [31 empty] | 14/12/2023 14:30
12/12/2023 01:00 | 1927.419 | 2039.984 | 1814.853
12/12/2023 01:30 | 1907.022 | 2018.711 | 1795.332
12/12/2023 02:00 | 1892.158 | 2003.289 | 1781.026
12/12/2023 02:30 | 1881.787 | 1992.62 | 1770.954
12/12/2023 03:00 | 1876.752 | 1987.598 | 1765.906
12/12/2023 03:30 | 1885.067 | 1996.712 | 1773.418
12/12/2023 04:00 | 1900.659 | 2013.541 | 1787.773
12/12/2023 04:30 | 1921.958 | 2036.422 | 1807.49
12/12/2023 05:00 | 1933.997 | 2049.498 | 1818.492
12/12/2023 05:30 | 1928.286 | 2043.764 | 1812.804
12/12/2023 06:00 | 1925.335 | 2040.955 | 1809.713
12/12/2023 06:30 | 1877.52 | 1990.577 | 1764.458
12/12/2023 07:00 | 1802.055 | 1910.866 | 1693.241
12/12/2023 07:30 | 1710.268 | 1813.853 | 1606.681
12/12/2023 08:00 | 1632.816 | 1732.074 | 1533.558
12/12/2023 08:30 | 1567.083 | 1662.687 | 1471.478
12/12/2023 09:00 | 1545.164 | 1639.769 | 1450.559
12/12/2023 09:30 | 1529.506 | 1623.487 | 1435.526
12/12/2023 10:00 | 1534.918 | 1629.566 | 1440.27
12/12/2023 10:30 | 1577.053 | 1674.644 | 1479.462
12/12/2023 11:00 | 1617.036 | 1717.455 | 1516.618
12/12/2023 11:30 | 1660.385 | 1763.858 | 1556.911
12/12/2023 12:00 | 1716.357 | 1823.693 | 1609.02
12/12/2023 12:30 | 1789.557 | 1901.862 | 1677.252
12/12/2023 13:00 | 1865.677 | 1983.167 | 1748.188
12/12/2023 13:30 | 1963.949 | 2088.057 | 1839.842
12/12/2023 14:00 | 2076.072 | 2207.718 | 1944.426
12/12/2023 14:30 | 2210.209 | 2350.844 | 2069.574
12/12/2023 15:00 | 2386.272 | 2538.632 | 2233.913
12/12/2023 15:30 | 2568.29 | 2732.832 | 2403.748
12/12/2023 16:00 | 2724.36 | 2899.496 | 2549.224
12/12/2023 16:30 | 2871.413 | 3056.63 | 2686.196
12/12/2023 17:00 | 2983.164 | 3176.24 | 2790.087
12/12/2023 17:30 | 3029.094 | 3225.806 | 2832.383
12/12/2023 18:00 | 2970.273 | 3163.813 | 2776.732
12/12/2023 18:30 | 2915.758 | 3106.383 | 2725.133
12/12/2023 19:00 | 2936.73 | 3129.368 | 2744.092
12/12/2023 19:30 | 2865.814 | 3054.427 | 2677.202
12/12/2023 20:00 | 2758.178 | 2940.309 | 2576.047
12/12/2023 20:30 | 2637.479 | 2812.216 | 2462.742
12/12/2023 21:00 | 2508.938 | 2675.708 | 2342.169
12/12/2023 21:30 | 2395.285 | 2555.023 | 2235.547
12/12/2023 22:00 | 2292.722 | 2446.121 | 2139.323
12/12/2023 22:30 | 2205.099 | 2353.117 | 2057.081
12/12/2023 23:00 | 2132.923 | 2276.562 | 1989.283
12/12/2023 23:30 | 2071.099 | 2211.028 | 1931.171
13/12/2023 00:00 | 2018.776 | 2155.611 | 1881.942
13/12/2023 00:30 | 1977.608 | 2112.084 | 1843.132
13/12/2023 01:00 | 1947.299 | 2080.14 | 1814.459
13/12/2023 01:30 | 1925.195 | 2056.948 | 1793.441
13/12/2023 02:00 | 1907.723 | 2038.697 | 1776.748
13/12/2023 02:30 | 1896.588 | 2027.213 | 1765.964
13/12/2023 03:00 | 1892.434 | 2023.186 | 1761.682
13/12/2023 03:30 | 1900.737 | 2032.477 | 1768.996
13/12/2023 04:00 | 1916.187 | 2049.417 | 1782.957
13/12/2023 04:30 | 1940.349 | 2075.683 | 1805.015
13/12/2023 05:00 | 1952.672 | 2089.292 | 1816.052
13/12/2023 05:30 | 1942.527 | 2078.862 | 1806.192
13/12/2023 06:00 | 1937.309 | 2073.701 | 1800.917
13/12/2023 06:30 | 1896.066 | 2029.969 | 1762.164
13/12/2023 07:00 | 1824.755 | 1954.02 | 1695.49
13/12/2023 07:30 | 1716.622 | 1838.602 | 1594.641
13/12/2023 08:00 | 1615.214 | 1730.341 | 1500.087
13/12/2023 08:30 | 1540.425 | 1650.558 | 1430.292
13/12/2023 09:00 | 1503.955 | 1611.809 | 1396.101
13/12/2023 09:30 | 1475.399 | 1581.528 | 1369.271
13/12/2023 10:00 | 1464.011 | 1569.64 | 1358.382
13/12/2023 10:30 | 1473.933 | 1580.6 | 1367.266
13/12/2023 11:00 | 1500.433 | 1609.345 | 1391.52
13/12/2023 11:30 | 1532.416 | 1643.985 | 1420.846
13/12/2023 12:00 | 1562.644 | 1676.755 | 1448.532
13/12/2023 12:30 | 1602.266 | 1719.621 | 1484.911
13/12/2023 13:00 | 1653.696 | 1775.179 | 1532.213
13/12/2023 13:30 | 1735.98 | 1863.887 | 1608.073
13/12/2023 14:00 | 1832.15 | 1967.543 | 1696.757
13/12/2023 14:30 | 1945.883 | 2090.106 | 1801.66
13/12/2023 15:00 | 2107.031 | 2263.659 | 1950.404
13/12/2023 15:30 | 2283.46 | 2453.701 | 2113.219
13/12/2023 16:00 | 2448.412 | 2631.486 | 2265.338
13/12/2023 16:30 | 2598.834 | 2793.723 | 2403.945
13/12/2023 17:00 | 2722.276 | 2927.017 | 2517.536
13/12/2023 17:30 | 2786.646 | 2996.836 | 2576.455
13/12/2023 18:00 | 2783.731 | 2994.311 | 2573.152
13/12/2023 18:30 | 2764.632 | 2974.371 | 2554.894
13/12/2023 19:00 | 2754.644 | 2964.227 | 2545.062
13/12/2023 19:30 | 2705.702 | 2912.152 | 2499.252
13/12/2023 20:00 | 2615.213 | 2815.33 | 2415.096
13/12/2023 20:30 | 2511.123 | 2703.824 | 2318.423
13/12/2023 21:00 | 2400.802 | 2585.562 | 2216.043
13/12/2023 21:30 | 2299.389 | 2476.846 | 2121.932
13/12/2023 22:00 | 2206.365 | 2377.125 | 2035.605
13/12/2023 22:30 | 2125.971 | 2290.973 | 1960.969
13/12/2023 23:00 | 2059.246 | 2219.52 | 1898.973
13/12/2023 23:30 | 1999.639 | 2155.711 | 1843.568
14/12/2023 00:00 | 1948.722 | 2101.245 | 1796.199
14/12/2023 00:30 | 1909.999 | 2059.908 | 1760.089
14/12/2023 01:00 | 1881.304 | 2029.373 | 1733.236
14/12/2023 01:30 | 1861.812 | 2008.753 | 1714.871
14/12/2023 02:00 | 1847.676 | 1993.905 | 1701.447
14/12/2023 02:30 | 1838.384 | 1984.28 | 1692.489
14/12/2023 03:00 | 1836.573 | 1982.726 | 1690.42
14/12/2023 03:30 | 1846.584 | 1993.937 | 1699.231
14/12/2023 04:00 | 1862.954 | 2012.02 | 1713.888
14/12/2023 04:30 | 1888.573 | 2040.102 | 1737.044
14/12/2023 05:00 | 1901.725 | 2054.724 | 1748.725
14/12/2023 05:30 | 1889.913 | 2042.375 | 1737.451
14/12/2023 06:00 | 1879.75 | 2031.803 | 1727.698
14/12/2023 06:30 | 1829.198 | 1977.561 | 1680.834
14/12/2023 07:00 | 1747.269 | 1889.369 | 1605.169
14/12/2023 07:30 | 1623.112 | 1755.454 | 1490.77
14/12/2023 08:00 | 1503.076 | 1625.916 | 1380.235
14/12/2023 08:30 | 1412.951 | 1528.697 | 1297.205
14/12/2023 09:00 | 1359.574 | 1471.207 | 1247.94
14/12/2023 09:30 | 1325.742 | 1434.852 | 1216.633
14/12/2023 10:00 | 1315.839 | 1424.386 | 1207.292
14/12/2023 10:30 | 1329.682 | 1439.625 | 1219.738
14/12/2023 11:00 | 1349.875 | 1461.747 | 1238.003
14/12/2023 11:30 | 1378.774 | 1493.306 | 1264.243
14/12/2023 12:00 | 1418.758 | 1536.882 | 1300.633
14/12/2023 12:30 | 1468.167 | 1590.687 | 1345.647
14/12/2023 13:00 | 1518.092 | 1645.069 | 1391.115
14/12/2023 13:30 | 1608.987 | 1743.875 | 1474.099
14/12/2023 14:00 | 1714.891 | 1858.987 | 1570.796
14/12/2023 14:30 | 1832.182 | 1986.484 | 1677.88
14/12/2023 15:00 | 1989.58 | 2157.519 | 1821.641
14/12/2023 15:30 | 2159.888 | 2342.617 | 1977.16
14/12/2023 16:00 | 2320.498 | 2517.259 | 2123.737
14/12/2023 16:30 | 2482.848 | 2693.85 | 2271.845
14/12/2023 17:00 | 2627.644 | 2851.456 | 2403.832
14/12/2023 17:30 | 2716.691 | 2948.609 | 2484.774
14/12/2023 18:00 | 2687.39 | 2917.321 | 2457.459
14/12/2023 18:30 | 2666.398 | 2895.044 | 2437.752
14/12/2023 19:00 | 2723.002 | 2957.024 | 2488.98
14/12/2023 19:30 | 2678.895 | 2909.639 | 2448.15
14/12/2023 20:00 | 2593.847 | 2817.764 | 2369.931
14/12/2023 20:30 | 2490.13 | 2705.57 | 2274.69
14/12/2023 21:00 | 2379.102 | 2585.392 | 2172.812
14/12/2023 21:30 | 2286.074 | 2484.736 | 2087.412
14/12/2023 22:00 | 2198.277 | 2389.731 | 2006.824
14/12/2023 22:30 | 2120.136 | 2305.191 | 1935.082
14/12/2023 23:00 | 2056.034 | 2235.887 | 1876.18
14/12/2023 23:30 | 2008.015 | 2184.053 | 1831.977
15/12/2023 00:00 | 1969.087 | 2142.089 | 1796.084
15/12/2023 00:30 | 1933.271 | 2103.497 | 1763.045
15/12/2023 01:00 | 1906.646 | 2074.893 | 1738.399
15/12/2023 01:30 | 1884.753 | 2051.43 | 1718.076
15/12/2023 02:00 | 1868.719 | 2034.336 | 1703.102
15/12/2023 02:30 | 1858.227 | 2023.27 | 1693.184
15/12/2023 03:00 | 1855.344 | 2020.486 | 1690.201
15/12/2023 03:30 | 1863.234 | 2029.436 | 1697.032
15/12/2023 04:00 | 1875.237 | 2042.869 | 1707.605
15/12/2023 04:30 | 1887.702 | 2056.81 | 1718.594
15/12/2023 05:00 | 1890.452 | 2060.169 | 1720.735
15/12/2023 05:30 | 1872.505 | 2040.969 | 1704.04
15/12/2023 06:00 | 1846.703 | 2013.2 | 1680.206
15/12/2023 06:30 | 1786.352 | 1947.75 | 1624.953
15/12/2023 07:00 | 1721.515 | 1877.385 | 1565.645
15/12/2023 07:30 | 1651.827 | 1801.704 | 1501.95
15/12/2023 08:00 | 1583.149 | 1727.098 | 1439.2
15/12/2023 08:30 | 1521.001 | 1659.591 | 1382.412
15/12/2023 09:00 | 1476.741 | 1611.581 | 1341.901
15/12/2023 09:30 | 1438.796 | 1570.447 | 1307.145
15/12/2023 10:00 | 1424.54 | 1555.159 | 1293.92
15/12/2023 10:30 | 1440.171 | 1572.5 | 1307.843
15/12/2023 11:00 | 1486.689 | 1623.578 | 1349.801
15/12/2023 11:30 | 1533.024 | 1674.473 | 1391.576
15/12/2023 12:00 | 1582.527 | 1728.846 | 1436.208
15/12/2023 12:30 | 1671.984 | 1826.894 | 1517.073
15/12/2023 13:00 | 1749.103 | 1911.494 | 1586.712
15/12/2023 13:30 | 1838.921 | 2010.004 | 1667.839
15/12/2023 14:00 | 1963.063 | 2146.071 | 1780.055
15/12/2023 14:30 | 2092.432 | 2287.901 | 1896.962
15/12/2023 15:00 | 2244.793 | 2454.926 | 2034.66
15/12/2023 15:30 | 2420.102 | 2647.109 | 2193.094
15/12/2023 16:00 | 2585.699 | 2828.736 | 2342.663
15/12/2023 16:30 | 2731.588 | 2988.861 | 2474.316
15/12/2023 17:00 | 2836.889 | 3104.623 | 2569.156
15/12/2023 17:30 | 2879.332 | 3151.623 | 2607.041
15/12/2023 18:00 | 2846.975 | 3116.751 | 2577.198
15/12/2023 18:30 | 2809.612 | 3076.387 | 2542.837
15/12/2023 19:00 | 2817.979 | 3086.089 | 2549.87
15/12/2023 19:30 | 2782.408 | 3047.666 | 2517.149
15/12/2023 20:00 | 2708.219 | 2966.923 | 2449.514
15/12/2023 20:30 | 2617.66 | 2868.215 | 2367.104
15/12/2023 21:00 | 2521.99 | 2763.872 | 2280.108
15/12/2023 21:30 | 2434.196 | 2668.124 | 2200.268
15/12/2023 22:00 | 2347.202 | 2573.22 | 2121.185
15/12/2023 22:30 | 2261.606 | 2479.815 | 2043.397
15/12/2023 23:00 | 2178.005 | 2388.565 | 1967.445
15/12/2023 23:30 | 2104.537 | 2305.838 | 1903.236
16/12/2023 00:00 | 2039.321 | 2229.759 | 1848.883
16/12/2023 00:30 | 1989.618 | 2175.912 | 1803.324
16/12/2023 01:00 | 1950.362 | 2133.079 | 1767.644
16/12/2023 01:30 | 1922.593 | 2102.807 | 1742.378
16/12/2023 02:00 | 1902.247 | 2080.651 | 1723.843
16/12/2023 02:30 | 1883.498 | 2060.24 | 1706.756
16/12/2023 03:00 | 1870 | 2045.571 | 1694.43
16/12/2023 03:30 | 1865.485 | 2040.727 | 1690.244
16/12/2023 04:00 | 1857.778 | 2032.391 | 1683.166
16/12/2023 04:30 | 1834.355 | 2006.859 | 1661.851
16/12/2023 05:00 | 1805.539 | 1975.425 | 1635.652
16/12/2023 05:30 | 1768.749 | 1935.264 | 1602.234
16/12/2023 06:00 | 1712.26 | 1873.406 | 1550.976
16/12/2023 06:30 | 1635.745 | 1790.334 | 1481.585
16/12/2023 07:00 | 1552.366 | 1699.785 | 1405.984
16/12/2023 07:30 | 1448.435 | 1587.078 | 1311.576
16/12/2023 08:00 | 1354.242 | 1485.725 | 1225.644
16/12/2023 08:30 | 1276.075 | 1401.594 | 1154.329
16/12/2023 09:00 | 1240.413 | 1359.312 | 1117.987
16/12/2023 09:30 | 1222.285 | 1339.993 | 1100.838
16/12/2023 10:00 | 1218.44 | 1336.323 | 1096.826
16/12/2023 10:30 | 1242.007 | 1362.726 | 1117.664
16/12/2023 11:00 | 1292.603 | 1418.818 | 1166.388
16/12/2023 11:30 | 1338.11 | 1469.368 | 1206.853
16/12/2023 12:00 | 1394.942 | 1532.398 | 1257.486
16/12/2023 12:30 | 1472.624 | 1618.394 | 1326.854
16/12/2023 13:00 | 1535.129 | 1687.774 | 1382.485
16/12/2023 13:30 | 1613.148 | 1774.272 | 1452.024
16/12/2023 14:00 | 1732.637 | 1906.47 | 1558.803
16/12/2023 14:30 | 1878.974 | 2068.33 | 1691.299
16/12/2023 15:00 | 2043.496 | 2250.347 | 1838.474
16/12/2023 15:30 | 2224.739 | 2450.932 | 2000.538
16/12/2023 16:00 | 2413.416 | 2659.871 | 2169.12
16/12/2023 16:30 | 2602.488 | 2869.416 | 2337.89
16/12/2023 17:00 | 2722.059 | 3002.469 | 2444.085
16/12/2023 17:30 | 2774.626 | 3059.209 | 2490.043
16/12/2023 18:00 | 2774.762 | 3060.602 | 2488.924
16/12/2023 18:30 | 2744.157 | 3028.072 | 2460.243
16/12/2023 19:00 | 2729.126 | 3012.707 | 2445.546
16/12/2023 19:30 | 2691.394 | 2972.258 | 2410.53
16/12/2023 20:00 | 2616.506 | 2890.726 | 2342.287
16/12/2023 20:30 | 2540.887 | 2808.319 | 2273.456
16/12/2023 21:00 | 2460.223 | 2720.265 | 2200.181
16/12/2023 21:30 | 2379.252 | 2631.801 | 2126.704
16/12/2023 22:00 | 2300.842 | 2546.097 | 2055.587
16/12/2023 22:30 | 2221.774 | 2459.594 | 1983.953
16/12/2023 23:00 | 2139.447 | 2369.413 | 1909.481
16/12/2023 23:30 | 2064.307 | 2287.12 | 1841.494
17/12/2023 00:00 | 1993.834 | 2209.933 | 1777.736
17/12/2023 00:30 | 1940.615 | 2151.813 | 1729.416
17/12/2023 01:00 | 1902.095 | 2109.953 | 1694.238
17/12/2023 01:30 | 1877.783 | 2083.824 | 1671.741
17/12/2023 02:00 | 1858.44 | 2063.19 | 1653.689
17/12/2023 02:30 | 1841.398 | 2045.095 | 1637.701
17/12/2023 03:00 | 1829.735 | 2032.961 | 1626.51
17/12/2023 03:30 | 1823.15 | 2026.46 | 1619.84
17/12/2023 04:00 | 1809.083 | 2011.634 | 1606.532
17/12/2023 04:30 | 1777.579 | 1977.397 | 1577.76
17/12/2023 05:00 | 1740.151 | 1936.541 | 1543.761
17/12/2023 05:30 | 1693.374 | 1885.243 | 1501.505
17/12/2023 06:00 | 1628.403 | 1813.639 | 1443.167
17/12/2023 06:30 | 1558.941 | 1736.973 | 1380.909
17/12/2023 07:00 | 1483.748 | 1653.857 | 1313.64
17/12/2023 07:30 | 1389.773 | 1549.73 | 1229.817