## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
13/12/2023 08:00 | 1750.96 | 1772.968 | 1723.573
13/12/2023 08:30 | 1682.692 | 1711.465 | 1653.919 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
13/12/2023 09:00 | 1627.138 | 1659.798 | 1594.477 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
13/12/2023 09:30 | 1565.726 | 1601.808 | 1529.644 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
13/12/2023 10:00 | 1507.323 | 1546.54 | 1468.106 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
13/12/2023 10:30 | 1471.063 | 1512.657 | 1429.468 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
13/12/2023 11:00 | 1456.723 | 1499.137 | 1428.755 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
13/12/2023 11:30 | 1451.635 | 1495.299 | 1420.287 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
13/12/2023 12:00 | 1452.082 | 1505.117 | 1414.486 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
13/12/2023 12:30 | 1488.902 | 1539.899 | 1444.386 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
13/12/2023 13:00 | 1542.796 | 1597.17 | 1495.218 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
13/12/2023 13:30 | 1617.253 | 1677.07 | 1566.994
13/12/2023 14:00 | 1710.067 | 1772.982 | 1653.418 | Summary view - for each schedule horizon (dispatch, week-ahead)
13/12/2023 14:30 | 1826.5 | 1891.994 | 1761.005
13/12/2023 15:00 | 1987.24 | 2060.412 | 1914.067 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
13/12/2023 15:30 | 2159.267 | 2240.853 | 2077.681 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
13/12/2023 16:00 | 2326.974 | 2417.138 | 2236.81 | Scenario | Violations
13/12/2023 16:30 | 2483.079 | 2581.683 | 2384.223 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
13/12/2023 17:00 | 2608.365 | 2714.456 | 2501.937 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
13/12/2023 17:30 | 2682.71 | 2794.409 | 2570.561 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0
13/12/2023 18:00 | 2697.84 | 2812.767 | 2582.488 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 0 | 0 | 0 | 0 | 0
13/12/2023 18:30 | 2691.973 | 2808.695 | 2575.132 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0
13/12/2023 19:00 | 2687.199 | 2804.673 | 2569.73
13/12/2023 19:30 | 2648.218 | 2765.024 | 2531.417 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
13/12/2023 20:00 | 2566.759 | 2680.976 | 2452.542
13/12/2023 20:30 | 2470.798 | 2581.713 | 2359.884 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
13/12/2023 21:00 | 2368.167 | 2475.401 | 2260.933 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
13/12/2023 21:30 | 2272.39 | 2376.177 | 2168.604 | [7 empty] | 14/12/2023 07:00 | [11 empty] | 14/12/2023 07:30 | [11 empty] | 14/12/2023 07:30
13/12/2023 22:00 | 2184.783 | 2285.424 | 2084.143 | [7 empty] | 14/12/2023 07:30 | [11 empty] | 14/12/2023 08:00 | [11 empty] | 14/12/2023 08:00
13/12/2023 22:30 | 2108.86 | 2206.829 | 2010.892 | [7 empty] | 14/12/2023 08:00 | [11 empty] | 15/12/2023 09:30 | [11 empty] | 16/12/2023 11:30
13/12/2023 23:00 | 2045.918 | 2141.763 | 1950.073 | [7 empty] | 14/12/2023 11:00 | [11 empty] | 16/12/2023 10:00 | [11 empty] | 17/12/2023 12:30
13/12/2023 23:30 | 1988.956 | 2082.911 | 1895 | [7 empty] | 15/12/2023 10:00 | [11 empty] | 16/12/2023 10:30 | [11 empty] | 17/12/2023 13:00
14/12/2023 00:00 | 1939.961 | 2032.361 | 1847.561 | [7 empty] | 15/12/2023 10:30 | [11 empty] | 16/12/2023 11:00 | [11 empty] | 17/12/2023 13:30
14/12/2023 00:30 | 1902.041 | 1993.379 | 1810.703 | [7 empty] | 17/12/2023 11:30 | [11 empty] | 17/12/2023 10:30 | [11 empty] | 17/12/2023 14:00
14/12/2023 01:00 | 1874.772 | 1965.535 | 1784.009 | [7 empty] | 17/12/2023 12:00 | [11 empty] | 17/12/2023 11:00 | [11 empty] | 17/12/2023 14:30
14/12/2023 01:30 | 1856.073 | 1946.656 | 1765.489 | [7 empty] | 17/12/2023 12:30 | [11 empty] | 17/12/2023 11:30 | [11 empty] | 18/12/2023 10:30
14/12/2023 02:00 | 1843.13 | 1933.804 | 1752.457 | [7 empty] | 17/12/2023 13:00 | [11 empty] | 17/12/2023 12:00 | [11 empty] | 18/12/2023 11:00
14/12/2023 02:30 | 1834.655 | 1925.629 | 1743.68 | [7 empty] | 17/12/2023 13:30 | [11 empty] | 17/12/2023 12:30 | [11 empty] | 18/12/2023 11:30
14/12/2023 03:00 | 1833.642 | 1925.285 | 1742 | [7 empty] | 17/12/2023 14:00 | [11 empty] | 17/12/2023 13:00 | [11 empty] | 18/12/2023 12:00
14/12/2023 03:30 | 1843.509 | 1936.366 | 1750.652 | [7 empty] | 17/12/2023 14:30 | [11 empty] | 17/12/2023 13:30 | [11 empty] | 18/12/2023 12:30
14/12/2023 04:00 | 1860.207 | 1954.633 | 1765.781 | [7 empty] | 18/12/2023 09:30 | [11 empty] | 17/12/2023 14:00 | [11 empty] | 18/12/2023 13:00
14/12/2023 04:30 | 1885.09 | 1981.517 | 1788.663 | [7 empty] | 18/12/2023 10:00 | [11 empty] | 17/12/2023 14:30 | [11 empty] | 19/12/2023 12:30
14/12/2023 05:00 | 1900.083 | 1998.021 | 1802.146 | [7 empty] | 18/12/2023 10:30 | [11 empty] | 18/12/2023 09:30 | [11 empty] | 19/12/2023 13:00
14/12/2023 05:30 | 1889.577 | 1987.712 | 1791.441 | [7 empty] | 18/12/2023 11:00 | [11 empty] | 18/12/2023 10:00 | [11 empty] | 19/12/2023 13:30
14/12/2023 06:00 | 1875.89 | 1974.049 | 1779.93 | [7 empty] | 18/12/2023 11:30 | [11 empty] | 18/12/2023 10:30 | [11 empty] | 19/12/2023 14:00
14/12/2023 06:30 | 1818.112 | 1913.813 | 1724.436 | [7 empty] | 18/12/2023 12:00 | [11 empty] | 18/12/2023 11:00 | [11 empty] | 19/12/2023 14:30
14/12/2023 07:00 | 1729.256 | 1820.541 | 1639.62 | [7 empty] | 18/12/2023 12:30 | [11 empty] | 18/12/2023 11:30
14/12/2023 07:30 | 1599.915 | 1684.637 | 1516.697 | [7 empty] | 19/12/2023 11:30 | [11 empty] | 18/12/2023 12:00
14/12/2023 08:00 | 1475.927 | 1555.058 | 1399.111 | [7 empty] | 19/12/2023 12:00 | [11 empty] | 18/12/2023 12:30
14/12/2023 08:30 | 1381.871 | 1455.047 | 1308.696 | [7 empty] | 19/12/2023 12:30 | [11 empty] | 19/12/2023 11:30
14/12/2023 09:00 | 1321.608 | 1391.811 | 1251.406 | [7 empty] | 19/12/2023 13:00 | [11 empty] | 19/12/2023 12:00
14/12/2023 09:30 | 1286.595 | 1355.15 | 1218.04 | [7 empty] | 19/12/2023 13:30 | [11 empty] | 19/12/2023 12:30
14/12/2023 10:00 | 1279.045 | 1347.409 | 1210.681 | [19 empty] | 19/12/2023 13:00
14/12/2023 10:30 | 1299.374 | 1369.039 | 1229.709 | [19 empty] | 19/12/2023 13:30
14/12/2023 11:00 | 1331.69 | 1403.308 | 1260.073
14/12/2023 11:30 | 1373.844 | 1447.955 | 1302.173
14/12/2023 12:00 | 1429.614 | 1509.851 | 1354.843
14/12/2023 12:30 | 1488.912 | 1572.569 | 1410.655
14/12/2023 13:00 | 1543.029 | 1627.031 | 1459.026
14/12/2023 13:30 | 1625.71 | 1714.482 | 1536.938
14/12/2023 14:00 | 1721.054 | 1815.316 | 1626.792
14/12/2023 14:30 | 1826.739 | 1927.091 | 1726.387
14/12/2023 15:00 | 1977.809 | 2086.787 | 1868.831
14/12/2023 15:30 | 2144.718 | 2263.247 | 2026.19
14/12/2023 16:00 | 2304.081 | 2431.797 | 2176.364
14/12/2023 16:30 | 2463.176 | 2600.118 | 2326.234
14/12/2023 17:00 | 2603.853 | 2749.045 | 2458.66
14/12/2023 17:30 | 2691.56 | 2842.087 | 2541.032
14/12/2023 18:00 | 2677.861 | 2828.065 | 2527.658
14/12/2023 18:30 | 2664.919 | 2814.837 | 2515.001
14/12/2023 19:00 | 2707.315 | 2860.064 | 2554.565
14/12/2023 19:30 | 2667.591 | 2818.54 | 2516.642
14/12/2023 20:00 | 2585.326 | 2732.046 | 2438.605
14/12/2023 20:30 | 2484.111 | 2625.498 | 2342.725
14/12/2023 21:00 | 2375.58 | 2511.181 | 2239.978
14/12/2023 21:30 | 2283.704 | 2414.438 | 2152.97
14/12/2023 22:00 | 2197.301 | 2323.452 | 2071.15
14/12/2023 22:30 | 2119.525 | 2241.56 | 1997.489
14/12/2023 23:00 | 2054.858 | 2173.509 | 1936.206
14/12/2023 23:30 | 2005.893 | 2122.048 | 1889.737
15/12/2023 00:00 | 1964.992 | 2079.103 | 1850.88
15/12/2023 00:30 | 1928.038 | 2040.322 | 1815.755
15/12/2023 01:00 | 1901.148 | 2012.179 | 1790.116
15/12/2023 01:30 | 1879.096 | 1989.15 | 1769.042
15/12/2023 02:00 | 1863.102 | 1972.526 | 1753.677
15/12/2023 02:30 | 1852.646 | 1961.762 | 1743.529
15/12/2023 03:00 | 1849.361 | 1958.59 | 1740.133
15/12/2023 03:30 | 1856.695 | 1966.663 | 1746.727
15/12/2023 04:00 | 1868.523 | 1979.5 | 1757.546
15/12/2023 04:30 | 1881.135 | 1993.172 | 1769.098
15/12/2023 05:00 | 1885.248 | 1997.841 | 1772.655
15/12/2023 05:30 | 1869.229 | 1981.175 | 1757.285
15/12/2023 06:00 | 1839.193 | 1949.643 | 1728.744
15/12/2023 06:30 | 1767.698 | 1874.146 | 1661.249
15/12/2023 07:00 | 1685.684 | 1787.471 | 1583.896
15/12/2023 07:30 | 1602.154 | 1699.193 | 1505.115
15/12/2023 08:00 | 1527.103 | 1619.935 | 1434.271
15/12/2023 08:30 | 1446.374 | 1534.615 | 1358.134
15/12/2023 09:00 | 1398.792 | 1484.435 | 1313.149
15/12/2023 09:30 | 1373.061 | 1457.428 | 1288.693
15/12/2023 10:00 | 1376.273 | 1461.139 | 1291.408
15/12/2023 10:30 | 1409.066 | 1496.262 | 1321.871
15/12/2023 11:00 | 1463.601 | 1554.491 | 1372.711
15/12/2023 11:30 | 1505.643 | 1599.472 | 1411.813
15/12/2023 12:00 | 1557.537 | 1654.941 | 1460.133
15/12/2023 12:30 | 1651.595 | 1755.242 | 1547.948
15/12/2023 13:00 | 1729.483 | 1838.396 | 1620.57
15/12/2023 13:30 | 1820.875 | 1935.942 | 1705.809
15/12/2023 14:00 | 1946.492 | 2069.922 | 1823.063
15/12/2023 14:30 | 2083.512 | 2216.086 | 1950.939
15/12/2023 15:00 | 2241.018 | 2384.103 | 2097.933
15/12/2023 15:30 | 2420.774 | 2575.866 | 2265.683
15/12/2023 16:00 | 2591.245 | 2757.823 | 2424.666
15/12/2023 16:30 | 2742.621 | 2919.53 | 2565.711
15/12/2023 17:00 | 2855.076 | 3039.862 | 2670.289
15/12/2023 17:30 | 2900.054 | 3088.385 | 2711.722
15/12/2023 18:00 | 2825.398 | 3009.498 | 2641.297
15/12/2023 18:30 | 2773.244 | 2954.552 | 2591.936
15/12/2023 19:00 | 2839.384 | 3025.637 | 2653.132
15/12/2023 19:30 | 2798.11 | 2982.266 | 2613.953
15/12/2023 20:00 | 2722.631 | 2902.415 | 2542.848
15/12/2023 20:30 | 2631.312 | 2805.64 | 2456.983
15/12/2023 21:00 | 2535.226 | 2703.743 | 2366.709
15/12/2023 21:30 | 2447.293 | 2610.499 | 2284.087
15/12/2023 22:00 | 2359.271 | 2517.123 | 2201.42
15/12/2023 22:30 | 2274.963 | 2427.67 | 2122.255
15/12/2023 23:00 | 2197.395 | 2345.376 | 2049.414
15/12/2023 23:30 | 2133.472 | 2282.696 | 1984.248
16/12/2023 00:00 | 2079.051 | 2234.746 | 1923.357
16/12/2023 00:30 | 2035.513 | 2187.608 | 1883.418
16/12/2023 01:00 | 1998.761 | 2148.588 | 1848.935
16/12/2023 01:30 | 1968.034 | 2116.028 | 1820.041
16/12/2023 02:00 | 1946.396 | 2093.227 | 1799.565
16/12/2023 02:30 | 1926.325 | 2072.102 | 1780.548
16/12/2023 03:00 | 1911.81 | 2056.945 | 1766.675
16/12/2023 03:30 | 1905.339 | 2050.438 | 1760.24
16/12/2023 04:00 | 1895.229 | 2040.011 | 1750.448
16/12/2023 04:30 | 1869.302 | 2012.55 | 1726.054
16/12/2023 05:00 | 1838.14 | 1979.439 | 1696.842
16/12/2023 05:30 | 1797.529 | 1936.135 | 1658.922
16/12/2023 06:00 | 1737.782 | 1872.196 | 1603.367
16/12/2023 06:30 | 1664.43 | 1793.568 | 1535.292
16/12/2023 07:00 | 1593.724 | 1717.758 | 1469.691
16/12/2023 07:30 | 1512.75 | 1630.843 | 1394.657
16/12/2023 08:00 | 1457.994 | 1572.161 | 1343.828
16/12/2023 08:30 | 1432.302 | 1544.799 | 1319.805
16/12/2023 09:00 | 1423.647 | 1535.804 | 1311.49
16/12/2023 09:30 | 1415.62 | 1527.483 | 1303.757
16/12/2023 10:00 | 1418.456 | 1530.882 | 1306.03
16/12/2023 10:30 | 1462.37 | 1578.625 | 1346.114
16/12/2023 11:00 | 1541.179 | 1664.068 | 1418.29
16/12/2023 11:30 | 1618.218 | 1747.636 | 1488.799
16/12/2023 12:00 | 1715.79 | 1853.421 | 1578.158
16/12/2023 12:30 | 1862.343 | 2012.176 | 1712.511
16/12/2023 13:00 | 1997.385 | 2158.56 | 1836.211
16/12/2023 13:30 | 2188.928 | 2366.081 | 2011.775
16/12/2023 14:00 | 2441.008 | 2639.145 | 2242.871
16/12/2023 14:30 | 2639.218 | 2854.075 | 2424.362
16/12/2023 15:00 | 2787.865 | 3015.489 | 2560.241
16/12/2023 15:30 | 2830.474 | 3062.253 | 2598.695
16/12/2023 16:00 | 2894.848 | 3132.589 | 2657.106
16/12/2023 16:30 | 2994.147 | 3240.759 | 2747.535
16/12/2023 17:00 | 3035.364 | 3286.096 | 2784.633
16/12/2023 17:30 | 3054.697 | 3307.755 | 2801.639
16/12/2023 18:00 | 3030.118 | 3281.864 | 2778.372
16/12/2023 18:30 | 2986.216 | 3235.028 | 2737.404
16/12/2023 19:00 | 2980.649 | 3229.709 | 2731.589
16/12/2023 19:30 | 2934.715 | 3180.637 | 2688.792
16/12/2023 20:00 | 2850.235 | 3089.759 | 2610.71
16/12/2023 20:30 | 2759.874 | 2992.464 | 2527.284
16/12/2023 21:00 | 2664.458 | 2889.643 | 2439.272
16/12/2023 21:30 | 2569.217 | 2786.967 | 2351.468
16/12/2023 22:00 | 2476.961 | 2687.484 | 2266.439
16/12/2023 22:30 | 2382.642 | 2585.717 | 2179.567
16/12/2023 23:00 | 2285.553 | 2480.899 | 2090.207
16/12/2023 23:30 | 2197.798 | 2386.169 | 2009.428
17/12/2023 00:00 | 2117.361 | 2299.343 | 1935.378
17/12/2023 00:30 | 2056.125 | 2233.335 | 1878.915
17/12/2023 01:00 | 2009.754 | 2183.448 | 1836.06
17/12/2023 01:30 | 1980.285 | 2151.905 | 1808.665
17/12/2023 02:00 | 1955.992 | 2125.974 | 1786.01
17/12/2023 02:30 | 1934.765 | 2103.365 | 1766.166
17/12/2023 03:00 | 1919.263 | 2086.97 | 1751.556
17/12/2023 03:30 | 1908.18 | 2075.375 | 1740.986
17/12/2023 04:00 | 1889.865 | 2055.906 | 1723.823
17/12/2023 04:30 | 1854.021 | 2017.355 | 1690.686
17/12/2023 05:00 | 1807.203 | 1966.845 | 1647.561
17/12/2023 05:30 | 1744.229 | 1898.725 | 1589.733
17/12/2023 06:00 | 1661.894 | 1809.494 | 1514.294
17/12/2023 06:30 | 1573.61 | 1713.745 | 1433.475
17/12/2023 07:00 | 1482.156 | 1614.501 | 1349.812
17/12/2023 07:30 | 1375.535 | 1498.826 | 1252.475
17/12/2023 08:00 | 1295.107 | 1412.548 | 1179.19
17/12/2023 08:30 | 1226.083 | 1337.872 | 1116.281
17/12/2023 09:00 | 1188.982 | 1297.17 | 1082.443
17/12/2023 09:30 | 1174.267 | 1281.018 | 1068.986
17/12/2023 10:00 | 1185.565 | 1293.036 | 1080.144
17/12/2023 10:30 | 1210.866 | 1320.035 | 1102.584
17/12/2023 11:00 | 1251.411 | 1364.169 | 1139.331
17/12/2023 11:30 | 1310.771 | 1429.04 | 1193.5
17/12/2023 12:00 | 1357.946 | 1480.368 | 1236.24
17/12/2023 12:30 | 1418.703 | 1546.793 | 1291.578
17/12/2023 13:00 | 1478.921 | 1613.21 | 1346.898
17/12/2023 13:30 | 1553.853 | 1695.503 | 1415.461
17/12/2023 14:00 | 1679.858 | 1833.493 | 1530.502
17/12/2023 14:30 | 1824.707 | 1989.048 | 1660.18
17/12/2023 15:00 | 1988.633 | 2167.839 | 1809.224
17/12/2023 15:30 | 2177.933 | 2374.309 | 1981.557
17/12/2023 16:00 | 2372.902 | 2586.979 | 2158.826
17/12/2023 16:30 | 2559.018 | 2790.016 | 2328.02
17/12/2023 17:00 | 2714.29 | 2959.442 | 2469.137
17/12/2023 17:30 | 2806.775 | 3060.424 | 2553.127
17/12/2023 18:00 | 2771.396 | 3021.99 | 2520.803
17/12/2023 18:30 | 2726.84 | 2973.543 | 2480.137
17/12/2023 19:00 | 2775.611 | 3026.868 | 2524.354
17/12/2023 19:30 | 2733.773 | 2981.382 | 2486.164
17/12/2023 20:00 | 2648.934 | 2888.994 | 2408.874
17/12/2023 20:30 | 2555.916 | 2787.676 | 2324.155
17/12/2023 21:00 | 2451.87 | 2674.321 | 2229.419
17/12/2023 21:30 | 2353.908 | 2567.591 | 2140.225
17/12/2023 22:00 | 2262.88 | 2468.415 | 2057.345
17/12/2023 22:30 | 2179.65 | 2377.737 | 1981.563
17/12/2023 23:00 | 2105.718 | 2297.192 | 1914.243
17/12/2023 23:30 | 2037.245 | 2219.976 | 1854.514
18/12/2023 00:00 | 1975.011 | 2147.326 | 1802.696
18/12/2023 00:30 | 1929.654 | 2098.822 | 1760.486
18/12/2023 01:00 | 1894.125 | 2060.541 | 1727.708
18/12/2023 01:30 | 1871.093 | 2035.844 | 1706.341
18/12/2023 02:00 | 1857.132 | 2021.01 | 1693.254
18/12/2023 02:30 | 1846.1 | 2009.358 | 1682.841
18/12/2023 03:00 | 1839.689 | 2002.733 | 1676.645
18/12/2023 03:30 | 1842.83 | 2006.505 | 1679.154
18/12/2023 04:00 | 1857.44 | 2022.769 | 1692.111
18/12/2023 04:30 | 1869.59 | 2036.359 | 1702.821
18/12/2023 05:00 | 1873.254 | 2040.709 | 1705.799
18/12/2023 05:30 | 1871.053 | 2038.669 | 1703.436
18/12/2023 06:00 | 1860.125 | 2027.119 | 1693.131
18/12/2023 06:30 | 1797.869 | 1959.619 | 1636.12
18/12/2023 07:00 | 1715.64 | 1870.321 | 1560.96
18/12/2023 07:30 | 1624.808 | 1771.611 | 1478.005
18/12/2023 08:00 | 1549.889 | 1690.22 | 1409.558
18/12/2023 08:30 | 1476.222 | 1610.166 | 1342.279
18/12/2023 09:00 | 1439.719 | 1570.627 | 1308.811
18/12/2023 09:30 | 1429.88 | 1560.167 | 1299.592
18/12/2023 10:00 | 1436.43 | 1567.589 | 1305.271
18/12/2023 10:30 | 1464.796 | 1598.825 | 1330.766
18/12/2023 11:00 | 1531.554 | 1671.986 | 1391.122
18/12/2023 11:30 | 1590.596 | 1736.746 | 1444.445
18/12/2023 12:00 | 1637.275 | 1788.028 | 1486.521
18/12/2023 12:30 | 1723.64 | 1882.676 | 1564.604
18/12/2023 13:00 | 1807.204 | 1974.297 | 1640.112
18/12/2023 13:30 | 1895.612 | 2071.241 | 1719.982
18/12/2023 14:00 | 2004.614 | 2190.727 | 1818.501
18/12/2023 14:30 | 2154.784 | 2355.253 | 1954.316
18/12/2023 15:00 | 2303.156 | 2517.869 | 2088.442
18/12/2023 15:30 | 2472.978 | 2703.997 | 2241.959
18/12/2023 16:00 | 2661.066 | 2910.166 | 2411.966
18/12/2023 16:30 | 2833.679 | 3099.48 | 2567.878
18/12/2023 17:00 | 2966.936 | 3245.805 | 2688.066
18/12/2023 17:30 | 3038.318 | 3324.479 | 2752.157
18/12/2023 18:00 | 2976.389 | 3257.288 | 2695.49
18/12/2023 18:30 | 2896.947 | 3170.904 | 2622.99
18/12/2023 19:00 | 2934.082 | 3212.113 | 2656.051
18/12/2023 19:30 | 2871.767 | 3144.443 | 2599.09
18/12/2023 20:00 | 2773.156 | 3037 | 2509.311
18/12/2023 20:30 | 2662.09 | 2915.878 | 2408.302
18/12/2023 21:00 | 2544.525 | 2787.593 | 2301.458
18/12/2023 21:30 | 2434.585 | 2667.617 | 2201.553
18/12/2023 22:00 | 2337.976 | 2562.209 | 2113.743
18/12/2023 22:30 | 2244.761 | 2460.484 | 2029.038
18/12/2023 23:00 | 2154.815 | 2362.307 | 1947.323
18/12/2023 23:30 | 2070.948 | 2270.761 | 1871.134
19/12/2023 00:00 | 1996.025 | 2188.993 | 1803.058
19/12/2023 00:30 | 1945.03 | 2133.44 | 1756.62
19/12/2023 01:00 | 1908.477 | 2093.712 | 1723.242
19/12/2023 01:30 | 1883.432 | 2066.597 | 1700.267
19/12/2023 02:00 | 1866.662 | 2048.554 | 1684.77
19/12/2023 02:30 | 1854.172 | 2035.203 | 1673.142
19/12/2023 03:00 | 1848.207 | 2029.009 | 1667.404
19/12/2023 03:30 | 1850.652 | 2032.048 | 1669.256
19/12/2023 04:00 | 1862.959 | 2045.918 | 1679.999
19/12/2023 04:30 | 1872.424 | 2056.672 | 1688.177
19/12/2023 05:00 | 1871.245 | 2055.736 | 1686.755
19/12/2023 05:30 | 1865.359 | 2049.626 | 1681.091
19/12/2023 06:00 | 1858.593 | 2042.548 | 1674.637
19/12/2023 06:30 | 1792.938 | 1970.739 | 1615.138
19/12/2023 07:00 | 1700.52 | 1869.482 | 1531.557
19/12/2023 07:30 | 1590.284 | 1748.598 | 1431.97
19/12/2023 08:00 | 1486.662 | 1634.945 | 1338.379
19/12/2023 08:30 | 1394.257 | 1533.662 | 1254.852
19/12/2023 09:00 | 1353.862 | 1489.693 | 1218.03
19/12/2023 09:30 | 1343.774 | 1479.045 | 1208.504
19/12/2023 10:00 | 1334.627 | 1469.424 | 1199.83
19/12/2023 10:30 | 1377.568 | 1517.164 | 1237.973
19/12/2023 11:00 | 1448.864 | 1596.17 | 1301.557
19/12/2023 11:30 | 1504.104 | 1657.531 | 1350.676
19/12/2023 12:00 | 1564.044 | 1724.11 | 1403.978
19/12/2023 12:30 | 1666.859 | 1838.006 | 1495.713
19/12/2023 13:00 | 1779.119 | 1962.389 | 1595.849
19/12/2023 13:30 | 1903.234 | 2099.927 | 1706.541
19/12/2023 14:00 | 2041.006 | 2252.622 | 1829.39
19/12/2023 14:30 | 2202.626 | 2431.737 | 1973.515
19/12/2023 15:00 | 2387.081 | 2636.179 | 2137.983
19/12/2023 15:30 | 2579.199 | 2849.21 | 2309.188
19/12/2023 16:00 | 2773.273 | 3064.531 | 2482.015
19/12/2023 16:30 | 2953.643 | 3264.834 | 2642.451
19/12/2023 17:00 | 3087.717 | 3414.07 | 2761.364
19/12/2023 17:30 | 3154.875 | 3489.384 | 2820.366
19/12/2023 18:00 | 3091.907 | 3420.776 | 2763.038
19/12/2023 18:30 | 3012.64 | 3334.088 | 2691.192
19/12/2023 19:00 | 3056.748 | 3383.927 | 2729.569
19/12/2023 19:30 | 2989.997 | 3311.034 | 2668.96
19/12/2023 20:00 | 2883.738 | 3194.333 | 2573.143
19/12/2023 20:30 | 2762.186 | 3060.615 | 2463.757
19/12/2023 21:00 | 2632.722 | 2918.046 | 2347.397
19/12/2023 21:30 | 2513.294 | 2786.518 | 2240.07
19/12/2023 22:00 | 2408.87 | 2671.55 | 2146.19
19/12/2023 22:30 | 2313.516 | 2566.574 | 2060.459
19/12/2023 23:00 | 2228.612 | 2473.129 | 1984.094
19/12/2023 23:30 | 2156.418 | 2393.738 | 1919.099
20/12/2023 00:00 | 2098.422 | 2330.062 | 1866.781
20/12/2023 00:30 | 2053.942 | 2281.362 | 1826.523
20/12/2023 01:00 | 2016.131 | 2240.04 | 1792.222
20/12/2023 01:30 | 1985.128 | 2204.068 | 1763.997
20/12/2023 02:00 | 1963.815 | 2180.97 | 1744.399
20/12/2023 02:30 | 1947.955 | 2163.998 | 1729.658
20/12/2023 03:00 | 1939.739 | 2155.516 | 1721.713
20/12/2023 03:30 | 1941.896 | 2158.611 | 1722.976
20/12/2023 04:00 | 1954.574 | 2173.406 | 1733.569
20/12/2023 04:30 | 1963.944 | 2184.523 | 1741.222
20/12/2023 05:00 | 1971.829 | 2193.842 | 1747.551
20/12/2023 05:30 | 1980.993 | 2204.492 | 1755.008
20/12/2023 06:00 | 1984.208 | 2208.117 | 1757.192
20/12/2023 06:30 | 1939.933 | 2158.612 | 1717.332
20/12/2023 07:00 | 1873.712 | 2084.782 | 1658.081
20/12/2023 07:30 | 1791.964 | 1992.356 | 1585.14