## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
15/12/2023 08:00 | 1483.66 | 1507.431 | 1465.434
15/12/2023 08:30 | 1393.188 | 1417.011 | 1369.365 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
15/12/2023 09:00 | 1305.048 | 1331.244 | 1278.853 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
15/12/2023 09:30 | 1226.528 | 1254.793 | 1198.263 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
15/12/2023 10:00 | 1171.424 | 1201.902 | 1148.318 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
15/12/2023 10:30 | 1159.878 | 1192.674 | 1127.713 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
15/12/2023 11:00 | 1192.948 | 1227.682 | 1155.235 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
15/12/2023 11:30 | 1228.844 | 1265.807 | 1186.605 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
15/12/2023 12:00 | 1281.589 | 1314.85 | 1235.675 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
15/12/2023 12:30 | 1363.961 | 1399.831 | 1313.005 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
15/12/2023 13:00 | 1440.85 | 1481.585 | 1387.011 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
15/12/2023 13:30 | 1535.117 | 1583.55 | 1479.612
15/12/2023 14:00 | 1658.726 | 1712.028 | 1596.574 | Summary view - for each schedule horizon (dispatch, week-ahead)
15/12/2023 14:30 | 1792.549 | 1852.722 | 1724.452
15/12/2023 15:00 | 1949.658 | 2019.271 | 1875.849 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
15/12/2023 15:30 | 2127.962 | 2204.355 | 2043.841 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
15/12/2023 16:00 | 2291.409 | 2380.195 | 2202.623 | Scenario | Violations
15/12/2023 16:30 | 2435.977 | 2532.711 | 2339.244 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
15/12/2023 17:00 | 2541.076 | 2644.43 | 2437.722 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
15/12/2023 17:30 | 2595.397 | 2703.46 | 2487.334 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 1
15/12/2023 18:00 | 2599.827 | 2710.579 | 2489.075 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 1
15/12/2023 18:30 | 2581.164 | 2693.082 | 2469.247 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 1
15/12/2023 19:00 | 2566.666 | 2678.87 | 2454.462
15/12/2023 19:30 | 2538.186 | 2650.138 | 2426.233 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
15/12/2023 20:00 | 2470.148 | 2580.066 | 2360.23
15/12/2023 20:30 | 2388.936 | 2496.175 | 2281.696 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
15/12/2023 21:00 | 2302.754 | 2407.027 | 2198.482 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
15/12/2023 21:30 | 2225.134 | 2326.761 | 2123.505 | [7 empty] | 15/12/2023 09:00 |  |  |  |  | 15/12/2023 08:00 | [6 empty] | 15/12/2023 09:00 |  |  |  |  | 15/12/2023 08:00 | [6 empty] | 15/12/2023 09:00 |  |  |  |  | 15/12/2023 08:00
15/12/2023 22:00 | 2146.366 | 2245.237 | 2047.495 | [7 empty] | 15/12/2023 09:30 | [11 empty] | 15/12/2023 09:30 | [11 empty] | 15/12/2023 09:30
15/12/2023 22:30 | 2070.576 | 2166.766 | 1974.386 | [7 empty] | 15/12/2023 10:00 | [11 empty] | 15/12/2023 10:00 | [11 empty] | 15/12/2023 10:00
15/12/2023 23:00 | 2000.297 | 2094.004 | 1906.588 | [7 empty] | 15/12/2023 10:30 | [11 empty] | 15/12/2023 10:30 | [11 empty] | 15/12/2023 10:30
15/12/2023 23:30 | 1941.771 | 2037.946 | 1845.595 | [7 empty] | 15/12/2023 11:00 | [11 empty] | 15/12/2023 11:00 | [11 empty] | 15/12/2023 11:00
16/12/2023 00:00 | 1891.046 | 1993.946 | 1788.146 | [7 empty] | 15/12/2023 13:00 | [11 empty] | 18/12/2023 09:00 | [11 empty] | 15/12/2023 11:30
16/12/2023 00:30 | 1850.21 | 1950.636 | 1749.783 | [7 empty] | 16/12/2023 07:30 | [11 empty] | 18/12/2023 10:00 | [11 empty] | 15/12/2023 13:00
16/12/2023 01:00 | 1817.577 | 1916.711 | 1718.443 | [7 empty] | 16/12/2023 08:00 | [11 empty] | 18/12/2023 10:30 | [11 empty] | 16/12/2023 08:00
16/12/2023 01:30 | 1791.248 | 1889.418 | 1693.079 | [7 empty] | 17/12/2023 13:30 | [11 empty] | 18/12/2023 11:00 | [11 empty] | 18/12/2023 10:00
16/12/2023 02:00 | 1771.611 | 1869.17 | 1674.051 | [7 empty] | 17/12/2023 14:00 | [11 empty] | 18/12/2023 11:30 | [11 empty] | 18/12/2023 10:30
16/12/2023 02:30 | 1753.625 | 1850.656 | 1656.594 | [7 empty] | 18/12/2023 10:30 | [11 empty] | 18/12/2023 12:00 | [11 empty] | 18/12/2023 11:00
16/12/2023 03:00 | 1740.755 | 1837.532 | 1643.978 | [7 empty] | 18/12/2023 11:00 | [11 empty] | 19/12/2023 12:00 | [11 empty] | 18/12/2023 11:30
16/12/2023 03:30 | 1735.598 | 1832.546 | 1638.651 | [7 empty] | 18/12/2023 11:30 | [11 empty] | 19/12/2023 12:30 | [11 empty] | 18/12/2023 12:00
16/12/2023 04:00 | 1726.518 | 1823.413 | 1629.624 | [7 empty] | 19/12/2023 12:30 | [11 empty] | 19/12/2023 13:00 | [11 empty] | 19/12/2023 10:30
16/12/2023 04:30 | 1702.964 | 1798.985 | 1606.943 | [7 empty] | 19/12/2023 13:00 | [11 empty] | 20/12/2023 11:00 | [11 empty] | 19/12/2023 11:00
16/12/2023 05:00 | 1671.693 | 1766.391 | 1576.995 | [7 empty] | 20/12/2023 11:00 | [23 empty] | 19/12/2023 12:00
16/12/2023 05:30 | 1628.663 | 1721.353 | 1535.974 | [7 empty] | 20/12/2023 11:30 | [23 empty] | 19/12/2023 12:30
16/12/2023 06:00 | 1571.068 | 1660.894 | 1481.243 | [7 empty] | 21/12/2023 08:30 | [23 empty] | 19/12/2023 13:00
16/12/2023 06:30 | 1493.307 | 1579.042 | 1407.573 | [7 empty] | 21/12/2023 10:00 | [23 empty] | 19/12/2023 13:30
16/12/2023 07:00 | 1411.853 | 1493.175 | 1330.532 | [31 empty] | 20/12/2023 10:30
16/12/2023 07:30 | 1313.961 | 1389.894 | 1238.027 | [31 empty] | 20/12/2023 11:00
16/12/2023 08:00 | 1230.088 | 1301.41 | 1158.767 | [31 empty] | 20/12/2023 11:30
16/12/2023 08:30 | 1162.143 | 1229.747 | 1094.538 | [31 empty] | 20/12/2023 12:00
16/12/2023 09:00 | 1123.119 | 1188.168 | 1057.937 | [31 empty] | 21/12/2023 09:00
16/12/2023 09:30 | 1104.295 | 1168.457 | 1039.987 | [31 empty] | 21/12/2023 10:00
16/12/2023 10:00 | 1102.954 | 1167.242 | 1038.507
16/12/2023 10:30 | 1138.508 | 1205.173 | 1071.844
16/12/2023 11:00 | 1200.943 | 1271.493 | 1130.394
16/12/2023 11:30 | 1258.905 | 1333.1 | 1184.709
16/12/2023 12:00 | 1330.594 | 1409.269 | 1251.92
16/12/2023 12:30 | 1425.517 | 1510.077 | 1340.957
16/12/2023 13:00 | 1514.158 | 1604.266 | 1424.052
16/12/2023 13:30 | 1629.35 | 1726.623 | 1531.784
16/12/2023 14:00 | 1795.65 | 1903.194 | 1687.795
16/12/2023 14:30 | 1978.623 | 2097.152 | 1859.43
16/12/2023 15:00 | 2160.465 | 2290.321 | 2029.923
16/12/2023 15:30 | 2322.237 | 2462.279 | 2181.494
16/12/2023 16:00 | 2484.095 | 2634.399 | 2333.091
16/12/2023 16:30 | 2643.062 | 2803.526 | 2481.922
16/12/2023 17:00 | 2740.411 | 2907.345 | 2572.844
16/12/2023 17:30 | 2795.816 | 2966.696 | 2624.36
16/12/2023 18:00 | 2803.744 | 2975.68 | 2631.298
16/12/2023 18:30 | 2761.339 | 2931.227 | 2590.995
16/12/2023 19:00 | 2733.221 | 2901.919 | 2564.106
16/12/2023 19:30 | 2697.465 | 2864.497 | 2530.069
16/12/2023 20:00 | 2619.214 | 2782.089 | 2456.339
16/12/2023 20:30 | 2537.717 | 2696.008 | 2379.425
16/12/2023 21:00 | 2451.896 | 2605.303 | 2298.49
16/12/2023 21:30 | 2364.732 | 2513.137 | 2216.327
16/12/2023 22:00 | 2279.296 | 2422.775 | 2135.817
16/12/2023 22:30 | 2192.13 | 2330.541 | 2053.719
16/12/2023 23:00 | 2102.734 | 2235.902 | 1969.566
16/12/2023 23:30 | 2022.855 | 2151.351 | 1894.359
17/12/2023 00:00 | 1949.549 | 2073.76 | 1825.337
17/12/2023 00:30 | 1893.177 | 2014.159 | 1772.195
17/12/2023 01:00 | 1850.564 | 1969.176 | 1731.951
17/12/2023 01:30 | 1822.732 | 1939.908 | 1705.555
17/12/2023 02:00 | 1800.085 | 1916.149 | 1684.02
17/12/2023 02:30 | 1779.956 | 1895.062 | 1664.849
17/12/2023 03:00 | 1765.331 | 1879.83 | 1650.833
17/12/2023 03:30 | 1755.302 | 1869.485 | 1641.118
17/12/2023 04:00 | 1737.794 | 1851.17 | 1624.417
17/12/2023 04:30 | 1703.327 | 1814.781 | 1591.874
17/12/2023 05:00 | 1659.003 | 1767.873 | 1550.133
17/12/2023 05:30 | 1596.381 | 1701.447 | 1491.316
17/12/2023 06:00 | 1512.923 | 1612.785 | 1413.061
17/12/2023 06:30 | 1422.022 | 1516.156 | 1327.889
17/12/2023 07:00 | 1326.093 | 1414.129 | 1238.056
17/12/2023 07:30 | 1223.409 | 1304.883 | 1141.935
17/12/2023 08:00 | 1150.001 | 1226.865 | 1073.138
17/12/2023 08:30 | 1077.782 | 1150.076 | 1005.488
17/12/2023 09:00 | 1038.465 | 1108.37 | 968.5599
17/12/2023 09:30 | 1023.331 | 1092.462 | 954.2007
17/12/2023 10:00 | 1033.862 | 1103.951 | 963.7734
17/12/2023 10:30 | 1058.565 | 1130.581 | 986.5481
17/12/2023 11:00 | 1102.657 | 1177.937 | 1027.377
17/12/2023 11:30 | 1163.84 | 1243.575 | 1084.105
17/12/2023 12:00 | 1211.046 | 1294.304 | 1127.788
17/12/2023 12:30 | 1271.002 | 1358.685 | 1183.318
17/12/2023 13:00 | 1331.178 | 1423.331 | 1239.025
17/12/2023 13:30 | 1409.005 | 1506.882 | 1311.127
17/12/2023 14:00 | 1536.843 | 1643.968 | 1429.719
17/12/2023 14:30 | 1681.619 | 1799.236 | 1564.001
17/12/2023 15:00 | 1843.169 | 1972.527 | 1713.812
17/12/2023 15:30 | 2029.906 | 2172.854 | 1886.958
17/12/2023 16:00 | 2225.643 | 2382.906 | 2068.379
17/12/2023 16:30 | 2412.014 | 2583.023 | 2241.005
17/12/2023 17:00 | 2567.648 | 2750.304 | 2384.992
17/12/2023 17:30 | 2662.609 | 2852.657 | 2472.562
17/12/2023 18:00 | 2644.939 | 2834.357 | 2455.521
17/12/2023 18:30 | 2608.147 | 2795.553 | 2420.74
17/12/2023 19:00 | 2640.794 | 2831.177 | 2450.411
17/12/2023 19:30 | 2604.634 | 2793.032 | 2416.236
17/12/2023 20:00 | 2523.032 | 2706.131 | 2339.934
17/12/2023 20:30 | 2432.364 | 2609.464 | 2255.265
17/12/2023 21:00 | 2330.75 | 2501.009 | 2160.492
17/12/2023 21:30 | 2234.13 | 2397.864 | 2070.397
17/12/2023 22:00 | 2143.641 | 2301.255 | 1986.027
17/12/2023 22:30 | 2058.865 | 2210.737 | 1906.992
17/12/2023 23:00 | 1981.21 | 2127.828 | 1834.593
17/12/2023 23:30 | 1907.98 | 2045.09 | 1770.87
18/12/2023 00:00 | 1840.876 | 1964.906 | 1716.846
18/12/2023 00:30 | 1792.666 | 1914.566 | 1670.766
18/12/2023 01:00 | 1755.296 | 1875.039 | 1635.554
18/12/2023 01:30 | 1732.251 | 1850.8 | 1613.702
18/12/2023 02:00 | 1718.164 | 1836.124 | 1600.203
18/12/2023 02:30 | 1707.471 | 1825.07 | 1589.872
18/12/2023 03:00 | 1700.982 | 1818.506 | 1583.458
18/12/2023 03:30 | 1703.348 | 1821.407 | 1585.288
18/12/2023 04:00 | 1716.884 | 1836.257 | 1597.511
18/12/2023 04:30 | 1729.008 | 1849.601 | 1608.414
18/12/2023 05:00 | 1730.437 | 1851.509 | 1609.366
18/12/2023 05:30 | 1722.067 | 1842.929 | 1601.205
18/12/2023 06:00 | 1706.315 | 1826.444 | 1586.186
18/12/2023 06:30 | 1638.862 | 1754.6 | 1523.123
18/12/2023 07:00 | 1551.296 | 1661.189 | 1441.402
18/12/2023 07:30 | 1457.033 | 1560.568 | 1353.499
18/12/2023 08:00 | 1379.106 | 1477.404 | 1280.808
18/12/2023 08:30 | 1305.14 | 1398.451 | 1211.829
18/12/2023 09:00 | 1272.708 | 1363.979 | 1181.438
18/12/2023 09:30 | 1268.25 | 1359.479 | 1177.022
18/12/2023 10:00 | 1286.858 | 1379.705 | 1194.01
18/12/2023 10:30 | 1327.877 | 1423.974 | 1231.779
18/12/2023 11:00 | 1409.876 | 1512.216 | 1307.537
18/12/2023 11:30 | 1486.667 | 1594.905 | 1378.428
18/12/2023 12:00 | 1551.899 | 1665.226 | 1438.572
18/12/2023 12:30 | 1655.339 | 1776.581 | 1534.097
18/12/2023 13:00 | 1755.22 | 1884.161 | 1626.279
18/12/2023 13:30 | 1864.13 | 2001.48 | 1726.781
18/12/2023 14:00 | 1997.235 | 2144.828 | 1849.642
18/12/2023 14:30 | 2164.456 | 2324.879 | 2004.033
18/12/2023 15:00 | 2322.811 | 2495.478 | 2150.143
18/12/2023 15:30 | 2500.063 | 2686.453 | 2313.674
18/12/2023 16:00 | 2697.592 | 2899.297 | 2495.886
18/12/2023 16:30 | 2878.153 | 3093.988 | 2662.317
18/12/2023 17:00 | 3016.097 | 3242.936 | 2789.258
18/12/2023 17:30 | 3091.123 | 3324.279 | 2857.966
18/12/2023 18:00 | 3026.618 | 3255.57 | 2797.665
18/12/2023 18:30 | 2944.129 | 3167.485 | 2720.773
18/12/2023 19:00 | 2984.704 | 3211.79 | 2757.617
18/12/2023 19:30 | 2921.354 | 3144.259 | 2698.449
18/12/2023 20:00 | 2820.714 | 3036.556 | 2604.872
18/12/2023 20:30 | 2707.31 | 2915.066 | 2499.555
18/12/2023 21:00 | 2586.458 | 2785.505 | 2387.411
18/12/2023 21:30 | 2472.155 | 2662.946 | 2281.365
18/12/2023 22:00 | 2371.806 | 2555.371 | 2188.242
18/12/2023 22:30 | 2274.335 | 2450.852 | 2097.818
18/12/2023 23:00 | 2179.156 | 2348.763 | 2009.55
18/12/2023 23:30 | 2089.459 | 2252.541 | 1926.378
19/12/2023 00:00 | 2009.249 | 2166.51 | 1851.989
19/12/2023 00:30 | 1955.143 | 2108.595 | 1801.69
19/12/2023 01:00 | 1916.479 | 2067.316 | 1765.642
19/12/2023 01:30 | 1890.648 | 2039.864 | 1741.431
19/12/2023 02:00 | 1872.949 | 2021.178 | 1724.72
19/12/2023 02:30 | 1859.758 | 2007.35 | 1712.167
19/12/2023 03:00 | 1853.442 | 2000.937 | 1705.947
19/12/2023 03:30 | 1854.47 | 2002.453 | 1706.488
19/12/2023 04:00 | 1865.243 | 2014.492 | 1715.993
19/12/2023 04:30 | 1873.871 | 2024.22 | 1723.522
19/12/2023 05:00 | 1874.339 | 2025.135 | 1723.543
19/12/2023 05:30 | 1871.626 | 2022.613 | 1720.639
19/12/2023 06:00 | 1869.005 | 2020.188 | 1717.821
19/12/2023 06:30 | 1811.262 | 1958.171 | 1664.354
19/12/2023 07:00 | 1727.035 | 1867.49 | 1586.581
19/12/2023 07:30 | 1627.071 | 1759.736 | 1494.406
19/12/2023 08:00 | 1535.574 | 1661.07 | 1410.078
19/12/2023 08:30 | 1451.756 | 1570.681 | 1332.832
19/12/2023 09:00 | 1419.091 | 1535.612 | 1302.571
19/12/2023 09:30 | 1416.221 | 1532.777 | 1299.664
19/12/2023 10:00 | 1410.262 | 1526.598 | 1293.926
19/12/2023 10:30 | 1453.49 | 1573.671 | 1333.309
19/12/2023 11:00 | 1532.704 | 1659.729 | 1405.68
19/12/2023 11:30 | 1593.852 | 1726.25 | 1461.455
19/12/2023 12:00 | 1656.806 | 1794.75 | 1518.862
19/12/2023 12:30 | 1766.979 | 1914.434 | 1619.523
19/12/2023 13:00 | 1886.077 | 2043.833 | 1728.32
19/12/2023 13:30 | 2015.589 | 2184.564 | 1846.613
19/12/2023 14:00 | 2156.032 | 2337.194 | 1974.869
19/12/2023 14:30 | 2322.399 | 2517.986 | 2126.812
19/12/2023 15:00 | 2508.693 | 2720.45 | 2296.937
19/12/2023 15:30 | 2703.832 | 2932.579 | 2475.085
19/12/2023 16:00 | 2902.394 | 3148.496 | 2656.293
19/12/2023 16:30 | 3084.542 | 3346.679 | 2822.405
19/12/2023 17:00 | 3214.779 | 3488.601 | 2940.958
19/12/2023 17:30 | 3279.742 | 3559.726 | 2999.759
19/12/2023 18:00 | 3265.161 | 3544.526 | 2985.796
19/12/2023 18:30 | 3198.188 | 3472.436 | 2923.941
19/12/2023 19:00 | 3168.933 | 3441.279 | 2896.587
19/12/2023 19:30 | 3108.322 | 3376.055 | 2840.589
19/12/2023 20:00 | 3000.211 | 3259.207 | 2741.216
19/12/2023 20:30 | 2872.287 | 3120.79 | 2623.783
19/12/2023 21:00 | 2734.54 | 2971.649 | 2497.43
19/12/2023 21:30 | 2605.682 | 2832.117 | 2379.246
19/12/2023 22:00 | 2492.195 | 2709.247 | 2275.144
19/12/2023 22:30 | 2389.898 | 2598.499 | 2181.298
19/12/2023 23:00 | 2300.604 | 2501.851 | 2099.357
19/12/2023 23:30 | 2225.764 | 2420.891 | 2030.636
20/12/2023 00:00 | 2167.216 | 2357.626 | 1976.806
20/12/2023 00:30 | 2121.341 | 2307.313 | 1934.555
20/12/2023 01:00 | 2080.925 | 2263.753 | 1897.299
20/12/2023 01:30 | 2048.587 | 2228.967 | 1868.208
20/12/2023 02:00 | 2026.374 | 2205.187 | 1847.562
20/12/2023 02:30 | 2008.34 | 2185.946 | 1830.734
20/12/2023 03:00 | 1998.685 | 2175.82 | 1821.55
20/12/2023 03:30 | 2000.368 | 2178.036 | 1822.7
20/12/2023 04:00 | 2011.251 | 2190.271 | 1832.231
20/12/2023 04:30 | 2016.488 | 2196.36 | 1836.615
20/12/2023 05:00 | 2026.383 | 2207.526 | 1845.239
20/12/2023 05:30 | 2051.707 | 2235.507 | 1867.906
20/12/2023 06:00 | 2084.776 | 2271.939 | 1897.614
20/12/2023 06:30 | 2071.847 | 2258.246 | 1885.448
20/12/2023 07:00 | 2042.106 | 2226.221 | 1857.991
20/12/2023 07:30 | 2008.047 | 2189.476 | 1826.618
20/12/2023 08:00 | 2009.609 | 2191.564 | 1827.654
20/12/2023 08:30 | 2032.537 | 2216.957 | 1848.116
20/12/2023 09:00 | 2036.546 | 2221.721 | 1851.372
20/12/2023 09:30 | 1991.692 | 2173.17 | 1810.214
20/12/2023 10:00 | 1968.103 | 2147.809 | 1788.398
20/12/2023 10:30 | 2034.527 | 2220.688 | 1848.366
20/12/2023 11:00 | 2127.64 | 2322.728 | 1932.551
20/12/2023 11:30 | 2176.295 | 2376.262 | 1976.328
20/12/2023 12:00 | 2220.456 | 2424.906 | 2016.006
20/12/2023 12:30 | 2325.779 | 2540.373 | 2111.185
20/12/2023 13:00 | 2437.758 | 2663.151 | 2212.365
20/12/2023 13:30 | 2542.261 | 2777.804 | 2306.719
20/12/2023 14:00 | 2657.717 | 2904.466 | 2410.968
20/12/2023 14:30 | 2817.089 | 3079.175 | 2555.004
20/12/2023 15:00 | 2967.676 | 3244.34 | 2691.012
20/12/2023 15:30 | 3120.145 | 3411.62 | 2828.668
20/12/2023 16:00 | 3282.866 | 3590.172 | 2975.56
20/12/2023 16:30 | 3415.21 | 3735.559 | 3094.861
20/12/2023 17:00 | 3503.33 | 3832.617 | 3174.044
20/12/2023 17:30 | 3534.682 | 3867.593 | 3201.771
20/12/2023 18:00 | 3517.282 | 3849.228 | 3185.336
20/12/2023 18:30 | 3438.104 | 3763.236 | 3112.971
20/12/2023 19:00 | 3352.042 | 3669.679 | 3034.406
20/12/2023 19:30 | 3290.461 | 3602.893 | 2978.029
20/12/2023 20:00 | 3173.926 | 3475.901 | 2871.951
20/12/2023 20:30 | 3029.267 | 3318.059 | 2740.475
20/12/2023 21:00 | 2879.17 | 3154.205 | 2604.135
20/12/2023 21:30 | 2736.594 | 2998.533 | 2474.654
20/12/2023 22:00 | 2607.427 | 2857.502 | 2357.351
20/12/2023 22:30 | 2490.788 | 2730.154 | 2251.421
20/12/2023 23:00 | 2389.919 | 2620.051 | 2159.788
20/12/2023 23:30 | 2305.972 | 2528.461 | 2083.482
21/12/2023 00:00 | 2234.154 | 2450.143 | 2018.166
21/12/2023 00:30 | 2179.287 | 2390.389 | 1968.186
21/12/2023 01:00 | 2134.33 | 2341.486 | 1927.174
21/12/2023 01:30 | 2098.429 | 2302.502 | 1894.355
21/12/2023 02:00 | 2073.748 | 2275.819 | 1871.677
21/12/2023 02:30 | 2055.365 | 2256.038 | 1854.691
21/12/2023 03:00 | 2043.856 | 2243.797 | 1843.914
21/12/2023 03:30 | 2041.403 | 2241.496 | 1841.31
21/12/2023 04:00 | 2049.368 | 2250.634 | 1848.101
21/12/2023 04:30 | 2052.553 | 2254.526 | 1850.581
21/12/2023 05:00 | 2065.925 | 2269.609 | 1862.24
21/12/2023 05:30 | 2100.229 | 2307.698 | 1892.76
21/12/2023 06:00 | 2142.694 | 2354.768 | 1930.619
21/12/2023 06:30 | 2160.894 | 2375.184 | 1946.604
21/12/2023 07:00 | 2142.485 | 2355.36 | 1929.609
21/12/2023 07:30 | 2074.948 | 2284.429 | 1870.776
21/12/2023 08:00 | 2043.996 | 2252.106 | 1843.592
21/12/2023 08:30 | 2046.539 | 2256.665 | 1846.417
21/12/2023 09:00 | 2052.094 | 2264.532 | 1851.567
21/12/2023 09:30 | 2067.294 | 2283.495 | 1865.807
21/12/2023 10:00 | 2082.73 | 2302.407 | 1879.987
21/12/2023 10:30 | 2129.71 | 2354.874 | 1921.525
21/12/2023 11:00 | 2224.156 | 2459.994 | 2005.941
21/12/2023 11:30 | 2285.972 | 2530.291 | 2061.865
21/12/2023 12:00 | 2369.47 | 2624.257 | 2136.987
21/12/2023 12:30 | 2529.424 | 2801.84 | 2280.051
21/12/2023 13:00 | 2676.659 | 2965.846 | 2411.879
21/12/2023 13:30 | 2858.294 | 3168.506 | 2574.939
21/12/2023 14:00 | 3008.222 | 3335.625 | 2708.915
21/12/2023 14:30 | 3094.781 | 3432.16 | 2785.423
21/12/2023 15:00 | 3209.307 | 3560.281 | 2887.444
21/12/2023 15:30 | 3328.587 | 3693.371 | 2993.352
21/12/2023 16:00 | 3426.895 | 3802.625 | 3079.809
21/12/2023 16:30 | 3487.862 | 3871.078 | 3133.125
21/12/2023 17:00 | 3525.246 | 3913.506 | 3152.649
21/12/2023 17:30 | 3540.755 | 3931.115 | 3165.332
21/12/2023 18:00 | 3505.859 | 3891.876 | 3132.96
21/12/2023 18:30 | 3418.343 | 3795.17 | 3053.606
21/12/2023 19:00 | 3355.238 | 3725.724 | 2996.11
21/12/2023 19:30 | 3289.795 | 3643.022 | 2936.569
21/12/2023 20:00 | 3171.968 | 3513.607 | 2830.329
21/12/2023 20:30 | 3021.273 | 3347.695 | 2694.852
21/12/2023 21:00 | 2867.194 | 3177.93 | 2556.458
21/12/2023 21:30 | 2725.139 | 3021.393 | 2428.885
21/12/2023 22:00 | 2600.021 | 2883.545 | 2316.497
21/12/2023 22:30 | 2485.516 | 2757.387 | 2213.645
21/12/2023 23:00 | 2380.093 | 2641.23 | 2118.955
21/12/2023 23:30 | 2285.739 | 2537.291 | 2034.187
22/12/2023 00:00 | 2202.259 | 2445.362 | 1959.156
22/12/2023 00:30 | 2139.023 | 2375.863 | 1902.183
22/12/2023 01:00 | 2092.09 | 2324.434 | 1859.745
22/12/2023 01:30 | 2058.399 | 2287.693 | 1829.106
22/12/2023 02:00 | 2034.515 | 2261.83 | 1807.201
22/12/2023 02:30 | 2016.892 | 2242.914 | 1790.87
22/12/2023 03:00 | 1999.19 | 2223.899 | 1774.482
22/12/2023 03:30 | 1990.599 | 2215.009 | 1766.188
22/12/2023 04:00 | 1992.219 | 2217.48 | 1766.958
22/12/2023 04:30 | 1993.87 | 2219.986 | 1767.754
22/12/2023 05:00 | 1983.28 | 2208.861 | 1757.7
22/12/2023 05:30 | 1973.423 | 2198.544 | 1748.302
22/12/2023 06:00 | 1977.824 | 2204.11 | 1751.538
22/12/2023 06:30 | 1963.974 | 2189.334 | 1738.614
22/12/2023 07:00 | 1929.547 | 2151.603 | 1707.49
22/12/2023 07:30 | 1873.38 | 2089.601 | 1657.159