## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
16/12/2023 08:00 | 1262.54 | 1285.789 | 1243.243
16/12/2023 08:30 | 1198.012 | 1222.747 | 1173.278 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
16/12/2023 09:00 | 1143.147 | 1171.119 | 1115.175 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
16/12/2023 09:30 | 1093.38 | 1124.314 | 1062.445 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
16/12/2023 10:00 | 1071.139 | 1105.539 | 1036.739 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
16/12/2023 10:30 | 1096.744 | 1135.073 | 1058.414 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
16/12/2023 11:00 | 1143.812 | 1184.784 | 1102.839 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
16/12/2023 11:30 | 1198.596 | 1242.779 | 1154.413 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
16/12/2023 12:00 | 1274.797 | 1323.116 | 1226.477 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
16/12/2023 12:30 | 1361.574 | 1414.601 | 1308.547 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
16/12/2023 13:00 | 1447.509 | 1505.39 | 1389.627 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
16/12/2023 13:30 | 1578.646 | 1643.415 | 1513.877
16/12/2023 14:00 | 1751.526 | 1825.212 | 1677.839 | Summary view - for each schedule horizon (dispatch, week-ahead)
16/12/2023 14:30 | 1916.804 | 1999.44 | 1834.168
16/12/2023 15:00 | 2075.987 | 2167.647 | 1984.326 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
16/12/2023 15:30 | 2224.413 | 2324.944 | 2120.031 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
16/12/2023 16:00 | 2374.529 | 2479.877 | 2260.693 | Scenario | Violations
16/12/2023 16:30 | 2518.038 | 2633.736 | 2395.947 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
16/12/2023 17:00 | 2624.415 | 2745.697 | 2492.589 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
16/12/2023 17:30 | 2694.411 | 2821.64 | 2556.189 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 1
16/12/2023 18:00 | 2710.033 | 2842.123 | 2569.374 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 1
16/12/2023 18:30 | 2683.019 | 2816.641 | 2542.437 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 2
16/12/2023 19:00 | 2660.714 | 2795.088 | 2521.889
16/12/2023 19:30 | 2626.012 | 2760.513 | 2489.379 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
16/12/2023 20:00 | 2552.417 | 2684.648 | 2419.688
16/12/2023 20:30 | 2476.009 | 2605.159 | 2346.804 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
16/12/2023 21:00 | 2394.718 | 2520.42 | 2269.271 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
16/12/2023 21:30 | 2314.222 | 2435.866 | 2191.984 | [7 empty] | 18/12/2023 11:30 |  |  |  |  | 16/12/2023 08:00 | [6 empty] | 18/12/2023 11:00 |  |  |  |  | 16/12/2023 08:00 | [6 empty] | 18/12/2023 08:00 |  |  |  |  | 16/12/2023 08:00
16/12/2023 22:00 | 2233.968 | 2351.29 | 2114.759 | [7 empty] | 18/12/2023 12:00 | [11 empty] | 18/12/2023 11:30 | [11 empty] | 18/12/2023 11:30 |  |  |  |  | 18/12/2023 08:00
16/12/2023 22:30 | 2152.846 | 2267.431 | 2038.26 | [7 empty] | 19/12/2023 11:00 | [11 empty] | 19/12/2023 10:30 | [11 empty] | 18/12/2023 12:00
16/12/2023 23:00 | 2073.575 | 2184.487 | 1962.662 | [7 empty] | 19/12/2023 11:30 | [11 empty] | 20/12/2023 11:30 | [11 empty] | 19/12/2023 10:30
16/12/2023 23:30 | 2002.528 | 2110.168 | 1894.888 | [7 empty] | 20/12/2023 11:00 | [11 empty] | 22/12/2023 08:00 | [11 empty] | 20/12/2023 11:30
17/12/2023 00:00 | 1939.406 | 2044.163 | 1834.648 | [7 empty] | 20/12/2023 11:30 | [11 empty] | 22/12/2023 08:30 | [11 empty] | 20/12/2023 12:00
17/12/2023 00:30 | 1889.298 | 1991.846 | 1786.75 | [7 empty] | 22/12/2023 08:30 | [11 empty] | 22/12/2023 09:00
17/12/2023 01:00 | 1850.951 | 1951.906 | 1749.997 | [7 empty] | 22/12/2023 09:00 | [11 empty] | 22/12/2023 09:30
17/12/2023 01:30 | 1824.88 | 1924.892 | 1724.867 | [7 empty] | 22/12/2023 09:30 | [11 empty] | 22/12/2023 10:00
17/12/2023 02:00 | 1803.498 | 1902.813 | 1704.182 | [7 empty] | 22/12/2023 10:00 | [11 empty] | 22/12/2023 10:30
17/12/2023 02:30 | 1784.056 | 1882.771 | 1685.342 | [7 empty] | 22/12/2023 10:30 | [11 empty] | 22/12/2023 11:00
17/12/2023 03:00 | 1770.014 | 1868.417 | 1671.61 | [7 empty] | 22/12/2023 11:00 | [11 empty] | 22/12/2023 11:30
17/12/2023 03:30 | 1761.079 | 1859.449 | 1662.708 | [7 empty] | 22/12/2023 11:30 | [11 empty] | 22/12/2023 12:00
17/12/2023 04:00 | 1744.599 | 1842.509 | 1646.69 | [7 empty] | 22/12/2023 12:00 | [11 empty] | 22/12/2023 12:30
17/12/2023 04:30 | 1710.682 | 1807.139 | 1614.226 | [7 empty] | 22/12/2023 12:30
17/12/2023 05:00 | 1666.793 | 1761.214 | 1572.373 | [7 empty] | 22/12/2023 13:00
17/12/2023 05:30 | 1602.999 | 1694.227 | 1511.77
17/12/2023 06:00 | 1521.538 | 1608.531 | 1434.545
17/12/2023 06:30 | 1434.667 | 1517.035 | 1352.3
17/12/2023 07:00 | 1343.743 | 1421.142 | 1266.345
17/12/2023 07:30 | 1234.733 | 1306.088 | 1163.378
17/12/2023 08:00 | 1148.286 | 1214.865 | 1081.707
17/12/2023 08:30 | 1079.629 | 1142.433 | 1016.825
17/12/2023 09:00 | 1042.711 | 1103.567 | 981.8551
17/12/2023 09:30 | 1030.583 | 1090.928 | 970.2379
17/12/2023 10:00 | 1035.918 | 1096.774 | 975.0629
17/12/2023 10:30 | 1056.915 | 1119.205 | 994.624
17/12/2023 11:00 | 1095.639 | 1160.422 | 1030.857
17/12/2023 11:30 | 1146.391 | 1214.393 | 1078.389
17/12/2023 12:00 | 1185.334 | 1255.873 | 1114.795
17/12/2023 12:30 | 1236.482 | 1310.3 | 1162.663
17/12/2023 13:00 | 1292.597 | 1370.013 | 1215.181
17/12/2023 13:30 | 1364.411 | 1433.498 | 1282.433
17/12/2023 14:00 | 1480.171 | 1555.799 | 1390.955
17/12/2023 14:30 | 1619.705 | 1703.23 | 1521.77
17/12/2023 15:00 | 1775.68 | 1868.626 | 1656.173
17/12/2023 15:30 | 1950.475 | 2054.396 | 1820.124
17/12/2023 16:00 | 2137.997 | 2254.265 | 1996.434
17/12/2023 16:30 | 2316.089 | 2444.53 | 2164.108
17/12/2023 17:00 | 2463.194 | 2602.144 | 2302.758
17/12/2023 17:30 | 2549.66 | 2705.773 | 2393.546
17/12/2023 18:00 | 2546.352 | 2702.75 | 2389.954
17/12/2023 18:30 | 2520.229 | 2675.503 | 2364.954
17/12/2023 19:00 | 2551.744 | 2709.448 | 2394.04
17/12/2023 19:30 | 2523.129 | 2679.547 | 2366.712
17/12/2023 20:00 | 2449.904 | 2602.25 | 2297.558
17/12/2023 20:30 | 2368.483 | 2516.218 | 2220.747
17/12/2023 21:00 | 2277.927 | 2420.449 | 2135.405
17/12/2023 21:30 | 2189.891 | 2327.323 | 2052.458
17/12/2023 22:00 | 2105.766 | 2238.322 | 1973.211
17/12/2023 22:30 | 2028.376 | 2156.447 | 1900.304
17/12/2023 23:00 | 1958.702 | 2082.748 | 1834.656
17/12/2023 23:30 | 1893.03 | 2009.486 | 1776.574
18/12/2023 00:00 | 1833.203 | 1939.037 | 1727.37
18/12/2023 00:30 | 1789.061 | 1893.251 | 1684.871
18/12/2023 01:00 | 1754.597 | 1857.07 | 1652.124
18/12/2023 01:30 | 1731.49 | 1832.899 | 1630.081
18/12/2023 02:00 | 1716.973 | 1817.815 | 1616.131
18/12/2023 02:30 | 1706.538 | 1807.049 | 1606.027
18/12/2023 03:00 | 1700.088 | 1800.499 | 1599.676
18/12/2023 03:30 | 1702.642 | 1803.486 | 1601.799
18/12/2023 04:00 | 1715.713 | 1817.602 | 1613.812
18/12/2023 04:30 | 1726.765 | 1829.596 | 1623.922
18/12/2023 05:00 | 1727.289 | 1830.437 | 1624.13
18/12/2023 05:30 | 1716.569 | 1819.359 | 1613.766
18/12/2023 06:00 | 1696.346 | 1798.204 | 1594.475
18/12/2023 06:30 | 1623.173 | 1720.904 | 1525.428
18/12/2023 07:00 | 1528.66 | 1620.952 | 1436.354
18/12/2023 07:30 | 1433.872 | 1520.711 | 1347.026
18/12/2023 08:00 | 1362.845 | 1445.692 | 1279.998
18/12/2023 08:30 | 1283.638 | 1361.95 | 1205.326
18/12/2023 09:00 | 1235.911 | 1311.582 | 1160.241
18/12/2023 09:30 | 1221.468 | 1296.521 | 1146.415
18/12/2023 10:00 | 1244.395 | 1321.129 | 1167.661
18/12/2023 10:30 | 1299.312 | 1379.716 | 1218.909
18/12/2023 11:00 | 1383.826 | 1469.763 | 1297.89
18/12/2023 11:30 | 1465.953 | 1557.31 | 1374.597
18/12/2023 12:00 | 1550.438 | 1647.398 | 1453.478
18/12/2023 12:30 | 1670.991 | 1775.856 | 1566.127
18/12/2023 13:00 | 1785.057 | 1897.47 | 1672.645
18/12/2023 13:30 | 1913.962 | 2034.911 | 1793.014
18/12/2023 14:00 | 2084.232 | 2216.396 | 1952.068
18/12/2023 14:30 | 2258.265 | 2401.958 | 2114.572
18/12/2023 15:00 | 2431.387 | 2586.627 | 2276.147
18/12/2023 15:30 | 2623.211 | 2791.272 | 2455.151
18/12/2023 16:00 | 2824.33 | 3005.892 | 2642.767
18/12/2023 16:30 | 2993.771 | 3186.88 | 2800.662
18/12/2023 17:00 | 3118.82 | 3320.677 | 2916.963
18/12/2023 17:30 | 3191.552 | 3398.814 | 2984.291
18/12/2023 18:00 | 3122.225 | 3325.666 | 2918.783
18/12/2023 18:30 | 3034.252 | 3232.624 | 2835.88
18/12/2023 19:00 | 3075.744 | 3277.5 | 2873.987
18/12/2023 19:30 | 3002.274 | 3199.867 | 2804.68
18/12/2023 20:00 | 2892.037 | 3083.007 | 2701.067
18/12/2023 20:30 | 2770.683 | 2954.245 | 2587.121
18/12/2023 21:00 | 2640.949 | 2816.493 | 2465.405
18/12/2023 21:30 | 2518.027 | 2685.951 | 2350.104
18/12/2023 22:00 | 2411.017 | 2572.331 | 2249.703
18/12/2023 22:30 | 2309.151 | 2464.154 | 2154.148
18/12/2023 23:00 | 2208.946 | 2357.706 | 2060.187
18/12/2023 23:30 | 2113.215 | 2255.989 | 1970.441
19/12/2023 00:00 | 2028.246 | 2165.723 | 1890.77
19/12/2023 00:30 | 1971.224 | 2105.266 | 1837.181
19/12/2023 01:00 | 1930.337 | 2062.021 | 1798.654
19/12/2023 01:30 | 1904.998 | 2035.369 | 1774.626
19/12/2023 02:00 | 1887.422 | 2017.003 | 1757.841
19/12/2023 02:30 | 1873.969 | 2003.036 | 1744.903
19/12/2023 03:00 | 1867.189 | 1996.196 | 1738.181
19/12/2023 03:30 | 1867.738 | 1997.191 | 1738.284
19/12/2023 04:00 | 1879.33 | 2009.998 | 1748.662
19/12/2023 04:30 | 1887.647 | 2019.305 | 1755.989
19/12/2023 05:00 | 1888.669 | 2020.811 | 1756.527
19/12/2023 05:30 | 1893.329 | 2026.211 | 1760.447
19/12/2023 06:00 | 1894.724 | 2028.118 | 1761.331
19/12/2023 06:30 | 1836.256 | 1965.935 | 1706.577
19/12/2023 07:00 | 1746.474 | 1870.194 | 1622.755
19/12/2023 07:30 | 1635.424 | 1751.634 | 1519.213
19/12/2023 08:00 | 1536.997 | 1646.549 | 1427.445
19/12/2023 08:30 | 1444.707 | 1547.997 | 1341.417
19/12/2023 09:00 | 1405.058 | 1505.82 | 1304.296
19/12/2023 09:30 | 1391.101 | 1491.166 | 1291.036
19/12/2023 10:00 | 1377.661 | 1477.06 | 1278.262
19/12/2023 10:30 | 1427.967 | 1531.308 | 1324.627
19/12/2023 11:00 | 1504.708 | 1613.931 | 1395.485
19/12/2023 11:30 | 1573.396 | 1687.949 | 1458.843
19/12/2023 12:00 | 1638.48 | 1758.13 | 1518.831
19/12/2023 12:30 | 1735.649 | 1862.773 | 1608.525
19/12/2023 13:00 | 1852.501 | 1988.589 | 1716.414
19/12/2023 13:30 | 1989.663 | 2136.261 | 1843.065
19/12/2023 14:00 | 2141.598 | 2299.859 | 1983.338
19/12/2023 14:30 | 2298.554 | 2468.916 | 2128.192
19/12/2023 15:00 | 2492.209 | 2677.469 | 2306.949
19/12/2023 15:30 | 2708.461 | 2910.387 | 2506.534
19/12/2023 16:00 | 2900.102 | 3116.949 | 2683.254
19/12/2023 16:30 | 3047.74 | 3276.293 | 2819.187
19/12/2023 17:00 | 3159.192 | 3396.792 | 2921.591
19/12/2023 17:30 | 3222.597 | 3465.671 | 2979.524
19/12/2023 18:00 | 3203.58 | 3445.919 | 2961.24
19/12/2023 18:30 | 3139.418 | 3377.59 | 2901.247
19/12/2023 19:00 | 3118.958 | 3356.259 | 2881.657
19/12/2023 19:30 | 3053.454 | 3286.438 | 2820.47
19/12/2023 20:00 | 2943.201 | 3168.416 | 2717.987
19/12/2023 20:30 | 2815.833 | 3031.916 | 2599.749
19/12/2023 21:00 | 2680.512 | 2886.796 | 2474.227
19/12/2023 21:30 | 2554.72 | 2751.883 | 2357.558
19/12/2023 22:00 | 2443.092 | 2632.173 | 2254.011
19/12/2023 22:30 | 2344.688 | 2526.666 | 2162.71
19/12/2023 23:00 | 2259.763 | 2435.644 | 2083.883
19/12/2023 23:30 | 2188.77 | 2359.603 | 2017.937
20/12/2023 00:00 | 2133.975 | 2300.997 | 1966.952
20/12/2023 00:30 | 2090.958 | 2255.071 | 1926.846
20/12/2023 01:00 | 2053.004 | 2214.586 | 1891.422
20/12/2023 01:30 | 2021.359 | 2180.892 | 1861.826
20/12/2023 02:00 | 1999.356 | 2157.589 | 1841.123
20/12/2023 02:30 | 1982.039 | 2139.335 | 1824.743
20/12/2023 03:00 | 1973.213 | 2130.24 | 1816.186
20/12/2023 03:30 | 1975.62 | 2133.269 | 1817.97
20/12/2023 04:00 | 1988.559 | 2147.675 | 1829.442
20/12/2023 04:30 | 1996.245 | 2156.413 | 1836.077
20/12/2023 05:00 | 2006.954 | 2168.42 | 1845.489
20/12/2023 05:30 | 2028.997 | 2192.679 | 1865.315
20/12/2023 06:00 | 2049.519 | 2215.304 | 1883.733
20/12/2023 06:30 | 2022.307 | 2186.333 | 1858.281
20/12/2023 07:00 | 1978.67 | 2139.589 | 1817.751
20/12/2023 07:30 | 1930.517 | 2087.923 | 1773.11
20/12/2023 08:00 | 1891.643 | 2046.24 | 1737.047
20/12/2023 08:30 | 1847.117 | 1998.429 | 1695.806
20/12/2023 09:00 | 1840.336 | 1991.445 | 1689.227
20/12/2023 09:30 | 1842.364 | 1993.992 | 1690.736
20/12/2023 10:00 | 1846.228 | 1998.528 | 1693.928
20/12/2023 10:30 | 1913.231 | 2071.425 | 1755.037
20/12/2023 11:00 | 2026.176 | 2194.097 | 1858.254
20/12/2023 11:30 | 2131.68 | 2308.753 | 1954.606
20/12/2023 12:00 | 2221.792 | 2406.777 | 2036.807
20/12/2023 12:30 | 2338.838 | 2534.017 | 2143.66
20/12/2023 13:00 | 2434.878 | 2638.538 | 2231.219
20/12/2023 13:30 | 2489.397 | 2698.094 | 2280.7
20/12/2023 14:00 | 2592.89 | 2810.76 | 2375.02
20/12/2023 14:30 | 2759.967 | 2992.405 | 2527.529
20/12/2023 15:00 | 2930.75 | 3178.132 | 2683.367
20/12/2023 15:30 | 3108.045 | 3370.989 | 2845.102
20/12/2023 16:00 | 3273.75 | 3551.339 | 2996.16
20/12/2023 16:30 | 3379.472 | 3666.674 | 3092.27
20/12/2023 17:00 | 3442.367 | 3735.573 | 3149.16
20/12/2023 17:30 | 3465.131 | 3760.941 | 3169.322
20/12/2023 18:00 | 3448.683 | 3743.749 | 3153.616
20/12/2023 18:30 | 3368.7 | 3657.569 | 3079.831
20/12/2023 19:00 | 3288.851 | 3571.503 | 3006.198
20/12/2023 19:30 | 3223.619 | 3501.283 | 2945.956
20/12/2023 20:00 | 3104.958 | 3372.996 | 2836.919
20/12/2023 20:30 | 2961.115 | 3217.303 | 2704.927
20/12/2023 21:00 | 2813.512 | 3057.469 | 2569.554
20/12/2023 21:30 | 2674.429 | 2906.84 | 2442.019
20/12/2023 22:00 | 2548.426 | 2770.375 | 2326.477
20/12/2023 22:30 | 2434.466 | 2646.957 | 2221.976
20/12/2023 23:00 | 2336.267 | 2540.634 | 2131.9
20/12/2023 23:30 | 2254.927 | 2452.61 | 2057.243
21/12/2023 00:00 | 2187.068 | 2379.222 | 1994.914
21/12/2023 00:30 | 2135.45 | 2323.478 | 1947.422
21/12/2023 01:00 | 2092.707 | 2277.372 | 1908.041
21/12/2023 01:30 | 2059.26 | 2241.369 | 1877.151
21/12/2023 02:00 | 2035.708 | 2216.124 | 1855.292
21/12/2023 02:30 | 2018.372 | 2197.639 | 1839.105
21/12/2023 03:00 | 2007.85 | 2186.567 | 1829.133
21/12/2023 03:30 | 2006.389 | 2185.361 | 1827.418
21/12/2023 04:00 | 2015.63 | 2195.812 | 1835.448
21/12/2023 04:30 | 2022.548 | 2203.736 | 1841.36
21/12/2023 05:00 | 2028.468 | 2210.575 | 1846.361
21/12/2023 05:30 | 2060.537 | 2245.918 | 1875.156
21/12/2023 06:00 | 2137.746 | 2330.483 | 1945.008
21/12/2023 06:30 | 2196.756 | 2395.235 | 1998.278
21/12/2023 07:00 | 2225.706 | 2427.226 | 2024.185
21/12/2023 07:30 | 2215.759 | 2416.804 | 2014.714
21/12/2023 08:00 | 2209.935 | 2410.875 | 2008.995
21/12/2023 08:30 | 2206.756 | 2407.83 | 2005.682
21/12/2023 09:00 | 2207.833 | 2409.429 | 2006.238
21/12/2023 09:30 | 2212.176 | 2414.592 | 2009.76
21/12/2023 10:00 | 2175.703 | 2375.199 | 1976.208
21/12/2023 10:30 | 2137.626 | 2334.04 | 1941.212
21/12/2023 11:00 | 2162.91 | 2362.061 | 1963.758
21/12/2023 11:30 | 2186.266 | 2387.988 | 1984.545
21/12/2023 12:00 | 2228.941 | 2435.027 | 2022.855
21/12/2023 12:30 | 2336.325 | 2552.787 | 2119.862
21/12/2023 13:00 | 2430.907 | 2656.599 | 2205.216
21/12/2023 13:30 | 2537.42 | 2773.487 | 2301.354
21/12/2023 14:00 | 2659.193 | 2907.099 | 2411.288
21/12/2023 14:30 | 2799.009 | 3060.485 | 2537.533
21/12/2023 15:00 | 2951.7 | 3228.006 | 2675.395
21/12/2023 15:30 | 3103.012 | 3394.077 | 2811.947
21/12/2023 16:00 | 3255.076 | 3561.029 | 2949.124
21/12/2023 16:30 | 3386.89 | 3705.881 | 3067.898
21/12/2023 17:00 | 3471.704 | 3799.349 | 3144.059
21/12/2023 17:30 | 3503.811 | 3835.157 | 3172.464
21/12/2023 18:00 | 3484.121 | 3814.273 | 3153.969
21/12/2023 18:30 | 3406.397 | 3729.837 | 3082.957
21/12/2023 19:00 | 3323.255 | 3639.438 | 3007.073
21/12/2023 19:30 | 3259.742 | 3570.507 | 2948.978
21/12/2023 20:00 | 3141.175 | 3441.238 | 2841.112
21/12/2023 20:30 | 2991.294 | 3277.613 | 2704.975
21/12/2023 21:00 | 2839.835 | 3112.201 | 2567.469
21/12/2023 21:30 | 2700.808 | 2960.358 | 2441.259
21/12/2023 22:00 | 2576.303 | 2824.382 | 2328.225
21/12/2023 22:30 | 2463.054 | 2700.699 | 2225.408
21/12/2023 23:00 | 2359.568 | 2587.681 | 2131.455
21/12/2023 23:30 | 2267.049 | 2486.653 | 2047.446
22/12/2023 00:00 | 2187.424 | 2399.734 | 1975.115
22/12/2023 00:30 | 2128.239 | 2335.212 | 1921.266
22/12/2023 01:00 | 2084.2 | 2287.29 | 1881.111
22/12/2023 01:30 | 2051.931 | 2252.27 | 1851.593
22/12/2023 02:00 | 2029.664 | 2228.217 | 1831.11
22/12/2023 02:30 | 2013.014 | 2210.324 | 1815.703
22/12/2023 03:00 | 1996.583 | 2192.666 | 1800.5
22/12/2023 03:30 | 1989.455 | 2185.219 | 1793.692
22/12/2023 04:00 | 1992.51 | 2188.957 | 1796.064
22/12/2023 04:30 | 1993.728 | 2190.677 | 1796.78
22/12/2023 05:00 | 1989.512 | 2186.425 | 1792.599
22/12/2023 05:30 | 1987.354 | 2184.435 | 1790.273
22/12/2023 06:00 | 1983.638 | 2180.73 | 1786.546
22/12/2023 06:30 | 1957.923 | 2152.836 | 1763.01
22/12/2023 07:00 | 1909.901 | 2100.4 | 1719.403
22/12/2023 07:30 | 1839.94 | 2023.907 | 1655.973
22/12/2023 08:00 | 1784.002 | 1962.99 | 1605.015
22/12/2023 08:30 | 1721.276 | 1893.378 | 1548.005
22/12/2023 09:00 | 1710.625 | 1882.25 | 1537.852
22/12/2023 09:30 | 1711.819 | 1884.138 | 1538.351
22/12/2023 10:00 | 1733.581 | 1908.672 | 1557.328
22/12/2023 10:30 | 1799.527 | 1981.882 | 1615.965
22/12/2023 11:00 | 1852.111 | 2040.415 | 1662.564
22/12/2023 11:30 | 1886.001 | 2078.384 | 1692.354
22/12/2023 12:00 | 1929.765 | 2127.259 | 1730.977
22/12/2023 12:30 | 1983.675 | 2187.351 | 1778.668
22/12/2023 13:00 | 2073.223 | 2286.789 | 1858.267
22/12/2023 13:30 | 2220.6 | 2450.092 | 1989.619
22/12/2023 14:00 | 2394.249 | 2642.49 | 2144.403
22/12/2023 14:30 | 2556.468 | 2822.385 | 2288.836
22/12/2023 15:00 | 2699.742 | 2981.468 | 2416.207
22/12/2023 15:30 | 2812.299 | 3106.713 | 2515.999
22/12/2023 16:00 | 2945.436 | 3254.775 | 2634.122
22/12/2023 16:30 | 3086.828 | 3412.052 | 2759.534
22/12/2023 17:00 | 3172.997 | 3508.363 | 2835.502
22/12/2023 17:30 | 3179.596 | 3516.726 | 2840.334
22/12/2023 18:00 | 3145.323 | 3479.874 | 2808.663
22/12/2023 18:30 | 3073.335 | 3401.259 | 2743.35
22/12/2023 19:00 | 3004.276 | 3325.838 | 2680.698
22/12/2023 19:30 | 2962.77 | 3280.884 | 2642.669
22/12/2023 20:00 | 2892.57 | 3204.116 | 2579.084
22/12/2023 20:30 | 2796.82 | 3098.991 | 2492.773
22/12/2023 21:00 | 2698.419 | 2990.864 | 2404.165
22/12/2023 21:30 | 2593.641 | 2875.6 | 2309.943
22/12/2023 22:00 | 2472.25 | 2741.84 | 2201.001
22/12/2023 22:30 | 2358.235 | 2616.184 | 2098.705
22/12/2023 23:00 | 2261.704 | 2509.852 | 2012.039
22/12/2023 23:30 | 2171.502 | 2408.896 | 1934.108
23/12/2023 00:00 | 2102.64 | 2330.254 | 1875.025
23/12/2023 00:30 | 2052.698 | 2276.095 | 1829.301
23/12/2023 01:00 | 2011.751 | 2231.592 | 1791.91
23/12/2023 01:30 | 1980.698 | 2198.031 | 1763.364
23/12/2023 02:00 | 1957.158 | 2172.784 | 1741.531
23/12/2023 02:30 | 1934.435 | 2148.424 | 1720.447
23/12/2023 03:00 | 1918.821 | 2131.941 | 1705.701
23/12/2023 03:30 | 1911.556 | 2124.724 | 1698.387
23/12/2023 04:00 | 1902.406 | 2115.405 | 1689.407
23/12/2023 04:30 | 1877.803 | 2088.887 | 1666.718
23/12/2023 05:00 | 1853.292 | 2062.45 | 1644.133
23/12/2023 05:30 | 1820.169 | 2026.404 | 1613.934
23/12/2023 06:00 | 1761.574 | 1961.958 | 1561.189
23/12/2023 06:30 | 1692.995 | 1886.336 | 1499.655
23/12/2023 07:00 | 1620.722 | 1806.534 | 1434.909
23/12/2023 07:30 | 1531.275 | 1707.517 | 1355.032