## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
18/12/2023 08:00 | 1528.62 | 1554.714 | 1511.4
18/12/2023 08:30 | 1431.822 | 1456.306 | 1407.338 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
18/12/2023 09:00 | 1365.281 | 1392.685 | 1337.877 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
18/12/2023 09:30 | 1322.375 | 1352.849 | 1291.901 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
18/12/2023 10:00 | 1306.125 | 1340.108 | 1272.143 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
18/12/2023 10:30 | 1304.638 | 1341.527 | 1267.749 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
18/12/2023 11:00 | 1332.039 | 1370.823 | 1293.255 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
18/12/2023 11:30 | 1371.962 | 1413.23 | 1330.695 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
18/12/2023 12:00 | 1427.626 | 1471.943 | 1383.309 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
18/12/2023 12:30 | 1532.316 | 1581.359 | 1483.274 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
18/12/2023 13:00 | 1635.507 | 1689.427 | 1581.587 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
18/12/2023 13:30 | 1762.098 | 1821.889 | 1702.307
18/12/2023 14:00 | 1918.744 | 1981.466 | 1847.843 | Summary view - for each schedule horizon (dispatch, week-ahead)
18/12/2023 14:30 | 2090.508 | 2161.241 | 2011.611
18/12/2023 15:00 | 2264.55 | 2345.31 | 2178.73 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
18/12/2023 15:30 | 2448.568 | 2536.831 | 2352.107 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
18/12/2023 16:00 | 2652.808 | 2751.114 | 2545.87 | Scenario | Violations
18/12/2023 16:30 | 2837.549 | 2946.743 | 2721.649 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
18/12/2023 17:00 | 2972.734 | 3088.37 | 2846.959 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
18/12/2023 17:30 | 3053.906 | 3175.516 | 2921.651 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0
18/12/2023 18:00 | 3040.808 | 3166.568 | 2907.802 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 0
18/12/2023 18:30 | 2984.006 | 3113.39 | 2854.621 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 0
18/12/2023 19:00 | 2968.859 | 3098.645 | 2839.073
18/12/2023 19:30 | 2908.831 | 3037.132 | 2780.53 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
18/12/2023 20:00 | 2807.677 | 2932.615 | 2682.739
18/12/2023 20:30 | 2695.129 | 2816.114 | 2574.145 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
18/12/2023 21:00 | 2575.868 | 2692.507 | 2459.229 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
18/12/2023 21:30 | 2462.864 | 2575.35 | 2350.378 | [7 empty] | 18/12/2023 10:00 | [11 empty] | 18/12/2023 10:00 | [11 empty] | 18/12/2023 10:00
18/12/2023 22:00 | 2362.948 | 2471.795 | 2254.1 | [7 empty] | 18/12/2023 10:30 | [11 empty] | 18/12/2023 11:00 | [11 empty] | 18/12/2023 10:30
18/12/2023 22:30 | 2267.832 | 2373.185 | 2162.478 | [7 empty] | 18/12/2023 11:00 | [11 empty] | 19/12/2023 09:30 | [11 empty] | 18/12/2023 11:00
18/12/2023 23:00 | 2177.274 | 2279.273 | 2075.276 | [7 empty] | 19/12/2023 09:00 | [11 empty] | 19/12/2023 10:30 | [11 empty] | 18/12/2023 11:30
18/12/2023 23:30 | 2092.622 | 2191.474 | 1993.77 | [7 empty] | 19/12/2023 10:00 | [11 empty] | 20/12/2023 11:00 | [11 empty] | 19/12/2023 09:30
19/12/2023 00:00 | 2017.201 | 2113.28 | 1921.122 | [7 empty] | 19/12/2023 11:00 | [11 empty] | 20/12/2023 11:30 | [11 empty] | 19/12/2023 10:30
19/12/2023 00:30 | 1964.821 | 2059.174 | 1870.468 | [7 empty] | 19/12/2023 11:30 | [11 empty] | 20/12/2023 12:00 | [11 empty] | 19/12/2023 11:00
19/12/2023 01:00 | 1926.739 | 2020.018 | 1833.461 | [7 empty] | 20/12/2023 10:30 | [11 empty] | 20/12/2023 12:30 | [11 empty] | 19/12/2023 11:30
19/12/2023 01:30 | 1901.372 | 1994.166 | 1808.577 | [7 empty] | 20/12/2023 11:00 | [11 empty] | 22/12/2023 08:00 | [11 empty] | 19/12/2023 12:00
19/12/2023 02:00 | 1884.578 | 1977.29 | 1791.865 | [7 empty] | 20/12/2023 11:30 | [11 empty] | 22/12/2023 08:30 | [11 empty] | 20/12/2023 11:00
19/12/2023 02:30 | 1871.332 | 1964.125 | 1778.538 | [7 empty] | 20/12/2023 12:00 | [11 empty] | 22/12/2023 09:00 | [11 empty] | 20/12/2023 11:30
19/12/2023 03:00 | 1864.1 | 1957.264 | 1770.936 | [7 empty] | 20/12/2023 12:30 | [11 empty] | 24/12/2023 10:30 | [11 empty] | 20/12/2023 12:00
19/12/2023 03:30 | 1864.639 | 1958.56 | 1770.717 | [7 empty] | 20/12/2023 13:00 | [11 empty] | 24/12/2023 11:00 | [11 empty] | 20/12/2023 12:30
19/12/2023 04:00 | 1875.891 | 1971.113 | 1780.669 | [7 empty] | 22/12/2023 08:30 | [11 empty] | 24/12/2023 11:30 | [11 empty] | 20/12/2023 13:00
19/12/2023 04:30 | 1884.823 | 1981.236 | 1788.41 | [7 empty] | 22/12/2023 09:00 | [11 empty] | 24/12/2023 12:00
19/12/2023 05:00 | 1887.077 | 1984.344 | 1789.81 | [7 empty] | 24/12/2023 11:30 | [11 empty] | 24/12/2023 12:30
19/12/2023 05:30 | 1890.111 | 1988.275 | 1791.948 | [7 empty] | 24/12/2023 12:00 | [11 empty] | 24/12/2023 13:00
19/12/2023 06:00 | 1904.245 | 2003.887 | 1804.602 | [7 empty] | 24/12/2023 12:30
19/12/2023 06:30 | 1877.033 | 1975.836 | 1778.231 | [7 empty] | 24/12/2023 13:00
19/12/2023 07:00 | 1812.009 | 1907.662 | 1716.355
19/12/2023 07:30 | 1713.151 | 1803.869 | 1622.433
19/12/2023 08:00 | 1646.961 | 1734.446 | 1559.476
19/12/2023 08:30 | 1622.063 | 1708.493 | 1535.633
19/12/2023 09:00 | 1596.979 | 1682.336 | 1511.621
19/12/2023 09:30 | 1537.277 | 1619.697 | 1454.857
19/12/2023 10:00 | 1469.792 | 1548.116 | 1390.748
19/12/2023 10:30 | 1443.017 | 1520.121 | 1365.174
19/12/2023 11:00 | 1470.414 | 1549.22 | 1390.85
19/12/2023 11:30 | 1518.593 | 1600.229 | 1436.419
19/12/2023 12:00 | 1585.451 | 1670.94 | 1499.394
19/12/2023 12:30 | 1715.719 | 1808.839 | 1622.598
19/12/2023 13:00 | 1839.346 | 1939.479 | 1739.212
19/12/2023 13:30 | 1933.655 | 2039.242 | 1828.068
19/12/2023 14:00 | 1997.141 | 2106.524 | 1887.757
19/12/2023 14:30 | 2056.244 | 2169.204 | 1943.284
19/12/2023 15:00 | 2181.554 | 2301.758 | 2061.35
19/12/2023 15:30 | 2331.851 | 2460.722 | 2202.981
19/12/2023 16:00 | 2504.958 | 2643.808 | 2366.106
19/12/2023 16:30 | 2679.472 | 2828.439 | 2530.505
19/12/2023 17:00 | 2810.51 | 2967.038 | 2653.626
19/12/2023 17:30 | 2884.51 | 3045.659 | 2723.04
19/12/2023 18:00 | 2904.749 | 3067.679 | 2741.819
19/12/2023 18:30 | 2876.861 | 3038.702 | 2715.021
19/12/2023 19:00 | 2843.339 | 3003.763 | 2682.915
19/12/2023 19:30 | 2800.955 | 2959.45 | 2642.459
19/12/2023 20:00 | 2712.807 | 2866.762 | 2558.852
19/12/2023 20:30 | 2608.823 | 2757.308 | 2460.338
19/12/2023 21:00 | 2497.351 | 2639.904 | 2354.799
19/12/2023 21:30 | 2391.575 | 2528.485 | 2254.666
19/12/2023 22:00 | 2297.26 | 2429.149 | 2165.37
19/12/2023 22:30 | 2211.961 | 2339.319 | 2084.603
19/12/2023 23:00 | 2138.217 | 2261.681 | 2014.752
19/12/2023 23:30 | 2077.302 | 2197.592 | 1957.011
20/12/2023 00:00 | 2027.54 | 2145.283 | 1909.796
20/12/2023 00:30 | 1988.506 | 2104.312 | 1872.701
20/12/2023 01:00 | 1955.828 | 2070.053 | 1841.603
20/12/2023 01:30 | 1927.833 | 2040.742 | 1814.925
20/12/2023 02:00 | 1907.884 | 2019.939 | 1795.829
20/12/2023 02:30 | 1893.511 | 2005.035 | 1781.988
20/12/2023 03:00 | 1887.69 | 1999.182 | 1776.198
20/12/2023 03:30 | 1890.315 | 2002.274 | 1778.356
20/12/2023 04:00 | 1903.44 | 2016.491 | 1790.389
20/12/2023 04:30 | 1915.155 | 2029.218 | 1801.092
20/12/2023 05:00 | 1926.23 | 2041.271 | 1811.19
20/12/2023 05:30 | 1947.737 | 2064.384 | 1831.09
20/12/2023 06:00 | 1976.125 | 2094.797 | 1857.452
20/12/2023 06:30 | 1955.184 | 2072.922 | 1837.446
20/12/2023 07:00 | 1912.946 | 2028.456 | 1797.435
20/12/2023 07:30 | 1869.045 | 1982.249 | 1755.841
20/12/2023 08:00 | 1814.525 | 1924.829 | 1704.221
20/12/2023 08:30 | 1717.787 | 1822.586 | 1612.989
20/12/2023 09:00 | 1657.55 | 1759.036 | 1556.064
20/12/2023 09:30 | 1601.184 | 1699.568 | 1502.799
20/12/2023 10:00 | 1539.269 | 1634.186 | 1444.353
20/12/2023 10:30 | 1550.881 | 1646.853 | 1454.91
20/12/2023 11:00 | 1635.724 | 1737.303 | 1534.145
20/12/2023 11:30 | 1710.501 | 1817.097 | 1603.904
20/12/2023 12:00 | 1786.971 | 1898.724 | 1675.219
20/12/2023 12:30 | 1902.547 | 2021.943 | 1783.151
20/12/2023 13:00 | 2018.26 | 2145.359 | 1891.162
20/12/2023 13:30 | 2157.458 | 2293.794 | 2021.123
20/12/2023 14:00 | 2316.215 | 2463.089 | 2169.341
20/12/2023 14:30 | 2481.561 | 2639.462 | 2323.659
20/12/2023 15:00 | 2660.542 | 2830.414 | 2490.671
20/12/2023 15:30 | 2837.068 | 3018.83 | 2655.307
20/12/2023 16:00 | 3023.723 | 3218.104 | 2829.342
20/12/2023 16:30 | 3177.61 | 3382.577 | 2972.642
20/12/2023 17:00 | 3285.737 | 3498.397 | 3073.077
20/12/2023 17:30 | 3335.525 | 3552.137 | 3118.914
20/12/2023 18:00 | 3339.738 | 3557.352 | 3122.123
20/12/2023 18:30 | 3282.195 | 3496.777 | 3067.613
20/12/2023 19:00 | 3217.976 | 3429.062 | 3006.889
20/12/2023 19:30 | 3161.211 | 3369.265 | 2953.157
20/12/2023 20:00 | 3049.627 | 3251.003 | 2848.251
20/12/2023 20:30 | 2913.692 | 3106.728 | 2720.655
20/12/2023 21:00 | 2774.293 | 2958.7 | 2589.886
20/12/2023 21:30 | 2640.967 | 2817.089 | 2464.844
20/12/2023 22:00 | 2518.316 | 2686.809 | 2349.823
20/12/2023 22:30 | 2407.288 | 2568.878 | 2245.697
20/12/2023 23:00 | 2315.082 | 2470.989 | 2159.175
20/12/2023 23:30 | 2240.518 | 2391.893 | 2089.143
21/12/2023 00:00 | 2180.843 | 2328.662 | 2033.023
21/12/2023 00:30 | 2133.997 | 2279.108 | 1988.887
21/12/2023 01:00 | 2094.14 | 2236.997 | 1951.282
21/12/2023 01:30 | 2061.457 | 2202.535 | 1920.378
21/12/2023 02:00 | 2037.331 | 2177.204 | 1897.458
21/12/2023 02:30 | 2019.817 | 2158.928 | 1880.705
21/12/2023 03:00 | 2009.767 | 2148.625 | 1870.908
21/12/2023 03:30 | 2008.173 | 2147.361 | 1868.986
21/12/2023 04:00 | 2016.684 | 2156.902 | 1876.466
21/12/2023 04:30 | 2025.092 | 2166.336 | 1883.847
21/12/2023 05:00 | 2036.827 | 2179.336 | 1894.319
21/12/2023 05:30 | 2070.144 | 2215.436 | 1924.853
21/12/2023 06:00 | 2119.914 | 2269.162 | 1970.667
21/12/2023 06:30 | 2131.45 | 2281.976 | 1980.925
21/12/2023 07:00 | 2103.271 | 2252.266 | 1954.276
21/12/2023 07:30 | 2027.948 | 2172.05 | 1883.845
21/12/2023 08:00 | 1970.208 | 2110.638 | 1829.778
21/12/2023 08:30 | 1928.681 | 2066.573 | 1790.79
21/12/2023 09:00 | 1912.514 | 2049.668 | 1775.361
21/12/2023 09:30 | 1927.417 | 2066.06 | 1788.774
21/12/2023 10:00 | 1943.657 | 2083.893 | 1803.421
21/12/2023 10:30 | 2004.016 | 2149.045 | 1858.987
21/12/2023 11:00 | 2109.632 | 2262.765 | 1956.499
21/12/2023 11:30 | 2205.729 | 2366.319 | 2045.138
21/12/2023 12:00 | 2305.53 | 2473.89 | 2137.169
21/12/2023 12:30 | 2453.477 | 2633.177 | 2273.777
21/12/2023 13:00 | 2582.221 | 2771.915 | 2392.527
21/12/2023 13:30 | 2708.373 | 2907.926 | 2508.82
21/12/2023 14:00 | 2848.096 | 3058.566 | 2637.626
21/12/2023 14:30 | 2966.466 | 3186.332 | 2746.601
21/12/2023 15:00 | 3105.56 | 3336.413 | 2874.706
21/12/2023 15:30 | 3239.018 | 3480.5 | 2997.536
21/12/2023 16:00 | 3371.818 | 3623.937 | 3119.699
21/12/2023 16:30 | 3490.041 | 3751.762 | 3228.32
21/12/2023 17:00 | 3561.456 | 3829.311 | 3293.601
21/12/2023 17:30 | 3588.014 | 3858.65 | 3317.378
21/12/2023 18:00 | 3563.902 | 3833.498 | 3294.305
21/12/2023 18:30 | 3491.26 | 3756.125 | 3226.396
21/12/2023 19:00 | 3425.928 | 3686.584 | 3165.272
21/12/2023 19:30 | 3361.276 | 3617.747 | 3104.804
21/12/2023 20:00 | 3238.751 | 3486.581 | 2990.92
21/12/2023 20:30 | 3082.74 | 3319.306 | 2846.175
21/12/2023 21:00 | 2926.406 | 3151.614 | 2701.198
21/12/2023 21:30 | 2780.865 | 2995.48 | 2566.25
21/12/2023 22:00 | 2647.494 | 2852.395 | 2442.593
21/12/2023 22:30 | 2526.677 | 2722.78 | 2330.575
21/12/2023 23:00 | 2417.152 | 2605.282 | 2229.022
21/12/2023 23:30 | 2318.266 | 2499.206 | 2137.326
22/12/2023 00:00 | 2233.341 | 2408.14 | 2058.541
22/12/2023 00:30 | 2170.44 | 2340.79 | 2000.089
22/12/2023 01:00 | 2123.377 | 2290.498 | 1956.256
22/12/2023 01:30 | 2088.812 | 2253.669 | 1923.956
22/12/2023 02:00 | 2063.867 | 2227.205 | 1900.528
22/12/2023 02:30 | 2044.71 | 2206.979 | 1882.44
22/12/2023 03:00 | 2026.628 | 2187.906 | 1865.351
22/12/2023 03:30 | 2017.936 | 2178.963 | 1856.91
22/12/2023 04:00 | 2019.646 | 2181.25 | 1858.042
22/12/2023 04:30 | 2019.582 | 2181.622 | 1857.542
22/12/2023 05:00 | 2010.482 | 2172.232 | 1848.733
22/12/2023 05:30 | 2003.293 | 2164.902 | 1841.685
22/12/2023 06:00 | 1997.165 | 2158.716 | 1835.615
22/12/2023 06:30 | 1968.113 | 2127.743 | 1808.482
22/12/2023 07:00 | 1915.663 | 2071.458 | 1759.868
22/12/2023 07:30 | 1843.977 | 1994.327 | 1693.627
22/12/2023 08:00 | 1790.302 | 1936.617 | 1643.988
22/12/2023 08:30 | 1727.464 | 1868.973 | 1585.954
22/12/2023 09:00 | 1718.353 | 1859.445 | 1577.26
22/12/2023 09:30 | 1719.225 | 1860.719 | 1577.731
22/12/2023 10:00 | 1741.783 | 1885.467 | 1598.099
22/12/2023 10:30 | 1807.738 | 1957.209 | 1658.266
22/12/2023 11:00 | 1858.571 | 2012.602 | 1704.54
22/12/2023 11:30 | 1902.302 | 2060.322 | 1744.282
22/12/2023 12:00 | 1957.722 | 2120.721 | 1794.724
22/12/2023 12:30 | 2019.764 | 2188.315 | 1851.213
22/12/2023 13:00 | 2101.051 | 2276.788 | 1925.314
22/12/2023 13:30 | 2204.608 | 2389.429 | 2019.786
22/12/2023 14:00 | 2344.558 | 2541.561 | 2147.554
22/12/2023 14:30 | 2504.333 | 2715.242 | 2293.424
22/12/2023 15:00 | 2676.764 | 2902.708 | 2450.821
22/12/2023 15:30 | 2866.216 | 3108.7 | 2623.731
22/12/2023 16:00 | 3054.239 | 3313.216 | 2795.262
22/12/2023 16:30 | 3207.96 | 3480.586 | 2935.334
22/12/2023 17:00 | 3302.929 | 3584.259 | 3021.599
22/12/2023 17:30 | 3315.614 | 3598.659 | 3032.568
22/12/2023 18:00 | 3241.822 | 3519.19 | 2964.454
22/12/2023 18:30 | 3143.695 | 3413.27 | 2874.121
22/12/2023 19:00 | 3112.725 | 3380.24 | 2845.209
22/12/2023 19:30 | 3062.417 | 3326.195 | 2798.638
22/12/2023 20:00 | 2985.779 | 3243.529 | 2728.029
22/12/2023 20:30 | 2884.052 | 3133.573 | 2634.531
22/12/2023 21:00 | 2780.796 | 3021.917 | 2539.676
22/12/2023 21:30 | 2668.823 | 2900.747 | 2436.9
22/12/2023 22:00 | 2540.456 | 2761.711 | 2319.202
22/12/2023 22:30 | 2418.729 | 2629.846 | 2207.612
22/12/2023 23:00 | 2312.634 | 2514.934 | 2110.334
22/12/2023 23:30 | 2212.35 | 2408.927 | 2015.773
23/12/2023 00:00 | 2133.858 | 2328.778 | 1938.939
23/12/2023 00:30 | 2077.956 | 2267.437 | 1888.476
23/12/2023 01:00 | 2032.464 | 2217.9 | 1847.029
23/12/2023 01:30 | 1999.714 | 2182.264 | 1817.165
23/12/2023 02:00 | 1974.95 | 2155.34 | 1794.561
23/12/2023 02:30 | 1950.792 | 2129.075 | 1772.51
23/12/2023 03:00 | 1933.691 | 2110.51 | 1756.873
23/12/2023 03:30 | 1924.975 | 2101.094 | 1748.856
23/12/2023 04:00 | 1915.237 | 2090.562 | 1739.911
23/12/2023 04:30 | 1889.738 | 2062.826 | 1716.649
23/12/2023 05:00 | 1861.112 | 2031.673 | 1690.551
23/12/2023 05:30 | 1818.968 | 1985.759 | 1652.176
23/12/2023 06:00 | 1748.328 | 1908.731 | 1587.924
23/12/2023 06:30 | 1668.319 | 1821.467 | 1515.171
23/12/2023 07:00 | 1585.999 | 1731.67 | 1440.327
23/12/2023 07:30 | 1490.026 | 1626.958 | 1353.093
23/12/2023 08:00 | 1403.509 | 1532.563 | 1274.456
23/12/2023 08:30 | 1319.315 | 1440.694 | 1197.936
23/12/2023 09:00 | 1275.918 | 1393.37 | 1158.467
23/12/2023 09:30 | 1265.218 | 1381.749 | 1148.687
23/12/2023 10:00 | 1257.584 | 1373.476 | 1141.692
23/12/2023 10:30 | 1288.551 | 1407.363 | 1169.74
23/12/2023 11:00 | 1338.999 | 1462.53 | 1215.468
23/12/2023 11:30 | 1400.885 | 1530.198 | 1271.573
23/12/2023 12:00 | 1475.56 | 1611.841 | 1339.28
23/12/2023 12:30 | 1569.834 | 1714.902 | 1424.767
23/12/2023 13:00 | 1657.506 | 1810.76 | 1504.252
23/12/2023 13:30 | 1747.668 | 1909.347 | 1585.989
23/12/2023 14:00 | 1888.547 | 2063.355 | 1713.739
23/12/2023 14:30 | 2051.95 | 2241.989 | 1861.912
23/12/2023 15:00 | 2235.587 | 2442.747 | 2028.428
23/12/2023 15:30 | 2430.159 | 2655.472 | 2204.846
23/12/2023 16:00 | 2621.066 | 2864.213 | 2377.92
23/12/2023 16:30 | 2800.435 | 3060.364 | 2540.506
23/12/2023 17:00 | 2935.505 | 3208.121 | 2662.89
23/12/2023 17:30 | 3016.311 | 3296.276 | 2736.037
23/12/2023 18:00 | 2920.99 | 3192.257 | 2649.425
23/12/2023 18:30 | 2840.329 | 3104.25 | 2576.118
23/12/2023 19:00 | 2945.252 | 3219.073 | 2671.131
23/12/2023 19:30 | 2893.938 | 3163.136 | 2624.446
23/12/2023 20:00 | 2807.18 | 3068.45 | 2545.623
23/12/2023 20:30 | 2720.263 | 2973.583 | 2466.666
23/12/2023 21:00 | 2627.15 | 2871.933 | 2382.368
23/12/2023 21:30 | 2531.96 | 2768.003 | 2295.918
23/12/2023 22:00 | 2441.134 | 2668.833 | 2213.434
23/12/2023 22:30 | 2351.193 | 2570.623 | 2131.763
23/12/2023 23:00 | 2257.555 | 2468.361 | 2046.749
23/12/2023 23:30 | 2175.066 | 2378.28 | 1971.851
24/12/2023 00:00 | 2100.052 | 2296.365 | 1903.739
24/12/2023 00:30 | 2042.117 | 2233.118 | 1851.115
24/12/2023 01:00 | 1997.759 | 2210.172 | 1810.804
24/12/2023 01:30 | 1969.116 | 2175.754 | 1784.742
24/12/2023 02:00 | 1943.88 | 2145.107 | 1761.77
24/12/2023 02:30 | 1921.706 | 2119.511 | 1741.575
24/12/2023 03:00 | 1908.141 | 2104.238 | 1729.185
24/12/2023 03:30 | 1898.278 | 2089.745 | 1720.15
24/12/2023 04:00 | 1879.072 | 2065.144 | 1702.65
24/12/2023 04:30 | 1841.627 | 2020.844 | 1668.626
24/12/2023 05:00 | 1804.088 | 1970.106 | 1634.522
24/12/2023 05:30 | 1750.753 | 1901.367 | 1586.111
24/12/2023 06:00 | 1665.541 | 1800.756 | 1508.827
24/12/2023 06:30 | 1578.959 | 1699.527 | 1430.311
24/12/2023 07:00 | 1476.547 | 1615.629 | 1351.749
24/12/2023 07:30 | 1400.342 | 1532.317 | 1261.581
24/12/2023 08:00 | 1353.609 | 1481.249 | 1198.445
24/12/2023 08:30 | 1306.981 | 1430.475 | 1141.277
24/12/2023 09:00 | 1278.808 | 1400.243 | 1107.865
24/12/2023 09:30 | 1300.572 | 1424.656 | 1109.859
24/12/2023 10:00 | 1353.355 | 1483.08 | 1135.911
24/12/2023 10:30 | 1417.313 | 1553.802 | 1280.823
24/12/2023 11:00 | 1488.517 | 1632.53 | 1344.504
24/12/2023 11:30 | 1583.074 | 1736.943 | 1429.204
24/12/2023 12:00 | 1675.668 | 1839.287 | 1512.048
24/12/2023 12:30 | 1779.413 | 1953.958 | 1604.867
24/12/2023 13:00 | 1873.203 | 2057.786 | 1688.619
24/12/2023 13:30 | 1995.13 | 2192.621 | 1797.639
24/12/2023 14:00 | 2198.19 | 2416.765 | 1979.615
24/12/2023 14:30 | 2411.71 | 2652.596 | 2170.825
24/12/2023 15:00 | 2620.174 | 2883.054 | 2357.294
24/12/2023 15:30 | 2810.119 | 3093.313 | 2526.925
24/12/2023 16:00 | 2976.473 | 3277.763 | 2675.183
24/12/2023 16:30 | 3110.025 | 3426.226 | 2793.825
24/12/2023 17:00 | 3229.107 | 3558.86 | 2899.355
24/12/2023 17:30 | 3306.741 | 3645.902 | 2967.581
24/12/2023 18:00 | 3300.348 | 3640.33 | 2960.367
24/12/2023 18:30 | 3245.696 | 3581.5 | 2909.892
24/12/2023 19:00 | 3201.942 | 3534.652 | 2869.232
24/12/2023 19:30 | 3150.549 | 3479.328 | 2821.769
24/12/2023 20:00 | 3040.544 | 3359.205 | 2721.884
24/12/2023 20:30 | 2917.076 | 3224.102 | 2610.05
24/12/2023 21:00 | 2779.934 | 3073.769 | 2486.099
24/12/2023 21:30 | 2650.2 | 2931.509 | 2368.892
24/12/2023 22:00 | 2529.139 | 2798.729 | 2259.549
24/12/2023 22:30 | 2431.122 | 2691.352 | 2170.892
24/12/2023 23:00 | 2358.209 | 2611.689 | 2104.729
24/12/2023 23:30 | 2300.694 | 2550.702 | 2050.687
25/12/2023 00:00 | 2253.037 | 2502.042 | 2004.033
25/12/2023 00:30 | 2211.524 | 2456.391 | 1966.656
25/12/2023 01:00 | 2177.33 | 2419.141 | 1935.519
25/12/2023 01:30 | 2140.472 | 2378.908 | 1902.037
25/12/2023 02:00 | 2114.153 | 2350.365 | 1877.94
25/12/2023 02:30 | 2087.574 | 2321.517 | 1853.631
25/12/2023 03:00 | 2067.216 | 2299.571 | 1834.861
25/12/2023 03:30 | 2060.676 | 2292.987 | 1828.366
25/12/2023 04:00 | 2052.09 | 2284.121 | 1820.06
25/12/2023 04:30 | 2030.623 | 2260.907 | 1800.339
25/12/2023 05:00 | 2012.151 | 2241.015 | 1783.287
25/12/2023 05:30 | 1994.869 | 2222.436 | 1767.301
25/12/2023 06:00 | 1985.942 | 2213.157 | 1758.728
25/12/2023 06:30 | 1981.599 | 2208.981 | 1754.217
25/12/2023 07:00 | 1996.242 | 2225.974 | 1766.511
25/12/2023 07:30 | 2053.019 | 2289.973 | 1816.065