## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
21/12/2023 08:00 | 1996.72 | 2025.739 | 1969.301
21/12/2023 08:30 | 1964.945 | 1998.545 | 1931.345 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
21/12/2023 09:00 | 1970.768 | 2010.326 | 1931.21 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
21/12/2023 09:30 | 2042.287 | 2089.352 | 1995.223 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
21/12/2023 10:00 | 2119.553 | 2174.699 | 2064.407 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
21/12/2023 10:30 | 2189.073 | 2277.76 | 2152.494 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
21/12/2023 11:00 | 2289.843 | 2370.453 | 2236.321 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
21/12/2023 11:30 | 2393.088 | 2466.88 | 2322.81 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
21/12/2023 12:00 | 2500.929 | 2571.276 | 2416.445 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
21/12/2023 12:30 | 2628.191 | 2702.94 | 2535.288 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
21/12/2023 13:00 | 2736.661 | 2817.301 | 2637.465 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
21/12/2023 13:30 | 2847.322 | 2936.681 | 2743.928
21/12/2023 14:00 | 2974.609 | 3072.423 | 2865.229 | Summary view - for each schedule horizon (dispatch, week-ahead)
21/12/2023 14:30 | 3096.478 | 3202.97 | 2981.218
21/12/2023 15:00 | 3219.469 | 3334.452 | 3097.617 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
21/12/2023 15:30 | 3361.949 | 3484.815 | 3231.061 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
21/12/2023 16:00 | 3501.617 | 3637.296 | 3365.939 | Scenario | Violations
21/12/2023 16:30 | 3620.048 | 3763.802 | 3476.294 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
21/12/2023 17:00 | 3686.164 | 3836.093 | 3536.235 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
21/12/2023 17:30 | 3707.39 | 3861.753 | 3553.027 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 0 | 0 | 0 | 0 | 0
21/12/2023 18:00 | 3684.411 | 3841.365 | 3527.456 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0
21/12/2023 18:30 | 3608.036 | 3764.478 | 3451.594 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0
21/12/2023 19:00 | 3533.797 | 3688.281 | 3379.318
21/12/2023 19:30 | 3475.681 | 3628.984 | 3322.378 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
21/12/2023 20:00 | 3366.374 | 3516.173 | 3216.574
21/12/2023 20:30 | 3220.421 | 3364.986 | 3075.856 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
21/12/2023 21:00 | 3068.56 | 3207.509 | 2929.611 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
21/12/2023 21:30 | 2924.574 | 3058.148 | 2791 | [7 empty] | 21/12/2023 09:30 | [11 empty] | 21/12/2023 09:30 | [11 empty] | 21/12/2023 09:30
21/12/2023 22:00 | 2783.167 | 2911.372 | 2654.962 | [7 empty] | 21/12/2023 10:00 | [11 empty] | 23/12/2023 11:30 | [11 empty] | 21/12/2023 10:00
21/12/2023 22:30 | 2653.327 | 2776.589 | 2530.065 | [7 empty] | 22/12/2023 10:30 | [11 empty] | 23/12/2023 12:00 | [11 empty] | 22/12/2023 08:00
21/12/2023 23:00 | 2539.896 | 2658.883 | 2420.91 | [7 empty] | 22/12/2023 11:00 | [11 empty] | 23/12/2023 12:30 | [11 empty] | 22/12/2023 12:00
21/12/2023 23:30 | 2442.396 | 2557.771 | 2327.021 | [7 empty] | 22/12/2023 11:30 | [11 empty] | 23/12/2023 13:00 | [11 empty] | 22/12/2023 12:30
22/12/2023 00:00 | 2357 | 2469.263 | 2244.737 | [7 empty] | 23/12/2023 12:30 | [11 empty] | 23/12/2023 13:30 | [11 empty] | 22/12/2023 13:00
22/12/2023 00:30 | 2290.125 | 2400.099 | 2180.15 | [7 empty] | 23/12/2023 13:00 | [11 empty] | 23/12/2023 14:00 | [11 empty] | 22/12/2023 13:30
22/12/2023 01:00 | 2240.188 | 2348.642 | 2131.735 | [7 empty] | 23/12/2023 13:30 | [11 empty] | 24/12/2023 10:00 | [11 empty] | 23/12/2023 14:00
22/12/2023 01:30 | 2200.908 | 2308.321 | 2093.495 | [7 empty] | 23/12/2023 14:00 | [11 empty] | 24/12/2023 11:00 | [11 empty] | 23/12/2023 14:30
22/12/2023 02:00 | 2172.202 | 2279.064 | 2065.339 | [7 empty] | 24/12/2023 11:30 | [11 empty] | 24/12/2023 11:30 | [11 empty] | 24/12/2023 11:00
22/12/2023 02:30 | 2149.6 | 2256.192 | 2043.008 | [7 empty] | 24/12/2023 12:00 | [11 empty] | 24/12/2023 12:00 | [11 empty] | 24/12/2023 12:00
22/12/2023 03:00 | 2125.875 | 2230.103 | 2019.628 | [7 empty] | 24/12/2023 12:30 | [11 empty] | 24/12/2023 12:30 | [11 empty] | 24/12/2023 12:30
22/12/2023 03:30 | 2113.072 | 2217.514 | 2006.637 | [7 empty] | 24/12/2023 13:00 | [11 empty] | 24/12/2023 13:00 | [11 empty] | 24/12/2023 13:00
22/12/2023 04:00 | 2111.835 | 2217.059 | 2004.636 | [7 empty] | 25/12/2023 09:30 | [11 empty] | 25/12/2023 11:00 | [11 empty] | 24/12/2023 13:30
22/12/2023 04:30 | 2108.501 | 2214.404 | 2000.646 | [7 empty] | 25/12/2023 10:00 | [11 empty] | 25/12/2023 11:30 | [11 empty] | 25/12/2023 10:30
22/12/2023 05:00 | 2103.679 | 2210.176 | 1995.247 | [7 empty] | 25/12/2023 10:30 | [11 empty] | 25/12/2023 12:00 | [11 empty] | 25/12/2023 11:00
22/12/2023 05:30 | 2111.621 | 2219.636 | 2002.208 | [7 empty] | 25/12/2023 11:00 | [11 empty] | 25/12/2023 12:30 | [11 empty] | 25/12/2023 11:30
22/12/2023 06:00 | 2141.083 | 2251.443 | 2029.287 | [7 empty] | 25/12/2023 11:30 | [11 empty] | 25/12/2023 13:30 | [11 empty] | 25/12/2023 12:00
22/12/2023 06:30 | 2167.255 | 2279.812 | 2054.698 | [7 empty] | 25/12/2023 12:00 | [11 empty] | 26/12/2023 11:30 | [11 empty] | 25/12/2023 12:30
22/12/2023 07:00 | 2149.717 | 2262.204 | 2037.229 | [7 empty] | 25/12/2023 12:30 | [11 empty] | 26/12/2023 12:00 | [11 empty] | 25/12/2023 13:00
22/12/2023 07:30 | 2068.498 | 2177.378 | 1959.617 | [7 empty] | 25/12/2023 13:00 | [11 empty] | 26/12/2023 12:30 | [11 empty] | 25/12/2023 13:30
22/12/2023 08:00 | 1992.479 | 2096.362 | 1887.298 | [7 empty] | 25/12/2023 13:30 | [11 empty] | 26/12/2023 13:00 | [11 empty] | 25/12/2023 14:00
22/12/2023 08:30 | 1898.305 | 1997.505 | 1797.782 | [19 empty] | 26/12/2023 13:30 | [11 empty] | 25/12/2023 14:30
22/12/2023 09:00 | 1855.999 | 1953.178 | 1757.41 | [19 empty] | 27/12/2023 12:00
22/12/2023 09:30 | 1839.815 | 1937.849 | 1743.133 | [19 empty] | 27/12/2023 12:30
22/12/2023 10:00 | 1854.437 | 1953.555 | 1756.792
22/12/2023 10:30 | 1899.934 | 2001.797 | 1799.659
22/12/2023 11:00 | 1931.612 | 2035.493 | 1829.364
22/12/2023 11:30 | 1953.71 | 2059.102 | 1848.318
22/12/2023 12:00 | 1984.494 | 2091.874 | 1877.114
22/12/2023 12:30 | 2024.208 | 2134.071 | 1914.344
22/12/2023 13:00 | 2084.078 | 2197.535 | 1970.621
22/12/2023 13:30 | 2153.803 | 2271.411 | 2036.194
22/12/2023 14:00 | 2258.304 | 2381.991 | 2134.616
22/12/2023 14:30 | 2397.7 | 2529.419 | 2265.982
22/12/2023 15:00 | 2556.639 | 2697.511 | 2415.768
22/12/2023 15:30 | 2729.576 | 2880.427 | 2578.725
22/12/2023 16:00 | 2900.592 | 3061.373 | 2739.811
22/12/2023 16:30 | 3045.588 | 3214.91 | 2876.267
22/12/2023 17:00 | 3132.29 | 3306.949 | 2957.632
22/12/2023 17:30 | 3138.447 | 3313.967 | 2962.927
22/12/2023 18:00 | 3118.809 | 3293.746 | 2943.873
22/12/2023 18:30 | 3055.135 | 3227.005 | 2883.266
22/12/2023 19:00 | 2953.575 | 3120.219 | 2786.931
22/12/2023 19:30 | 2911.496 | 3076.247 | 2746.746
22/12/2023 20:00 | 2841.269 | 3002.515 | 2680.023
22/12/2023 20:30 | 2751.23 | 2907.821 | 2594.64
22/12/2023 21:00 | 2659.083 | 2810.867 | 2507.299
22/12/2023 21:30 | 2559.411 | 2705.929 | 2412.893
22/12/2023 22:00 | 2440.713 | 2580.838 | 2300.587
22/12/2023 22:30 | 2331.329 | 2465.56 | 2197.099
22/12/2023 23:00 | 2242.409 | 2371.89 | 2112.928
22/12/2023 23:30 | 2159.13 | 2288.486 | 2029.775
23/12/2023 00:00 | 2096.973 | 2231.291 | 1962.654
23/12/2023 00:30 | 2049.875 | 2180.871 | 1918.88
23/12/2023 01:00 | 2011.409 | 2140.331 | 1882.487
23/12/2023 01:30 | 1980.611 | 2107.937 | 1853.285
23/12/2023 02:00 | 1957.013 | 2083.196 | 1830.83
23/12/2023 02:30 | 1934.891 | 2060.018 | 1809.765
23/12/2023 03:00 | 1918.337 | 2043.004 | 1793.914
23/12/2023 03:30 | 1909.541 | 2033.953 | 1785.324
23/12/2023 04:00 | 1897.822 | 2021.606 | 1774.005
23/12/2023 04:30 | 1872.755 | 1995.289 | 1750.216
23/12/2023 05:00 | 1854.046 | 1975.702 | 1732.376
23/12/2023 05:30 | 1824.983 | 1945.155 | 1704.872
23/12/2023 06:00 | 1765.019 | 1881.529 | 1648.518
23/12/2023 06:30 | 1696.149 | 1808.281 | 1583.869
23/12/2023 07:00 | 1619.109 | 1728.19 | 1511.619
23/12/2023 07:30 | 1533.843 | 1618.661 | 1431.695
23/12/2023 08:00 | 1476.7 | 1548.991 | 1378.001
23/12/2023 08:30 | 1414.372 | 1511.062 | 1319.501
23/12/2023 09:00 | 1381.939 | 1474.965 | 1288.913
23/12/2023 09:30 | 1379.485 | 1472.676 | 1286.295
23/12/2023 10:00 | 1392.231 | 1486.615 | 1297.847
23/12/2023 10:30 | 1423.35 | 1520.184 | 1326.517
23/12/2023 11:00 | 1475.797 | 1576.551 | 1375.042
23/12/2023 11:30 | 1535.691 | 1640.901 | 1430.48
23/12/2023 12:00 | 1604.219 | 1714.507 | 1493.931
23/12/2023 12:30 | 1683.293 | 1799.42 | 1567.167
23/12/2023 13:00 | 1756.136 | 1877.708 | 1634.565
23/12/2023 13:30 | 1844.634 | 1972.773 | 1716.496
23/12/2023 14:00 | 1972.832 | 2110.347 | 1835.317
23/12/2023 14:30 | 2133.06 | 2282.253 | 1983.867
23/12/2023 15:00 | 2300.663 | 2462.128 | 2139.198
23/12/2023 15:30 | 2467.151 | 2640.89 | 2293.412
23/12/2023 16:00 | 2639.708 | 2826.229 | 2453.186
23/12/2023 16:30 | 2798.571 | 2996.986 | 2600.156
23/12/2023 17:00 | 2914.289 | 3121.604 | 2706.974
23/12/2023 17:30 | 2970.452 | 3182.472 | 2758.432
23/12/2023 18:00 | 2989.814 | 3203.93 | 2775.698
23/12/2023 18:30 | 2958.186 | 3170.744 | 2745.628
23/12/2023 19:00 | 2887.156 | 3095.3 | 2679.012
23/12/2023 19:30 | 2857.84 | 3064.553 | 2651.127
23/12/2023 20:00 | 2784.527 | 2986.602 | 2582.451
23/12/2023 20:30 | 2705.263 | 2902.233 | 2508.294
23/12/2023 21:00 | 2620.617 | 2812.05 | 2429.185
23/12/2023 21:30 | 2535.088 | 2720.879 | 2349.298
23/12/2023 22:00 | 2448.476 | 2628.503 | 2268.448
23/12/2023 22:30 | 2359.125 | 2533.146 | 2185.104
23/12/2023 23:00 | 2268.484 | 2436.361 | 2100.607
23/12/2023 23:30 | 2184.867 | 2347.078 | 2022.656
24/12/2023 00:00 | 2110.094 | 2267.258 | 1952.931
24/12/2023 00:30 | 2051.664 | 2204.966 | 1898.362
24/12/2023 01:00 | 2004.709 | 2154.981 | 1854.437
24/12/2023 01:30 | 1972.532 | 2120.864 | 1824.201
24/12/2023 02:00 | 1945.592 | 2092.363 | 1798.822
24/12/2023 02:30 | 1922.42 | 2067.902 | 1776.939
24/12/2023 03:00 | 1906.454 | 2051.182 | 1761.725
24/12/2023 03:30 | 1893.251 | 2037.429 | 1749.072
24/12/2023 04:00 | 1872.255 | 2015.281 | 1729.228
24/12/2023 04:30 | 1832.429 | 1972.852 | 1692.007
24/12/2023 05:00 | 1793.841 | 1931.735 | 1655.948
24/12/2023 05:30 | 1756.865 | 1892.336 | 1621.395
24/12/2023 06:00 | 1683.621 | 1813.846 | 1553.396
24/12/2023 06:30 | 1572.28 | 1694.268 | 1450.291
24/12/2023 07:00 | 1479.048 | 1594.156 | 1363.939
24/12/2023 07:30 | 1402.912 | 1512.43 | 1293.394
24/12/2023 08:00 | 1355.619 | 1461.77 | 1249.469
24/12/2023 08:30 | 1314.44 | 1417.68 | 1211.201
24/12/2023 09:00 | 1283.056 | 1384.137 | 1181.975
24/12/2023 09:30 | 1283.552 | 1384.979 | 1182.126
24/12/2023 10:00 | 1318.831 | 1423.361 | 1214.302
24/12/2023 10:30 | 1371.299 | 1480.314 | 1262.283
24/12/2023 11:00 | 1428.706 | 1542.627 | 1314.785
24/12/2023 11:30 | 1514.631 | 1635.765 | 1393.497
24/12/2023 12:00 | 1609.887 | 1739.024 | 1480.751
24/12/2023 12:30 | 1721.255 | 1859.736 | 1582.774
24/12/2023 13:00 | 1814.828 | 1961.271 | 1668.385
24/12/2023 13:30 | 1913.621 | 2068.493 | 1758.749
24/12/2023 14:00 | 2061.11 | 2228.411 | 1893.809
24/12/2023 14:30 | 2223.497 | 2404.51 | 2042.484
24/12/2023 15:00 | 2402.545 | 2598.708 | 2206.382
24/12/2023 15:30 | 2598.854 | 2811.666 | 2386.042
24/12/2023 16:00 | 2791.155 | 3020.38 | 2561.929
24/12/2023 16:30 | 2971.155 | 3215.873 | 2726.437
24/12/2023 17:00 | 3114.673 | 3371.955 | 2857.39
24/12/2023 17:30 | 3184.73 | 3448.56 | 2920.899
24/12/2023 18:00 | 3190.831 | 3455.929 | 2925.733
24/12/2023 18:30 | 3147.555 | 3409.81 | 2885.301
24/12/2023 19:00 | 3085.73 | 3343.57 | 2827.889
24/12/2023 19:30 | 3040.667 | 3295.469 | 2785.866
24/12/2023 20:00 | 2939.214 | 3186.216 | 2692.212
24/12/2023 20:30 | 2824.788 | 3062.849 | 2586.728
24/12/2023 21:00 | 2698.792 | 2926.88 | 2470.705
24/12/2023 21:30 | 2578.988 | 2797.565 | 2360.41
24/12/2023 22:00 | 2467.49 | 2677.207 | 2257.772
24/12/2023 22:30 | 2375.552 | 2578.022 | 2173.081
24/12/2023 23:00 | 2307.106 | 2504.295 | 2109.918
24/12/2023 23:30 | 2253.142 | 2440.105 | 2066.179
25/12/2023 00:00 | 2209.268 | 2381.156 | 2037.38
25/12/2023 00:30 | 2168.174 | 2338.347 | 1998.001
25/12/2023 01:00 | 2132.842 | 2300.708 | 1964.977
25/12/2023 01:30 | 2097.945 | 2263.522 | 1932.368
25/12/2023 02:00 | 2070.849 | 2234.74 | 1906.957
25/12/2023 02:30 | 2045.494 | 2207.825 | 1883.162
25/12/2023 03:00 | 2024.929 | 2186.071 | 1863.787
25/12/2023 03:30 | 2017.896 | 2178.92 | 1856.873
25/12/2023 04:00 | 2008.049 | 2167.848 | 1847.373
25/12/2023 04:30 | 1984.629 | 2142.998 | 1825.393
25/12/2023 05:00 | 1955.537 | 2112.011 | 1798.208
25/12/2023 05:30 | 1914.537 | 2068.149 | 1760.089
25/12/2023 06:00 | 1871.523 | 2022.093 | 1720.136
25/12/2023 06:30 | 1827.711 | 1975.156 | 1679.468
25/12/2023 07:00 | 1775.631 | 1919.262 | 1631.224
25/12/2023 07:30 | 1727.741 | 1867.875 | 1586.868
25/12/2023 08:00 | 1726.112 | 1866.492 | 1585.044
25/12/2023 08:30 | 1735.562 | 1877.073 | 1593.389
25/12/2023 09:00 | 1784.298 | 1930.122 | 1637.791
25/12/2023 09:30 | 1837.994 | 1988.558 | 1686.725
25/12/2023 10:00 | 1812.292 | 1961.098 | 1662.792
25/12/2023 10:30 | 1875.105 | 2029.428 | 1720.063
25/12/2023 11:00 | 1909.42 | 2066.933 | 1751.175
25/12/2023 11:30 | 1909.227 | 2067.09 | 1750.632
25/12/2023 12:00 | 1910.297 | 2068.615 | 1751.247
25/12/2023 12:30 | 1959.284 | 2122.036 | 1795.78
25/12/2023 13:00 | 2072.386 | 2244.931 | 1899.046
25/12/2023 13:30 | 2100.241 | 2275.508 | 1924.169
25/12/2023 14:00 | 2218.887 | 2404.481 | 2032.443
25/12/2023 14:30 | 2384.665 | 2584.582 | 2183.834
25/12/2023 15:00 | 2552.087 | 2766.528 | 2336.667
25/12/2023 15:30 | 2744.358 | 2975.481 | 2512.183
25/12/2023 16:00 | 2888.015 | 3131.79 | 2643.133
25/12/2023 16:30 | 2980.743 | 3232.917 | 2727.427
25/12/2023 17:00 | 3034.213 | 3291.492 | 2776.935
25/12/2023 17:30 | 3061.176 | 3321.328 | 2801.024
25/12/2023 18:00 | 3059.939 | 3320.573 | 2799.306
25/12/2023 18:30 | 2999.945 | 3256.043 | 2743.847
25/12/2023 19:00 | 2940.693 | 3192.297 | 2689.09
25/12/2023 19:30 | 2904.972 | 3154.076 | 2655.868
25/12/2023 20:00 | 2832.669 | 3076.116 | 2589.223
25/12/2023 20:30 | 2738.11 | 2973.955 | 2502.265
25/12/2023 21:00 | 2633.303 | 2860.625 | 2405.981
25/12/2023 21:30 | 2531.848 | 2750.897 | 2312.799
25/12/2023 22:00 | 2436.912 | 2648.215 | 2225.609
25/12/2023 22:30 | 2345.02 | 2548.804 | 2141.236
25/12/2023 23:00 | 2255.299 | 2451.719 | 2058.88
25/12/2023 23:30 | 2173.736 | 2363.469 | 1984.003
26/12/2023 00:00 | 2095.455 | 2278.756 | 1912.153
26/12/2023 00:30 | 2038.82 | 2217.558 | 1860.082
26/12/2023 01:00 | 2001.857 | 2177.739 | 1825.976
26/12/2023 01:30 | 1974.783 | 2148.664 | 1800.901
26/12/2023 02:00 | 1954.895 | 2127.399 | 1782.39
26/12/2023 02:30 | 1936.61 | 2107.873 | 1765.348
26/12/2023 03:00 | 1923.003 | 2093.431 | 1752.575
26/12/2023 03:30 | 1913.839 | 2083.822 | 1743.857
26/12/2023 04:00 | 1905.256 | 2074.841 | 1735.671
26/12/2023 04:30 | 1882.406 | 2050.319 | 1714.494
26/12/2023 05:00 | 1861.894 | 2028.333 | 1695.455
26/12/2023 05:30 | 1851.392 | 2017.247 | 1685.537
26/12/2023 06:00 | 1817.754 | 1980.945 | 1654.564
26/12/2023 06:30 | 1730.51 | 1886.2 | 1574.821
26/12/2023 07:00 | 1640.194 | 1788.072 | 1492.315
26/12/2023 07:30 | 1552.082 | 1692.314 | 1411.85
26/12/2023 08:00 | 1492.51 | 1627.646 | 1357.375
26/12/2023 08:30 | 1545.586 | 1685.823 | 1405.349
26/12/2023 09:00 | 1573.91 | 1717.019 | 1430.801
26/12/2023 09:30 | 1515.905 | 1654.031 | 1377.78
26/12/2023 10:00 | 1488.047 | 1623.92 | 1352.175
26/12/2023 10:30 | 1501.859 | 1639.281 | 1364.438
26/12/2023 11:00 | 1520.256 | 1659.652 | 1380.86
26/12/2023 11:30 | 1541.719 | 1683.379 | 1400.06
26/12/2023 12:00 | 1564.005 | 1708.012 | 1419.998
26/12/2023 12:30 | 1597.771 | 1745.193 | 1450.349
26/12/2023 13:00 | 1623.582 | 1773.697 | 1473.467
26/12/2023 13:30 | 1616.636 | 1766.418 | 1466.853
26/12/2023 14:00 | 1648.029 | 1801.036 | 1495.022
26/12/2023 14:30 | 1706.041 | 1864.761 | 1547.321
26/12/2023 15:00 | 1813.323 | 1982.371 | 1644.274
26/12/2023 15:30 | 2037.413 | 2227.743 | 1847.083
26/12/2023 16:00 | 2224.542 | 2432.78 | 2016.305
26/12/2023 16:30 | 2327.64 | 2545.975 | 2109.306
26/12/2023 17:00 | 2414.98 | 2641.97 | 2187.99
26/12/2023 17:30 | 2489.932 | 2724.444 | 2255.42
26/12/2023 18:00 | 2510.417 | 2747.34 | 2273.495
26/12/2023 18:30 | 2472.131 | 2705.914 | 2238.348
26/12/2023 19:00 | 2455.797 | 2688.507 | 2223.088
26/12/2023 19:30 | 2439.973 | 2671.65 | 2208.296
26/12/2023 20:00 | 2393.2 | 2620.895 | 2165.505
26/12/2023 20:30 | 2314.646 | 2535.311 | 2093.981
26/12/2023 21:00 | 2229.713 | 2442.708 | 2016.718
26/12/2023 21:30 | 2158.267 | 2364.851 | 1951.683
26/12/2023 22:00 | 2092.485 | 2293.174 | 1891.797
26/12/2023 22:30 | 2025.969 | 2220.666 | 1831.272
26/12/2023 23:00 | 1970.7 | 2160.463 | 1780.936
26/12/2023 23:30 | 1921.384 | 2106.767 | 1736.001
27/12/2023 00:00 | 1875.27 | 2056.563 | 1693.977
27/12/2023 00:30 | 1840.226 | 2018.484 | 1661.968
27/12/2023 01:00 | 1817.679 | 1994.101 | 1641.257
27/12/2023 01:30 | 1799.783 | 1974.813 | 1624.753
27/12/2023 02:00 | 1787.083 | 1961.22 | 1612.945
27/12/2023 02:30 | 1778.121 | 1951.727 | 1604.516
27/12/2023 03:00 | 1776.755 | 1950.568 | 1602.943
27/12/2023 03:30 | 1780.484 | 1955.002 | 1605.965
27/12/2023 04:00 | 1785.709 | 1961.081 | 1610.336
27/12/2023 04:30 | 1793.141 | 1969.587 | 1616.694
27/12/2023 05:00 | 1791.354 | 1967.968 | 1614.74
27/12/2023 05:30 | 1789.688 | 1966.481 | 1612.895
27/12/2023 06:00 | 1792.588 | 1970.01 | 1615.165
27/12/2023 06:30 | 1776.565 | 1952.742 | 1600.388
27/12/2023 07:00 | 1729.472 | 1901.31 | 1557.633
27/12/2023 07:30 | 1651.964 | 1816.418 | 1487.509
27/12/2023 08:00 | 1571.983 | 1728.776 | 1415.19
27/12/2023 08:30 | 1453.841 | 1599.203 | 1308.478
27/12/2023 09:00 | 1378.943 | 1517.292 | 1240.595
27/12/2023 09:30 | 1351.804 | 1487.882 | 1215.725
27/12/2023 10:00 | 1344.805 | 1480.63 | 1208.98
27/12/2023 10:30 | 1363.061 | 1501.187 | 1224.935
27/12/2023 11:00 | 1416.96 | 1561.022 | 1272.897
27/12/2023 11:30 | 1484.645 | 1636.088 | 1333.203
27/12/2023 12:00 | 1520.173 | 1675.749 | 1364.597
27/12/2023 12:30 | 1520.705 | 1676.846 | 1364.565
27/12/2023 13:00 | 1523.612 | 1680.562 | 1366.663
27/12/2023 13:30 | 1503.578 | 1658.968 | 1348.188
27/12/2023 14:00 | 1515.752 | 1672.908 | 1358.595
27/12/2023 14:30 | 1649.251 | 1820.802 | 1477.7
27/12/2023 15:00 | 1802.044 | 1990.092 | 1613.995
27/12/2023 15:30 | 1982.871 | 2190.454 | 1775.288
27/12/2023 16:00 | 2184.757 | 2414.208 | 1955.307
27/12/2023 16:30 | 2370.155 | 2619.871 | 2120.438
27/12/2023 17:00 | 2513.913 | 2779.618 | 2248.208
27/12/2023 17:30 | 2597.78 | 2873.22 | 2322.339
27/12/2023 18:00 | 2659.956 | 2942.881 | 2377.031
27/12/2023 18:30 | 2642.299 | 2924.232 | 2360.367
27/12/2023 19:00 | 2540.563 | 2812.492 | 2268.634
27/12/2023 19:30 | 2526.195 | 2797.433 | 2254.956
27/12/2023 20:00 | 2469.118 | 2735.056 | 2203.18
27/12/2023 20:30 | 2388.135 | 2646.152 | 2130.119
27/12/2023 21:00 | 2301.568 | 2551.004 | 2052.133
27/12/2023 21:30 | 2227.604 | 2469.77 | 1985.437
27/12/2023 22:00 | 2157.613 | 2392.894 | 1922.332
27/12/2023 22:30 | 2084.625 | 2312.645 | 1856.604
27/12/2023 23:00 | 2023.423 | 2245.427 | 1801.418
27/12/2023 23:30 | 1969.973 | 2186.773 | 1753.172
28/12/2023 00:00 | 1922.186 | 2134.372 | 1709.999
28/12/2023 00:30 | 1882.613 | 2091.062 | 1674.164
28/12/2023 01:00 | 1855.393 | 2061.451 | 1649.336
28/12/2023 01:30 | 1833.632 | 2037.887 | 1629.376
28/12/2023 02:00 | 1818.859 | 2022.078 | 1615.639
28/12/2023 02:30 | 1807.717 | 2010.298 | 1605.136
28/12/2023 03:00 | 1803.067 | 2005.732 | 1600.403
28/12/2023 03:30 | 1804.891 | 2008.366 | 1601.417
28/12/2023 04:00 | 1811.111 | 2015.895 | 1606.328
28/12/2023 04:30 | 1818.856 | 2025.125 | 1612.588
28/12/2023 05:00 | 1802.578 | 2007.605 | 1597.551
28/12/2023 05:30 | 1763.166 | 1964.301 | 1562.031
28/12/2023 06:00 | 1719.265 | 1915.969 | 1522.561
28/12/2023 06:30 | 1650.877 | 1840.31 | 1461.444
28/12/2023 07:00 | 1539.275 | 1716.418 | 1362.132
28/12/2023 07:30 | 1394.419 | 1555.359 | 1233.479