## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
22/12/2023 08:00 | 1954.18 | 1984.418 | 1929.132
22/12/2023 08:30 | 1919.702 | 1952.528 | 1886.876 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
22/12/2023 09:00 | 1896.382 | 1934.447 | 1858.317 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
22/12/2023 09:30 | 1875.471 | 1918.691 | 1832.251 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
22/12/2023 10:00 | 1883.905 | 1932.92 | 1834.89 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
22/12/2023 10:30 | 1904.326 | 1958.172 | 1850.481 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
22/12/2023 11:00 | 1930.271 | 1986.474 | 1874.069 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
22/12/2023 11:30 | 1944.99 | 2003.494 | 1886.486 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
22/12/2023 12:00 | 1966.436 | 2027.479 | 1905.393 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
22/12/2023 12:30 | 2002.518 | 2066.61 | 1938.426 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
22/12/2023 13:00 | 2060.525 | 2128.457 | 1992.592 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
22/12/2023 13:30 | 2128.715 | 2200.946 | 2056.484
22/12/2023 14:00 | 2231.034 | 2308.885 | 2153.182 | Summary view - for each schedule horizon (dispatch, week-ahead)
22/12/2023 14:30 | 2361.804 | 2442.573 | 2273.466
22/12/2023 15:00 | 2503.681 | 2594.302 | 2410.037 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
22/12/2023 15:30 | 2660.974 | 2757.671 | 2556.865 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
22/12/2023 16:00 | 2822.21 | 2927.284 | 2708.897 | Scenario | Violations
22/12/2023 16:30 | 2960.191 | 3074.609 | 2839.748 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
22/12/2023 17:00 | 3042.602 | 3160.595 | 2913.539 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
22/12/2023 17:30 | 3058.342 | 3179.219 | 2925.058 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0
22/12/2023 18:00 | 3035.927 | 3160.067 | 2901.833 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0
22/12/2023 18:30 | 2975.935 | 3100.808 | 2843.085 | Low Demand Scenario | 0 | 0 | 0 | 0 | 3 | 2 | 24 | 0 | 5 | 5 | 0 | 1
22/12/2023 19:00 | 2900.757 | 3027.566 | 2773.948
22/12/2023 19:30 | 2865.328 | 2991.71 | 2738.946 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
22/12/2023 20:00 | 2802.638 | 2927.352 | 2677.924
22/12/2023 20:30 | 2720.019 | 2842.12 | 2597.917 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
22/12/2023 21:00 | 2633.996 | 2753.268 | 2514.725 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
22/12/2023 21:30 | 2538.297 | 2654.228 | 2422.365 | [7 empty] | 23/12/2023 12:30 | [11 empty] | 23/12/2023 12:00 | [9 empty] | 27/12/2023 10:30 | 27/12/2023 10:30 | 23/12/2023 07:30 |  | 27/12/2023 10:00 | 27/12/2023 10:00 |  | 23/12/2023 17:30
22/12/2023 22:00 | 2424.198 | 2535.867 | 2312.529 | [7 empty] | 23/12/2023 13:00 | [11 empty] | 23/12/2023 12:30 | [9 empty] | 27/12/2023 11:00 | 27/12/2023 11:00 | 23/12/2023 10:30 |  | 27/12/2023 10:30 | 27/12/2023 10:30
22/12/2023 22:30 | 2320.048 | 2427.827 | 2212.269 | [7 empty] | 23/12/2023 13:30 | [11 empty] | 23/12/2023 13:00 | [9 empty] | 27/12/2023 11:30 |  | 23/12/2023 13:30 |  | 27/12/2023 11:00 | 27/12/2023 11:00
22/12/2023 23:00 | 2234.655 | 2339.342 | 2129.968 | [7 empty] | 24/12/2023 09:00 | [11 empty] | 24/12/2023 09:00 | [11 empty] | 23/12/2023 14:00 |  | 27/12/2023 11:30 | 27/12/2023 11:30
22/12/2023 23:30 | 2153.065 | 2259.707 | 2046.424 | [7 empty] | 24/12/2023 10:00 | [11 empty] | 24/12/2023 09:30 | [11 empty] | 23/12/2023 14:30 |  | 27/12/2023 12:00 | 27/12/2023 12:00
23/12/2023 00:00 | 2092.469 | 2206.329 | 1978.609 | [7 empty] | 24/12/2023 10:30 | [11 empty] | 24/12/2023 10:00 | [11 empty] | 24/12/2023 09:30
23/12/2023 00:30 | 2046.062 | 2157.119 | 1935.004 | [7 empty] | 24/12/2023 11:00 | [11 empty] | 24/12/2023 10:30 | [11 empty] | 24/12/2023 10:00
23/12/2023 01:00 | 2008.404 | 2117.945 | 1898.862 | [7 empty] | 24/12/2023 11:30 | [11 empty] | 24/12/2023 11:00 | [11 empty] | 24/12/2023 10:30
23/12/2023 01:30 | 1978.093 | 2086.502 | 1869.684 | [7 empty] | 24/12/2023 12:00 | [11 empty] | 24/12/2023 11:30 | [11 empty] | 24/12/2023 11:00
23/12/2023 02:00 | 1954.764 | 2062.41 | 1847.119 | [7 empty] | 25/12/2023 08:00 | [11 empty] | 24/12/2023 12:00 | [11 empty] | 24/12/2023 11:30
23/12/2023 02:30 | 1933.295 | 2040.268 | 1826.323 | [7 empty] | 25/12/2023 11:30 | [11 empty] | 26/12/2023 11:00 | [11 empty] | 24/12/2023 12:00
23/12/2023 03:00 | 1917.764 | 2024.382 | 1811.146 | [7 empty] | 25/12/2023 12:00 | [11 empty] | 26/12/2023 11:30 | [11 empty] | 24/12/2023 12:30
23/12/2023 03:30 | 1909.352 | 2016.005 | 1802.699 | [7 empty] | 25/12/2023 12:30 | [11 empty] | 26/12/2023 13:30 | [11 empty] | 25/12/2023 08:30
23/12/2023 04:00 | 1897.136 | 2003.606 | 1790.666 | [7 empty] | 26/12/2023 14:00 | [11 empty] | 28/12/2023 13:30 | [11 empty] | 25/12/2023 10:00
23/12/2023 04:30 | 1871.517 | 1977.042 | 1765.992 | [7 empty] | 26/12/2023 14:30 | [11 empty] | 28/12/2023 14:00 | [11 empty] | 25/12/2023 10:30
23/12/2023 05:00 | 1852.384 | 1957.318 | 1747.45 | [19 empty] | 28/12/2023 14:30 | [11 empty] | 25/12/2023 11:00
23/12/2023 05:30 | 1822.169 | 1925.871 | 1718.467 | [31 empty] | 25/12/2023 11:30
23/12/2023 06:00 | 1763.967 | 1864.821 | 1663.113 | [31 empty] | 25/12/2023 12:00
23/12/2023 06:30 | 1700.615 | 1798.251 | 1602.979 | [31 empty] | 25/12/2023 12:30
23/12/2023 07:00 | 1630.317 | 1724.221 | 1536.412 | [31 empty] | 25/12/2023 13:00
23/12/2023 07:30 | 1534.89 | 1623.591 | 1446.188 | [31 empty] | 25/12/2023 13:30
23/12/2023 08:00 | 1456.5 | 1540.949 | 1372.051 | [31 empty] | 25/12/2023 14:00
23/12/2023 08:30 | 1393.804 | 1474.885 | 1312.724 | [31 empty] | 27/12/2023 10:30
23/12/2023 09:00 | 1358.444 | 1437.727 | 1279.161 | [31 empty] | 27/12/2023 11:00
23/12/2023 09:30 | 1352.273 | 1431.454 | 1273.091
23/12/2023 10:00 | 1365.527 | 1445.745 | 1285.309
23/12/2023 10:30 | 1398.815 | 1481.256 | 1316.374
23/12/2023 11:00 | 1451.111 | 1536.911 | 1365.31
23/12/2023 11:30 | 1511.335 | 1600.986 | 1421.685
23/12/2023 12:00 | 1587.807 | 1682.297 | 1493.317
23/12/2023 12:30 | 1676.762 | 1776.866 | 1576.658
23/12/2023 13:00 | 1757.736 | 1863.009 | 1652.462
23/12/2023 13:30 | 1850.818 | 1962.021 | 1739.616
23/12/2023 14:00 | 1981.653 | 2101.094 | 1862.211
23/12/2023 14:30 | 2143.285 | 2272.878 | 2013.691
23/12/2023 15:00 | 2318.93 | 2459.587 | 2178.273
23/12/2023 15:30 | 2491.239 | 2642.824 | 2339.655
23/12/2023 16:00 | 2664.705 | 2827.353 | 2502.056
23/12/2023 16:30 | 2822.539 | 2995.36 | 2649.717
23/12/2023 17:00 | 2933.665 | 3113.851 | 2753.479
23/12/2023 17:30 | 2989.753 | 3173.956 | 2805.551
23/12/2023 18:00 | 2994.037 | 3179.075 | 2808.998
23/12/2023 18:30 | 2957.24 | 3139.907 | 2773.91
23/12/2023 19:00 | 2910.11 | 3090.378 | 2729.146
23/12/2023 19:30 | 2880.077 | 3058.983 | 2700.43
23/12/2023 20:00 | 2806.335 | 2981.172 | 2630.752
23/12/2023 20:30 | 2725.107 | 2895.385 | 2554.085
23/12/2023 21:00 | 2638.914 | 2804.291 | 2472.797
23/12/2023 21:30 | 2551.521 | 2711.89 | 2390.418
23/12/2023 22:00 | 2463.41 | 2618.698 | 2307.4
23/12/2023 22:30 | 2372.49 | 2522.477 | 2221.785
23/12/2023 23:00 | 2280.375 | 2424.94 | 2135.085
23/12/2023 23:30 | 2195.156 | 2334.701 | 2054.877
24/12/2023 00:00 | 2117.961 | 2252.903 | 1982.157
24/12/2023 00:30 | 2058.092 | 2189.613 | 1925.754
24/12/2023 01:00 | 2011.086 | 2139.987 | 1881.399
24/12/2023 01:30 | 1978.256 | 2105.43 | 1850.307
24/12/2023 02:00 | 1950.889 | 2076.677 | 1824.338
24/12/2023 02:30 | 1927.5 | 2052.148 | 1802.098
24/12/2023 03:00 | 1910.905 | 2034.846 | 1786.218
24/12/2023 03:30 | 1898.885 | 2022.409 | 1774.62
24/12/2023 04:00 | 1878.803 | 2001.379 | 1755.493
24/12/2023 04:30 | 1840.76 | 1961.206 | 1719.595
24/12/2023 05:00 | 1801.757 | 1919.995 | 1682.814
24/12/2023 05:30 | 1749.34 | 1864.473 | 1633.522
24/12/2023 06:00 | 1669.833 | 1780.052 | 1559.614
24/12/2023 06:30 | 1589.559 | 1694.783 | 1484.335
24/12/2023 07:00 | 1517.789 | 1618.552 | 1417.026
24/12/2023 07:30 | 1441.613 | 1537.619 | 1345.607
24/12/2023 08:00 | 1392.985 | 1486.089 | 1299.881
24/12/2023 08:30 | 1350.341 | 1440.917 | 1259.764
24/12/2023 09:00 | 1324.698 | 1413.87 | 1235.525
24/12/2023 09:30 | 1339.649 | 1430.149 | 1249.15
24/12/2023 10:00 | 1387.291 | 1481.34 | 1293.242
24/12/2023 10:30 | 1449.506 | 1548.119 | 1350.893
24/12/2023 11:00 | 1520.877 | 1624.709 | 1417.045
24/12/2023 11:30 | 1620.599 | 1731.626 | 1509.571
24/12/2023 12:00 | 1755.16 | 1875.826 | 1634.495
24/12/2023 12:30 | 1950.969 | 2085.562 | 1816.376
24/12/2023 13:00 | 2096.687 | 2241.833 | 1951.54
24/12/2023 13:30 | 2231.563 | 2386.58 | 2076.546
24/12/2023 14:00 | 2376.829 | 2542.504 | 2211.154
24/12/2023 14:30 | 2457.661 | 2629.557 | 2285.764
24/12/2023 15:00 | 2575.466 | 2756.218 | 2394.715
24/12/2023 15:30 | 2709.759 | 2900.583 | 2518.935
24/12/2023 16:00 | 2860.96 | 3063.115 | 2658.805
24/12/2023 16:30 | 3021.426 | 3235.641 | 2807.211
24/12/2023 17:00 | 3148.544 | 3372.524 | 2924.564
24/12/2023 17:30 | 3206.029 | 3434.864 | 2977.194
24/12/2023 18:00 | 3195.707 | 3424.568 | 2966.845
24/12/2023 18:30 | 3159.971 | 3387.028 | 2932.914
24/12/2023 19:00 | 3128.35 | 3353.883 | 2902.818
24/12/2023 19:30 | 3082.904 | 3305.896 | 2859.911
24/12/2023 20:00 | 2982.63 | 3199.082 | 2766.178
24/12/2023 20:30 | 2867.448 | 3076.226 | 2658.67
24/12/2023 21:00 | 2740.824 | 2941.038 | 2540.611
24/12/2023 21:30 | 2619.444 | 2811.416 | 2427.471
24/12/2023 22:00 | 2505.396 | 2689.609 | 2321.184
24/12/2023 22:30 | 2410.15 | 2587.935 | 2232.365
24/12/2023 23:00 | 2336.844 | 2509.78 | 2163.908
24/12/2023 23:30 | 2278.136 | 2441.846 | 2114.427
25/12/2023 00:00 | 2229.536 | 2379.752 | 2079.32
25/12/2023 00:30 | 2186.019 | 2334.667 | 2037.371
25/12/2023 01:00 | 2149.323 | 2295.946 | 2002.701
25/12/2023 01:30 | 2113.28 | 2257.905 | 1968.655
25/12/2023 02:00 | 2085.898 | 2229.105 | 1942.691
25/12/2023 02:30 | 2059.699 | 2201.558 | 1917.841
25/12/2023 03:00 | 2038.386 | 2179.221 | 1897.55
25/12/2023 03:30 | 2030.839 | 2171.597 | 1890.081
25/12/2023 04:00 | 2021.031 | 2161.551 | 1880.511
25/12/2023 04:30 | 1998.267 | 2137.641 | 1858.893
25/12/2023 05:00 | 1963.603 | 2100.989 | 1826.218
25/12/2023 05:30 | 1916.404 | 2050.906 | 1781.903
25/12/2023 06:00 | 1885.369 | 2018.104 | 1752.634
25/12/2023 06:30 | 1861.496 | 1992.958 | 1730.035
25/12/2023 07:00 | 1835.873 | 1965.926 | 1705.821
25/12/2023 07:30 | 1819.099 | 1948.361 | 1689.837
25/12/2023 08:00 | 1874.531 | 2008.142 | 1740.921
25/12/2023 08:30 | 1983.479 | 2125.289 | 1841.67
25/12/2023 09:00 | 2075.923 | 2224.795 | 1927.051
25/12/2023 09:30 | 2100.514 | 2251.609 | 1949.42
25/12/2023 10:00 | 2051.472 | 2199.487 | 1903.457
25/12/2023 10:30 | 2125.669 | 2279.502 | 1971.836
25/12/2023 11:00 | 2143.004 | 2298.559 | 1987.448
25/12/2023 11:30 | 2075.404 | 2226.506 | 1924.302
25/12/2023 12:00 | 2038.317 | 2187.165 | 1889.47
25/12/2023 12:30 | 2091.131 | 2244.292 | 1937.97
25/12/2023 13:00 | 2201.996 | 2363.758 | 2040.234
25/12/2023 13:30 | 2214.124 | 2377.26 | 2050.987
25/12/2023 14:00 | 2282.055 | 2450.695 | 2113.414
25/12/2023 14:30 | 2385.293 | 2562.084 | 2208.502
25/12/2023 15:00 | 2502.842 | 2688.892 | 2316.792
25/12/2023 15:30 | 2684.954 | 2885.127 | 2484.78
25/12/2023 16:00 | 2841.25 | 3053.697 | 2628.802
25/12/2023 16:30 | 2955.765 | 3177.42 | 2734.109
25/12/2023 17:00 | 3043.805 | 3272.728 | 2814.883
25/12/2023 17:30 | 3087.552 | 3320.439 | 2854.664
25/12/2023 18:00 | 3099.555 | 3334.026 | 2865.085
25/12/2023 18:30 | 3055.255 | 3287.042 | 2823.469
25/12/2023 19:00 | 2986.019 | 3213.205 | 2758.833
25/12/2023 19:30 | 2955.265 | 3180.757 | 2729.773
25/12/2023 20:00 | 2885.286 | 3106.069 | 2664.503
25/12/2023 20:30 | 2790.378 | 3004.508 | 2576.248
25/12/2023 21:00 | 2684.289 | 2890.865 | 2477.713
25/12/2023 21:30 | 2580.731 | 2779.9 | 2381.561
25/12/2023 22:00 | 2482.518 | 2674.65 | 2290.385
25/12/2023 22:30 | 2387.183 | 2572.459 | 2201.907
25/12/2023 23:00 | 2293.909 | 2472.447 | 2115.371
25/12/2023 23:30 | 2210.186 | 2382.69 | 2037.682
26/12/2023 00:00 | 2130.035 | 2296.749 | 1963.321
26/12/2023 00:30 | 2071.999 | 2234.623 | 1909.374
26/12/2023 01:00 | 2033.769 | 2193.837 | 1873.701
26/12/2023 01:30 | 2005.39 | 2163.663 | 1847.117
26/12/2023 02:00 | 1984.454 | 2141.508 | 1827.401
26/12/2023 02:30 | 1964.746 | 2120.67 | 1808.823
26/12/2023 03:00 | 1949.782 | 2104.944 | 1794.62
26/12/2023 03:30 | 1938.975 | 2093.701 | 1784.25
26/12/2023 04:00 | 1929.534 | 2083.928 | 1775.141
26/12/2023 04:30 | 1906.209 | 2059.153 | 1753.266
26/12/2023 05:00 | 1885.925 | 2037.654 | 1734.197
26/12/2023 05:30 | 1876.763 | 2028.165 | 1725.362
26/12/2023 06:00 | 1860.064 | 2010.525 | 1709.604
26/12/2023 06:30 | 1815.279 | 1962.514 | 1668.045
26/12/2023 07:00 | 1768.779 | 1912.629 | 1624.93
26/12/2023 07:30 | 1720.18 | 1860.436 | 1579.923
26/12/2023 08:00 | 1666.704 | 1802.917 | 1530.491
26/12/2023 08:30 | 1682.4 | 1820.218 | 1544.582
26/12/2023 09:00 | 1685.039 | 1823.396 | 1546.682
26/12/2023 09:30 | 1616.648 | 1749.699 | 1483.596
26/12/2023 10:00 | 1565.48 | 1694.621 | 1436.34
26/12/2023 10:30 | 1541.944 | 1669.438 | 1414.449
26/12/2023 11:00 | 1542.396 | 1670.223 | 1414.568
26/12/2023 11:30 | 1545.043 | 1673.386 | 1416.7
26/12/2023 12:00 | 1513.276 | 1639.27 | 1387.282
26/12/2023 12:30 | 1450.815 | 1571.887 | 1329.743
26/12/2023 13:00 | 1499.322 | 1624.729 | 1373.915
26/12/2023 13:30 | 1764.542 | 1912.471 | 1616.613
26/12/2023 14:00 | 1973.466 | 2139.288 | 1807.644
26/12/2023 14:30 | 2001.938 | 2170.537 | 1833.34
26/12/2023 15:00 | 2054.148 | 2227.538 | 1880.759
26/12/2023 15:30 | 2155.316 | 2337.658 | 1972.975
26/12/2023 16:00 | 2243.777 | 2434.033 | 2053.521
26/12/2023 16:30 | 2301.356 | 2496.935 | 2105.777
26/12/2023 17:00 | 2364.506 | 2565.905 | 2163.107
26/12/2023 17:30 | 2423.928 | 2630.853 | 2217.003
26/12/2023 18:00 | 2436.023 | 2644.448 | 2227.599
26/12/2023 18:30 | 2428.485 | 2636.73 | 2220.24
26/12/2023 19:00 | 2445.54 | 2655.716 | 2235.364
26/12/2023 19:30 | 2431.314 | 2640.734 | 2221.895
26/12/2023 20:00 | 2387.486 | 2593.587 | 2181.384
26/12/2023 20:30 | 2311.72 | 2511.724 | 2111.716
26/12/2023 21:00 | 2228.458 | 2421.685 | 2035.23
26/12/2023 21:30 | 2157.416 | 2344.897 | 1969.934
26/12/2023 22:00 | 2091.759 | 2273.935 | 1909.582
26/12/2023 22:30 | 2024.604 | 2201.321 | 1847.889
26/12/2023 23:00 | 1968.167 | 2140.334 | 1796
26/12/2023 23:30 | 1917.402 | 2085.496 | 1749.308
27/12/2023 00:00 | 1868.264 | 2032.408 | 1704.12
27/12/2023 00:30 | 1830.682 | 1991.875 | 1669.489
27/12/2023 01:00 | 1807.516 | 1967.016 | 1648.016
27/12/2023 01:30 | 1789.38 | 1947.622 | 1631.137
27/12/2023 02:00 | 1775.267 | 1932.602 | 1617.933
27/12/2023 02:30 | 1767.157 | 1924.112 | 1610.203
27/12/2023 03:00 | 1765.616 | 1922.772 | 1608.46
27/12/2023 03:30 | 1768.342 | 1926.08 | 1610.604
27/12/2023 04:00 | 1773.461 | 1931.995 | 1614.927
27/12/2023 04:30 | 1783.755 | 1943.551 | 1623.959
27/12/2023 05:00 | 1774.63 | 1933.949 | 1615.312
27/12/2023 05:30 | 1743.605 | 1900.473 | 1586.737
27/12/2023 06:00 | 1697.432 | 1850.471 | 1544.393
27/12/2023 06:30 | 1611.382 | 1756.971 | 1465.792
27/12/2023 07:00 | 1502.493 | 1638.533 | 1366.454
27/12/2023 07:30 | 1384.075 | 1509.658 | 1258.492
27/12/2023 08:00 | 1288.775 | 1405.958 | 1171.592
27/12/2023 08:30 | 1196.938 | 1306 | 1087.876
27/12/2023 09:00 | 1148.852 | 1253.753 | 1043.951
27/12/2023 09:30 | 1154.76 | 1260.421 | 1049.098
27/12/2023 10:00 | 1133.252 | 1237.163 | 1029.342
27/12/2023 10:30 | 1055.985 | 1153.014 | 958.957
27/12/2023 11:00 | 1062.875 | 1160.741 | 965.0104
27/12/2023 11:30 | 1108.659 | 1210.953 | 1006.366
27/12/2023 12:00 | 1145.02 | 1250.887 | 1039.152
27/12/2023 12:30 | 1182.765 | 1292.349 | 1073.181
27/12/2023 13:00 | 1241.39 | 1356.643 | 1126.136
27/12/2023 13:30 | 1333.064 | 1457.084 | 1209.043
27/12/2023 14:00 | 1429.757 | 1563.047 | 1296.466
27/12/2023 14:30 | 1572.55 | 1719.453 | 1425.646
27/12/2023 15:00 | 1745.713 | 1909.128 | 1582.298
27/12/2023 15:30 | 1935.899 | 2117.488 | 1754.311
27/12/2023 16:00 | 2144.392 | 2345.949 | 1942.835
27/12/2023 16:30 | 2331.898 | 2551.526 | 2112.27
27/12/2023 17:00 | 2481.308 | 2715.483 | 2247.132
27/12/2023 17:30 | 2572.431 | 2815.699 | 2329.163
27/12/2023 18:00 | 2626.684 | 2875.586 | 2377.781
27/12/2023 18:30 | 2616.345 | 2864.769 | 2367.921
27/12/2023 19:00 | 2551.86 | 2794.65 | 2309.07
27/12/2023 19:30 | 2536.934 | 2778.79 | 2295.078
27/12/2023 20:00 | 2480.829 | 2717.812 | 2243.846
27/12/2023 20:30 | 2403.239 | 2633.271 | 2173.207
27/12/2023 21:00 | 2320.441 | 2542.993 | 2097.89
27/12/2023 21:30 | 2248.134 | 2464.181 | 2032.086
27/12/2023 22:00 | 2176.291 | 2385.851 | 1966.73
27/12/2023 22:30 | 2101.929 | 2304.731 | 1899.126
27/12/2023 23:00 | 2042.439 | 2239.893 | 1844.985
27/12/2023 23:30 | 1991.742 | 2184.677 | 1798.807
28/12/2023 00:00 | 1947.646 | 2136.683 | 1758.61
28/12/2023 00:30 | 1910.114 | 2095.874 | 1724.354
28/12/2023 01:00 | 1883.765 | 2067.323 | 1700.206
28/12/2023 01:30 | 1861.306 | 2043.033 | 1679.579
28/12/2023 02:00 | 1846.396 | 2027.021 | 1665.771
28/12/2023 02:30 | 1834.848 | 2014.695 | 1655.001
28/12/2023 03:00 | 1830.033 | 2009.759 | 1650.308
28/12/2023 03:30 | 1831.486 | 2011.706 | 1651.267
28/12/2023 04:00 | 1836.855 | 2017.955 | 1655.755
28/12/2023 04:30 | 1842.291 | 2024.28 | 1660.302
28/12/2023 05:00 | 1831.16 | 2012.4 | 1649.919
28/12/2023 05:30 | 1800.746 | 1979.321 | 1622.171
28/12/2023 06:00 | 1763.438 | 1938.651 | 1588.224
28/12/2023 06:30 | 1709.383 | 1879.553 | 1539.213
28/12/2023 07:00 | 1622.234 | 1784.04 | 1460.429
28/12/2023 07:30 | 1515.718 | 1667.267 | 1364.169
28/12/2023 08:00 | 1409.586 | 1551.008 | 1268.163
28/12/2023 08:30 | 1298.661 | 1429.391 | 1167.932
28/12/2023 09:00 | 1239.173 | 1364.329 | 1114.017
28/12/2023 09:30 | 1220.308 | 1343.969 | 1096.648
28/12/2023 10:00 | 1229.459 | 1354.459 | 1104.46
28/12/2023 10:30 | 1266.647 | 1395.852 | 1137.442
28/12/2023 11:00 | 1325.255 | 1460.883 | 1189.627
28/12/2023 11:30 | 1402.436 | 1546.433 | 1258.439
28/12/2023 12:00 | 1463.318 | 1614.057 | 1312.579
28/12/2023 12:30 | 1488.742 | 1642.599 | 1334.886
28/12/2023 13:00 | 1539.958 | 1699.625 | 1380.292
28/12/2023 13:30 | 1628.974 | 1798.415 | 1459.532
28/12/2023 14:00 | 1744.481 | 1926.522 | 1562.439
28/12/2023 14:30 | 1909.438 | 2109.333 | 1709.543
28/12/2023 15:00 | 2086.264 | 2305.37 | 1867.158
28/12/2023 15:30 | 2290.805 | 2532.161 | 2049.449
28/12/2023 16:00 | 2488.014 | 2750.982 | 2225.046
28/12/2023 16:30 | 2656.37 | 2938.022 | 2374.717
28/12/2023 17:00 | 2774.12 | 3069.188 | 2479.052
28/12/2023 17:30 | 2845.169 | 3148.748 | 2541.591
28/12/2023 18:00 | 2863.355 | 3169.835 | 2556.876
28/12/2023 18:30 | 2826.519 | 3130.003 | 2523.034
28/12/2023 19:00 | 2771.641 | 3070.162 | 2473.12
28/12/2023 19:30 | 2749.296 | 3046.332 | 2452.26
28/12/2023 20:00 | 2680.462 | 2970.961 | 2389.964
28/12/2023 20:30 | 2582.379 | 2863.113 | 2301.645
28/12/2023 21:00 | 2481.689 | 2752.309 | 2211.069
28/12/2023 21:30 | 2399.409 | 2661.862 | 2136.957
28/12/2023 22:00 | 2316.001 | 2570.107 | 2061.896
28/12/2023 22:30 | 2229.066 | 2474.38 | 1983.751
28/12/2023 23:00 | 2154.766 | 2392.627 | 1916.906
28/12/2023 23:30 | 2089.418 | 2320.765 | 1858.071
29/12/2023 00:00 | 2028.757 | 2254.068 | 1803.446
29/12/2023 00:30 | 1984.023 | 2205.031 | 1763.015
29/12/2023 01:00 | 1951.34 | 2169.361 | 1733.318
29/12/2023 01:30 | 1924 | 2139.612 | 1708.388
29/12/2023 02:00 | 1903.976 | 2117.983 | 1689.97
29/12/2023 02:30 | 1888.571 | 2101.479 | 1675.663
29/12/2023 03:00 | 1880.13 | 2092.717 | 1667.543
29/12/2023 03:30 | 1879.839 | 2093.023 | 1666.654
29/12/2023 04:00 | 1883.822 | 2098.09 | 1669.554
29/12/2023 04:30 | 1882.516 | 2097.266 | 1667.765
29/12/2023 05:00 | 1866.334 | 2079.865 | 1652.804
29/12/2023 05:30 | 1847.209 | 2059.17 | 1635.248
29/12/2023 06:00 | 1816.047 | 2025.041 | 1607.052
29/12/2023 06:30 | 1758.958 | 1961.973 | 1555.944
29/12/2023 07:00 | 1677.444 | 1871.613 | 1483.276
29/12/2023 07:30 | 1582.566 | 1766.283 | 1398.849