## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
23/12/2023 08:00 | 1468.09 | 1492.075 | 1442.703
23/12/2023 08:30 | 1411.749 | 1440.897 | 1382.602 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
23/12/2023 09:00 | 1367.578 | 1401.042 | 1334.114 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
23/12/2023 09:30 | 1325.837 | 1363.348 | 1288.326 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
23/12/2023 10:00 | 1304.658 | 1346.558 | 1262.759 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
23/12/2023 10:30 | 1324.392 | 1370.677 | 1278.106 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
23/12/2023 11:00 | 1357.157 | 1405.771 | 1308.542 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
23/12/2023 11:30 | 1400.214 | 1451.829 | 1348.599 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
23/12/2023 12:00 | 1470.533 | 1526.271 | 1414.794 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
23/12/2023 12:30 | 1558.637 | 1619.338 | 1497.935 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
23/12/2023 13:00 | 1637.757 | 1703.246 | 1572.268 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
23/12/2023 13:30 | 1732.826 | 1802.302 | 1661.731
23/12/2023 14:00 | 1865.687 | 1941.512 | 1787.198 | Summary view - for each schedule horizon (dispatch, week-ahead)
23/12/2023 14:30 | 2024.46 | 2109.46 | 1935.094
23/12/2023 15:00 | 2200.383 | 2297.304 | 2103.018 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
23/12/2023 15:30 | 2377.478 | 2482.861 | 2268.143 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
23/12/2023 16:00 | 2554.543 | 2670.293 | 2434.279 | Scenario | Violations
23/12/2023 16:30 | 2713.564 | 2840.362 | 2583.917 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
23/12/2023 17:00 | 2829.844 | 2962.829 | 2689.706 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
23/12/2023 17:30 | 2896.512 | 3035.237 | 2749.691 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 43 | 0 | 0 | 0 | 0 | 0
23/12/2023 18:00 | 2909.812 | 3052.952 | 2759.97 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 29 | 0 | 0 | 0 | 0 | 2
23/12/2023 18:30 | 2884.349 | 3028.748 | 2733.895 | Low Demand Scenario | 0 | 0 | 0 | 0 | 2 | 1 | 48 | 0 | 4 | 4 | 0 | 0
23/12/2023 19:00 | 2843.078 | 2987.42 | 2695.422
23/12/2023 19:30 | 2813.45 | 2958.752 | 2668.148 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
23/12/2023 20:00 | 2742.839 | 2885.217 | 2600.461
23/12/2023 20:30 | 2666.268 | 2805.373 | 2527.163 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
23/12/2023 21:00 | 2584.825 | 2720.361 | 2449.288 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
23/12/2023 21:30 | 2501.832 | 2633.676 | 2369.989 | [7 empty] | 23/12/2023 08:30 | [11 empty] | 23/12/2023 08:30 |  |  |  |  | 24/12/2023 06:30 |  |  |  |  | 27/12/2023 10:30 | 28/12/2023 10:30 | 23/12/2023 08:30 |  | 27/12/2023 10:30 | 27/12/2023 10:30
23/12/2023 22:00 | 2418.287 | 2546.365 | 2290.21 | [7 empty] | 23/12/2023 09:00 | [11 empty] | 23/12/2023 09:00 |  |  |  |  | 26/12/2023 16:00 |  |  |  |  | 28/12/2023 10:30 |  | 23/12/2023 09:00 |  | 27/12/2023 11:00 | 27/12/2023 11:00
23/12/2023 22:30 | 2333.369 | 2457.564 | 2209.175 | [7 empty] | 23/12/2023 09:30 | [11 empty] | 23/12/2023 09:30 | [11 empty] | 23/12/2023 09:30 |  | 28/12/2023 10:30 | 28/12/2023 10:30
23/12/2023 23:00 | 2247.002 | 2367.191 | 2126.813 | [7 empty] | 23/12/2023 10:00 | [11 empty] | 23/12/2023 10:00 | [11 empty] | 23/12/2023 10:00 |  | 28/12/2023 11:00 | 28/12/2023 11:00
23/12/2023 23:30 | 2165.852 | 2282.271 | 2049.434 | [7 empty] | 23/12/2023 10:30 | [11 empty] | 23/12/2023 10:30 | [11 empty] | 23/12/2023 10:30
24/12/2023 00:00 | 2092.241 | 2205.253 | 1979.228 | [7 empty] | 23/12/2023 11:00 | [11 empty] | 23/12/2023 11:00 | [11 empty] | 23/12/2023 11:00
24/12/2023 00:30 | 2034.221 | 2144.635 | 1923.807 | [7 empty] | 23/12/2023 11:30 | [11 empty] | 23/12/2023 11:30 | [11 empty] | 23/12/2023 11:30
24/12/2023 01:00 | 1989.313 | 2097.813 | 1880.812 | [7 empty] | 23/12/2023 12:00 | [11 empty] | 23/12/2023 12:00 | [11 empty] | 23/12/2023 12:00
24/12/2023 01:30 | 1958.836 | 2066.19 | 1851.482 | [7 empty] | 23/12/2023 12:30 | [11 empty] | 23/12/2023 12:30 | [11 empty] | 23/12/2023 12:30
24/12/2023 02:00 | 1932.89 | 2039.331 | 1826.449 | [7 empty] | 23/12/2023 13:00 | [11 empty] | 24/12/2023 06:30 | [11 empty] | 23/12/2023 13:00
24/12/2023 02:30 | 1910.685 | 2016.406 | 1804.964 | [7 empty] | 23/12/2023 13:30 | [11 empty] | 24/12/2023 07:00 | [11 empty] | 23/12/2023 13:30
24/12/2023 03:00 | 1895.123 | 2000.483 | 1789.764 | [7 empty] | 23/12/2023 14:00 | [11 empty] | 24/12/2023 07:30 | [11 empty] | 23/12/2023 14:00
24/12/2023 03:30 | 1884.457 | 1989.719 | 1779.195 | [7 empty] | 24/12/2023 07:30 | [11 empty] | 24/12/2023 12:30 | [11 empty] | 23/12/2023 14:30
24/12/2023 04:00 | 1865.129 | 1969.803 | 1760.455 | [7 empty] | 24/12/2023 08:00 | [11 empty] | 24/12/2023 13:00 | [11 empty] | 24/12/2023 08:00
24/12/2023 04:30 | 1828 | 1931.071 | 1724.928 | [7 empty] | 24/12/2023 08:30 | [11 empty] | 25/12/2023 08:30 | [11 empty] | 24/12/2023 08:30
24/12/2023 05:00 | 1786.015 | 1887.189 | 1684.841 | [7 empty] | 24/12/2023 09:00 | [11 empty] | 25/12/2023 09:00 | [11 empty] | 24/12/2023 09:00
24/12/2023 05:30 | 1724.952 | 1823.121 | 1626.783 | [7 empty] | 24/12/2023 09:30 | [11 empty] | 25/12/2023 09:30 | [11 empty] | 24/12/2023 09:30
24/12/2023 06:00 | 1638.455 | 1732.133 | 1544.777 | [7 empty] | 24/12/2023 10:00 | [11 empty] | 25/12/2023 10:00 | [11 empty] | 24/12/2023 10:00
24/12/2023 06:30 | 1545.802 | 1634.55 | 1457.054 | [7 empty] | 24/12/2023 10:30 | [11 empty] | 28/12/2023 14:30 | [11 empty] | 24/12/2023 10:30
24/12/2023 07:00 | 1453.328 | 1537.038 | 1369.617 | [7 empty] | 24/12/2023 11:00 | [11 empty] | 29/12/2023 10:00 | [11 empty] | 24/12/2023 11:00
24/12/2023 07:30 | 1351.519 | 1429.623 | 1273.415 | [7 empty] | 24/12/2023 11:30 | [11 empty] | 29/12/2023 10:30 | [11 empty] | 24/12/2023 11:30
24/12/2023 08:00 | 1271.938 | 1345.686 | 1198.189 | [7 empty] | 24/12/2023 12:30 | [11 empty] | 29/12/2023 11:00 | [11 empty] | 24/12/2023 12:00
24/12/2023 08:30 | 1199.331 | 1269.099 | 1129.564 | [7 empty] | 24/12/2023 13:00 | [11 empty] | 29/12/2023 11:30 | [11 empty] | 24/12/2023 12:30
24/12/2023 09:00 | 1155.064 | 1222.477 | 1087.65 | [7 empty] | 24/12/2023 13:30 | [11 empty] | 29/12/2023 12:00 | [11 empty] | 24/12/2023 13:00
24/12/2023 09:30 | 1154.344 | 1221.936 | 1086.752 | [7 empty] | 25/12/2023 08:30 | [11 empty] | 29/12/2023 12:30 | [11 empty] | 24/12/2023 13:30
24/12/2023 10:00 | 1193.03 | 1263.115 | 1122.945 | [7 empty] | 25/12/2023 09:00 | [11 empty] | 29/12/2023 13:00 | [11 empty] | 24/12/2023 14:00
24/12/2023 10:30 | 1248.312 | 1321.883 | 1174.741 | [7 empty] | 25/12/2023 09:30 | [11 empty] | 29/12/2023 13:30 | [11 empty] | 25/12/2023 09:00
24/12/2023 11:00 | 1303.93 | 1381.028 | 1226.832 | [7 empty] | 25/12/2023 10:00 | [11 empty] | 29/12/2023 14:00 | [11 empty] | 25/12/2023 09:30
24/12/2023 11:30 | 1379.327 | 1461.147 | 1297.507 | [7 empty] | 25/12/2023 10:30 | [11 empty] | 29/12/2023 14:30 | [11 empty] | 25/12/2023 10:00
24/12/2023 12:00 | 1472.461 | 1560.087 | 1384.836 | [7 empty] | 26/12/2023 13:00 | [23 empty] | 25/12/2023 10:30
24/12/2023 12:30 | 1574.98 | 1669.007 | 1480.952 | [7 empty] | 26/12/2023 13:30 | [23 empty] | 25/12/2023 11:00
24/12/2023 13:00 | 1662.708 | 1762.291 | 1563.126 | [7 empty] | 26/12/2023 14:00 | [23 empty] | 25/12/2023 11:30
24/12/2023 13:30 | 1759.612 | 1865.335 | 1653.89 | [7 empty] | 29/12/2023 09:30 | [23 empty] | 25/12/2023 12:00
24/12/2023 14:00 | 1904.182 | 2018.955 | 1789.41 | [7 empty] | 29/12/2023 10:00 | [23 empty] | 25/12/2023 12:30
24/12/2023 14:30 | 2064.702 | 2189.544 | 1939.86 | [7 empty] | 29/12/2023 10:30 | [23 empty] | 26/12/2023 09:30
24/12/2023 15:00 | 2249.076 | 2385.496 | 2112.656 | [7 empty] | 29/12/2023 11:00 | [23 empty] | 26/12/2023 10:00
24/12/2023 15:30 | 2446.258 | 2595.105 | 2297.41 | [7 empty] | 29/12/2023 11:30 | [23 empty] | 26/12/2023 10:30
24/12/2023 16:00 | 2637.927 | 2798.941 | 2476.913 | [7 empty] | 29/12/2023 12:00 | [23 empty] | 26/12/2023 11:00
24/12/2023 16:30 | 2817.762 | 2990.292 | 2645.233 | [7 empty] | 29/12/2023 12:30 | [23 empty] | 26/12/2023 11:30
24/12/2023 17:00 | 2962.76 | 3144.733 | 2780.786 | [7 empty] | 29/12/2023 13:00 | [23 empty] | 26/12/2023 12:00
24/12/2023 17:30 | 3040.564 | 3227.897 | 2853.231 | [7 empty] | 29/12/2023 13:30 | [23 empty] | 26/12/2023 12:30
24/12/2023 18:00 | 3046.569 | 3234.854 | 2858.284 | [7 empty] | 29/12/2023 14:00 | [23 empty] | 26/12/2023 13:00
24/12/2023 18:30 | 3010.938 | 3197.596 | 2824.28 | [7 empty] | 29/12/2023 14:30 | [23 empty] | 26/12/2023 13:30
24/12/2023 19:00 | 2966.537 | 3151.01 | 2782.064 | [31 empty] | 26/12/2023 14:00
24/12/2023 19:30 | 2924.2 | 3106.598 | 2741.801 | [31 empty] | 29/12/2023 13:00
24/12/2023 20:00 | 2827.227 | 3004.117 | 2650.337 | [31 empty] | 29/12/2023 13:30
24/12/2023 20:30 | 2719.091 | 2889.735 | 2548.447 | [31 empty] | 29/12/2023 14:00
24/12/2023 21:00 | 2601.141 | 2764.88 | 2437.402 | [31 empty] | 29/12/2023 14:30
24/12/2023 21:30 | 2489.488 | 2646.674 | 2332.302
24/12/2023 22:00 | 2385.926 | 2537.029 | 2234.823
24/12/2023 22:30 | 2299.216 | 2445.266 | 2153.165
24/12/2023 23:00 | 2232.525 | 2365.487 | 2090.284
24/12/2023 23:30 | 2178.05 | 2304.48 | 2043.268
25/12/2023 00:00 | 2132.033 | 2248.44 | 2008.25
25/12/2023 00:30 | 2091.597 | 2207.344 | 1969.097
25/12/2023 01:00 | 2058.797 | 2173.417 | 1937.878
25/12/2023 01:30 | 2027.752 | 2141.199 | 1908.323
25/12/2023 02:00 | 2004.214 | 2116.863 | 1885.839
25/12/2023 02:30 | 1981.462 | 2093.316 | 1864.104
25/12/2023 03:00 | 1963.289 | 2074.624 | 1846.684
25/12/2023 03:30 | 1958.133 | 2069.677 | 1841.51
25/12/2023 04:00 | 1949.191 | 2060.676 | 1832.779
25/12/2023 04:30 | 1927.777 | 2038.435 | 1812.325
25/12/2023 05:00 | 1900.201 | 2009.646 | 1786.087
25/12/2023 05:30 | 1859.645 | 1966.879 | 1747.66
25/12/2023 06:00 | 1816.868 | 1921.51 | 1707.159
25/12/2023 06:30 | 1764.643 | 1870.907 | 1662.099
25/12/2023 07:00 | 1714.28 | 1817.795 | 1610.766
25/12/2023 07:30 | 1699.346 | 1802.272 | 1596.421
25/12/2023 08:00 | 1742.199 | 1848.106 | 1636.291
25/12/2023 08:30 | 1762.471 | 1869.996 | 1654.947
25/12/2023 09:00 | 1830.732 | 1942.821 | 1718.642
25/12/2023 09:30 | 1909.376 | 2026.698 | 1792.055
25/12/2023 10:00 | 1896.062 | 2012.98 | 1779.145
25/12/2023 10:30 | 1969.991 | 2091.898 | 1848.084
25/12/2023 11:00 | 2030.517 | 2156.613 | 1904.421
25/12/2023 11:30 | 2058.393 | 2186.669 | 1930.116
25/12/2023 12:00 | 2079.031 | 2209.049 | 1949.014
25/12/2023 12:30 | 2149.007 | 2283.87 | 2014.144
25/12/2023 13:00 | 2304.741 | 2449.881 | 2159.602
25/12/2023 13:30 | 2418.839 | 2571.692 | 2265.986
25/12/2023 14:00 | 2513.827 | 2673.231 | 2354.422
25/12/2023 14:30 | 2534.958 | 2696.257 | 2373.659
25/12/2023 15:00 | 2613.536 | 2780.405 | 2446.666
25/12/2023 15:30 | 2765.145 | 2942.299 | 2587.991
25/12/2023 16:00 | 2888.225 | 3073.895 | 2702.554
25/12/2023 16:30 | 2969.744 | 3161.303 | 2778.185
25/12/2023 17:00 | 3026.24 | 3222.105 | 2830.375
25/12/2023 17:30 | 3057.087 | 3255.616 | 2858.558
25/12/2023 18:00 | 3053.79 | 3252.772 | 2854.807
25/12/2023 18:30 | 2994.193 | 3189.947 | 2798.44
25/12/2023 19:00 | 2952.814 | 3146.507 | 2759.121
25/12/2023 19:30 | 2924.077 | 3116.524 | 2731.63
25/12/2023 20:00 | 2857.658 | 3046.358 | 2668.958
25/12/2023 20:30 | 2764.015 | 2947.135 | 2580.895
25/12/2023 21:00 | 2660.815 | 2837.68 | 2483.951
25/12/2023 21:30 | 2560.496 | 2731.251 | 2389.74
25/12/2023 22:00 | 2465.946 | 2630.936 | 2300.957
25/12/2023 22:30 | 2375.239 | 2534.678 | 2215.8
25/12/2023 23:00 | 2287.581 | 2441.635 | 2133.526
25/12/2023 23:30 | 2210.89 | 2360.263 | 2061.517
26/12/2023 00:00 | 2139.561 | 2284.582 | 1994.539
26/12/2023 00:30 | 2088.66 | 2230.688 | 1946.633
26/12/2023 01:00 | 2054.331 | 2194.473 | 1914.189
26/12/2023 01:30 | 2025.08 | 2163.669 | 1886.491
26/12/2023 02:00 | 2005.009 | 2142.663 | 1867.355
26/12/2023 02:30 | 1984.159 | 2120.815 | 1847.503
26/12/2023 03:00 | 1968.385 | 2104.385 | 1832.386
26/12/2023 03:30 | 1957.667 | 2093.354 | 1821.981
26/12/2023 04:00 | 1948.629 | 2084.114 | 1813.143
26/12/2023 04:30 | 1925.463 | 2059.759 | 1791.167
26/12/2023 05:00 | 1908.81 | 2042.362 | 1775.259
26/12/2023 05:30 | 1906.063 | 2039.838 | 1772.287
26/12/2023 06:00 | 1929.365 | 2065.197 | 1793.532
26/12/2023 06:30 | 1977.886 | 2117.566 | 1838.205
26/12/2023 07:00 | 2012.88 | 2155.471 | 1870.288
26/12/2023 07:30 | 2016.192 | 2159.458 | 1872.925
26/12/2023 08:00 | 2015.256 | 2158.896 | 1871.615
26/12/2023 08:30 | 2088.638 | 2237.966 | 1939.311
26/12/2023 09:00 | 2121.67 | 2273.823 | 1969.518
26/12/2023 09:30 | 2038.4 | 2185.026 | 1891.773
26/12/2023 10:00 | 1991.998 | 2135.722 | 1848.274
26/12/2023 10:30 | 2018.171 | 2164.224 | 1872.118
26/12/2023 11:00 | 2055.293 | 2204.482 | 1906.104
26/12/2023 11:30 | 2103.974 | 2257.156 | 1950.792
26/12/2023 12:00 | 2117.447 | 2272.073 | 1962.822
26/12/2023 12:30 | 2082.614 | 2235.151 | 1930.077
26/12/2023 13:00 | 2058.77 | 2210.01 | 1907.529
26/12/2023 13:30 | 2026.95 | 2176.296 | 1877.604
26/12/2023 14:00 | 2014.016 | 2162.849 | 1865.183
26/12/2023 14:30 | 2039.538 | 2190.702 | 1888.373
26/12/2023 15:00 | 2070.204 | 2224.094 | 1916.315
26/12/2023 15:30 | 2148.043 | 2308.188 | 1987.898
26/12/2023 16:00 | 2272.821 | 2442.765 | 2102.876
26/12/2023 16:30 | 2408.308 | 2588.909 | 2227.706
26/12/2023 17:00 | 2509.721 | 2698.476 | 2320.967
26/12/2023 17:30 | 2573.68 | 2767.807 | 2379.552
26/12/2023 18:00 | 2584.538 | 2780.049 | 2389.027
26/12/2023 18:30 | 2539.239 | 2731.878 | 2346.6
26/12/2023 19:00 | 2514.821 | 2706.157 | 2323.485
26/12/2023 19:30 | 2502.533 | 2693.481 | 2311.585
26/12/2023 20:00 | 2456.878 | 2644.879 | 2268.877
26/12/2023 20:30 | 2373.832 | 2555.997 | 2191.667
26/12/2023 21:00 | 2282.499 | 2458.154 | 2106.844
26/12/2023 21:30 | 2205.321 | 2375.519 | 2035.124
26/12/2023 22:00 | 2135.392 | 2300.659 | 1970.125
26/12/2023 22:30 | 2063.797 | 2223.974 | 1903.62
26/12/2023 23:00 | 2002.595 | 2158.459 | 1846.731
26/12/2023 23:30 | 1948.27 | 2100.332 | 1796.208
27/12/2023 00:00 | 1894.794 | 2043.096 | 1746.492
27/12/2023 00:30 | 1854.292 | 1999.829 | 1708.755
27/12/2023 01:00 | 1828.643 | 1972.567 | 1684.72
27/12/2023 01:30 | 1810.096 | 1952.955 | 1667.237
27/12/2023 02:00 | 1796.185 | 1938.339 | 1654.031
27/12/2023 02:30 | 1787.196 | 1929.028 | 1645.363
27/12/2023 03:00 | 1784.752 | 1926.781 | 1642.723
27/12/2023 03:30 | 1787.095 | 1929.701 | 1644.489
27/12/2023 04:00 | 1791.706 | 1935.072 | 1648.341
27/12/2023 04:30 | 1800.158 | 1944.593 | 1655.723
27/12/2023 05:00 | 1795.979 | 1940.471 | 1651.487
27/12/2023 05:30 | 1780.921 | 1924.591 | 1637.252
27/12/2023 06:00 | 1746.342 | 1887.604 | 1605.08
27/12/2023 06:30 | 1665.98 | 1801.105 | 1530.855
27/12/2023 07:00 | 1577.754 | 1706.068 | 1449.44
27/12/2023 07:30 | 1499.541 | 1621.807 | 1377.274
27/12/2023 08:00 | 1409.607 | 1524.808 | 1294.406
27/12/2023 08:30 | 1273.718 | 1378.058 | 1169.378
27/12/2023 09:00 | 1188.792 | 1286.403 | 1091.181
27/12/2023 09:30 | 1162.289 | 1257.947 | 1066.632
27/12/2023 10:00 | 1139.72 | 1233.739 | 1045.702
27/12/2023 10:30 | 1114.627 | 1206.789 | 1022.465
27/12/2023 11:00 | 1146.325 | 1241.328 | 1051.323
27/12/2023 11:30 | 1189.179 | 1287.962 | 1090.397
27/12/2023 12:00 | 1225.43 | 1327.459 | 1123.402
27/12/2023 12:30 | 1278.888 | 1385.612 | 1172.164
27/12/2023 13:00 | 1392.348 | 1508.808 | 1275.889
27/12/2023 13:30 | 1590.272 | 1723.592 | 1456.953
27/12/2023 14:00 | 1648.782 | 1787.323 | 1510.242
27/12/2023 14:30 | 1637.305 | 1775.195 | 1499.416
27/12/2023 15:00 | 1775.905 | 1925.808 | 1626.002
27/12/2023 15:30 | 1948.983 | 2113.869 | 1784.097
27/12/2023 16:00 | 2152.056 | 2334.535 | 1969.578
27/12/2023 16:30 | 2343.081 | 2542.206 | 2143.956
27/12/2023 17:00 | 2487.709 | 2699.602 | 2275.817
27/12/2023 17:30 | 2579.24 | 2799.423 | 2359.057
27/12/2023 18:00 | 2615.883 | 2839.696 | 2392.07
27/12/2023 18:30 | 2579.085 | 2800.244 | 2357.927
27/12/2023 19:00 | 2538.935 | 2757.137 | 2320.732
27/12/2023 19:30 | 2523.433 | 2740.786 | 2306.079
27/12/2023 20:00 | 2468.498 | 2681.593 | 2255.402
27/12/2023 20:30 | 2392.074 | 2599.031 | 2185.118
27/12/2023 21:00 | 2309.855 | 2510.141 | 2109.569
27/12/2023 21:30 | 2238.137 | 2432.633 | 2043.641
27/12/2023 22:00 | 2167.94 | 2356.752 | 1979.129
27/12/2023 22:30 | 2095.31 | 2278.198 | 1912.423
27/12/2023 23:00 | 2036.679 | 2214.84 | 1858.519
27/12/2023 23:30 | 1986.95 | 2161.141 | 1812.759
28/12/2023 00:00 | 1943.517 | 2114.272 | 1772.761
28/12/2023 00:30 | 1906.329 | 2074.182 | 1738.475
28/12/2023 01:00 | 1880.121 | 2046.028 | 1714.214
28/12/2023 01:30 | 1857.964 | 2022.272 | 1693.656
28/12/2023 02:00 | 1843.481 | 2006.861 | 1680.101
28/12/2023 02:30 | 1832.266 | 1995.003 | 1669.529
28/12/2023 03:00 | 1827.259 | 1989.902 | 1664.616
28/12/2023 03:30 | 1828.116 | 1991.186 | 1665.047
28/12/2023 04:00 | 1833.484 | 1997.384 | 1669.584
28/12/2023 04:30 | 1839.163 | 2003.923 | 1674.403
28/12/2023 05:00 | 1831.714 | 1996.157 | 1667.27
28/12/2023 05:30 | 1829.058 | 1993.614 | 1664.502
28/12/2023 06:00 | 1812.986 | 1976.443 | 1649.528
28/12/2023 06:30 | 1731.324 | 1887.751 | 1574.898
28/12/2023 07:00 | 1619.613 | 1766.257 | 1472.97
28/12/2023 07:30 | 1493.47 | 1628.979 | 1357.961
28/12/2023 08:00 | 1383.158 | 1508.922 | 1257.393
28/12/2023 08:30 | 1291.955 | 1409.674 | 1174.235
28/12/2023 09:00 | 1231.393 | 1343.83 | 1118.955
28/12/2023 09:30 | 1190.559 | 1299.496 | 1081.621
28/12/2023 10:00 | 1171.814 | 1279.261 | 1064.368
28/12/2023 10:30 | 1180.458 | 1288.923 | 1071.993
28/12/2023 11:00 | 1215.092 | 1326.972 | 1103.211
28/12/2023 11:30 | 1249.394 | 1364.672 | 1134.115
28/12/2023 12:00 | 1294.585 | 1414.281 | 1174.889
28/12/2023 12:30 | 1364.825 | 1491.277 | 1238.373
28/12/2023 13:00 | 1443.658 | 1577.691 | 1309.625
28/12/2023 13:30 | 1533.145 | 1675.78 | 1390.51
28/12/2023 14:00 | 1642.869 | 1796.027 | 1489.712
28/12/2023 14:30 | 1803.484 | 1971.961 | 1635.007
28/12/2023 15:00 | 1970.879 | 2155.371 | 1786.387
28/12/2023 15:30 | 2167.878 | 2371.227 | 1964.53
28/12/2023 16:00 | 2374.93 | 2598.156 | 2151.705
28/12/2023 16:30 | 2563.157 | 2804.566 | 2321.748
28/12/2023 17:00 | 2703.662 | 2958.822 | 2448.501
28/12/2023 17:30 | 2791.02 | 3054.959 | 2527.08
28/12/2023 18:00 | 2828.36 | 3096.373 | 2560.347
28/12/2023 18:30 | 2807.458 | 3074.028 | 2540.888
28/12/2023 19:00 | 2748.548 | 3010.051 | 2487.044
28/12/2023 19:30 | 2733.571 | 2994.173 | 2472.968
28/12/2023 20:00 | 2669.804 | 2924.839 | 2414.769
28/12/2023 20:30 | 2577.632 | 2824.356 | 2330.908
28/12/2023 21:00 | 2481.358 | 2719.343 | 2243.373
28/12/2023 21:30 | 2401.368 | 2632.141 | 2170.595
28/12/2023 22:00 | 2319.192 | 2542.513 | 2095.872
28/12/2023 22:30 | 2232.1 | 2447.462 | 2016.738
28/12/2023 23:00 | 2156.669 | 2365.167 | 1948.172
28/12/2023 23:30 | 2090.152 | 2292.62 | 1887.685
29/12/2023 00:00 | 2028.313 | 2225.179 | 1831.447
29/12/2023 00:30 | 1982.221 | 2174.993 | 1789.448
29/12/2023 01:00 | 1948.556 | 2138.428 | 1758.684
29/12/2023 01:30 | 1922.427 | 2110.122 | 1734.733
29/12/2023 02:00 | 1903.54 | 2089.756 | 1717.325
29/12/2023 02:30 | 1889.083 | 2074.246 | 1703.92
29/12/2023 03:00 | 1880.005 | 2064.638 | 1695.371
29/12/2023 03:30 | 1878.025 | 2062.824 | 1693.226
29/12/2023 04:00 | 1881.973 | 2067.521 | 1696.425
29/12/2023 04:30 | 1881.565 | 2067.434 | 1695.696
29/12/2023 05:00 | 1863.155 | 2047.562 | 1678.748
29/12/2023 05:30 | 1841.652 | 2024.284 | 1659.02
29/12/2023 06:00 | 1806.151 | 1985.609 | 1626.694
29/12/2023 06:30 | 1731.752 | 1904.15 | 1559.355
29/12/2023 07:00 | 1636.675 | 1799.921 | 1473.429
29/12/2023 07:30 | 1530.342 | 1683.354 | 1377.331
29/12/2023 08:00 | 1440.312 | 1584.818 | 1295.807
29/12/2023 08:30 | 1366.43 | 1503.98 | 1228.879
29/12/2023 09:00 | 1314.284 | 1447.026 | 1181.541
29/12/2023 09:30 | 1263.551 | 1391.593 | 1135.509
29/12/2023 10:00 | 1243.346 | 1369.757 | 1116.934
29/12/2023 10:30 | 1266.619 | 1395.821 | 1137.417
29/12/2023 11:00 | 1306.794 | 1440.532 | 1173.055
29/12/2023 11:30 | 1336.921 | 1474.191 | 1199.651
29/12/2023 12:00 | 1389.627 | 1532.775 | 1246.48
29/12/2023 12:30 | 1471.329 | 1623.386 | 1319.272
29/12/2023 13:00 | 1544.633 | 1704.784 | 1384.482
29/12/2023 13:30 | 1633.714 | 1803.649 | 1463.779
29/12/2023 14:00 | 1750.444 | 1933.108 | 1567.78
29/12/2023 14:30 | 1903.427 | 2102.693 | 1704.161
29/12/2023 15:00 | 2075.577 | 2293.561 | 1857.593
29/12/2023 15:30 | 2278.102 | 2518.12 | 2038.085
29/12/2023 16:00 | 2494.005 | 2757.606 | 2230.404
29/12/2023 16:30 | 2667.946 | 2950.826 | 2385.066
29/12/2023 17:00 | 2785.662 | 3081.958 | 2489.367
29/12/2023 17:30 | 2842.637 | 3145.946 | 2539.328
29/12/2023 18:00 | 2864.239 | 3170.813 | 2557.665
29/12/2023 18:30 | 2833.17 | 3137.368 | 2528.971
29/12/2023 19:00 | 2768.13 | 3066.273 | 2469.987
29/12/2023 19:30 | 2755.767 | 3053.503 | 2458.031
29/12/2023 20:00 | 2701.778 | 2994.587 | 2408.969
29/12/2023 20:30 | 2624.445 | 2909.753 | 2339.138
29/12/2023 21:00 | 2544.095 | 2821.521 | 2266.67
29/12/2023 21:30 | 2471.179 | 2741.482 | 2200.876
29/12/2023 22:00 | 2392.731 | 2655.255 | 2130.207
29/12/2023 22:30 | 2304.095 | 2557.667 | 2050.523
29/12/2023 23:00 | 2220.807 | 2465.958 | 1975.656
29/12/2023 23:30 | 2148.17 | 2384.626 | 1911.714
30/12/2023 00:00 | 2081.188 | 2308.371 | 1854.004
30/12/2023 00:30 | 2028.286 | 2250.841 | 1805.731
30/12/2023 01:00 | 1986.186 | 2205.01 | 1767.361
30/12/2023 01:30 | 1959.027 | 2175.736 | 1742.318
30/12/2023 02:00 | 1937.108 | 2152.259 | 1721.957
30/12/2023 02:30 | 1916.358 | 2130.062 | 1702.654
30/12/2023 03:00 | 1901.907 | 2114.851 | 1688.964
30/12/2023 03:30 | 1896.589 | 2109.786 | 1683.392
30/12/2023 04:00 | 1888.637 | 2101.785 | 1675.489
30/12/2023 04:30 | 1868.012 | 2079.669 | 1656.356
30/12/2023 05:00 | 1861.569 | 2073.328 | 1649.81
30/12/2023 05:30 | 1839.409 | 2049.471 | 1629.348
30/12/2023 06:00 | 1776.006 | 1979.621 | 1572.391
30/12/2023 06:30 | 1713.406 | 1910.611 | 1516.201
30/12/2023 07:00 | 1637.762 | 1826.994 | 1448.53
30/12/2023 07:30 | 1526.685 | 1703.766 | 1349.604