## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
30/12/2023 08:00 | 1371.78 | 1397.541 | 1351.297
30/12/2023 08:30 | 1318.218 | 1345.434 | 1291.002 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
30/12/2023 09:00 | 1274.503 | 1305.689 | 1243.317 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
30/12/2023 09:30 | 1256.179 | 1291.719 | 1220.639 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
30/12/2023 10:00 | 1273.461 | 1314.358 | 1232.563 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
30/12/2023 10:30 | 1326.885 | 1373.258 | 1280.513 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
30/12/2023 11:00 | 1390.18 | 1439.978 | 1340.383 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
30/12/2023 11:30 | 1465.98 | 1520.019 | 1411.94 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
30/12/2023 12:00 | 1576.105 | 1635.846 | 1516.365 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
30/12/2023 12:30 | 1686.056 | 1751.72 | 1620.392 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
30/12/2023 13:00 | 1783.119 | 1854.42 | 1711.818 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
30/12/2023 13:30 | 1915.038 | 1990.06 | 1833.198
30/12/2023 14:00 | 2090.27 | 2173.032 | 1997.575 | Summary view - for each schedule horizon (dispatch, week-ahead)
30/12/2023 14:30 | 2248.231 | 2340.723 | 2147.241
30/12/2023 15:00 | 2416.134 | 2520.651 | 2307.476 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
30/12/2023 15:30 | 2582.199 | 2694.146 | 2461.156 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
30/12/2023 16:00 | 2735.747 | 2856.857 | 2604.354 | Scenario | Violations
30/12/2023 16:30 | 2880.375 | 3012.297 | 2740.329 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
30/12/2023 17:00 | 2985.979 | 3130.258 | 2841.7 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
30/12/2023 17:30 | 3049.706 | 3200.24 | 2899.172 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 33 | 0 | 0 | 0 | 0 | 2
30/12/2023 18:00 | 3058.7 | 3212.864 | 2904.536 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 36 | 0 | 0 | 0 | 0 | 2
30/12/2023 18:30 | 3032.114 | 3187.256 | 2876.972 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 39 | 0 | 0 | 0 | 0 | 4
30/12/2023 19:00 | 3011.839 | 3166.594 | 2857.084
30/12/2023 19:30 | 2982.1 | 3136.112 | 2828.087 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
30/12/2023 20:00 | 2903.228 | 3053.931 | 2752.525
30/12/2023 20:30 | 2818.183 | 2965.213 | 2671.152 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
30/12/2023 21:00 | 2724.491 | 2867.351 | 2581.631 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
30/12/2023 21:30 | 2626.351 | 2764.756 | 2487.946 | [7 empty] | 30/12/2023 09:00 |  |  |  |  | 30/12/2023 09:00 | [6 empty] | 30/12/2023 08:30 |  |  |  |  | 30/12/2023 09:00 | [6 empty] | 30/12/2023 08:30 |  |  |  |  | 30/12/2023 09:00
30/12/2023 22:00 | 2529.627 | 2663.601 | 2395.653 | [7 empty] | 30/12/2023 09:30 |  |  |  |  | 30/12/2023 12:30 | [6 empty] | 30/12/2023 09:00 |  |  |  |  | 30/12/2023 12:00 | [6 empty] | 30/12/2023 09:00 |  |  |  |  | 30/12/2023 09:30
30/12/2023 22:30 | 2433.138 | 2562.643 | 2303.634 | [7 empty] | 30/12/2023 10:00 | [11 empty] | 30/12/2023 09:30 | [11 empty] | 30/12/2023 09:30 |  |  |  |  | 31/12/2023 07:30
30/12/2023 23:00 | 2338.109 | 2463.172 | 2213.047 | [7 empty] | 30/12/2023 10:30 | [11 empty] | 30/12/2023 10:00 | [11 empty] | 30/12/2023 10:00 |  |  |  |  | 31/12/2023 16:00
30/12/2023 23:30 | 2253.027 | 2374.132 | 2131.923 | [7 empty] | 30/12/2023 11:00 | [11 empty] | 30/12/2023 10:30 | [11 empty] | 30/12/2023 10:30
31/12/2023 00:00 | 2176.632 | 2294.203 | 2059.061 | [7 empty] | 30/12/2023 11:30 | [11 empty] | 30/12/2023 11:00 | [11 empty] | 30/12/2023 11:00
31/12/2023 00:30 | 2116.053 | 2230.909 | 2001.197 | [7 empty] | 30/12/2023 12:00 | [11 empty] | 30/12/2023 11:30 | [11 empty] | 30/12/2023 11:30
31/12/2023 01:00 | 2068.702 | 2181.533 | 1955.871 | [7 empty] | 31/12/2023 07:30 | [11 empty] | 31/12/2023 07:00 | [11 empty] | 30/12/2023 12:00
31/12/2023 01:30 | 2037.103 | 2148.746 | 1925.459 | [7 empty] | 31/12/2023 10:00 | [11 empty] | 31/12/2023 07:30 | [11 empty] | 30/12/2023 12:30
31/12/2023 02:00 | 2010.086 | 2120.779 | 1899.394 | [7 empty] | 31/12/2023 10:30 | [11 empty] | 31/12/2023 10:30 | [11 empty] | 31/12/2023 10:00
31/12/2023 02:30 | 1984.816 | 2094.639 | 1874.993 | [7 empty] | 31/12/2023 11:30 | [11 empty] | 31/12/2023 11:00 | [11 empty] | 31/12/2023 10:30
31/12/2023 03:00 | 1966.523 | 2075.852 | 1857.195 | [7 empty] | 31/12/2023 12:00 | [11 empty] | 31/12/2023 11:30 | [11 empty] | 31/12/2023 11:00
31/12/2023 03:30 | 1955.562 | 2064.796 | 1846.328 | [7 empty] | 31/12/2023 12:30 | [11 empty] | 31/12/2023 12:00 | [11 empty] | 31/12/2023 12:00
31/12/2023 04:00 | 1938.496 | 2047.287 | 1829.704 | [7 empty] | 31/12/2023 13:00 | [11 empty] | 31/12/2023 12:30 | [11 empty] | 31/12/2023 12:30
31/12/2023 04:30 | 1907.248 | 2014.788 | 1799.708 | [7 empty] | 31/12/2023 13:30 | [11 empty] | 31/12/2023 13:00 | [11 empty] | 31/12/2023 13:00
31/12/2023 05:00 | 1880.604 | 1987.136 | 1774.071 | [7 empty] | 31/12/2023 14:00 | [11 empty] | 31/12/2023 13:30 | [11 empty] | 31/12/2023 13:30
31/12/2023 05:30 | 1835.907 | 1940.391 | 1731.423 | [7 empty] | 01/01/2024 10:00 | [11 empty] | 31/12/2023 14:00 | [11 empty] | 31/12/2023 14:00
31/12/2023 06:00 | 1759.826 | 1860.443 | 1659.208 | [7 empty] | 01/01/2024 11:00 | [11 empty] | 31/12/2023 14:30 | [11 empty] | 31/12/2023 14:30
31/12/2023 06:30 | 1685.301 | 1782.058 | 1588.544 | [7 empty] | 01/01/2024 11:30 | [11 empty] | 01/01/2024 10:30 | [11 empty] | 01/01/2024 10:30
31/12/2023 07:00 | 1606.365 | 1698.89 | 1513.841 | [7 empty] | 01/01/2024 12:00 | [11 empty] | 01/01/2024 11:00 | [11 empty] | 01/01/2024 11:00
31/12/2023 07:30 | 1498.072 | 1584.646 | 1411.499 | [7 empty] | 01/01/2024 12:30 | [11 empty] | 01/01/2024 11:30 | [11 empty] | 01/01/2024 11:30
31/12/2023 08:00 | 1404.501 | 1485.935 | 1323.067 | [7 empty] | 01/01/2024 13:00 | [11 empty] | 01/01/2024 12:00 | [11 empty] | 01/01/2024 12:00
31/12/2023 08:30 | 1333.229 | 1410.786 | 1255.672 | [7 empty] | 01/01/2024 13:30 | [11 empty] | 01/01/2024 12:30 | [11 empty] | 01/01/2024 12:30
31/12/2023 09:00 | 1290.332 | 1365.64 | 1215.024 | [7 empty] | 01/01/2024 14:00 | [11 empty] | 01/01/2024 13:00 | [11 empty] | 01/01/2024 13:00
31/12/2023 09:30 | 1283.838 | 1359.012 | 1208.664 | [7 empty] | 01/01/2024 14:30 | [11 empty] | 01/01/2024 13:30 | [11 empty] | 01/01/2024 13:30
31/12/2023 10:00 | 1302.863 | 1379.4 | 1226.326 | [7 empty] | 02/01/2024 12:00 | [11 empty] | 01/01/2024 14:00 | [11 empty] | 01/01/2024 14:00
31/12/2023 10:30 | 1329.014 | 1407.341 | 1250.687 | [7 empty] | 04/01/2024 12:30 | [11 empty] | 01/01/2024 14:30 | [11 empty] | 01/01/2024 14:30
31/12/2023 11:00 | 1353.658 | 1433.696 | 1273.619 | [7 empty] | 04/01/2024 13:00 | [11 empty] | 02/01/2024 12:00 | [11 empty] | 02/01/2024 12:30
31/12/2023 11:30 | 1406.37 | 1489.794 | 1322.946 | [7 empty] | 05/01/2024 10:00 | [11 empty] | 02/01/2024 15:30 | [11 empty] | 02/01/2024 13:00
31/12/2023 12:00 | 1472.024 | 1559.624 | 1384.425 | [7 empty] | 05/01/2024 10:30 | [11 empty] | 04/01/2024 11:00 | [11 empty] | 04/01/2024 12:30
31/12/2023 12:30 | 1543.634 | 1635.79 | 1451.478 | [7 empty] | 05/01/2024 11:00 | [11 empty] | 04/01/2024 12:30 | [11 empty] | 04/01/2024 13:00
31/12/2023 13:00 | 1600.497 | 1696.354 | 1504.641 | [7 empty] | 05/01/2024 11:30 | [11 empty] | 04/01/2024 13:00 | [11 empty] | 04/01/2024 13:30
31/12/2023 13:30 | 1661.851 | 1761.7 | 1562.003 | [7 empty] | 05/01/2024 12:00 | [11 empty] | 05/01/2024 10:00 | [11 empty] | 05/01/2024 09:30
31/12/2023 14:00 | 1770.578 | 1877.297 | 1663.858 | [19 empty] | 05/01/2024 10:30 | [11 empty] | 05/01/2024 10:00
31/12/2023 14:30 | 1915.498 | 2031.318 | 1799.677 | [19 empty] | 05/01/2024 11:00 | [11 empty] | 05/01/2024 10:30
31/12/2023 15:00 | 2077.704 | 2203.729 | 1951.679 | [19 empty] | 05/01/2024 11:30 | [11 empty] | 05/01/2024 11:00
31/12/2023 15:30 | 2246.245 | 2382.923 | 2109.568 | [31 empty] | 05/01/2024 11:30
31/12/2023 16:00 | 2427.994 | 2576.194 | 2279.794 | [31 empty] | 05/01/2024 12:00
31/12/2023 16:30 | 2603.218 | 2762.611 | 2443.825 | [31 empty] | 05/01/2024 12:30
31/12/2023 17:00 | 2748.549 | 2917.365 | 2579.732
31/12/2023 17:30 | 2830.951 | 3005.37 | 2656.533
31/12/2023 18:00 | 2853.083 | 3029.41 | 2676.755
31/12/2023 18:30 | 2827.187 | 3002.454 | 2651.919
31/12/2023 19:00 | 2791.474 | 2963.994 | 2617.967
31/12/2023 19:30 | 2764.718 | 2936.112 | 2592.336
31/12/2023 20:00 | 2683.755 | 2850.644 | 2515.904
31/12/2023 20:30 | 2595.381 | 2757.269 | 2432.556
31/12/2023 21:00 | 2498.346 | 2654.66 | 2341.128
31/12/2023 21:30 | 2403.436 | 2554.27 | 2251.727
31/12/2023 22:00 | 2311.598 | 2457.11 | 2165.241
31/12/2023 22:30 | 2230.991 | 2371.856 | 2089.308
31/12/2023 23:00 | 2161.243 | 2298.117 | 2023.571
31/12/2023 23:30 | 2101.911 | 2231.217 | 1971.86
01/01/2024 00:00 | 2056.957 | 2175.708 | 1938.206
01/01/2024 00:30 | 2015.593 | 2132.976 | 1898.211
01/01/2024 01:00 | 1972.132 | 2087.309 | 1856.954
01/01/2024 01:30 | 1946.738 | 2060.753 | 1832.722
01/01/2024 02:00 | 1925.802 | 2038.909 | 1812.694
01/01/2024 02:30 | 1905.816 | 2018.064 | 1793.568
01/01/2024 03:00 | 1892.311 | 2004.076 | 1780.545
01/01/2024 03:30 | 1884.096 | 1995.687 | 1772.505
01/01/2024 04:00 | 1872.361 | 1983.566 | 1761.156
01/01/2024 04:30 | 1848.206 | 1958.282 | 1738.13
01/01/2024 05:00 | 1823.346 | 1932.242 | 1714.45
01/01/2024 05:30 | 1781.134 | 1887.803 | 1674.465
01/01/2024 06:00 | 1709.229 | 1811.874 | 1606.584
01/01/2024 06:30 | 1637.587 | 1736.2 | 1538.974
01/01/2024 07:00 | 1543.656 | 1636.867 | 1450.444
01/01/2024 07:30 | 1413.042 | 1498.627 | 1327.457
01/01/2024 08:00 | 1300.468 | 1379.523 | 1221.413
01/01/2024 08:30 | 1253.44 | 1329.91 | 1176.97
01/01/2024 09:00 | 1249.264 | 1325.752 | 1172.776
01/01/2024 09:30 | 1233.698 | 1309.503 | 1157.894
01/01/2024 10:00 | 1255.426 | 1332.83 | 1178.012
01/01/2024 10:30 | 1304.203 | 1384.898 | 1223.496
01/01/2024 11:00 | 1353.535 | 1437.579 | 1269.48
01/01/2024 11:30 | 1387.012 | 1473.438 | 1300.575
01/01/2024 12:00 | 1438.524 | 1528.474 | 1348.563
01/01/2024 12:30 | 1521.167 | 1616.618 | 1425.705
01/01/2024 13:00 | 1601.592 | 1702.451 | 1500.743
01/01/2024 13:30 | 1676.346 | 1782.279 | 1570.424
01/01/2024 14:00 | 1794.335 | 1908.116 | 1680.565
01/01/2024 14:30 | 1934.069 | 2057.134 | 1811.016
01/01/2024 15:00 | 2105.922 | 2240.382 | 1971.474
01/01/2024 15:30 | 2305.715 | 2453.435 | 2158.006
01/01/2024 16:00 | 2474.011 | 2633.054 | 2314.979
01/01/2024 16:30 | 2622.511 | 2791.672 | 2453.358
01/01/2024 17:00 | 2750.895 | 2928.939 | 2572.86
01/01/2024 17:30 | 2820.772 | 3003.955 | 2637.597
01/01/2024 18:00 | 2840.971 | 3026.086 | 2655.863
01/01/2024 18:30 | 2808.667 | 2992.292 | 2625.043
01/01/2024 19:00 | 2757.962 | 2938.873 | 2577.05
01/01/2024 19:30 | 2702.343 | 2880.197 | 2524.489
01/01/2024 20:00 | 2609.604 | 2781.924 | 2437.284
01/01/2024 20:30 | 2501.424 | 2667.147 | 2335.7
01/01/2024 21:00 | 2405.772 | 2565.684 | 2245.861
01/01/2024 21:30 | 2309.634 | 2463.66 | 2155.607
01/01/2024 22:00 | 2217.198 | 2365.544 | 2068.852
01/01/2024 22:30 | 2145.912 | 2289.958 | 2001.867
01/01/2024 23:00 | 2083.878 | 2224.215 | 1943.542
01/01/2024 23:30 | 2029.251 | 2166.353 | 1892.15
02/01/2024 00:00 | 1986.74 | 2121.404 | 1852.077
02/01/2024 00:30 | 1954.145 | 2087.026 | 1821.265
02/01/2024 01:00 | 1932.171 | 2063.98 | 1800.362
02/01/2024 01:30 | 1912.347 | 2043.221 | 1781.473
02/01/2024 02:00 | 1898.68 | 2029.033 | 1768.326
02/01/2024 02:30 | 1890.612 | 2020.824 | 1760.399
02/01/2024 03:00 | 1888.558 | 2019.042 | 1758.074
02/01/2024 03:30 | 1898.051 | 2029.605 | 1766.496
02/01/2024 04:00 | 1915.301 | 2048.47 | 1782.133
02/01/2024 04:30 | 1930.319 | 2064.953 | 1795.684
02/01/2024 05:00 | 1948.484 | 2084.811 | 1812.156
02/01/2024 05:30 | 1970.435 | 2108.729 | 1832.141
02/01/2024 06:00 | 1981.615 | 2121.126 | 1842.104
02/01/2024 06:30 | 1962.92 | 2101.544 | 1824.296
02/01/2024 07:00 | 1902.332 | 2037.093 | 1767.571
02/01/2024 07:30 | 1804.672 | 1932.908 | 1676.435
02/01/2024 08:00 | 1739.481 | 1863.465 | 1615.496
02/01/2024 08:30 | 1693.82 | 1814.92 | 1572.72
02/01/2024 09:00 | 1672.613 | 1792.562 | 1552.664
02/01/2024 09:30 | 1681.438 | 1802.388 | 1560.489
02/01/2024 10:00 | 1703.337 | 1826.233 | 1580.44
02/01/2024 10:30 | 1736.715 | 1862.399 | 1611.03
02/01/2024 11:00 | 1803.37 | 1934.272 | 1672.467
02/01/2024 11:30 | 1905.844 | 2044.601 | 1767.087
02/01/2024 12:00 | 1998.084 | 2143.993 | 1852.175
02/01/2024 12:30 | 2082.668 | 2235.209 | 1930.128
02/01/2024 13:00 | 2206.693 | 2368.8 | 2044.586
02/01/2024 13:30 | 2356.618 | 2530.254 | 2182.982
02/01/2024 14:00 | 2480.777 | 2664.103 | 2297.452
02/01/2024 14:30 | 2604.096 | 2797.104 | 2411.089
02/01/2024 15:00 | 2748.195 | 2952.484 | 2543.907
02/01/2024 15:30 | 2898.246 | 3114.322 | 2682.171
02/01/2024 16:00 | 3035.558 | 3262.534 | 2808.582
02/01/2024 16:30 | 3157.952 | 3394.769 | 2921.134
02/01/2024 17:00 | 3217.91 | 3459.927 | 2975.893
02/01/2024 17:30 | 3226.432 | 3469.795 | 2983.069
02/01/2024 18:00 | 3188.231 | 3429.409 | 2947.053
02/01/2024 18:30 | 3109.823 | 3345.75 | 2873.897
02/01/2024 19:00 | 3028.246 | 3258.645 | 2797.847
02/01/2024 19:30 | 2947.524 | 3172.425 | 2722.623
02/01/2024 20:00 | 2836.629 | 3053.689 | 2619.57
02/01/2024 20:30 | 2702.563 | 2909.955 | 2495.172
02/01/2024 21:00 | 2564.717 | 2762.09 | 2367.343
02/01/2024 21:30 | 2448.382 | 2637.337 | 2259.426
02/01/2024 22:00 | 2344.412 | 2525.856 | 2162.968
02/01/2024 22:30 | 2256.962 | 2432.131 | 2081.793
02/01/2024 23:00 | 2188.741 | 2359.094 | 2018.389
02/01/2024 23:30 | 2126.234 | 2292.186 | 1960.282
03/01/2024 00:00 | 2074.001 | 2236.33 | 1911.673
03/01/2024 00:30 | 2032.271 | 2191.777 | 1872.764
03/01/2024 01:00 | 2001.468 | 2158.993 | 1843.942
03/01/2024 01:30 | 1974.168 | 2129.977 | 1818.36
03/01/2024 02:00 | 1952.806 | 2107.355 | 1798.257
03/01/2024 02:30 | 1941.488 | 2095.566 | 1787.41
03/01/2024 03:00 | 1936.929 | 2091.068 | 1782.79
03/01/2024 03:30 | 1944.47 | 2099.634 | 1789.306
03/01/2024 04:00 | 1963.209 | 2120.297 | 1806.12
03/01/2024 04:30 | 1980.409 | 2139.306 | 1821.512
03/01/2024 05:00 | 1993.788 | 2154.194 | 1833.381
03/01/2024 05:30 | 1989.713 | 2150.226 | 1829.2
03/01/2024 06:00 | 1960.027 | 2118.574 | 1801.481
03/01/2024 06:30 | 1914.78 | 2070.085 | 1759.475
03/01/2024 07:00 | 1835.955 | 1985.268 | 1686.642
03/01/2024 07:30 | 1736.966 | 1878.591 | 1595.341
03/01/2024 08:00 | 1638.991 | 1772.939 | 1505.043
03/01/2024 08:30 | 1543.192 | 1669.607 | 1416.778
03/01/2024 09:00 | 1486.406 | 1608.454 | 1364.359
03/01/2024 09:30 | 1446.794 | 1565.867 | 1327.722
03/01/2024 10:00 | 1435.544 | 1553.966 | 1317.122
03/01/2024 10:30 | 1482.828 | 1605.434 | 1360.221
03/01/2024 11:00 | 1554 | 1682.789 | 1425.211
03/01/2024 11:30 | 1609.161 | 1742.83 | 1475.492
03/01/2024 12:00 | 1687.11 | 1827.577 | 1546.642
03/01/2024 12:30 | 1776.095 | 1924.312 | 1627.878
03/01/2024 13:00 | 1894.834 | 2053.323 | 1736.345
03/01/2024 13:30 | 2046.117 | 2217.652 | 1874.582
03/01/2024 14:00 | 2210.566 | 2396.311 | 2024.821
03/01/2024 14:30 | 2385.026 | 2585.887 | 2184.165
03/01/2024 15:00 | 2571.935 | 2789.03 | 2354.84
03/01/2024 15:30 | 2771.697 | 3006.185 | 2537.209
03/01/2024 16:00 | 2961.149 | 3212.233 | 2710.066
03/01/2024 16:30 | 3109.76 | 3374.041 | 2845.48
03/01/2024 17:00 | 3208.208 | 3481.47 | 2934.947
03/01/2024 17:30 | 3255.144 | 3533.027 | 2977.26
03/01/2024 18:00 | 3245.698 | 3523.397 | 2967.998
03/01/2024 18:30 | 3183.677 | 3456.681 | 2910.674
03/01/2024 19:00 | 3108.023 | 3375.134 | 2840.911
03/01/2024 19:30 | 3035.041 | 3296.462 | 2773.62
03/01/2024 20:00 | 2924.248 | 3176.686 | 2671.81
03/01/2024 20:30 | 2790.155 | 3031.552 | 2548.758
03/01/2024 21:00 | 2655.531 | 2885.79 | 2425.272
03/01/2024 21:30 | 2533.567 | 2753.736 | 2313.397
03/01/2024 22:00 | 2417.855 | 2628.432 | 2207.278
03/01/2024 22:30 | 2314.937 | 2516.995 | 2112.88
03/01/2024 23:00 | 2229.804 | 2424.858 | 2034.75
03/01/2024 23:30 | 2150.829 | 2339.387 | 1962.271
04/01/2024 00:00 | 2082.847 | 2265.844 | 1899.85
04/01/2024 00:30 | 2032.711 | 2211.693 | 1853.729
04/01/2024 01:00 | 1995.561 | 2171.654 | 1819.467
04/01/2024 01:30 | 1968.738 | 2142.842 | 1794.635
04/01/2024 02:00 | 1948.414 | 2121.094 | 1775.734
04/01/2024 02:30 | 1936.655 | 2108.664 | 1764.646
04/01/2024 03:00 | 1931.287 | 2103.19 | 1759.385
04/01/2024 03:30 | 1937.015 | 2109.798 | 1764.231
04/01/2024 04:00 | 1953.158 | 2127.755 | 1778.56
04/01/2024 04:30 | 1971.678 | 2148.309 | 1795.047
04/01/2024 05:00 | 1984.612 | 2162.782 | 1806.442
04/01/2024 05:30 | 1977.36 | 2155.258 | 1799.462
04/01/2024 06:00 | 1944.879 | 2120.228 | 1769.531
04/01/2024 06:30 | 1896.069 | 2067.38 | 1724.757
04/01/2024 07:00 | 1810.723 | 1974.67 | 1646.776
04/01/2024 07:30 | 1709.192 | 1864.274 | 1554.11
04/01/2024 08:00 | 1603.3 | 1749.081 | 1457.518
04/01/2024 08:30 | 1507.812 | 1645.2 | 1370.424
04/01/2024 09:00 | 1456.832 | 1589.854 | 1323.81
04/01/2024 09:30 | 1434.15 | 1565.376 | 1302.924
04/01/2024 10:00 | 1444.012 | 1576.417 | 1311.607
04/01/2024 10:30 | 1489.31 | 1626.154 | 1352.466
04/01/2024 11:00 | 1552.365 | 1695.3 | 1409.429
04/01/2024 11:30 | 1622.104 | 1771.771 | 1472.437
04/01/2024 12:00 | 1710.041 | 1868.149 | 1551.932
04/01/2024 12:30 | 1800.886 | 1967.74 | 1634.033
04/01/2024 13:00 | 1916.303 | 2094.217 | 1738.388
04/01/2024 13:30 | 2063.715 | 2255.711 | 1871.719
04/01/2024 14:00 | 2224.457 | 2431.833 | 2017.08
04/01/2024 14:30 | 2396.344 | 2620.204 | 2172.483
04/01/2024 15:00 | 2579.103 | 2820.53 | 2337.675
04/01/2024 15:30 | 2773.749 | 3033.928 | 2513.569
04/01/2024 16:00 | 2955.688 | 3233.5 | 2677.875
04/01/2024 16:30 | 3120.445 | 3414.341 | 2826.549
04/01/2024 17:00 | 3230.297 | 3535.159 | 2925.436
04/01/2024 17:30 | 3291.53 | 3602.802 | 2980.259
04/01/2024 18:00 | 3284.275 | 3595.49 | 2973.06
04/01/2024 18:30 | 3225.948 | 3532.254 | 2919.642
04/01/2024 19:00 | 3154.831 | 3454.989 | 2854.672
04/01/2024 19:30 | 3088.221 | 3382.633 | 2793.808
04/01/2024 20:00 | 2978.203 | 3262.698 | 2693.708
04/01/2024 20:30 | 2838.465 | 3110.156 | 2566.775
04/01/2024 21:00 | 2701.05 | 2960.105 | 2441.995
04/01/2024 21:30 | 2581.995 | 2830.126 | 2333.863
04/01/2024 22:00 | 2466.628 | 2704.146 | 2229.111
04/01/2024 22:30 | 2363.622 | 2591.674 | 2135.57
04/01/2024 23:00 | 2277.062 | 2497.198 | 2056.925
04/01/2024 23:30 | 2197.124 | 2409.954 | 1984.294
05/01/2024 00:00 | 2130.864 | 2337.684 | 1924.045
05/01/2024 00:30 | 2083.46 | 2286.078 | 1880.842
05/01/2024 01:00 | 2048.483 | 2248.093 | 1848.874
05/01/2024 01:30 | 2019.427 | 2216.592 | 1822.262
05/01/2024 02:00 | 1996.313 | 2191.604 | 1801.023
05/01/2024 02:30 | 1981.56 | 2175.788 | 1787.333
05/01/2024 03:00 | 1974.038 | 2167.907 | 1780.17
05/01/2024 03:30 | 1979.911 | 2174.736 | 1785.086
05/01/2024 04:00 | 1996.462 | 2193.297 | 1799.626
05/01/2024 04:30 | 2009.907 | 2208.454 | 1811.36
05/01/2024 05:00 | 2019.534 | 2219.419 | 1819.649
05/01/2024 05:30 | 2017.345 | 2217.4 | 1817.29
05/01/2024 06:00 | 1984.472 | 2181.647 | 1787.297
05/01/2024 06:30 | 1936.663 | 2129.459 | 1743.867
05/01/2024 07:00 | 1857.21 | 2042.452 | 1671.967
05/01/2024 07:30 | 1765.398 | 1941.911 | 1588.884
05/01/2024 08:00 | 1693.105 | 1862.973 | 1523.238
05/01/2024 08:30 | 1626.904 | 1790.675 | 1463.133
05/01/2024 09:00 | 1589.06 | 1749.554 | 1428.565
05/01/2024 09:30 | 1570.941 | 1730.132 | 1411.749
05/01/2024 10:00 | 1584.859 | 1745.993 | 1423.726
05/01/2024 10:30 | 1638.335 | 1805.454 | 1471.216
05/01/2024 11:00 | 1709.124 | 1884.037 | 1534.211
05/01/2024 11:30 | 1775.65 | 1957.968 | 1593.333
05/01/2024 12:00 | 1867.161 | 2059.5 | 1674.822
05/01/2024 12:30 | 1974.49 | 2178.547 | 1770.432
05/01/2024 13:00 | 2093.674 | 2310.75 | 1876.597
05/01/2024 13:30 | 2235.112 | 2467.603 | 2002.622
05/01/2024 14:00 | 2390.246 | 2639.675 | 2140.817
05/01/2024 14:30 | 2553.399 | 2820.709 | 2286.089
05/01/2024 15:00 | 2728.323 | 3014.861 | 2441.786
05/01/2024 15:30 | 2934.873 | 3244.087 | 2625.658
05/01/2024 16:00 | 3126.308 | 3456.74 | 2795.876
05/01/2024 16:30 | 3261.278 | 3607.068 | 2915.487
05/01/2024 17:00 | 3342.041 | 3697.515 | 2986.566
05/01/2024 17:30 | 3370.93 | 3730.607 | 3011.253
05/01/2024 18:00 | 3345.858 | 3703.982 | 2987.734
05/01/2024 18:30 | 3274.472 | 3626.053 | 2922.89
05/01/2024 19:00 | 3200.968 | 3545.73 | 2856.206
05/01/2024 19:30 | 3139.102 | 3478.254 | 2799.95
05/01/2024 20:00 | 3042.262 | 3371.971 | 2712.553
05/01/2024 20:30 | 2922.816 | 3240.56 | 2605.072
05/01/2024 21:00 | 2804.394 | 3110.204 | 2498.583
05/01/2024 21:30 | 2691.191 | 2985.559 | 2396.823
05/01/2024 22:00 | 2581.267 | 2864.477 | 2298.057
05/01/2024 22:30 | 2478.109 | 2750.832 | 2205.387
05/01/2024 23:00 | 2385.207 | 2648.506 | 2121.909
05/01/2024 23:30 | 2302.621 | 2556.077 | 2049.164
06/01/2024 00:00 | 2233.855 | 2477.704 | 1990.006
06/01/2024 00:30 | 2181.454 | 2420.816 | 1942.092
06/01/2024 01:00 | 2137.996 | 2373.546 | 1902.446
06/01/2024 01:30 | 2100.211 | 2332.538 | 1867.884
06/01/2024 02:00 | 2074.382 | 2304.78 | 1843.984
06/01/2024 02:30 | 2051.385 | 2280.146 | 1822.623
06/01/2024 03:00 | 2031.128 | 2258.539 | 1803.716
06/01/2024 03:30 | 2021.513 | 2248.752 | 1794.273
06/01/2024 04:00 | 2015.887 | 2243.396 | 1788.378
06/01/2024 04:30 | 1990.865 | 2216.441 | 1765.289
06/01/2024 05:00 | 1959.49 | 2182.388 | 1736.592
06/01/2024 05:30 | 1926.26 | 2146.24 | 1706.28
06/01/2024 06:00 | 1863.695 | 2077.364 | 1650.026
06/01/2024 06:30 | 1804.171 | 2011.822 | 1596.519
06/01/2024 07:00 | 1730.67 | 1930.637 | 1530.703
06/01/2024 07:30 | 1647.588 | 1838.692 | 1456.484