## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
31/12/2023 08:00 | 1443.74 | 1474.749 | 1425.95
31/12/2023 08:30 | 1388.389 | 1417.054 | 1359.724 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
31/12/2023 09:00 | 1356.893 | 1390.095 | 1323.691 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
31/12/2023 09:30 | 1331.022 | 1368.679 | 1293.364 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
31/12/2023 10:00 | 1338.796 | 1381.792 | 1295.8 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
31/12/2023 10:30 | 1359.239 | 1406.742 | 1311.736 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
31/12/2023 11:00 | 1374.55 | 1423.788 | 1325.313 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
31/12/2023 11:30 | 1405.267 | 1457.069 | 1353.466 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
31/12/2023 12:00 | 1462.328 | 1517.756 | 1406.9 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
31/12/2023 12:30 | 1549.471 | 1609.816 | 1489.127 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
31/12/2023 13:00 | 1618.985 | 1683.723 | 1554.247 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
31/12/2023 13:30 | 1684.439 | 1753.548 | 1615.329
31/12/2023 14:00 | 1804.798 | 1880.726 | 1728.871 | Summary view - for each schedule horizon (dispatch, week-ahead)
31/12/2023 14:30 | 1965.584 | 2050.323 | 1875.637
31/12/2023 15:00 | 2141.903 | 2232.506 | 2043.699 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
31/12/2023 15:30 | 2324.47 | 2424.183 | 2214.54 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
31/12/2023 16:00 | 2516.395 | 2627.307 | 2395.092 | Scenario | Violations
31/12/2023 16:30 | 2694.101 | 2817.023 | 2562.685 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
31/12/2023 17:00 | 2831.343 | 2962.232 | 2689.164 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
31/12/2023 17:30 | 2914.297 | 3052.412 | 2765.25 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 2
31/12/2023 18:00 | 2942.141 | 3086.259 | 2790.081 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 2
31/12/2023 18:30 | 2914.175 | 3060.225 | 2762.308 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 1
31/12/2023 19:00 | 2877.726 | 3025.59 | 2729.862
31/12/2023 19:30 | 2851.976 | 2999.267 | 2704.684 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
31/12/2023 20:00 | 2768.33 | 2912.031 | 2624.629
31/12/2023 20:30 | 2678.825 | 2818.585 | 2539.065 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
31/12/2023 21:00 | 2578.74 | 2713.958 | 2443.523 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
31/12/2023 21:30 | 2480.06 | 2610.756 | 2349.364 | [7 empty] | 01/01/2024 12:30 |  |  |  |  | 31/12/2023 08:00 | [6 empty] | 01/01/2024 12:30 |  |  |  |  | 31/12/2023 08:00 | [6 empty] | 31/12/2023 13:30 |  |  |  |  | 31/12/2023 08:00
31/12/2023 22:00 | 2382.516 | 2508.699 | 2256.333 | [7 empty] | 01/01/2024 13:00 |  |  |  |  | 31/12/2023 09:00 | [6 empty] | 01/01/2024 13:00 |  |  |  |  | 31/12/2023 12:00 | [6 empty] | 31/12/2023 14:00
31/12/2023 22:30 | 2296.491 | 2418.722 | 2174.259 | [7 empty] | 01/01/2024 13:30 | [11 empty] | 01/01/2024 13:30 | [11 empty] | 02/01/2024 11:00
31/12/2023 23:00 | 2222.083 | 2340.939 | 2103.226 | [7 empty] | 02/01/2024 10:00 | [11 empty] | 04/01/2024 11:30 | [11 empty] | 02/01/2024 12:30
31/12/2023 23:30 | 2158.404 | 2269.476 | 2047.332 | [7 empty] | 02/01/2024 10:30 | [11 empty] | 04/01/2024 12:00 | [11 empty] | 04/01/2024 13:00
01/01/2024 00:00 | 2109.046 | 2208.658 | 2009.434 | [7 empty] | 04/01/2024 12:30 | [11 empty] | 04/01/2024 12:30 | [11 empty] | 04/01/2024 13:30
01/01/2024 00:30 | 2063.455 | 2162.545 | 1964.365 | [7 empty] | 04/01/2024 13:00 | [11 empty] | 04/01/2024 13:00 | [11 empty] | 05/01/2024 10:00
01/01/2024 01:00 | 2016.706 | 2114.34 | 1919.072 | [7 empty] | 04/01/2024 13:30 | [11 empty] | 04/01/2024 13:30 | [11 empty] | 05/01/2024 10:30
01/01/2024 01:30 | 1987.952 | 2084.972 | 1890.932 | [7 empty] | 05/01/2024 09:00 | [11 empty] | 05/01/2024 09:30 | [11 empty] | 05/01/2024 11:00
01/01/2024 02:00 | 1964.454 | 2061.096 | 1867.812 | [7 empty] | 05/01/2024 09:30 | [11 empty] | 05/01/2024 10:00 | [11 empty] | 05/01/2024 11:30
01/01/2024 02:30 | 1942.548 | 2038.873 | 1846.224 | [7 empty] | 05/01/2024 10:00 | [11 empty] | 05/01/2024 10:30 | [11 empty] | 05/01/2024 12:00
01/01/2024 03:00 | 1926.421 | 2022.7 | 1830.142 | [7 empty] | 05/01/2024 10:30 | [11 empty] | 05/01/2024 11:00 | [11 empty] | 06/01/2024 10:00
01/01/2024 03:30 | 1916.386 | 2012.913 | 1819.858 | [7 empty] | 05/01/2024 11:00 | [11 empty] | 05/01/2024 11:30 | [11 empty] | 06/01/2024 10:30
01/01/2024 04:00 | 1903.198 | 1999.806 | 1806.59 | [7 empty] | 05/01/2024 11:30 | [11 empty] | 06/01/2024 10:00 | [11 empty] | 06/01/2024 11:00
01/01/2024 04:30 | 1877.414 | 1973.448 | 1781.38 | [7 empty] | 06/01/2024 10:30 | [11 empty] | 06/01/2024 10:30 | [11 empty] | 06/01/2024 11:30
01/01/2024 05:00 | 1847.846 | 1943.091 | 1752.601 | [7 empty] | 06/01/2024 11:00 | [11 empty] | 06/01/2024 11:00 | [11 empty] | 06/01/2024 12:00
01/01/2024 05:30 | 1793.492 | 1886.637 | 1700.346 | [7 empty] | 06/01/2024 11:30 | [11 empty] | 06/01/2024 11:30 | [11 empty] | 06/01/2024 12:30
01/01/2024 06:00 | 1702.109 | 1791.175 | 1613.043 | [7 empty] | 06/01/2024 12:00
01/01/2024 06:30 | 1611.025 | 1695.825 | 1526.224 | [7 empty] | 06/01/2024 12:30
01/01/2024 07:00 | 1511.975 | 1591.79 | 1432.16
01/01/2024 07:30 | 1394.67 | 1468.523 | 1320.817
01/01/2024 08:00 | 1280.77 | 1348.803 | 1212.737
01/01/2024 08:30 | 1216.064 | 1280.861 | 1151.267
01/01/2024 09:00 | 1195.17 | 1259.051 | 1131.289
01/01/2024 09:30 | 1164.343 | 1226.768 | 1101.917
01/01/2024 10:00 | 1171.835 | 1234.856 | 1108.814
01/01/2024 10:30 | 1203.704 | 1268.638 | 1138.771
01/01/2024 11:00 | 1247.674 | 1315.185 | 1180.163
01/01/2024 11:30 | 1292.707 | 1362.868 | 1222.546
01/01/2024 12:00 | 1355.293 | 1429.075 | 1281.511
01/01/2024 12:30 | 1438.522 | 1517.073 | 1359.972
01/01/2024 13:00 | 1514.93 | 1597.903 | 1431.957
01/01/2024 13:30 | 1576.035 | 1662.615 | 1489.456
01/01/2024 14:00 | 1678.463 | 1770.947 | 1585.979
01/01/2024 14:30 | 1808.077 | 1908.001 | 1708.152
01/01/2024 15:00 | 1977.129 | 2086.722 | 1867.536
01/01/2024 15:30 | 2175.98 | 2296.955 | 2055.005
01/01/2024 16:00 | 2363.377 | 2495.16 | 2231.594
01/01/2024 16:30 | 2544.298 | 2686.59 | 2402.006
01/01/2024 17:00 | 2703.357 | 2854.991 | 2551.724
01/01/2024 17:30 | 2797.568 | 2954.948 | 2640.188
01/01/2024 18:00 | 2828.458 | 2988.042 | 2668.873
01/01/2024 18:30 | 2796.894 | 2955.16 | 2638.629
01/01/2024 19:00 | 2741.886 | 2897.491 | 2586.28
01/01/2024 19:30 | 2682.243 | 2834.907 | 2529.58
01/01/2024 20:00 | 2587.912 | 2735.633 | 2440.19
01/01/2024 20:30 | 2481.405 | 2623.457 | 2339.353
01/01/2024 21:00 | 2386.849 | 2523.882 | 2249.816
01/01/2024 21:30 | 2291.443 | 2423.376 | 2159.509
01/01/2024 22:00 | 2199.844 | 2326.867 | 2072.821
01/01/2024 22:30 | 2129.282 | 2252.583 | 2005.982
01/01/2024 23:00 | 2068.329 | 2187.756 | 1948.217
01/01/2024 23:30 | 2014.523 | 2131.177 | 1897.202
02/01/2024 00:00 | 1972.853 | 2087.42 | 1857.633
02/01/2024 00:30 | 1941.715 | 2054.795 | 1827.994
02/01/2024 01:00 | 1920.814 | 2032.994 | 1808
02/01/2024 01:30 | 1901.43 | 2012.792 | 1789.44
02/01/2024 02:00 | 1889.154 | 2000.109 | 1778.199
02/01/2024 02:30 | 1881.564 | 1992.384 | 1770.744
02/01/2024 03:00 | 1879.212 | 1990.203 | 1768.221
02/01/2024 03:30 | 1888.224 | 2000.059 | 1776.388
02/01/2024 04:00 | 1905.776 | 2018.965 | 1792.586
02/01/2024 04:30 | 1922.468 | 2036.967 | 1807.97
02/01/2024 05:00 | 1942.074 | 2058.061 | 1826.087
02/01/2024 05:30 | 1967.306 | 2085.124 | 1849.487
02/01/2024 06:00 | 2004.78 | 2125.173 | 1884.386
02/01/2024 06:30 | 2038.682 | 2161.449 | 1915.916
02/01/2024 07:00 | 2028.113 | 2150.577 | 1905.648
02/01/2024 07:30 | 1977.508 | 2097.281 | 1857.735
02/01/2024 08:00 | 1948.618 | 2067.073 | 1830.162
02/01/2024 08:30 | 1927.294 | 2044.875 | 1809.714
02/01/2024 09:00 | 1931.757 | 2050.032 | 1813.483
02/01/2024 09:30 | 1974.611 | 2095.941 | 1853.281
02/01/2024 10:00 | 2019.998 | 2144.558 | 1895.438
02/01/2024 10:30 | 2053.217 | 2180.274 | 1926.16
02/01/2024 11:00 | 2097.528 | 2227.785 | 1967.27
02/01/2024 11:30 | 2123.542 | 2255.879 | 1991.206
02/01/2024 12:00 | 2133.341 | 2266.754 | 1999.927
02/01/2024 12:30 | 2119.34 | 2252.341 | 1986.339
02/01/2024 13:00 | 2157.753 | 2293.636 | 2021.87
02/01/2024 13:30 | 2256.367 | 2398.953 | 2113.781
02/01/2024 14:00 | 2355.231 | 2504.58 | 2205.883
02/01/2024 14:30 | 2520.561 | 2680.944 | 2360.178
02/01/2024 15:00 | 2657.864 | 2827.564 | 2488.164
02/01/2024 15:30 | 2769.147 | 2946.558 | 2591.737
02/01/2024 16:00 | 2893.351 | 3079.351 | 2707.351
02/01/2024 16:30 | 3026.802 | 3222.042 | 2831.562
02/01/2024 17:00 | 3086.189 | 3285.934 | 2886.444
02/01/2024 17:30 | 3089.032 | 3289.636 | 2888.428
02/01/2024 18:00 | 3058.441 | 3257.727 | 2859.156
02/01/2024 18:30 | 2988.828 | 3184.231 | 2793.426
02/01/2024 19:00 | 2907.448 | 3098.165 | 2716.731
02/01/2024 19:30 | 2842.24 | 3029.301 | 2655.179
02/01/2024 20:00 | 2745.169 | 2926.441 | 2563.897
02/01/2024 20:30 | 2623.383 | 2797.186 | 2449.58
02/01/2024 21:00 | 2497.102 | 2663.084 | 2331.12
02/01/2024 21:30 | 2389.52 | 2548.874 | 2230.167
02/01/2024 22:00 | 2292.801 | 2446.205 | 2139.396
02/01/2024 22:30 | 2209.625 | 2357.947 | 2061.303
02/01/2024 23:00 | 2144.323 | 2288.73 | 1999.916
02/01/2024 23:30 | 2085.676 | 2226.589 | 1944.763
03/01/2024 00:00 | 2034.639 | 2172.549 | 1896.729
03/01/2024 00:30 | 1994.287 | 2129.898 | 1858.677
03/01/2024 01:00 | 1965.331 | 2099.401 | 1831.26
03/01/2024 01:30 | 1940.007 | 2072.774 | 1807.24
03/01/2024 02:00 | 1920.425 | 2052.271 | 1788.578
03/01/2024 02:30 | 1910.476 | 2042.057 | 1778.895
03/01/2024 03:00 | 1907.282 | 2039.06 | 1775.504
03/01/2024 03:30 | 1915.418 | 2048.176 | 1782.66
03/01/2024 04:00 | 1934.6 | 2069.111 | 1800.09
03/01/2024 04:30 | 1952.869 | 2089.076 | 1816.662
03/01/2024 05:00 | 1967.76 | 2105.436 | 1830.084
03/01/2024 05:30 | 1962.317 | 2100.041 | 1824.593
03/01/2024 06:00 | 1928.56 | 2064.335 | 1792.784
03/01/2024 06:30 | 1880.7 | 2013.517 | 1747.882
03/01/2024 07:00 | 1797.087 | 1924.392 | 1669.782
03/01/2024 07:30 | 1693.949 | 1814.318 | 1573.58
03/01/2024 08:00 | 1592.91 | 1706.447 | 1479.373
03/01/2024 08:30 | 1493.632 | 1600.419 | 1386.844
03/01/2024 09:00 | 1432.412 | 1535.135 | 1329.688
03/01/2024 09:30 | 1388.126 | 1487.977 | 1288.276
03/01/2024 10:00 | 1371.4 | 1470.348 | 1272.453
03/01/2024 10:30 | 1409.2 | 1511.183 | 1307.218
03/01/2024 11:00 | 1473.109 | 1580.039 | 1366.18
03/01/2024 11:30 | 1522.281 | 1633.112 | 1411.45
03/01/2024 12:00 | 1594.664 | 1711.114 | 1478.214
03/01/2024 12:30 | 1683.984 | 1807.324 | 1560.644
03/01/2024 13:00 | 1804.184 | 1936.722 | 1671.646
03/01/2024 13:30 | 1957.831 | 2102.084 | 1813.578
03/01/2024 14:00 | 2113.895 | 2270.109 | 1957.681
03/01/2024 14:30 | 2267.189 | 2435.226 | 2099.152
03/01/2024 15:00 | 2439.045 | 2620.352 | 2257.737
03/01/2024 15:30 | 2631.77 | 2827.978 | 2435.561
03/01/2024 16:00 | 2817.705 | 3028.391 | 2607.018
03/01/2024 16:30 | 2969.525 | 3192.212 | 2746.837
03/01/2024 17:00 | 3074.085 | 3305.285 | 2842.885
03/01/2024 17:30 | 3128.343 | 3364.308 | 2892.379
03/01/2024 18:00 | 3124.63 | 3360.997 | 2888.263
03/01/2024 18:30 | 3070.337 | 3303.268 | 2837.406
03/01/2024 19:00 | 3004.056 | 3232.615 | 2775.498
03/01/2024 19:30 | 2936.623 | 3160.693 | 2712.553
03/01/2024 20:00 | 2832.474 | 3049.216 | 2615.732
03/01/2024 20:30 | 2706.07 | 2913.731 | 2498.41
03/01/2024 21:00 | 2579.221 | 2777.711 | 2380.731
03/01/2024 21:30 | 2464.689 | 2654.903 | 2274.475
03/01/2024 22:00 | 2356.461 | 2538.838 | 2174.085
03/01/2024 22:30 | 2260.308 | 2435.737 | 2084.879
03/01/2024 23:00 | 2180.839 | 2350.577 | 2011.102
03/01/2024 23:30 | 2106.606 | 2271.026 | 1942.186
04/01/2024 00:00 | 2043.063 | 2202.97 | 1883.157
04/01/2024 00:30 | 1996.174 | 2152.848 | 1839.501
04/01/2024 01:00 | 1961.564 | 2115.949 | 1807.179
04/01/2024 01:30 | 1936.854 | 2089.717 | 1783.99
04/01/2024 02:00 | 1918.221 | 2070.033 | 1766.409
04/01/2024 02:30 | 1907.75 | 2059.15 | 1756.35
04/01/2024 03:00 | 1903.84 | 2055.346 | 1752.334
04/01/2024 03:30 | 1910.912 | 2063.399 | 1758.426
04/01/2024 04:00 | 1928.032 | 2082.305 | 1773.758
04/01/2024 04:30 | 1947.49 | 2103.746 | 1791.234
04/01/2024 05:00 | 1961.105 | 2118.882 | 1803.328
04/01/2024 05:30 | 1951.212 | 2108.619 | 1793.805
04/01/2024 06:00 | 1914.241 | 2069.084 | 1759.398
04/01/2024 06:30 | 1861.663 | 2012.66 | 1710.667
04/01/2024 07:00 | 1770.958 | 1914.984 | 1626.931
04/01/2024 07:30 | 1664.164 | 1799.853 | 1528.475
04/01/2024 08:00 | 1554.277 | 1681.302 | 1427.253
04/01/2024 08:30 | 1454.458 | 1573.604 | 1335.312
04/01/2024 09:00 | 1399.39 | 1514.292 | 1284.487
04/01/2024 09:30 | 1371.213 | 1484.065 | 1258.361
04/01/2024 10:00 | 1375.871 | 1489.37 | 1262.372
04/01/2024 10:30 | 1416.47 | 1533.589 | 1299.35
04/01/2024 11:00 | 1474.355 | 1596.544 | 1352.167
04/01/2024 11:30 | 1539.215 | 1667.074 | 1411.356
04/01/2024 12:00 | 1621.456 | 1756.458 | 1486.455
04/01/2024 12:30 | 1707.22 | 1849.689 | 1564.751
04/01/2024 13:00 | 1821.24 | 1973.573 | 1668.907
04/01/2024 13:30 | 1966.137 | 2130.967 | 1801.307
04/01/2024 14:00 | 2123.108 | 2301.504 | 1944.712
04/01/2024 14:30 | 2292.834 | 2485.931 | 2099.737
04/01/2024 15:00 | 2474.218 | 2683.065 | 2265.371
04/01/2024 15:30 | 2670.421 | 2896.342 | 2444.501
04/01/2024 16:00 | 2855.492 | 3097.617 | 2613.368
04/01/2024 16:30 | 3025.171 | 3282.263 | 2768.079
04/01/2024 17:00 | 3141.827 | 3409.435 | 2874.219
04/01/2024 17:30 | 3209.345 | 3483.319 | 2935.371
04/01/2024 18:00 | 3206.896 | 3481.275 | 2932.516
04/01/2024 18:30 | 3154.022 | 3424.483 | 2883.562
04/01/2024 19:00 | 3085.016 | 3350.15 | 2819.881
04/01/2024 19:30 | 3020.806 | 3281.001 | 2760.611
04/01/2024 20:00 | 2913.982 | 3165.534 | 2662.43
04/01/2024 20:30 | 2778.491 | 3018.879 | 2538.103
04/01/2024 21:00 | 2645.392 | 2874.772 | 2416.012
04/01/2024 21:30 | 2531.23 | 2751.196 | 2311.264
04/01/2024 22:00 | 2420.733 | 2631.561 | 2209.906
04/01/2024 22:30 | 2322.189 | 2524.88 | 2119.499
04/01/2024 23:00 | 2239.55 | 2435.456 | 2043.643
04/01/2024 23:30 | 2163.115 | 2352.75 | 1973.48
05/01/2024 00:00 | 2099.848 | 2284.338 | 1915.357
05/01/2024 00:30 | 2054.53 | 2235.433 | 1873.627
05/01/2024 01:00 | 2021.125 | 2199.474 | 1842.775
05/01/2024 01:30 | 1993.165 | 2169.429 | 1816.901
05/01/2024 02:00 | 1971.003 | 2145.685 | 1796.321
05/01/2024 02:30 | 1957.108 | 2130.934 | 1783.283
05/01/2024 03:00 | 1950.543 | 2124.159 | 1776.927
05/01/2024 03:30 | 1957.463 | 2132.07 | 1782.855
05/01/2024 04:00 | 1974.901 | 2151.443 | 1798.36
05/01/2024 04:30 | 1988.64 | 2166.791 | 1810.489
05/01/2024 05:00 | 1997.82 | 2177.176 | 1818.464
05/01/2024 05:30 | 1995.531 | 2175.064 | 1815.998
05/01/2024 06:00 | 1962.475 | 2139.41 | 1785.54
05/01/2024 06:30 | 1912.721 | 2085.537 | 1739.905
05/01/2024 07:00 | 1829.597 | 1995.254 | 1663.941
05/01/2024 07:30 | 1732.953 | 1890.191 | 1575.715
05/01/2024 08:00 | 1654.443 | 1804.874 | 1504.011
05/01/2024 08:30 | 1582.472 | 1726.663 | 1438.281
05/01/2024 09:00 | 1540.206 | 1680.841 | 1399.571
05/01/2024 09:30 | 1516.451 | 1655.208 | 1377.695
05/01/2024 10:00 | 1526.054 | 1665.982 | 1386.127
05/01/2024 10:30 | 1577.166 | 1722.082 | 1432.249
05/01/2024 11:00 | 1643.406 | 1794.724 | 1492.088
05/01/2024 11:30 | 1705.567 | 1862.935 | 1548.198
05/01/2024 12:00 | 1798.219 | 1964.481 | 1631.957
05/01/2024 12:30 | 1907.273 | 2083.984 | 1730.563
05/01/2024 13:00 | 2025.994 | 2214.092 | 1837.895
05/01/2024 13:30 | 2168.709 | 2370.474 | 1966.945
05/01/2024 14:00 | 2325.955 | 2542.793 | 2109.116
05/01/2024 14:30 | 2488.907 | 2721.415 | 2256.4
05/01/2024 15:00 | 2667.207 | 2916.882 | 2417.532
05/01/2024 15:30 | 2875.059 | 3144.742 | 2605.376
05/01/2024 16:00 | 3064.672 | 3352.728 | 2776.616
05/01/2024 16:30 | 3199.613 | 3500.966 | 2898.26
05/01/2024 17:00 | 3281.082 | 3590.737 | 2971.427
05/01/2024 17:30 | 3309.085 | 3622.017 | 2996.153
05/01/2024 18:00 | 3283.175 | 3594.286 | 2972.064
05/01/2024 18:30 | 3212.948 | 3518.02 | 2907.876
05/01/2024 19:00 | 3141.306 | 3440.177 | 2842.434
05/01/2024 19:30 | 3078.64 | 3372.139 | 2785.141
05/01/2024 20:00 | 2982.423 | 3267.322 | 2697.525
05/01/2024 20:30 | 2864.175 | 3138.326 | 2590.023
05/01/2024 21:00 | 2747.535 | 3011.048 | 2484.021
05/01/2024 21:30 | 2637.664 | 2891.146 | 2384.183
05/01/2024 22:00 | 2531.194 | 2774.928 | 2287.459
05/01/2024 22:30 | 2430.69 | 2665.213 | 2196.167
05/01/2024 23:00 | 2339.599 | 2565.782 | 2113.417
05/01/2024 23:30 | 2258.104 | 2474.094 | 2042.115
06/01/2024 00:00 | 2189.579 | 2394.048 | 1985.11
06/01/2024 00:30 | 2138.071 | 2338.265 | 1937.877
06/01/2024 01:00 | 2095.453 | 2291.763 | 1899.142
06/01/2024 01:30 | 2059.277 | 2252.303 | 1866.251
06/01/2024 02:00 | 2035.036 | 2225.894 | 1844.178
06/01/2024 02:30 | 2013.131 | 2202.037 | 1824.225
06/01/2024 03:00 | 1994.044 | 2181.26 | 1806.827
06/01/2024 03:30 | 1985.487 | 2172.001 | 1798.972
06/01/2024 04:00 | 1981.258 | 2167.476 | 1795.04
06/01/2024 04:30 | 1957.492 | 2141.577 | 1773.408
06/01/2024 05:00 | 1926.246 | 2107.49 | 1745.002
06/01/2024 05:30 | 1889.274 | 2067.136 | 1711.413
06/01/2024 06:00 | 1819.246 | 1990.608 | 1647.884
06/01/2024 06:30 | 1750.647 | 1915.636 | 1585.657
06/01/2024 07:00 | 1666.763 | 1823.932 | 1509.595
06/01/2024 07:30 | 1575.474 | 1724.338 | 1426.611
06/01/2024 08:00 | 1507.651 | 1650.817 | 1364.486
06/01/2024 08:30 | 1459.959 | 1599.249 | 1320.669
06/01/2024 09:00 | 1444.63 | 1583.104 | 1306.156
06/01/2024 09:30 | 1450.286 | 1589.951 | 1310.62
06/01/2024 10:00 | 1466.076 | 1607.918 | 1324.234
06/01/2024 10:30 | 1525.491 | 1673.763 | 1377.218
06/01/2024 11:00 | 1609.216 | 1766.347 | 1452.086
06/01/2024 11:30 | 1684.052 | 1849.244 | 1518.861
06/01/2024 12:00 | 1772.768 | 1947.455 | 1598.081
06/01/2024 12:30 | 1867.793 | 2052.679 | 1682.906
06/01/2024 13:00 | 1979.678 | 2176.526 | 1782.831
06/01/2024 13:30 | 2099.988 | 2309.738 | 1890.238
06/01/2024 14:00 | 2238.459 | 2463.041 | 2013.876
06/01/2024 14:30 | 2413.621 | 2656.857 | 2170.385
06/01/2024 15:00 | 2588.785 | 2850.833 | 2326.738
06/01/2024 15:30 | 2791.119 | 3074.896 | 2507.342
06/01/2024 16:00 | 2983.096 | 3287.726 | 2678.466
06/01/2024 16:30 | 3141.157 | 3463.334 | 2818.98
06/01/2024 17:00 | 3242.664 | 3576.703 | 2908.625
06/01/2024 17:30 | 3299.828 | 3641.232 | 2958.424
06/01/2024 18:00 | 3290.091 | 3631.961 | 2948.222
06/01/2024 18:30 | 3219.846 | 3555.857 | 2883.835
06/01/2024 19:00 | 3145.11 | 3474.729 | 2815.491
06/01/2024 19:30 | 3082.999 | 3407.488 | 2758.51
06/01/2024 20:00 | 2988.599 | 3304.489 | 2672.708
06/01/2024 20:30 | 2888.152 | 3194.719 | 2581.586
06/01/2024 21:00 | 2783.759 | 3080.489 | 2487.028
06/01/2024 21:30 | 2679.066 | 2965.836 | 2392.296
06/01/2024 22:00 | 2577.131 | 2854.143 | 2300.119
06/01/2024 22:30 | 2478.275 | 2745.77 | 2210.78
06/01/2024 23:00 | 2391.916 | 2651.16 | 2132.672
06/01/2024 23:30 | 2318.827 | 2571.188 | 2066.467
07/01/2024 00:00 | 2256.7 | 2503.309 | 2010.092
07/01/2024 00:30 | 2205.244 | 2447.216 | 1963.271
07/01/2024 01:00 | 2162.176 | 2400.389 | 1923.962
07/01/2024 01:30 | 2123.751 | 2358.682 | 1888.82
07/01/2024 02:00 | 2092.606 | 2325.029 | 1860.184
07/01/2024 02:30 | 2067.85 | 2298.448 | 1837.252
07/01/2024 03:00 | 2048.317 | 2277.654 | 1818.981
07/01/2024 03:30 | 2033.581 | 2262.177 | 1804.985
07/01/2024 04:00 | 2017.785 | 2245.508 | 1790.061
07/01/2024 04:30 | 1979.143 | 2203.391 | 1754.895
07/01/2024 05:00 | 1936.266 | 2156.522 | 1716.01
07/01/2024 05:30 | 1891.313 | 2107.302 | 1675.324
07/01/2024 06:00 | 1812.778 | 2020.61 | 1604.947
07/01/2024 06:30 | 1749.749 | 1951.137 | 1548.361
07/01/2024 07:00 | 1684.872 | 1879.547 | 1490.197
07/01/2024 07:30 | 1615.712 | 1803.119 | 1428.305