## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
01/01/2024 08:00 | 1284.32 | 1306.858 | 1270.448
01/01/2024 08:30 | 1202.469 | 1223.03 | 1181.907 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
01/01/2024 09:00 | 1139.816 | 1162.695 | 1116.937 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
01/01/2024 09:30 | 1097.437 | 1122.727 | 1072.146 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
01/01/2024 10:00 | 1090.362 | 1118.731 | 1061.993 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
01/01/2024 10:30 | 1116.655 | 1148.229 | 1085.081 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
01/01/2024 11:00 | 1169.04 | 1203.078 | 1135.001 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
01/01/2024 11:30 | 1237.224 | 1274.439 | 1200.009 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
01/01/2024 12:00 | 1324.911 | 1366.039 | 1283.782 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
01/01/2024 12:30 | 1413.037 | 1458.262 | 1367.812 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
01/01/2024 13:00 | 1491.548 | 1540.722 | 1442.374 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
01/01/2024 13:30 | 1555.542 | 1608.324 | 1502.76
01/01/2024 14:00 | 1661.52 | 1719.498 | 1603.541 | Summary view - for each schedule horizon (dispatch, week-ahead)
01/01/2024 14:30 | 1793.604 | 1857.919 | 1727.61
01/01/2024 15:00 | 1965.173 | 2037.533 | 1891.789 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
01/01/2024 15:30 | 2170.78 | 2252.801 | 2087.151 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
01/01/2024 16:00 | 2360.835 | 2450.401 | 2267.592 | Scenario | Violations
01/01/2024 16:30 | 2539.871 | 2639.048 | 2437.458 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
01/01/2024 17:00 | 2692.083 | 2799.208 | 2580.401 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
01/01/2024 17:30 | 2781.412 | 2894.982 | 2663.544 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 0
01/01/2024 18:00 | 2816.258 | 2934.552 | 2694.746 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 0 | 0 | 0 | 0 | 0
01/01/2024 18:30 | 2789.119 | 2908.868 | 2667.098 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 1
01/01/2024 19:00 | 2737.922 | 2857.042 | 2617.708
01/01/2024 19:30 | 2679.511 | 2797.384 | 2561.038 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
01/01/2024 20:00 | 2586.541 | 2701.525 | 2471.34
01/01/2024 20:30 | 2480.763 | 2592.125 | 2369.401 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
01/01/2024 21:00 | 2387.229 | 2495.327 | 2279.132 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
01/01/2024 21:30 | 2292.793 | 2397.512 | 2188.075 | [7 empty] | 01/01/2024 09:00 | [11 empty] | 01/01/2024 09:00 | [11 empty] | 01/01/2024 09:00 |  |  |  |  | 01/01/2024 08:30
01/01/2024 22:00 | 2201.809 | 2303.234 | 2100.384 | [7 empty] | 01/01/2024 09:30 | [11 empty] | 01/01/2024 09:30 | [11 empty] | 01/01/2024 09:30
01/01/2024 22:30 | 2130.724 | 2229.708 | 2031.74 | [7 empty] | 01/01/2024 10:00 | [11 empty] | 01/01/2024 10:00 | [11 empty] | 01/01/2024 10:00
01/01/2024 23:00 | 2067.985 | 2164.864 | 1971.106 | [7 empty] | 01/01/2024 10:30 | [11 empty] | 01/01/2024 10:30 | [11 empty] | 01/01/2024 10:30
01/01/2024 23:30 | 2011.959 | 2107.001 | 1916.917 | [7 empty] | 01/01/2024 11:00 | [11 empty] | 01/01/2024 11:00 | [11 empty] | 01/01/2024 11:00
02/01/2024 00:00 | 1967.78 | 2061.505 | 1874.055 | [7 empty] | 01/01/2024 11:30 | [11 empty] | 01/01/2024 11:30 | [11 empty] | 01/01/2024 11:30
02/01/2024 00:30 | 1934.922 | 2027.839 | 1842.004 | [7 empty] | 01/01/2024 12:00 | [11 empty] | 01/01/2024 12:00 | [11 empty] | 01/01/2024 12:00
02/01/2024 01:00 | 1913.558 | 2006.199 | 1820.918 | [7 empty] | 01/01/2024 12:30 | [11 empty] | 01/01/2024 12:30 | [11 empty] | 01/01/2024 12:30
02/01/2024 01:30 | 1895.254 | 1987.75 | 1802.758 | [7 empty] | 01/01/2024 13:00 | [11 empty] | 01/01/2024 13:00 | [11 empty] | 01/01/2024 13:00
02/01/2024 02:00 | 1883.238 | 1975.885 | 1790.591 | [7 empty] | 01/01/2024 13:30 | [11 empty] | 01/01/2024 13:30 | [11 empty] | 01/01/2024 13:30
02/01/2024 02:30 | 1876.312 | 1969.353 | 1783.272 | [7 empty] | 01/01/2024 14:00 | [11 empty] | 01/01/2024 14:00 | [11 empty] | 01/01/2024 14:00
02/01/2024 03:00 | 1874.658 | 1968.351 | 1780.966 | [7 empty] | 01/01/2024 14:30 | [11 empty] | 04/01/2024 11:30 | [11 empty] | 01/01/2024 14:30
02/01/2024 03:30 | 1883.692 | 1978.573 | 1788.812 | [7 empty] | 04/01/2024 12:00 | [11 empty] | 04/01/2024 12:00 | [11 empty] | 04/01/2024 13:00
02/01/2024 04:00 | 1901.034 | 1997.532 | 1804.535 | [7 empty] | 04/01/2024 12:30 | [11 empty] | 04/01/2024 12:30 | [11 empty] | 04/01/2024 13:30
02/01/2024 04:30 | 1917.978 | 2016.087 | 1819.869 | [7 empty] | 04/01/2024 13:00 | [11 empty] | 04/01/2024 13:00 | [11 empty] | 05/01/2024 09:30
02/01/2024 05:00 | 1938.447 | 2038.362 | 1838.532 | [7 empty] | 05/01/2024 09:30 | [11 empty] | 04/01/2024 13:30 | [11 empty] | 05/01/2024 10:00
02/01/2024 05:30 | 1952.139 | 2053.523 | 1850.754 | [7 empty] | 05/01/2024 10:00 | [11 empty] | 05/01/2024 09:30 | [11 empty] | 05/01/2024 10:30
02/01/2024 06:00 | 1959.335 | 2061.861 | 1856.81 | [7 empty] | 05/01/2024 10:30 | [11 empty] | 05/01/2024 10:00 | [11 empty] | 05/01/2024 11:00
02/01/2024 06:30 | 1961.728 | 2064.989 | 1858.468 | [7 empty] | 05/01/2024 11:00 | [11 empty] | 05/01/2024 10:30 | [11 empty] | 05/01/2024 11:30
02/01/2024 07:00 | 1927.355 | 2029.098 | 1825.612 | [7 empty] | 05/01/2024 11:30 | [11 empty] | 05/01/2024 11:00 | [11 empty] | 05/01/2024 12:00
02/01/2024 07:30 | 1859.931 | 1958.422 | 1761.441 | [7 empty] | 06/01/2024 11:00 | [11 empty] | 05/01/2024 11:30 | [11 empty] | 06/01/2024 10:30
02/01/2024 08:00 | 1823.534 | 1920.399 | 1726.67 | [7 empty] | 06/01/2024 11:30 | [11 empty] | 06/01/2024 10:30 | [11 empty] | 06/01/2024 11:00
02/01/2024 08:30 | 1814.097 | 1910.759 | 1717.434 | [7 empty] | 07/01/2024 10:00 | [11 empty] | 06/01/2024 11:00 | [11 empty] | 07/01/2024 10:00
02/01/2024 09:00 | 1803.688 | 1900.094 | 1707.282 | [7 empty] | 07/01/2024 10:30 | [11 empty] | 06/01/2024 11:30 | [11 empty] | 07/01/2024 10:30
02/01/2024 09:30 | 1791.932 | 1888.006 | 1695.859 | [7 empty] | 07/01/2024 11:00 | [11 empty] | 07/01/2024 09:30 | [11 empty] | 07/01/2024 11:00
02/01/2024 10:00 | 1783.548 | 1879.466 | 1687.63 | [7 empty] | 07/01/2024 11:30 | [11 empty] | 07/01/2024 10:00 | [11 empty] | 07/01/2024 11:30
02/01/2024 10:30 | 1772.798 | 1868.431 | 1677.165 | [19 empty] | 07/01/2024 10:30
02/01/2024 11:00 | 1816.328 | 1914.609 | 1718.047 | [19 empty] | 07/01/2024 11:00
02/01/2024 11:30 | 1914.917 | 2018.849 | 1810.985
02/01/2024 12:00 | 2000.719 | 2109.637 | 1891.8
02/01/2024 12:30 | 2077.402 | 2190.838 | 1963.966
02/01/2024 13:00 | 2143.913 | 2261.335 | 2026.491
02/01/2024 13:30 | 2166.722 | 2285.751 | 2047.693
02/01/2024 14:00 | 2214.159 | 2336.159 | 2092.158
02/01/2024 14:30 | 2341.691 | 2471.105 | 2212.277
02/01/2024 15:00 | 2475.869 | 2613.108 | 2338.631
02/01/2024 15:30 | 2617.289 | 2762.798 | 2471.779
02/01/2024 16:00 | 2746.728 | 2899.887 | 2593.568
02/01/2024 16:30 | 2855.911 | 3015.63 | 2696.192
02/01/2024 17:00 | 2920.402 | 3084.21 | 2756.594
02/01/2024 17:30 | 2947.515 | 3113.33 | 2781.7
02/01/2024 18:00 | 2932.67 | 3098.135 | 2767.206
02/01/2024 18:30 | 2877.208 | 3040.018 | 2714.397
02/01/2024 19:00 | 2810.407 | 2969.901 | 2650.912
02/01/2024 19:30 | 2751.974 | 2908.606 | 2595.341
02/01/2024 20:00 | 2661.503 | 2813.425 | 2509.58
02/01/2024 20:30 | 2549.391 | 2694.342 | 2403.447
02/01/2024 21:00 | 2432.948 | 2571.692 | 2293.268
02/01/2024 21:30 | 2332.577 | 2465.995 | 2198.275
02/01/2024 22:00 | 2241.871 | 2370.479 | 2112.421
02/01/2024 22:30 | 2164.084 | 2288.598 | 2038.769
02/01/2024 23:00 | 2104.313 | 2225.75 | 1982.111
02/01/2024 23:30 | 2050.875 | 2169.585 | 1931.438
03/01/2024 00:00 | 2004.556 | 2120.933 | 1887.485
03/01/2024 00:30 | 1967.807 | 2082.386 | 1852.557
03/01/2024 01:00 | 1941.874 | 2055.271 | 1827.823
03/01/2024 01:30 | 1918.515 | 2030.865 | 1805.519
03/01/2024 02:00 | 1900.828 | 2012.456 | 1788.559
03/01/2024 02:30 | 1891.869 | 2003.284 | 1780.432
03/01/2024 03:00 | 1889.312 | 2000.889 | 1777.714
03/01/2024 03:30 | 1897.547 | 2009.923 | 1785.149
03/01/2024 04:00 | 1916.474 | 2030.288 | 1802.639
03/01/2024 04:30 | 1935.157 | 2050.401 | 1819.893
03/01/2024 05:00 | 1949.316 | 2065.724 | 1832.886
03/01/2024 05:30 | 1944.399 | 2060.834 | 1827.942
03/01/2024 06:00 | 1914.375 | 2029.328 | 1799.399
03/01/2024 06:30 | 1865.707 | 1978.044 | 1753.345
03/01/2024 07:00 | 1779.446 | 1886.895 | 1671.996
03/01/2024 07:30 | 1680.093 | 1781.852 | 1578.333
03/01/2024 08:00 | 1586.733 | 1683.19 | 1490.276
03/01/2024 08:30 | 1482.832 | 1573.296 | 1392.367
03/01/2024 09:00 | 1417.662 | 1504.461 | 1330.864
03/01/2024 09:30 | 1371.478 | 1455.748 | 1287.208
03/01/2024 10:00 | 1350.637 | 1433.922 | 1267.352
03/01/2024 10:30 | 1382.695 | 1468.258 | 1297.131
03/01/2024 11:00 | 1443.858 | 1533.522 | 1354.194
03/01/2024 11:30 | 1488.539 | 1581.303 | 1395.775
03/01/2024 12:00 | 1550.794 | 1647.776 | 1453.811
03/01/2024 12:30 | 1628.68 | 1730.889 | 1526.471
03/01/2024 13:00 | 1738.002 | 1847.451 | 1628.552
03/01/2024 13:30 | 1876.355 | 1994.927 | 1757.783
03/01/2024 14:00 | 2025.263 | 2153.688 | 1896.839
03/01/2024 14:30 | 2188.944 | 2328.226 | 2049.662
03/01/2024 15:00 | 2367.231 | 2518.375 | 2216.088
03/01/2024 15:30 | 2564.514 | 2728.814 | 2400.214
03/01/2024 16:00 | 2756.561 | 2933.767 | 2579.354
03/01/2024 16:30 | 2914.505 | 3102.502 | 2726.509
03/01/2024 17:00 | 3024.999 | 3220.783 | 2829.215
03/01/2024 17:30 | 3085.626 | 3286.008 | 2885.243
03/01/2024 18:00 | 3089.052 | 3290.332 | 2887.772
03/01/2024 18:30 | 3040.391 | 3239.164 | 2841.617
03/01/2024 19:00 | 2975.569 | 3170.755 | 2780.383
03/01/2024 19:30 | 2913.006 | 3104.725 | 2721.288
03/01/2024 20:00 | 2812.442 | 2998.156 | 2626.728
03/01/2024 20:30 | 2689.803 | 2868.007 | 2511.599
03/01/2024 21:00 | 2566.276 | 2736.856 | 2395.696
03/01/2024 21:30 | 2453.822 | 2617.463 | 2290.18
03/01/2024 22:00 | 2347.442 | 2504.503 | 2190.382
03/01/2024 22:30 | 2252.893 | 2404.119 | 2101.667
03/01/2024 23:00 | 2174.393 | 2320.825 | 2027.961
03/01/2024 23:30 | 2100.714 | 2242.643 | 1958.784
04/01/2024 00:00 | 2037.677 | 2175.792 | 1899.561
04/01/2024 00:30 | 1991.36 | 2126.771 | 1855.949
04/01/2024 01:00 | 1957.143 | 2090.656 | 1823.631
04/01/2024 01:30 | 1932.641 | 2064.904 | 1800.378
04/01/2024 02:00 | 1914.594 | 2046.041 | 1783.148
04/01/2024 02:30 | 1904.477 | 2035.645 | 1773.31
04/01/2024 03:00 | 1900.9 | 2032.236 | 1769.563
04/01/2024 03:30 | 1908.274 | 2040.537 | 1776.011
04/01/2024 04:00 | 1925.72 | 2059.613 | 1791.827
04/01/2024 04:30 | 1944.707 | 2080.345 | 1809.069
04/01/2024 05:00 | 1960.509 | 2097.678 | 1823.34
04/01/2024 05:30 | 1953.706 | 2090.825 | 1816.586
04/01/2024 06:00 | 1915.286 | 2050.127 | 1780.445
04/01/2024 06:30 | 1861.482 | 1992.942 | 1730.021
04/01/2024 07:00 | 1770.852 | 1896.298 | 1645.405
04/01/2024 07:30 | 1664.628 | 1782.914 | 1546.343
04/01/2024 08:00 | 1556.382 | 1667.316 | 1445.448
04/01/2024 08:30 | 1458.536 | 1562.814 | 1354.257
04/01/2024 09:00 | 1405.415 | 1506.202 | 1304.627
04/01/2024 09:30 | 1381.708 | 1481.097 | 1282.319
04/01/2024 10:00 | 1389.095 | 1489.319 | 1288.871
04/01/2024 10:30 | 1430.436 | 1533.955 | 1326.916
04/01/2024 11:00 | 1490.147 | 1598.313 | 1381.981
04/01/2024 11:30 | 1553.016 | 1666.085 | 1439.947
04/01/2024 12:00 | 1634.271 | 1753.613 | 1514.929
04/01/2024 12:30 | 1722.618 | 1848.788 | 1596.448
04/01/2024 13:00 | 1852.375 | 1988.454 | 1716.297
04/01/2024 13:30 | 2053.26 | 2204.545 | 1901.976
04/01/2024 14:00 | 2253.07 | 2419.568 | 2086.571
04/01/2024 14:30 | 2422.035 | 2601.549 | 2242.521
04/01/2024 15:00 | 2594.592 | 2787.462 | 2401.722
04/01/2024 15:30 | 2764.164 | 2970.243 | 2558.085
04/01/2024 16:00 | 2922.023 | 3140.51 | 2703.537
04/01/2024 16:30 | 3072.634 | 3303.054 | 2842.215
04/01/2024 17:00 | 3160.1 | 3397.769 | 2922.431
04/01/2024 17:30 | 3194.953 | 3435.942 | 2953.965
04/01/2024 18:00 | 3175.631 | 3415.856 | 2935.406
04/01/2024 18:30 | 3125.698 | 3362.829 | 2888.567
04/01/2024 19:00 | 3069.249 | 3302.767 | 2835.73
04/01/2024 19:30 | 3004.824 | 3234.097 | 2775.55
04/01/2024 20:00 | 2899.235 | 3121.085 | 2677.384
04/01/2024 20:30 | 2764.741 | 2976.904 | 2552.578
04/01/2024 21:00 | 2632.395 | 2834.977 | 2429.813
04/01/2024 21:30 | 2519.057 | 2713.467 | 2324.647
04/01/2024 22:00 | 2410.254 | 2596.794 | 2223.714
04/01/2024 22:30 | 2312.69 | 2492.185 | 2133.196
04/01/2024 23:00 | 2229.998 | 2403.562 | 2056.435
04/01/2024 23:30 | 2153.343 | 2321.411 | 1985.275
05/01/2024 00:00 | 2089.476 | 2253.015 | 1925.936
05/01/2024 00:30 | 2043.812 | 2204.223 | 1883.4
05/01/2024 01:00 | 2010.104 | 2168.31 | 1851.899
05/01/2024 01:30 | 1982.713 | 2139.195 | 1826.23
05/01/2024 02:00 | 1961.437 | 2116.669 | 1806.204
05/01/2024 02:30 | 1948.188 | 2102.797 | 1793.579
05/01/2024 03:00 | 1941.922 | 2096.458 | 1787.385
05/01/2024 03:30 | 1948.742 | 2104.247 | 1793.237
05/01/2024 04:00 | 1966.542 | 2123.897 | 1809.187
05/01/2024 04:30 | 1980.767 | 2139.693 | 1821.841
05/01/2024 05:00 | 1989.098 | 2149.127 | 1829.069
05/01/2024 05:30 | 1986.604 | 2146.867 | 1826.342
05/01/2024 06:00 | 1956.978 | 2115.278 | 1798.678
05/01/2024 06:30 | 1909.494 | 2064.37 | 1754.618
05/01/2024 07:00 | 1830.977 | 1979.885 | 1682.069
05/01/2024 07:30 | 1740.497 | 1882.41 | 1598.584
05/01/2024 08:00 | 1669.502 | 1805.944 | 1533.061
05/01/2024 08:30 | 1609.633 | 1741.491 | 1477.776
05/01/2024 09:00 | 1567.469 | 1696.172 | 1438.765
05/01/2024 09:30 | 1528.409 | 1654.198 | 1402.619
05/01/2024 10:00 | 1524.883 | 1650.675 | 1399.092
05/01/2024 10:30 | 1570.436 | 1700.286 | 1440.585
05/01/2024 11:00 | 1631.487 | 1766.698 | 1496.276
05/01/2024 11:30 | 1689.408 | 1829.743 | 1549.073
05/01/2024 12:00 | 1775.57 | 1923.403 | 1627.738
05/01/2024 12:30 | 1875.97 | 2032.521 | 1719.418
05/01/2024 13:00 | 1988.596 | 2154.928 | 1822.265
05/01/2024 13:30 | 2125.296 | 2303.469 | 1947.123
05/01/2024 14:00 | 2276.311 | 2467.58 | 2085.042
05/01/2024 14:30 | 2435.018 | 2640.089 | 2229.946
05/01/2024 15:00 | 2607.006 | 2827.061 | 2386.95
05/01/2024 15:30 | 2808.896 | 3046.532 | 2571.261
05/01/2024 16:00 | 2994.578 | 3248.496 | 2740.66
05/01/2024 16:30 | 3128.835 | 3394.737 | 2862.934
05/01/2024 17:00 | 3209.536 | 3482.911 | 2936.161
05/01/2024 17:30 | 3238.543 | 3515.01 | 2962.076
05/01/2024 18:00 | 3216.073 | 3491.238 | 2940.908
05/01/2024 18:30 | 3149.599 | 3419.68 | 2879.518
05/01/2024 19:00 | 3081.436 | 3346.262 | 2816.609
05/01/2024 19:30 | 3021.4 | 3281.646 | 2761.154
05/01/2024 20:00 | 2928.348 | 3181.14 | 2675.556
05/01/2024 20:30 | 2814.056 | 3057.521 | 2570.591
05/01/2024 21:00 | 2701.135 | 2935.349 | 2466.922
05/01/2024 21:30 | 2595.592 | 2821.151 | 2370.032
05/01/2024 22:00 | 2493.059 | 2710.185 | 2275.932
05/01/2024 22:30 | 2395.3 | 2604.371 | 2186.228
05/01/2024 23:00 | 2305.445 | 2507.116 | 2103.774
05/01/2024 23:30 | 2224.298 | 2421.937 | 2026.66
06/01/2024 00:00 | 2155.522 | 2352.42 | 1958.623
06/01/2024 00:30 | 2104.37 | 2296.259 | 1912.481
06/01/2024 01:00 | 2062.586 | 2250.77 | 1874.402
06/01/2024 01:30 | 2028.259 | 2213.414 | 1843.103
06/01/2024 02:00 | 2005.324 | 2188.488 | 1822.16
06/01/2024 02:30 | 1984.456 | 2165.815 | 1803.097
06/01/2024 03:00 | 1966.65 | 2146.482 | 1786.818
06/01/2024 03:30 | 1959.749 | 2139.05 | 1780.448
06/01/2024 04:00 | 1957.222 | 2136.391 | 1778.052
06/01/2024 04:30 | 1934.595 | 2111.792 | 1757.399
06/01/2024 05:00 | 1905.258 | 2079.865 | 1730.651
06/01/2024 05:30 | 1870.269 | 2041.764 | 1698.773
06/01/2024 06:00 | 1799.327 | 1964.409 | 1634.244
06/01/2024 06:30 | 1727.356 | 1885.923 | 1568.788
06/01/2024 07:00 | 1636.073 | 1786.344 | 1485.802
06/01/2024 07:30 | 1534.297 | 1675.298 | 1393.296
06/01/2024 08:00 | 1454.674 | 1588.432 | 1320.916
06/01/2024 08:30 | 1394.75 | 1523.069 | 1266.431
06/01/2024 09:00 | 1371.048 | 1497.257 | 1244.84
06/01/2024 09:30 | 1370.492 | 1496.719 | 1244.265
06/01/2024 10:00 | 1382.221 | 1509.599 | 1254.843
06/01/2024 10:30 | 1434.571 | 1566.847 | 1302.296
06/01/2024 11:00 | 1510.04 | 1649.351 | 1370.729
06/01/2024 11:30 | 1578.841 | 1724.579 | 1433.102
06/01/2024 12:00 | 1666.345 | 1820.247 | 1512.444
06/01/2024 12:30 | 1762.249 | 1925.097 | 1599.4
06/01/2024 13:00 | 1870.728 | 2043.696 | 1697.759
06/01/2024 13:30 | 1990.36 | 2174.491 | 1806.229
06/01/2024 14:00 | 2127.023 | 2323.905 | 1930.141
06/01/2024 14:30 | 2300.362 | 2513.406 | 2087.318
06/01/2024 15:00 | 2475.901 | 2705.329 | 2246.473
06/01/2024 15:30 | 2679.067 | 2927.458 | 2430.677
06/01/2024 16:00 | 2871.405 | 3137.774 | 2605.035
06/01/2024 16:30 | 3031.197 | 3312.544 | 2749.849
06/01/2024 17:00 | 3135.188 | 3426.348 | 2844.029
06/01/2024 17:30 | 3194.448 | 3491.273 | 2897.622
06/01/2024 18:00 | 3186.754 | 3483.028 | 2890.481
06/01/2024 18:30 | 3119.845 | 3410.057 | 2829.634
06/01/2024 19:00 | 3047.152 | 3330.757 | 2763.546
06/01/2024 19:30 | 2984.694 | 3262.638 | 2706.75
06/01/2024 20:00 | 2891.859 | 3161.306 | 2622.413
06/01/2024 20:30 | 2794.314 | 3054.815 | 2533.814
06/01/2024 21:00 | 2693.85 | 2945.122 | 2442.578
06/01/2024 21:30 | 2594.568 | 2836.712 | 2352.425
06/01/2024 22:00 | 2498.494 | 2731.799 | 2265.19
06/01/2024 22:30 | 2405.382 | 2630.114 | 2180.649
06/01/2024 23:00 | 2323.102 | 2540.266 | 2105.938
06/01/2024 23:30 | 2252.434 | 2463.107 | 2041.762
07/01/2024 00:00 | 2191.616 | 2396.712 | 1986.52
07/01/2024 00:30 | 2141.404 | 2341.91 | 1940.898
07/01/2024 01:00 | 2099.859 | 2296.582 | 1903.136
07/01/2024 01:30 | 2064.044 | 2257.517 | 1870.571
07/01/2024 02:00 | 2035.136 | 2226.004 | 1844.269
07/01/2024 02:30 | 2012.883 | 2201.766 | 1824.001
07/01/2024 03:00 | 1995.587 | 2182.949 | 1808.226
07/01/2024 03:30 | 1982.295 | 2168.51 | 1796.08
07/01/2024 04:00 | 1967.707 | 2152.651 | 1782.762
07/01/2024 04:30 | 1930.333 | 2111.863 | 1748.803
07/01/2024 05:00 | 1884.814 | 2062.16 | 1707.469
07/01/2024 05:30 | 1831.54 | 2003.966 | 1659.114
07/01/2024 06:00 | 1740.284 | 1904.208 | 1576.36
07/01/2024 06:30 | 1662.08 | 1818.723 | 1505.438
07/01/2024 07:00 | 1582.103 | 1731.288 | 1432.917
07/01/2024 07:30 | 1502.116 | 1644.048 | 1360.184
07/01/2024 08:00 | 1457.551 | 1595.959 | 1319.143
07/01/2024 08:30 | 1434.284 | 1571.125 | 1297.444
07/01/2024 09:00 | 1435.877 | 1573.512 | 1298.242
07/01/2024 09:30 | 1472.441 | 1614.239 | 1330.642
07/01/2024 10:00 | 1539.81 | 1688.786 | 1390.835
07/01/2024 10:30 | 1618.318 | 1775.613 | 1461.022
07/01/2024 11:00 | 1709.197 | 1876.09 | 1542.303
07/01/2024 11:30 | 1809.773 | 1987.297 | 1632.25
07/01/2024 12:00 | 1912.257 | 2100.689 | 1723.824
07/01/2024 12:30 | 2020.281 | 2220.262 | 1820.301
07/01/2024 13:00 | 2133.091 | 2345.193 | 1920.989
07/01/2024 13:30 | 2259.011 | 2484.644 | 2033.377
07/01/2024 14:00 | 2401.079 | 2641.977 | 2160.181
07/01/2024 14:30 | 2575.636 | 2835.199 | 2316.072
07/01/2024 15:00 | 2753.023 | 3031.695 | 2474.352
07/01/2024 15:30 | 2965.27 | 3266.753 | 2663.787
07/01/2024 16:00 | 3166.968 | 3490.375 | 2843.561
07/01/2024 16:30 | 3330.853 | 3672.486 | 2989.219
07/01/2024 17:00 | 3437.601 | 3791.721 | 3083.48
07/01/2024 17:30 | 3483.713 | 3844.143 | 3123.284
07/01/2024 18:00 | 3460.208 | 3819.753 | 3100.662
07/01/2024 18:30 | 3376.912 | 3729.313 | 3024.51
07/01/2024 19:00 | 3293.604 | 3638.786 | 2948.423
07/01/2024 19:30 | 3222.396 | 3561.557 | 2883.235
07/01/2024 20:00 | 3107.542 | 3436.004 | 2779.079
07/01/2024 20:30 | 2974.766 | 3290.526 | 2659.006
07/01/2024 21:00 | 2834.92 | 3137.104 | 2532.736
07/01/2024 21:30 | 2703.224 | 2992.579 | 2413.868
07/01/2024 22:00 | 2580.339 | 2857.696 | 2302.982
07/01/2024 22:30 | 2472.829 | 2739.736 | 2205.922
07/01/2024 23:00 | 2383.639 | 2641.986 | 2125.292
07/01/2024 23:30 | 2300.325 | 2552.167 | 2048.483
08/01/2024 00:00 | 2226.474 | 2474.005 | 1978.943
08/01/2024 00:30 | 2171.36 | 2413.237 | 1929.484
08/01/2024 01:00 | 2132.783 | 2371.077 | 1894.489
08/01/2024 01:30 | 2102.858 | 2338.514 | 1867.203
08/01/2024 02:00 | 2080.562 | 2314.417 | 1846.707
08/01/2024 02:30 | 2065.363 | 2298.202 | 1832.524
08/01/2024 03:00 | 2052.535 | 2284.616 | 1820.454
08/01/2024 03:30 | 2053.188 | 2286.032 | 1820.345
08/01/2024 04:00 | 2066.311 | 2301.335 | 1831.287
08/01/2024 04:30 | 2083.965 | 2321.696 | 1846.234
08/01/2024 05:00 | 2100.68 | 2341.022 | 1860.338
08/01/2024 05:30 | 2108.312 | 2350.234 | 1866.39
08/01/2024 06:00 | 2106.887 | 2349.352 | 1864.422
08/01/2024 06:30 | 2086.18 | 2326.962 | 1845.399
08/01/2024 07:00 | 2043.433 | 2279.966 | 1806.9
08/01/2024 07:30 | 1996.697 | 2228.489 | 1764.904