## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
02/01/2024 08:00 | 1693.96 | 1717.537 | 1669.686
02/01/2024 08:30 | 1605.174 | 1632.622 | 1577.726 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
02/01/2024 09:00 | 1517.437 | 1547.896 | 1486.979 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
02/01/2024 09:30 | 1446.933 | 1480.278 | 1413.589 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
02/01/2024 10:00 | 1418.61 | 1455.519 | 1381.701 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
02/01/2024 10:30 | 1446.93 | 1487.842 | 1406.017 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
02/01/2024 11:00 | 1536.412 | 1581.147 | 1491.678 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
02/01/2024 11:30 | 1660.934 | 1710.894 | 1610.974 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
02/01/2024 12:00 | 1788.436 | 1843.953 | 1732.918 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
02/01/2024 12:30 | 1842.81 | 1901.79 | 1783.83 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
02/01/2024 13:00 | 1904.757 | 1967.554 | 1841.96 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
02/01/2024 13:30 | 1995.341 | 2063.046 | 1927.636
02/01/2024 14:00 | 2102.157 | 2175.511 | 2028.802 | Summary view - for each schedule horizon (dispatch, week-ahead)
02/01/2024 14:30 | 2232.832 | 2316.203 | 2155.844
02/01/2024 15:00 | 2366.58 | 2457.507 | 2282.958 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
02/01/2024 15:30 | 2497.532 | 2594.281 | 2405.373 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
02/01/2024 16:00 | 2626.222 | 2729.565 | 2525.929 | Scenario | Violations
02/01/2024 16:30 | 2752.624 | 2863.038 | 2644.338 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
02/01/2024 17:00 | 2838.601 | 2953.294 | 2722.442 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
02/01/2024 17:30 | 2880.422 | 2998.931 | 2759.183 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 27 | 0 | 0 | 0 | 0 | 0
02/01/2024 18:00 | 2882.477 | 3005.269 | 2759.684 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0
02/01/2024 18:30 | 2840.372 | 2963.528 | 2717.215 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 1
02/01/2024 19:00 | 2784.112 | 2905.822 | 2662.402
02/01/2024 19:30 | 2726.782 | 2847.053 | 2606.511 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
02/01/2024 20:00 | 2637.569 | 2754.938 | 2520.201
02/01/2024 20:30 | 2529.088 | 2642.619 | 2415.557 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
02/01/2024 21:00 | 2416.133 | 2525.54 | 2306.727 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
02/01/2024 21:30 | 2318.595 | 2424.492 | 2212.698 | [7 empty] | 02/01/2024 09:30 | [11 empty] | 02/01/2024 10:00 | [11 empty] | 02/01/2024 09:30 |  |  |  |  | 02/01/2024 13:00
02/01/2024 22:00 | 2229.807 | 2332.521 | 2127.092 | [7 empty] | 02/01/2024 10:00 | [11 empty] | 02/01/2024 10:30 | [11 empty] | 02/01/2024 10:00
02/01/2024 22:30 | 2153.827 | 2253.885 | 2053.77 | [7 empty] | 02/01/2024 10:30 | [11 empty] | 02/01/2024 11:00 | [11 empty] | 02/01/2024 10:30
02/01/2024 23:00 | 2095.96 | 2194.15 | 1997.771 | [7 empty] | 02/01/2024 11:00 | [11 empty] | 02/01/2024 11:30 | [11 empty] | 02/01/2024 11:00
02/01/2024 23:30 | 2044.143 | 2140.705 | 1947.581 | [7 empty] | 02/01/2024 11:30 | [11 empty] | 04/01/2024 13:00 | [11 empty] | 02/01/2024 11:30
03/01/2024 00:00 | 2000.243 | 2095.514 | 1904.972 | [7 empty] | 02/01/2024 12:00 | [11 empty] | 05/01/2024 09:00 | [11 empty] | 02/01/2024 12:00
03/01/2024 00:30 | 1965.326 | 2059.703 | 1870.949 | [7 empty] | 02/01/2024 12:30 | [11 empty] | 05/01/2024 09:30 | [11 empty] | 02/01/2024 12:30
03/01/2024 01:00 | 1940.846 | 2034.807 | 1846.884 | [7 empty] | 04/01/2024 13:00 | [11 empty] | 05/01/2024 10:00 | [11 empty] | 02/01/2024 13:00
03/01/2024 01:30 | 1917.921 | 2011.523 | 1824.319 | [7 empty] | 04/01/2024 13:30 | [11 empty] | 05/01/2024 10:30 | [11 empty] | 04/01/2024 13:30
03/01/2024 02:00 | 1900.741 | 1994.248 | 1807.233 | [7 empty] | 05/01/2024 09:30 | [11 empty] | 05/01/2024 11:00 | [11 empty] | 04/01/2024 14:00
03/01/2024 02:30 | 1891.917 | 1985.731 | 1798.103 | [7 empty] | 05/01/2024 10:00 | [11 empty] | 05/01/2024 11:30 | [11 empty] | 05/01/2024 10:00
03/01/2024 03:00 | 1889.567 | 1984.004 | 1795.13 | [7 empty] | 05/01/2024 10:30 | [11 empty] | 05/01/2024 12:00 | [11 empty] | 05/01/2024 10:30
03/01/2024 03:30 | 1898.053 | 1993.657 | 1802.448 | [7 empty] | 05/01/2024 11:00 | [11 empty] | 06/01/2024 10:30 | [11 empty] | 05/01/2024 11:00
03/01/2024 04:00 | 1916.945 | 2014.251 | 1819.639 | [7 empty] | 05/01/2024 11:30 | [11 empty] | 06/01/2024 11:00 | [11 empty] | 05/01/2024 11:30
03/01/2024 04:30 | 1935.128 | 2034.114 | 1836.141 | [7 empty] | 05/01/2024 12:00 | [11 empty] | 07/01/2024 10:00 | [11 empty] | 05/01/2024 12:00
03/01/2024 05:00 | 1949.112 | 2049.577 | 1848.648 | [7 empty] | 05/01/2024 12:30 | [11 empty] | 07/01/2024 10:30 | [11 empty] | 05/01/2024 12:30
03/01/2024 05:30 | 1943.957 | 2044.917 | 1842.997 | [7 empty] | 06/01/2024 11:30 | [11 empty] | 08/01/2024 08:00 | [11 empty] | 05/01/2024 13:00
03/01/2024 06:00 | 1912.76 | 2012.848 | 1812.672 | [7 empty] | 06/01/2024 12:00 | [11 empty] | 08/01/2024 08:30 | [11 empty] | 06/01/2024 11:30
03/01/2024 06:30 | 1860.18 | 1958.095 | 1762.265 | [7 empty] | 07/01/2024 10:00 | [11 empty] | 08/01/2024 09:00 | [11 empty] | 07/01/2024 10:30
03/01/2024 07:00 | 1772.49 | 1866.057 | 1678.922 | [7 empty] | 07/01/2024 10:30 | [11 empty] | 08/01/2024 09:30 | [11 empty] | 08/01/2024 08:30
03/01/2024 07:30 | 1667.491 | 1755.791 | 1579.191 | [7 empty] | 07/01/2024 11:00 | [11 empty] | 08/01/2024 10:00 | [11 empty] | 08/01/2024 09:00
03/01/2024 08:00 | 1561.092 | 1644.015 | 1478.168 | [7 empty] | 08/01/2024 08:30 | [11 empty] | 08/01/2024 17:00 | [11 empty] | 08/01/2024 09:30
03/01/2024 08:30 | 1451.974 | 1529.341 | 1374.607 | [7 empty] | 08/01/2024 09:00 | [11 empty] | 08/01/2024 17:30 | [11 empty] | 08/01/2024 10:00
03/01/2024 09:00 | 1380.394 | 1454.175 | 1306.613 | [7 empty] | 08/01/2024 09:30 | [11 empty] | 08/01/2024 18:00 | [11 empty] | 08/01/2024 10:30
03/01/2024 09:30 | 1331.899 | 1403.308 | 1260.49 | [7 empty] | 08/01/2024 10:00 | [23 empty] | 08/01/2024 11:00
03/01/2024 10:00 | 1309.885 | 1380.33 | 1239.44 | [7 empty] | 08/01/2024 10:30 | [23 empty] | 08/01/2024 11:30
03/01/2024 10:30 | 1334.983 | 1406.998 | 1262.968 | [7 empty] | 08/01/2024 11:00
03/01/2024 11:00 | 1389.949 | 1465.158 | 1314.739
03/01/2024 11:30 | 1437.461 | 1515.479 | 1359.443
03/01/2024 12:00 | 1502.73 | 1584.538 | 1420.922
03/01/2024 12:30 | 1584.823 | 1671.362 | 1498.283
03/01/2024 13:00 | 1696.552 | 1789.472 | 1603.632
03/01/2024 13:30 | 1835.37 | 1936.197 | 1734.544
03/01/2024 14:00 | 1985.656 | 2095.066 | 1876.246
03/01/2024 14:30 | 2147.907 | 2266.612 | 2029.202
03/01/2024 15:00 | 2328.109 | 2457.157 | 2199.061
03/01/2024 15:30 | 2522.272 | 2662.5 | 2382.045
03/01/2024 16:00 | 2708.341 | 2859.359 | 2557.322
03/01/2024 16:30 | 2863.742 | 3023.898 | 2703.585
03/01/2024 17:00 | 2972.922 | 3139.676 | 2806.168
03/01/2024 17:30 | 3030.546 | 3201.032 | 2860.06
03/01/2024 18:00 | 3030.887 | 3202.887 | 2860.882
03/01/2024 18:30 | 2985.164 | 3154.977 | 2817.231
03/01/2024 19:00 | 2925.057 | 3090.092 | 2760.022
03/01/2024 19:30 | 2863.765 | 3025.815 | 2701.716
03/01/2024 20:00 | 2764.896 | 2921.807 | 2607.984
03/01/2024 20:30 | 2644.8 | 2795.333 | 2494.268
03/01/2024 21:00 | 2524.958 | 2669.086 | 2380.829
03/01/2024 21:30 | 2416.632 | 2554.976 | 2278.288
03/01/2024 22:00 | 2314.517 | 2447.398 | 2181.637
03/01/2024 22:30 | 2224.079 | 2352.135 | 2096.024
03/01/2024 23:00 | 2149.788 | 2273.92 | 2025.655
03/01/2024 23:30 | 2080.595 | 2201.077 | 1960.114
04/01/2024 00:00 | 2020.674 | 2138.019 | 1903.329
04/01/2024 00:30 | 1976.259 | 2091.351 | 1861.167
04/01/2024 01:00 | 1943.83 | 2057.354 | 1830.305
04/01/2024 01:30 | 1919.502 | 2031.923 | 1807.082
04/01/2024 02:00 | 1902.249 | 2013.973 | 1790.525
04/01/2024 02:30 | 1892.658 | 2004.132 | 1781.185
04/01/2024 03:00 | 1888.888 | 2000.451 | 1777.325
04/01/2024 03:30 | 1895.872 | 2008.16 | 1783.583
04/01/2024 04:00 | 1913.47 | 2027.117 | 1799.823
04/01/2024 04:30 | 1932.476 | 2047.57 | 1817.381
04/01/2024 05:00 | 1944.656 | 2060.797 | 1828.515
04/01/2024 05:30 | 1934.257 | 2050.096 | 1818.417
04/01/2024 06:00 | 1894.425 | 2008.192 | 1780.659
04/01/2024 06:30 | 1832.837 | 1943.208 | 1722.466
04/01/2024 07:00 | 1736.93 | 1841.812 | 1632.048
04/01/2024 07:30 | 1631.288 | 1730.091 | 1532.484
04/01/2024 08:00 | 1526.465 | 1619.258 | 1433.672
04/01/2024 08:30 | 1422.91 | 1509.719 | 1336.101
04/01/2024 09:00 | 1363.842 | 1447.345 | 1280.339
04/01/2024 09:30 | 1330.979 | 1412.761 | 1249.197
04/01/2024 10:00 | 1331.026 | 1413.102 | 1248.95
04/01/2024 10:30 | 1366.648 | 1454.326 | 1284.822
04/01/2024 11:00 | 1420.368 | 1512.214 | 1335.377
04/01/2024 11:30 | 1477.101 | 1572.181 | 1387.723
04/01/2024 12:00 | 1550.552 | 1649.947 | 1455.727
04/01/2024 12:30 | 1629.522 | 1733.881 | 1529.11
04/01/2024 13:00 | 1737.493 | 1847.714 | 1628.784
04/01/2024 13:30 | 1876.627 | 1994.525 | 1758.038
04/01/2024 14:00 | 2027.281 | 2153.836 | 1898.729
04/01/2024 14:30 | 2193.898 | 2330.727 | 2054.301
04/01/2024 15:00 | 2370.687 | 2517.99 | 2219.322
04/01/2024 15:30 | 2566.118 | 2730.521 | 2401.715
04/01/2024 16:00 | 2754.159 | 2931.211 | 2577.107
04/01/2024 16:30 | 2926.813 | 3115.604 | 2738.023
04/01/2024 17:00 | 3048.674 | 3245.991 | 2851.357
04/01/2024 17:30 | 3122.534 | 3325.313 | 2919.754
04/01/2024 18:00 | 3127.278 | 3331.049 | 2923.508
04/01/2024 18:30 | 3080.078 | 3281.446 | 2878.709
04/01/2024 19:00 | 3015.556 | 3213.365 | 2817.747
04/01/2024 19:30 | 2955.337 | 3149.842 | 2760.833
04/01/2024 20:00 | 2853.494 | 3041.919 | 2665.069
04/01/2024 20:30 | 2724.662 | 2905.175 | 2544.148
04/01/2024 21:00 | 2597.228 | 2769.866 | 2424.59
04/01/2024 21:30 | 2488.1 | 2654.028 | 2322.172
04/01/2024 22:00 | 2382.6 | 2542.013 | 2223.187
04/01/2024 22:30 | 2286.529 | 2440.014 | 2133.045
04/01/2024 23:00 | 2203.701 | 2352.107 | 2055.295
04/01/2024 23:30 | 2126.032 | 2269.672 | 1982.392
05/01/2024 00:00 | 2060.896 | 2200.586 | 1921.207
05/01/2024 00:30 | 2014.826 | 2151.833 | 1877.819
05/01/2024 01:00 | 1981.121 | 2116.269 | 1845.973
05/01/2024 01:30 | 1955.184 | 2088.99 | 1821.378
05/01/2024 02:00 | 1935.022 | 2067.871 | 1802.174
05/01/2024 02:30 | 1922.847 | 2055.28 | 1790.414
05/01/2024 03:00 | 1917.418 | 2049.896 | 1784.94
05/01/2024 03:30 | 1925.318 | 2058.762 | 1791.874
05/01/2024 04:00 | 1943.905 | 2079.062 | 1808.748
05/01/2024 04:30 | 1958.412 | 2095.006 | 1821.818
05/01/2024 05:00 | 1967.125 | 2104.757 | 1829.494
05/01/2024 05:30 | 1963.124 | 2100.905 | 1825.344
05/01/2024 06:00 | 1927.27 | 2062.955 | 1791.585
05/01/2024 06:30 | 1872.71 | 2004.963 | 1740.457
05/01/2024 07:00 | 1785.104 | 1911.561 | 1658.648
05/01/2024 07:30 | 1681.886 | 1801.398 | 1562.374
05/01/2024 08:00 | 1593.408 | 1706.981 | 1479.836
05/01/2024 08:30 | 1513.887 | 1622.123 | 1405.652
05/01/2024 09:00 | 1464.682 | 1569.719 | 1359.644
05/01/2024 09:30 | 1432.021 | 1535.029 | 1329.012
05/01/2024 10:00 | 1434.148 | 1537.623 | 1330.674
05/01/2024 10:30 | 1481.838 | 1589.077 | 1374.598
05/01/2024 11:00 | 1542.437 | 1654.399 | 1430.475
05/01/2024 11:30 | 1596.373 | 1712.599 | 1480.148
05/01/2024 12:00 | 1682.834 | 1805.723 | 1559.946
05/01/2024 12:30 | 1785.771 | 1916.566 | 1654.975
05/01/2024 13:00 | 1899.283 | 2038.807 | 1759.759
05/01/2024 13:30 | 2037.902 | 2188.054 | 1887.749
05/01/2024 14:00 | 2190.146 | 2351.995 | 2028.298
05/01/2024 14:30 | 2348.818 | 2522.905 | 2174.73
05/01/2024 15:00 | 2524.852 | 2712.538 | 2337.166
05/01/2024 15:30 | 2729.974 | 2933.504 | 2526.444
05/01/2024 16:00 | 2917.439 | 3135.583 | 2699.295
05/01/2024 16:30 | 3053.828 | 3282.837 | 2824.819
05/01/2024 17:00 | 3137.854 | 3373.85 | 2901.858
05/01/2024 17:30 | 3168.708 | 3407.717 | 2929.699
05/01/2024 18:00 | 3147.314 | 3385.397 | 2909.231
05/01/2024 18:30 | 3083.499 | 3317.428 | 2849.57
05/01/2024 19:00 | 3017.414 | 3246.988 | 2787.839
05/01/2024 19:30 | 2957.615 | 3183.287 | 2731.944
05/01/2024 20:00 | 2865.951 | 3085.254 | 2646.647
05/01/2024 20:30 | 2754.203 | 2965.557 | 2542.848
05/01/2024 21:00 | 2644.424 | 2847.932 | 2440.917
05/01/2024 21:30 | 2542.888 | 2739.137 | 2346.639
05/01/2024 22:00 | 2444.175 | 2633.34 | 2255.01
05/01/2024 22:30 | 2350.281 | 2532.692 | 2167.869
05/01/2024 23:00 | 2264.426 | 2440.669 | 2088.183
05/01/2024 23:30 | 2187.188 | 2363.869 | 2010.507
06/01/2024 00:00 | 2121.875 | 2305.232 | 1938.518
06/01/2024 00:30 | 2073.221 | 2251.905 | 1894.537
06/01/2024 01:00 | 2033.792 | 2209.564 | 1858.021
06/01/2024 01:30 | 2001.873 | 2175.365 | 1828.382
06/01/2024 02:00 | 1980.438 | 2152.544 | 1808.331
06/01/2024 02:30 | 1960.884 | 2131.76 | 1790.008
06/01/2024 03:00 | 1944.606 | 2114.528 | 1774.684
06/01/2024 03:30 | 1938.984 | 2108.877 | 1769.09
06/01/2024 04:00 | 1937.589 | 2107.823 | 1767.355
06/01/2024 04:30 | 1916.413 | 2085.244 | 1747.581
06/01/2024 05:00 | 1890.552 | 2057.557 | 1723.548
06/01/2024 05:30 | 1859.339 | 2024.031 | 1694.647
06/01/2024 06:00 | 1790.791 | 1949.839 | 1631.743
06/01/2024 06:30 | 1720.61 | 1873.835 | 1567.384
06/01/2024 07:00 | 1627.993 | 1773.36 | 1482.627
06/01/2024 07:30 | 1521.269 | 1657.368 | 1385.17
06/01/2024 08:00 | 1434.799 | 1563.219 | 1306.38
06/01/2024 08:30 | 1368.947 | 1491.543 | 1246.352
06/01/2024 09:00 | 1339.533 | 1459.563 | 1219.504
06/01/2024 09:30 | 1331.5 | 1450.877 | 1212.122
06/01/2024 10:00 | 1338.862 | 1458.968 | 1218.756
06/01/2024 10:30 | 1383.77 | 1507.975 | 1259.565
06/01/2024 11:00 | 1451.456 | 1581.81 | 1321.101
06/01/2024 11:30 | 1512.618 | 1648.543 | 1376.694
06/01/2024 12:00 | 1594.587 | 1737.958 | 1451.215
06/01/2024 12:30 | 1685.168 | 1836.77 | 1533.567
06/01/2024 13:00 | 1787.765 | 1948.687 | 1626.842
06/01/2024 13:30 | 1904.503 | 2076.031 | 1732.976
06/01/2024 14:00 | 2035.846 | 2219.307 | 1852.385
06/01/2024 14:30 | 2207.002 | 2406 | 2008.005
06/01/2024 15:00 | 2379.702 | 2594.392 | 2165.012
06/01/2024 15:30 | 2578.834 | 2811.621 | 2346.047
06/01/2024 16:00 | 2769.218 | 3019.332 | 2519.105
06/01/2024 16:30 | 2926.583 | 3191.059 | 2662.107
06/01/2024 17:00 | 3028.454 | 3302.291 | 2754.618
06/01/2024 17:30 | 3087.502 | 3366.836 | 2808.169
06/01/2024 18:00 | 3082.328 | 3361.35 | 2803.306
06/01/2024 18:30 | 3018.563 | 3291.967 | 2745.159
06/01/2024 19:00 | 2948.612 | 3215.83 | 2681.394
06/01/2024 19:30 | 2889.333 | 3151.326 | 2627.34
06/01/2024 20:00 | 2800.642 | 3054.736 | 2546.548
06/01/2024 20:30 | 2707.325 | 2953.09 | 2461.559
06/01/2024 21:00 | 2612.5 | 2849.79 | 2375.209
06/01/2024 21:30 | 2520.113 | 2749.141 | 2291.085
06/01/2024 22:00 | 2430.187 | 2651.166 | 2209.208
06/01/2024 22:30 | 2343.849 | 2557.097 | 2130.601
06/01/2024 23:00 | 2268.167 | 2474.646 | 2061.689
06/01/2024 23:30 | 2203.019 | 2403.678 | 2002.359
07/01/2024 00:00 | 2147.667 | 2343.395 | 1951.94
07/01/2024 00:30 | 2101.418 | 2293.038 | 1909.798
07/01/2024 01:00 | 2062.777 | 2250.979 | 1874.576
07/01/2024 01:30 | 2029.23 | 2214.474 | 1843.986
07/01/2024 02:00 | 2002.303 | 2185.191 | 1819.415
07/01/2024 02:30 | 1981.512 | 2162.602 | 1800.422
07/01/2024 03:00 | 1965.692 | 2145.437 | 1785.948
07/01/2024 03:30 | 1953.341 | 2132.056 | 1774.626
07/01/2024 04:00 | 1939.805 | 2117.38 | 1762.23
07/01/2024 04:30 | 1903.944 | 2078.333 | 1729.555
07/01/2024 05:00 | 1858.538 | 2028.863 | 1688.212
07/01/2024 05:30 | 1803.72 | 1969.114 | 1638.327
07/01/2024 06:00 | 1712.376 | 1869.48 | 1555.271
07/01/2024 06:30 | 1632.034 | 1781.851 | 1482.217
07/01/2024 07:00 | 1547.765 | 1689.925 | 1405.604
07/01/2024 07:30 | 1464.449 | 1599.032 | 1329.867
07/01/2024 08:00 | 1414.454 | 1544.514 | 1284.394
07/01/2024 08:30 | 1381.376 | 1508.465 | 1254.288
07/01/2024 09:00 | 1372.085 | 1498.389 | 1245.781
07/01/2024 09:30 | 1395.973 | 1524.547 | 1267.399
07/01/2024 10:00 | 1450.419 | 1584.082 | 1316.757
07/01/2024 10:30 | 1518.72 | 1658.755 | 1378.686
07/01/2024 11:00 | 1602.51 | 1750.352 | 1454.668
07/01/2024 11:30 | 1697.095 | 1853.75 | 1540.441
07/01/2024 12:00 | 1800.763 | 1967.079 | 1634.448
07/01/2024 12:30 | 1917.562 | 2094.763 | 1740.362
07/01/2024 13:00 | 2040.055 | 2228.679 | 1851.431
07/01/2024 13:30 | 2182.771 | 2384.703 | 1980.84
07/01/2024 14:00 | 2345.699 | 2562.823 | 2128.576
07/01/2024 14:30 | 2525.868 | 2759.797 | 2291.939
07/01/2024 15:00 | 2697.252 | 2947.191 | 2447.312
07/01/2024 15:30 | 2885.513 | 3153.045 | 2617.982
07/01/2024 16:00 | 3071.407 | 3356.33 | 2786.484
07/01/2024 16:30 | 3229.983 | 3529.782 | 2930.185
07/01/2024 17:00 | 3339.717 | 3649.87 | 3029.563
07/01/2024 17:30 | 3396.913 | 3712.551 | 3081.274
07/01/2024 18:00 | 3378.968 | 3693.112 | 3064.824
07/01/2024 18:30 | 3306.049 | 3613.582 | 2998.516
07/01/2024 19:00 | 3233.484 | 3534.432 | 2932.537
07/01/2024 19:30 | 3165.877 | 3460.694 | 2871.06
07/01/2024 20:00 | 3054.302 | 3338.884 | 2769.72
07/01/2024 20:30 | 2925.308 | 3198.02 | 2652.595
07/01/2024 21:00 | 2789.328 | 3049.505 | 2529.15
07/01/2024 21:30 | 2661.473 | 2909.861 | 2413.085
07/01/2024 22:00 | 2542.638 | 2780.065 | 2305.211
07/01/2024 22:30 | 2437.927 | 2665.701 | 2210.154
07/01/2024 23:00 | 2350.395 | 2570.11 | 2130.679
07/01/2024 23:30 | 2268.263 | 2483.176 | 2053.351
08/01/2024 00:00 | 2195.897 | 2409.466 | 1982.328
08/01/2024 00:30 | 2142.341 | 2350.685 | 1933.997
08/01/2024 01:00 | 2104.532 | 2309.602 | 1899.461
08/01/2024 01:30 | 2076.151 | 2278.854 | 1873.448
08/01/2024 02:00 | 2055.742 | 2256.847 | 1854.638
08/01/2024 02:30 | 2041.429 | 2241.525 | 1841.334
08/01/2024 03:00 | 2029.876 | 2229.228 | 1830.524
08/01/2024 03:30 | 2033 | 2233.048 | 1832.951
08/01/2024 04:00 | 2048.786 | 2250.781 | 1846.791
08/01/2024 04:30 | 2067.126 | 2271.326 | 1862.927
08/01/2024 05:00 | 2086.393 | 2292.895 | 1879.89
08/01/2024 05:30 | 2095.838 | 2303.677 | 1888
08/01/2024 06:00 | 2088.417 | 2295.92 | 1880.914
08/01/2024 06:30 | 2063.932 | 2269.398 | 1858.466
08/01/2024 07:00 | 2019.787 | 2221.246 | 1818.329
08/01/2024 07:30 | 1969.059 | 2165.936 | 1772.183
08/01/2024 08:00 | 1935.386 | 2129.562 | 1741.211
08/01/2024 08:30 | 1914.361 | 2107.069 | 1721.653
08/01/2024 09:00 | 1907.169 | 2099.793 | 1714.546
08/01/2024 09:30 | 1912.277 | 2106.057 | 1718.496
08/01/2024 10:00 | 1955.132 | 2153.911 | 1756.353
08/01/2024 10:30 | 2029.814 | 2236.867 | 1822.762
08/01/2024 11:00 | 2115.204 | 2331.676 | 1898.732
08/01/2024 11:30 | 2189.626 | 2414.449 | 1964.804
08/01/2024 12:00 | 2271.847 | 2505.874 | 2037.821
08/01/2024 12:30 | 2379.405 | 2625.309 | 2133.501
08/01/2024 13:00 | 2492.202 | 2750.599 | 2233.806
08/01/2024 13:30 | 2605.276 | 2876.27 | 2334.282
08/01/2024 14:00 | 2745.004 | 3031.453 | 2458.556
08/01/2024 14:30 | 2907.979 | 3212.409 | 2603.548
08/01/2024 15:00 | 3055.157 | 3376.019 | 2734.294
08/01/2024 15:30 | 3220.872 | 3560.218 | 2881.525
08/01/2024 16:00 | 3386.074 | 3743.962 | 3028.187
08/01/2024 16:30 | 3521.46 | 3894.838 | 3148.083
08/01/2024 17:00 | 3600.108 | 3983.031 | 3217.184
08/01/2024 17:30 | 3615.096 | 4000.826 | 3229.366
08/01/2024 18:00 | 3566.12 | 3947.819 | 3184.42
08/01/2024 18:30 | 3470.935 | 3843.61 | 3098.259
08/01/2024 19:00 | 3374.708 | 3738.182 | 3011.232
08/01/2024 19:30 | 3285.542 | 3640.514 | 2930.569
08/01/2024 20:00 | 3158.707 | 3501.035 | 2816.378
08/01/2024 20:30 | 3015.364 | 3343.168 | 2687.559
08/01/2024 21:00 | 2865.807 | 3178.314 | 2553.3
08/01/2024 21:30 | 2727.063 | 3025.355 | 2428.771
08/01/2024 22:00 | 2599.09 | 2884.256 | 2313.925
08/01/2024 22:30 | 2490.808 | 2764.928 | 2216.688
08/01/2024 23:00 | 2399.868 | 2664.785 | 2134.951
08/01/2024 23:30 | 2316.138 | 2572.589 | 2059.688
09/01/2024 00:00 | 2242.054 | 2491.054 | 1993.055
09/01/2024 00:30 | 2186.795 | 2430.391 | 1943.2
09/01/2024 01:00 | 2147.299 | 2387.215 | 1907.383
09/01/2024 01:30 | 2115.615 | 2352.7 | 1878.53
09/01/2024 02:00 | 2091.518 | 2326.604 | 1856.432
09/01/2024 02:30 | 2074.058 | 2307.876 | 1840.239
09/01/2024 03:00 | 2061.289 | 2294.359 | 1828.218
09/01/2024 03:30 | 2060.901 | 2294.619 | 1827.183
09/01/2024 04:00 | 2074.767 | 2310.753 | 1838.781
09/01/2024 04:30 | 2088.002 | 2326.194 | 1849.811
09/01/2024 05:00 | 2103.321 | 2343.965 | 1862.676
09/01/2024 05:30 | 2126.78 | 2370.821 | 1882.738
09/01/2024 06:00 | 2147.862 | 2395.043 | 1900.682
09/01/2024 06:30 | 2156.126 | 2404.981 | 1907.271
09/01/2024 07:00 | 2114.104 | 2358.817 | 1869.39
09/01/2024 07:30 | 2016.197 | 2250.253 | 1782.14