## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
03/01/2024 08:00 | 1530.1 | 1558.544 | 1515.123
03/01/2024 08:30 | 1425.614 | 1449.991 | 1401.236 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
03/01/2024 09:00 | 1328.327 | 1354.99 | 1301.664 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
03/01/2024 09:30 | 1278.525 | 1307.989 | 1249.062 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
03/01/2024 10:00 | 1257.527 | 1290.245 | 1224.809 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
03/01/2024 10:30 | 1260.958 | 1296.612 | 1225.304 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
03/01/2024 11:00 | 1303.843 | 1341.806 | 1265.88 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
03/01/2024 11:30 | 1355.53 | 1396.303 | 1314.756 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
03/01/2024 12:00 | 1421.517 | 1465.644 | 1377.389 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
03/01/2024 12:30 | 1508.322 | 1556.597 | 1460.047 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
03/01/2024 13:00 | 1626.768 | 1680.401 | 1573.136 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
03/01/2024 13:30 | 1759.018 | 1818.705 | 1699.332
03/01/2024 14:00 | 1899.249 | 1965.523 | 1832.975 | Summary view - for each schedule horizon (dispatch, week-ahead)
03/01/2024 14:30 | 2056.871 | 2130.626 | 1983.116
03/01/2024 15:00 | 2227.739 | 2296.7 | 2145.711 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
03/01/2024 15:30 | 2419.205 | 2496.29 | 2327.797 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
03/01/2024 16:00 | 2607.798 | 2694.621 | 2493.592 | Scenario | Violations
03/01/2024 16:30 | 2769.192 | 2866.706 | 2647.725 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
03/01/2024 17:00 | 2885.51 | 2990.233 | 2756.494 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
03/01/2024 17:30 | 2952.476 | 3064.817 | 2819.802 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 1 | 0 | 0 | 1
03/01/2024 18:00 | 2964.985 | 3084.194 | 2832.16 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 1
03/01/2024 18:30 | 2927.329 | 3049.51 | 2796.051 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 0 | 0 | 0 | 0 | 2
03/01/2024 19:00 | 2873.458 | 2996.341 | 2745.339
03/01/2024 19:30 | 2817.457 | 2941.728 | 2693.187 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
03/01/2024 20:00 | 2725.301 | 2846.573 | 2604.029
03/01/2024 20:30 | 2613.019 | 2730.317 | 2495.72 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
03/01/2024 21:00 | 2499.299 | 2612.471 | 2386.127 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
03/01/2024 21:30 | 2395.689 | 2505.107 | 2286.271 | [7 empty] | 03/01/2024 09:30 |  | 07/01/2024 16:30 |  |  | 04/01/2024 11:30 | [6 empty] | 03/01/2024 10:00 |  |  |  |  | 03/01/2024 08:30 | [6 empty] | 03/01/2024 09:30 |  |  |  |  | 03/01/2024 08:30
03/01/2024 22:00 | 2298.045 | 2403.903 | 2192.188 | [7 empty] | 03/01/2024 10:00 | [11 empty] | 03/01/2024 10:30 | [11 empty] | 03/01/2024 10:00 |  |  |  |  | 07/01/2024 12:00
03/01/2024 22:30 | 2212.024 | 2314.785 | 2109.263 | [7 empty] | 03/01/2024 10:30 | [11 empty] | 04/01/2024 12:00 | [11 empty] | 03/01/2024 10:30
03/01/2024 23:00 | 2141.651 | 2241.981 | 2041.321 | [7 empty] | 03/01/2024 11:00 | [11 empty] | 04/01/2024 12:30 | [11 empty] | 03/01/2024 11:00
03/01/2024 23:30 | 2076.236 | 2174.314 | 1978.158 | [7 empty] | 04/01/2024 12:00 | [11 empty] | 04/01/2024 13:00 | [11 empty] | 04/01/2024 12:30
04/01/2024 00:00 | 2019.513 | 2115.703 | 1923.324 | [7 empty] | 04/01/2024 12:30 | [11 empty] | 05/01/2024 12:00 | [11 empty] | 04/01/2024 13:00
04/01/2024 00:30 | 1976.766 | 2071.693 | 1881.839 | [7 empty] | 04/01/2024 13:00 | [11 empty] | 06/01/2024 10:30 | [11 empty] | 04/01/2024 13:30
04/01/2024 01:00 | 1945.841 | 2040.044 | 1851.638 | [7 empty] | 05/01/2024 12:30 | [11 empty] | 06/01/2024 11:00 | [11 empty] | 06/01/2024 10:30
04/01/2024 01:30 | 1921.641 | 2015.425 | 1827.858 | [7 empty] | 06/01/2024 10:00 | [11 empty] | 06/01/2024 11:30 | [11 empty] | 06/01/2024 11:00
04/01/2024 02:00 | 1904.687 | 1998.389 | 1810.985 | [7 empty] | 06/01/2024 11:00 | [11 empty] | 07/01/2024 10:00 | [11 empty] | 06/01/2024 11:30
04/01/2024 02:30 | 1895.2 | 1989.177 | 1801.224 | [7 empty] | 06/01/2024 11:30 | [11 empty] | 07/01/2024 10:30 | [11 empty] | 06/01/2024 12:00
04/01/2024 03:00 | 1891.64 | 1986.18 | 1797.099 | [7 empty] | 06/01/2024 12:00 | [11 empty] | 09/01/2024 10:30 | [11 empty] | 06/01/2024 12:30
04/01/2024 03:30 | 1898.488 | 1994.114 | 1802.862 | [7 empty] | 07/01/2024 10:00 | [11 empty] | 09/01/2024 11:00 | [11 empty] | 06/01/2024 13:00
04/01/2024 04:00 | 1915.94 | 2013.195 | 1818.685 | [7 empty] | 07/01/2024 10:30 | [11 empty] | 09/01/2024 11:30 | [11 empty] | 07/01/2024 10:30
04/01/2024 04:30 | 1934.253 | 2033.194 | 1835.311 | [7 empty] | 09/01/2024 11:30 | [11 empty] | 09/01/2024 12:00 | [11 empty] | 07/01/2024 11:30
04/01/2024 05:00 | 1946.358 | 2046.68 | 1846.035 | [7 empty] | 09/01/2024 12:00 | [23 empty] | 09/01/2024 11:30
04/01/2024 05:30 | 1936.856 | 2037.447 | 1836.265 | [7 empty] | 09/01/2024 12:30 | [23 empty] | 09/01/2024 12:00
04/01/2024 06:00 | 1898.082 | 1997.402 | 1798.762 | [7 empty] | 09/01/2024 13:00 | [23 empty] | 09/01/2024 12:30
04/01/2024 06:30 | 1835.601 | 1932.222 | 1738.98 | [7 empty] | 09/01/2024 13:30 | [23 empty] | 09/01/2024 13:00
04/01/2024 07:00 | 1737.601 | 1829.327 | 1645.875 | [31 empty] | 09/01/2024 13:30
04/01/2024 07:30 | 1620.829 | 1706.658 | 1535 | [31 empty] | 09/01/2024 14:00
04/01/2024 08:00 | 1501.894 | 1581.673 | 1422.115
04/01/2024 08:30 | 1390.44 | 1464.529 | 1316.352
04/01/2024 09:00 | 1318.094 | 1388.545 | 1247.643
04/01/2024 09:30 | 1274.913 | 1343.267 | 1206.56
04/01/2024 10:00 | 1260.783 | 1328.587 | 1192.979
04/01/2024 10:30 | 1285.251 | 1354.583 | 1215.919
04/01/2024 11:00 | 1329.877 | 1401.836 | 1257.918
04/01/2024 11:30 | 1375.403 | 1450.053 | 1300.754
04/01/2024 12:00 | 1442.395 | 1520.918 | 1363.871
04/01/2024 12:30 | 1522.65 | 1605.794 | 1439.505
04/01/2024 13:00 | 1625.506 | 1714.535 | 1536.477
04/01/2024 13:30 | 1758.499 | 1855.102 | 1661.895
04/01/2024 14:00 | 1903.276 | 2008.147 | 1798.405
04/01/2024 14:30 | 2063.924 | 2177.988 | 1949.861
04/01/2024 15:00 | 2239.471 | 2363.605 | 2115.336
04/01/2024 15:30 | 2431.824 | 2567.022 | 2296.625
04/01/2024 16:00 | 2618.166 | 2764.156 | 2472.175
04/01/2024 16:30 | 2789.546 | 2945.554 | 2633.539
04/01/2024 17:00 | 2915.979 | 3079.539 | 2752.419
04/01/2024 17:30 | 2995.049 | 3163.538 | 2826.559
04/01/2024 18:00 | 3007.252 | 3176.925 | 2837.58
04/01/2024 18:30 | 2970.201 | 3138.273 | 2802.128
04/01/2024 19:00 | 2916.195 | 3081.693 | 2750.697
04/01/2024 19:30 | 2861.66 | 3024.535 | 2698.784
04/01/2024 20:00 | 2766.756 | 2924.687 | 2608.826
04/01/2024 20:30 | 2646.85 | 2798.374 | 2495.327
04/01/2024 21:00 | 2527.042 | 2671.289 | 2381.96
04/01/2024 21:30 | 2424.408 | 2563.198 | 2284.818
04/01/2024 22:00 | 2326.229 | 2459.783 | 2191.908
04/01/2024 22:30 | 2236.608 | 2365.385 | 2107.093
04/01/2024 23:00 | 2160.493 | 2285.244 | 2035.028
04/01/2024 23:30 | 2090.543 | 2211.6 | 1968.796
05/01/2024 00:00 | 2031.31 | 2149.272 | 1912.676
05/01/2024 00:30 | 1988.318 | 2104.112 | 1871.867
05/01/2024 01:00 | 1956.985 | 2071.277 | 1842.046
05/01/2024 01:30 | 1932.891 | 2046.096 | 1819.049
05/01/2024 02:00 | 1915.428 | 2027.926 | 1802.297
05/01/2024 02:30 | 1905.743 | 2017.986 | 1792.87
05/01/2024 03:00 | 1900.965 | 2013.241 | 1788.061
05/01/2024 03:30 | 1907.903 | 2020.904 | 1794.272
05/01/2024 04:00 | 1926.658 | 2041.088 | 1811.592
05/01/2024 04:30 | 1943.182 | 2058.914 | 1826.808
05/01/2024 05:00 | 1953.17 | 2069.82 | 1835.876
05/01/2024 05:30 | 1947.574 | 2064.211 | 1830.294
05/01/2024 06:00 | 1911.918 | 2026.735 | 1796.469
05/01/2024 06:30 | 1855.686 | 1967.433 | 1743.292
05/01/2024 07:00 | 1771.451 | 1878.417 | 1663.765
05/01/2024 07:30 | 1673.793 | 1775.171 | 1571.678
05/01/2024 08:00 | 1586.911 | 1683.379 | 1489.75
05/01/2024 08:30 | 1505.507 | 1597.355 | 1413.001
05/01/2024 09:00 | 1451.497 | 1540.366 | 1362.627
05/01/2024 09:30 | 1414.371 | 1501.276 | 1327.465
05/01/2024 10:00 | 1407.241 | 1494.016 | 1320.465
05/01/2024 10:30 | 1445.371 | 1534.814 | 1355.929
05/01/2024 11:00 | 1502.133 | 1595.416 | 1408.85
05/01/2024 11:30 | 1543.803 | 1640.011 | 1447.595
05/01/2024 12:00 | 1608.131 | 1708.699 | 1507.563
05/01/2024 12:30 | 1694.266 | 1800.591 | 1587.941
05/01/2024 13:00 | 1792.828 | 1905.73 | 1679.926
05/01/2024 13:30 | 1906.728 | 2027.219 | 1786.237
05/01/2024 14:00 | 2033.816 | 2162.783 | 1904.849
05/01/2024 14:30 | 2181.477 | 2320.284 | 2042.67
05/01/2024 15:00 | 2339.379 | 2488.744 | 2190.014
05/01/2024 15:30 | 2531.767 | 2693.969 | 2369.565
05/01/2024 16:00 | 2718.338 | 2893.087 | 2543.589
05/01/2024 16:30 | 2861.839 | 3046.438 | 2677.24
05/01/2024 17:00 | 2956.244 | 3147.579 | 2764.91
05/01/2024 17:30 | 3003.019 | 3198.037 | 2808.001
05/01/2024 18:00 | 3000.64 | 3196.159 | 2805.121
05/01/2024 18:30 | 2953.349 | 3146.432 | 2760.266
05/01/2024 19:00 | 2898.946 | 3089.106 | 2708.786
05/01/2024 19:30 | 2851.96 | 3039.66 | 2664.259
05/01/2024 20:00 | 2771.437 | 2954.444 | 2588.431
05/01/2024 20:30 | 2672.475 | 2849.53 | 2495.419
05/01/2024 21:00 | 2573.497 | 2744.557 | 2402.437
05/01/2024 21:30 | 2481.194 | 2646.661 | 2315.727
05/01/2024 22:00 | 2389.826 | 2549.723 | 2229.93
05/01/2024 22:30 | 2301.731 | 2456.236 | 2147.227
05/01/2024 23:00 | 2219.973 | 2369.475 | 2070.471
05/01/2024 23:30 | 2146.024 | 2296.126 | 1995.922
06/01/2024 00:00 | 2083.03 | 2239.022 | 1927.037
06/01/2024 00:30 | 2036.294 | 2188.447 | 1884.141
06/01/2024 01:00 | 1998.967 | 2148.808 | 1849.125
06/01/2024 01:30 | 1968.999 | 2117.065 | 1820.934
06/01/2024 02:00 | 1949.024 | 2096.053 | 1801.995
06/01/2024 02:30 | 1930.853 | 2076.973 | 1784.734
06/01/2024 03:00 | 1915.889 | 2061.334 | 1770.444
06/01/2024 03:30 | 1911.491 | 2057.059 | 1765.924
06/01/2024 04:00 | 1911.327 | 2057.338 | 1765.315
06/01/2024 04:30 | 1891.757 | 2036.725 | 1746.788
06/01/2024 05:00 | 1868.821 | 2012.478 | 1725.163
06/01/2024 05:30 | 1841.951 | 1983.983 | 1699.919
06/01/2024 06:00 | 1775.316 | 1912.634 | 1637.999
06/01/2024 06:30 | 1702.309 | 1834.386 | 1570.231
06/01/2024 07:00 | 1604.322 | 1729.179 | 1479.464
06/01/2024 07:30 | 1487.93 | 1604.085 | 1371.775
06/01/2024 08:00 | 1389.212 | 1497.992 | 1280.431
06/01/2024 08:30 | 1313.765 | 1416.951 | 1210.578
06/01/2024 09:00 | 1276.285 | 1376.833 | 1175.737
06/01/2024 09:30 | 1261.211 | 1360.873 | 1161.55
06/01/2024 10:00 | 1264.345 | 1364.556 | 1164.134
06/01/2024 10:30 | 1301.97 | 1405.474 | 1198.465
06/01/2024 11:00 | 1364.18 | 1472.956 | 1255.405
06/01/2024 11:30 | 1419.101 | 1532.595 | 1305.607
06/01/2024 12:00 | 1496.169 | 1616.183 | 1376.154
06/01/2024 12:30 | 1582.007 | 1709.285 | 1454.729
06/01/2024 13:00 | 1675.299 | 1810.483 | 1540.115
06/01/2024 13:30 | 1787.289 | 1931.936 | 1642.641
06/01/2024 14:00 | 1913.048 | 2068.331 | 1757.766
06/01/2024 14:30 | 2083.677 | 2253.307 | 1914.047
06/01/2024 15:00 | 2254.367 | 2438.431 | 2070.302
06/01/2024 15:30 | 2452.047 | 2652.838 | 2251.257
06/01/2024 16:00 | 2644.406 | 2861.58 | 2427.232
06/01/2024 16:30 | 2805.217 | 3036.268 | 2574.167
06/01/2024 17:00 | 2912.849 | 3153.46 | 2672.238
06/01/2024 17:30 | 2977.856 | 3224.549 | 2731.163
06/01/2024 18:00 | 2979.803 | 3227.368 | 2732.237
06/01/2024 18:30 | 2922.31 | 3165.797 | 2678.822
06/01/2024 19:00 | 2857.41 | 3096.173 | 2618.648
06/01/2024 19:30 | 2802.561 | 3037.409 | 2567.712
06/01/2024 20:00 | 2718.793 | 2947.271 | 2490.314
06/01/2024 20:30 | 2630.792 | 2852.504 | 2409.081
06/01/2024 21:00 | 2541.959 | 2756.792 | 2327.127
06/01/2024 21:30 | 2455.895 | 2664.041 | 2247.75
06/01/2024 22:00 | 2371.259 | 2572.798 | 2169.721
06/01/2024 22:30 | 2291.424 | 2486.724 | 2096.123
06/01/2024 23:00 | 2223.54 | 2413.585 | 2033.494
06/01/2024 23:30 | 2166.625 | 2352.324 | 1980.926
07/01/2024 00:00 | 2119.69 | 2301.872 | 1937.507
07/01/2024 00:30 | 2078.895 | 2258.068 | 1899.722
07/01/2024 01:00 | 2043.951 | 2220.601 | 1867.302
07/01/2024 01:30 | 2011.867 | 2186.224 | 1837.51
07/01/2024 02:00 | 1986.523 | 2159.158 | 1813.887
07/01/2024 02:30 | 1966.752 | 2138.139 | 1795.365
07/01/2024 03:00 | 1951.564 | 2122.094 | 1781.035
07/01/2024 03:30 | 1941.129 | 2111.21 | 1771.047
07/01/2024 04:00 | 1929.735 | 2099.279 | 1760.191
07/01/2024 04:30 | 1895.397 | 2062.376 | 1728.417
07/01/2024 05:00 | 1853.463 | 2017.192 | 1689.735
07/01/2024 05:30 | 1803.065 | 1962.772 | 1643.358
07/01/2024 06:00 | 1712.918 | 1865.05 | 1560.787
07/01/2024 06:30 | 1633.037 | 1778.464 | 1487.61
07/01/2024 07:00 | 1546.538 | 1684.632 | 1408.445
07/01/2024 07:30 | 1454.808 | 1584.961 | 1324.655
07/01/2024 08:00 | 1395.967 | 1520.911 | 1271.023
07/01/2024 08:30 | 1359.529 | 1481.281 | 1237.777
07/01/2024 09:00 | 1350.891 | 1471.938 | 1229.844
07/01/2024 09:30 | 1375.253 | 1498.553 | 1251.953
07/01/2024 10:00 | 1431.914 | 1560.367 | 1303.46
07/01/2024 10:30 | 1503.86 | 1638.844 | 1368.876
07/01/2024 11:00 | 1588.454 | 1731.113 | 1445.796
07/01/2024 11:30 | 1684.692 | 1836.08 | 1533.305
07/01/2024 12:00 | 1780.425 | 1940.506 | 1620.345
07/01/2024 12:30 | 1875.474 | 2044.196 | 1706.751
07/01/2024 13:00 | 1981.191 | 2159.525 | 1802.857
07/01/2024 13:30 | 2098.61 | 2287.619 | 1909.6
07/01/2024 14:00 | 2232.469 | 2433.649 | 2031.29
07/01/2024 14:30 | 2407.155 | 2624.199 | 2190.111
07/01/2024 15:00 | 2582.047 | 2814.992 | 2349.102
07/01/2024 15:30 | 2791.841 | 3043.855 | 2539.826
07/01/2024 16:00 | 2999.533 | 3270.448 | 2728.617
07/01/2024 16:30 | 3175.99 | 3463.005 | 2888.975
07/01/2024 17:00 | 3287.673 | 3584.948 | 2990.397
07/01/2024 17:30 | 3334.179 | 3635.83 | 3032.529
07/01/2024 18:00 | 3316.425 | 3616.638 | 3016.212
07/01/2024 18:30 | 3235.427 | 3528.473 | 2942.381
07/01/2024 19:00 | 3153.141 | 3438.895 | 2867.387
07/01/2024 19:30 | 3085.628 | 3365.421 | 2805.836
07/01/2024 20:00 | 2975.394 | 3245.343 | 2705.445
07/01/2024 20:30 | 2848.873 | 3107.488 | 2590.258
07/01/2024 21:00 | 2716.78 | 2963.542 | 2470.017
07/01/2024 21:30 | 2594.312 | 2830.084 | 2358.541
07/01/2024 22:00 | 2480.616 | 2706.181 | 2255.051
07/01/2024 22:30 | 2383.641 | 2600.509 | 2166.772
07/01/2024 23:00 | 2306.529 | 2516.499 | 2096.559
07/01/2024 23:30 | 2236.732 | 2437.808 | 2035.656
08/01/2024 00:00 | 2178.646 | 2369.6 | 1987.692
08/01/2024 00:30 | 2133.587 | 2321.452 | 1945.723
08/01/2024 01:00 | 2099.63 | 2284.907 | 1914.353
08/01/2024 01:30 | 2073.822 | 2257.219 | 1890.425
08/01/2024 02:00 | 2055.807 | 2238.005 | 1873.61
08/01/2024 02:30 | 2041.968 | 2223.33 | 1860.605
08/01/2024 03:00 | 2031.867 | 2212.722 | 1851.013
08/01/2024 03:30 | 2036.83 | 2218.517 | 1855.143
08/01/2024 04:00 | 2055.838 | 2239.615 | 1872.062
08/01/2024 04:30 | 2075.706 | 2261.656 | 1889.755
08/01/2024 05:00 | 2099.452 | 2287.932 | 1910.972
08/01/2024 05:30 | 2115.735 | 2306.083 | 1925.388
08/01/2024 06:00 | 2113.74 | 2304.313 | 1923.167
08/01/2024 06:30 | 2101.703 | 2291.593 | 1911.812
08/01/2024 07:00 | 2068.18 | 2255.438 | 1880.922
08/01/2024 07:30 | 2022.278 | 2205.768 | 1838.789
08/01/2024 08:00 | 1992.926 | 2174.134 | 1811.717
08/01/2024 08:30 | 1976.899 | 2157.03 | 1796.769
08/01/2024 09:00 | 1982.443 | 2163.458 | 1801.428
08/01/2024 09:30 | 1992.713 | 2175.048 | 1810.378
08/01/2024 10:00 | 2051.622 | 2239.74 | 1863.504
08/01/2024 10:30 | 2188.77 | 2389.883 | 1987.656
08/01/2024 11:00 | 2295.125 | 2506.45 | 2083.799
08/01/2024 11:30 | 2350.139 | 2566.98 | 2133.298
08/01/2024 12:00 | 2390.277 | 2611.28 | 2169.274
08/01/2024 12:30 | 2431.675 | 2656.972 | 2206.379
08/01/2024 13:00 | 2544.406 | 2780.635 | 2308.177
08/01/2024 13:30 | 2756.797 | 3013.274 | 2500.321
08/01/2024 14:00 | 2934.198 | 3207.74 | 2660.655
08/01/2024 14:30 | 3030.127 | 3313.194 | 2747.061
08/01/2024 15:00 | 3113.496 | 3404.948 | 2822.044
08/01/2024 15:30 | 3211.562 | 3512.809 | 2910.314
08/01/2024 16:00 | 3329.549 | 3642.502 | 3016.597
08/01/2024 16:30 | 3445.404 | 3769.906 | 3120.902
08/01/2024 17:00 | 3493.354 | 3823.042 | 3163.666
08/01/2024 17:30 | 3468.7 | 3796.726 | 3140.674
08/01/2024 18:00 | 3402.532 | 3724.953 | 3080.111
08/01/2024 18:30 | 3319.884 | 3635.11 | 3004.659
08/01/2024 19:00 | 3243.951 | 3552.588 | 2935.313
08/01/2024 19:30 | 3161.438 | 3462.831 | 2860.045
08/01/2024 20:00 | 3042.015 | 3332.606 | 2751.424
08/01/2024 20:30 | 2904.874 | 3182.921 | 2626.826
08/01/2024 21:00 | 2764.649 | 3029.804 | 2499.494
08/01/2024 21:30 | 2636.064 | 2889.392 | 2382.736
08/01/2024 22:00 | 2517.378 | 2759.782 | 2274.973
08/01/2024 22:30 | 2418.333 | 2651.664 | 2185.002
08/01/2024 23:00 | 2334.178 | 2559.837 | 2108.52
08/01/2024 23:30 | 2256.496 | 2475.077 | 2037.915
09/01/2024 00:00 | 2187.811 | 2400.158 | 1975.464
09/01/2024 00:30 | 2136.41 | 2344.177 | 1928.643
09/01/2024 01:00 | 2100.194 | 2304.842 | 1895.546
09/01/2024 01:30 | 2070.137 | 2272.253 | 1868.021
09/01/2024 02:00 | 2047.607 | 2247.916 | 1847.298
09/01/2024 02:30 | 2032.034 | 2231.209 | 1832.859
09/01/2024 03:00 | 2020.896 | 2219.366 | 1822.426
09/01/2024 03:30 | 2022.572 | 2221.594 | 1823.549
09/01/2024 04:00 | 2038.428 | 2239.401 | 1837.454
09/01/2024 04:30 | 2053.206 | 2256.03 | 1850.382
09/01/2024 05:00 | 2067.351 | 2271.968 | 1862.733
09/01/2024 05:30 | 2078.648 | 2284.782 | 1872.514
09/01/2024 06:00 | 2070.754 | 2276.502 | 1865.006
09/01/2024 06:30 | 2044.021 | 2247.505 | 1840.537
09/01/2024 07:00 | 1986.491 | 2184.628 | 1788.354
09/01/2024 07:30 | 1895.89 | 2085.451 | 1706.329
09/01/2024 08:00 | 1815.8 | 1997.977 | 1633.622
09/01/2024 08:30 | 1748.732 | 1924.767 | 1572.697
09/01/2024 09:00 | 1716.209 | 1889.546 | 1542.872
09/01/2024 09:30 | 1690.405 | 1861.702 | 1519.107
09/01/2024 10:00 | 1695.374 | 1867.743 | 1523.005
09/01/2024 10:30 | 1766.076 | 1946.226 | 1585.927
09/01/2024 11:00 | 1829.941 | 2017.219 | 1642.663
09/01/2024 11:30 | 1882.238 | 2075.499 | 1688.977
09/01/2024 12:00 | 1955.268 | 2156.683 | 1753.853
09/01/2024 12:30 | 2054.6 | 2266.936 | 1842.263
09/01/2024 13:00 | 2180.664 | 2406.76 | 1954.568
09/01/2024 13:30 | 2304.431 | 2544.132 | 2064.73
09/01/2024 14:00 | 2429.907 | 2683.475 | 2176.34
09/01/2024 14:30 | 2582.47 | 2852.824 | 2312.117
09/01/2024 15:00 | 2754.956 | 3044.291 | 2465.622
09/01/2024 15:30 | 2946.142 | 3256.543 | 2635.74
09/01/2024 16:00 | 3125.094 | 3455.397 | 2794.791
09/01/2024 16:30 | 3282.865 | 3630.945 | 2934.786
09/01/2024 17:00 | 3375.79 | 3734.854 | 3016.726
09/01/2024 17:30 | 3408.594 | 3772.29 | 3044.898
09/01/2024 18:00 | 3382.223 | 3744.239 | 3020.206
09/01/2024 18:30 | 3301.419 | 3655.894 | 2946.945
09/01/2024 19:00 | 3213.598 | 3559.721 | 2867.475
09/01/2024 19:30 | 3130.313 | 3468.515 | 2792.111
09/01/2024 20:00 | 3009.727 | 3335.91 | 2683.544
09/01/2024 20:30 | 2870.091 | 3182.103 | 2558.079
09/01/2024 21:00 | 2723.788 | 3020.809 | 2426.768
09/01/2024 21:30 | 2592.505 | 2876.079 | 2308.931
09/01/2024 22:00 | 2472.448 | 2743.718 | 2201.177
09/01/2024 22:30 | 2372.934 | 2634.082 | 2111.786
09/01/2024 23:00 | 2293.217 | 2546.361 | 2040.073
09/01/2024 23:30 | 2222.668 | 2468.769 | 1976.567
10/01/2024 00:00 | 2165.316 | 2405.793 | 1924.839
10/01/2024 00:30 | 2118.882 | 2354.912 | 1882.851
10/01/2024 01:00 | 2081.947 | 2314.562 | 1849.333
10/01/2024 01:30 | 2051.888 | 2281.832 | 1821.945
10/01/2024 02:00 | 2028.31 | 2256.291 | 1800.328
10/01/2024 02:30 | 2013.726 | 2240.744 | 1786.709
10/01/2024 03:00 | 2006.03 | 2232.852 | 1779.207
10/01/2024 03:30 | 2012.16 | 2240.35 | 1783.969
10/01/2024 04:00 | 2031.537 | 2262.606 | 1800.468
10/01/2024 04:30 | 2051.004 | 2284.975 | 1817.033
10/01/2024 05:00 | 2069.857 | 2306.673 | 1833.042
10/01/2024 05:30 | 2080.129 | 2318.817 | 1841.441
10/01/2024 06:00 | 2068.422 | 2306.461 | 1830.384
10/01/2024 06:30 | 2037.121 | 2272.241 | 1802.002
10/01/2024 07:00 | 1981.273 | 2210.611 | 1751.935
10/01/2024 07:30 | 1899.797 | 2120.341 | 1679.254