## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
04/01/2024 08:00 | 1483.52 | 1511.804 | 1469.685
04/01/2024 08:30 | 1385.979 | 1409.679 | 1362.279 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
04/01/2024 09:00 | 1284.012 | 1309.785 | 1258.239 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
04/01/2024 09:30 | 1208.715 | 1236.57 | 1180.86 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
04/01/2024 10:00 | 1171.98 | 1202.473 | 1141.488 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
04/01/2024 10:30 | 1176.61 | 1209.879 | 1143.341 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
04/01/2024 11:00 | 1226.93 | 1262.654 | 1191.206 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
04/01/2024 11:30 | 1285.643 | 1324.314 | 1246.971 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
04/01/2024 12:00 | 1373.875 | 1416.523 | 1331.227 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
04/01/2024 12:30 | 1470.951 | 1518.03 | 1423.873 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
04/01/2024 13:00 | 1585.119 | 1637.378 | 1532.86 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
04/01/2024 13:30 | 1728.853 | 1787.516 | 1670.19
04/01/2024 14:00 | 1882.381 | 1948.067 | 1816.696 | Summary view - for each schedule horizon (dispatch, week-ahead)
04/01/2024 14:30 | 2043.151 | 2116.414 | 1969.887
04/01/2024 15:00 | 2214.614 | 2296.159 | 2133.07 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
04/01/2024 15:30 | 2403.098 | 2493.897 | 2312.299 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
04/01/2024 16:00 | 2587.203 | 2682.979 | 2482.819 | Scenario | Violations
04/01/2024 16:30 | 2755.023 | 2860.773 | 2642.246 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
04/01/2024 17:00 | 2883.179 | 2995.49 | 2761.34 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
04/01/2024 17:30 | 2965.916 | 3084.523 | 2837.932 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0
04/01/2024 18:00 | 2984.18 | 3107.728 | 2853.771 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 0 | 0 | 0 | 0 | 1
04/01/2024 18:30 | 2952.171 | 3077.449 | 2821.667 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0
04/01/2024 19:00 | 2902.964 | 3028.301 | 2774.621
04/01/2024 19:30 | 2849.867 | 2974.779 | 2723.445 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
04/01/2024 20:00 | 2756.651 | 2879.319 | 2633.984
04/01/2024 20:30 | 2639.794 | 2758.294 | 2521.293 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
04/01/2024 21:00 | 2521.945 | 2636.142 | 2407.748 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
04/01/2024 21:30 | 2420.396 | 2530.942 | 2309.85 | [7 empty] | 04/01/2024 09:30 | [11 empty] | 04/01/2024 10:00 |  |  |  |  | 04/01/2024 09:30 | [6 empty] | 04/01/2024 09:30
04/01/2024 22:00 | 2323.946 | 2430.997 | 2216.895 | [7 empty] | 04/01/2024 10:00 | [11 empty] | 04/01/2024 10:30 | [11 empty] | 04/01/2024 10:00
04/01/2024 22:30 | 2236.58 | 2340.482 | 2132.678 | [7 empty] | 04/01/2024 10:30 | [11 empty] | 04/01/2024 12:30 | [11 empty] | 04/01/2024 10:30
04/01/2024 23:00 | 2163.269 | 2264.612 | 2061.927 | [7 empty] | 04/01/2024 12:30 | [11 empty] | 04/01/2024 13:00 | [11 empty] | 04/01/2024 11:00
04/01/2024 23:30 | 2096.411 | 2195.442 | 1997.379 | [7 empty] | 04/01/2024 13:00 | [11 empty] | 04/01/2024 13:30 | [11 empty] | 04/01/2024 13:00
05/01/2024 00:00 | 2040.058 | 2137.225 | 1942.89 | [7 empty] | 04/01/2024 13:30 | [11 empty] | 05/01/2024 11:00 | [11 empty] | 04/01/2024 13:30
05/01/2024 00:30 | 1998.297 | 2094.257 | 1902.336 | [7 empty] | 04/01/2024 14:00 | [11 empty] | 05/01/2024 11:30 | [11 empty] | 04/01/2024 14:00
05/01/2024 01:00 | 1967.823 | 2063.091 | 1872.556 | [7 empty] | 05/01/2024 12:30 | [11 empty] | 05/01/2024 12:00 | [11 empty] | 05/01/2024 12:00
05/01/2024 01:30 | 1943.323 | 2038.165 | 1848.481 | [7 empty] | 07/01/2024 10:30 | [11 empty] | 05/01/2024 12:30 | [11 empty] | 05/01/2024 12:30
05/01/2024 02:00 | 1925.65 | 2020.383 | 1830.917 | [7 empty] | 07/01/2024 11:00 | [11 empty] | 06/01/2024 11:00 | [11 empty] | 07/01/2024 11:00
05/01/2024 02:30 | 1915.69 | 2010.683 | 1820.697 | [7 empty] | 09/01/2024 11:00 | [11 empty] | 06/01/2024 11:30 | [11 empty] | 09/01/2024 11:30
05/01/2024 03:00 | 1910.464 | 2005.946 | 1814.982 | [7 empty] | 09/01/2024 11:30 | [11 empty] | 06/01/2024 12:00 | [11 empty] | 09/01/2024 12:00
05/01/2024 03:30 | 1916.939 | 2013.494 | 1820.383 | [7 empty] | 09/01/2024 12:00 | [11 empty] | 07/01/2024 10:30 | [11 empty] | 09/01/2024 12:30
05/01/2024 04:00 | 1935.488 | 2033.735 | 1837.241 | [7 empty] | 10/01/2024 11:00 | [11 empty] | 09/01/2024 10:00 | [11 empty] | 09/01/2024 13:00
05/01/2024 04:30 | 1951.881 | 2051.724 | 1852.037 | [7 empty] | 10/01/2024 11:30 | [11 empty] | 09/01/2024 10:30 | [11 empty] | 10/01/2024 12:00
05/01/2024 05:00 | 1961.274 | 2062.365 | 1860.182 | [7 empty] | 10/01/2024 12:00 | [11 empty] | 10/01/2024 10:30 | [11 empty] | 10/01/2024 12:30
05/01/2024 05:30 | 1955.848 | 2057.425 | 1854.27 | [7 empty] | 10/01/2024 12:30 | [11 empty] | 10/01/2024 11:00 | [11 empty] | 10/01/2024 13:00
05/01/2024 06:00 | 1921.688 | 2022.244 | 1821.133 | [7 empty] | 10/01/2024 13:00 | [11 empty] | 10/01/2024 11:30 | [11 empty] | 10/01/2024 13:30
05/01/2024 06:30 | 1864.687 | 1962.839 | 1766.534 | [7 empty] | 10/01/2024 13:30 | [11 empty] | 10/01/2024 12:00 | [11 empty] | 10/01/2024 14:00
05/01/2024 07:00 | 1780.21 | 1874.185 | 1686.235 | [19 empty] | 10/01/2024 12:30
05/01/2024 07:30 | 1676.915 | 1765.714 | 1588.116 | [19 empty] | 10/01/2024 13:00
05/01/2024 08:00 | 1578.761 | 1662.623 | 1494.899 | [19 empty] | 10/01/2024 13:30
05/01/2024 08:30 | 1487.805 | 1567.082 | 1408.529
05/01/2024 09:00 | 1424.151 | 1500.271 | 1348.032
05/01/2024 09:30 | 1381.947 | 1456.039 | 1307.855
05/01/2024 10:00 | 1369.93 | 1443.604 | 1296.256
05/01/2024 10:30 | 1404.548 | 1480.315 | 1328.78
05/01/2024 11:00 | 1459.256 | 1538.216 | 1380.296
05/01/2024 11:30 | 1502.427 | 1583.971 | 1420.884
05/01/2024 12:00 | 1565.161 | 1650.368 | 1479.953
05/01/2024 12:30 | 1645.283 | 1735.124 | 1555.443
05/01/2024 13:00 | 1740.925 | 1836.275 | 1645.574
05/01/2024 13:30 | 1858.237 | 1960.319 | 1756.154
05/01/2024 14:00 | 1989.872 | 2099.515 | 1880.23
05/01/2024 14:30 | 2136.152 | 2254.208 | 2018.097
05/01/2024 15:00 | 2294.493 | 2421.677 | 2167.308
05/01/2024 15:30 | 2482.026 | 2620.016 | 2344.036
05/01/2024 16:00 | 2664.377 | 2812.945 | 2515.81
05/01/2024 16:30 | 2807.86 | 2964.892 | 2650.829
05/01/2024 17:00 | 2903.319 | 3066.169 | 2740.469
05/01/2024 17:30 | 2951.522 | 3117.562 | 2785.481
05/01/2024 18:00 | 2952.745 | 3119.342 | 2786.148
05/01/2024 18:30 | 2911.448 | 3076.196 | 2746.7
05/01/2024 19:00 | 2862.682 | 3025.142 | 2700.221
05/01/2024 19:30 | 2817.382 | 2977.738 | 2657.027
05/01/2024 20:00 | 2738.595 | 2894.918 | 2582.271
05/01/2024 20:30 | 2642.404 | 2793.673 | 2491.135
05/01/2024 21:00 | 2546.262 | 2692.448 | 2400.077
05/01/2024 21:30 | 2457.149 | 2598.624 | 2315.674
05/01/2024 22:00 | 2368.29 | 2505.04 | 2231.54
05/01/2024 22:30 | 2282.941 | 2415.139 | 2150.743
05/01/2024 23:00 | 2204.655 | 2332.685 | 2076.626
05/01/2024 23:30 | 2134.525 | 2263.15 | 2005.9
06/01/2024 00:00 | 2074.793 | 2208.491 | 1941.096
06/01/2024 00:30 | 2029.743 | 2160.228 | 1899.258
06/01/2024 01:00 | 1994.985 | 2123.616 | 1866.354
06/01/2024 01:30 | 1966.869 | 2094.063 | 1839.674
06/01/2024 02:00 | 1947.298 | 2073.598 | 1820.997
06/01/2024 02:30 | 1930.209 | 2055.77 | 1804.648
06/01/2024 03:00 | 1915.904 | 2040.901 | 1790.907
06/01/2024 03:30 | 1911.693 | 2036.78 | 1786.606
06/01/2024 04:00 | 1911.167 | 2036.585 | 1785.75
06/01/2024 04:30 | 1893.382 | 2017.995 | 1768.769
06/01/2024 05:00 | 1872.747 | 1996.359 | 1749.135
06/01/2024 05:30 | 1847.002 | 1969.268 | 1724.737
06/01/2024 06:00 | 1783.689 | 1902.104 | 1665.273
06/01/2024 06:30 | 1713.913 | 1828.053 | 1599.773
06/01/2024 07:00 | 1617.163 | 1725.251 | 1509.075
06/01/2024 07:30 | 1503.244 | 1604.077 | 1402.411
06/01/2024 08:00 | 1413.617 | 1508.776 | 1318.459
06/01/2024 08:30 | 1344.373 | 1435.191 | 1253.554
06/01/2024 09:00 | 1311.468 | 1400.377 | 1222.559
06/01/2024 09:30 | 1296.976 | 1385.212 | 1208.74
06/01/2024 10:00 | 1301.648 | 1390.513 | 1212.783
06/01/2024 10:30 | 1334.18 | 1425.585 | 1242.776
06/01/2024 11:00 | 1393.538 | 1489.343 | 1297.734
06/01/2024 11:30 | 1442.833 | 1542.371 | 1343.296
06/01/2024 12:00 | 1507.103 | 1611.434 | 1402.771
06/01/2024 12:30 | 1575.752 | 1685.213 | 1466.292
06/01/2024 13:00 | 1656.554 | 1772.022 | 1541.085
06/01/2024 13:30 | 1761.009 | 1884.179 | 1637.838
06/01/2024 14:00 | 1876.391 | 2008.08 | 1744.702
06/01/2024 14:30 | 2039.627 | 2183.259 | 1895.994
06/01/2024 15:00 | 2200.799 | 2356.308 | 2045.291
06/01/2024 15:30 | 2386.803 | 2556.024 | 2217.582
06/01/2024 16:00 | 2573.875 | 2756.974 | 2390.776
06/01/2024 16:30 | 2729.593 | 2924.422 | 2534.765
06/01/2024 17:00 | 2835.718 | 3038.799 | 2632.637
06/01/2024 17:30 | 2901.332 | 3109.805 | 2692.859
06/01/2024 18:00 | 2907.777 | 3117.407 | 2698.146
06/01/2024 18:30 | 2854.219 | 3060.671 | 2647.768
06/01/2024 19:00 | 2791.072 | 2993.622 | 2588.522
06/01/2024 19:30 | 2741.8 | 2941.429 | 2542.17
06/01/2024 20:00 | 2663.631 | 2858.205 | 2469.056
06/01/2024 20:30 | 2580.507 | 2768.393 | 2391.388
06/01/2024 21:00 | 2497.302 | 2679.726 | 2313.684
06/01/2024 21:30 | 2416.949 | 2594.081 | 2238.663
06/01/2024 22:00 | 2336.283 | 2508.061 | 2163.388
06/01/2024 22:30 | 2261.086 | 2427.875 | 2093.217
06/01/2024 23:00 | 2198.38 | 2361.069 | 2034.641
06/01/2024 23:30 | 2145.286 | 2304.559 | 1984.989
07/01/2024 00:00 | 2102.187 | 2258.762 | 1944.608
07/01/2024 00:30 | 2063.677 | 2217.876 | 1908.492
07/01/2024 01:00 | 2030.448 | 2182.649 | 1877.276
07/01/2024 01:30 | 1998.881 | 2149.194 | 1847.613
07/01/2024 02:00 | 1973.559 | 2122.439 | 1823.736
07/01/2024 02:30 | 1954.593 | 2102.509 | 1805.743
07/01/2024 03:00 | 1940.598 | 2087.918 | 1792.35
07/01/2024 03:30 | 1930.048 | 2077.029 | 1782.145
07/01/2024 04:00 | 1917.285 | 2063.752 | 1769.902
07/01/2024 04:30 | 1882.145 | 2026.376 | 1737.014
07/01/2024 05:00 | 1838.422 | 1979.743 | 1696.224
07/01/2024 05:30 | 1785.259 | 1922.92 | 1647.599
07/01/2024 06:00 | 1695.296 | 1826.425 | 1564.168
07/01/2024 06:30 | 1616.186 | 1741.581 | 1490.79
07/01/2024 07:00 | 1533.536 | 1652.885 | 1414.187
07/01/2024 07:30 | 1451.704 | 1565.031 | 1338.377
07/01/2024 08:00 | 1404.415 | 1514.386 | 1294.444
07/01/2024 08:30 | 1374.381 | 1482.329 | 1266.434
07/01/2024 09:00 | 1367.425 | 1475.153 | 1259.697
07/01/2024 09:30 | 1396.512 | 1506.865 | 1286.159
07/01/2024 10:00 | 1455.906 | 1571.3 | 1340.512
07/01/2024 10:30 | 1527.702 | 1649.152 | 1406.253
07/01/2024 11:00 | 1616.84 | 1745.762 | 1487.918
07/01/2024 11:30 | 1714.121 | 1851.21 | 1577.033
07/01/2024 12:00 | 1813.37 | 1958.829 | 1667.911
07/01/2024 12:30 | 1919.526 | 2073.958 | 1765.093
07/01/2024 13:00 | 2033.241 | 2197.309 | 1869.174
07/01/2024 13:30 | 2154.796 | 2329.187 | 1980.406
07/01/2024 14:00 | 2290.483 | 2476.402 | 2104.563
07/01/2024 14:30 | 2464.943 | 2665.612 | 2264.274
07/01/2024 15:00 | 2641.34 | 2857 | 2425.68
07/01/2024 15:30 | 2857.01 | 3090.961 | 2623.058
07/01/2024 16:00 | 3064.971 | 3316.684 | 2813.258
07/01/2024 16:30 | 3235.7 | 3502.207 | 2969.193
07/01/2024 17:00 | 3358.342 | 3635.752 | 3080.931
07/01/2024 17:30 | 3423.017 | 3706.587 | 3139.446
07/01/2024 18:00 | 3408.635 | 3691.829 | 3125.442
07/01/2024 18:30 | 3330.491 | 3607.988 | 3052.994
07/01/2024 19:00 | 3248.763 | 3520.226 | 2977.299
07/01/2024 19:30 | 3182.178 | 3448.838 | 2915.519
07/01/2024 20:00 | 3069.922 | 3327.908 | 2811.936
07/01/2024 20:30 | 2938.939 | 3186.62 | 2691.259
07/01/2024 21:00 | 2800.999 | 3037.724 | 2564.273
07/01/2024 21:30 | 2671.237 | 2897.634 | 2444.841
07/01/2024 22:00 | 2551.133 | 2767.96 | 2334.307
07/01/2024 22:30 | 2449.454 | 2658.224 | 2240.685
07/01/2024 23:00 | 2369.884 | 2572.438 | 2167.33
07/01/2024 23:30 | 2298.843 | 2489.598 | 2108.088
08/01/2024 00:00 | 2239.52 | 2413.761 | 2065.278
08/01/2024 00:30 | 2192.842 | 2364.951 | 2020.733
08/01/2024 01:00 | 2158.969 | 2328.891 | 1989.047
08/01/2024 01:30 | 2131.305 | 2299.515 | 1963.094
08/01/2024 02:00 | 2110.81 | 2277.864 | 1943.756
08/01/2024 02:30 | 2095.454 | 2261.751 | 1929.158
08/01/2024 03:00 | 2083.14 | 2248.914 | 1917.365
08/01/2024 03:30 | 2086.007 | 2252.466 | 1919.549
08/01/2024 04:00 | 2102.496 | 2270.729 | 1934.263
08/01/2024 04:30 | 2121.612 | 2291.838 | 1951.385
08/01/2024 05:00 | 2141.164 | 2313.427 | 1968.901
08/01/2024 05:30 | 2155.395 | 2329.273 | 1981.516
08/01/2024 06:00 | 2166.111 | 2341.327 | 1990.894
08/01/2024 06:30 | 2165.176 | 2340.79 | 1989.562
08/01/2024 07:00 | 2143.569 | 2317.899 | 1969.239
08/01/2024 07:30 | 2113.429 | 2285.749 | 1941.108
08/01/2024 08:00 | 2099.125 | 2270.678 | 1927.573
08/01/2024 08:30 | 2091.691 | 2263.037 | 1920.345
08/01/2024 09:00 | 2099.637 | 2272.037 | 1927.237
08/01/2024 09:30 | 2111.565 | 2285.349 | 1937.781
08/01/2024 10:00 | 2141.145 | 2317.773 | 1964.516
08/01/2024 10:30 | 2204.371 | 2386.638 | 2022.104
08/01/2024 11:00 | 2283.249 | 2472.476 | 2094.023
08/01/2024 11:30 | 2350.957 | 2546.246 | 2155.669
08/01/2024 12:00 | 2408.921 | 2609.486 | 2208.356
08/01/2024 12:30 | 2504.127 | 2713.099 | 2295.155
08/01/2024 13:00 | 2617.415 | 2836.343 | 2398.488
08/01/2024 13:30 | 2724.593 | 2953.007 | 2496.179
08/01/2024 14:00 | 2837.538 | 3075.965 | 2599.111
08/01/2024 14:30 | 2948.72 | 3197.054 | 2700.386
08/01/2024 15:00 | 3064.314 | 3322.971 | 2805.658
08/01/2024 15:30 | 3222.489 | 3495.114 | 2949.863
08/01/2024 16:00 | 3368.824 | 3654.475 | 3083.173
08/01/2024 16:30 | 3468.974 | 3763.781 | 3174.166
08/01/2024 17:00 | 3530.807 | 3831.547 | 3230.068
08/01/2024 17:30 | 3546.935 | 3849.728 | 3244.142
08/01/2024 18:00 | 3499.307 | 3798.705 | 3199.909
08/01/2024 18:30 | 3412.354 | 3704.966 | 3119.741
08/01/2024 19:00 | 3325.861 | 3611.694 | 3040.028
08/01/2024 19:30 | 3244.816 | 3524.305 | 2965.326
08/01/2024 20:00 | 3123.852 | 3393.521 | 2854.183
08/01/2024 20:30 | 2986.344 | 3244.715 | 2727.973
08/01/2024 21:00 | 2842.855 | 3089.357 | 2596.354
08/01/2024 21:30 | 2708.305 | 2943.659 | 2472.951
08/01/2024 22:00 | 2582.919 | 2807.872 | 2357.966
08/01/2024 22:30 | 2479.806 | 2696.254 | 2263.358
08/01/2024 23:00 | 2394.723 | 2604.203 | 2185.242
08/01/2024 23:30 | 2316.88 | 2519.995 | 2113.765
09/01/2024 00:00 | 2246.814 | 2444.218 | 2049.411
09/01/2024 00:30 | 2192.708 | 2385.777 | 1999.638
09/01/2024 01:00 | 2153.944 | 2344.014 | 1963.875
09/01/2024 01:30 | 2120.624 | 2308.159 | 1933.088
09/01/2024 02:00 | 2095.475 | 2281.188 | 1909.762
09/01/2024 02:30 | 2077.393 | 2261.902 | 1892.884
09/01/2024 03:00 | 2063.811 | 2247.51 | 1880.113
09/01/2024 03:30 | 2063.097 | 2247.127 | 1879.067
09/01/2024 04:00 | 2076.93 | 2262.592 | 1891.268
09/01/2024 04:30 | 2089.689 | 2276.892 | 1902.486
09/01/2024 05:00 | 2103.954 | 2292.838 | 1915.07
09/01/2024 05:30 | 2111.284 | 2301.231 | 1921.337
09/01/2024 06:00 | 2091.112 | 2279.645 | 1902.579
09/01/2024 06:30 | 2057.039 | 2242.894 | 1871.183
09/01/2024 07:00 | 1997.261 | 2178.098 | 1816.424
09/01/2024 07:30 | 1916.616 | 2090.519 | 1742.714
09/01/2024 08:00 | 1843.938 | 2011.6 | 1676.277
09/01/2024 08:30 | 1775.254 | 1937.01 | 1613.497
09/01/2024 09:00 | 1742.493 | 1901.598 | 1583.387
09/01/2024 09:30 | 1714.91 | 1871.826 | 1557.995
09/01/2024 10:00 | 1714.999 | 1872.251 | 1557.746
09/01/2024 10:30 | 1774.266 | 1937.293 | 1611.239
09/01/2024 11:00 | 1829.618 | 1998.082 | 1661.154
09/01/2024 11:30 | 1876.153 | 2049.26 | 1703.045
09/01/2024 12:00 | 1940.024 | 2119.397 | 1760.651
09/01/2024 12:30 | 2029.712 | 2217.766 | 1841.657
09/01/2024 13:00 | 2149.299 | 2348.845 | 1949.753
09/01/2024 13:30 | 2265.253 | 2475.999 | 2054.507
09/01/2024 14:00 | 2381.477 | 2603.491 | 2159.462
09/01/2024 14:30 | 2530.182 | 2766.545 | 2293.819
09/01/2024 15:00 | 2701.192 | 2954.048 | 2448.336
09/01/2024 15:30 | 2893.354 | 3164.753 | 2621.955
09/01/2024 16:00 | 3076.019 | 3365.142 | 2786.896
09/01/2024 16:30 | 3237.48 | 3542.4 | 2932.561
09/01/2024 17:00 | 3333.164 | 3647.734 | 3018.594
09/01/2024 17:30 | 3368.479 | 3687.027 | 3049.93
09/01/2024 18:00 | 3343.973 | 3660.845 | 3027.101
09/01/2024 18:30 | 3267.023 | 3577.23 | 2956.817
09/01/2024 19:00 | 3177.912 | 3480.266 | 2875.558
09/01/2024 19:30 | 3095.114 | 3390.184 | 2800.044
09/01/2024 20:00 | 2976.78 | 3261.139 | 2692.421
09/01/2024 20:30 | 2840.804 | 3112.718 | 2568.889
09/01/2024 21:00 | 2697.501 | 2956.217 | 2438.787
09/01/2024 21:30 | 2568.188 | 2814.992 | 2321.383
09/01/2024 22:00 | 2450.119 | 2686.047 | 2214.191
09/01/2024 22:30 | 2352.62 | 2579.61 | 2125.63
09/01/2024 23:00 | 2263.048 | 2481.829 | 2044.266
09/01/2024 23:30 | 2169.101 | 2379.216 | 1958.986
10/01/2024 00:00 | 2090.235 | 2293.111 | 1887.359
10/01/2024 00:30 | 2006.855 | 2202.023 | 1811.687
10/01/2024 01:00 | 1940.061 | 2129.105 | 1751.017
10/01/2024 01:30 | 1911.266 | 2097.871 | 1724.662
10/01/2024 02:00 | 1888.536 | 2073.283 | 1703.789
10/01/2024 02:30 | 1874.706 | 2058.459 | 1690.952
10/01/2024 03:00 | 1866.981 | 2050.335 | 1683.626
10/01/2024 03:30 | 1872.681 | 2056.954 | 1688.408
10/01/2024 04:00 | 1892.654 | 2079.255 | 1706.052
10/01/2024 04:30 | 1912.477 | 2101.4 | 1723.555
10/01/2024 05:00 | 1931.745 | 2122.941 | 1740.549
10/01/2024 05:30 | 1935.264 | 2127.179 | 1743.349
10/01/2024 06:00 | 1904.872 | 2094.138 | 1715.605
10/01/2024 06:30 | 1858.05 | 2043.02 | 1673.08
10/01/2024 07:00 | 1785.668 | 1963.775 | 1607.562
10/01/2024 07:30 | 1689.356 | 1858.266 | 1520.445
10/01/2024 08:00 | 1591.301 | 1750.955 | 1431.647
10/01/2024 08:30 | 1498.289 | 1649.114 | 1347.465
10/01/2024 09:00 | 1441.477 | 1587.066 | 1295.888
10/01/2024 09:30 | 1408.065 | 1550.751 | 1265.379
10/01/2024 10:00 | 1404.333 | 1547.112 | 1261.554
10/01/2024 10:30 | 1450.756 | 1598.742 | 1302.771
10/01/2024 11:00 | 1510.266 | 1664.828 | 1355.704
10/01/2024 11:30 | 1559.489 | 1719.612 | 1399.367
10/01/2024 12:00 | 1630.185 | 1798.113 | 1462.257
10/01/2024 12:30 | 1713.132 | 1890.179 | 1536.085
10/01/2024 13:00 | 1817.898 | 2006.382 | 1629.415
10/01/2024 13:30 | 1938.089 | 2139.684 | 1736.494
10/01/2024 14:00 | 2077.508 | 2294.302 | 1860.714
10/01/2024 14:30 | 2239.402 | 2473.841 | 2004.963
10/01/2024 15:00 | 2414.09 | 2667.626 | 2160.555
10/01/2024 15:30 | 2604.962 | 2879.417 | 2330.507
10/01/2024 16:00 | 2788.498 | 3083.225 | 2493.771
10/01/2024 16:30 | 2969.909 | 3284.806 | 2655.012
10/01/2024 17:00 | 3122.148 | 3454.233 | 2790.062
10/01/2024 17:30 | 3191.777 | 3532.339 | 2851.215
10/01/2024 18:00 | 3208.311 | 3551.712 | 2864.909
10/01/2024 18:30 | 3161.751 | 3501.23 | 2822.273
10/01/2024 19:00 | 3083.6 | 3415.721 | 2751.479
10/01/2024 19:30 | 3012.005 | 3337.425 | 2686.585
10/01/2024 20:00 | 2901.426 | 3215.872 | 2586.98
10/01/2024 20:30 | 2770.991 | 3072.23 | 2469.752
10/01/2024 21:00 | 2638.206 | 2925.894 | 2350.518
10/01/2024 21:30 | 2517.214 | 2792.552 | 2241.875
10/01/2024 22:00 | 2402.844 | 2666.478 | 2139.21
10/01/2024 22:30 | 2305.55 | 2559.282 | 2051.818
10/01/2024 23:00 | 2230.719 | 2476.964 | 1984.474
10/01/2024 23:30 | 2167.254 | 2407.219 | 1927.288
11/01/2024 00:00 | 2117.264 | 2352.405 | 1882.124
11/01/2024 00:30 | 2076.572 | 2307.89 | 1845.255
11/01/2024 01:00 | 2043.865 | 2272.224 | 1815.505
11/01/2024 01:30 | 2017.06 | 2243.101 | 1791.019
11/01/2024 02:00 | 1995.841 | 2220.174 | 1771.509
11/01/2024 02:30 | 1983.589 | 2207.209 | 1759.969
11/01/2024 03:00 | 1977.439 | 2201.029 | 1753.849
11/01/2024 03:30 | 1983.636 | 2208.591 | 1758.68
11/01/2024 04:00 | 2001.751 | 2229.432 | 1774.07
11/01/2024 04:30 | 2025.373 | 2256.42 | 1794.326
11/01/2024 05:00 | 2046.369 | 2280.497 | 1812.241
11/01/2024 05:30 | 2054.361 | 2290.093 | 1818.63
11/01/2024 06:00 | 2040.632 | 2275.472 | 1805.792
11/01/2024 06:30 | 2002.58 | 2233.713 | 1771.447
11/01/2024 07:00 | 1937.839 | 2162.149 | 1713.529
11/01/2024 07:30 | 1856.039 | 2071.503 | 1640.575