## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
07/01/2024 08:00 | 1350.57 | 1374.484 | 1329.003
07/01/2024 08:30 | 1308.001 | 1335.006 | 1280.995 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
07/01/2024 09:00 | 1258.506 | 1289.301 | 1227.711 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
07/01/2024 09:30 | 1246.642 | 1281.912 | 1211.371 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
07/01/2024 10:00 | 1255.775 | 1296.105 | 1215.446 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
07/01/2024 10:30 | 1294.535 | 1339.777 | 1249.293 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
07/01/2024 11:00 | 1346.536 | 1394.77 | 1298.302 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
07/01/2024 11:30 | 1416.887 | 1469.117 | 1364.657 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
07/01/2024 12:00 | 1494.188 | 1550.823 | 1437.552 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
07/01/2024 12:30 | 1567.478 | 1628.524 | 1506.432 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
07/01/2024 13:00 | 1660.148 | 1726.532 | 1593.764 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
07/01/2024 13:30 | 1794.961 | 1868.606 | 1721.317
07/01/2024 14:00 | 1970.443 | 2053.339 | 1887.547 | Summary view - for each schedule horizon (dispatch, week-ahead)
07/01/2024 14:30 | 2160.052 | 2253.175 | 2066.93
07/01/2024 15:00 | 2353.577 | 2457.494 | 2249.66 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
07/01/2024 15:30 | 2570.179 | 2686.337 | 2454.022 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
07/01/2024 16:00 | 2739.923 | 2866.605 | 2613.24 | Scenario | Violations
07/01/2024 16:30 | 2841.266 | 2975.594 | 2706.939 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
07/01/2024 17:00 | 2930.385 | 3071.978 | 2788.793 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
07/01/2024 17:30 | 3011.173 | 3159.805 | 2862.541 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0
07/01/2024 18:00 | 3025.196 | 3177.671 | 2872.721 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0
07/01/2024 18:30 | 2986.799 | 3139.622 | 2833.975 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0
07/01/2024 19:00 | 2941.431 | 3092.568 | 2790.293
07/01/2024 19:30 | 2885.936 | 3034.982 | 2736.89 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
07/01/2024 20:00 | 2790.67 | 2935.53 | 2645.81
07/01/2024 20:30 | 2681.945 | 2821.868 | 2542.022 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
07/01/2024 21:00 | 2570.418 | 2705.199 | 2435.637 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
07/01/2024 21:30 | 2465.887 | 2595.837 | 2335.938 | [7 empty] | 07/01/2024 08:30 | [11 empty] | 07/01/2024 08:30 | [11 empty] | 07/01/2024 08:30
07/01/2024 22:00 | 2367.831 | 2493.237 | 2242.426 | [7 empty] | 07/01/2024 09:00 | [11 empty] | 09/01/2024 10:30 | [11 empty] | 07/01/2024 09:00
07/01/2024 22:30 | 2283.808 | 2405.365 | 2162.252 | [7 empty] | 09/01/2024 10:30 | [11 empty] | 09/01/2024 11:00 | [11 empty] | 07/01/2024 09:30
07/01/2024 23:00 | 2217.813 | 2336.441 | 2099.186 | [7 empty] | 09/01/2024 11:00 | [11 empty] | 09/01/2024 11:30 | [11 empty] | 09/01/2024 10:30
07/01/2024 23:30 | 2159.266 | 2270.383 | 2048.15 | [7 empty] | 09/01/2024 11:30 | [11 empty] | 09/01/2024 12:00 | [11 empty] | 09/01/2024 11:00
08/01/2024 00:00 | 2110.188 | 2209.854 | 2010.522 | [7 empty] | 09/01/2024 12:00 | [11 empty] | 09/01/2024 12:30 | [11 empty] | 09/01/2024 11:30
08/01/2024 00:30 | 2071.058 | 2170.513 | 1971.604 | [7 empty] | 09/01/2024 12:30 | [11 empty] | 10/01/2024 11:30 | [11 empty] | 09/01/2024 12:00
08/01/2024 01:00 | 2042.583 | 2141.47 | 1943.696 | [7 empty] | 10/01/2024 12:00 | [11 empty] | 10/01/2024 12:00 | [11 empty] | 09/01/2024 12:30
08/01/2024 01:30 | 2021.234 | 2119.878 | 1922.589 | [7 empty] | 10/01/2024 12:30 | [11 empty] | 10/01/2024 12:30 | [11 empty] | 10/01/2024 11:30
08/01/2024 02:00 | 2005.601 | 2104.267 | 1906.934 | [7 empty] | 10/01/2024 13:00 | [11 empty] | 11/01/2024 14:30 | [11 empty] | 10/01/2024 12:00
08/01/2024 02:30 | 1994.775 | 2093.689 | 1895.86 | [7 empty] | 11/01/2024 09:30 | [11 empty] | 13/01/2024 09:30 | [11 empty] | 10/01/2024 12:30
08/01/2024 03:00 | 1986.711 | 2086.008 | 1887.419 | [7 empty] | 11/01/2024 10:00 | [11 empty] | 13/01/2024 10:00 | [11 empty] | 11/01/2024 09:30
08/01/2024 03:30 | 1993.415 | 2093.625 | 1893.007 | [7 empty] | 11/01/2024 15:00 | [23 empty] | 11/01/2024 10:00
08/01/2024 04:00 | 2012.23 | 2114.286 | 1910.087 | [7 empty] | 13/01/2024 09:30 | [23 empty] | 13/01/2024 10:00
08/01/2024 04:30 | 2032.157 | 2135.956 | 1928.207 | [7 empty] | 13/01/2024 10:00 | [23 empty] | 13/01/2024 10:30
08/01/2024 05:00 | 2047.331 | 2152.678 | 1941.803 | [7 empty] | 13/01/2024 14:00
08/01/2024 05:30 | 2054.059 | 2160.685 | 1947.381
08/01/2024 06:00 | 2056.433 | 2163.955 | 1948.752
08/01/2024 06:30 | 2040.818 | 2147.861 | 1933.052
08/01/2024 07:00 | 2010.692 | 2116.315 | 1904.083
08/01/2024 07:30 | 1971.184 | 2075.326 | 1866.586
08/01/2024 08:00 | 1944.122 | 2047.094 | 1840.584
08/01/2024 08:30 | 1929.502 | 2031.997 | 1826.405
08/01/2024 09:00 | 1921.044 | 2023.551 | 1818.212
08/01/2024 09:30 | 1910.98 | 2013.3 | 1808.402
08/01/2024 10:00 | 1920.021 | 2023.279 | 1816.764
08/01/2024 10:30 | 1966.588 | 2072.675 | 1860.502
08/01/2024 11:00 | 2025.731 | 2135.342 | 1916.119
08/01/2024 11:30 | 2081.612 | 2194.591 | 1968.633
08/01/2024 12:00 | 2126.613 | 2242.386 | 2010.841
08/01/2024 12:30 | 2189.398 | 2308.949 | 2069.846
08/01/2024 13:00 | 2275.755 | 2400.398 | 2151.112
08/01/2024 13:30 | 2366.125 | 2496.109 | 2236.142
08/01/2024 14:00 | 2473.861 | 2610.171 | 2337.551
08/01/2024 14:30 | 2597.22 | 2740.757 | 2453.684
08/01/2024 15:00 | 2723.808 | 2874.789 | 2572.826
08/01/2024 15:30 | 2871.589 | 3031.237 | 2711.942
08/01/2024 16:00 | 3020.307 | 3188.721 | 2851.893
08/01/2024 16:30 | 3142.861 | 3318.627 | 2967.094
08/01/2024 17:00 | 3225.332 | 3406.243 | 3044.42
08/01/2024 17:30 | 3258.633 | 3441.951 | 3075.316
08/01/2024 18:00 | 3230.146 | 3412.395 | 3047.898
08/01/2024 18:30 | 3162.24 | 3341.179 | 2983.301
08/01/2024 19:00 | 3090.282 | 3265.66 | 2914.905
08/01/2024 19:30 | 3020.321 | 3192.227 | 2848.416
08/01/2024 20:00 | 2911.813 | 3077.361 | 2745.602
08/01/2024 20:30 | 2790.917 | 2950.043 | 2631.147
08/01/2024 21:00 | 2667.51 | 2820.028 | 2515.47
08/01/2024 21:30 | 2551.054 | 2697.323 | 2405.219
08/01/2024 22:00 | 2442.871 | 2583.33 | 2302.809
08/01/2024 22:30 | 2352.434 | 2488.063 | 2217.152
08/01/2024 23:00 | 2275.865 | 2407.431 | 2144.589
08/01/2024 23:30 | 2205.48 | 2333.312 | 2077.874
09/01/2024 00:00 | 2141.524 | 2265.969 | 2017.234
09/01/2024 00:30 | 2092.946 | 2214.891 | 1971.11
09/01/2024 01:00 | 2058.939 | 2179.229 | 1938.731
09/01/2024 01:30 | 2029.232 | 2148.121 | 1910.422
09/01/2024 02:00 | 2007.785 | 2125.747 | 1889.898
09/01/2024 02:30 | 1993.038 | 2110.462 | 1875.687
09/01/2024 03:00 | 1981.882 | 2098.975 | 1864.86
09/01/2024 03:30 | 1982.451 | 2099.905 | 1865.068
09/01/2024 04:00 | 1997.785 | 2116.439 | 1879.13
09/01/2024 04:30 | 2014.083 | 2134.038 | 1894.128
09/01/2024 05:00 | 2023.455 | 2144.303 | 1902.608
09/01/2024 05:30 | 2016.844 | 2137.63 | 1896.059
09/01/2024 06:00 | 1985.691 | 2104.938 | 1866.443
09/01/2024 06:30 | 1929.581 | 2045.778 | 1813.385
09/01/2024 07:00 | 1853.457 | 1965.375 | 1741.538
09/01/2024 07:30 | 1761.08 | 1867.745 | 1654.415
09/01/2024 08:00 | 1664.466 | 1765.648 | 1563.284
09/01/2024 08:30 | 1582.818 | 1679.383 | 1486.254
09/01/2024 09:00 | 1530.285 | 1623.979 | 1436.591
09/01/2024 09:30 | 1485.921 | 1577.223 | 1394.619
09/01/2024 10:00 | 1474.786 | 1565.726 | 1383.845
09/01/2024 10:30 | 1527.161 | 1621.665 | 1432.658
09/01/2024 11:00 | 1576.909 | 1674.836 | 1478.982
09/01/2024 11:30 | 1617.006 | 1717.808 | 1516.236
09/01/2024 12:00 | 1674.147 | 1778.876 | 1569.45
09/01/2024 12:30 | 1747.054 | 1856.725 | 1637.416
09/01/2024 13:00 | 1848.071 | 1964.487 | 1731.69
09/01/2024 13:30 | 1968.323 | 2092.741 | 1843.94
09/01/2024 14:00 | 2105.353 | 2238.887 | 1971.85
09/01/2024 14:30 | 2255.413 | 2398.955 | 2111.901
09/01/2024 15:00 | 2418.317 | 2572.752 | 2263.938
09/01/2024 15:30 | 2600.017 | 2766.62 | 2433.467
09/01/2024 16:00 | 2782.494 | 2961.395 | 2603.646
09/01/2024 16:30 | 2948.464 | 3138.679 | 2758.302
09/01/2024 17:00 | 3059.829 | 3257.893 | 2861.812
09/01/2024 17:30 | 3118.144 | 3320.661 | 2915.67
09/01/2024 18:00 | 3119.973 | 3323.288 | 2916.696
09/01/2024 18:30 | 3071.93 | 3272.783 | 2871.11
09/01/2024 19:00 | 3016.548 | 3214.437 | 2818.687
09/01/2024 19:30 | 2951.691 | 3145.969 | 2757.439
09/01/2024 20:00 | 2849.319 | 3037.481 | 2661.181
09/01/2024 20:30 | 2734.708 | 2915.897 | 2553.538
09/01/2024 21:00 | 2613.901 | 2787.656 | 2440.163
09/01/2024 21:30 | 2501.052 | 2667.844 | 2334.261
09/01/2024 22:00 | 2395.636 | 2555.921 | 2235.351
09/01/2024 22:30 | 2305.092 | 2459.823 | 2150.362
09/01/2024 23:00 | 2218.233 | 2367.618 | 2068.849
09/01/2024 23:30 | 2126.963 | 2270.666 | 1983.26
10/01/2024 00:00 | 2049.461 | 2188.376 | 1910.547
10/01/2024 00:30 | 1968.449 | 2102.302 | 1834.595
10/01/2024 01:00 | 1904.757 | 2034.695 | 1774.818
10/01/2024 01:30 | 1875.912 | 2004.293 | 1747.531
10/01/2024 02:00 | 1853.69 | 1980.955 | 1726.426
10/01/2024 02:30 | 1840.935 | 1967.726 | 1714.143
10/01/2024 03:00 | 1833.087 | 1959.738 | 1706.436
10/01/2024 03:30 | 1837.438 | 1964.791 | 1710.084
10/01/2024 04:00 | 1856.462 | 1985.54 | 1727.385
10/01/2024 04:30 | 1878.003 | 2008.989 | 1747.017
10/01/2024 05:00 | 1892.104 | 2024.487 | 1759.722
10/01/2024 05:30 | 1889.168 | 2021.758 | 1756.578
10/01/2024 06:00 | 1858.974 | 1989.851 | 1728.097
10/01/2024 06:30 | 1796.775 | 1923.665 | 1669.884
10/01/2024 07:00 | 1712.17 | 1840.795 | 1597.245
10/01/2024 07:30 | 1602.964 | 1725.546 | 1496.587
10/01/2024 08:00 | 1485.074 | 1601.129 | 1388.069
10/01/2024 08:30 | 1379.932 | 1490.295 | 1291.417
10/01/2024 09:00 | 1304.915 | 1411.712 | 1222.782
10/01/2024 09:30 | 1254.845 | 1360.009 | 1177.482
10/01/2024 10:00 | 1237.207 | 1342.526 | 1161.834
10/01/2024 10:30 | 1279.369 | 1388.968 | 1201.498
10/01/2024 11:00 | 1335.373 | 1450.435 | 1254.118
10/01/2024 11:30 | 1378.608 | 1498.087 | 1294.752
10/01/2024 12:00 | 1453.861 | 1579.871 | 1364.836
10/01/2024 12:30 | 1537.692 | 1670.797 | 1442.751
10/01/2024 13:00 | 1634.995 | 1775.862 | 1532.802
10/01/2024 13:30 | 1764.888 | 1915.633 | 1652.717
10/01/2024 14:00 | 1923.044 | 2086.1 | 1798.997
10/01/2024 14:30 | 2089.664 | 2265.676 | 1953
10/01/2024 15:00 | 2267.691 | 2457.359 | 2117.3
10/01/2024 15:30 | 2455.248 | 2659.225 | 2290.224
10/01/2024 16:00 | 2639.106 | 2857.067 | 2459.532
10/01/2024 16:30 | 2824.117 | 3055.979 | 2629.612
10/01/2024 17:00 | 2982.539 | 3226.533 | 2775.15
10/01/2024 17:30 | 3059.045 | 3308.909 | 2844.752
10/01/2024 18:00 | 3085.801 | 3337.61 | 2868.165
10/01/2024 18:30 | 3069.502 | 3302.37 | 2836.635
10/01/2024 19:00 | 3008.364 | 3237.25 | 2779.477
10/01/2024 19:30 | 2944.256 | 3168.908 | 2719.604
10/01/2024 20:00 | 2840.731 | 3058.105 | 2623.358
10/01/2024 20:30 | 2721.304 | 2930.134 | 2512.475
10/01/2024 21:00 | 2600.658 | 2800.797 | 2400.518
10/01/2024 21:30 | 2488.601 | 2680.661 | 2296.542
10/01/2024 22:00 | 2380.522 | 2564.761 | 2196.283
10/01/2024 22:30 | 2289.508 | 2467.203 | 2111.812
10/01/2024 23:00 | 2222.553 | 2395.537 | 2049.569
10/01/2024 23:30 | 2170.216 | 2339.601 | 2000.832
11/01/2024 00:00 | 2130.19 | 2296.916 | 1963.464
11/01/2024 00:30 | 2095.165 | 2259.607 | 1930.722
11/01/2024 01:00 | 2066.69 | 2229.35 | 1904.031
11/01/2024 01:30 | 2038.894 | 2199.811 | 1877.977
11/01/2024 02:00 | 2018.203 | 2177.928 | 1858.479
11/01/2024 02:30 | 2005.564 | 2164.727 | 1846.401
11/01/2024 03:00 | 1998.399 | 2157.43 | 1839.368
11/01/2024 03:30 | 2003.546 | 2163.424 | 1843.668
11/01/2024 04:00 | 2020.975 | 2182.686 | 1859.265
11/01/2024 04:30 | 2041.57 | 2205.374 | 1877.765
11/01/2024 05:00 | 2059.714 | 2225.424 | 1894.004
11/01/2024 05:30 | 2068.657 | 2235.539 | 1901.776
11/01/2024 06:00 | 2062.643 | 2229.49 | 1895.795
11/01/2024 06:30 | 2032.904 | 2197.789 | 1868.018
11/01/2024 07:00 | 1976.618 | 2137.37 | 1815.865
11/01/2024 07:30 | 1900.847 | 2055.834 | 1745.859
11/01/2024 08:00 | 1822.876 | 1971.852 | 1673.9
11/01/2024 08:30 | 1764.892 | 1909.468 | 1620.316
11/01/2024 09:00 | 1729.9 | 1871.941 | 1587.859
11/01/2024 09:30 | 1718.493 | 1859.926 | 1577.059
11/01/2024 10:00 | 1746.776 | 1890.872 | 1602.68
11/01/2024 10:30 | 1833.152 | 1984.725 | 1681.579
11/01/2024 11:00 | 1899.089 | 2056.478 | 1741.701
11/01/2024 11:30 | 1925.064 | 2084.975 | 1765.154
11/01/2024 12:00 | 1986.337 | 2151.718 | 1820.956
11/01/2024 12:30 | 2078.824 | 2252.304 | 1905.345
11/01/2024 13:00 | 2177.268 | 2359.38 | 1995.155
11/01/2024 13:30 | 2293.928 | 2486.238 | 2101.619
11/01/2024 14:00 | 2427.624 | 2631.607 | 2223.64
11/01/2024 14:30 | 2574.44 | 2791.253 | 2357.627
11/01/2024 15:00 | 2734.833 | 2965.679 | 2503.988
11/01/2024 15:30 | 2908.386 | 3154.438 | 2662.334
11/01/2024 16:00 | 3082.389 | 3343.752 | 2821.025
11/01/2024 16:30 | 3236.314 | 3511.35 | 2961.279
11/01/2024 17:00 | 3321.107 | 3603.986 | 3038.229
11/01/2024 17:30 | 3355.597 | 3642.056 | 3069.138
11/01/2024 18:00 | 3336.65 | 3622.131 | 3051.169
11/01/2024 18:30 | 3274.87 | 3555.693 | 2994.047
11/01/2024 19:00 | 3204.462 | 3479.861 | 2929.062
11/01/2024 19:30 | 3139.471 | 3409.886 | 2869.055
11/01/2024 20:00 | 3027.729 | 3289.1 | 2766.357
11/01/2024 20:30 | 2889.408 | 3139.393 | 2639.424
11/01/2024 21:00 | 2752.018 | 2990.644 | 2513.393
11/01/2024 21:30 | 2628.819 | 2857.265 | 2400.372
11/01/2024 22:00 | 2511.247 | 2729.958 | 2292.536
11/01/2024 22:30 | 2413.181 | 2623.814 | 2202.549
11/01/2024 23:00 | 2337.053 | 2541.489 | 2132.617
11/01/2024 23:30 | 2274.005 | 2473.361 | 2074.648
12/01/2024 00:00 | 2223.318 | 2418.657 | 2027.979
12/01/2024 00:30 | 2182.904 | 2375.11 | 1990.697
12/01/2024 01:00 | 2152.967 | 2342.95 | 1962.984
12/01/2024 01:30 | 2118.802 | 2306.177 | 1931.427
12/01/2024 02:00 | 2090.708 | 2275.999 | 1905.417
12/01/2024 02:30 | 2071.743 | 2255.75 | 1887.736
12/01/2024 03:00 | 2061.144 | 2244.604 | 1877.683
12/01/2024 03:30 | 2065.854 | 2250.13 | 1881.578
12/01/2024 04:00 | 2081.861 | 2267.964 | 1895.758
12/01/2024 04:30 | 2097.083 | 2284.948 | 1909.218
12/01/2024 05:00 | 2112.084 | 2301.698 | 1922.47
12/01/2024 05:30 | 2133.193 | 2325.111 | 1941.275
12/01/2024 06:00 | 2136.882 | 2329.542 | 1944.223
12/01/2024 06:30 | 2109.703 | 2300.316 | 1919.089
12/01/2024 07:00 | 2056.363 | 2242.551 | 1870.175
12/01/2024 07:30 | 2002.572 | 2184.273 | 1820.87
12/01/2024 08:00 | 1969.366 | 2148.432 | 1790.3
12/01/2024 08:30 | 1916.018 | 2090.6 | 1741.435
12/01/2024 09:00 | 1888.81 | 2061.276 | 1716.344
12/01/2024 09:30 | 1888.333 | 2061.117 | 1715.549
12/01/2024 10:00 | 1910.398 | 2085.567 | 1735.229
12/01/2024 10:30 | 1962.296 | 2142.6 | 1781.992
12/01/2024 11:00 | 2027.109 | 2213.756 | 1840.461
12/01/2024 11:30 | 2111.09 | 2305.875 | 1916.305
12/01/2024 12:00 | 2213.739 | 2418.42 | 2009.059
12/01/2024 12:30 | 2322.516 | 2537.699 | 2107.333
12/01/2024 13:00 | 2433.127 | 2659.025 | 2207.23
12/01/2024 13:30 | 2570.356 | 2809.487 | 2331.225
12/01/2024 14:00 | 2735.995 | 2991.06 | 2480.929
12/01/2024 14:30 | 2880.062 | 3149.109 | 2611.013
12/01/2024 15:00 | 3050.244 | 3335.774 | 2764.713
12/01/2024 15:30 | 3265.232 | 3571.514 | 2958.951
12/01/2024 16:00 | 3444.04 | 3767.753 | 3120.326
12/01/2024 16:30 | 3543.89 | 3877.668 | 3210.112
12/01/2024 17:00 | 3587.316 | 3925.872 | 3248.76
12/01/2024 17:30 | 3586.521 | 3925.689 | 3247.353
12/01/2024 18:00 | 3537.193 | 3872.374 | 3202.012
12/01/2024 18:30 | 3453.742 | 3781.677 | 3125.806
12/01/2024 19:00 | 3377.791 | 3699.162 | 3056.42
12/01/2024 19:30 | 3305.011 | 3620.091 | 2989.931
12/01/2024 20:00 | 3196.734 | 3502.105 | 2891.364
12/01/2024 20:30 | 3065.94 | 3359.404 | 2772.477
12/01/2024 21:00 | 2936.409 | 3218.038 | 2654.781
12/01/2024 21:30 | 2809.061 | 3079.014 | 2539.108
12/01/2024 22:00 | 2687.115 | 2945.864 | 2428.366
12/01/2024 22:30 | 2575.256 | 2823.727 | 2326.785
12/01/2024 23:00 | 2472.974 | 2712.051 | 2233.897
12/01/2024 23:30 | 2382.007 | 2609.848 | 2154.166
13/01/2024 00:00 | 2303.465 | 2518.569 | 2088.361
13/01/2024 00:30 | 2243.711 | 2453.796 | 2033.625
13/01/2024 01:00 | 2195.505 | 2401.188 | 1989.821
13/01/2024 01:30 | 2153.121 | 2354.943 | 1951.298
13/01/2024 02:00 | 2123.176 | 2322.3 | 1924.052
13/01/2024 02:30 | 2097.919 | 2294.782 | 1901.057
13/01/2024 03:00 | 2075.796 | 2270.689 | 1880.904
13/01/2024 03:30 | 2062.896 | 2256.682 | 1869.11
13/01/2024 04:00 | 2054.6 | 2247.712 | 1861.489
13/01/2024 04:30 | 2031.644 | 2222.701 | 1840.586
13/01/2024 05:00 | 2008.876 | 2197.895 | 1819.857
13/01/2024 05:30 | 1989.307 | 2176.585 | 1802.028
13/01/2024 06:00 | 1938.131 | 2120.691 | 1755.571
13/01/2024 06:30 | 1887.661 | 2065.564 | 1709.759
13/01/2024 07:00 | 1837.207 | 2010.448 | 1663.966
13/01/2024 07:30 | 1782.848 | 1951.306 | 1614.391
13/01/2024 08:00 | 1745.293 | 1911.025 | 1579.561
13/01/2024 08:30 | 1726.305 | 1891.007 | 1561.604
13/01/2024 09:00 | 1734.018 | 1900.231 | 1567.805
13/01/2024 09:30 | 1764.59 | 1934.523 | 1594.657
13/01/2024 10:00 | 1806.197 | 1980.945 | 1631.449
13/01/2024 10:30 | 1878.853 | 2061.471 | 1696.235
13/01/2024 11:00 | 1989 | 2183.214 | 1794.786
13/01/2024 11:30 | 2117.451 | 2325.155 | 1909.747
13/01/2024 12:00 | 2222.243 | 2441.221 | 2003.265
13/01/2024 12:30 | 2277.589 | 2503.04 | 2052.138
13/01/2024 13:00 | 2362.389 | 2597.291 | 2127.487
13/01/2024 13:30 | 2455.653 | 2700.927 | 2210.378
13/01/2024 14:00 | 2573.13 | 2831.29 | 2314.971
13/01/2024 14:30 | 2744.938 | 3021.563 | 2468.313
13/01/2024 15:00 | 2904.759 | 3198.79 | 2610.728
13/01/2024 15:30 | 3086.265 | 3400.05 | 2772.48
13/01/2024 16:00 | 3264.396 | 3597.753 | 2931.04
13/01/2024 16:30 | 3410.904 | 3760.748 | 3061.06
13/01/2024 17:00 | 3483.688 | 3842.556 | 3124.82
13/01/2024 17:30 | 3509.037 | 3872.087 | 3145.988
13/01/2024 18:00 | 3481.496 | 3843.254 | 3119.738
13/01/2024 18:30 | 3403.147 | 3758.287 | 3048.008
13/01/2024 19:00 | 3323.896 | 3672.253 | 2975.54
13/01/2024 19:30 | 3261.327 | 3604.585 | 2918.068
13/01/2024 20:00 | 3165.998 | 3500.639 | 2831.356
13/01/2024 20:30 | 3058.719 | 3383.39 | 2734.048
13/01/2024 21:00 | 2946.223 | 3260.271 | 2632.174
13/01/2024 21:30 | 2831.874 | 3135.001 | 2528.747
13/01/2024 22:00 | 2719.117 | 3011.391 | 2426.843
13/01/2024 22:30 | 2607.792 | 2889.267 | 2326.318
13/01/2024 23:00 | 2507.97 | 2779.792 | 2236.148
13/01/2024 23:30 | 2422.174 | 2685.781 | 2158.567
14/01/2024 00:00 | 2348.018 | 2604.605 | 2091.431
14/01/2024 00:30 | 2287.282 | 2538.256 | 2036.308
14/01/2024 01:00 | 2236.055 | 2482.409 | 1989.702
14/01/2024 01:30 | 2194.139 | 2436.856 | 1951.422
14/01/2024 02:00 | 2159.912 | 2399.809 | 1920.014
14/01/2024 02:30 | 2131.381 | 2369.063 | 1893.698
14/01/2024 03:00 | 2108.749 | 2344.851 | 1872.647
14/01/2024 03:30 | 2091.828 | 2326.972 | 1856.684
14/01/2024 04:00 | 2076.271 | 2310.594 | 1841.947
14/01/2024 04:30 | 2040.848 | 2272.087 | 1809.608
14/01/2024 05:00 | 1991.058 | 2217.547 | 1764.569
14/01/2024 05:30 | 1941.027 | 2162.693 | 1719.361
14/01/2024 06:00 | 1872.534 | 2087.217 | 1657.852
14/01/2024 06:30 | 1806.698 | 2014.641 | 1598.755
14/01/2024 07:00 | 1742.546 | 1943.885 | 1541.207
14/01/2024 07:30 | 1679.434 | 1874.232 | 1484.636