## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
10/01/2024 08:00 | 1536.24 | 1564.892 | 1521.294
10/01/2024 08:30 | 1436.234 | 1460.794 | 1411.675 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
10/01/2024 09:00 | 1342.221 | 1369.162 | 1315.279 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
10/01/2024 09:30 | 1272.624 | 1301.952 | 1243.296 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
10/01/2024 10:00 | 1222.616 | 1254.426 | 1190.806 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
10/01/2024 10:30 | 1212.406 | 1246.687 | 1178.125 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
10/01/2024 11:00 | 1248.592 | 1284.947 | 1212.238 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
10/01/2024 11:30 | 1288.172 | 1326.919 | 1249.424 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
10/01/2024 12:00 | 1343.129 | 1384.823 | 1301.435 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
10/01/2024 12:30 | 1407.04 | 1452.073 | 1362.007 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
10/01/2024 13:00 | 1488.96 | 1538.049 | 1439.871 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
10/01/2024 13:30 | 1597.207 | 1651.403 | 1543.011
10/01/2024 14:00 | 1728.367 | 1788.678 | 1668.056 | Summary view - for each schedule horizon (dispatch, week-ahead)
10/01/2024 14:30 | 1873.515 | 1940.695 | 1806.334
10/01/2024 15:00 | 2035.008 | 2111.45 | 1960.076 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
10/01/2024 15:30 | 2214.253 | 2299.051 | 2130.589 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
10/01/2024 16:00 | 2395.625 | 2489.47 | 2303.746 | Scenario | Violations
10/01/2024 16:30 | 2580.076 | 2683.646 | 2478.65 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
10/01/2024 17:00 | 2748.655 | 2860.937 | 2637.304 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
10/01/2024 17:30 | 2838.724 | 2956.987 | 2720.592 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 1
10/01/2024 18:00 | 2873.938 | 2996.19 | 2751.347 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 1 | 0 | 0 | 0
10/01/2024 18:30 | 2850.567 | 2973.792 | 2726.626 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 0
10/01/2024 19:00 | 2807.067 | 2929.564 | 2684.156
10/01/2024 19:30 | 2754.502 | 2876.048 | 2633.056 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
10/01/2024 20:00 | 2662.986 | 2781.721 | 2544.702
10/01/2024 20:30 | 2558.923 | 2674.042 | 2444.28 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
10/01/2024 21:00 | 2453.077 | 2564.403 | 2342.224 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
10/01/2024 21:30 | 2354.486 | 2462.149 | 2247.066 | [7 empty] | 10/01/2024 09:00 |  |  |  |  | 11/01/2024 08:00 | [6 empty] | 10/01/2024 09:30 |  | 14/01/2024 18:30 | [9 empty] | 10/01/2024 08:30
10/01/2024 22:00 | 2259.664 | 2363.75 | 2155.571 | [7 empty] | 10/01/2024 09:30 | [11 empty] | 16/01/2024 09:30 | [11 empty] | 10/01/2024 09:00
10/01/2024 22:30 | 2179.394 | 2280.655 | 2078.163 | [7 empty] | 10/01/2024 10:00 | [11 empty] | 16/01/2024 10:00 | [11 empty] | 10/01/2024 09:30
10/01/2024 23:00 | 2118.678 | 2217.831 | 2019.332 | [7 empty] | 10/01/2024 10:30 | [11 empty] | 16/01/2024 10:30 | [11 empty] | 10/01/2024 10:00
10/01/2024 23:30 | 2068.533 | 2166.248 | 1970.819 | [7 empty] | 16/01/2024 09:30 | [11 empty] | 16/01/2024 11:00 | [11 empty] | 10/01/2024 10:30
11/01/2024 00:00 | 2029.766 | 2126.444 | 1933.089 | [7 empty] | 16/01/2024 10:00 | [11 empty] | 16/01/2024 11:30 | [11 empty] | 10/01/2024 11:00
11/01/2024 00:30 | 1997.419 | 2093.338 | 1901.501 | [7 empty] | 16/01/2024 10:30 | [23 empty] | 16/01/2024 11:00
11/01/2024 01:00 | 1971.635 | 2067.087 | 1876.183 | [7 empty] | 16/01/2024 11:00 | [23 empty] | 16/01/2024 11:30
11/01/2024 01:30 | 1947.621 | 2042.673 | 1852.57 | [7 empty] | 16/01/2024 11:30 | [23 empty] | 16/01/2024 12:00
11/01/2024 02:00 | 1930.975 | 2025.97 | 1835.98 | [7 empty] | 16/01/2024 12:00 | [23 empty] | 16/01/2024 12:30
11/01/2024 02:30 | 1920.818 | 2016.066 | 1825.571 | [31 empty] | 16/01/2024 13:00
11/01/2024 03:00 | 1916.227 | 2011.996 | 1820.457
11/01/2024 03:30 | 1922.242 | 2019.065 | 1825.42
11/01/2024 04:00 | 1940.875 | 2039.396 | 1842.354
11/01/2024 04:30 | 1963.721 | 2064.17 | 1863.272
11/01/2024 05:00 | 1979.944 | 2081.998 | 1877.89
11/01/2024 05:30 | 1991.626 | 2095.061 | 1888.19
11/01/2024 06:00 | 2020.873 | 2126.618 | 1915.127
11/01/2024 06:30 | 2055.606 | 2163.808 | 1947.404
11/01/2024 07:00 | 2023.353 | 2130.163 | 1916.542
11/01/2024 07:30 | 1894.142 | 1994.444 | 1793.84
11/01/2024 08:00 | 1772.456 | 1866.607 | 1678.305
11/01/2024 08:30 | 1689.107 | 1779.109 | 1599.104
11/01/2024 09:00 | 1636.257 | 1723.713 | 1548.8
11/01/2024 09:30 | 1627.92 | 1715.2 | 1540.64
11/01/2024 10:00 | 1649.566 | 1738.279 | 1560.853
11/01/2024 10:30 | 1704.874 | 1796.842 | 1612.905
11/01/2024 11:00 | 1777.778 | 1873.973 | 1681.583
11/01/2024 11:30 | 1867.883 | 1969.261 | 1766.504
11/01/2024 12:00 | 1961.393 | 2068.171 | 1854.615
11/01/2024 12:30 | 2031.388 | 2142.311 | 1920.464
11/01/2024 13:00 | 2093.074 | 2207.711 | 1978.436
11/01/2024 13:30 | 2149.78 | 2267.878 | 2031.681
11/01/2024 14:00 | 2250.248 | 2374.237 | 2126.259
11/01/2024 14:30 | 2399.7 | 2532.32 | 2267.079
11/01/2024 15:00 | 2568.515 | 2710.889 | 2426.141
11/01/2024 15:30 | 2756.929 | 2910.202 | 2603.656
11/01/2024 16:00 | 2919.275 | 3082.056 | 2756.495
11/01/2024 16:30 | 3040.267 | 3209.104 | 2870.237
11/01/2024 17:00 | 3122.133 | 3296.051 | 2947.01
11/01/2024 17:30 | 3174.469 | 3351.848 | 2995.886
11/01/2024 18:00 | 3172.329 | 3350.132 | 2993.343
11/01/2024 18:30 | 3126.437 | 3302.195 | 2949.524
11/01/2024 19:00 | 3070.851 | 3244.003 | 2896.576
11/01/2024 19:30 | 3014.225 | 3184.695 | 2842.666
11/01/2024 20:00 | 2910.813 | 3075.921 | 2744.659
11/01/2024 20:30 | 2783.452 | 2941.802 | 2624.108
11/01/2024 21:00 | 2655.627 | 2807.148 | 2503.163
11/01/2024 21:30 | 2541.206 | 2686.624 | 2394.891
11/01/2024 22:00 | 2432.076 | 2571.655 | 2291.643
11/01/2024 22:30 | 2338.059 | 2472.634 | 2202.668
11/01/2024 23:00 | 2262.503 | 2393.109 | 2131.114
11/01/2024 23:30 | 2204.154 | 2331.766 | 2075.79
12/01/2024 00:00 | 2160.21 | 2285.643 | 2034.048
12/01/2024 00:30 | 2119.311 | 2242.725 | 1995.188
12/01/2024 01:00 | 2089.102 | 2211.105 | 1966.404
12/01/2024 01:30 | 2057.242 | 2177.724 | 1936.075
12/01/2024 02:00 | 2032.306 | 2153.932 | 1912.272
12/01/2024 02:30 | 2016.124 | 2136.687 | 1896.714
12/01/2024 03:00 | 2007.982 | 2127.928 | 1888.722
12/01/2024 03:30 | 2013.272 | 2133.667 | 1893.365
12/01/2024 04:00 | 2029.257 | 2151.148 | 1908.063
12/01/2024 04:30 | 2047.926 | 2171.112 | 1925.283
12/01/2024 05:00 | 2067.167 | 2189.11 | 1943.709
12/01/2024 05:30 | 2088.325 | 2208.427 | 1963.259
12/01/2024 06:00 | 2089.363 | 2208.421 | 1963.889
12/01/2024 06:30 | 2064.782 | 2180.331 | 1940.444
12/01/2024 07:00 | 2020.211 | 2129.86 | 1898.223
12/01/2024 07:30 | 1974.475 | 2074.899 | 1854.885
12/01/2024 08:00 | 1954.003 | 2044.769 | 1835.22
12/01/2024 08:30 | 1921.203 | 2004.987 | 1803.994
12/01/2024 09:00 | 1912.106 | 1990.879 | 1795.034
12/01/2024 09:30 | 1937.247 | 2010.367 | 1818.214
12/01/2024 10:00 | 1989.732 | 2058.274 | 1867.038
12/01/2024 10:30 | 2070.551 | 2143.439 | 1942.422
12/01/2024 11:00 | 2163.304 | 2237.396 | 2028.963
12/01/2024 11:30 | 2245.595 | 2323.081 | 2105.652
12/01/2024 12:00 | 2348.676 | 2436.072 | 2201.796
12/01/2024 12:30 | 2462.823 | 2558.799 | 2308.266
12/01/2024 13:00 | 2569.924 | 2674.216 | 2408.085
12/01/2024 13:30 | 2707.263 | 2825.041 | 2536.184
12/01/2024 14:00 | 2857.584 | 2996.81 | 2676.381
12/01/2024 14:30 | 2993.859 | 3145.489 | 2803.361
12/01/2024 15:00 | 3138.393 | 3307.979 | 2938.012
12/01/2024 15:30 | 3338.875 | 3527.539 | 3124.964
12/01/2024 16:00 | 3503.485 | 3707.78 | 3278.263
12/01/2024 16:30 | 3595.722 | 3806.659 | 3363.785
12/01/2024 17:00 | 3649.742 | 3863.182 | 3413.522
12/01/2024 17:30 | 3662.429 | 3875.814 | 3424.589
12/01/2024 18:00 | 3623.196 | 3833.97 | 3387.111
12/01/2024 18:30 | 3542.143 | 3748.521 | 3310.566
12/01/2024 19:00 | 3448.434 | 3674.637 | 3222.23
12/01/2024 19:30 | 3385.799 | 3608.634 | 3162.964
12/01/2024 20:00 | 3282.745 | 3499.515 | 3065.976
12/01/2024 20:30 | 3154.172 | 3363.141 | 2945.203
12/01/2024 21:00 | 3023.768 | 3224.758 | 2822.778
12/01/2024 21:30 | 2891.512 | 3084.343 | 2698.681
12/01/2024 22:00 | 2764.059 | 2948.994 | 2579.124
12/01/2024 22:30 | 2644.487 | 2821.999 | 2466.974
12/01/2024 23:00 | 2534.564 | 2705.252 | 2363.877
12/01/2024 23:30 | 2436.277 | 2606.681 | 2265.874
13/01/2024 00:00 | 2350.568 | 2526.596 | 2174.541
13/01/2024 00:30 | 2286.074 | 2456.891 | 2115.257
13/01/2024 01:00 | 2234.422 | 2401.913 | 2066.931
13/01/2024 01:30 | 2189.77 | 2354.437 | 2025.103
13/01/2024 02:00 | 2158.562 | 2321.398 | 1995.726
13/01/2024 02:30 | 2132.955 | 2294.369 | 1971.541
13/01/2024 03:00 | 2110.179 | 2270.374 | 1949.985
13/01/2024 03:30 | 2094.248 | 2253.733 | 1934.762
13/01/2024 04:00 | 2082.305 | 2241.378 | 1923.232
13/01/2024 04:30 | 2059.006 | 2216.791 | 1901.221
13/01/2024 05:00 | 2033.809 | 2190.149 | 1877.469
13/01/2024 05:30 | 2012.356 | 2167.527 | 1857.184
13/01/2024 06:00 | 1966.339 | 2118.432 | 1814.246
13/01/2024 06:30 | 1923.488 | 2072.726 | 1774.25
13/01/2024 07:00 | 1888.411 | 2035.379 | 1741.444
13/01/2024 07:30 | 1852.125 | 1996.71 | 1707.539
13/01/2024 08:00 | 1843.248 | 1987.582 | 1698.915
13/01/2024 08:30 | 1861.067 | 2007.24 | 1714.894
13/01/2024 09:00 | 1895.372 | 2044.692 | 1746.052
13/01/2024 09:30 | 1956.428 | 2111.026 | 1801.831
13/01/2024 10:00 | 2020.103 | 2180.215 | 1859.991
13/01/2024 10:30 | 2117.473 | 2285.808 | 1949.138
13/01/2024 11:00 | 2239.545 | 2418.12 | 2060.971
13/01/2024 11:30 | 2331.03 | 2517.456 | 2144.603
13/01/2024 12:00 | 2421.968 | 2616.245 | 2227.69
13/01/2024 12:30 | 2494.503 | 2695.195 | 2293.812
13/01/2024 13:00 | 2593.897 | 2803.206 | 2384.589
13/01/2024 13:30 | 2701.582 | 2920.225 | 2482.939
13/01/2024 14:00 | 2818.662 | 3047.454 | 2589.871
13/01/2024 14:30 | 2975.282 | 3217.497 | 2733.067
13/01/2024 15:00 | 3144.044 | 3400.749 | 2887.339
13/01/2024 15:30 | 3380.395 | 3657.205 | 3103.584
13/01/2024 16:00 | 3544.725 | 3835.838 | 3253.612
13/01/2024 16:30 | 3607.582 | 3904.719 | 3310.445
13/01/2024 17:00 | 3655.696 | 3957.669 | 3353.723
13/01/2024 17:30 | 3698.864 | 4005.287 | 3392.441
13/01/2024 18:00 | 3675.389 | 3980.745 | 3370.033
13/01/2024 18:30 | 3597.743 | 3897.508 | 3297.979
13/01/2024 19:00 | 3522.617 | 3816.963 | 3228.271
13/01/2024 19:30 | 3471.063 | 3761.93 | 3180.195
13/01/2024 20:00 | 3380.63 | 3664.727 | 3096.533
13/01/2024 20:30 | 3274.85 | 3550.84 | 2998.86
13/01/2024 21:00 | 3156.463 | 3423.23 | 2889.697
13/01/2024 21:30 | 3030.727 | 3287.592 | 2773.863
13/01/2024 22:00 | 2904.296 | 3151.138 | 2657.453
13/01/2024 22:30 | 2776.916 | 3013.595 | 2540.236
13/01/2024 23:00 | 2665.586 | 2893.414 | 2437.759
13/01/2024 23:30 | 2571.575 | 2791.981 | 2351.168
14/01/2024 00:00 | 2486.871 | 2700.612 | 2273.13
14/01/2024 00:30 | 2416.996 | 2625.309 | 2208.684
14/01/2024 01:00 | 2360.024 | 2563.99 | 2156.058
14/01/2024 01:30 | 2311.227 | 2511.527 | 2110.926
14/01/2024 02:00 | 2270.943 | 2468.295 | 2073.59
14/01/2024 02:30 | 2237.233 | 2432.19 | 2042.276
14/01/2024 03:00 | 2209.463 | 2402.528 | 2016.398
14/01/2024 03:30 | 2188.433 | 2380.183 | 1996.683
14/01/2024 04:00 | 2167.625 | 2358.07 | 1977.18
14/01/2024 04:30 | 2129.011 | 2316.572 | 1941.45
14/01/2024 05:00 | 2074.801 | 2258.081 | 1891.52
14/01/2024 05:30 | 2031.252 | 2211.17 | 1851.333
14/01/2024 06:00 | 1987.296 | 2163.796 | 1810.796
14/01/2024 06:30 | 1946.583 | 2119.932 | 1773.234
14/01/2024 07:00 | 1906.597 | 2076.841 | 1736.354
14/01/2024 07:30 | 1854.982 | 2020.936 | 1689.028
14/01/2024 08:00 | 1849.997 | 2015.578 | 1684.416
14/01/2024 08:30 | 1878.123 | 2046.318 | 1709.929
14/01/2024 09:00 | 1912.506 | 2083.877 | 1741.135
14/01/2024 09:30 | 1974.339 | 2151.352 | 1797.327
14/01/2024 10:00 | 2047.265 | 2230.92 | 1863.61
14/01/2024 10:30 | 2131.353 | 2322.66 | 1940.046
14/01/2024 11:00 | 2222.915 | 2422.554 | 2023.276
14/01/2024 11:30 | 2324.656 | 2533.551 | 2115.762
14/01/2024 12:00 | 2433.295 | 2652.076 | 2214.515
14/01/2024 12:30 | 2540.919 | 2769.506 | 2312.332
14/01/2024 13:00 | 2625.649 | 2861.993 | 2389.306
14/01/2024 13:30 | 2732.389 | 2978.479 | 2486.298
14/01/2024 14:00 | 2862.861 | 3120.848 | 2604.873
14/01/2024 14:30 | 3002.307 | 3273.014 | 2731.6
14/01/2024 15:00 | 3151.423 | 3435.736 | 2867.11
14/01/2024 15:30 | 3319.484 | 3619.128 | 3019.84
14/01/2024 16:00 | 3470.473 | 3783.924 | 3157.023
14/01/2024 16:30 | 3595.072 | 3919.959 | 3270.185
14/01/2024 17:00 | 3671.657 | 4003.653 | 3339.662
14/01/2024 17:30 | 3691.784 | 4025.788 | 3357.781
14/01/2024 18:00 | 3642.9 | 3972.667 | 3313.134
14/01/2024 18:30 | 3555.912 | 3877.986 | 3233.838
14/01/2024 19:00 | 3481.722 | 3797.253 | 3166.191
14/01/2024 19:30 | 3403.544 | 3712.164 | 3094.924
14/01/2024 20:00 | 3284.833 | 3582.857 | 2986.81
14/01/2024 20:30 | 3154.421 | 3440.773 | 2868.069
14/01/2024 21:00 | 3010.906 | 3284.384 | 2737.429
14/01/2024 21:30 | 2869.131 | 3129.877 | 2608.384
14/01/2024 22:00 | 2732.988 | 2981.501 | 2484.474
14/01/2024 22:30 | 2615.733 | 2853.717 | 2377.748
14/01/2024 23:00 | 2520.908 | 2750.394 | 2291.422
14/01/2024 23:30 | 2432.827 | 2651.532 | 2214.123
15/01/2024 00:00 | 2349.159 | 2555.058 | 2143.26
15/01/2024 00:30 | 2283.323 | 2484.372 | 2082.275
15/01/2024 01:00 | 2235.038 | 2432.263 | 2037.813
15/01/2024 01:30 | 2197.434 | 2391.762 | 2003.106
15/01/2024 02:00 | 2169.944 | 2362.257 | 1977.631
15/01/2024 02:30 | 2148.824 | 2339.678 | 1957.971
15/01/2024 03:00 | 2130.616 | 2320.26 | 1940.972
15/01/2024 03:30 | 2128.087 | 2317.914 | 1938.26
15/01/2024 04:00 | 2140.187 | 2331.504 | 1948.87
15/01/2024 04:30 | 2160.612 | 2354.169 | 1967.056
15/01/2024 05:00 | 2170.638 | 2365.509 | 1975.767
15/01/2024 05:30 | 2183.567 | 2380.018 | 1987.117
15/01/2024 06:00 | 2247.276 | 2449.889 | 2044.664
15/01/2024 06:30 | 2323.817 | 2533.776 | 2113.858
15/01/2024 07:00 | 2360.059 | 2573.744 | 2146.373
15/01/2024 07:30 | 2351.328 | 2564.673 | 2137.982
15/01/2024 08:00 | 2348.667 | 2562.222 | 2135.113
15/01/2024 08:30 | 2357.031 | 2571.798 | 2142.264
15/01/2024 09:00 | 2358.971 | 2574.367 | 2143.575
15/01/2024 09:30 | 2346.022 | 2560.685 | 2131.359
15/01/2024 10:00 | 2360.747 | 2577.21 | 2144.284
15/01/2024 10:30 | 2432.979 | 2656.531 | 2209.426
15/01/2024 11:00 | 2505.373 | 2736.057 | 2274.689
15/01/2024 11:30 | 2578.506 | 2816.418 | 2340.594
15/01/2024 12:00 | 2632.111 | 2875.474 | 2388.749
15/01/2024 12:30 | 2639.59 | 2884.15 | 2395.03
15/01/2024 13:00 | 2676.156 | 2924.617 | 2427.695
15/01/2024 13:30 | 2755.938 | 3012.334 | 2499.541
15/01/2024 14:00 | 2876.883 | 3145.082 | 2608.683
15/01/2024 14:30 | 3023.834 | 3306.313 | 2741.355
15/01/2024 15:00 | 3146.798 | 3441.367 | 2852.229
15/01/2024 15:30 | 3296.032 | 3605.203 | 2986.862
15/01/2024 16:00 | 3457.08 | 3782.019 | 3132.14
15/01/2024 16:30 | 3593.199 | 3931.621 | 3254.777
15/01/2024 17:00 | 3688.983 | 4037.134 | 3340.833
15/01/2024 17:30 | 3718.178 | 4069.797 | 3366.56
15/01/2024 18:00 | 3670.736 | 4018.572 | 3322.9
15/01/2024 18:30 | 3579.1 | 3918.938 | 3239.262
15/01/2024 19:00 | 3484.274 | 3815.776 | 3152.772
15/01/2024 19:30 | 3395.858 | 3719.599 | 3072.117
15/01/2024 20:00 | 3270.137 | 3582.519 | 2957.754
15/01/2024 20:30 | 3130.106 | 3429.712 | 2830.5
15/01/2024 21:00 | 2976.62 | 3262.105 | 2691.135
15/01/2024 21:30 | 2828.239 | 3100.035 | 2556.443
15/01/2024 22:00 | 2691.489 | 2950.659 | 2432.319
15/01/2024 22:30 | 2575.649 | 2824.158 | 2327.14
15/01/2024 23:00 | 2475.445 | 2714.76 | 2236.129
15/01/2024 23:30 | 2372.906 | 2602.764 | 2143.049
16/01/2024 00:00 | 2277.145 | 2498.163 | 2056.128
16/01/2024 00:30 | 2212.041 | 2427.163 | 1996.918
16/01/2024 01:00 | 2169.307 | 2380.689 | 1957.924
16/01/2024 01:30 | 2134.164 | 2342.531 | 1925.797
16/01/2024 02:00 | 2105.853 | 2311.86 | 1899.846
16/01/2024 02:30 | 2085.048 | 2289.419 | 1880.677
16/01/2024 03:00 | 2071.124 | 2274.527 | 1867.72
16/01/2024 03:30 | 2070.437 | 2274.169 | 1866.704
16/01/2024 04:00 | 2084.171 | 2289.655 | 1878.688
16/01/2024 04:30 | 2101.516 | 2309.113 | 1893.92
16/01/2024 05:00 | 2110.72 | 2319.63 | 1901.81
16/01/2024 05:30 | 2124.976 | 2335.704 | 1914.247
16/01/2024 06:00 | 2177.335 | 2393.673 | 1960.997
16/01/2024 06:30 | 2235.369 | 2457.902 | 2012.837
16/01/2024 07:00 | 2253.644 | 2478.428 | 2028.86
16/01/2024 07:30 | 2237.426 | 2461.135 | 2013.716
16/01/2024 08:00 | 2192.696 | 2412.687 | 1972.704
16/01/2024 08:30 | 2106.573 | 2318.63 | 1894.516
16/01/2024 09:00 | 2060.121 | 2268.192 | 1852.049
16/01/2024 09:30 | 2027.489 | 2232.945 | 1822.034
16/01/2024 10:00 | 1998.618 | 2201.819 | 1795.418
16/01/2024 10:30 | 2042.269 | 2250.592 | 1833.946
16/01/2024 11:00 | 2077.893 | 2290.547 | 1865.24
16/01/2024 11:30 | 2114.649 | 2331.774 | 1897.525
16/01/2024 12:00 | 2188.661 | 2414.118 | 1963.203
16/01/2024 12:30 | 2299.84 | 2537.521 | 2062.159
16/01/2024 13:00 | 2430.472 | 2682.469 | 2178.476
16/01/2024 13:30 | 2559.823 | 2826.089 | 2293.557
16/01/2024 14:00 | 2697.265 | 2978.732 | 2415.798
16/01/2024 14:30 | 2842.516 | 3140.094 | 2544.939
16/01/2024 15:00 | 3018.366 | 3335.364 | 2701.367
16/01/2024 15:30 | 3210.569 | 3548.83 | 2872.308
16/01/2024 16:00 | 3379.968 | 3737.21 | 3022.726
16/01/2024 16:30 | 3538.594 | 3913.789 | 3163.4
16/01/2024 17:00 | 3632.382 | 4018.739 | 3246.026
16/01/2024 17:30 | 3656.657 | 4046.821 | 3266.492
16/01/2024 18:00 | 3613.402 | 4000.162 | 3226.641
16/01/2024 18:30 | 3518.971 | 3896.804 | 3141.137
16/01/2024 19:00 | 3424.745 | 3793.609 | 3055.88
16/01/2024 19:30 | 3330.53 | 3690.363 | 2970.696
16/01/2024 20:00 | 3197.329 | 3543.844 | 2850.814
16/01/2024 20:30 | 3044.529 | 3375.505 | 2713.554
16/01/2024 21:00 | 2877.361 | 3191.128 | 2563.594
16/01/2024 21:30 | 2724.158 | 3022.133 | 2426.184
16/01/2024 22:00 | 2587.359 | 2871.237 | 2303.48
16/01/2024 22:30 | 2470.992 | 2742.931 | 2199.052
16/01/2024 23:00 | 2369.825 | 2631.425 | 2108.225
16/01/2024 23:30 | 2269.777 | 2521.094 | 2018.46
17/01/2024 00:00 | 2180.228 | 2422.361 | 1938.095
17/01/2024 00:30 | 2116.09 | 2351.809 | 1880.37
17/01/2024 01:00 | 2070.154 | 2301.45 | 1838.857
17/01/2024 01:30 | 2037.861 | 2266.232 | 1809.489
17/01/2024 02:00 | 2011.497 | 2237.588 | 1785.405
17/01/2024 02:30 | 1994.002 | 2218.796 | 1769.208
17/01/2024 03:00 | 1983.328 | 2207.584 | 1759.073
17/01/2024 03:30 | 1986.149 | 2211.39 | 1760.909
17/01/2024 04:00 | 2004.458 | 2232.447 | 1776.469
17/01/2024 04:30 | 2029.283 | 2260.776 | 1797.79
17/01/2024 05:00 | 2045.84 | 2279.908 | 1811.773
17/01/2024 05:30 | 2042.323 | 2276.673 | 1807.972
17/01/2024 06:00 | 2016.132 | 2248.153 | 1784.111
17/01/2024 06:30 | 1963.014 | 2189.58 | 1736.448
17/01/2024 07:00 | 1892.695 | 2111.78 | 1673.611
17/01/2024 07:30 | 1796.565 | 2005.125 | 1588.005