## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
11/01/2024 08:00 | 1773.14 | 1800.749 | 1750.58
11/01/2024 08:30 | 1694.609 | 1723.586 | 1665.631 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
11/01/2024 09:00 | 1623.492 | 1656.079 | 1590.905 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
11/01/2024 09:30 | 1582.804 | 1619.28 | 1546.329 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
11/01/2024 10:00 | 1573.207 | 1614.139 | 1532.276 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
11/01/2024 10:30 | 1589.61 | 1634.556 | 1544.663 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
11/01/2024 11:00 | 1635.942 | 1683.575 | 1588.31 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
11/01/2024 11:30 | 1675.476 | 1725.873 | 1625.078 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
11/01/2024 12:00 | 1742.977 | 1797.084 | 1688.871 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
11/01/2024 12:30 | 1851.794 | 1911.062 | 1792.527 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
11/01/2024 13:00 | 1952.516 | 2016.888 | 1888.144 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
11/01/2024 13:30 | 2044.851 | 2114.237 | 1975.466
11/01/2024 14:00 | 2154.435 | 2229.613 | 2071.341 | Summary view - for each schedule horizon (dispatch, week-ahead)
11/01/2024 14:30 | 2298.156 | 2380.563 | 2208.549
11/01/2024 15:00 | 2455.146 | 2545.547 | 2358.672 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
11/01/2024 15:30 | 2625.612 | 2718.01 | 2520.093 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
11/01/2024 16:00 | 2789.658 | 2890.978 | 2675.3 | Scenario | Violations
11/01/2024 16:30 | 2931.78 | 3042.227 | 2809.839 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
11/01/2024 17:00 | 3035.4 | 3152.811 | 2906.364 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
11/01/2024 17:30 | 3097.43 | 3220.873 | 2963.382 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11/01/2024 18:00 | 3100.345 | 3232.419 | 2968.272 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11/01/2024 18:30 | 3059.428 | 3192.083 | 2926.774 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
11/01/2024 19:00 | 3005.082 | 3136.452 | 2873.712
11/01/2024 19:30 | 2953.403 | 3083.669 | 2823.136 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
11/01/2024 20:00 | 2855.521 | 2982.588 | 2728.454
11/01/2024 20:30 | 2734.928 | 2857.699 | 2612.157 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
11/01/2024 21:00 | 2613.103 | 2731.428 | 2494.777 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
11/01/2024 21:30 | 2503.686 | 2618.037 | 2389.336 | [33 empty] | 17/01/2024 16:00
11/01/2024 22:00 | 2400.028 | 2510.583 | 2289.472
11/01/2024 22:30 | 2309.853 | 2417.159 | 2202.547
11/01/2024 23:00 | 2235.872 | 2340.616 | 2131.128
11/01/2024 23:30 | 2179.634 | 2282.596 | 2076.671
12/01/2024 00:00 | 2137.888 | 2239.715 | 2036.061
12/01/2024 00:30 | 2098.319 | 2199.083 | 1997.555
12/01/2024 01:00 | 2068.507 | 2168.649 | 1968.365
12/01/2024 01:30 | 2038.372 | 2137.853 | 1938.891
12/01/2024 02:00 | 2015.366 | 2114.513 | 1916.219
12/01/2024 02:30 | 2000.549 | 2099.75 | 1901.348
12/01/2024 03:00 | 1993.174 | 2092.79 | 1893.559
12/01/2024 03:30 | 1997.087 | 2097.679 | 1896.495
12/01/2024 04:00 | 2013.229 | 2115.423 | 1911.035
12/01/2024 04:30 | 2032.477 | 2136.443 | 1928.511
12/01/2024 05:00 | 2053.137 | 2158.963 | 1947.31
12/01/2024 05:30 | 2072.907 | 2180.564 | 1965.251
12/01/2024 06:00 | 2069.637 | 2177.934 | 1961.34
12/01/2024 06:30 | 2039.881 | 2147.256 | 1932.507
12/01/2024 07:00 | 1990.778 | 2095.868 | 1885.687
12/01/2024 07:30 | 1927.821 | 2029.907 | 1825.735
12/01/2024 08:00 | 1876.696 | 1976.384 | 1777.008
12/01/2024 08:30 | 1826.649 | 1923.98 | 1729.318
12/01/2024 09:00 | 1796.854 | 1892.895 | 1700.814
12/01/2024 09:30 | 1801.231 | 1897.803 | 1704.659
12/01/2024 10:00 | 1828.809 | 1927.161 | 1730.457
12/01/2024 10:30 | 1883.018 | 1984.596 | 1781.439
12/01/2024 11:00 | 1962.764 | 2068.968 | 1856.559
12/01/2024 11:30 | 2039.812 | 2150.522 | 1929.102
12/01/2024 12:00 | 2129.911 | 2245.863 | 2013.959
12/01/2024 12:30 | 2233.319 | 2355.27 | 2111.369
12/01/2024 13:00 | 2336.58 | 2464.554 | 2208.605
12/01/2024 13:30 | 2456.974 | 2591.948 | 2322
12/01/2024 14:00 | 2592.773 | 2735.635 | 2449.91
12/01/2024 14:30 | 2733.471 | 2884.537 | 2582.405
12/01/2024 15:00 | 2867.024 | 3025.945 | 2708.104
12/01/2024 15:30 | 3037.131 | 3205.982 | 2868.28
12/01/2024 16:00 | 3202.002 | 3380.548 | 3023.456
12/01/2024 16:30 | 3332.531 | 3518.905 | 3146.156
12/01/2024 17:00 | 3416.603 | 3608.243 | 3224.963
12/01/2024 17:30 | 3447.621 | 3641.57 | 3253.672
12/01/2024 18:00 | 3429.048 | 3622.519 | 3235.577
12/01/2024 18:30 | 3365.227 | 3555.652 | 3174.801
12/01/2024 19:00 | 3302.808 | 3489.174 | 3115.369
12/01/2024 19:30 | 3252.506 | 3436.573 | 3067.385
12/01/2024 20:00 | 3160.119 | 3339.477 | 2979.735
12/01/2024 20:30 | 3043.655 | 3216.903 | 2869.416
12/01/2024 21:00 | 2922.605 | 3089.443 | 2754.813
12/01/2024 21:30 | 2801.9 | 2962.299 | 2640.567
12/01/2024 22:00 | 2683.511 | 2837.576 | 2528.554
12/01/2024 22:30 | 2572.262 | 2720.365 | 2423.306
12/01/2024 23:00 | 2471.771 | 2614.496 | 2328.229
12/01/2024 23:30 | 2383.912 | 2526.734 | 2240.258
13/01/2024 00:00 | 2307.357 | 2455.151 | 2158.674
13/01/2024 00:30 | 2247.745 | 2391.385 | 2103.247
13/01/2024 01:00 | 2199.689 | 2340.679 | 2058.7
13/01/2024 01:30 | 2157.814 | 2296.532 | 2019.097
13/01/2024 02:00 | 2127.395 | 2264.563 | 1990.226
13/01/2024 02:30 | 2102.319 | 2238.273 | 1966.365
13/01/2024 03:00 | 2082.153 | 2217.2 | 1947.106
13/01/2024 03:30 | 2068.706 | 2203.276 | 1934.136
13/01/2024 04:00 | 2058.031 | 2192.3 | 1923.762
13/01/2024 04:30 | 2035.636 | 2168.833 | 1902.439
13/01/2024 05:00 | 2013.429 | 2145.557 | 1881.3
13/01/2024 05:30 | 2002.494 | 2134.288 | 1870.701
13/01/2024 06:00 | 1972.786 | 2103.007 | 1842.57
13/01/2024 06:30 | 1938.399 | 2066.721 | 1810.083
13/01/2024 07:00 | 1897.744 | 2023.737 | 1771.756
13/01/2024 07:30 | 1846.801 | 1969.794 | 1723.812
13/01/2024 08:00 | 1828.828 | 1951.062 | 1706.593
13/01/2024 08:30 | 1839.327 | 1962.703 | 1715.951
13/01/2024 09:00 | 1869.973 | 1995.852 | 1744.095
13/01/2024 09:30 | 1929.394 | 2059.733 | 1799.055
13/01/2024 10:00 | 1990.727 | 2125.685 | 1855.769
13/01/2024 10:30 | 2098.152 | 2240.894 | 1955.41
13/01/2024 11:00 | 2228.669 | 2380.823 | 2076.515
13/01/2024 11:30 | 2324.949 | 2484.231 | 2165.667
13/01/2024 12:00 | 2416.834 | 2582.989 | 2250.68
13/01/2024 12:30 | 2485.459 | 2656.926 | 2313.993
13/01/2024 13:00 | 2604.001 | 2784.267 | 2423.735
13/01/2024 13:30 | 2793.803 | 2987.876 | 2599.73
13/01/2024 14:00 | 3018.853 | 3229.28 | 2808.426
13/01/2024 14:30 | 3243.053 | 3469.882 | 3016.223
13/01/2024 15:00 | 3420.524 | 3660.583 | 3180.464
13/01/2024 15:30 | 3569.081 | 3820.419 | 3317.743
13/01/2024 16:00 | 3686.557 | 3947.049 | 3426.066
13/01/2024 16:30 | 3751.282 | 4017.243 | 3485.321
13/01/2024 17:00 | 3746.123 | 4012.613 | 3479.633
13/01/2024 17:30 | 3733.311 | 3999.781 | 3466.84
13/01/2024 18:00 | 3685.068 | 3948.975 | 3421.16
13/01/2024 18:30 | 3616.812 | 3876.695 | 3356.928
13/01/2024 19:00 | 3562.14 | 3818.946 | 3305.335
13/01/2024 19:30 | 3502.79 | 3756.154 | 3249.426
13/01/2024 20:00 | 3405.843 | 3653.008 | 3158.678
13/01/2024 20:30 | 3292.516 | 3532.243 | 3052.789
13/01/2024 21:00 | 3167.961 | 3399.376 | 2936.546
13/01/2024 21:30 | 3036.351 | 3258.877 | 2813.824
13/01/2024 22:00 | 2907.348 | 3121.115 | 2693.582
13/01/2024 22:30 | 2778.955 | 2983.945 | 2573.965
13/01/2024 23:00 | 2665.556 | 2862.818 | 2468.294
13/01/2024 23:30 | 2570.757 | 2761.618 | 2379.897
14/01/2024 00:00 | 2486.473 | 2671.67 | 2301.276
14/01/2024 00:30 | 2418.734 | 2599.463 | 2238.005
14/01/2024 01:00 | 2363.19 | 2540.334 | 2186.047
14/01/2024 01:30 | 2314.537 | 2488.587 | 2140.488
14/01/2024 02:00 | 2275.342 | 2446.987 | 2103.696
14/01/2024 02:30 | 2242.142 | 2411.819 | 2072.465
14/01/2024 03:00 | 2214.999 | 2383.151 | 2046.848
14/01/2024 03:30 | 2196.911 | 2364.214 | 2029.608
14/01/2024 04:00 | 2179.692 | 2346.204 | 2013.179
14/01/2024 04:30 | 2142.954 | 2307.172 | 1978.736
14/01/2024 05:00 | 2112.011 | 2274.362 | 1949.659
14/01/2024 05:30 | 2096.973 | 2258.669 | 1935.276
14/01/2024 06:00 | 2057.025 | 2216.132 | 1897.917
14/01/2024 06:30 | 2032.698 | 2190.409 | 1874.987
14/01/2024 07:00 | 2008.973 | 2165.324 | 1852.623
14/01/2024 07:30 | 1961.64 | 2114.775 | 1808.505
14/01/2024 08:00 | 1957.326 | 2110.593 | 1804.06
14/01/2024 08:30 | 2020.06 | 2178.721 | 1861.399
14/01/2024 09:00 | 2098.63 | 2263.963 | 1933.296
14/01/2024 09:30 | 2195.847 | 2369.364 | 2022.33
14/01/2024 10:00 | 2292.482 | 2474.182 | 2110.781
14/01/2024 10:30 | 2380.462 | 2569.704 | 2191.219
14/01/2024 11:00 | 2486.518 | 2684.786 | 2288.25
14/01/2024 11:30 | 2590.131 | 2797.279 | 2382.983
14/01/2024 12:00 | 2680.042 | 2895.021 | 2465.063
14/01/2024 12:30 | 2790.678 | 3015.198 | 2566.158
14/01/2024 13:00 | 2859.146 | 3089.858 | 2628.435
14/01/2024 13:30 | 2942.301 | 3180.425 | 2704.176
14/01/2024 14:00 | 3035.114 | 3281.475 | 2788.753
14/01/2024 14:30 | 3184.123 | 3443.339 | 2924.906
14/01/2024 15:00 | 3320.939 | 3592.087 | 3049.792
14/01/2024 15:30 | 3467.111 | 3751.022 | 3183.2
14/01/2024 16:00 | 3609.974 | 3906.446 | 3313.502
14/01/2024 16:30 | 3716.729 | 4022.856 | 3410.602
14/01/2024 17:00 | 3775.001 | 4086.829 | 3463.173
14/01/2024 17:30 | 3778.392 | 4091.403 | 3465.381
14/01/2024 18:00 | 3729.512 | 4039.365 | 3419.66
14/01/2024 18:30 | 3631.512 | 3934.09 | 3328.934
14/01/2024 19:00 | 3530.309 | 3825.298 | 3235.32
14/01/2024 19:30 | 3453.681 | 3743.092 | 3164.27
14/01/2024 20:00 | 3336.195 | 3616.558 | 3055.832
14/01/2024 20:30 | 3199.872 | 3469.543 | 2930.2
14/01/2024 21:00 | 3061.392 | 3320.124 | 2802.66
14/01/2024 21:30 | 2923.199 | 3170.95 | 2675.448
14/01/2024 22:00 | 2785.393 | 3022.13 | 2548.656
14/01/2024 22:30 | 2666.375 | 2893.633 | 2439.117
14/01/2024 23:00 | 2565.592 | 2784.873 | 2346.311
14/01/2024 23:30 | 2474.291 | 2679.604 | 2268.977
15/01/2024 00:00 | 2389.475 | 2575.384 | 2203.566
15/01/2024 00:30 | 2324.119 | 2506.531 | 2141.706
15/01/2024 01:00 | 2276.466 | 2455.635 | 2097.296
15/01/2024 01:30 | 2240.062 | 2416.856 | 2063.269
15/01/2024 02:00 | 2213.462 | 2388.64 | 2038.284
15/01/2024 02:30 | 2190.701 | 2364.557 | 2016.846
15/01/2024 03:00 | 2173.531 | 2346.499 | 2000.564
15/01/2024 03:30 | 2171.157 | 2344.41 | 1997.904
15/01/2024 04:00 | 2182.715 | 2357.367 | 2008.063
15/01/2024 04:30 | 2201.1 | 2377.704 | 2024.496
15/01/2024 05:00 | 2238.624 | 2418.728 | 2058.52
15/01/2024 05:30 | 2289.302 | 2473.984 | 2104.621
15/01/2024 06:00 | 2349.043 | 2539.057 | 2159.029
15/01/2024 06:30 | 2413.007 | 2608.722 | 2217.292
15/01/2024 07:00 | 2428 | 2625.462 | 2230.538
15/01/2024 07:30 | 2412.126 | 2608.802 | 2215.452
15/01/2024 08:00 | 2396.199 | 2592.031 | 2200.367
15/01/2024 08:30 | 2370.403 | 2564.581 | 2176.225
15/01/2024 09:00 | 2387.689 | 2583.74 | 2191.637
15/01/2024 09:30 | 2436.835 | 2637.389 | 2236.282
15/01/2024 10:00 | 2481.09 | 2685.762 | 2276.419
15/01/2024 10:30 | 2539.72 | 2749.715 | 2329.726
15/01/2024 11:00 | 2630.31 | 2848.299 | 2412.32
15/01/2024 11:30 | 2706.172 | 2930.967 | 2481.377
15/01/2024 12:00 | 2771.692 | 3002.461 | 2540.923
15/01/2024 12:30 | 2876.032 | 3116.039 | 2636.024
15/01/2024 13:00 | 2982.334 | 3231.785 | 2732.884
15/01/2024 13:30 | 3074.674 | 3332.438 | 2816.911
15/01/2024 14:00 | 3166.757 | 3432.847 | 2900.668
15/01/2024 14:30 | 3300.799 | 3578.784 | 3022.814
15/01/2024 15:00 | 3395.184 | 3681.769 | 3108.599
15/01/2024 15:30 | 3514.73 | 3812.08 | 3217.381
15/01/2024 16:00 | 3649.41 | 3958.853 | 3339.967
15/01/2024 16:30 | 3757.404 | 4076.724 | 3438.084
15/01/2024 17:00 | 3831.111 | 4157.43 | 3504.793
15/01/2024 17:30 | 3834.84 | 4162.211 | 3507.469
15/01/2024 18:00 | 3770.012 | 4092.572 | 3447.453
15/01/2024 18:30 | 3671.01 | 3985.802 | 3356.218
15/01/2024 19:00 | 3566.171 | 3872.656 | 3259.685
15/01/2024 19:30 | 3486.495 | 3786.802 | 3186.189
15/01/2024 20:00 | 3364.994 | 3655.48 | 3074.508
15/01/2024 20:30 | 3220.56 | 3499.195 | 2941.925
15/01/2024 21:00 | 3067.872 | 3333.885 | 2801.859
15/01/2024 21:30 | 2918.905 | 3172.56 | 2665.249
15/01/2024 22:00 | 2777.91 | 3019.846 | 2535.975
15/01/2024 22:30 | 2661.544 | 2893.855 | 2429.233
15/01/2024 23:00 | 2564.642 | 2788.987 | 2340.298
15/01/2024 23:30 | 2470.767 | 2687.373 | 2254.161
16/01/2024 00:00 | 2383.152 | 2592.533 | 2173.77
16/01/2024 00:30 | 2323.574 | 2528.167 | 2118.981
16/01/2024 01:00 | 2284.578 | 2486.175 | 2082.981
16/01/2024 01:30 | 2243.574 | 2441.982 | 2045.165
16/01/2024 02:00 | 2213.722 | 2409.915 | 2017.529
16/01/2024 02:30 | 2190.184 | 2384.711 | 1995.657
16/01/2024 03:00 | 2171.301 | 2364.567 | 1978.035
16/01/2024 03:30 | 2166.019 | 2359.229 | 1972.808
16/01/2024 04:00 | 2175.552 | 2370.031 | 1981.074
16/01/2024 04:30 | 2188.893 | 2384.983 | 1992.802
16/01/2024 05:00 | 2227.744 | 2427.741 | 2027.746
16/01/2024 05:30 | 2290.755 | 2496.848 | 2084.661
16/01/2024 06:00 | 2351.847 | 2563.888 | 2139.807
16/01/2024 06:30 | 2413.923 | 2632.023 | 2195.823
16/01/2024 07:00 | 2430.553 | 2650.621 | 2210.485
16/01/2024 07:30 | 2414.127 | 2633.171 | 2195.083
16/01/2024 08:00 | 2399.497 | 2617.674 | 2181.321
16/01/2024 08:30 | 2368.843 | 2584.686 | 2153
16/01/2024 09:00 | 2378.109 | 2595.252 | 2160.966
16/01/2024 09:30 | 2407.724 | 2628.033 | 2187.416
16/01/2024 10:00 | 2449.005 | 2673.561 | 2224.45
16/01/2024 10:30 | 2518.378 | 2749.777 | 2286.979
16/01/2024 11:00 | 2618.981 | 2860.126 | 2377.837
16/01/2024 11:30 | 2691.373 | 2939.699 | 2443.046
16/01/2024 12:00 | 2773.429 | 3029.858 | 2517
16/01/2024 12:30 | 2899.524 | 3168.167 | 2630.881
16/01/2024 13:00 | 3013.254 | 3293.012 | 2733.496
16/01/2024 13:30 | 3105.47 | 3394.385 | 2816.555
16/01/2024 14:00 | 3164.825 | 3459.868 | 2869.781
16/01/2024 14:30 | 3303.933 | 3612.578 | 2995.288
16/01/2024 15:00 | 3435.802 | 3757.424 | 3114.179
16/01/2024 15:30 | 3592.135 | 3929.08 | 3255.19
16/01/2024 16:00 | 3745.176 | 4097.194 | 3393.158
16/01/2024 16:30 | 3875.261 | 4240.25 | 3510.273
16/01/2024 17:00 | 3941.362 | 4313.331 | 3569.393
16/01/2024 17:30 | 3943.361 | 4316.274 | 3570.447
16/01/2024 18:00 | 3883.911 | 4251.947 | 3515.875
16/01/2024 18:30 | 3774.945 | 4133.379 | 3416.511
16/01/2024 19:00 | 3649.087 | 3996.27 | 3301.904
16/01/2024 19:30 | 3559.449 | 3898.785 | 3220.112
16/01/2024 20:00 | 3425.765 | 3753.014 | 3098.517
16/01/2024 20:30 | 3259.678 | 3571.687 | 2947.67
16/01/2024 21:00 | 3080.239 | 3375.662 | 2784.816
16/01/2024 21:30 | 2913.24 | 3193.205 | 2633.276
16/01/2024 22:00 | 2760.285 | 3026.079 | 2494.49
16/01/2024 22:30 | 2631.703 | 2885.621 | 2377.786
16/01/2024 23:00 | 2526.179 | 2770.399 | 2281.959
16/01/2024 23:30 | 2431.934 | 2667.51 | 2196.359
17/01/2024 00:00 | 2349.233 | 2577.248 | 2121.219
17/01/2024 00:30 | 2285.687 | 2507.972 | 2063.403
17/01/2024 01:00 | 2233.808 | 2451.476 | 2016.141
17/01/2024 01:30 | 2197.708 | 2412.279 | 1983.137
17/01/2024 02:00 | 2171.865 | 2384.329 | 1959.401
17/01/2024 02:30 | 2148.622 | 2359.224 | 1938.019
17/01/2024 03:00 | 2133.987 | 2343.563 | 1924.41
17/01/2024 03:30 | 2137.388 | 2347.708 | 1927.068
17/01/2024 04:00 | 2151.479 | 2363.598 | 1939.359
17/01/2024 04:30 | 2162.661 | 2376.297 | 1949.024
17/01/2024 05:00 | 2187.845 | 2404.388 | 1971.301
17/01/2024 05:30 | 2231.82 | 2505.468 | 2010.496
17/01/2024 06:00 | 2273.809 | 2565.698 | 2047.886
17/01/2024 06:30 | 2289.958 | 2599.137 | 2061.991
17/01/2024 07:00 | 2273.874 | 2601.348 | 2047.072
17/01/2024 07:30 | 2247.246 | 2594.542 | 2022.554
17/01/2024 08:00 | 2264.292 | 2639.264 | 2037.118
17/01/2024 08:30 | 2330.585 | 2739.91 | 2095.978
17/01/2024 09:00 | 2364.005 | 2802.74 | 2125.241
17/01/2024 09:30 | 2350.384 | 2814.782 | 2112.207
17/01/2024 10:00 | 2551.94 | 2811.397 | 2092.446
17/01/2024 10:30 | 2531.215 | 2789.413 | 2065.238
17/01/2024 11:00 | 2565.159 | 2827.68 | 2082.728
17/01/2024 11:30 | 2658.025 | 2930.942 | 2154.455
17/01/2024 12:00 | 2725.769 | 3006.555 | 2207.188
17/01/2024 12:30 | 2815.318 | 3106.272 | 2282.501
17/01/2024 13:00 | 2921.864 | 3224.809 | 2378.415
17/01/2024 13:30 | 2991.292 | 3302.439 | 2439.888
17/01/2024 14:00 | 3057.691 | 3376.77 | 2499.618
17/01/2024 14:30 | 3200.412 | 3535.457 | 2628.499
17/01/2024 15:00 | 3317.503 | 3665.918 | 2735.866
17/01/2024 15:30 | 3454.754 | 3818.742 | 2863.823
17/01/2024 16:00 | 3619.373 | 4001.918 | 3018.156
17/01/2024 16:30 | 3761.331 | 4160.141 | 3151.78
17/01/2024 17:00 | 3815.807 | 4221.673 | 3200.952
17/01/2024 17:30 | 3794.837 | 4199.745 | 3185.731
17/01/2024 18:00 | 3729.604 | 4128.802 | 3136.011
17/01/2024 18:30 | 3625.864 | 4015.174 | 3048.775
17/01/2024 19:00 | 3508.589 | 3886.483 | 2947.725
17/01/2024 19:30 | 3422.306 | 3792.055 | 2874.489
17/01/2024 20:00 | 3293.393 | 3650.318 | 2765.536
17/01/2024 20:30 | 3133.847 | 3474.532 | 2634.726
17/01/2024 21:00 | 2969.279 | 3293.069 | 2500.951
17/01/2024 21:30 | 2814.332 | 3122.17 | 2376.344
17/01/2024 22:00 | 2673.164 | 2966.456 | 2263.513
17/01/2024 22:30 | 2550.542 | 2831.236 | 2166.027
17/01/2024 23:00 | 2447.788 | 2717.995 | 2083.875
17/01/2024 23:30 | 2360.334 | 2621.678 | 2013.874
18/01/2024 00:00 | 2279.939 | 2533.146 | 2026.733
18/01/2024 00:30 | 2218.409 | 2465.526 | 1971.292
18/01/2024 01:00 | 2172.302 | 2415.011 | 1929.592
18/01/2024 01:30 | 2136.44 | 2375.859 | 1897.021
18/01/2024 02:00 | 2112.648 | 2350.11 | 1875.187
18/01/2024 02:30 | 2096.793 | 2333.175 | 1860.411
18/01/2024 03:00 | 2085.85 | 2321.698 | 1850.002
18/01/2024 03:30 | 2088.315 | 2325.142 | 1851.489
18/01/2024 04:00 | 2104.779 | 2344.178 | 1865.379
18/01/2024 04:30 | 2120.04 | 2361.886 | 1878.194
18/01/2024 05:00 | 2149.144 | 2395.031 | 1903.257
18/01/2024 05:30 | 2194.777 | 2446.621 | 1942.933
18/01/2024 06:00 | 2251.52 | 2510.63 | 1992.41
18/01/2024 06:30 | 2309.141 | 2575.656 | 2042.626
18/01/2024 07:00 | 2334.386 | 2604.597 | 2064.174
18/01/2024 07:30 | 2331.8 | 2602.494 | 2061.106