## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
12/01/2024 08:00 | 1900.1 | 1926.061 | 1872.401
12/01/2024 08:30 | 1838.737 | 1870.179 | 1807.295 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
12/01/2024 09:00 | 1807.435 | 1843.714 | 1771.155 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
12/01/2024 09:30 | 1785.459 | 1826.605 | 1744.313 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
12/01/2024 10:00 | 1786.584 | 1833.067 | 1740.101 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
12/01/2024 10:30 | 1821.625 | 1873.132 | 1783.613 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
12/01/2024 11:00 | 1885.271 | 1940.163 | 1838.543 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
12/01/2024 11:30 | 1962.373 | 2025.193 | 1906.918 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
12/01/2024 12:00 | 2055.659 | 2117.949 | 1990.416 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
12/01/2024 12:30 | 2168.715 | 2232.401 | 2093.934 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
12/01/2024 13:00 | 2285.101 | 2355.141 | 2204.806 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
12/01/2024 13:30 | 2419.124 | 2498.74 | 2334.732
12/01/2024 14:00 | 2570.614 | 2656.533 | 2477.386 | Summary view - for each schedule horizon (dispatch, week-ahead)
12/01/2024 14:30 | 2728.62 | 2823.133 | 2627.678
12/01/2024 15:00 | 2886.126 | 2992.396 | 2779.856 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
12/01/2024 15:30 | 3072.906 | 3189.013 | 2956.799 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
12/01/2024 16:00 | 3246.732 | 3372.534 | 3120.93 | Scenario | Violations
12/01/2024 16:30 | 3379.988 | 3514.209 | 3245.768 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
12/01/2024 17:00 | 3472.219 | 3613.447 | 3330.992 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
12/01/2024 17:30 | 3511.815 | 3658.035 | 3365.595 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
12/01/2024 18:00 | 3494.201 | 3643.052 | 3345.349 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12/01/2024 18:30 | 3434.14 | 3583.042 | 3285.238 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0
12/01/2024 19:00 | 3375.981 | 3523.565 | 3228.397
12/01/2024 19:30 | 3324.846 | 3471.496 | 3178.196 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
12/01/2024 20:00 | 3229.579 | 3373.291 | 3090.987
12/01/2024 20:30 | 3106.352 | 3245.796 | 2971.89 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
12/01/2024 21:00 | 2977.806 | 3112.646 | 2848.078 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
12/01/2024 21:30 | 2849.597 | 2979.747 | 2724.629 | [7 empty] | 18/01/2024 13:00 | [23 empty] | 13/01/2024 07:00
12/01/2024 22:00 | 2724.651 | 2850.16 | 2604.218 | [31 empty] | 13/01/2024 07:30
12/01/2024 22:30 | 2607.97 | 2729.125 | 2492.736 | [31 empty] | 13/01/2024 08:00
12/01/2024 23:00 | 2503.981 | 2630.049 | 2394.656
12/01/2024 23:30 | 2413.281 | 2544.974 | 2304.766
13/01/2024 00:00 | 2333.526 | 2476.443 | 2220.844
13/01/2024 00:30 | 2271.491 | 2413.091 | 2164.619
13/01/2024 01:00 | 2222.967 | 2365.103 | 2120.453
13/01/2024 01:30 | 2180.108 | 2320.169 | 2079.068
13/01/2024 02:00 | 2147.975 | 2286.26 | 2047.601
13/01/2024 02:30 | 2121.703 | 2259.598 | 2022.654
13/01/2024 03:00 | 2100.355 | 2238.107 | 2002.359
13/01/2024 03:30 | 2086.717 | 2224.322 | 1988.975
13/01/2024 04:00 | 2075.199 | 2211.521 | 1976.484
13/01/2024 04:30 | 2052.13 | 2186.852 | 1953.404
13/01/2024 05:00 | 2029.699 | 2170.749 | 1937.997
13/01/2024 05:30 | 2048.2 | 2164.766 | 1931.635
13/01/2024 06:00 | 2015.345 | 2130.572 | 1900.118
13/01/2024 06:30 | 1987.247 | 2101.34 | 1873.155
13/01/2024 07:00 | 1960.368 | 2073.283 | 1847.453
13/01/2024 07:30 | 1929.998 | 2041.532 | 1818.463
13/01/2024 08:00 | 1933.005 | 2045.082 | 1820.927
13/01/2024 08:30 | 1969.816 | 2084.405 | 1855.228
13/01/2024 09:00 | 2018.956 | 2136.789 | 1901.123
13/01/2024 09:30 | 2081.778 | 2203.675 | 1959.881
13/01/2024 10:00 | 2143.643 | 2269.572 | 2017.714
13/01/2024 10:30 | 2219.263 | 2350.058 | 2088.468
13/01/2024 11:00 | 2335.083 | 2473.15 | 2197.016
13/01/2024 11:30 | 2439.929 | 2584.662 | 2295.196
13/01/2024 12:00 | 2540.993 | 2692.207 | 2390.62
13/01/2024 12:30 | 2633.126 | 2789.19 | 2476.818
13/01/2024 13:00 | 2743.615 | 2906.759 | 2580.23
13/01/2024 13:30 | 2867.892 | 3038.966 | 2696.552
13/01/2024 14:00 | 3009.214 | 3189.291 | 2828.854
13/01/2024 14:30 | 3189.366 | 3380.842 | 2997.607
13/01/2024 15:00 | 3334.344 | 3535.165 | 3133.235
13/01/2024 15:30 | 3463.28 | 3672.542 | 3253.745
13/01/2024 16:00 | 3593.064 | 3810.869 | 3375.003
13/01/2024 16:30 | 3711.643 | 3937.36 | 3485.689
13/01/2024 17:00 | 3783.715 | 4014.559 | 3552.669
13/01/2024 17:30 | 3803.941 | 4036.771 | 3570.956
13/01/2024 18:00 | 3764.16 | 3995.293 | 3532.909
13/01/2024 18:30 | 3679.109 | 3905.731 | 3452.387
13/01/2024 19:00 | 3598.562 | 3820.916 | 3376.122
13/01/2024 19:30 | 3541.558 | 3761.079 | 3321.976
13/01/2024 20:00 | 3445.962 | 3660.248 | 3231.677
13/01/2024 20:30 | 3328.472 | 3536.087 | 3120.857
13/01/2024 21:00 | 3200.679 | 3400.934 | 3000.423
13/01/2024 21:30 | 3068.382 | 3260.947 | 2875.817
13/01/2024 22:00 | 2935.095 | 3119.855 | 2750.333
13/01/2024 22:30 | 2804.429 | 2981.5 | 2627.357
13/01/2024 23:00 | 2693.475 | 2864.055 | 2522.894
13/01/2024 23:30 | 2598.436 | 2763.494 | 2433.379
14/01/2024 00:00 | 2512.06 | 2672.112 | 2352.01
14/01/2024 00:30 | 2442.156 | 2598.221 | 2286.093
14/01/2024 01:00 | 2386.765 | 2539.747 | 2233.786
14/01/2024 01:30 | 2334.658 | 2484.746 | 2184.573
14/01/2024 02:00 | 2292.86 | 2440.698 | 2145.023
14/01/2024 02:30 | 2258.153 | 2404.185 | 2112.123
14/01/2024 03:00 | 2229.295 | 2373.887 | 2084.705
14/01/2024 03:30 | 2211.659 | 2355.53 | 2067.79
14/01/2024 04:00 | 2192.736 | 2335.794 | 2049.679
14/01/2024 04:30 | 2154.537 | 2295.515 | 2013.561
14/01/2024 05:00 | 2124.594 | 2264.019 | 1985.171
14/01/2024 05:30 | 2111.813 | 2250.803 | 1972.825
14/01/2024 06:00 | 2076.432 | 2213.489 | 1939.375
14/01/2024 06:30 | 2061.365 | 2197.822 | 1924.91
14/01/2024 07:00 | 2051.35 | 2187.536 | 1915.166
14/01/2024 07:30 | 2015.908 | 2150.16 | 1881.657
14/01/2024 08:00 | 2022.993 | 2158.205 | 1887.78
14/01/2024 08:30 | 2104.31 | 2245.46 | 1963.16
14/01/2024 09:00 | 2206.212 | 2354.724 | 2057.699
14/01/2024 09:30 | 2324.477 | 2481.506 | 2167.448
14/01/2024 10:00 | 2443.238 | 2608.873 | 2277.603
14/01/2024 10:30 | 2540.059 | 2712.865 | 2367.253
14/01/2024 11:00 | 2650.057 | 2830.979 | 2469.134
14/01/2024 11:30 | 2756.042 | 2944.858 | 2567.225
14/01/2024 12:00 | 2845.393 | 3041.01 | 2649.776
14/01/2024 12:30 | 2951.612 | 3155.237 | 2747.987
14/01/2024 13:00 | 3004.934 | 3212.955 | 2796.912
14/01/2024 13:30 | 3071.104 | 3284.439 | 2857.768
14/01/2024 14:00 | 3141.406 | 3360.375 | 2922.436
14/01/2024 14:30 | 3280.48 | 3509.927 | 3051.033
14/01/2024 15:00 | 3393.657 | 3631.832 | 3155.483
14/01/2024 15:30 | 3516.221 | 3763.837 | 3268.605
14/01/2024 16:00 | 3634.479 | 3891.291 | 3377.668
14/01/2024 16:30 | 3728.523 | 3992.87 | 3464.176
14/01/2024 17:00 | 3790.488 | 4060.134 | 3520.842
14/01/2024 17:30 | 3788.149 | 4058.534 | 3517.765
14/01/2024 18:00 | 3731.057 | 3998.258 | 3463.856
14/01/2024 18:30 | 3626.455 | 3887.031 | 3365.879
14/01/2024 19:00 | 3519.73 | 3773.479 | 3265.982
14/01/2024 19:30 | 3443.583 | 3692.665 | 3194.502
14/01/2024 20:00 | 3332.414 | 3574.25 | 3090.578
14/01/2024 20:30 | 3200.604 | 3433.639 | 2967.569
14/01/2024 21:00 | 3063.697 | 3287.496 | 2839.898
14/01/2024 21:30 | 2926.656 | 3141.143 | 2712.169
14/01/2024 22:00 | 2788.284 | 2993.297 | 2583.272
14/01/2024 22:30 | 2667.729 | 2864.515 | 2470.944
14/01/2024 23:00 | 2566.713 | 2756.66 | 2376.766
14/01/2024 23:30 | 2473.891 | 2651.668 | 2296.115
15/01/2024 00:00 | 2383.237 | 2543.809 | 2222.665
15/01/2024 00:30 | 2313.765 | 2471.1 | 2156.43
15/01/2024 01:00 | 2265.014 | 2419.529 | 2110.5
15/01/2024 01:30 | 2226.072 | 2378.416 | 2073.728
15/01/2024 02:00 | 2197.93 | 2348.828 | 2047.031
15/01/2024 02:30 | 2175.05 | 2324.853 | 2025.247
15/01/2024 03:00 | 2157.042 | 2306.075 | 2008.007
15/01/2024 03:30 | 2155.854 | 2305.276 | 2006.431
15/01/2024 04:00 | 2167.259 | 2317.946 | 2016.572
15/01/2024 04:30 | 2185.344 | 2337.766 | 2032.922
15/01/2024 05:00 | 2222.831 | 2378.353 | 2067.309
15/01/2024 05:30 | 2274.167 | 2433.778 | 2114.556
15/01/2024 06:00 | 2317.375 | 2480.525 | 2154.226
15/01/2024 06:30 | 2354.862 | 2521.165 | 2188.559
15/01/2024 07:00 | 2372.069 | 2540.106 | 2204.033
15/01/2024 07:30 | 2366.339 | 2534.487 | 2198.191
15/01/2024 08:00 | 2360.776 | 2529.044 | 2192.508
15/01/2024 08:30 | 2354.642 | 2522.988 | 2186.297
15/01/2024 09:00 | 2388.799 | 2560.109 | 2217.49
15/01/2024 09:30 | 2449.781 | 2626 | 2273.563
15/01/2024 10:00 | 2507.745 | 2688.68 | 2326.809
15/01/2024 10:30 | 2573.557 | 2759.803 | 2387.311
15/01/2024 11:00 | 2668.028 | 2861.694 | 2474.363
15/01/2024 11:30 | 2742.147 | 2941.792 | 2542.502
15/01/2024 12:00 | 2796.611 | 3000.833 | 2592.39
15/01/2024 12:30 | 2875.423 | 3086.028 | 2664.819
15/01/2024 13:00 | 2952.69 | 3169.599 | 2735.781
15/01/2024 13:30 | 3030.706 | 3254.008 | 2807.403
15/01/2024 14:00 | 3102.01 | 3331.245 | 2872.777
15/01/2024 14:30 | 3219.291 | 3457.895 | 2980.686
15/01/2024 15:00 | 3302.314 | 3547.793 | 3056.835
15/01/2024 15:30 | 3416.196 | 3670.887 | 3161.505
15/01/2024 16:00 | 3544.185 | 3809.193 | 3279.178
15/01/2024 16:30 | 3654.638 | 3928.703 | 3380.573
15/01/2024 17:00 | 3744.289 | 4025.894 | 3462.683
15/01/2024 17:30 | 3754.143 | 4037.31 | 3470.976
15/01/2024 18:00 | 3691.706 | 3970.971 | 3412.442
15/01/2024 18:30 | 3597.564 | 3870.493 | 3324.636
15/01/2024 19:00 | 3494.731 | 3760.621 | 3228.84
15/01/2024 19:30 | 3414.493 | 3675.025 | 3153.961
15/01/2024 20:00 | 3296.225 | 3548.453 | 3043.996
15/01/2024 20:30 | 3154.259 | 3396.313 | 2912.205
15/01/2024 21:00 | 3003.408 | 3234.542 | 2772.274
15/01/2024 21:30 | 2856.808 | 3077.284 | 2636.332
15/01/2024 22:00 | 2717.105 | 2927.393 | 2506.816
15/01/2024 22:30 | 2599.507 | 2801.262 | 2397.752
15/01/2024 23:00 | 2502.431 | 2697.199 | 2307.664
15/01/2024 23:30 | 2417.849 | 2606.562 | 2229.137
16/01/2024 00:00 | 2339.481 | 2522.588 | 2156.374
16/01/2024 00:30 | 2281.285 | 2460.335 | 2102.234
16/01/2024 01:00 | 2242.885 | 2419.412 | 2066.359
16/01/2024 01:30 | 2206.539 | 2380.687 | 2032.391
16/01/2024 02:00 | 2179.301 | 2351.776 | 2006.827
16/01/2024 02:30 | 2159.402 | 2330.773 | 1988.03
16/01/2024 03:00 | 2143.181 | 2313.734 | 1972.629
16/01/2024 03:30 | 2142.142 | 2313.079 | 1971.204
16/01/2024 04:00 | 2151.15 | 2323.276 | 1979.023
16/01/2024 04:30 | 2165.522 | 2339.272 | 1991.773
16/01/2024 05:00 | 2206.31 | 2383.814 | 2028.806
16/01/2024 05:30 | 2269.479 | 2452.561 | 2086.396
16/01/2024 06:00 | 2324.593 | 2512.629 | 2136.557
16/01/2024 06:30 | 2370.289 | 2562.539 | 2178.038
16/01/2024 07:00 | 2403.606 | 2599.084 | 2208.128
16/01/2024 07:30 | 2425.869 | 2623.665 | 2228.074
16/01/2024 08:00 | 2467.577 | 2669.242 | 2265.912
16/01/2024 08:30 | 2519.935 | 2726.362 | 2313.508
16/01/2024 09:00 | 2586.531 | 2798.909 | 2374.153
16/01/2024 09:30 | 2641.268 | 2858.647 | 2423.889
16/01/2024 10:00 | 2700.668 | 2923.454 | 2477.883
16/01/2024 10:30 | 2775.441 | 3004.927 | 2545.956
16/01/2024 11:00 | 2888.381 | 3127.759 | 2649.004
16/01/2024 11:30 | 2963.084 | 3209.22 | 2716.948
16/01/2024 12:00 | 3027.546 | 3279.617 | 2775.475
16/01/2024 12:30 | 3123.677 | 3384.351 | 2863.003
16/01/2024 13:00 | 3215.854 | 3484.837 | 2946.872
16/01/2024 13:30 | 3294.362 | 3570.542 | 3018.181
16/01/2024 14:00 | 3323.847 | 3603.136 | 3044.558
16/01/2024 14:30 | 3424.134 | 3712.506 | 3135.762
16/01/2024 15:00 | 3514.047 | 3810.665 | 3217.429
16/01/2024 15:30 | 3636.255 | 3943.885 | 3328.624
16/01/2024 16:00 | 3761.083 | 4079.996 | 3442.172
16/01/2024 16:30 | 3874.611 | 4203.891 | 3545.33
16/01/2024 17:00 | 3937.8 | 4273.206 | 3602.395
16/01/2024 17:30 | 3938.682 | 4274.917 | 3602.446
16/01/2024 18:00 | 3871.214 | 4202.432 | 3539.996
16/01/2024 18:30 | 3768.576 | 4091.735 | 3445.417
16/01/2024 19:00 | 3658.924 | 3973.381 | 3344.466
16/01/2024 19:30 | 3581.485 | 3889.974 | 3272.997
16/01/2024 20:00 | 3458.267 | 3756.805 | 3159.729
16/01/2024 20:30 | 3300.285 | 3585.818 | 3014.753
16/01/2024 21:00 | 3123.734 | 3394.591 | 2852.878
16/01/2024 21:30 | 2953.902 | 3210.599 | 2697.206
16/01/2024 22:00 | 2798.784 | 3042.537 | 2555.031
16/01/2024 22:30 | 2666.018 | 2898.719 | 2433.317
16/01/2024 23:00 | 2552.733 | 2776.036 | 2329.431
16/01/2024 23:30 | 2450.087 | 2664.88 | 2235.294
17/01/2024 00:00 | 2354.982 | 2561.889 | 2148.075
17/01/2024 00:30 | 2281.131 | 2481.986 | 2080.275
17/01/2024 01:00 | 2222.089 | 2418.172 | 2026.007
17/01/2024 01:30 | 2183.973 | 2377.111 | 1990.835
17/01/2024 02:00 | 2156.635 | 2347.769 | 1965.502
17/01/2024 02:30 | 2132.016 | 2321.376 | 1942.655
17/01/2024 03:00 | 2113.849 | 2302.001 | 1925.697
17/01/2024 03:30 | 2113.549 | 2302.08 | 1925.019
17/01/2024 04:00 | 2126.007 | 2316.057 | 1935.958
17/01/2024 04:30 | 2138.245 | 2329.798 | 1946.692
17/01/2024 05:00 | 2154.823 | 2348.274 | 1961.372
17/01/2024 05:30 | 2182.693 | 2379.064 | 1986.322
17/01/2024 06:00 | 2220.844 | 2421.074 | 2020.615
17/01/2024 06:30 | 2262.481 | 2466.898 | 2058.064
17/01/2024 07:00 | 2243.72 | 2446.872 | 2040.568
17/01/2024 07:30 | 2136.217 | 2330.045 | 1942.39
17/01/2024 08:00 | 2098.23 | 2289.014 | 1907.447
17/01/2024 08:30 | 2151.672 | 2347.727 | 1955.617
17/01/2024 09:00 | 2150.775 | 2347.161 | 1954.39
17/01/2024 09:30 | 2074.939 | 2264.797 | 1885.08
17/01/2024 10:00 | 2038.194 | 2225.081 | 1851.307
17/01/2024 10:30 | 2062.192 | 2251.675 | 1872.709
17/01/2024 11:00 | 2092.796 | 2285.492 | 1900.1
17/01/2024 11:30 | 2151.19 | 2349.675 | 1952.705
17/01/2024 12:00 | 2188.415 | 2390.754 | 1986.076
17/01/2024 12:30 | 2240.966 | 2448.593 | 2033.338
17/01/2024 13:00 | 2324.629 | 2540.454 | 2108.805
17/01/2024 13:30 | 2388.645 | 2610.871 | 2166.419
17/01/2024 14:00 | 2468.458 | 2698.582 | 2238.334
17/01/2024 14:30 | 2602.843 | 2845.993 | 2359.692
17/01/2024 15:00 | 2727.927 | 2983.286 | 2472.568
17/01/2024 15:30 | 2895.872 | 3167.507 | 2624.237
17/01/2024 16:00 | 3039.29 | 3324.96 | 2753.619
17/01/2024 16:30 | 3110.709 | 3403.689 | 2817.73
17/01/2024 17:00 | 3153.789 | 3451.43 | 2856.148
17/01/2024 17:30 | 3171.518 | 3471.44 | 2871.595
17/01/2024 18:00 | 3135.178 | 3432.264 | 2838.091
17/01/2024 18:30 | 3067.233 | 3358.47 | 2775.997
17/01/2024 19:00 | 2991.331 | 3275.933 | 2706.729
17/01/2024 19:30 | 2925.974 | 3204.918 | 2647.029
17/01/2024 20:00 | 2826.467 | 3096.468 | 2556.467
17/01/2024 20:30 | 2714.099 | 2973.885 | 2454.312
17/01/2024 21:00 | 2592.763 | 2841.433 | 2344.094
17/01/2024 21:30 | 2477.358 | 2715.434 | 2239.282
17/01/2024 22:00 | 2371.928 | 2600.327 | 2143.53
17/01/2024 22:30 | 2281.145 | 2501.239 | 2061.051
17/01/2024 23:00 | 2206.528 | 2419.845 | 1993.21
17/01/2024 23:30 | 2142.462 | 2349.997 | 1934.927
18/01/2024 00:00 | 2085.05 | 2287.423 | 1882.677
18/01/2024 00:30 | 2040.665 | 2239.121 | 1842.208
18/01/2024 01:00 | 2007.735 | 2203.373 | 1812.096
18/01/2024 01:30 | 1980.028 | 2173.347 | 1786.71
18/01/2024 02:00 | 1963.639 | 2155.734 | 1771.545
18/01/2024 02:30 | 1953.344 | 2144.805 | 1761.882
18/01/2024 03:00 | 1948.286 | 2139.626 | 1756.947
18/01/2024 03:30 | 1954.915 | 2147.28 | 1762.55
18/01/2024 04:00 | 1975.563 | 2170.338 | 1780.787
18/01/2024 04:30 | 1996.067 | 2193.247 | 1798.888
18/01/2024 05:00 | 2026.498 | 2227.072 | 1825.924
18/01/2024 05:30 | 2065.825 | 2270.687 | 1860.962
18/01/2024 06:00 | 2118.164 | 2328.622 | 1907.705
18/01/2024 06:30 | 2175.241 | 2391.788 | 1958.695
18/01/2024 07:00 | 2199.019 | 2418.354 | 1979.683
18/01/2024 07:30 | 2188.06 | 2406.833 | 1969.286
18/01/2024 08:00 | 2169.958 | 2387.668 | 1952.248
18/01/2024 08:30 | 2147.081 | 2363.216 | 1930.946
18/01/2024 09:00 | 2109.339 | 2322.381 | 1896.296
18/01/2024 09:30 | 2075.207 | 2285.498 | 1864.915
18/01/2024 10:00 | 2048.908 | 2257.221 | 1840.595
18/01/2024 10:30 | 2053.674 | 2263.16 | 1844.188
18/01/2024 11:00 | 2068.127 | 2279.781 | 1856.473
18/01/2024 11:30 | 2027.004 | 2235.129 | 1818.879
18/01/2024 12:00 | 2045.72 | 2256.452 | 1834.987
18/01/2024 12:30 | 2149.937 | 2372.126 | 1927.748
18/01/2024 13:00 | 2231.499 | 2462.866 | 2000.133
18/01/2024 13:30 | 2349.514 | 2593.904 | 2105.124
18/01/2024 14:00 | 2452.487 | 2708.41 | 2196.563
18/01/2024 14:30 | 2506.662 | 2769.079 | 2244.244
18/01/2024 15:00 | 2551.881 | 2819.888 | 2283.875
18/01/2024 15:30 | 2602.948 | 2877.191 | 2328.705
18/01/2024 16:00 | 2673.088 | 2955.618 | 2390.559
18/01/2024 16:30 | 2736.742 | 3026.917 | 2446.568
18/01/2024 17:00 | 2776.247 | 3071.541 | 2480.953
18/01/2024 17:30 | 2795.066 | 3093.299 | 2496.833
18/01/2024 18:00 | 2780.656 | 3078.284 | 2483.029
18/01/2024 18:30 | 2763.003 | 3059.667 | 2466.338
18/01/2024 19:00 | 2748.125 | 3044.113 | 2452.136
18/01/2024 19:30 | 2702.235 | 2994.187 | 2410.283
18/01/2024 20:00 | 2622.058 | 2906.227 | 2337.889
18/01/2024 20:30 | 2522.054 | 2796.23 | 2247.877
18/01/2024 21:00 | 2413.856 | 2677.08 | 2150.633
18/01/2024 21:30 | 2312.713 | 2565.682 | 2059.743
18/01/2024 22:00 | 2227.103 | 2471.454 | 1982.751
18/01/2024 22:30 | 2153.242 | 2390.212 | 1916.272
18/01/2024 23:00 | 2090.928 | 2321.742 | 1860.115
18/01/2024 23:30 | 2040.855 | 2266.825 | 1814.885
19/01/2024 00:00 | 1998.189 | 2220.105 | 1776.273
19/01/2024 00:30 | 1964.057 | 2182.842 | 1745.273
19/01/2024 01:00 | 1938.339 | 2154.908 | 1721.77
19/01/2024 01:30 | 1915.241 | 2129.872 | 1700.611
19/01/2024 02:00 | 1901.543 | 2115.277 | 1687.81
19/01/2024 02:30 | 1894.192 | 2107.733 | 1680.65
19/01/2024 03:00 | 1891.443 | 2105.309 | 1677.577
19/01/2024 03:30 | 1900.793 | 2116.354 | 1685.233
19/01/2024 04:00 | 1924.01 | 2142.849 | 1705.171
19/01/2024 04:30 | 1951.219 | 2173.806 | 1728.631
19/01/2024 05:00 | 1985.742 | 2212.934 | 1758.551
19/01/2024 05:30 | 2016.513 | 2247.901 | 1785.124
19/01/2024 06:00 | 2056.44 | 2293.1 | 1819.781
19/01/2024 06:30 | 2104.109 | 2346.96 | 1861.259
19/01/2024 07:00 | 2112.597 | 2357.136 | 1868.058
19/01/2024 07:30 | 2075.424 | 2316.355 | 1834.492